## PRD_RegNom_MV_Existing
Existing PRD rules
[13 empty] | Summer Event |  |  |  | Winter Event
|  | 1 | 1A | 2 | (3) = (1A) -(2) | (4) | (5) | (6) = (4) *(5) | 6A | 7 | 8 = (4) - (7) | (4) = (3) | (10) | (10A) | (10B) = (10) * (10A) | (11) = (1A) - (10) + (10B) | (12) | (12A) | (12B) = (12) * (12A) | (13) = (1A) - (12) + (12B)
Location # | Customer Load Profile | Summer PLC (MW) | Expected Summer Peak Load (MW) | Summer MESL (MW) | Summer Nominated PRD Value (MW) | Winter Peak Load (MW) | Winter Weather Adjustment Factor | Weather Adjusted Winter Peak Load (MW) | Expected Weather Adjusted Winter Peak Load (MW) | Winter FSL (MW) | Winter Nominated DR Value (MW) | Annual Nominated PRD Value (MW) | Load (MW | MESL Adjust factor | MESL Adjust amount (MW) | Load Reduction (MW) | Load (MW | MESL Adjust factor | MESL Adjust amount (MW) | Load Reduction (MW)
1 | Winter load lower than summer load | 10 | 10.2 | 5 | 5.2 | 8 | 1.05 | 8.4 | 8.568 | 5 | 3.4 |  | 5 | 0.05 | 0.25 | 5.45 | 5.5 | 0.05 | 0.25 | 4.95
2 | Winter load higher than summer load | 10 | 10.2 | 5 | 5.2 | 12 | 1.05 | 12.6 | 12.852 | 5 | 7.6 |  | 5 | 0.05 | 0.25 | 5.45 | 6 | 0.05 | 0.25 | 4.45
3 | Winter load equal to summer load | 10 | 10.2 | 5 | 5.2 | 10 | 1.05 | 10.5 | 10.71 | 5.5 | 5 |  | 5 | 0.05 | 0.25 | 5.45 | 5 | 0.05 | 0.25 | 5.45
4 | Summer only DR (A/C Cycling) | 10 | 10.2 | 4 | 6.2 | 6 | 1.05 | 6.3 | 6.426 | 6.3 | 0 |  | 3 | 0.05 | 0.2 | 7.4 | 6.3 | 0.05 | 0.2 | 4.1
5 | Winter only DR (Ski Load) | 1 | 1.02 | 0 | 1.02 | 12 | 1.05 | 12.6 | 12.852 | 11.58 | 1.02 |  | 1 | 0.05 | 0 | 0.02 | 5.6 | 0.05 | 0 | 0
Registration |  | 41 | 41.82 | 19 | 22.82 |  |  | 50.4 |  | 33.38 | 17.02 | 22.82 |  |  | 0.95 | 23.77 |  |  | 0.95 | 18.95
Column
1 | Summer PLC based on the current process
4 | Annual Nominated PRD Value based on registered nominated amount
1A | Expected Summer Peak Load = Summer PLC * Zonal Forecast Peak / Zonal W/N Peak, assume 1.02 but could be less than 1
10B/12B | Represent MESL adjust as load reduction adder instead of impact on capacity shortfall
Additional Notes
Capacity Reduction will be used for Add Back in Summer and Non-summer periods
Load has already been grossed up for losses
Expected Summer Peak Load = Summer PLC * Zonal Forecast Peak / Zonal W/N Peak, assume 1.02

## PRD_RegNom_MV_PJMProposed
PJM Proposal - Update PRD for CP annual requirements and make consistent with DR (customer load reduction from demand or supply side is the same nominated and load reduction volume)
[13 empty] | Summer Event |  |  |  | Winter Event
|  | 1 | 1A | 2 | (3) = (1) -(2) | (4) | (5) | (6) = (4) *(5) | 6A | 7 | 8 = (6) - (7) | 9 = Min (3 & 8) | (10) | (10A) | (10B) = (10) * (10A) | (11) = (1) - (10) | (12) | (12A) | (12B) = (12) * (12A) | (13) = (6) - (12)
Location # | Customer Load Profile | Summer PLC (MW) | Expected Summer Peak Load (MW) | Summer FSL (MW) | Summer Nominated PRD Value (MW) | Winter Peak Load (MW) | Winter Weather Adjustment Factor | Weather Adjusted Winter Peak Load (MW) | Expected Weather Adjusted Winter Peak Load (MW) | Winter FSL (MW) | Winter Nominated PRD Value (MW) | Annual Nominated PRD Value (MW) | Load (MW | FSL Adjust factor | FSL Adjust amount (MW) | Load Reduction (MW) | Load (MW | FSL Adjust factor | FSL Adjust amount (MW) | Load Reduction (MW)
1 | Winter load lower than summer load | 10 | n/a | 5 | 5 | 8 | 1.05 | 8.4 | na | 5 | 3.4 |  | 5 | na | na | 5 | 5.5 | na | na | 2.9
2 | Winter load higher than summer load | 10 | n/a | 5 | 5 | 12 | 1.05 | 12.6 | na | 5 | 7.6 |  | 5 | na | na | 5 | 6 | na | na | 6.6
3 | Winter load equal to summer load | 10 | n/a | 5 | 5 | 10 | 1.05 | 10.5 | na | 5.5 | 5 |  | 5 | na | na | 5 | 5 | na | na | 5.5
4 | Summer only DR (A/C Cycling) | 10 | n/a | 4 | 6 | 6 | 1.05 | 6.3 | na | 6.3 | 0 |  | 3 | na | na | 7 | 6.3 | na | na | 0
5 | Winter only DR (Ski Load) | 1 | n/a | 0 | 1 | 12 | 1.05 | 12.6 | na | 6.6 | 6 |  | 1 | na | na | 0 | 5.6 | na | na | 7
Registration |  | 41 |  | 19 | 22 |  |  | 50.4 |  | 28.4 | 22 | 22 |  |  |  | 22 |  |  |  | 22
Column
1 | Summer PLC based on the current process
4 | Winter Peak Load = customer peak on 5 winter CP days from HE7 through HE21 (Capacity Performance DR availability requirement) for Dec/Jan/Feb
5 | Winter Weather Adjustment Factor published and applied by PJM = Weather Normalized Winter Peak/Actual Winter Peak
9 | Annual Nominated DR Value based on registered nominated amount
1A | Expected Summer Peak Load = Summer PLC * Zonal Forecast Peak / Zonal W/N Peak, assume 1.02
6A | Expected Weather Adjusted Winter Peak Load = Weather Adjusted Winter Peak Load * Zonal Forecast Peak / Zonal W/N Peak, assume 1.02
10B/12B | Represent MESL adjust as load reduction adder instead of impact on capacity shortfall, summer and winter adjustment can be different
Additional Notes
Capacity Reduction will be used for Add Back in Summer and Non-summer periods
Winter Peak Load is adjusted up for transmission and distribution line loss factor
Winter load reductions may not exceed Winter Peak Load.
Load has already been grossed up for losses
Expected Summer Peak Load = Summer PLC * Zonal Forecast Peak / Zonal W/N Peak, assume 1.02
Expected Weather Adjusted Winter Peak Load = Weather Adjusted Winter Peak Load * Zonal Forecast Peak / Zonal W/N Peak, assume 1.02

## PRD_RegNom_MV_WhiskerProposed
Whisker Proposal - Update PRD for annual CP requirements but extend PRD scaling factors to winter.
[13 empty] | Summer Event |  |  |  | Winter Event
|  | 1 | 1A | 2 | (3) = (1A) -(2) | (4) | (5) | (6) = (4) *(5) | 6A | 7 | 8 = (6A) - (7) | 9 = Min (3 & 8) | (10) | (10A) | (10B) = (10) * (10A) | (11) = (1A) - (10) + (10B) | (12) | (12A) | (12B) = (12) * (12A) | (13) = (6A) - (12) + (12B)
Location # | Customer Load Profile | Summer PLC (MW) | Expected Summer Peak Load (MW) | Summer MESL (MW) | Summer Nominated PRD Value (MW) | Winter Peak Load (MW) | Winter Weather Adjustment Factor | Weather Adjusted Winter Peak Load (MW) | Expected Weather Adjusted Winter Peak Load (MW) | Winter MESL (MW) | Winter Nominated PRD Value (MW) | Annual Nominated PRD Value (MW) | Load (MW | MESL Adjust factor | MESL Adjust amount (MW) | Load Reduction (MW) | Load (MW | MESL Adjust factor | MESL Adjust amount (MW) | Load Reduction (MW)
1 | Winter load lower than summer load | 10 | 10.2 | 5 | 5.2 | 8 | 1.05 | 8.4 | 8.568 | 5 | 3.568 |  | 5 | 0.05 | 0.25 | 5.45 | 5.5 | 0.06 | 0.3 | 3.368
2 | Winter load higher than summer load | 10 | 10.2 | 5 | 5.2 | 12 | 1.05 | 12.6 | 12.852 | 5 | 7.852 |  | 5 | 0.05 | 0.25 | 5.45 | 6 | 0.06 | 0.3 | 7.152
3 | Winter load equal to summer load | 10 | 10.2 | 5 | 5.2 | 10 | 1.05 | 10.5 | 10.71 | 5.5 | 5.21 |  | 5 | 0.05 | 0.25 | 5.45 | 5 | 0.06 | 0.33 | 6.04
4 | Summer only DR (A/C Cycling) | 10 | 10.2 | 4 | 6.2 | 6 | 1.05 | 6.3 | 6.426 | 6.3 | 0.126 |  | 3 | 0.05 | 0.2 | 7.4 | 6.3 | 0.06 | 0.378 | 0.504
5 | Winter only DR (Ski Load) | 1 | 1.02 | 0 | 1.02 | 12 | 1.05 | 12.6 | 12.852 | 6.8 | 6.052 |  | 1 | 0.05 | 0 | 0 | 5.6 | 0.06 | 0.408 | 7.66
Registration |  | 41 | 41.82 | 19 | 22.82 |  |  | 50.4 |  | 28.6 | 22.808 | 22.808 |  |  | 0.95 | 23.75 |  |  | 1.716 | 24.724
Column
1 | Summer PLC based on the current process
4 | Winter Peak Load = customer peak on 5 winter CP days from HE7 through HE21 (Capacity Performance DR availability requirement) for Dec/Jan/Feb
5 | Winter Weather Adjustment Factor published and applied by PJM = Weather Normalized Winter Peak/Actual Winter Peak
9 | Annual Nominated DR Value based on registered nominated amount
1A | Expected Summer Peak Load = Summer PLC * Zonal Forecast Peak / Zonal W/N Peak, assume 1.02
6A | Expected Weather Adjusted Winter Peak Load = Weather Adjusted Winter Peak Load * Zonal Forecast Peak / Zonal W/N Peak, assume 1.02
10B/12B | Represent MESL adjust as load reduction adder instead of impact on capacity shortfall, summer and winter adjustment can be different
Additional Notes
Capacity Reduction will be used for Add Back in Summer and Non-summer periods
Winter Peak Load is adjusted up for transmission and distribution line loss factor
Winter load reductions may not exceed Winter Peak Load.
Load has already been grossed up for losses
Expected Summer Peak Load = Summer PLC * Zonal Forecast Peak / Zonal W/N Peak, assume 1.02
Expected Weather Adjusted Winter Peak Load = Weather Adjusted Winter Peak Load * Zonal Forecast Peak / Zonal W/N Peak, assume 1.02

## PRD_penaltyrate
Event | 1 | 2 | 3
hourly PRD shortfall (MW) | 1 | 1 | 1
hours in event | 4 | 4 | 4
Existing event penalty (PRD)
PRD Provider's Weighted Final Zonal Capacity Price ($/MWDay) | 150 | 150 | 150
adder (> 1.2 or $20) | 30 | 30 | 30
daily deficiency charge ($/MWDay) | 180 | 180 | 180
days in year | 365 | 365 | 365
penalty rate, $/MW-year | 65700 | 65700 | 65700 | Total across events
event penalty amount | 65700 | 0 | 0 | 65700
Proposed event penalty (same as DR)
Net Cone, $/MW-day | 300 | 300 | 300
days in year | 365 | 365 | 365
denominator, hours | 30 | 30 | 30
penalty rate, $/MWh | 3650 | 3650 | 3650 | Total across events
event penalty amount | 14600 | 14600 | 14600 | 43800
Current:
1) PRD event compliance penalty charge for a subsequent event shall only be assessed on the portion of the shortfall that exceeds the maximum event compliance shortfall in any prior events. In effect, this may act as a stop loss provision
2) A PRD Provider's Weighted Final Zonal Capacity Price is the average of the Final Zonal Capacity Price and the price component of the Final Zonal Capacity Price due to the Third Incremental Auction, weighted by the Nominal PRD Values committed by such PRD Provider in Base Residual Auction and Third Incremental Auction.
Proposed:
3) Proposed event penalty will have same stop loss provision applicable to DR but is not included in this example