## Setup
Enter Stakeholder Group Name in cell A2:
Market Implementation Committee Special Session: Electric Storage Participation - FERC Order 841
Enter issue title (use title from Issue Tracking if applicable) in cell A5:
FERC Order 841 Compliance Filing

## Characteristics of ESRs
Account for physical and operational characteristics for ESRs through bidding parameters or other means
| Name | Unit | Proposed Mode of entry | Note
1 | State of Charge | MWh | Real-time Telemetry | May need to bid in an initial SOC into the DA market
2 | Min/Max State of Charge | MWh | Markets Gateway
3 | Min/Max Charge Limit | MW | Markets Gateway | Similar to eco min/ eco max
4 | Min/Max Charge Time | hours | Markets Gateway | Duration must charge after entering the charge mode
5 | Min/Max Run Time | hours | Markets Gateway | Duration must discharge after entering the discharge mode (existent)
6 | Min/Max Discharge Limit | MW | Markets Gateway | Maximum and minimum consumption levels
7 | Charge/Discharge Ramp Rate | MW/min | Markets Gateway | Ramp rate up/down currently exists in the discharge mode
8 | Design Max State Of Charge | MWh | Markets Gateway | Maximum achievable State Of Charge as per equipment design.
9 | Efficiency Loss | % | Markets Gateway
10
11
12

## 2. Options Matrix- Design Comp.
Market Implementation Committee Special Session: Electric Storage Participation - FERC Order 841
FERC Order 841 Compliance Filing
OPTIONS MATRIX
Solution Options2
# | Design Components1 | Priority | Status Quo | FERC Order | Column1 | B | NextEra | D | E
1 | Synchronized Reserve |  | Respond within 10 minutes, for shorter of 30 minutes or duration of the event. Must be synchronized to the grid. | 841 encouraged RTOs to consider no energy schedule for ancillary services
1.1 | Energy Schedule Requirement |  | Energy schedule required for generators, not Demand Response. ESR must be explicitly marked Non-Energy Resource to not require a schedule (LOC will be zero) |  |  |  | if an ESR is electrically connected to the grid and available for dispatch, why would it need an energy schedule to be considered for providing reserves? What is the process to mark as a 'Non-Energy Resource'? What is the process and frequency for changing that designation?
1.2 | Duration of assignment |  | Hourly availably, Assignment can be intrahour (for 5 minute flexible) or hourly (for 60 minute inflexible) |  |  |  | sub-hourly designation is appropriate for (most) ESR
1.3 | Exception/Calculation in Sync Reserves |  | ESR eligible to provide SR by exception |  |  |  | there should not be an exception process for fast-responding ESR to qualify as synch reserves - they should qualify by default
1.4 | Performance Metric (measurement) |  | ESRs could respond to a Sync Event in RT and be compensated for the MWs provided (generation or curtailment). |  |  |  | appropriate
2 | Regulation |  | RT telemetry and able to follow AGC Performance demonstration of following PJM Regulation signal(s) 1 hour assignments Capability MW must be bi-directional and symmetric Positive and negative MW both count Energy schedule not required | 841 encouraged RTOs to consider no energy schedule for ancillary services |  |  | Consider assigning regulation duty on sub-hourly basis
2.1 | Energy Schedule Requirement |  | Energy schedule not required if explicitly marked Non-Energy Resource (LOC will be zero). |  |  |  | if an ESR is electrically connected to the grid and available for dispatch, why would it need an energy schedule to be considered for providing regulation? What is the process to mark as a 'Non-Energy Resource'? What is the process and frequency for changing that designation? This requirement, and associated stipulation that 'LOC is zero' appears overly limiting.
2.2 | Open to feedback | [5 empty] | Can an ESR provide regulation with only part of its capability, ie, with a non-zero basepoint? Does PJM's energy-neutral regulation signal account for round-trip charge/discharge losses to maintain the ESR's charge level? Can I regulate in one (5-minute) interval and switch to energy or reserve service in the next? Does PJM optimize a resource's service as energy, reserve, regulation, etc? Over what time horizon?
3 | Non-Synchronized Reserve |  | Respond within 10 minutes, for 30 minutes or duration of the event. Must be in offline state. | 841 encouraged RTOs to consider no energy schedule for ancillary services
3.1 | Open to feedback | [5 empty] | if an ESR is electrically connected to the grid and available for dispatch, why would it need an energy schedule to be considered for providing reseerves? Clarify the duration requirement - if a reserve event lasts for more than 30 minutes and the ESR fully depletes its charge at the 30-minute mark, has it met its reserve performance requirement, or not? if not, what are the consequences? Qualifying for NSR should not require an 'exception' process. As long as an ESR meets the technical requirements, it should be considered eligible.
4 | Day-Ahead Scheduling Reserve |  | ESR is currently excluded from DASR | 841 encouraged RTOs to consider no energy schedule for ancillary services
4.1 | Open to feedback | [5 empty] | why exclude ESR? ESR should be eligible to be counted for all forms of reserve, subject to verifying SoC (and to having the technical capability). Who provides the SoC estimate for HE midnight that goes into DA algorithm as the starting point? This is presumably a key element in how much energy/reserve capability an ESR has in the DA sceduling run.
5 | Reactive Service |  | All PJM generators must have reactive capability. | 841 encouraged RTOs to consider no energy schedule for ancillary services | [5 empty] | Low
5.1 | Schedule 2 cost recovery for reactive |  | Cost recovery for Reactive Supply can be filed with FERC under Schedule 2.
5.2 | Lost Opportunity Cost for reactive |  | When PJM backs a unit down from its economic point in order to derive more reactive support for reliability needs, PJM pays Lost Opportunity Cost from the energy market based on energy schedule. |  |  |  | Is this a pay-as-bid arrangment, or a market clearing price?
6 | Capacity | [8 empty] | Low - Medium
6.1 | Duration Requirement |  | 10 hours, derating allowed with approval | Allow ESRs to de-rate their capacity to meet capacity market requirements |  |  | 10 hour duration is unreasonable for establishing an ESR's contribution toward meeting Resource Adequacy needs and ensuring reliability at peak. The responsiveness and flexibility of ESRs and their ability to function as both load management and gen require a re-thinking of the 10-hour duration requirement.
6.2 | Testing Requirement |  | Annual test
6.3 | Capacity Market Must-Offer |  | ESR selling Capacity exempt from requirement to offer to subsequent RPM auctions
6.4 | DA Energy Must Offer for capacity resources |  | ESR with X MW Capacity position must schedule/offer X MW into each interval of DA energy market in corresponding delivery year |  |  |  | other than the 'X MW' requirement, what other parameters of a DA offer are required? Ie, is it acceptable to offer a high price to discharge/low price to charge to minimize exposure to a DA schedule? Or to offer only the minimum MWh associated with one cycle to avoid an infeasible schedule?
7 | Energy |  | ESR can offer positive MW only. Self Scheduling of charge and discharge available. |  |  |  | what form will the changes take to enable ESR to offer both positive and negative? Is it one continuous curve with both positive and negative values, or two curves, one for charging and one for discharging?
7.1 | Outage Rules |  | Status quo
7.2 | Cost Offers |  | $0, or as described in an accepted Fuel Cost Policy |  |  |  | will ESR be able to reflect changing opportunity costs during the course of the day? Will ESR be able to submit 'spread' bids that reflect the minimum differential they need between charge cost and discharge revenue, and have PJM optimize for that over a day, over the remaining hours in a day, or over some other period? How will the market monitor determine 'cost', including opportunity cost, for ESR?
7.3 | Modeling and Telemetry |  | Status quo
7.4 | Dispatch while allowing resources to manage their own state of charge |  | All ESR always manage their own state of charge | ESR must be able to manage their own state of charge |  |  | Does PJM provide sufficient tools to enable self-management of SoC when operating in energy markets? Eg, spread bidding, rapid ability to change bid/offer prices and nominated charge/discharge levels, all done through machine-to-machine communications?
7.5 | How to account for State Of Charge and other characteristics of ESR |  | ESR State Of Charge not accounted for in energy market | PJM must account for SOC and other characteristics of ESR |  |  | If PJM is not managing SoC, under what circumstances and for what specific purposes would SoC telemetry be required?
7.6 | Price Setting and dispatch as market buyer |  | No dispatch for charging. No bid as buyer so cannot set price when charging. | Revise the tariff to ensure that resources using ESR participation model can be dispatched as supply and demand and can set the wholesale market clearing price as both a wholesale seller and wholesale buyer |  |  | appropriate
7.7 | Make whole |  | Make whole for discharge/sales but not charge/purchases | Revise the tariff to ensure that resources available for manual dispatch as a wholesale buyer and wholesale seller under the ESR participation model are held harmless for manual dispatch by being eligible for make-whole payments. |  |  | appropriate, recognizing that the goal should be to minimize manual dispatch, where it can't be eliminated altogether
8 | Criteria for using ESR model
8.1 | Criteria for using ESR model |  |  |  | Fits definition of Electric Storage Resource per FERC's definition: "a resource capable of receiving electric energy from the grid and storing it for later injection of electric energy back to the grid"… regardless of location | Affirmatively registers with PJM as using the ESR participation model.
Instructions:
*Implementation should consider timing for both PJM and stakeholders (added as standard component based on Stakeholder feedback- 2015)
1Design Components - each is an "attibute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Design Component Details" tab (2a).
3. Using informal feedback from the participants, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Option Details" tab 2b.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package", to be documented in tab 3, "Packages Matrix".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.

## 2a. Design Component Details
Market Implementation Committee Special Session: Electric Storage Participation - FERC Order 841
FERC Order 841 Compliance Filing
COMPONENT DETAILS
Instructions: Complete this form as needed. Design components should be populated from the Options Matrix.
Design Component | Detailed Description
1 | <enter detailed description of this component>
2 | <enter detailed description of this component>
3 | <enter detailed description of this component>
4 | <enter detailed description of this component>
5 | <enter detailed description of this component>

## 2b. Option Details
Market Implementation Committee Special Session: Electric Storage Participation - FERC Order 841
FERC Order 841 Compliance Filing
SOLUTION OPTION DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of options than the Options Matrix allows.
Cell # | Detailed Description
Corresponding cell number from Options Matrix (ex. 1A, 1B, 2A, etc.) | <enter detailed description of this option>

## 3. Package Matrix
Market Implementation Committee Special Session: Electric Storage Participation - FERC Order 841
FERC Order 841 Compliance Filing
PACKAGE/ PROPOSAL MATRIX
Packages
# | Design Components | Priority | Status Quo | A | B | C | D | E
1
2
3
4
5
6
7
8
9 | [8 empty] | Low
10 | [8 empty] | Low - Medium
Low - High
Medium
Instructions: | [8 empty] | Medium - High
1. Copy over design component, priority, and status quo columns from options matrix | [8 empty] | High
2. Complete individual packages in columns by selecting individual component options from the options matrix.

## 3a. Package Details
Market Implementation Committee Special Session: Electric Storage Participation - FERC Order 841
FERC Order 841 Compliance Filing
PACKAGE / PROPOSAL DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of package components than the Package Matrix allows.
Package Solutions2
| A | B | C | D | E
1 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
2 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
3 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
4 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
5 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>

## Parking Lot
Market Implementation Committee Special Session: Electric Storage Participation - FERC Order 841
FERC Order 841 Compliance Filing
PARKING LOT
Instructions: Use this space to document any items not specific to another topic area.
Description

## Revision History
Market Implementation Committee Special Session: Electric Storage Participation - FERC Order 841
FERC Order 841 Compliance Filing
Revision History
Current Spreadsheet Version:
Instructions: Document all version changes to this matrix for easy identification of changes.
Version | Posting Date | Description of changes
1 | 2018-05-20 | Initial version based on PJM-internal discussions
2
3