## July 2023
PJM Interconnection
July 2023 Load Forecast Update
For Informational Purposes Only
SUMMER COINCIDENT PEAK LOAD (MW) FOR
EACH PJM ZONE, LOCATIONAL DELIVERABILITY AREA AND RTO
Forecast Release
| July 2023 Load Forecast | January 2023 Load Forecast
2023/24
AE | 2294 | 2296
AEP | 21807 | 21837
APS | 8462 | 8531
ATSI | 11466 | 11591
BGE | 6190 | 6232
COMED | 18699 | 18866
DAY | 3127 | 3104
DEOK | 5039 | 5001
DLCO | 2628 | 2635
DOM | 21241 | 21274
DPL | 3640 | 3637
EKPC | 1945 | 1919
JCPL | 5723 | 5692
METED | 2903 | 2918
OVEC | 60 | 60
PECO | 8001 | 8037
PENLC | 2737 | 2745
PEPCO | 5896 | 5895
PL | 6891 | 6881
PS | 9415 | 9335
RECO | 391 | 388
UGI | 186 | 184
PJM RTO | 148741 | 149058
MAAC | 54267 | 54240
EMAAC | 29464 | 29385
SWMAAC | 12086 | 12127
2024/25
AE | 2262 | 2268
AEP | 21850 | 22007
APS | 8497 | 8602
ATSI | 11280 | 11527
BGE | 6133 | 6191
COMED | 18511 | 18790
DAY | 3110 | 3094
DEOK | 4995 | 4982
DLCO | 2616 | 2628
DOM | 22032 | 22126
DPL | 3595 | 3601
EKPC | 1932 | 1927
JCPL | 5661 | 5646
METED | 2898 | 2923
OVEC | 60 | 60
PECO | 7977 | 8034
PENLC | 2719 | 2731
PEPCO | 5885 | 5894
PL | 6872 | 6878
PS | 9313 | 9258
RECO | 390 | 388
UGI | 185 | 184
PJM RTO | 148773 | 149739
MAAC | 53890 | 53996
EMAAC | 29198 | 29195
SWMAAC | 12018 | 12085
2025/26
AE | 2254 | 2262
AEP | 21891 | 22042
APS | 8837 | 8927
ATSI | 11297 | 11481
BGE | 6114 | 6179
COMED | 18522 | 18771
DAY | 3099 | 3089
DEOK | 4984 | 4973
DLCO | 2609 | 2625
DOM | 22961 | 23058
DPL | 3568 | 3578
EKPC | 1946 | 1936
JCPL | 5648 | 5637
METED | 2910 | 2932
OVEC | 60 | 60
PECO | 7981 | 8047
PENLC | 2714 | 2727
PEPCO | 5900 | 5914
PL | 6883 | 6899
PS | 9255 | 9214
RECO | 392 | 390
UGI | 185 | 183
PJM RTO | 150010 | 150924
MAAC | 53804 | 53962
EMAAC | 29098 | 29128
SWMAAC | 12014 | 12093
2026/27
AE | 2244 | 2253
AEP | 21957 | 22081
APS | 9046 | 9124
ATSI | 11343 | 11450
BGE | 6083 | 6149
COMED | 18510 | 18688
DAY | 3102 | 3094
DEOK | 4988 | 4968
DLCO | 2604 | 2624
DOM | 24717 | 24823
DPL | 3545 | 3559
EKPC | 1961 | 1944
JCPL | 5627 | 5621
METED | 2923 | 2941
OVEC | 60 | 60
PECO | 7972 | 8047
PENLC | 2707 | 2723
PEPCO | 5914 | 5933
PL | 6891 | 6914
PS | 9190 | 9163
RECO | 393 | 392
UGI | 184 | 183
PJM RTO | 151961 | 152734
MAAC | 53673 | 53878
EMAAC | 28971 | 29035
SWMAAC | 11997 | 12082
NOTES:
(1) July 2023 Load Forecast update used Moody's Analytics' June 2023 forecast release
(2) All other forecast assumptions in the July 2023 Load Forecast update are consistent with the January 2023 Load Forecast
(3) The July 2023 Load Forecast uses the same model structure as the January 2023 Load Forecast.