## Summary 1991-2014
Summary of PJM-Initiated Load Management Events
[5 empty] | OPERATIONS INFORMATION |  |  |  | Running Total:
[9 empty] | # of Events |  | LM Capacity
Event # | Delivery Year | Year | Date | Step(s) Invoked | Time of Notification | Start Time | Time Released | Notes | Step 1 | Step 2 | Committed/Expected MW**
1 | 1991/92 | 1991 | Sep 16 (Mon) | 1, 2, 3, and 4 | 14:33 | 14:33 | 20:09 | Members could choose to use this as a compliance event
2 | 1992/93 | 1992 | Jul 14 (Tue) | 1, 2, and 3 | 15:10 | 15:10 | 16:31 | Members could choose to use this as a compliance event
3 | 1993/94 | 1994 | Jan 19 (Wed.) | 1, 2, 3, and 4 | 5:06 | 6:00 | 22:32 | 5% voltage reduction 6:45 - 20:28. Manual load shed 7:05 - 7:41 and 9:22 - 13:07 (max. 1500 MW). Event occurred outside ALM period.
4 | 1993/94 | 1994 | Jan 20 (Thur.) | 1, 2, 3, and 4 | 7:40 | 7:40 | 24:00 | Event occurred outside ALM compliance period
5 | 1993/94 | 1994 | Jan 21 (Fri.) | 1 and 2 |  | 0:01 | 11:51 | Event occurred outside ALM compliance period
6 | 1995/96 | 1995 | Aug 3 (Thur) | 2 | 12:00 | 12:00 | 18:00
7 | 1995/96 | 1996 | May 20 (Mon) |  | 15:06 | 15:06 | 18:32 | 5% voltage reduction. Event occurred outside ALM compliance period
8 | 1995/96 | 1996 | May 21 (Tue) | 3 and 4 | 11:17 | 11:17 | 16:00 | Event occurred outside ALM compliance period
|  |  |  | 2 | 11:17 | 11:17 | 16:17
|  |  |  | 1 | 11:17 | 11:17 | 16:28
9 | 1998/99 | 1998 | Jun 26 (Fri) | 2 | 10:10 | 13:00 | 14:15
10 | 1999/2000 | 1999 | Jun 8 (Tue) | 2 and 4 | 9:31 | 12:00 | 18:00 |  | 0 | 1
11 | 1999/2000 | 1999 | Jul 6 (Tue) | 2 and 4 | 9:18 | 13:00 | 19:00 | 5% voltage reduction 13:58 - 18:10
|  |  |  | 1 and 3 | 12:50 | 12:50 | 19:00 |  | 1 | 2
12 | 1999/2000 | 1999 | Jul 19 (Mon) | 1 and 3 | 12:55 | 12:55 | 16:25 | 5% volt. red. 12:55 - 14:06 (East only)
|  |  |  | 2 and 4 | 13:12 | 13:12 | 16:25 | No compliance report needed for Step 2 | 2 | 3
13 | 1999/2000 | 1999 | Jul 23 (Fri) | 2 and 4 | 9:50 | 12:00 | 17:00 |  | 2 | 4
14 | 1999/2000 | 1999 | Jul 28 (Wed) | 2 and 4 | 9:00 | 12:00 | 17:13 | PP&L (EDC) customers excluded |  | 4 PL
|  |  |  | 1 and 3 | 14:38 | 14:38 | 17:13 |  | 3 | 5 non-PL
15 | 1999/2000 | 1999 | Jul 30 (Fri) | 2 and 4 | 9:28 | 12:00 | 17:58 |  |  | 5 PL
|  |  |  | 1 and 3 | 13:45 | 13:45 | 17:58 |  | 4 | 6 non-PL
16 | 1999/2000 | 2000 | May 8 (Mon) | 1, 2, 3, and 4 | 13:30 | 13:30 | 18:40 | 5% volt. red. 15:45 - 18:04. Event occurred outside ALM compliance period | 5 | 6 / 7
17 | 1999/2000 | 2000 | May 9 (Tue) | 1, 2, 3, and 4 | 9:03 | 12:30 | 18:30 | Event occurred outside ALM compliance period | 6 | 7 / 8
18 | 2001/02 | 2001 | Jul 25 (Wed) | 1, 2, 3, and 4 | 13:29 | 13:29 | 17:25 | LRPP Emergency: 14:08 - 17:25 | 1 | 1
19 | 2001/02 | 2001 | Aug 8 (Wed) | 2 and 4 | 10:30 | 13:00 | 18:30 | LRPP Emergency: 12:40 - 18:00 |  | 2
|  |  |  | 1 and 3 | 12:40 | 13:30 | 18:00 |  | 2
20 | 2001/02 | 2001 | Aug 9 (Thu) | 2 and 4 | 10:00 | 12:30 | 19:00 | 5% volt. red.: 14:40 - 18:15 (East), 15:10 - 17:09 West |  | 3
|  |  |  | 1 and 3 | 11:04 | 12:00 | 18:30 | LRPP Emergency: 11:20 - 19:00 | 3
21 | 2001/02 | 2001 | Aug 10 (Fri) | 2 and 4 | 8:30 | 11:00 | 14:40 |  |  | 4
|  |  |  | 1 and 3 | 10:54 | 12:00 | 13:10 |  | 4
22 | 2002/03 | 2002 | Jul 3 (Wed) | 1, 2, 3, and 4 | 9:35 | 12:00 | 18:00 | Demand Side Response Emergency: 12:00 - 17:00 | 1 | 1
23 | 2002/03 | 2002 | Jul 29 (Mon) | 2 and 4 | 11:10 | 13:10 | 18:00 |  | 1 | 2
24 | 2002/03 | 2002 | Jul 30 (Tue) | 2 and 4 | 10:00 | 12:00 | 18:00 |  | 1 | 3
25* | 2005/06 | 2005 | Jul 27 (Wed) | 2 and 4 | 11:00 | 13:00 | 18:10 | Mid-Atlantic and Dominion only. |  | 1
|  |  |  | 1 and 3 | 11:00 | 14:00 | 18:10 | 5% volt. red.: 13:39 - 17:30 (BC, DOM, PEP, PED) | 1
5% volt. red.: 14:21 - 17:30 (PE, JC, PS, Eastern PL)
26 | 2005/06 | 2005 | Aug 4 (Thu) | 2 and 4 | 12:30 | 14:30 | 17:15 | Mid-Atlantic only | 1 | 2
27 | 2006/07 | 2006 | Aug 2 (Wed) | 2 and 4 | 12:34 | 13:00 | 19:33 | Mid-Atlantic only |  | 1
|  |  |  | 1 and 3 | 15:11 | 15:30 | 19:33 |  | 1
28 | 2006/07 | 2006 | Aug 3 (Thu) | 2 | 12:15 | 14:15 | 19:00 | Mid-Atlantic only |  | 2
|  |  |  | 1 | 13:00 | 14:00 | 19:00 |  | 2
29 | 2007/08 | 2007 | Aug 8 (Wed) | 2 and 4 | 11:44 | 13:44 | 18:35 | BGE and PEPCO zones |  | 1
|  |  |  | 2 and 4 | 12:08 | 14:08 | 17:50 | Mid-Atlantic region |  | 1
|  |  |  | 2 and 4 | 12:08 | 14:08 | 18:35 | DOM zone |  | 1
|  |  |  | 1 and 3 | 12:20 | 13:20 | 18:35 | BGE and PEPCO zones | 1
|  |  |  | 1 and 3 | 15:30 | 16:30 | 17:50 | Mid-Atlantic and DOM | 1
[5 empty] | 15:55 | 15:55 | 17:09 | 5% voltage reduction. Mid-Atlantic only
[5 empty] | 17:09 | 17:09 | 17:59 | 5% volt. red. continued for BGE and PEPCO zones only |  |  | LM Capacity
Committed/Expected MW**
30 | 2009/10 | 2010 | May 26 (Wed) | 2 | 15:15 | 17:15 | 19:59 | DC portion of PEPCO zone only. Event occurred outside compliance period |  | 1 | 47
31 | 2010/11 | 2010 | Jun 11 (Fri) | 2 | 13:58 | 15:58 | 20:12 | DC portion of PEPCO zone only |  | 1 | 137
32 | 2010/11 | 2010 | Jul 7 (Wed) | 2 | 11:37 | 13:37 | 19:07 | DOM zone |  | 1 | 2725
|  |  |  | 2 | 12:30 | 14:30 | 18:32 | AE, BGE, DPL, JCPL, PECO, PS, RECO zones |  | 1
|  |  |  | 2 | 12:30 | 14:30 | 18:32 | PEPCO zone |  | 2
33 | 2010/11 | 2010 | Aug 11 (Wed) | 2 | 11:15 | 13:15 | 19:15 | DC portion of PEPCO zone only |  | 3 | 60
34 | 2010/11 | 2010 | Sep 23 (Thu) | 1 | 11:00 | 12:00 | 18:00 | MD, VA and WV portions of APS zone only | 1 |  | 849
|  |  |  | 2 | 11:00 | 13:00 | 19:00 | MD, VA and WV portions of APS zone only |  | 1
|  |  |  | 2 | 12:30 | 14:30 | 20:00 | BGE zone |  | 2
35 | 2010/11 | 2010 | Sep 24 (Fri) | 2 | 10:30 | 12:30 | 18:30 | BGE zone |  | 3 | 967
[8 empty] | PEPCO zone |  | 4
[8 empty] | MD, VA and WV portions of APS zone only |  | 2
36 | 2010/11 | 2011 | May 26 (Thu) | 2 | 14:20 | 16:20 | 18:20 | Norfolk portion of DOM zone only. Event occurred outside compliance period |  | 2 | 253
37 | 2010/11 | 2011 | May 31 (Tue) | 2 | 15:05 | 17:05 | 19:05 | Event occurred outside compliance period. |  |  | 3450
[8 empty] | METED, PENLC, PL, RECO zones |  | 1
[8 empty] | AE, DPL, JCPL, PECO, PS zones |  | 2
[8 empty] | DOM zone |  | 3
[8 empty] | BGE zone |  | 4
[8 empty] | PEPCO zone |  | 5
38 | 2011/12 | 2011 | Jul 22 (Fri) | 2 | 10:00 | 12:00 | 18:00 | BGE zone |  | 1 | 2296
|  |  |  | 1 | 11:00 | 12:00 | 17:30 | BGE zone | 1
|  |  |  | 2 | 11:30 | 13:30 | 18:30 | JCPL, METED zones |  | 1
|  |  |  | 2 | 11:30 | 13:30 | 19:00 | PECO zone |  | 1
|  |  |  | 2 | 11:30 | 13:30 | 19:30 | DPL, DLCO zones |  | 1
39 | 2012/13 | 2012 | Jul 17 (Tue) | 2 | 13:08 | 15:08 | 19:05 | AEP, DOM zones |  | 1 | 1670
40 | 2012/13 | 2012 | Jul 18 (Wed) | 2 | 13:22 | 15:22 | 17:23 | BGE, JCPL, PECO, PENLC, PEPCO zones |  | 1 | 2135
|  |  |  | 2 | 13:38 | 15:38 | 17:29 | DPL zone |  | 1
|  |  |  | 1 | 14:28 | 15:28 | 17:34 | AE, BGE, DPL, JCPL, METED, PECO, PENLC, PEPCO, PL, PS, RECO zones | 1
41 | 2013/14 | 2013 | Jul 15 (Mon) | 2 | 13:50 | 15:50 | 18:22 | ATSI zone |  | 1 | 690
42 | 2013/14 | 2013 | Jul 16 (Tue) | 2 | 11:30 | 13:30 | 16:30 | ATSI zone |  | 2 | 690
43 | 2013/14 | 2013 | Jul 18 (Thu) | 2 | 12:40 | 14:40 | 18:00 | ATSI zone |  | 3 | 1791
|  |  |  | 2 | 12:40 | 14:40 | 17:00 | PECO, PL zones |  | 1
|  |  |  | 2 | 13:00 | 15:00 | 18:00 | Canton portion of AEP zone only |  | 1
44 | 2013/14 | 2013 | Sep 10 (Tue) | 2 | 13:50 | 15:50 | 21:30 | ATSI zone |  | 4 | 798
|  |  |  | 2 | 14:45 | 16:45 | 21:30 | Canton portion of AEP zone only |  | 2
45 | 2013/14 | 2013 | Sep 11 (Wed) | 2 | 11:30 | 13:30 | 19:30 | AEP zone Note: 3rd event for Canton portion of AEP zone |  | 1 | 6048
|  |  |  | 2 | 12:00 | 14:00 | 20:00 | ATSI zone |  | 5
|  |  |  | 2 | 12:30 | 14:30 | 18:30 | DOM zone |  | 1
|  |  |  | 2 | 13:00 | 15:00 | 17:00 | AE, JCPL, PS, RECO zones |  | 1
|  |  |  | 2 | 13:00 | 15:00 | 17:30 | METED zone |  | 1
|  |  |  | 2 | 13:00 | 15:00 | 17:30 | PECO, PL zones |  | 2
|  |  |  | 2 | 13:00 | 15:00 | 18:00 | BGE, DPL, PEPCO zones |  | 1
|  |  |  | 2 | 13:00 | 15:00 | 18:30 | PENLC zone |  | 1
|  |  |  | 1 | 13:00 | 14:00 | 17:15 | AE, BGE, DPL, JCPL, METED, PECO, PENLC, PEPCO, PL, PS, RECO zones | 1
|  |  |  | 2 | 13:00 | 15:00 | 18:30 | DLCO zone |  | 1
| 2013/14 | 2014 | Jan 6 (Mon) |  |  |  |  | 5% voltage reduction: 19:52 - 20:45
46 | 2013/14 | 2014 | Jan 7 (Tue) | 1 | 4:30 | 5:30 | 11:00 | AEP,APS,ATSI,COMED,DAYTON,DEOK,DLCO,DOM,EKPC zones | 1 |  | 1887
|  |  |  | 1 | 4:30 | 5:30 | 11:00 | AE, BGE, DPL, JCPL, METED, PECO, PENLC, PEPCO, PL, PS, RECO zones | 2
|  |  |  | 2 | 4:30 | 6:30 | 11:00 | APS,COMED,DAYTON,DEOK,EKPC zones |  | 1
|  |  |  | 2 | 4:30 | 6:30 | 11:00 | AEP zone Note: 4th event for Canton portion of AEP zone |  | 2
|  |  |  | 2 | 4:30 | 6:30 | 11:00 | AE,BGE,DPL,DLCO,DOM,JCPL,METED,PENLC,PEPCO,PS, RECO zones |  | 2
|  |  |  | 2 | 4:30 | 6:30 | 11:00 | PECO, PL zones |  | 3
|  |  |  | 2 | 4:30 | 6:30 | 11:00 | ATSI zone |  | 6
Event occurred outside compliance period.
47 | 2013/14 | 2014 | Jan 7 (Tue) | 1 | 15:00 | 16:00 | 18:15 | AEP,APS,ATSI,COMED,DAYTON,DEOK,DLCO,DOM,EKPC zones | 2 |  | 3042
|  |  |  | 1 | 15:00 | 16:00 | 18:15 | AE, BGE, DPL, JCPL, METED, PECO, PENLC, PEPCO, PL, PS, RECO zones | 3
|  |  |  | 2 | 15:00 | 17:00 | 18:15 | APS,COMED,DAYTON,DEOK,EKPC zones |  | 2
|  |  |  | 2 | 15:00 | 17:00 | 18:15 | AEP zone Note: 5th event for Canton portion of AEP zone |  | 3
|  |  |  | 2 | 15:00 | 17:00 | 18:15 | AE,BGE,DPL,DLCO,DOM,JCPL,METED,PENLC,PEPCO,PS, RECO zones |  | 3
|  |  |  | 2 | 15:00 | 17:00 | 18:15 | PECO, PL zones |  | 4
|  |  |  | 2 | 15:00 | 17:00 | 18:15 | ATSI zone |  | 7
Event occurred outside compliance period.
48 | 2013/14 | 2014 | Jan 8 (Wed) | 1 | 5:00 | 6:00 | 7:00 | AEP,APS,ATSI,COMED,DAYTON,DEOK,DLCO,DOM,EKPC zones | 3 |  | Cancelled prior to start time
|  |  |  | 1 | 5:00 | 6:00 | 7:00 | AE, BGE, DPL, JCPL, METED, PECO, PENLC, PEPCO, PL, PS, RECO zones | 4
|  |  |  | 2 | 5:00 | 7:00 | 7:00 | APS,COMED,DAYTON,DEOK,EKPC zones |  | 3
|  |  |  | 2 | 5:00 | 7:00 | 7:00 | AEP zone Note: 6th event for Canton portion of AEP zone |  | 4
|  |  |  | 2 | 5:00 | 7:00 | 7:00 | AE,BGE,DPL,DLCO,DOM,JCPL,METED,PENLC,PEPCO,PS, RECO zones |  | 4
|  |  |  | 2 | 5:00 | 7:00 | 7:00 | PECO, PL zones |  | 5
|  |  |  | 2 | 5:00 | 7:00 | 7:00 | ATSI zone |  | 8
Event occurred outside compliance period.
49 | 2013/14 | 2014 | Jan 22 (Wed) | 1 | 14:00 | 15:00 | 21:00 | BGE, PEPCO zones | 5 |  | 140
|  |  |  | 2 | 14:00 | 16:00 | 21:00 | BGE, PEPCO zones |  | 5
Event occurred outside compliance period.
50 | 2013/14 | 2014 | Jan 23 (Thu) | 1 | 4:30 | 5:30 | 8:30 | APS, DOM zones | 4 |  | 633
|  |  |  | 1 | 4:30 | 5:30 | 8:30 | AE, DPL, JCPL, METED, PECO, PENLC, PL, PS, RECO zones | 5
|  |  |  | 1 | 4:30 | 5:30 | 8:30 | BGE, PEPCO zones | 6
|  |  |  | 2 | 4:30 | 6:30 | 8:30 | APS zone |  | 4
|  |  |  | 2 | 4:30 | 6:30 | 8:30 | AE,DPL,DOM,JCPL,METED,PENLC,PS, RECO zones |  | 5
|  |  |  | 2 | 4:30 | 6:30 | 8:30 | BGE, PECO, PEPCO, PL zones |  | 6
Event occurred outside compliance period.
51 | 2013/14 | 2014 | Jan 23 (Thu) | 1 | 14:00 | 15:00 | 19:00 | APS, DOM zones | 5 |  | 1266
|  |  |  | 1 | 14:00 | 15:00 | 19:00 | AE, DPL, JCPL, METED, PECO, PENLC, PL, PS, RECO zones | 6
|  |  |  | 1 | 14:00 | 15:00 | 19:00 | BGE, PEPCO zones | 7
|  |  |  | 2 | 14:00 | 16:00 | 19:00 | APS zone |  | 5
|  |  |  | 2 | 14:00 | 16:00 | 19:00 | AE,DPL,DOM,JCPL,METED,PENLC,PS, RECO zones |  | 6
|  |  |  | 2 | 14:00 | 16:00 | 19:00 | BGE, PECO, PEPCO, PL zones |  | 7
Event occurred outside compliance period.
52 | 2013/14 | 2014 | Jan 24 (Fri) | 1 | 4:30 | 5:30 | 8:45 | APS, DOM zones | 6 |  | 706
|  |  |  | 1 | 4:30 | 5:30 | 8:45 | AE, DPL, JCPL, METED, PECO, PENLC, PL, PS, RECO zones | 7
|  |  |  | 1 | 4:30 | 5:30 | 8:45 | BGE, PEPCO zones | 8
|  |  |  | 2 | 4:30 | 6:30 | 8:45 | APS zone |  | 6
|  |  |  | 2 | 4:30 | 6:30 | 8:45 | AE,DPL,DOM,JCPL,METED,PENLC,PS, RECO zones |  | 7
|  |  |  | 2 | 4:30 | 6:30 | 8:45 | BGE, PECO, PEPCO, PL zones |  | 8
Event occurred outside compliance period.
53 | 2013/14 | 2014 | Mar 4 (Tue) | 1 | 4:30 | 5:30 | 8:30 | AEP,ATSI,COMED,DAYTON,DEOK,DLCO,EKPC zones | 4 |  | 1592
|  |  |  | 1 | 4:30 | 5:30 | 8:30 | APS, DOM zones | 7
|  |  |  | 1 | 4:30 | 5:30 | 8:30 | AE, DPL, JCPL, METED, PECO, PENLC, PL, PS, RECO zones | 8
|  |  |  | 1 | 4:30 | 5:30 | 8:30 | BGE, PEPCO zones | 9
|  |  |  | 2 | 4:30 | 6:30 | 8:30 | COMED,DAYTON,DEOK,EKPC zones |  | 4
|  |  |  | 2 | 4:30 | 6:30 | 8:30 | AEP, DLCO zones Note: 7th event for Canton portion of AEP zone |  | 5
|  |  |  | 2 | 4:30 | 6:30 | 8:30 | APS zone |  | 7
|  |  |  | 2 | 4:30 | 6:30 | 8:30 | AE,DPL,DOM,JCPL,METED,PENLC,PS, RECO zones |  | 8
|  |  |  | 2 | 4:30 | 6:30 | 8:30 | ATSI, BGE, PECO, PEPCO, PL zones |  | 9
Event occurred outside compliance period.
* Prior to Event #25, all events were Mid-Atlantic only.
** Average committed capacity reduction when event occurs in a capacity compliance period. Average expected energy reduction, as reported by CSPs, when event is outside of capacity compliance period.
LM Step Definitions: | [6 empty] | Eastern PJM = AE, DPL, JCPL, PECO, and PS zones
Step 1: PJM-dispatchable, Short Lead Time (<= 1 hour) | [6 empty] | LRPP: Load Response Pilot Program
Step 2: PJM-dispatchable, Long Lead Time (> 1 hour) | [6 empty] | Mid-Atlantic = AE, BGE, DPL, JCPL, METED, PECO, PEPCP, PENLC, PL, PS, RECO (effective 2002/03) zones
Step 3: Company-dispatchable, Short Lead Time (<= 1 hour)
Step 4: Company-dispatchable, Long Lead Time (> 1 hour)

## Summary 2015-2022
Summary of PJM-Initiated Load Management Events***
[7 empty] | OPERATIONS INFORMATION |  |  |  |  | Running Total:
[12 empty] | # of Events |  | LM Capacity
Event # | Delivery Year | Year | Date | Type(s) Invoked | Notification Period Invoked | Product(s) Invoked | Time of Notification | Start Time | Time Released | Zone(s) Dispatched | Notes | Step 1 | Step 2 | Committed/Expected MW**
54 | 2014/15 | 2015 | Apr 21 (Tue.) | Pre-Emergency | Long_120 | L, E | 18:20 | 20:20 | 21:30 | PENLC | Event occurred outside compliance period |  |  | 99
[5 empty] | Short_60 | L | 18:20 | 19:20 | 21:30
|  |  |  | Emergency | Long_120 | L, E | 18:20 | 20:20 | 21:30
55 | 2014/15 | 2015 | Apr 22 (Wed.) | Pre-Emergency | Long_120 | L, E | 5:30 | 7:30 | 12:30 | PENLC | Event occurred outside compliance period |  |  | 113
[5 empty] | Short_60 | L | 5:30 | 6:30 | 12:30
|  |  |  | Emergency | Long_120 | L, E | 5:30 | 7:30 | 12:30
56 | 2019/20 | 2019 | Oct 2 (Wed.) | Pre-Emergency | Long_120 | B, CP | 12:00 | 14:00 | 16:00 | AEP | Event occurred outside compliance period for Base |  |  | 734
[6 empty] | B, CP | 12:00 | 14:00 | 15:45 | BGE, PEPCO, DOM
57 | 2022/23 | 2022 | Jun 14 (Tues) | Pre-Emergency | Long_120 | CP | 15:50 | 17:50 | 22:00 | AEP_MARION subzone of AEP
[5 empty] | Short_60 | CP | 15:50 | 16:50 | 22:00 | AEP_MARION subzone of AEP
[5 empty] | Quick_30 | CP | 15:50 | 16:20 | 22:00 | AEP_MARION subzone of AEP |  |  |  | 103
|  |  |  | Emergency | Long_120 | CP | 15:50 | 17:50 | 22:00 | AEP_MARION subzone of AEP
[5 empty] | Quick_30 | CP | 15:50 | 16:20 | 22:00 | AEP_MARION subzone of AEP
58 | 2022/23 | 2022 | Jun 15 (Wed) | Pre-Emergency | Long_120 | CP | 10:50 | 12:50 | 22:00 | AEP_MARION subzone of AEP
[5 empty] | Short_60 | CP | 10:50 | 11:50 | 22:00 | AEP_MARION subzone of AEP
[5 empty] | Quick_30 | CP | 10:50 | 11:20 | 22:00 | AEP_MARION subzone of AEP |  |  |  | 103
|  |  |  | Emergency | Long_120 | CP | 10:50 | 12:50 | 22:00 | AEP_MARION subzone of AEP
[5 empty] | Quick_30 | CP | 10:50 | 11:20 | 22:00 | AEP_MARION subzone of AEP
59 | 2022/23 | 2022 | Jun 16 (Thurs) | Pre-Emergency | Long_120 | CP | 12:30 | 14:30 | 17:00 | AEP_MARION subzone of AEP
[5 empty] | Short_60 | CP | 12:30 | 13:30 | 17:00 | AEP_MARION subzone of AEP
[5 empty] | Quick_30 | CP | 12:30 | 13:00 | 17:00 | AEP_MARION subzone of AEP |  |  |  | 103
|  |  |  | Emergency | Long_120 | CP | 12:30 | 14:30 | 17:00 | AEP_MARION subzone of AEP
[5 empty] | Quick_30 | CP | 12:30 | 13:00 | 17:00 | AEP_MARION subzone of AEP
60 | 2022/23 | 2022 | Dec 23 (Fri) | Pre-Emergency | Quick_30 | CP | 17:30 | 18:00 | 22:15 | AECO, AEP, BGE, COMED, DAY, DEOK, DOM, DPL, DUQ, EKPC, FE-AP, FE-ATSI, FE-JC, FE-ME, FE-PN, PECO, PEPCO, PPL, PSEG, RECO | Mandatory reduction requirement ended at 21:00 |  |  | 3840
[5 empty] | Short_60 | CP | 18:00 | 19:00 | 22:15 | AECO, AEP, BGE, COMED, DAY, DEOK, DOM, DPL, DUQ, EKPC, FE-AP, FE-ATSI, FE-JC, FE-ME, FE-PN, PECO, PEPCO, PPL, PSEG | Mandatory reduction requirement ended at 21:00 |  |  | 303
|  |  |  | Emergency | Quick_30 | CP | 17:45 | 18:15 | 21:30 | AEP, BGE, COMED, DAY, DEOK, DOM, DPL, DUQ, EKPC, FE-AP, FE-ATSI, FE-JC, FE-PN, PECO, PEPCO | Mandatory reduction requirement ended at 21:00 |  |  | 168
[5 empty] | Short_60 | CP | 18:00 | 19:00 | 21:30 | AEP, COMED, DOM, DPL, FE-ATSI, FE-PN | Mandatory reduction requirement ended at 21:00 |  |  | 25
61 | 2022/23 | 2022 | Dec 24 (Sat) | Pre-Emergency | Long_120 | CP | 4:20 | 6:20 | 20:30 | AECO, AEP, BGE, COMED, DAY, DEOK, DOM, DPL, DUQ, EKPC, FE-AP, FE-ATSI, FE-JC, FE-ME, FE-PN, PECO, PEPCO, PPL, PSEG |  |  |  | 3075
[5 empty] | Short_60 | CP | 5:00 | 6:00 | 20:30 | AECO, AEP, BGE, COMED, DAY, DEOK, DOM, DPL, DUQ, EKPC, FE-AP, FE-ATSI, FE-JC, FE-ME, FE-PN, PECO, PEPCO, PPL, PSEG |  |  |  | 303
[5 empty] | Quick_30 | CP | 5:30 | 6:00 | 20:30 | AECO, AEP, BGE, COMED, DAY, DEOK, DOM, DPL, DUQ, EKPC, FE-AP, FE-ATSI, FE-JC, FE-ME, FE-PN, PECO, PEPCO, PPL, PSEG, RECO |  |  |  | 3840
|  |  |  | Emergency | Long_120 | CP | 4:20 | 6:20 | 20:30 | AEP, BGE, COMED, DAY, DOM, DPL, FE-AP, FE-ATSI, PPL |  |  |  | 111
[5 empty] | Short_60 | CP | 5:00 | 6:00 | 20:30 | AEP, COMED, DOM, DPL, FE-ATSI, FE-PN |  |  |  | 25
[5 empty] | Quick_30 | CP | 5:30 | 6:00 | 20:30 | AEP, BGE, COMED, DAY, DEOK, DOM, DPL, DUQ, EKPC, FE-AP, FE-ATSI, FE-JC, FE-PN, PECO, PEPCO |  |  |  | 168
** Average committed capacity reduction when event occurs in a capacity compliance period. Average expected energy reduction, as reported by CSPs, when event is outside of capacity compliance period.
*** Beginning with Event #54, the report was restructured to reflect new options for Type, Notification Period, and Products.
Definitions: | [8 empty] | Eastern PJM = AE, DPL, JCPL, PECO, and PS zones
Step 1: PJM-dispatchable, Short Lead Time (<= 1 hour) | [8 empty] | LRPP: Load Response Pilot Program
Step 2: PJM-dispatchable, Long Lead Time (> 1 hour) | [8 empty] | Mid-Atlantic = AE, BGE, DPL, JCPL, METED, PECO, PEPCP, PENLC, PL, PS, RECO (effective 2002/03) zones
Step 3: Company-dispatchable, Short Lead Time (<= 1 hour)
Step 4: Company-dispatchable, Long Lead Time (> 1 hour)
Pre-Emergency: Load management that can be invoked prior to the declaration of a system emegency
Emergency: Load management that can be invoked susequent to the declaration of a system emegency
B (Base): Committed to providing unlimited load reductions of 10 hours duration in the months Jun-Sep
CP (Capacity Performance): Committed to providing unlimited load reductions of 12 hours duration in the months May-Oct and 15 hours in the months of Nov-Apr
L (Limited): Committed to providing up to 10 load reductions of 6 hours duration in the months Jun-Sep
E (Extended Summer): Committed to providing an unlimited number of interruptions of 10 hours durarion during a period of Jun-Oct and the following May
A (Annual): Committed to providing an unlimited number of interruptions of 10 hours duration
Long_120: Full load reduction must be implemented within 120 minutes of the notification time
Short_60: Full load reduction must be implemented within 60 minutes of the notification time
Quick_30: Full load reduction must be implemented within 30 minutes of the notification time