## 1.2 BASELINE
Static power levels across an entire hour |  | "CBL" = Net POI Baseline |  | SCENARIO 2: |  |  | SCENARIO 3:
INCREASED GEN NO INJECTIONS | Qty | Measurement method |  | SELL EXTRA GEN | Qty | Measurement method | SELL EXTRA GEN AND CURTAIL | Qty | Measurement method
Gross Gen | 3 | MW DER Submeter |  | Gross Gen | 8 | MW DER Submeter | Gross Gen | 8 | MW DER Submeter
Gross Load | 3 | MW Submeter-POI meter |  | Gross Load | 3 | MW Submeter-POI meter | Gross Load | 1 | MW Submeter-POI meter
Net Gen at POI | 0 | MW POI Meter |  | Net Gen at POI | 5 | MW POI Meter | Net Gen at POI | 7 | MW POI Meter
Net POI Baseline ("CBL", positive=withdrawal) | 1.2 | MW POI Meter history |  | Net POI Baseline ("CBL", positive=withdrawal) | 1.2 | MW POI Meter history | Net POI Baseline ("CBL", positive=withdrawal) | 1.2 | MW POI Meter history
Gross Load Baseline | 3 | MW Gross Load history |  | Gross Load Baseline (positive=load) | 3 | MW Gross Load history | Gross Load Baseline | 3 | MW Gross Load history
MEASUREMENT |  |  |  | MEASUREMENT |  |  | MEASUREMENT
MWh Exports AKA Injections | 0 | MWh POI Meter |  | MWh Exports AKA Injections | 5 | MWh POI Meter | MWh Exports AKA Injections | 7 | MWh POI Meter
MWh Imports AKA Withdrawals | 0 | MWh POI Meter |  | MWh Imports AKA Withdrawals | 0 | MWh POI Meter | MWh Imports AKA Withdrawals | 0 | MWh POI Meter
Gross load served by Gen ("GenLoadOffset") | 3 | Both meters |  | Gross load served by Gen ("GenLoadOffset") | 3 | Both meters | Gross load served by Gen ("GenLoadOffset") | 1 | Both meters
Total CBL offset | 1.2 | POI Baseline and POI meter |  | Total CBL offset | 1.2 | POI Baseline and POI meter | Total CBL offset | 1.2 | POI Baseline and POI meter
CBL offset from Gen ("CBLOffsetGen") | 1.2 | Both meters & both baselines |  | CBL offset from Gen ("CBLOffsetGen") | 1.2 | Both meters & both baselines | CBL offset from Gen ("CBLOffsetGen") | 0 | Both meters & both baselines
Total "load only" curtailment (not from gen) | 0 | Both meters and gross load baseline |  | Total "load only" curtailment (not from gen) | 0 | Both meters and gross load baseline | Total "load only" curtailment (not from gen) | 2 | Both meters and gross load baseline
CBL offset from curtailment | 0 | Both meters & both baselines |  | CBL offset from curtailment | 0 | Both meters & both baselines | CBL offset from curtailment | 1.2 | Both meters & both baselines
TOTAL PJM MWh SCHEDULED IN SCED/DA ETC |  |  |  | TOTAL PJM MWh SCHEDULED IN SCED/DA ETC |  |  | TOTAL PJM MWh SCHEDULED IN SCED/DA ETC
Total MWh Scheduled in Energy Market | 0 | MWh |  | Total MWh Scheduled in Energy Market | 6.2 | MWh | Total MWh Scheduled in Energy Market | 8.2 | MWh
Total MWh Settled AKA Paid | 0 | MWh |  | Total MWh Settled AKA Paid | 5 | MWh | Total MWh Settled AKA Paid | 8.2 | MWh
PRICES |  |  |  | PRICES |  |  | PRICES
LMP | 100 | $/MWh |  | LMP | 300 | $/MWh | LMP | 1000 | $/MWh
Retail | 75 | $/MWh |  | Retail | 75 | $/MWh | Retail | 75 | $/MWh
SETTLEMENT |  |  |  | SETTLEMENT |  |  | SETTLEMENT
PJM Energy Market: LMP*Injections | 0 |  |  | PJM Energy Market: LMP*Injections | 1500 |  | PJM Energy Market: LMP*Injections | 7000
PJM Curtailment: LMP*Curtailment | 0 |  |  | PJM Curtailment: LMP*Curtailment | 0 |  | PJM Curtailment: LMP*Curtailment | 1200
PJM CBL offset from DER: $0*CBLOffsetGen | 0 |  |  | PJM CBL offset from DER: $0*CBLOffsetGen | 0 |  | PJM CBL offset from DER: $0*CBLOffsetGen | 0
Retail Purchase | 0 |  |  | Retail Purchase | 0 |  | Retail Purchase | 0
Net POI Baseline = DR Customer Baseline as calculated based on POI values, which are net of Gen + Load. This is needed for scheduling,.
Gross Load Baseline = DR Customer Baseline as calculated based on Gross Load values, which just include the load. This is needed to identify curtailments, which are settled differently from "load offsets".
Total MWh scheduled to PJM is the delta vs. POI baseline + injections (unless settlement is $0 or less)
DER
Utility grid
LOAD
BEHIND THE CUSTOMER METER DER
POI Meter
DER Submeter