## Draft
Categories | Capacity | 30-Minute Reserves | 10-Minute Reserves
Minimum Requirement | Based on IRM and peak load forecast | Percentage of peak load forecast based on average Load Forecast Error and Forced Outage Rate | Based on single largest online contingency during the operating day.
Operational Characteristics | Ability to convert available capability into energy when called upon (without expectation of how quickly the energy can be provided). Can be online or offline. | Ability to convert available, non-emergency, capability into energy within 30 minutes. Can be online or offline. | Ability to convert available, non-emergency, capability into energy within 10 minutes. For Synchronized Reserves, resources must be online and synchronized. Primary Reserves can include offline resources as well.
Performance Incentive | Failure to generate or provide load curtailment capability during a system emergency (Performance Assessment Interval) when called results in Non-Performance Charges. Performance above committed capability, consistent with dispatch instructions, results in bonus payments | Revenues are taken back if 30-minute reserve capability cleared in the Day-ahead Market is not available in real-time. | Synchronized Reserve penalty applies for performance shortfalls during spinning events over 10 minutes.
Market Should Incent: | Availability to meet daily load and reserve needs, especially during emergency conditions. | Ability to provide additional non-emergency energy or load reduction capability within 30 minutes. | Ability to provide additional non-emergency energy or load reduction capability within 10 minutes.
Procurement Process | Procured three years prior to the delivery year via auction process. Incremental auctions occur closer to the Delivery Year. | Procured hourly as Day-ahead Scheduling Reserves (DASR) in the Day-ahead Market. No real-time product. | Procured hourly and every 5-minutes in real-time. Hourly commitment is for inflexible resources that are anticiapted to be economic in the operating hour. Remainder of requirement is co-optimized with real-time energy. No day-ahead product.
Procurement Interval | Generally fixed for the year but can be changed with replacement transactions | Varies by hour for (DASR). To be determined for real-time. | Varies by hour and every 5 minutes
Costs Incurred That Revenues Collected in this Market are Intended to Cover | Fixed costs as defined in Section 6.8 of Attachment DD of the PJM OATT. | Foregone energy market profits that were not collected due to providing 30-minute reserves. These costs are not covered in the capacity market payment. | Foregone energy market profits that were not collected due to providing 10-minute reserves. These costs are not covered in the capacity market payment.

## Sheet2
| Capacity | DA SR | RT SR | RT
| Daily | 30 minute | 10 | 10 minute
| –Address long-term uncertainties |  | –Address short-term uncertainties | –Address short-term uncertainties
| –No flexibility requirement |  | –Flexibility requirements (30 minutes or ) | –Flexibility requirements (10 minutes)
| –Procured 3 years ahead |  | –Procured in real-time and day-ahead | –Procured in real-time
| –Requirement based on IRM and peak load forecast | Based on Peak Forcast of the Operating Day times Load Forececast Error and eford | –Requirement based on largest contingency and short-term forecast errors (i.e. Loss of largest online unit) | –Requirement based on largest contingency and short-term forecast errors (i.e. Loss of largest online unit)
| –The set of resources comprising the Capacity Reserves is constant throughout the year |  | –The set of resources comprising the Operational Reserves varies throughout the year | –The set of resources comprising the Operational Reserves varies throughout the year
| No differentiation between Type of Resouces | Operational Characterstics considered | Operational Characterstics considered | Operational Characterstics considered
Load Forecast Unercertities considered
Cover the Error for Bid In Demand
For Hot and Cold Weather Alerts difference between Bid-In Demand and Forecast??
| No accounting for extremen system condition (For Example HWA, CWA) |  | Operator Actions | Operator Actions
|  |  | Double Contigency | Double Contigency
| Capacity | DA SR | RT SR
Procurement | Secure Supply to meet Demand in Future | Procure Resources to be available for RT | Procured for Larged Contingency Event
Eligibility | No Operational Characteristics Considered | Operational Characterstics considered | Operational Characterstics considered
Clearing Timeline | 3 years ahead | Day-Ahead | Hourly and Every 5 Minutes
Minimum Requirement | Based on IRM and peak load forecast | Based on forecasted peak of operating day multiplied by Load Forececast Error and eford | Based on singel largest online contingency
Set of Resources | Same set for the Year | Varies by Day | Varies by hour and Every 5 minutes
Forecast Error | Long Term | Cover the Error for Bid In Demand | Short Term RT
Extreme Conditions | None | Hot/Cold Weather Alert, Double Contingency | Hot/Cold Weather Alert, Operator Actions, Double Contingency
Percentage of the Peak Load Forcast
Percentage is based on Load Forecast Error and Forced Outage Rate
Forecast Error | Long Term | Cover the error for Bid In Demand and Generator Forced Outage Rate | Short Term RT