## Setup
Enter Stakeholder Group Name in cell A2:
Operating Committee
Enter issue title (use title from Issue Tracking if applicable) in cell A5:
Cold Weather Resource Improvement

## 1. Interest Identification
Operating Committee
Cold Weather Resource Improvement
Interest Identification
Instructions: List interests of all parties on this page.
Evaluation
8 | Identify preventable vs non-preventable circumstances effecting generator performance.
10 | Consider metrics of any changes that are made - show if there is improvement due to changes.
11 | Identify potential reporting requirements for GADs data to provide better statistics.
15 | Criteria based on how recently the unit may have operated.
18 | Identify incentives and impacts of generation performance
Testing
9 | Ensure any new testing requirements are beneficial to the generator performance. (consider unit types)
12 | Opportunities for asset owners to conduct tests which would reduce the types of outages seen in Jan. 2014.
16 | Dual Fuel Unit testing opportunities.
Practices and Standards
2 | Something that is actionable by December 1st, 2014 - but not necessarily everything.
4 | Improve resource ability to honor capacity market commitments at the peak.
6 | Identify best practices implemented by others to ensure optimal performance by generating units.
13 | Evaluate alternative to establishing a standard.
14 | Investigate operational practices leading up to extreme weather (steam units as well as CTs) - physical prep & benefit
17 | Consider NERC guidelines and other industry best practices
Costs
1 | Any changes that are made are actually beneficial to PJM Operations during cold weather events should not impose unreasonable costs on generation owners or other market participants.
3 | Take into consideration equitable compensation for any additional costs.
5 | Insure costs include appropriate benefits to justify the costs.
7 | Ensure cost recovery for incurred expenses for following PJM's direction.

## 2. Options Matrix- Design Comp.
Operating Committee
Cold Weather Resource Improvement
OPTIONS MATRIX
Strive for simplicity
Solution Options2
# | Design Components1 | Priority | Status Quo | A | B | C | D | E
1 | Operational seasonal testing prior to winter events | Medium | Currently no PJM required winter operational tests. Some resource owners currently do have testing they perform prior to winter events. | Voluntary December test for units that have not run in XX days. | Resource owners "nominate" units to test by Nov. 15th for December test. | PJM notifies owners in advance that a unit will run at or above economic min for a minimum run time requirement (PJM will schedule to minimize uplift)
2 | Operational intra-week testing prior to winter events | Medium | Currently no PJM required winter operational tests. Some resource owners currently do have testing they perform prior to winter events. | Test non-steam units not run in XX days closely preceeding a forecasted cold-weather event
3 | Scheduling practices prior to winter events | Medium | PJM follows the process in Manual 13 - Emergency Procedures, Section 3.3 Cold Weather Alert. PJM uses the tables listed that include projected unavailability rates to determine scheduling of units. | PJM ID's units and run as load XX days ahead of predicted cold weather
4 | Checklist usage | Medium | Prior to winter events, PJM sends out the NERC checklist to resource owners. | Checklist (by OC or asset owner) submitted to PJM by mid-Dec | Sign-off on review of checklist (by GO, not per unit) | Develop and implement common GO checklist |  |  | Low
5 | Unit testing criteria (consider type of unit) | Medium | None | Narrow scope to units that have not run in XX days on primary or backup fuel. | Exclude units such as nuclear, wind, and hydro. |  |  |  | Low - Medium
6 | Dual fuel testing | Medium | None | Take into consideration if testing would be on primary or backup fuel or both |  |  |  |  | Low - High
7 | Forced Outage Rate - establish a rate reduction goal or metric. | Medium | None | Goal: reduce from 15% outage rate to X% | Measure by gen type within fleet (ex. CT-CT) | Unit performance will be tracked and analyzed against historical GADS data to guage the effectiveness of testing | Detrmine baseline for testing (average percentage per year) |  | High
8 | Applicability for annual DR resource criteria | Medium | Currently only summer criteria, not winter. | recognize existing m&v procedure during winter load periods (DRS)
9 | Compensation | Low | None | CDS costs through LMP or uplift as scheduled by PJM

## 2a. Component Details
Operating Committee
Cold Weather Resource Improvement
COMPONENT DETAILS
Instructions: Complete this form as needed. Design components should be populated from the Options Matrix.
Design Component |  | Detailed Description
1 | Obligation of capacity resources | <enter detailed description of this component>
2 | Incentives of capacity resources | <enter detailed description of this component>
3 | Fuel availability by location and contracts | <enter detailed description of this component>
4 | Fuel quality (possible checklist item) | <enter detailed description of this component>
5 | Capital Improvement of physical resources to improve performance (winter product) | <enter detailed description of this component>
**Highlighted items have been identified as design components not falling under the Cold Weather Resource Improvement Problem Statement

## 2b. Solution Details
Operating Committee
Cold Weather Resource Improvement
SOLUTION DETAILS
Instructions: Complete this form as needed. Potential solutions should be populated from the Proposal Matrix
Package Solutions2
| A | B | C | D | E
1
2
3
4
5

## 3. Package Matrix
Operating Committee
Cold Weather Resource Improvement
PACKAGE/ PROPOSAL MATRIX
Instructions:
1. Copy over design component, priority, and status quo columns from options matrix
2. Complete individual packages in columns by selecting individual component options from the options matrix.
Packages
# | Design Components | Priority | Status Quo | PJM Package | B | C | D | E
1 | Operational seasonal testing prior to winter events | Medium | Currently no PJM required winter operational tests. Some resource owners currently do have testing they perform prior to winter events. | (B) Resource owners "nominate" units to test by Nov. 15th for December test (With dates / times, etc. for units owner is willing to exercise cost capped) (C)PJM notifies owners in advance that a unit will run at or above economic min for a minimum run time requirement (PJM will schedule to minimize uplift for reliability)
2 | Operational intra-week testing prior to winter events | Medium | Currently no PJM required winter operational tests. Some resource owners currently do have testing they perform prior to winter events. | None
3 | Scheduling practices prior to winter events | Medium | PJM follows the process in Manual 13 - Emergency Procedures, Section 3.3 Cold Weather Alert. PJM uses the tables listed that include projected unavailability rates to determine scheduling of units. | (Status Quo) PJM follows the process in Manual 13 - Emergency Procedures, Section 3.3 Cold Weather Alert. PJM uses the tables listed that include projected unavailability rates to determine scheduling of units.
4 | Checklist usage | Medium | Prior to winter events, PJM sends out the NERC checklist to resource owners. | (A) Checklist (by OC or asset owner) submitted to PJM by mid-Dec (list of units required / checklist optional) (B) Sign-off on review of checklist (by GO, not per unit) Not unit specific, actual checklist optional. List of units required
5 | Unit testing criteria (consider type of unit) | Medium | None | (A) Narrow scope to units that have not run in XX days on primary or backup fuel or switching capability based on experience. (B) Exclude units such as nuclear, wind, and hydro.
6 | Dual fuel testing | Medium | None
7 | Forced Outage Rate - establish a rate reduction goal or metric. | Medium | None | (C)Unit performance will be tracked and analyzed against historical GADS data to guage the effectiveness of testing
8 | Applicability for annual DR resource criteria | Medium | Currently only summer criteria, not winter. | None at this time
9 | Compensation | Low | None | (A) CDS costs through LMP or uplift as scheduled by PJM |  |  |  |  | Low
Low - High
Medium
Medium - High
High

## Parking Lot
Operating Committee
Cold Weather Resource Improvement
Interest Identification
Instructions: Use this space to document any items not specific to another topic area.
Description