## Summary
This workbook shows the wind and solar units included in the 2023/24 RPM power flow models
A summary of the MW is provided in the table below and the corresponding individual wind and solar resources
are in the Solar and Wind tabs where the Capacity portion is highlighted in orange
Phase | Solar (MW) |  | Wind (MW)
| Nameplate | Capacity | Nameplate | capacity
IS | 4078 | 2097 | 11671 | 1821
ISA | 7106 | 3269 | 1176 | 303
FSA | 227 | 136 | 0 | 0
Total | 11412 | 5501 | 12848 | 2124

## Solar
Bus Number |  | Bus Name | Id | Area Num | PMax (MW) | GroupID | Gen Class | Updated Phase
236828 | 01GRAYM | 01GRAYMONT 46.000 | 1 | 201 | 4 |  | Solar | IS
240997 | 02BG10 | 02BG10 69.000 | S1 | 202 | 20 |  | Solar | IS
240968 | 02BG2 G | 02BG2 GEN 12.470 | W1 | 202 | 7.2 |  | Solar | IS
240969 | 02BG4 G | 02BG4 G1 0.4800 | 1 | 202 | 1.8 |  | Solar | IS
244012 | 05PINNA | 05PINNACLE 4.0000 | 1 | 205 | 11 |  | Solar | IS
204555 | 27QUEEN | 27QUEEN ST 115.00 | 1 | 227 | 5 |  | Solar | IS
206617 | 28EXXON | 28EXXON 34.500 | 1 | 228 | 7 |  | Solar | IS
206679 | 28M&M S | 28M&M S721 34.500 | 1 | 228 | 10.3 |  | Solar | IS
206638 | 28PEAPA | 28PEAPACK 34.500 | 1 | 228 | 4 |  | Solar | IS
314541 | 3WATKIN | 3WATKINS 115.00 | A | 345 | 4 |  | Solar | IS
314142 | 6STAFOR | 6STAFORD 230.00 | SA | 345 | 0.471 |  | Solar | IS
209030 | FRFA O0 | FRFA O01 12.470 | 1 | 229 | 1.6 |  | Solar | IS
209030 | FRFA O0 | FRFA O01 12.470 | 2 | 229 | 1.6 |  | Solar | IS
227801 | ONTC&DC | ONTC&DCT 13.800 | 1 | 234 | 19.3 |  | Solar | IS
227801 | ONTC&DC | ONTC&DCT 13.800 | 2 | 234 | 19.3 |  | Solar | IS
315607 | 3AA1-06 | 3AA1-063SOLA115.00 | SA | 345 | 50.9 | AA1-063A | Solar | IS
918492 | AA1-063 | AA1-063AE OP115.00 | 1 | 345 | 24 | AA1-063A | Solar | IS
315602 | 1HOLLOM | 1HOLLOMANSOL0.6900 | SA | 345 | 67 | AA1-065 | Solar | IS
918512 | AA1-065 | AA1-065 E OP0.6900 | 1 | 345 | 24 | AA1-065 | Solar | IS
316005 | AA1-067 | AA1-067 C 230.00 | S1 | 345 | 10.5 | AA1-067 | Solar | IS
918532 | AA1-067 | AA1-067 E 230.00 | E | 345 | 4.5 | AA1-067 | Solar | IS
235004 | AA1-092 | AA1-092 C 34.500 | S1 | 201 | 8 | AA1-092 | Solar | ISA
918732 | AA1-092 | AA1-092 E 34.500 | 1 | 201 | 4 | AA1-092 | Solar | ISA
918762 | AA1-095 | AA1-095 E 34.500 | 1 | 201 | 3.33 | AA1-095 | Solar | IS
235020 | AA1-095 | AA1-095 C 34.500 | S1 | 201 | 2.9 | AA1-095 | Solar | IS
918835 | AA1-102 | AA1-102 E 0.5500 | E | 235 | 93 | AA1-102 | Solar | ISA
233923 | AA1-102 | AA1-102 C 0.5500 | C | 235 | 40.7 | AA1-102 | Solar | ISA
237798 | 01AA1-1 | 01AA1-109 C 34.500 | S1 | 201 | 4.5 | AA1-109 | Solar | IS
918902 | AA1-109 | AA1-109 E 34.500 | 1 | 201 | 4.5 | AA1-109 | Solar | IS
315603 | AA1-139 | 6AA1-139SOLA230.00 | SA | 345 | 78.7 | AA1-139 | Solar | IS
919152 | AA1-139 | AA1-139 E 230.00 | 1 | 345 | 36 | AA1-139 | Solar | IS
315606 | 3AA2-05 | 3AA2-053SOLA115.00 | 1 | 345 | 54.8 | AA2-053 | Solar | IS
919692 | AA2-053 | AA2-053 E OP115.00 | 1 | 345 | 22.5 | AA2-053 | Solar | IS
316327 | AA2-057 | AA2-057 C 0.6300 | S1 | 345 | 50 | AA2-057 | Solar | IS
919710 | AA2-057 | AA2-057 E 0.6300 | E | 345 | 24.9 | AA2-057 | Solar | IS
219682 | HOPEWEL | HOPEWELLV E213.200 | 2 | 231 | 0.8 | AA2-058 | Solar | IS
219681 | HOPEWEL | HOPEWELLV E113.200 | 1 | 231 | 0.6 | AA2-058 | Solar | IS
219680 | HOPEWEL | HOPEWELLV C113.200 | 1 | 231 | 0.3 | AA2-058 | Solar | IS
223204 | AA2-072 | AA2-072 E 34.500 | 1 | 232 | 1.1 | AA2-072 | Solar | IS
315608 | 3AA2-08 | 3AA2-088SOLA115.00 | SA | 345 | 38 | AA2-088 | Solar | IS
920042 | AA2-088 | AA2-088 E OP115.00 | 1 | 345 | 62 | AA2-088 | Solar | IS
315614 | AA2-178 | AA2-178 C 0.6900 | C | 345 | 56 | AA2-178 | Solar | IS
920692 | AA2-178 | AA2-178 E 0.6900 | E | 345 | 24 | AA2-178 | Solar | IS
930002 | AB1-001 | AB1-001 E 12.900 | E | 234 | 1.43 | AB1-001 | Solar | IS
228754 | AB1-001 | AB1-001 C 12.900 | S1 | 234 | 0.87 | AB1-001 | Solar | IS
251832 | 08HLCRT | 08HLCRTG 0.3850 | 1 | 212 | 120 | AB1-014 | Solar | IS
930062 | AB1-014 | AB1-014 E 138.00 | 1 | 212 | 77.5 | AB1-014 | Solar | IS
217205 | WCALDSO | WCALDSOLAR E13.200 | 1 | 231 | 0.7 | AB1-021 | Solar | IS
217204 | WCALDSO | WCALDSOLAR C13.200 | 1 | 231 | 0.3 | AB1-021 | Solar | IS
219687 | LUMSOLA | LUMSOLAR_N E13.200 | 1 | 231 | 2.1 | AB1-025 N | Solar | IS
219686 | LUMSOLA | LUMSOLAR_N C13.200 | 1 | 231 | 1.3 | AB1-025 N | Solar | IS
219689 | LUMSOLA | LUMSOLAR_S E13.000 | 1 | 231 | 2.1 | AB1-025 S | Solar | IS
219688 | LUMSOLA | LUMSOLAR_S C13.200 | 1 | 231 | 1.3 | AB1-025 S | Solar | IS
316312 | AB1-027 | AB1-027 C 230.00 | S1 | 345 | 17.5 | AB1-027 | Solar | IS
930122 | AB1-027 | AB1-027 E 230.00 | E | 345 | 7.5 | AB1-027 | Solar | IS
316049 | AB1-081 | AB1-081 C OP115.00 | 1 | 345 | 56 | AB1-081 | Solar | IS
922923 | AB1-081 | AB1-081 E OP115.00 | 1 | 345 | 24 | AB1-081 | Solar | IS
930522 | AB1-096 | AB1-096 E 34.500 | E | 201 | 6.1 | AB1-096 | Solar | ISA
237030 | AB1-096 | AB1-096 C 34.500 | S1 | 201 | 3.1 | AB1-096 | Solar | ISA
923203 | AB1-124 | AB1-124 E 34.500 | S1 | 201 | 12.4 | AB1-124 | Solar | ISA
237025 | AB1-124 | AB1-124 C 34.500 | S1 | 201 | 7.6 | AB1-124 | Solar | ISA
923213 | AB1-125 | AB1-125_E 0.6000 | E | 201 | 9.3 | AB1-125 | Solar | ISA
237006 | AB1-125 | AB1-125_C 0.6000 | S | 201 | 5.7 | AB1-125 | Solar | ISA
930822 | AB1-127 | AB1-127 E 34.500 | 1 | 201 | 12.4 | AB1-127 | Solar | IS
237001 | AB1-127 | AB1-127 C 34.500 | 1 | 201 | 7.6 | AB1-127 | Solar | IS
930832 | AB1-128 | AB1-128 E 34.500 | S1 | 201 | 12.4 | AB1-128 | Solar | IS
237002 | AB1-128 | AB1-128 C 34.500 | S1 | 201 | 7.6 | AB1-128 | Solar | IS
316011 | AB1-132 | AB1-132 C OP230.00 | 1 | 345 | 84 | AB1-132 | Solar | ISA
923263 | AB1-132 | AB1-132 E OP230.00 | 1 | 345 | 36 | AB1-132 | Solar | ISA
923293 | AB1-138 | AB1-138 E 0.3600 | E | 228 | 6 | AB1-138 | Solar | IS
207445 | AB1-138 | AB1-138 C 0.3850 | S | 228 | 3.6 | AB1-138 | Solar | IS
930902 | AB1-139 | AB1-139 E 26.400 | 1 | 231 | 4.1 | AB1-139 | Solar | IS
219908 | AB1-139 | AB1-139 C 26.400 | S1 | 231 | 2.5 | AB1-139 | Solar | IS
313506 | AB1-173 | AB1-173 C OP115.00 | 1 | 345 | 40.4 | AB1-173 | Solar | ISA
923573 | AB1-173 | AB1-173 E OP115.00 | 1 | 345 | 6.3 | AB1-173 | Solar | ISA
313507 | AB1-173 | AB1-173AC | 1 | 345 | 13.5 | AB1-173AC | Solar | ISA
313526 | AB2-022 | AB2-022 C 230.00 | 1 | 345 | 13 | AB2-022 | Solar | ISA
923832 | AB2-022 | AB2-022 E 230.00 | 1 | 345 | 7 | AB2-022 | Solar | ISA
316314 | AB2-024 | AB2-024 C 230.00 | S1 | 345 | 11.13 | AB2-024 | Solar | IS
923842 | AB2-024 | AB2-024 E 230.00 | E | 345 | 6.2 | AB2-024 | Solar | IS
316315 | AB2-025 | AB2-025 C 230.00 | S1 | 345 | 13.65 | AB2-025 | Solar | IS
923852 | AB2-025 | AB2-025 E 230.00 | E | 345 | 6.2 | AB2-025 | Solar | IS
316313 | AB2-026 | AB2-026 C 230.00 | S1 | 345 | 13.07 | AB2-026 | Solar | IS
923862 | AB2-026 | AB2-026 E 230.00 | E | 345 | 6.2 | AB2-026 | Solar | IS
923892 | AB2-029 | AB2-029 E 230.00 | E | 345 | 12.2 | AB2-029 | Solar | IS
316006 | AB2-029 | AB2-029 C 230.00 | S1 | 345 | 7.6 | AB2-029 | Solar | IS
923994 | AB2-040 | AB2-040_E 0.6000 | 1 | 345 | 69.51 | AB2-040 | Solar | ISA
316181 | AB2-040 | AB2-040 GEN 0.6000 | 1 | 345 | 12 | AB2-040 | Solar | ISA
924022 | AB2-043 | AB2-043 E O10.5500 | 1 | 345 | 31 | AB2-043 | Solar | IS
313527 | AB2-043 | AB2-043 C 0.5500 | 1 | 345 | 18.9 | AB2-043 | Solar | IS
316322 | AB2-045 | AB2-045 C 230.00 | S1 | 345 | 11.43 | AB2-045 | Solar | IS
924032 | AB2-045 | AB2-045 E 230.00 | E | 345 | 6.3 | AB2-045 | Solar | IS
924132 | AB2-057 | AB2-057 E 26.000 | 1 | 231 | 6.2 | AB2-057 | Solar | IS
219903 | AB2-057 | AB2-057 C 26.000 | S1 | 231 | 3.8 | AB2-057 | Solar | IS
316020 | AB2-059 | AB2-059 C OP115.00 | 1 | 345 | 66 | AB2-059 | Solar | IS
924152 | AB2-059 | AB2-059 E OP115.00 | 1 | 345 | 34 | AB2-059 | Solar | IS
316131 | AB2-060 | AB2-060 C 115.00 | 1 | 345 | 54.4 | AB2-060 | Solar | IS
924162 | AB2-060 | AB2-060 E OP115.00 | 1 | 345 | 25.6 | AB2-060 | Solar | IS
316239 | AB2-077 | AB2-077 C O1115.00 | 1 | 345 | 12 | AB2-077 | Solar | ISA
924302 | AB2-077 | AB2-077 E O1115.00 | 1 | 345 | 8 | AB2-077 | Solar | ISA
316238 | AB2-078 | AB2-078 C O1115.00 | 1 | 345 | 12 | AB2-078 | Solar | ISA
924312 | AB2-078 | AB2-078 E O1115.00 | 1 | 345 | 8 | AB2-078 | Solar | ISA
316237 | AB2-079 | AB2-079 C O1115.00 | 1 | 345 | 12 | AB2-079 | Solar | ISA
924322 | AB2-079 | AB2-079 E O1115.00 | 1 | 345 | 8 | AB2-079 | Solar | ISA
235025 | AB2-097 | AB2-097 E 34.500 | S1 | 201 | 10 | AB2-097 | Solar | ISA
316140 | AB2-099 | AB2-099 C 115.00 | 1 | 345 | 3.5 | AB2-099 | Solar | ISA
316141 | AB2-099 | AB2-099 E 115.00 | 1 | 345 | 1.5 | AB2-099 | Solar | ISA
316096 | AB2-100 | AB2-100 C1 0.5500 | 1 | 345 | 33.5 | AB2-100 1 | Solar | IS
316097 | AB2-100 | AB2-100 E1 0.5500 | 1 | 345 | 16.5 | AB2-100 1 | Solar | IS
316098 | AB2-100 | AB2-100 C2 0.5500 | 1 | 345 | 33.5 | AB2-100 2 | Solar | IS
316099 | AB2-100 | AB2-100 E2 0.5500 | 1 | 345 | 16.5 | AB2-100 2 | Solar | IS
924802 | AB2-133 | AB2-133 E 69.000 | E | 235 | 31.2 | AB2-133 | Solar | ISA
233939 | AB2-133 | AB2-133 C 69.000 | S1 | 235 | 24.6 | AB2-133 | Solar | ISA
316033 | AB2-134 | AB2-134 C 0.6000 | 1 | 345 | 71.8 | AB2-134 | Solar | IS
924814 | AB2-134 | AB2-134 E 0.6000 | 1 | 345 | 70.6 | AB2-134 | Solar | IS
233944 | AB2-135 | AB2-135 C | 1 | 235 | 29.9 | AB2-135 C | Solar | ISA
233946 | AB2-136 | AB2-136 C | 1 | 235 | 24.8 | AB2-136 C | Solar | ISA
925012 | AB2-157 | AB2-157 E 69.000 | 1 | 233 | 1.7 | AB2-157 | Solar | IS
226910 | AB2-157 | AB2-157 C 69.000 | 1 | 233 | 0.8 | AB2-157 | Solar | IS
316192 | AB2-158 | AB2-158 C 230.00 | 1 | 345 | 71 | AB2-158 | Solar | IS
925022 | AB2-158 | AB2-158 E 230.00 | 1 | 345 | 27.2 | AB2-158 | Solar | IS
316109 | AB2-160 | AB2-160 E 0.5500 | 1 | 345 | 49.6 | AB2-160 | Solar | ISA
316108 | AB2-160 | AB2-160 C 0.5500 | 1 | 345 | 30.4 | AB2-160 | Solar | ISA
316084 | AB2-161 | AB2-161 E 0.5500 | 1 | 345 | 31 | AB2-161 | Solar | ISA
316083 | AB2-161 | AB2-161 C 0.5500 | 1 | 345 | 19 | AB2-161 | Solar | ISA
316174 | AB2-169 | AB2-169_C 0.6300 | S1 | 345 | 39 | AB2-169 | Solar | ISA
925122 | AB2-169 | AB2-169 E 0.6300 | E | 345 | 35 | AB2-169 | Solar | ISA
925135 | AB2-170 | AB2-170 E 0.5500 | 1 | 205 | 80.6 | AB2-170 | Solar | IS
925133 | AB2-170 | AB2-170 C 0.5500 | 1 | 205 | 49.4 | AB2-170 | Solar | IS
316087 | AB2-174 | AB2-174 C 0.3550 | 1 | 345 | 42 | AB2-174 | Solar | IS
316088 | AB2-174 | AB2-174 E 0.3550 | 1 | 345 | 38 | AB2-174 | Solar | IS
233935 | AB2-179 | AB2-179 C 0.3850 | S1 | 235 | 37.6 | AB2-179 | Solar | ISA
925254 | AB2-179 | AB2-179 E 0.3850 | E | 235 | 12.4 | AB2-179 | Solar | ISA
316132 | AB2-190 | AB2-190 C 230.00 | 1 | 345 | 112 | AB2-190 | Solar | IS
925332 | AB2-190 | AB2-190 E 230.00 | 1 | 345 | 48 | AB2-190 | Solar | IS
270263 | AC1-001 | AC1-001 C | 1 | 205 | 33.93 | AC1-001 C | Solar | ISA
925392 | AC1-010 | AC1-010 E 26.400 | 1 | 231 | 3.8 | AC1-010 | Solar | ISA
219904 | AC1-010 | AC1-010 C 26.400 | S1 | 231 | 2.2 | AC1-010 | Solar | ISA
925452 | AC1-017 | AC1-017 E 13.200 | 1 | 231 | 2.31 | AC1-017 | Solar | IS
219906 | AC1-017 | AC1-017 C 13.200 | S1 | 231 | 1.4 | AC1-017 | Solar | IS
316316 | AC1-027 | AC1-027 C 115.00 | S1 | 345 | 11.2 | AC1-027 | Solar | IS
925522 | AC1-027 | AC1-027 E 115.00 | E | 345 | 6.4 | AC1-027 | Solar | IS
925562 | AC1-030 | AC1-030 E 13.000 | E | 231 | 1.55 | AC1-030 | Solar | IS
219907 | AC1-030 | AC1-030 C 13.000 | S1 | 231 | 0.95 | AC1-030 | Solar | IS
316263 | AC1-034 | AC1-034 C 0.5500 | 1 | 345 | 42.75 | AC1-034 | Solar | ISA
925595 | AC1-034 | AC1-034 E 0.5500 | 1 | 345 | 32.25 | AC1-034 | Solar | ISA
925612 | AC1-036 | AC1-036 E 115.00 | 1 | 345 | 9.3 | AC1-036 | Solar | IS
316034 | AC1-036 | AC1-036 C 115.00 | 1 | 345 | 8.6 | AC1-036 | Solar | IS
212507 | AC1-042 | AC1-042 C | S1 | 345 | 46.8 | AC1-042 C | Solar | ISA
925672 | AC1-043 | AC1-043 E 115.00 | 1 | 345 | 62 | AC1-043 | Solar | ISA
316257 | AC1-043 | AC1-043 C 115.00 | 1 | 345 | 38 | AC1-043 | Solar | ISA
205908 | AC1-048 | AC1-048 E 0.3900 | 1 | 227 | 21.7 | AC1-048 | Solar | ISA
205907 | AC1-048 | AC1-048 C 0.3900 | 1 | 227 | 13.3 | AC1-048 | Solar | ISA
316129 | AC1-054 | AC1-054 C 0.3850 | 1 | 345 | 44.5 | AC1-054 | Solar | IS
925785 | AC1-054 | AC1-054 E 0.3850 | 1 | 345 | 20.5 | AC1-054 | Solar | IS
925865 | AC1-065 | AC1-065 E 0.3900 | 1 | 345 | 80.6 | AC1-065 | Solar | ISA
316201 | AC1-065 | AC1-065 C 0.3900 | 1 | 345 | 49.4 | AC1-065 | Solar | ISA
253333 | AC1-068 | AC1-068 C 0.3570 | 1 | 209 | 34 | AC1-068 | Solar | ISA
253334 | AC1-068 | AC1-068 E 0.3570 | 1 | 209 | 15.9 | AC1-068 | Solar | ISA
253325 | AC1-069 | AC1-069 C 0.3570 | 1 | 209 | 34 | AC1-069 | Solar | ISA
253326 | AC1-069 | AC1-069 E 0.3570 | 1 | 209 | 15.9 | AC1-069 | Solar | ISA
339216 | AC1-074 | AC1-074 C | 1 | 320 | 56 | AC1-074 C | Solar | ISA
316123 | AC1-075 | AC1-075 C 0.6000 | 1 | 345 | 38.3 | AC1-075 | Solar | IS
925997 | AC1-075 | AC1-075 E 0.6000 | 1 | 345 | 21.7 | AC1-075 | Solar | IS
926004 | AC1-076 | AC1-076_E 0.6000 | 1 | 345 | 39.42 | AC1-076 | Solar | ISA
316164 | AC1-076 | AC1-076_C 0.6000 | 1 | 345 | 23.8 | AC1-076 | Solar | ISA
241955 | AC1-078 | AC1-078 C | 1 | 202 | 66 | AC1-078 C | Solar | ISA
316205 | AC1-080 | AC1-080 C 0.6000 | S1 | 345 | 12.8 | AC1-080 | Solar | IS
926024 | AC1-080 | AC1-080 E 0.6000 | E | 345 | 7.2 | AC1-080 | Solar | IS
270197 | AC1-083 | AC1-083 C | 1 | 205 | 38 | AC1-083 C | Solar | ISA
253313 | AC1-085 | AC1-085 A_C 0.6000 | 1 | 209 | 76 | AC1-085 A | Solar | ISA
253316 | AC1-085 | AC1-085 B_C 0.6000 | 1 | 209 | 76 | AC1-085 B | Solar | ISA
211065 | PASP 1_ | PASP 1_2 C 13.800 | S2 | 229 | 3.8 | AC1-087 | Solar | IS
942581 | PASP 2 | PASP 2 E 13.800 | E | 229 | 5.8 | AC1-087 | Solar | IS
926105 | AC1-089 | AC1-089 E 0.3900 | S1 | 205 | 93 | AC1-089 | Solar | ISA
270186 | AC1-089 | AC1-089 C 0.3900 | S1 | 205 | 57 | AC1-089 | Solar | ISA
316210 | AC1-098 | AC1-098 C 0.6000 | 1 | 345 | 37.6 | AC1-098 | Solar | ISA
926206 | AC1-098 | AC1-098 E 0.6000 | 1 | 345 | 12.6 | AC1-098 | Solar | ISA
316118 | AC1-105 | AC1-105 C 0.5750 | 1 | 345 | 34.05 | AC1-105 | Solar | ISA
926274 | AC1-105 | AC1-105 E 0.5750 | 1 | 345 | 16.95 | AC1-105 | Solar | ISA
316004 | AC1-112 | AC1-112 C 230.00 | S1 | 345 | 10.9 | AC1-112 | Solar | IS
926412 | AC1-112 | AC1-112 E 230.00 | E | 345 | 6.1 | AC1-112 | Solar | IS
316223 | AC1-118 | AC1-118 C 230.00 | S1 | 345 | 13.2 | AC1-118 | Solar | IS
926472 | AC1-118 | AC1-118 E 230.00 | E | 345 | 6.8 | AC1-118 | Solar | IS
316254 | AC1-120 | AC1-120 C 0.6000 | 1 | 345 | 39.6 | AC1-120 | Solar | ISA
926486 | AC1-120 | AC1-120 E 0.6000 | 1 | 345 | 20.4 | AC1-120 | Solar | ISA
316170 | AC1-121 | AC1-121 C 0.6000 | S1 | 345 | 13.6 | AC1-121 | Solar | ISA
926502 | AC1-121 | AC1-121 E 0.6000 | E | 345 | 6.4 | AC1-121 | Solar | ISA
270173 | AC1-122 | AC1-122_C 0.6000 | 1 | 205 | 54.4 | AC1-122 | Solar | IS
926516 | AC1-122 | AC1-122_E 0.6000 | 1 | 205 | 21.5 | AC1-122 | Solar | IS
316217 | AC1-145 | AC1-145 C 0.6000 | 1 | 345 | 32.5 | AC1-145 | Solar | IS
926646 | AC1-145 | AC1-145 E 0.6000 | 1 | 345 | 31 | AC1-145 | Solar | IS
316036 | AC1-147 | AC1-147 C 115.00 | S1 | 345 | 12.6 | AC1-147 | Solar | ISA
926662 | AC1-147 | AC1-147 E 115.00 | E | 345 | 7.4 | AC1-147 | Solar | ISA
316044 | AC1-158 | AC1-158 C1 0.4400 | S1 | 345 | 173.75 | AC1-158 1 | Solar | ISA
926739 | AC1-158 | AC1-158 E1 0.4400 | S1 | 345 | 76.25 | AC1-158 1 | Solar | ISA
316045 | AC1-158 | AC1-158 C2 0.4400 | S1 | 345 | 173.75 | AC1-158 2 | Solar | ISA
926740 | AC1-158 | AC1-158 E2 0.4400 | S1 | 345 | 76.25 | AC1-158 2 | Solar | ISA
316294 | AC1-161 | AC1-161 C 0.4400 | S1 | 345 | 168.2 | AC1-161 | Solar | ISA
926755 | AC1-161 | AC1-161 E 0.4400 | E | 345 | 71.8 | AC1-161 | Solar | ISA
316169 | AC1-164 | AC1-164 GEN 0.4400 | 1 | 345 | 220.8 | AC1-164 | Solar | ISA
926785 | AC1-164 | AC1-164_E 0.4400 | 1 | 345 | 104.6 | AC1-164 | Solar | ISA
253338 | AC1-165 | AC1-165 C 0.3570 | 1 | 209 | 33.6 | AC1-165 | Solar | ISA
253339 | AC1-165 | AC1-165 E 0.3570 | 1 | 209 | 16.3 | AC1-165 | Solar | ISA
253343 | AC1-166 | AC1-166 C 0.3570 | 1 | 209 | 33.6 | AC1-166 | Solar | ISA
253344 | AC1-166 | AC1-166 E 0.3570 | 1 | 209 | 16.3 | AC1-166 | Solar | ISA
926874 | AC1-174 | AC1-174 E | 1 | 205 | 62 | AC1-174 | Solar | IS
270209 | AC1-174 | AC1-174 C | 1 | 205 | 38 | AC1-174 | Solar | IS
926881 | AC1-175 | AC1-175 E | 1 | 205 | 62 | AC1-175 | Solar | IS
270210 | AC1-175 | AC1-175 C | 1 | 205 | 38 | AC1-175 | Solar | IS
927132 | AC1-207 | AC1-207 E 34.500 | 1 | 228 | 8.2 | AC1-207 | Solar | IS
207420 | AC1-207 | AC1-207 TAP 34.500 | S1 | 228 | 4.9 | AC1-207 | Solar | IS
316274 | AC1-208 | AC1-208 C 0.3850 | 1 | 345 | 55.4 | AC1-208 | Solar | ISA
927146 | AC1-208 | AC1-208 E 0.3850 | 1 | 345 | 24.5 | AC1-208 | Solar | ISA
316369 | AC1-216 | AC1-216 C | S1 | 345 | 54.8 | AC1-216 C | Solar | ISA
316222 | AC1-221 | AC1-221 C 0.6000 | 1 | 345 | 51.2 | AC1-221 | Solar | ISA
927255 | AC1-221 | AC1-221 E 0.6000 | 1 | 345 | 14.6 | AC1-221 | Solar | ISA
316003 | AC1-222 | AC1-222 C 0.6000 | S1 | 345 | 38.8 | AC1-222 | Solar | ISA
927264 | AC1-222 | AC1-222 E 0.6000 | E | 345 | 25.9 | AC1-222 | Solar | ISA
932032 | AC2-009 | AC2-009 E 69.000 | BA | 231 | 0.486 | AC2-009 | Solar | ISA
219918 | AC2-009 | AC2-009 C 69.000 | S1 | 231 | 0.1 | AC2-009 | Solar | ISA
316375 | AC2-012 | AC2-012 C | S1 | 345 | 57 | AC2-012 C | Solar | ISA
270269 | AC2-059 | AC2-059 C | S1 | 205 | 62.5 | AC2-059 C | Solar | ISA
253351 | AC2-067 | AC2-067 E 0.3850 | 1 | 209 | 31 | AC2-067 | Solar | ISA
253349 | AC2-067 | AC2-067 C 0.3850 | 1 | 209 | 26.5 | AC2-067 | Solar | ISA
932596 | AC2-079 | AC2-079 E 0.6450 | E | 345 | 52.7 | AC2-079 | Solar | ISA
316311 | AC2-079 | AC2-079 C 0.6450 | S1 | 345 | 32.3 | AC2-079 | Solar | ISA
252507 | AC2-088 | AC2-088 C 0.5750 | 1 | 212 | 38.4 | AC2-088 | Solar | ISA
932665 | AC2-088 | AC2-088 E 0.5750 | 1 | 212 | 31.6 | AC2-088 | Solar | ISA
252509 | AD1-136 | AD1-136 C 0.5750 | S1 | 212 | 5.4 | AC2-088 | Solar | ISA
935033 | AD1-136 | AD1-136 E 0.5750 | E | 212 | 4.6 | AC2-088 | Solar | ISA
316283 | AC2-100 | AC2-100 C 0.5750 | S1 | 345 | 45.6 | AC2-100 | Solar | ISA
932763 | AC2-100 | AC2-100 E 0.5750 | E | 345 | 16.4 | AC2-100 | Solar | ISA
316299 | AC2-112 | AC2-112 C 0.6000 | S1 | 345 | 103.1 | AC2-112 | Solar | ISA
932855 | AC2-112 | AC2-112 E 0.6000 | E | 345 | 46.9 | AC2-112 | Solar | ISA
226913 | AC2-120 | AC2-120 E 69.000 | 1 | 238 | 17.05 | AC2-120 | Solar | ISA
227280 | AC2-120 | AC2-120 C 69.000 | 1 | 238 | 10.45 | AC2-120 | Solar | ISA
270214 | AC2-123 | AC2-123 C | 1 | 205 | 44.6 | AC2-123 | Solar | ISA
932996 | AC2-123 | AC2-123 E | 1 | 205 | 30.4 | AC2-123 | Solar | ISA
933252 | AC2-136 | AC2-136 E 138.00 | S1 | 201 | 6.3 | AC2-136 | Solar | ISA
237034 | AC2-136 | AC2-136 C 138.00 | S1 | 201 | 5.5 | AC2-136 | Solar | ISA
316075 | AC2-137 | AC2-137 C 230.00 | 1 | 345 | 12.7 | AC2-137 | Solar | ISA
316076 | AC2-137 | AC2-137 E 230.00 | 1 | 345 | 7.4 | AC2-137 | Solar | ISA
316077 | AC2-138 | AC2-138 C 115.00 | 1 | 345 | 8.4 | AC2-138 | Solar | IS
316078 | AC2-138 | AC2-138 E 115.00 | 1 | 345 | 6 | AC2-138 | Solar | IS
933532 | AC2-168 | AC2-168 E 138.00 | 1 | 215 | 7.3 | AC2-168 | Solar | ISA
254303 | AC2-168 | AC2-168 C 138.00 | 1 | 215 | 4.4 | AC2-168 | Solar | ISA
933572 | AC2-174 | AC2-174 E 138.00 | S1 | 201 | 6.2 | AC2-174 | Solar | ISA
237077 | AC2-174 | AC2-174 C 138.00 | S1 | 201 | 3.8 | AC2-174 | Solar | ISA
933582 | AC2-175 | AC2-175 E 34.500 | 1 | 228 | 1.6 | AC2-175 | Solar | IS
276678 | AD1-016 | AD1-016 C | S1 | 222 | 7.6 | AD1-016 C | Solar | ISA
237084 | AD1-018 | AD1-018 E 0.3850 | 1 | 201 | 12.4 | AD1-018 | Solar | ISA
237089 | AD1-018 | AD1-018 C 0.3850 | 1 | 201 | 7.6 | AD1-018 | Solar | ISA
205916 | AD1-020 | AD1-020_C 0.6000 | 1 | 227 | 53.6 | AD1-020 | Solar | ISA
205917 | AD1-020 | AD1-020 ES 0.5500 | 1 | 227 | 21.5 | AD1-020 | Solar | ISA
316185 | AD1-033 | AD1-033 C 0.6000 | S1 | 345 | 42 | AD1-033 | Solar | IS
934065 | AD1-033 | AD1-033 E 0.6000 | E | 345 | 28 | AD1-033 | Solar | IS
316280 | AD1-041 | AD1-041 C 0.5500 | 1 | 345 | 30 | AD1-041 | Solar | ISA
934146 | AD1-041 | AD1-041 E 0.5500 | 1 | 345 | 20 | AD1-041 | Solar | ISA
934363 | AD1-060 | AD1-060 E 0.4050 | S1 | 201 | 9.3 | AD1-060 | Solar | IS
237080 | AD1-060 | AD1-060 C 0.4050 | S1 | 201 | 5.7 | AD1-060 | Solar | IS
235067 | AD1-061 | AD1-061 C | 1 | 201 | 7.6 | AD1-061 C | Solar | ISA
316059 | AD1-063 | AD1-063 C 230.00 | 1 | 345 | 9 | AD1-063 | Solar | IS
934392 | AD1-063 | AD1-063 E 230.00 | 1 | 345 | 6 | AD1-063 | Solar | IS
237093 | AD1-085 | AD1-085_E 0.6000 | 1 | 201 | 19.99 | AD1-085 | Solar | ISA
237092 | AD1-085 | AD1-085_C 0.6000 | 1 | 201 | 12.3 | AD1-085 | Solar | ISA
270258 | AD1-119 | AD1-119 C | S1 | 205 | 19 | AD1-119 C | Solar | ISA
276679 | AD1-129 | AD1-129 C | S1 | 222 | 7.5 | AD1-129 C | Solar | ISA
935071 | AD1-143 | AD1-143 C1 69.000 | 1 | 229 | 5.72 | AD1-143 | Solar | ISA
935082 | AD1-143 | AD1-143 E2 69.000 | 2 | 229 | 4.8 | AD1-143 | Solar | ISA
935081 | AD1-143 | AD1-143 C2 69.000 | 2 | 229 | 0.2 | AD1-143 | Solar | ISA
316072 | AD1-144 | AD1-144 C 230.00 | 1 | 345 | 9.7 | AD1-144 | Solar | ISA
935112 | AD1-144 | AD1-144 E 230.00 | 1 | 345 | 5.3 | AD1-144 | Solar | ISA
237085 | AD2-009 | AD2-009 C | 1 | 201 | 48.1 | AD2-009 C | Solar | ISA
270273 | AD2-016 | AD2-016 C | S1 | 205 | 63 | AD2-016 C | Solar | ISA
219915 | AD2-027 | AD2-027 E 26.400 | 1 | 231 | 6.2 | AD2-027 | Solar | IS
219914 | AD2-027 | AD2-027 C 26.400 | 1 | 231 | 3.8 | AD2-027 | Solar | IS
316156 | AD2-030 | AD2-030 C 115.00 | 1 | 345 | 13.1 | AD2-030 | Solar | IS
316157 | AD2-030 | AD2-030 E 115.00 | 1 | 345 | 6.7 | AD2-030 | Solar | IS
219913 | AD2-042 | AD2-042 E 26.400 | 1 | 231 | 8.2 | AD2-042 | Solar | IS
219912 | AD2-042 | AD2-042 C 26.400 | 1 | 231 | 5 | AD2-042 | Solar | IS
230408 | AD2-065 | AD2-065 E 12.900 | 1 | 234 | 3.03 | AD2-065 | Solar | ISA
230407 | AD2-065 | AD2-065_C 12.900 | 1 | 234 | 1.08 | AD2-065 | Solar | ISA
207438 | AD2-070 | AD2-070 E 34.500 | 1 | 228 | 4.3 | AD2-070 | Solar | IS
207437 | AD2-070 | AD2-070 C 34.500 | 1 | 228 | 3.5 | AD2-070 | Solar | IS
936570 | AD2-072 | AD2-072_C 0.6000 | S1 | 320 | 63.75 | AD2-072 | Solar | ISA
936576 | AD2-072 | AD2-072_E 0.6000 | E | 320 | 31.25 | AD2-072 | Solar | ISA
316337 | AD2-073 | AD2-073 C | 1 | 345 | 13.32 | AD2-073 C | Solar | IS
270216 | AD2-079 | AD2-079_C | S1 | 205 | 12 | AD2-079_C | Solar | IS
205941 | AD2-115 | AD2-115 C | 1 | 227 | 13 | AD2-115 C | Solar | ISA
205932 | AD2-116 | AD2-116 C | 1 | 227 | 13 | AD2-116 C | Solar | ISA
205932 | AD2-116 | AD2-116_C | 1 | 227 | 13 | AD2-116_C | Solar | ISA
316339 | AD2-160 | AD2-160 GEN | 1 | 345 | 32.8 | AD2-160 GEN | Solar | ISA
276611 | AD2-172 | AD2-172 C | S1 | 222 | 21 | AD2-172 C | Solar | ISA
226920 | AE1-012 | AE1-012 E 115.00 | 1 | 233 | 0.34 | AE1-012 | Solar | ISA
226919 | AE1-012 | AE1-012 C 115.00 | 1 | 233 | 0.22 | AE1-012 | Solar | ISA
226922 | AE1-013 | AE1-013 E 69.000 | 1 | 233 | 0.5 | AE1-013 | Solar | ISA
226921 | AE1-013 | AE1-013 C 69.000 | 1 | 233 | 0.38 | AE1-013 | Solar | ISA
226924 | AE1-015 | AE1-015 E 69.000 | 1 | 233 | 0.75 | AE1-015 | Solar | ISA
226923 | AE1-015 | AE1-015 C 69.000 | 1 | 233 | 0.57 | AE1-015 | Solar | ISA
938282 | AE1-041 | AE1-041 E 26.400 | S1 | 231 | 0.9 | AE1-041 | Solar | IS
219919 | AE1-041 | AE1-041 C 26.400 | S1 | 231 | 0.2 | AE1-041 | Solar | IS
207440 | AE1-081 | AE1-081 E O134.500 | 1 | 228 | 1.34 | AE1-081 | Solar | IS
207439 | AE1-081 | AE1-081 C O134.500 | 1 | 228 | 0.96 | AE1-081 | Solar | IS
316152 | AE1-098 | AE1-098 C 115.00 | 1 | 345 | 10.4 | AE1-098 | Solar | ISA
316153 | AE1-098 | AE1-098 E 115.00 | 1 | 345 | 5.3 | AE1-098 | Solar | ISA
316154 | AE1-099 | AE1-099 C 115.00 | 1 | 345 | 10.4 | AE1-099 | Solar | ISA
316155 | AE1-099 | AE1-099 E 115.00 | 1 | 345 | 5.3 | AE1-099 | Solar | ISA
235062 | AE1-101 | AE1-101 C1 | 1 | 201 | 100.5 | AE1-101 C1 | Solar | ISA
939122 | AE1-142 | AE1-142 E O134.500 | 1 | 228 | 11.8 | AE1-142 | Solar | IS
207459 | AE1-142 | AE1-142 C O134.500 | 1 | 228 | 8.2 | AE1-142 | Solar | IS
939134 | AE1-143 | AE1-143 C 0.6450 | S1 | 320 | 64.143 | AE1-143 | Solar | ISA
939135 | AE1-143 | AE1-143 E 0.6450 | E | 320 | 31.857 | AE1-143 | Solar | ISA
339206 | AE1-143 | AE1-143 C | S1 | 320 | 64.2 | AE1-143 C | Solar | ISA
237083 | AE1-147 | AE1-147_GEN 0.6000 | S1 | 201 | 12 | AE1-147 | Solar | ISA
939171 | AE1-147 | AE1-147_E 0.6000 | E | 201 | 7.98 | AE1-147 | Solar | ISA
237083 | AE1-147 | AE1-147_C | S1 | 201 | 12 | AE1-147_C | Solar | ISA
316404 | AE1-155 | AE1-155 C | 1 | 345 | 76 | AE1-155 C | Solar | FSA
207442 | AE1-156 | AE1-156 C 34.500 | 1 | 228 | 4.1 | AE1-156 | Solar | ISA
207443 | AE1-156 | AE1-156 E 34.500 | 1 | 228 | 3.5 | AE1-156 | Solar | ISA
203939 | AE1-160 | AE1-160 C 34.500 | 1 | 226 | 12.7 | AE1-160 | Solar | ISA
939292 | AE1-160 | AE1-160 E 34.500 | 1 | 226 | 7.3 | AE1-160 | Solar | ISA
203939 | AE1-160 | AE1-160 C | 1 | 226 | 12.7 | AE1-160 C | Solar | ISA
316159 | AE1-175 | AE1-175 C 230.00 | 1 | 345 | 13.3 | AE1-175 | Solar | ISA
316160 | AE1-175 | AE1-175 E 230.00 | 1 | 345 | 6.6 | AE1-175 | Solar | ISA
205943 | AE1-185 | AE1-185 C | S1 | 227 | 12.6 | AE1-185 C | Solar | ISA
237037 | AE1-188 | AE1-188 C 34.500 | 1 | 201 | 20.5 | AE1-188 | Solar | ISA
939592 | AE1-188 | AE1-188 E 34.500 | 1 | 201 | 11.4 | AE1-188 | Solar | ISA
205956 | AE1-196 | AE1-196_GEN | S1 | 227 | 13 | AE1-196_GEN | Solar | ISA
208856 | AE1-226 | AE1-226 C | S1 | 229 | 9.4 | AE1-226 C | Solar | ISA
212507 | AE2-042 | AE2-042 GEN | S1 | 229 | 46.8 | AE2-042 GEN | Solar | ISA
237038 | AE2-054 | AE2-054 C 34.500 | 1 | 201 | 12 | AE2-054 | Solar | ISA
940672 | AE2-054 | AE2-054 E 34.500 | 1 | 201 | 8 | AE2-054 | Solar | ISA
237041 | AE2-055 | AE2-055 C 46.000 | 1 | 201 | 12 | AE2-055 | Solar | ISA
940682 | AE2-055 | AE2-055 E 46.000 | 1 | 201 | 8 | AE2-055 | Solar | ISA
207460 | AE2-056 | AE2-056 C 34.500 | 1 | 228 | 1.6 | AE2-056 | Solar | ISA
940692 | AE2-056 | AE2-056 E 34.500 | 1 | 228 | 1.4 | AE2-056 | Solar | ISA
316241 | AE2-078 | AE2-078 C 230.00 | 1 | 345 | 13.2 | AE2-078 | Solar | ISA
940892 | AE2-078 | AE2-078 E 230.00 | 1 | 345 | 6.8 | AE2-078 | Solar | ISA
316242 | AE2-079 | AE2-079 C 230.00 | 1 | 345 | 13.2 | AE2-079 | Solar | ISA
940902 | AE2-079 | AE2-079 E 230.00 | 1 | 345 | 6.8 | AE2-079 | Solar | ISA
940922 | AE2-081 | AE2-081 E 34.500 | 1 | 228 | 1.75 | AE2-081 | Solar | ISA
207463 | AE2-081 | AE2-081 C 34.500 | 1 | 228 | 1.57 | AE2-081 | Solar | ISA
254304 | AE2-114 | AE2-114 C 138.00 | 1 | 215 | 10.26 | AE2-114 | Solar | ISA
941202 | AE2-114 | AE2-114 E 138.00 | 1 | 215 | 6.84 | AE2-114 | Solar | ISA
254305 | AE2-115 | AE2-115 C 138.00 | 1 | 215 | 10.26 | AE2-115 | Solar | ISA
941212 | AE2-115 | AE2-115 E 138.00 | 1 | 215 | 6.84 | AE2-115 | Solar | ISA
203954 | AE2-126 | AE2-126 C | 1 | 226 | 12 | AE2-126 C | Solar | ISA
203952 | AE2-129 | AE2-129 C | 1 | 226 | 12 | AE2-129 C | Solar | ISA
203946 | AE2-131 | AE2-131 C 34.500 | S1 | 226 | 12 | AE2-131 | Solar | ISA
941352 | AE2-131 | AE2-131 E 34.500 | E | 226 | 8 | AE2-131 | Solar | ISA
203961 | AE2-224 | AE2-224 C | S1 | 226 | 60 | AE2-224 C | Solar | FSA
316304 | AE2-227 | AE2-227 C 230.00 | S1 | 345 | 15 | AE2-227 | Solar | ISA
942152 | AE2-227 | AE2-227 E 230.00 | E | 345 | 8 | AE2-227 | Solar | ISA
316304 | AE2-227 | AE2-227 C | S1 | 345 | 15 | AE2-227 C | Solar | ISA
316301 | AE2-228 | AE2-228 C 230.00 | S1 | 345 | 15 | AE2-228 | Solar | ISA
942162 | AE2-228 | AE2-228 E 230.00 | E | 345 | 8 | AE2-228 | Solar | ISA
316301 | AE2-228 | AE2-228 C | S1 | 345 | 15 | AE2-228 C | Solar | ISA
233971 | AE2-253 | AE2-253 GEN | 1 | 345 | 69.572 | AE2-253 | Solar | ISA
937226 | AE2-253 | AE2-253 E | E | 345 | 32.7 | AE2-253 | Solar | ISA
339211 | AE2-254 | AE2-254 GEN | 1 | 320 | 30 | AE2-254 | Solar | ISA
942415 | AE2-254 | AE2-254 E | 1 | 320 | 20 | AE2-254 | Solar | ISA
237046 | AF1-021 | AF1-021 C 25.000 | 1 | 201 | 8.4 | AF1-021 | Solar | ISA
943502 | AF1-021 | AF1-021 E 25.000 | 1 | 201 | 5.6 | AF1-021 | Solar | ISA
237048 | AF1-022 | AF1-022 C 25.000 | 1 | 201 | 8.4 | AF1-022 | Solar | ISA
943512 | AF1-022 | AF1-022 E 25.000 | 1 | 201 | 5.6 | AF1-022 | Solar | ISA
316246 | AF1-032 | AF1-032 C 230.00 | 1 | 345 | 9.8 | AF1-032 | Solar | ISA
943612 | AF1-032 | AF1-032 E 230.00 | 1 | 345 | 5.2 | AF1-032 | Solar | ISA
316246 | AF1-032 | AF1-032 C | 1 | 345 | 9.8 | AF1-032 C | Solar | ISA
316247 | AF1-033 | AF1-033 C 230.00 | 1 | 345 | 13.2 | AF1-033 | Solar | ISA
943622 | AF1-033 | AF1-033 E 230.00 | 1 | 345 | 6.8 | AF1-033 | Solar | ISA
316247 | AF1-033 | AF1-033 C | 1 | 345 | 13.2 | AF1-033 C | Solar | ISA
203955 | AF1-039 | AF1-039 C O1 | 1 | 226 | 9 | AF1-039 C O1 | Solar | ISA
230414 | AF1-041 | AF1-041 E 69.000 | 1 | 234 | 2.4 | AF1-041 | Solar | IS
316248 | AF1-058 | AF1-058 C 115.00 | 1 | 345 | 12 | AF1-058 | Solar | ISA
943902 | AF1-058 | AF1-058 E 115.00 | 1 | 345 | 8 | AF1-058 | Solar | ISA
316248 | AF1-058 | AF1-058 C | 1 | 345 | 12 | AF1-058 C | Solar | ISA
207462 | AF1-133 | AF1-133 C 34.500 | 1 | 228 | 12 | AF1-133 | Solar | ISA
944682 | AF1-133 | AF1-133 E 34.500 | 1 | 228 | 8 | AF1-133 | Solar | ISA
207462 | AF1-133 | AF1-133 C | 1 | 228 | 12 | AF1-133 C | Solar | ISA
216407 | AF1-137 | AF1-137 C | 1 | 230 | 5.85 | AF1-137 C | Solar | ISA
216408 | AF1-174 | AF1-174 C | S1 | 230 | 12 | AF1-174 C | Solar | ISA
237052 | AF1-210 | AF1-210 C 25.000 | S1 | 201 | 9.54 | AF1-210 | Solar | ISA
945452 | AF1-210 | AF1-210 E 25.000 | E | 201 | 6.36 | AF1-210 | Solar | ISA
203950 | AF1-217 | AF1-217 C | 1 | 226 | 12 | AF1-217 C | Solar | ISA
252510 | AF1-249 | AF1-249 C | S1 | 212 | 14 | AF1-249 C | Solar | ISA
316240 | AF1-291 | AF1-291 C 230.00 | 1 | 345 | 12 | AF1-291 | Solar | ISA
946262 | AF1-291 | AF1-291 E 230.00 | 1 | 345 | 8 | AF1-291 | Solar | ISA
316240 | AF1-291 | AF1-291 C | 1 | 345 | 12 | AF1-291 C | Solar | ISA
223401 | AF1-299 | AF1-299 C 34.500 | S1 | 232 | 9 | AF1-299 | Solar | ISA
946352 | AF1-299 | AF1-299 E 34.500 | E | 232 | 8 | AF1-299 | Solar | ISA
223402 | AF1-300 | AF1-300 C 34.500 | S1 | 232 | 9 | AF1-300 | Solar | ISA
946362 | AF1-300 | AF1-300 E 34.500 | E | 232 | 8 | AF1-300 | Solar | ISA
316405 | AF2-144 | AF2-144 C | S1 | 345 | 10.2 | AF2-144 C | Solar | ISA
203951 | AF2-265 | AF2-265 C | 1 | 226 | 8.6 | AF2-265 C | Solar | ISA
961092 | AF2-400 | AF2-400 E 115.00 | E | 345 | 4.43 | af2-400 | Solar | ISA
316300 | AF2-400 | AF2-400 C 115.00 | S1 | 345 | 2.71 | AF2-400 | Solar | ISA
316382 | AG1-145 | AG1-145 C | 1 | 345 | 12 | AG1-145 C | Solar | ISA
316417 | AG1-388 | AG1-388 C | S1 | 345 | 12 | AG1-388 C | Solar | ISA
206763 | 28BVR_Y | 28BVR_Y1-02034.500 | S1 | 228 | 3.72 | BeaverRun | Solar | IS
903672 | W3-106 | W3-106 E 34.500 | 1 | 228 | 6.18 | BeaverRun | Solar | IS
207454 | AA2-184 | AA2-184 E 34.500 | 1 | 228 | 11.6 | BenMoreell | Solar | IS
207464 | AF1-023 | AF1-023 34.500 | S1 | 228 | 8.4 | BenMoreell | Solar | IS
244415 | 05OLIV | 05OLIV SLR C138.00 | 1C | 205 | 2.5 | OLIV SLR | Solar | IS
247967 | 05OLIV | 05OLIV SLR E138.00 | 1E | 205 | 2.5 | OLIV SLR | Solar | IS
916010 | T20SOLA | T20SOLAR E 0.5000 | E | 230 | 2 | T20 | Solar | IS
214067 | T20SOLA | T20SOLAR 0.4800 | 1 | 230 | 1.3 | T20 | Solar | IS
206741 | 28FR_U2 | 28FR_U2-059 34.500 | S1 | 228 | 0.8 | U2-059 | Solar | IS
290131 | U2-059 | U2-059E 34.500 | 1 | 228 | 1.24 | U2-059 | Solar | IS
926082 | PASP 1 | PASP 1 E 13.800 | E | 229 | 5.8 | U4-014 | Solar | IS
211065 | PASP 1_ | PASP 1_2 C 13.800 | S1 | 229 | 4.2 | U4-014 | Solar | IS
219765 | PARADIS | PARADISE E 13.000 | 1 | 231 | 3.2 | U4-036 | Solar | IS
219766 | PARADIS | PARADISE C 26.400 | 1 | 231 | 1.9 | U4-036 | Solar | IS
218525 | CNTRALG | CNTRALGAS1 E13.200 | 1 | 231 | 1.422 | v1-030 | Solar | IS
218527 | CNTRALG | CNTRALGAS2 E13.200 | 1 | 231 | 1.422 | v1-030 | Solar | IS
218524 | CNTRALG | CNTRALGAS1 C13.200 | 1 | 231 | 1.18 | v1-030 | Solar | IS
218526 | CNTRALG | CNTRALGAS2 C13.200 | 1 | 231 | 1.18 | v1-030 | Solar | IS
218450 | LINSOLA | LINSOLAR E 26.400 | 1 | 231 | 1.426 | v1-030 | Solar | IS
218449 | LINSOLA | LINSOLAR C 26.400 | 1 | 231 | 0.87 | v1-030 | Solar | IS
219138 | THOSOLA | THOSOLAR E 13.200 | 1 | 231 | 0.93 | v1-030 | Solar | IS
219137 | THOSOLA | THOSOLAR C 13.200 | 1 | 231 | 0.57 | v1-030 | Solar | IS
219818 | TRENTON | TRENTONSOL E13.200 | 1 | 231 | 0.93 | v1-030 | Solar | IS
219817 | TRENTON | TRENTONSOL C13.200 | 1 | 231 | 0.57 | v1-030 | Solar | IS
219728 | YARDVSO | YARDVSOLFA E13.200 | 1 | 231 | 2.418 | v1-030 | Solar | IS
219727 | YARDVSO | YARDVSOLFA C13.200 | 1 | 231 | 1.48 | v1-030 | Solar | IS
219883 | V2-009 | V2-009 E1 13.000 | 1 | 231 | 1.54 | V2-009 1 | Solar | ISA
219884 | V2-009 | V2-009 C1 13.000 | 1 | 231 | 0.95 | V2-009 1 | Solar | ISA
219881 | V2-009 | V2-009 E2 13.000 | 1 | 231 | 3.08 | V2-009 2 | Solar | ISA
219882 | V2-009 | V2-009 C2 13.000 | 1 | 231 | 1.89 | V2-009 2 | Solar | ISA
218359 | V2-009 | V2-009 E3 13.000 | 1 | 231 | 3.89 | V2-009 3 | Solar | ISA
219880 | V2-009 | V2-009 C3 13.000 | 1 | 231 | 2.39 | V2-009 3 | Solar | ISA
219878 | V2-009 | V2-009 E4 13.000 | 1 | 231 | 2.34 | V2-009 4 | Solar | ISA
219879 | V2-009 | V2-009 C4 13.000 | 1 | 231 | 1.43 | V2-009 4 | Solar | ISA
217194 | REDH C | REDH C 13.000 | 1 | 231 | 1.9 | V2-025 | Solar | IS
217195 | REDH E | REDH E 13.000 | 1 | 231 | 3.1 | V2-025 | Solar | IS
228720 | V2-035 | V2-035 12.900 | 1 | 234 | 0.76 | V2-035 | Solar | IS
228721 | V2-035E | V2-035E 12.900 | 1 | 234 | 1.2 | V2-035 | Solar | IS
228712 | V2-041 | V2-041E 13.200 | 1 | 234 | 2.48 | V2-041 | Solar | IS
228711 | V2-041C | V2-041C 13.200 | 1 | 234 | 1.52 | V2-041 | Solar | IS
228351 | V2-046C | V2-046C 12.900 | 1 | 234 | 7.8 | V2-046 | Solar | IS
228357 | V2-046E | V2-046E 12.900 | 1 | 234 | 12.9 | V2-046 | Solar | IS
217196 | RE CRAN | RE CRAN E 13.000 | 1 | 231 | 3.1 | V3-024 | Solar | IS
217197 | RE CRAN | RE CRAN C 13.000 | 1 | 231 | 1.9 | V3-024 | Solar | IS
247549 | V3-028 | V3-028 C 345.00 | 1C | 205 | 57 | V3-028 | Solar | IS
247948 | V3-028 | V3-028 E 345.00 | 1E | 205 | 12.4 | V3-028 | Solar | IS
217198 | V3-058 | V3-058 E 138.00 | 1 | 231 | 2 | V3-058 | Solar | IS
217199 | V3-059 | V3-059 E 138.00 | 1 | 231 | 2 | V3-059 | Solar | IS
217216 | BARNGR | BARNGR HS E 138.00 | 1 | 231 | 0.339 | V3-065 | Solar | IS
217206 | BARNGR | BARNGR HS C 26.400 | 1 | 231 | 0.21 | V3-065 | Solar | IS
217207 | PARK EL | PARK ELE E 230.00 | 1 | 231 | 0.272 | V3-066 | Solar | IS
217208 | PARK EL | PARK ELE C 230.00 | 1 | 231 | 0.16 | V3-066 | Solar | IS
217214 | CENTRL | CENTRL HS E 138.00 | 1 | 231 | 0.51 | V3-067 | Solar | IS
217209 | CENTRL | CENTRL HS C 13.800 | 1 | 231 | 0.29 | V3-067 | Solar | IS
217210 | CAMDEN | CAMDEN ST E 138.00 | 1 | 231 | 0.265 | V3-068 | Solar | IS
217211 | CAMDEN | CAMDEN ST C 13.800 | 1 | 231 | 0.16 | V3-068 | Solar | IS
217212 | AMBOY S | AMBOY SO E 138.00 | 1 | 231 | 1.423 | V3-069 | Solar | IS
217213 | AMBOY S | AMBOY SO C 138.00 | 1 | 231 | 0.9 | V3-069 | Solar | IS
206738 | 28FLE_V | 28FLE_V3-07034.500 | S1 | 228 | 3 | V3-070 | Solar | IS
292683 | V3-070 | V3-070 E 34.500 | 1 | 228 | 4.96 | V3-070 | Solar | IS
206743 | 28GAR_V | 28GAR_V4-00134.500 | S1 | 228 | 0.76 | V4-001 | Solar | IS
904002 | V4-001 | V4-001 E 34.500 | 1 | 228 | 2 | V4-001 | Solar | IS
218661 | EHAMPSO | EHAMPSOLAR E13.200 | 1 | 231 | 1.8 | V4-005 | Solar | IS
218660 | EHAMPSO | EHAMPSOLAR C13.200 | 1 | 231 | 1.1 | V4-005 | Solar | IS
208923 | BUSO V4 | BUSO V4-027 12.470 | 1 | 229 | 4.9 | V4-027 | Solar | IS
916007 | BUSO V4 | BUSO V4-027 12.500 | E | 229 | 0.1 | V4-027 | Solar | IS
228260 | V4-054 | V4-054C 12.900 | 1 | 234 | 3.8 | V4-054 | Solar | IS
228261 | V4-054E | V4-054E 12.900 | 1 | 234 | 6.2 | V4-054 | Solar | IS
227928 | V4-067 | V4-067 12.900 | 1 | 234 | 1.6 | V4-067 | Solar | IS
227927 | V4-067C | V4-067C 12.900 | 1 | 234 | 0.98 | V4-067 | Solar | IS
316318 | V4-068 | V4-068 C 115.00 | S1 | 345 | 3.2 | V4-068 | Solar | IS
900672 | V4-068 | V4-068 E 115.00 | E | 345 | 1.77 | V4-068 | Solar | IS
206736 | 28F1S_V | 28F1S_V4-06934.500 | S1 | 228 | 1.14 | V4-069 | Solar | IS
904682 | V4-069 | V4-069 E 34.500 | 1 | 228 | 1.86 | V4-069 | Solar | IS
206737 | 28F2S_V | 28F2S_V4-07034.500 | S1 | 228 | 1.14 | V4-070 | Solar | IS
904692 | V4-070 | V4-070 E 34.500 | 1 | 228 | 1.86 | V4-070 | Solar | IS
904722 | V4-073 | V4-073 E 69.000 | E | 209 | 1.55 | V4-073 | Solar | IS
253303 | V4-073 | V4-073 C 69.000 | S1 | 209 | 0.95 | V4-073 | Solar | IS
232404 | W1-003 | W1-003 C 138.00 | 1 | 235 | 13.36 | W1-003 | Solar | IS
232405 | W1-003 | W1-003 E 138.00 | 1 | 235 | 12.4 | W1-003 | Solar | IS
232406 | W1-004 | W1-004 C 138.00 | 1 | 235 | 13.36 | W1-004 | Solar | IS
232407 | W1-004 | W1-004 E 138.00 | 1 | 235 | 12.4 | W1-004 | Solar | IS
232408 | W1-005 | W1-005 C 138.00 | 1 | 235 | 13.36 | W1-005 | Solar | IS
232409 | W1-005 | W1-005 E 138.00 | 1 | 235 | 12.4 | W1-005 | Solar | IS
232410 | W1-006 | W1-006 C 138.00 | 1 | 235 | 13.36 | W1-006 | Solar | IS
232411 | W1-006 | W1-006 E 138.00 | 1 | 235 | 12.4 | W1-006 | Solar | IS
207205 | 28MAN_W | 28MAN_W1-02434.500 | S1 | 228 | 1.52 | W1-024 | Solar | IS
901032 | W1-024 | W1-024E OP1 34.500 | 1E | 228 | 2.5 | W1-024 | Solar | IS
901032 | W1-024 | W1-024E OP1 34.500 | 1E | 228 | 2.5 | W1-024 | Solar | IS
206416 | 28MLH_W | 28MLH_W1-032230.00 | S1 | 228 | 1.14 | W1-032 | Solar | IS
901112 | W1-032 | W1-032 E OP1230.00 | 1 | 228 | 1.86 | W1-032 | Solar | IS
203905 | 26W1-04 | 26W1-045 C 23.000 | S1 | 226 | 5.1 | W1-045 | Solar | IS
901242 | W1-045 | W1-045 E OP123.000 | 1 | 226 | 8.37 | W1-045 | Solar | IS
217082 | WEATEXA | WEATEXAS E 13.200 | 1 | 231 | 0.868 | W1-101 | Solar | IS
217081 | WEATEXA | WEATEXAS C 13.200 | 1 | 231 | 0.53 | W1-101 | Solar | IS
207204 | 28HOL_W | 28HOL_W1-11234.500 | S1 | 228 | 1.17 | W1-112 | Solar | IS
901912 | W1-112 | W1-112E OP1 34.500 | 1 | 228 | 2.48 | W1-112 | Solar | IS
207152 | 28NPK_W | 28NPK_W1-11334.500 | S1 | 228 | 2.8 | W1-113 | Solar | IS
901422 | W1-113 | W1-113 E 34.500 | 1 | 228 | 5 | W1-113 | Solar | IS
237778 | 01MSM_W | 01MSM_W1-11634.500 | S1 | 201 | 5.32 | W1-116 | Solar | IS
901952 | W1-116 | W1-116E 34.500 | 1 | 201 | 8.7 | W1-116 | Solar | IS
207157 | 28PEM_W | 28PEM_W1-11934.500 | S1 | 228 | 3.34 | W1-119 | Solar | IS
901982 | W1-119 | W1-119 E 34.500 | 1 | 228 | 5.46 | W1-119 | Solar | IS
207158 | 28PEM_W | 28PEM_W1-12034.500 | S1 | 228 | 3.34 | W1-120 | Solar | IS
901992 | W1-120 | W1-120E 34.500 | 1 | 228 | 5.46 | W1-120 | Solar | IS
219114 | HARTZY_ | HARTZY_C 13.200 | 1 | 231 | 1.52 | W1-121 Y | Solar | IS
219115 | HARTZY_ | HARTZY_E 13.200 | 1 | 231 | 0.57 | W1-121 Y | Solar | IS
219117 | HARTZZ_ | HARTZZ_E 13.200 | 1 | 231 | 2.48 | W1-121 Z | Solar | IS
219116 | HARTZZ_ | HARTZZ_C 13.200 | 1 | 231 | 1.52 | W1-121 Z | Solar | IS
207206 | 28TIN_W | 28TIN_W1-12434.500 | S1 | 228 | 3.8 | W1-124 | Solar | IS
902032 | W1-124E | W1-124E 34.500 | 1 | 228 | 10.5 | W1-124 | Solar | IS
206751 | 28HRM_W | 28HRM_W1-12734.500 | S1 | 228 | 1.14 | W1-127 | Solar | IS
902062 | W1-127 | W1-127E 34.500 | 1 | 228 | 1.9 | W1-127 | Solar | IS
207207 | 28JCB_W | 28JCB_W1-12934.500 | S1 | 228 | 1.9 | W1-129 | Solar | IS
902082 | W1-129 | W1-129E 34.500 | 1 | 228 | 3.1 | W1-129 | Solar | IS
902092 | W1-130 | W1-130E 12.900 | 1 | 234 | 5.7 | W1-130 | Solar | IS
228728 | W1-130 | W1-130C 12.900 | 1 | 234 | 3.2 | W1-130 | Solar | IS
206744 | 28PIT_W | 28PIT_W1-13234.500 | S1 | 228 | 2 | W1-132 | Solar | IS
206745 | 28F3S_W | 28F3S_W2-01634.500 | S1 | 228 | 3 | W2-016 | Solar | IS
902292 | W2-016 | W2-016E 34.500 | 1 | 228 | 9.3 | W2-016 | Solar | IS
207160 | 28EGP_W | 28EGP_W2-01934.500 | S1 | 228 | 2.3 | W2-019 | Solar | IS
902322 | W2-019 | W2-019 E 34.500 | S1 | 228 | 3.7 | W2-019 | Solar | IS
902432 | W2-030 | W2-030 E 12.900 | 1 | 234 | 6 | W2-030 | Solar | IS
228729 | W2-030 | W2-030 C 12.900 | 1 | 234 | 3.65 | W2-030 | Solar | IS
219250 | CENTRAL | CENTRALDIV E13.200 | 1 | 231 | 0.465 | W2-036 | Solar | IS
219249 | CENTRAL | CENTRALDIV C13.200 | 1 | 231 | 0.3 | W2-036 | Solar | IS
206755 | 28CPH_W | 28CPH_W2-05034.500 | S1 | 228 | 8 | W2-050 | Solar | IS
218429 | ETC SOL | ETC SOLAR E 13.200 | 1 | 231 | 0.367 | W2-052 | Solar | IS
218428 | ETC SOL | ETC SOLAR C 13.200 | 1 | 231 | 0.2 | W2-052 | Solar | IS
219288 | REEVES | REEVES ST E 69.000 | 1 | 231 | 6.82 | W2-056 | Solar | IS
219287 | REEVESE | REEVESEAST C13.200 | 1 | 231 | 4.18 | W2-056 | Solar | IS
206754 | 28EAM_W | 28EAM_W2-06134.500 | S1 | 228 | 1.1 | W2-061 | Solar | IS
902742 | W2-061 | W2-061 E 34.500 | 1 | 228 | 1.86 | W2-061 | Solar | IS
219273 | CLEANLI | CLEANLIGHT E13.200 | 1 | 231 | 1.74 | W2-071 | Solar | IS
219272 | CLEANLI | CLEANLIGHT C13.200 | 1 | 231 | 1.06 | W2-071 | Solar | IS
207162 | 28APLW2 | 28APLW2-078 34.500 | S1 | 228 | 3.1 | W2-078 | Solar | IS
902912 | W2-078 | W2-078 E 34.500 | 1 | 228 | 5.6 | W2-078 | Solar | IS
206718 | 28STAW2 | 28STAW2-080 34.500 | S1 | 228 | 0.8 | W2-080 | Solar | IS
902932 | W2-080 | W2-080 E 34.500 | 1 | 228 | 1.2 | W2-080 | Solar | IS
207164 | 28NHV_W | 28NHV_W2-08234.500 | S1 | 228 | 3.1 | W2-082 | Solar | IS
902952 | W2-082 | W2-082 E OP134.500 | 1 | 228 | 10.5 | W2-082 | Solar | IS
916006 | 28RH_W2 | 28RH_W2-091 34.500 | E | 228 | 4.4 | W2-091 | Solar | IS
206757 | 28RH_W2 | 28RH_W2-091 34.500 | S1 | 228 | 3.6 | W2-091 | Solar | IS
219608 | WPEMNER | WPEMNERT E 26.400 | 1 | 231 | 4.34 | W2-102 | Solar | IS
219607 | WPEMNER | WPEMNERT C 26.400 | 1 | 231 | 2.66 | W2-102 | Solar | IS
903222 | W3-003 | W3-003 E 34.500 | 1 | 228 | 10 | W3-003 | Solar | IS
206761 | 28MHD_W | 28MHD_W3-02934.500 | S1 | 228 | 3.2 | W3-029 | Solar | IS
903482 | W3-029 | W3-029 E 34.500 | 1 | 228 | 10.5 | W3-029 | Solar | IS
206749 | 28WA_W3 | 28WA_W3-044 34.500 | S1 | 228 | 7.6 | W3-044 | Solar | IS
903632 | W3-044 | W3-044 E OP134.500 | 1 | 228 | 12.4 | W3-044 | Solar | IS
903962 | W3-077 | W3-077 E 34.500 | 1 | 228 | 9.3 | W3-077 | Solar | IS
207408 | W3-077 | W3-077 C 34.500 | S1 | 228 | 3.2 | W3-077 | Solar | IS
207148 | 28MDF_W | 28MDF_W3-07934.500 | S1 | 228 | 3.6 | W3-079 | Solar | IS
903982 | W3-079 | W3-079 E 34.500 | 1 | 228 | 4.4 | W3-079 | Solar | IS
219611 | FLORENC | FLORENCE E 26.400 | 1 | 231 | 12.4 | W3-080 | Solar | IS
219610 | FLORENC | FLORENCE C 26.400 | 1 | 231 | 3.7 | W3-080 | Solar | IS
206746 | 28WNG_W | 28WNG_W3-11034.500 | S1 | 228 | 2.85 | W3-110 | Solar | IS
903682 | W3-110 | W3-110 E 34.500 | 1 | 228 | 4.65 | W3-110 | Solar | IS
219613 | MATRIX | MATRIX E 13.200 | 1 | 231 | 1.77 | W3-124 | Solar | IS
219612 | MATRIX | MATRIX C 13.200 | 1 | 231 | 1.08 | W3-124 | Solar | IS
207208 | 28JCB_W | 28JCB_W4-02534.500 | S1 | 228 | 2.6 | W4-025 | Solar | IS
905252 | W4-025 | W4-025 E 34.500 | 1 | 228 | 4.4 | W4-025 | Solar | IS
206748 | 28DL_W4 | 28DL_W4-046 34.500 | S1 | 228 | 2.4 | W4-046 | Solar | IS
905442 | W4-046 | W4-046 E 34.500 | 1 | 228 | 6.2 | W4-046 | Solar | IS
219621 | RIDERU | RIDERU E 13.200 | 1 | 231 | 0.435 | W4-058 | Solar | IS
219620 | RIDERU | RIDERU C 13.200 | 1 | 231 | 0.27 | W4-058 | Solar | IS
217168 | METRODI | METRODIV E 13.200 | 1 | 231 | 1.634 | W4-059 | Solar | IS
217169 | METRODI | METRODIV C 13.200 | 1 | 231 | 0.23 | W4-059 | Solar | IS
207169 | 28W4-06 | 28W4-060COL 34.500 | S1 | 228 | 3.2 | W4-060 | Solar | IS
905502 | W4-060 | W4-060 E OP134.500 | 1 | 228 | 6.2 | W4-060 | Solar | IS
206758 | 28AU_W4 | 28AU_W4-064 34.500 | S1 | 228 | 1.1 | W4-064 | Solar | IS
905542 | W4-064 | W4-064 E 34.500 | 1 | 228 | 1.9 | W4-064 | Solar | IS
905602 | W4-073 | W4-073 E 34.500 | 1 | 228 | 10.5 | W4-073 | Solar | IS
206759 | 28HOL_W | 28HOL_W4-09734.500 | S1 | 228 | 1.1 | W4-097 | Solar | IS
905762 | W4-097 | W4-097 E 34.500 | 1 | 228 | 1.9 | W4-097 | Solar | IS
237779 | 01MDS_W | 01MDS_W4-10234.500 | S1 | 201 | 7.6 | W4-102 | Solar | IS
905554 | W4-102 | W4-102 E 34.500 | 1 | 201 | 12.4 | W4-102 | Solar | IS
219305 | NAMERIC | NAMERICA E 26.400 | 1 | 231 | 4.34 | W4-103 | Solar | IS
219304 | NAMERIC | NAMERICA C 26.400 | 1 | 231 | 2.66 | W4-103 | Solar | IS
206762 | 28FRD_X | 28FRD_X1-01234.500 | S1 | 228 | 3.7 | X1-012 | Solar | IS
907012 | X1-012 | X1-012 E 34.500 | 1 | 228 | 6.2 | X1-012 | Solar | IS
232412 | X1-032 | X1-032 E 138.00 | 1 | 235 | 4 | X1-032 | Solar | IS
207144 | 28HOW_X | 28HOW_X1-03734.500 | S1 | 228 | 4.2 | X1-037 | Solar | IS
907082 | X1-037 | X1-037 E 34.500 | 1 | 228 | 10.54 | X1-037 | Solar | IS
219619 | MILLCRE | MILLCREEK E 13.200 | 1 | 231 | 2.17 | X1-070 | Solar | IS
219615 | MILLCRE | MILLCREEK C 13.200 | 1 | 231 | 1.2 | X1-070 | Solar | IS
219237 | SOUTHER | SOUTHERNHQ E13.200 | 1 | 231 | 0.58 | X1-071 | Solar | IS
219236 | SOUTHER | SOUTHERNHQ C13.200 | 1 | 231 | 0.35 | X1-071 | Solar | IS
217249 | HACKENS | HACKENSOLA E26.400 | 1 | 231 | 0.62 | X1-072 | Solar | IS
217201 | HACKENS | HACKENSOLA C26.400 | 1 | 231 | 0.38 | X1-072 | Solar | IS
207149 | 28UPF_X | 28UPF_X1-08534.500 | S1 | 228 | 1.9 | X1-085 | Solar | IS
907272 | X1-085 | X1-085 E 34.500 | 1 | 228 | 3.1 | X1-085 | Solar | IS
206767 | 28BRNX1 | 28BRNX1-095 34.500 | S1 | 228 | 1.14 | X1-095 | Solar | IS
907394 | X1-095 | X1-095 E OP134.500 | 1 | 228 | 1.86 | X1-095 | Solar | IS
206764 | 28JCR_X | 28JCR_X2-07534.500 | S1 | 228 | 2.28 | X2-075 | Solar | IS
909252 | X2-075 | X2-075 E 34.500 | 1 | 228 | 3.72 | X2-075 | Solar | IS
217203 | FBANKSO | FBANKSOLAR E13.200 | 1 | 231 | 0.632 | X2-087 | Solar | IS
217202 | FBANKSO | FBANKSOLAR C13.200 | 1 | 231 | 0.38 | X2-087 | Solar | IS
218437 | BLK ROC | BLK ROCK E 13.000 | 1 | 231 | 1.405 | X2-088 | Solar | IS
218438 | BLK ROC | BLK ROCK C 13.000 | 1 | 231 | 0.9 | X2-088 | Solar | IS
218439 | SUMMTAS | SUMMTASSOC E13.000 | 1 | 231 | 1.24 | X2-089 | Solar | IS
218440 | SUMMTAS | SUMMTASSOC C13.000 | 1 | 231 | 0.76 | X2-089 | Solar | IS
910542 | X3-005 | X3-005 E 13.200 | 1 | 222 | 5.6 | X3-005 | Solar | IS
276164 | X3-005 | X3-005 C 13.200 | 1 | 222 | 3.4 | X3-005 | Solar | IS
232418 | X3-008 | X3-008 E 69.000 | 1 | 235 | 12.4 | X3-008 | Solar | ISA
232417 | X3-008 | X3-008 C 69.000 | 1 | 235 | 7.6 | X3-008 | Solar | ISA
232423 | X3-066 | X3-066 E 12.500 | 1 | 235 | 3.72 | X3-066 | Solar | IS
232422 | X3-066 | X3-066 C 12.500 | 1 | 235 | 2.28 | X3-066 | Solar | IS
219921 | AF1-264 | AF1-264 13.200 | 1 | 231 | 1.3 | X3-075 | Solar | ISA
910862 | OWENSCO | OWENSCORIN E13.200 | 1 | 231 | 3 | X3-075 | Solar | IS
207150 | 28HAN_X | 28HAN_X4-01534.500 | S1 | 228 | 1.9 | X4-015 | Solar | IS
912102 | X4-015 | X4-015 E 34.500 | 1 | 228 | 3.1 | X4-015 | Solar | IS
207143 | 28BYD_X | 28BYD_X4-03134.500 | S1 | 228 | 2 | X4-031 | Solar | IS
219292 | REEVESS | REEVESSO E 13.200 | 1 | 231 | 0.62 | Y1-075 | Solar | IS
219291 | REEVESS | REEVESSOUT C13.200 | 1 | 231 | 0.38 | Y1-075 | Solar | IS
232425 | Y1-079 | Y1-079 E 24.900 | 1 | 235 | 6.2 | Y1-079 | Solar | IS
232424 | Y1-079 | Y1-079 C 24.900 | 1 | 235 | 3.8 | Y1-079 | Solar | IS
232427 | Y1-080 | Y1-080 E 69.000 | 1 | 235 | 2.1 | Y1-080 | Solar | IS
232426 | Y1-080 | Y1-080 FULL 69.000 | 1 | 235 | 1.28 | Y1-080 | Solar | IS
913392 | Y1-086 | Y1-086 E 230.00 | E | 345 | 12.4 | Y1-086 | Solar | IS
316320 | Y1-086 | Y1-086 C 230.00 | S1 | 345 | 7.6 | Y1-086 | Solar | IS
916005 | 28N27_Y | 28N27_Y2-01813.800 | E | 228 | 3.45 | Y2-018 | Solar | IS
206345 | 28N27_Y | 28N27_Y2-01813.800 | S1 | 228 | 0.35 | Y2-018 | Solar | IS
207145 | 28FRN_Y | 28FRN_Y2-05134.500 | S1 | 228 | 1.9 | Y2-051 | Solar | IS
914092 | Y2-051 | Y2-051 E 34.500 | 1 | 228 | 3.1 | Y2-051 | Solar | IS
219259 | KINSLEY | KINSLEYDEP E13.200 | 1 | 231 | 3.1 | Y2-081 | Solar | IS
219258 | KINSLEY | KINSLEYDEP C13.200 | 1 | 231 | 2.66 | Y2-081 | Solar | IS
219348 | LDSOLAR | LDSOLAR C 26.400 | 1 | 231 | 3.8 | Y3-026 | Solar | IS
219349 | LDSOLAR | LDSOLAR E 26.400 | 1 | 231 | 3.8 | Y3-026 | Solar | IS
232429 | Y3-058 | Y3-058 E 69.000 | 1 | 235 | 9.3 | Y3-058 | Solar | IS
232428 | Y3-058 | Y3-058 C 69.000 | 1 | 235 | 5.7 | Y3-058 | Solar | IS
219624 | KINSLEY | KINSLEYBEA E13.200 | 1 | 231 | 2.36 | Y3-087 | Solar | IS
219623 | KINSLEY | KINSLEYBEA C13.200 | 1 | 231 | 2.29 | Y3-087 | Solar | IS
219275 | PARKLAN | PARKLANDSO E26.400 | 1 | 231 | 4.86 | Z1-096 | Solar | IS
219276 | PARKLAN | PARKLANDSO C26.400 | 1 | 231 | 2.98 | Z1-096 | Solar | IS
233901 | CHERRYD | CHERRYDALE C69.000 | S1 | 235 | 7.6 | Z2-012 | Solar | IS
917082 | Z2-012 | Z2-012 E 69.000 | E | 235 | 12.4 | Z2-012 | Solar | IS
316321 | Z2-027 | Z2-027 C 230.00 | S1 | 345 | 13.8 | Z2-027 | Solar | IS
917122 | Z2-027 | Z2-027 E 230.00 | E | 345 | 6 | Z2-027 | Solar | IS
235464 | 01DTGZ2 | 01DTGZ2-030 138.00 | 1 | 201 | 3.8 | Z2-030 | Solar | IS
917162 | Z2-030 | Z2-030 E 138.00 | 1 | 201 | 6.2 | Z2-030 | Solar | IS
316317 | KELFORD | KELFORD C 115.00 | S1 | 345 | 13.2 | Z2-043 | Solar | IS
917332 | KELFORD | KELFORD E 115.00 | E | 345 | 7 | Z2-043 | Solar | IS
316319 | Z2-044 | Z2-044 C 115.00 | S1 | 345 | 8.4 | Z2-044 | Solar | IS
917342 | Z2-044 | Z2-044 E 115.00 | E | 345 | 3.6 | Z2-044 | Solar | IS
232432 | Z2-076 | Z2-076 C 24.900 | 1 | 235 | 3.99 | Z2-076 | Solar | IS
232433 | Z2-076 | Z2-076 E 24.900 | 1 | 235 | 2.01 | Z2-076 | Solar | IS
232434 | Z2-077 | Z2-077 C 24.900 | 1 | 235 | 3.99 | Z2-077 | Solar | IS
232435 | Z2-077 | Z2-077 E 24.900 | 1 | 235 | 2.01 | Z2-077 | Solar | IS
315601 | 1CONETO | 1CONETOE2SOL0.6900 | SA | 345 | 52.7 | Z2-088 | Solar | IS
917512 | Z2-088 | Z2-088 E OP1230.00 | 1 | 345 | 49.6 | Z2-088 | Solar | IS
207171 | 28DIX_Z | 28DIX_Z2-10234.500 | S1 | 228 | 4.94 | Z2-102 | Solar | IS
917612 | Z2-102 | Z2-102 E 34.500 | 1 | 228 | 8.06 | Z2-102 | Solar | IS
244412 | 05WTRV | 05WTRV SLR C138.00 | 1C | 205 | 2.3 | Z2-113 | Solar | IS
247966 | 05WTRV | 05WTRV SLR E138.00 | 1E | 205 | 2.3 | Z2-113 | Solar | IS
247642 | Z2-115 | Z2-115 C 12.000 | 1C | 205 | 1.25 | Z2-115 | Solar | IS
247968 | Z2-115 | Z2-115 E 12.000 | 1E | 205 | 1.25 | Z2-115 | Solar | IS
247643 | Z2-116 | Z2-116 C 138.00 | 1C | 205 | 1.3 | Z2-116 | Solar | IS
247969 | Z2-116 | Z2-116 E 138.00 | 1E | 205 | 1.3 | Z2-116 | Solar | IS
219917 | AB1-063 | AB1-063 E 69.000 | E | 231 | 0.4 | AB1-063 | Solar | ISA
930243 | AB1-063 | AB1-063_E 69.000 | 1 | 231 | -7.6 | AB1-063 | Solar | ISA
207450 | AB1-163 | AB1-163 E 34.500 | E | 228 | 5 | AB1-163 | Solar | IS
923583 | AB1-173 | AB1-173A E 115.00 | 1 | 345 | 6.3 | AB1-173 | Solar | ISA
924822 | AB2-135 | AB2-135 E 69.000 | 1 | 235 | 34.1 | AB2-135 | Solar | ISA
924832 | AB2-136 | AB2-136 E 69.000 | 1 | 235 | 26.3 | AB2-136 | Solar | ISA
925346 | AC1-001 | AC1-001 E 0.3850 | 1 | 205 | 15.97 | AC1-001 | Solar | ISA
925985 | AC1-074 | AC1-074 E 0.6000 | 1 | 320 | 24 | AC1-074 | Solar | ISA
926016 | AC1-078 | AC1-078 E 0.6000 | 1 | 202 | 110 | AC1-078 | Solar | ISA
926055 | AC1-083 | AC1-083 E 0.3900 | 1 | 205 | 62 | AC1-083 | Solar | ISA
927226 | AC1-216 | AC1-216 E 0.6000 | E | 345 | 43.1 | AC1-216 | Solar | ISA
932046 | AC2-012 | AC2-012 E 0.6000 | E | 345 | 93 | AC2-012 | Solar | ISA
932412 | AC2-059 | AC2-059 E 0.6300 | E | 205 | 64.5 | AC2-059 | Solar | ISA
933932 | AD1-016 | AD1-016 E 138.00 | E | 222 | 12.4 | AD1-016 | Solar | ISA
219910 | AD1-054 | AD1-054 E 13.200 | S1 | 231 | 1.5 | AD1-054 | Solar | IS
934373 | AD1-061 | AD1-061 E 0.4050 | 1 | 201 | 12.4 | AD1-061 | Solar | ISA
934906 | AD1-119 | AD1-119 E 0.3900 | E | 205 | 31 | AD1-119 | Solar | ISA
934972 | AD1-129 | AD1-129 E 34.500 | E | 222 | 5 | AD1-129 | Solar | ISA
936063 | AD2-009 | AD2-009_E 0.6000 | 1 | 201 | 21.9 | AD2-009 | Solar | ISA
936112 | AD2-016 | AD2-016 E 0.6300 | E | 205 | 64 | AD2-016 | Solar | ISA
936582 | AD2-073 | AD2-073 E 230.00 | 1 | 345 | 6.6 | AD2-073 | Solar | IS
936632 | AD2-079 | AD2-079 E O10.6300 | E | 205 | 8 | AD2-079 | Solar | IS
936915 | AD2-115 | AD2-115 E 0.5500 | 1 | 227 | 7 | AD2-115 | Solar | ISA
936925 | AD2-116 | AD2-116_E 0.5500 | 1 | 227 | 7 | AD2-116 | Solar | ISA
937222 | AD2-160 | AD2-160 E 0.6300 | 1 | 345 | 17.2 | AD2-160 | Solar | ISA
937312 | AD2-172 | AD2-172 E 138.00 | E | 222 | 29 | AD2-172 | Solar | ISA
938756 | AE1-101 | AE1-101 E1 0.6000 | 1 | 201 | 49.5 | AE1-101 | Solar,Storage | ISA
938757 | AE1-101 | AE1-101 E2 0.4800 | 1 | 201 | 50 | AE1-101 | Solar,Storage | ISA
939132 | AE1-143 | AE1-143 E 161.00 | E | 320 | 31.8 | AE1-143 | Solar,Storage | ISA
939246 | AE1-155 | AE1-155 E 0.6300 | 1 | 345 | 51 | AE1-155 | Solar | FSA
939562 | AE1-185 | AE1-185 E 69.000 | E | 227 | 7.4 | AE1-185 | Solar | ISA
939665 | AE1-196 | AE1-196_E 0.5500 | E | 227 | 7.171 | AE1-196 | Solar | ISA
939902 | AE1-226 | AE1-226 E 69.000 | E | 229 | 10.4 | AE1-226 | Solar | ISA
276612 | AE2-035 | AE2-035 C 138.00 | S1 | 222 | 21 | AE2-035 | Solar | ISA
940502 | AE2-035 | AE2-035 E 138.00 | E | 222 | 29 | AE2-035 | Solar | ISA
940566 | AE2-042 | AE2-042 E 0.6000 | E | 229 | 23.2 | AE2-042 | Solar | ISA
941322 | AE2-126 | AE2-126 E 34.500 | 1 | 226 | 8 | AE2-126 | Solar | ISA
941332 | AE2-129 | AE2-129 E 34.500 | 1 | 226 | 8 | AE2-129 | Solar | ISA
942126 | AE2-224 | AE2-224 E 0.6000 | E | 226 | 40 | AE2-224 | Solar | FSA
943712 | AF1-039 | AF1-039 E O1115.00 | 1 | 226 | 6 | AF1-039 | Solar | ISA
944722 | AF1-137 | AF1-137 E O135.000 | 1 | 230 | 3.9 | AF1-137 | Solar | ISA
945092 | AF1-174 | AF1-174 E 35.000 | E | 230 | 8 | AF1-174 | Solar | ISA
946772 | AF1-217 | AF1-217 E 34.500 | 1 | 226 | 8 | AF1-217 | Solar | ISA
945842 | AF1-249 | AF1-249 E 138.00 | E | 212 | 5.92 | AF1-249 | Solar | ISA
219922 | AF1-261 | AF1-261 26.400 | 1 | 231 | 0.9 | AF1-261 | Solar | ISA
958502 | AF2-144 | AF2-144 E 230.00 | E1 | 345 | 6.8 | AF2-144 | Solar,Storage | ISA
959742 | AF2-265 | AF2-265 E 34.500 | 1 | 226 | 6.4 | AF2-265 | Solar | ISA
962962 | AG1-145 | AG1-145 E 230.00 | 1 | 345 | 8 | AG1-145 | Solar | ISA
965232 | AG1-388 | AG1-388 E 230.00 | E | 345 | 8 | AG1-388 | Solar | ISA

## Wind
Bus Number | Bus Name | Id | Area Num | PMax (MW) | GroupID | Gen Class | Updated Phase
918052 | AA1-018 E OP345.00 | W1 | 222 | 130.5 | AA1-018 | Wind | IS
270839 | OTTER CRK; R345.00 | W1 | 222 | 19.5 | AA1-018 | Wind | IS
930042 | AB1-006 E2 0.6900 | E2 | 205 | 96.75 | AB1-006 | Wind | IS
930041 | AB1-006 E1 0.6900 | E1 | 205 | 77.25 | AB1-006 | Wind | IS
270180 | AB1-006 W1 0.6500 | W1 | 205 | 22.75 | AB1-006 | Wind | IS
270181 | AB1-006 W2 0.6900 | W2 | 205 | 3.25 | AB1-006 | Wind | IS
233906 | AB1-056 C | W1 | 2351 | 64.4 | AB1-056 C | Wind | ISA
931012 | AB1-150 E 138.00 | W1 | 201 | 43.9 | AB1-150 | Wind | IS
237033 | AB1-150 C 138.00 | W1 | 201 | 7.3 | AB1-150 | Wind | IS
924049 | AB2-047 E2 0.6900 | E | 222 | 109.6 | AB2-047 | Wind | IS
924048 | AB2-047 E1 0.6900 | E | 222 | 107.9 | AB2-047 | Wind | IS
276655 | AB2-047 C1 0.6900 | W1 | 222 | 16.25 | AB2-047 | Wind | IS
276656 | AB2-047 C2 0.6900 | W1 | 222 | 16.25 | AB2-047 | Wind | IS
276668 | AB2-070 C | W1 | 222 | 26 | AB2-070 C | Wind | ISA
241885 | AC2-103 C1 0.6900 | W1 | 202 | 19.3 | AC2-103 | Wind | ISA
241886 | AC2-103 C2 0.6900 | W2 | 202 | 19.3 | AC2-103 | Wind | ISA
924266 | AB2-070 E 0.6900 | E | 222 | 174 |  | Wind | ISA
925955 | AC1-071 E 0.6900 | 1 | 229 | 62.1 | AC1-071 | Wind | ISA
926866 | AC1-173 E 0.6500 | W1 | 205 | 66 | AC1-173 | Wind | IS
270191 | AC1-173 C 0.6500 | W1 | 205 | 9.9 | AC1-173 | Wind | IS
276645 | AC1-214 C1 0.6900 | W1 | 222 | 8.5 | AC1-214 1 | Wind | IS
927208 | AC1-214 E1 0.6900 | W1 | 222 | 5.249 | AC1-214 1 | Wind | IS
927209 | AC1-214 E2 0.6900 | W1 | 222 | 55.151 | AC1-214 2 | Wind | IS
276646 | AC1-214 C2 0.6900 | W1 | 222 | 8.5 | AC1-214 2 | Wind | IS
925954 | AC1-071 C 0.6900 | 1 | 229 | 8.74 | AC1-071 | Wind | ISA
253314 | AC1-085 A_E 0.6000 | 1 | 209 | 124 | AC1-085 A | Wind | ISA
253317 | AC1-085 B_E 0.6000 | 1 | 209 | 124 | AC1-085 B | Wind | ISA
907201 | AC2-103 E1 0.6900 | E1 | 202 | 129.482 | AC2-103 | Wind | ISA
933596 | AC2-176 E 0.6900 | W1 | 205 | 113.1 | AC2-176 | Wind | IS
270201 | AC2-176 C 0.6900 | W1 | 205 | 16.9 | AC2-176 | Wind | IS
907202 | AC2-103 E2 0.6900 | E2 | 202 | 129.482 | AC2-103 | Wind | ISA
235054 | AD2-180 C | 1 | 201 | 15.08 | AD2-180 C | Wind | IS
200894 | 26K02 34.500 | W1 | 226 | 56 | K02 | Wind | IS
235097 | GREENL_K11_E0.6900 | 1 | 201 | 225.8 | K11 | Wind | IS
235838 | 01GRNGAP 0.6900 | W1 | 201 | 38.2 | K11 | Wind | IS
200864 | K-013 E 34.500 | 1 | 226 | 26.2 | K13 | Wind | IS
200846 | 26FORWARD 34.500 | W1 | 226 | 3.2 | K13 | Wind | IS
916000 | 01BACKB E 34.500 | E | 201 | 57.9 | K19 | Wind | IS
235625 | 01BACKB 34.500 | W1 | 201 | 8.1 | K19 | Wind | IS
916003 | 01WDPWR_K20 25.000 | E | 201 | 13.3 | K20 | Wind | IS
236523 | 01WDPWR_K20 25.000 | W1 | 201 | 1.7 | K20 | Wind | IS
209031 | WAYM IPP E 34.500 | 1 | 229 | 55.5 | K21 | Wind | IS
209029 | WAYM IPP 34.500 | 1 | 229 | 9 | K21 | Wind | IS
916004 | 26SW_E13_K2223.000 | E | 226 | 8.1 | K22 | Wind | IS
200834 | 26SW_E13_K2223.000 | W1 | 226 | 0.9 | K22 | Wind | IS
292350 | K-023 0.6000 | 1 | 226 | 42 | K23 | Wind | IS
200890 | 26BF_G21_K230.6000 | W1 | 226 | 4.8 | K23 | Wind | IS
292401 | K-028 E 0.6900 | 1 | 201 | 58.6 | K28 | Wind | IS
885642 | T-016 E 0.6900 | 1 | 201 | 24 | K28 | Wind | IS
235854 | 01KL_K28_T160.6900 | W1 | 201 | 17.3 | K28 | Wind | IS
990901 | L-005 E 0.6900 | 1 | 222 | 137 | L05_CE22 | Wind | IS
274848 | CAMPGROVE;RU0.5750 | W | 222 | 13 | L05_CE22 | Wind | IS
292542 | L-013 1 0.5750 | 1 | 226 | 32 | L13 | Wind | IS
200891 | 26CSLMN_L13 0.5750 | W1 | 226 | 5.9 | L13 | Wind | IS
208972 | BECR K09 0.6900 | 12 | 229 | 3.3 | L18 | Wind | IS
293902 | O-048 E 24.900 | 1 | 226 | 28.8 | Lookout Wind | Wind | IS
200892 | 26LOOKOUT 24.900 | W1 | 226 | 6.3 | Lookout Wind | Wind | IS
293432 | R-040 E 25.000 | 1 | 226 | 1.8 | Lookout Wind | Wind | IS
923384 | M24 E 0.6900 | 1 | 201 | 85.5 | M24 | Wind | IS
235780 | 01BEECHRIDGE0.6900 | W1 | 201 | 15 | M24 | Wind | IS
916008 | LOR1 E 0.7000 | E | 229 | 23.8 | N14 | Wind | IS
212266 | LOR1 0.6900 | 1 | 229 | 3.5 | N14 | Wind | IS
293061 | N-015 E 0.5750 | 1 | 222 | 120 | N15 | Wind | IS
274847 | GR RIDGE ;BU0.5750 | W1 | 222 | 27.4 | N15 | Wind | IS
916002 | 01ELLIOTTS E34.500 | E | 201 | 44.9 | N32 | Wind | IS
237505 | 01ELLIOTTS 34.500 | W1 | 201 | 5.5 | N32 | Wind | IS
293301 | N-039 E 0.6900 | 1 | 226 | 64 | N39 | Wind | IS
200886 | 26ARWF_N39 0.6900 | W1 | 226 | 11.1 | N39 | Wind | IS
916001 | 01CROSSCHOOL34.500 | E | 201 | 44.5 | N47 | Wind | IS
237507 | 01CROSSCHOOL34.500 | W1 | 201 | 10.7 | N47 | Wind | IS
276158 | O-029 C | W1 | 222 | 18.9 | O-029 C | Wind | IS
276157 | O-029 C | W1 | 222 | 11 | O-029 C | Wind | IS
276156 | O-029 C | W1 | 222 | 10.1 | O-029 C | Wind | IS
293516 | O-009 E 0.6900 | E | 222 | 169.6 | O09 | Wind | IS
274881 | WALNUT RG;1U0.6900 | W1 | 222 | 42.4 | O09 | Wind | IS
293603 | O-018 E 34.500 | 1 | 226 | 54.4 | O18 | Wind | IS
200888 | 26HIGHLAND 34.500 | W1 | 226 | 8.1 | O18 | Wind | IS
293644 | O22 E1 0.6900 | 1 | 222 | 114.9 | O22 1 | Wind | IS
274861 | TOP CROP ;1U0.6900 | W1 | 222 | 18.4 | O22 1 | Wind | IS
293645 | O22 E2 0.6900 | 1 | 222 | 131.6 | O22 2 | Wind | IS
274862 | TOP CROP ;2U0.6900 | W2 | 222 | 35.1 | O22 2 | Wind | IS
293715 | O-029 E 0.6900 | W1 | 222 | 87.71 | O29 1 | Wind | IS
293715 | O-029 E 0.6900 | W1 | 222 | 87.71 | O29 1 | Wind | IS
276158 | O-029 C 0.6900 | W1 | 222 | 18.9 | O29 1 | Wind | IS
293716 | O-029 E 0.5750 | W1 | 222 | 48.09 | O29 2 | Wind | IS
293716 | O-029 E 0.5750 | W1 | 222 | 48.09 | O29 2 | Wind | IS
276157 | O-029 C 0.5750 | W1 | 222 | 11 | O29 2 | Wind | IS
293717 | O-029 E 0.6000 | W1 | 222 | 44.2 | O29 3 | Wind | IS
293717 | O-029 E 0.6000 | W1 | 222 | 44.2 | O29 3 | Wind | IS
276156 | O-029 C 0.6000 | W1 | 222 | 10.1 | O29 3 | Wind | IS
293771 | O-035 E 0.6900 | 1 | 222 | 59.2 | O35 | Wind | IS
274851 | PROVIDENC;RU0.6900 | W3 | 222 | 14.8 | O35 | Wind | IS
294515 | O38_P22 0.6900 | 1 | 226 | 56 | O38 | Wind | IS
203034 | 26NA_O38_P220.6900 | W1 | 226 | 9.1 | O38 | Wind | IS
290021 | O50 E 0.6900 | 1 | 222 | 160 | O50 | Wind | IS
274879 | MINONK ;1U0.6900 | W1 | 222 | 40 | O50 | Wind | IS
293777 | CAYUG;1U E 0.6900 | 1 | 222 | 127.5 | O51 1 | Wind | IS
274863 | CAYUGA RI;1U0.6900 | W1 | 222 | 22.5 | O51 1 | Wind | IS
293778 | CAYUG;2U E 0.6900 | 1 | 222 | 127.5 | O51 2 | Wind | IS
274864 | CAYUGA RI;2U0.6900 | W2 | 222 | 22.5 | O51 2 | Wind | IS
294392 | P-010 E 0.5750 | 1 | 222 | 152.4 | P10 | Wind | IS
274871 | GR RIDGE ;2U0.5750 | W2 | 222 | 10.2 | P10 | Wind | IS
294401 | BSHIL;1U E 0.6900 | 1 | 222 | 80 | P11 1 | Wind | IS
274877 | BISHOP HL;1U0.6900 | W1 | 222 | 20 | P11 1 | Wind | IS
294410 | BSHIL;2U E 0.6900 | 1 | 222 | 80 | P11 2 | Wind | IS
274878 | BISHOP HL;2U0.6900 | W2 | 222 | 20 | P11 2 | Wind | IS
290051 | GSG-6; E 0.6900 | 1 | 222 | 87.6 | P26 | Wind | IS
274855 | GSG-6 ;RU0.6900 | W | 222 | 21.9 | P26 | Wind | IS
294573 | P-028 E 0.5700 | 1 | 226 | 120 | P28 | Wind | IS
200917 | 26MTNTP_P28 0.6900 | W1 | 226 | 21.9 | P28 | Wind | IS
274859 | EASYR;U1 E 0.6900 | 1 | 222 | 104.8 | P36 1 | Wind | IS
274857 | BIG SKY ;U10.6900 | W1 | 222 | 15.2 | P36 1 | Wind | IS
274860 | EASYR;U2 E 0.6900 | 1 | 222 | 104.8 | P36 2 | Wind | IS
274858 | BIG SKY ;U20.6900 | W2 | 222 | 15.2 | P36 2 | Wind | IS
294763 | P-046 E 12.000 | 1 | 222 | 80.6 | P46 | Wind | IS
274856 | ECOGROVE ;U112.000 | W1 | 222 | 19.4 | P46 | Wind | IS
203999 | P-047 E 34.500 | 1 | 226 | 80.5 | P47 | Wind | IS
200887 | 26ARMNA MT 34.500 | W1 | 226 | 15.2 | P47 | Wind | IS
235092 | P59+W2-57 E 0.6900 | 1 | 201 | 85.9 | P59 | Wind | IS
237511 | 01LEADS_P59 0.6900 | W1 | 201 | 11.7 | P59 | Wind | IS
294903 | P-060 E 34.500 | 1 | 226 | 44 | P60 | Wind | IS
200889 | 26STNY CRK 34.500 | W1 | 226 | 8.5 | P60 | Wind | IS
247900 | 05FR-11G E 0.6000 | 1E | 205 | 78.3 | Q01 11 | Wind | IS
243859 | 05FR-11G C 0.6000 | 1C | 205 | 25.7 | Q01 11 | Wind | IS
247901 | 05FR-12G E 0.6000 | 1E | 205 | 77 | Q01 12 | Wind | IS
243862 | 05FR-12G C 0.6000 | 1C | 205 | 12.5 | Q01 12 | Wind | IS
247902 | 05FR-21G E 0.6000 | 1E | 205 | 82.3 | Q01 21 | Wind | IS
243864 | 05FR-21G C 0.6000 | 1C | 205 | 13 | Q01 21 | Wind | IS
247903 | 05FR-22G E 0.6900 | 1E | 205 | 78.8 | Q01 22 | Wind | IS
243866 | 05FR-22G C 0.6900 | 1C | 205 | 13 | Q01 22 | Wind | IS
247904 | 05FR-3G E 0.6900 | 1E | 205 | 159.6 | Q01 3 | Wind | IS
243870 | 05FR-3G C 0.6900 | 1C | 205 | 12.5 | Q01 3 | Wind | IS
247905 | 05FR-4G E 0.6900 | 1E | 205 | 125 | Q01 4 | Wind | IS
243873 | 05FR-4G C 0.6900 | 1C | 205 | 29.1 | Q01 4 | Wind | IS
916009 | LOR2_Q27 E 0.7000 | E | 229 | 88.8 | Q27 | Wind | IS
209027 | LOR2_Q27 0.6900 | 1 | 229 | 11.2 | Q27 | Wind | IS
290086 | Q-036 E 0.6900 | 1 | 226 | 41.7 | Q36 | Wind | IS
200905 | 26Q36 0.6900 | W1 | 226 | 8.3 | Q36 | Wind | IS
200883 | Q-053 E 34.500 | 1 | 226 | 31.6 | Q53 | Wind | IS
200915 | 26CHSTN_FL 34.500 | W1 | 226 | 6.4 | Q53 | Wind | IS
290108 | LEEDK;1U E 0.5750 | 1 | 222 | 197.5 | Q57 | Wind | IS
274872 | LEE DEKAL;1U0.6900 | W1 | 222 | 40 | Q57 | Wind | IS
296332 | R-032 E 34.500 | 1 | 226 | 62.3 | R32 | Wind | IS
200925 | 26R32 34.500 | W1 | 226 | 12.7 | R32 | Wind | IS
247911 | 05TIMB G E 0.6900 | 1E | 205 | 76.1 | R49 | Wind | IS
246953 | 05TIMB G C 0.6900 | 1C | 205 | 22.9 | R49 | Wind | IS
247908 | 05BLCK-1 E 0.6900 | 1E | 205 | 84.9333 | R60 1 | Wind | IS
246936 | 05BLCK-1 C 0.6900 | 1C | 205 | 16.4 | R60 1 | Wind | IS
247909 | 05BLCK-2 E 0.6900 | 1E | 205 | 84.9333 | R60 2 | Wind | IS
246937 | 05BLCK-2 C 0.6900 | 1C | 205 | 16.4 | R60 2 | Wind | IS
247910 | 05BLCK-3 E 0.6900 | 1E | 205 | 84.8333 | R60 3 | Wind | IS
246938 | 05BLCK-3 C 0.6900 | 1C | 205 | 16.5 | R60 3 | Wind | IS
247906 | 05MDL-1G E 0.6000 | 1E | 205 | 174.1 | S06 | Wind | IS
246909 | 05MDL-1G C 0.6000 | 1C | 205 | 25.9 | S06 | Wind | IS
290229 | S-014 E 0.6600 | 1 | 201 | 56 | S14 | Wind | IS
237312 | 01DANS_S-0140.6600 | W1 | 201 | 14 | S14 | Wind | IS
290261 | S-027 E 0.6900 | 1 | 222 | 163.2 | S27 | Wind | IS
274853 | TWINGROVE;U10.6900 | W1 | 222 | 34.8 | S27 | Wind | IS
290265 | S-028 E 0.6900 | 1 | 222 | 162.2 | S28 | Wind | IS
274854 | TWINGROVE;U20.6900 | W2 | 222 | 35.8 | S28 | Wind | IS
293519 | PILOT HIL;1E0.7000 | 1 | 222 | 140 | S36 | Wind | IS
274887 | PILOT HIL;1U0.6900 | W1 | 222 | 35 | S36 | Wind | IS
275149 | KELLYCK ;1E34.500 | 1 | 222 | 140 | S37 | Wind | IS
274888 | KELLY CRK;1U0.6900 | W1 | 222 | 35 | S37 | Wind | IS
247929 | S-071 E 138.00 | 1E | 205 | 96 | S71 | Wind | IS
247536 | 05BLUFF P WF138.00 | 1C | 205 | 24 | S71 | Wind | IS
295111 | SUBLETTE E 138.00 | E | 222 | 22.8 | Sublette | Wind | IS
276603 | SUBLETTE C 138.00 | W1 | 222 | 3.2 | Sublette | Wind | IS
247907 | 05MDL-2G E 12.000 | 1E | 205 | 84.8 | T126 2 | Wind | IS
246910 | 05MDL-2G C 12.000 | 1C | 205 | 15.2 | T126 2 | Wind | IS
247912 | 05MDL-3G E 0.6900 | 1E | 205 | 84.7 | T126 3 | Wind | IS
246976 | 05MDL-3G C 0.6900 | 1C | 205 | 15.3 | T126 3 | Wind | IS
247913 | 05MDL-4G E 0.6000 | 1E | 205 | 88.2 | T127 4 | Wind | IS
246979 | 05MDL-4G C 0.6000 | 1C | 205 | 11.8 | T127 4 | Wind | IS
247943 | T-127 E 345.00 | 1E | 205 | 79.8 | T127 5 | Wind | IS
247556 | 05MDL-5G 0.6900 | 1C | 205 | 20.2 | T127 5 | Wind | IS
270164 | T-131 E 0.7000 | W1 | 205 | 120 | T131 | Wind | IS
247521 | T131 0.6900 | W1 | 205 | 30 | T131 | Wind | IS
292559 | T-157 E 34.500 | 1 | 345 | 82 | T157 | Wind | IS
315604 | 1NEW CREEK 34.500 | 1 | 345 | 20.5 | T157 | Wind | IS
270165 | U1-059 E 69.000 | W1 | 205 | 43.5 | U1-059 | Wind | IS
247522 | U1-059 C 69.000 | W1 | 205 | 9.6 | U1-059 | Wind | IS
929522 | U2-030 E 0.6600 | 1 | 201 | 52.2 | U2-030 | Wind | IS
237319 | 01FMR_U2-0300.6600 | W1 | 201 | 7.8 | U2-030 | Wind | IS
235091 | U2-061_E 34.500 | 1 | 201 | 43.5 | U2-061 | Wind | IS
237512 | 01ROTHROCK 34.500 | W1 | 201 | 6.5 | U2-061 | Wind | IS
247932 | U2-072 E 345.00 | 1E | 205 | 261 | U2-072 | Wind | IS
247540 | U2-072 C 345.00 | 1C | 205 | 39 | U2-072 | Wind | IS
235098 | U2-073A E 0.5700 | 1 | 201 | 116.1 | U2-073 A | Wind | IS
235530 | 01TR_U2-073A0.5750 | W1 | 201 | 14.6 | U2-073 A | Wind | IS
235099 | U2-073B E 0.5700 | 1 | 201 | 50.9 | U2-073 B | Wind | IS
235531 | 01TR_U2-073B0.5750 | W2 | 201 | 8.4 | U2-073 B | Wind | IS
247963 | 05HDWTR1G E 0.6900 | 1E | 205 | 174 | U2-090 | Wind | IS
243795 | 05HDWTR1G C 0.6900 | 1C | 205 | 26 | U2-090 | Wind | IS
247958 | 05WLD G2 E 0.6900 | 1E | 205 | 174 | U3-002 | Wind | IS
246991 | 05WLD G1 C 0.6900 | 1C | 205 | 13.2 | U3-002 | Wind | IS
247255 | 05WLD G2 C 0.6900 | 1C | 205 | 12.8 | U3-002 | Wind | IS
247959 | V1-011 E 34.500 | E | 205 | 87 | V1-011 | Wind | IS
247607 | V1-011 GEN 0.6900 | W1 | 205 | 13 | V1-011 | Wind | IS
247935 | V3-007 E 345.00 | 1E | 205 | 174 | V3-007 | Wind | IS
247543 | V3-007 C 345.00 | 1C | 205 | 26 | V3-007 | Wind | IS
293393 | V3-030E 0.6900 | 1 | 226 | 28.2 | V3-030 | Wind | IS
200945 | 26CT_V3-030 0.6900 | W1 | 226 | 5.3 | V3-030 | Wind | IS
208835 | TUHI V3-051 12.470 | 2 | 229 | 1.6 | V3-051 | Wind | IS
208835 | TUHI V3-051 12.470 | 1 | 229 | 0.4 | V3-051 | Wind | IS
901082 | W1-029 E 230.00 | 1 | 345 | 169 | W1-029 | Wind | IS
315605 | 6W1-029WIND 230.00 | WA | 345 | 39 | W1-029 | Wind | IS
247942 | W1-056 E 69.000 | 1E | 205 | 16 | W1-056 | Wind | IS
247555 | W1-056 C 69.000 | 1C | 205 | 2.4 | W1-056 | Wind | IS
276615 | W2-048 GEN 0.6900 | W1 | 222 | 15.68 | W2-048 | Wind | IS
276174 | W4-005 E 0.6900 | W1 | 222 | 260.4 | W4-005 | Wind | IS
274880 | RADFORD R;1U0.6900 | W1 | 222 | 45.6 | W4-005 | Wind | IS
295109 | WESTBROOK E 138.00 | E | 222 | 46.9 | WestBrooklyn | Wind | IS
276602 | WESTBROOK C 138.00 | W1 | 222 | 7.1 | WestBrooklyn | Wind | IS
276621 | X2-022 GEN 0.6900 | W1 | 222 | 185 | X2-022 | Wind | IS
913142 | Y1-033 E OP10.7000 | 1 | 226 | 34.02 | Y1-033 | Wind | IS
202652 | 26RGH_Y1-0330.6900 | W1 | 226 | 5 | Y1-033 | Wind | IS
935072 | AD1-143 E1 69.000 | 1 | 229 | 34.28 | AD1-143 | Wind | ISA
315611 | 6Z1-036WIND 230.00 | WA | 345 | 39 | Z1-036 | Wind | IS
916192 | Z1-068 E 230.00 | 1 | 345 | 10.5 | Z1-068 | Wind | IS
314295 | 6BIRDNECK 230.00 | WA | 345 | 1.5 | Z1-068 | Wind | IS
916202 | Z1-069 E 115.00 | 1 | 226 | 56.7 | Z1-069 | Wind | IS
203349 | 26Z1-069 C 115.00 | 1 | 226 | 17.1 | Z1-069 | Wind | IS
916212 | CRESCENT ;1U0.6000 | E | 222 | 44.75 | Z1-072 | Wind | IS
274849 | CRESCENT ;1U0.6000 | W1 | 222 | 9.7 | Z1-072 | Wind | IS
916221 | Z1-073 E 0.7000 | 1 | 222 | 56 | Z1-073 | Wind | IS
274850 | MENDOTA H;RU0.6900 | W | 222 | 14.4 | Z1-073 | Wind | IS
917502 | Z2-087 E 345.00 | W1 | 222 | 174 | Z2-087 | Wind | IS
917502 | Z2-087 E 345.00 | W1 | 222 | 174 | Z2-087 | Wind | IS
270681 | BRIGHTSTK; R345.00 | W1 | 222 | 26 | Z2-087 | Wind | IS
917502 | Z2-087 E 345.00 | E | 222 | 174 |  | Wind | IS
916042 | Z1-036 E 230.00 | 1 | 345 | 261.3 | Z1-036 | Wind | ISA
937365 | AD2-180 E 0.7200 | 1 | 201 | 96.75 |  | Wind | IS