## Sheet1
Region | Upgrade ID | Description | Transmission Owner | Required In Service Date | Revised Required In Service Date | Status | TEAC Cost | TEAC Date | Latest TEAC Date | Notes | Board Date | Initial Issue Assessment | Final Assessment
PJM MA | b3671 | Rebuild approx. 3.6 miles of 875 (N. Boyertown - W. Boyertown). Upgrade terminal equipment (circuit breaker, disconnect switches, substation conductor) and relays at N. Boyertown and W. Boyertown substation | ME | 2026-06-01 |  | PL | 8.79 | 2021-11-18 |  |  | 2022-02-16 | Cancelled in Database | Cancelled