## PeakSolarStateZone_IHSOnly
Please note, these values are based on the IHS State Forecast of the PJM Territory and do not include historical distributed solar generation
This data is informational only as implicit capacity factors are used and only IHS Forecast is reflected
Distributed Solar Generation Forecast by Zone and State (only represents IHS Forecast)
Cumulative Capacity at Peak 2023-2038
Zone | State | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038
AE | NJ | 7.1503 | 13.6195 | 19.7767 | 24.5676 | 30.314 | 37.2855 | 41.1165 | 45.5054 | 47.4481 | 48.4473 | 49.6652 | 50.4707 | 52.3875 | 50.5956 | 50.2245 | 50.5315
AEP | IN | 1.7724 | 3.8395 | 6.2039 | 8.8953 | 11.4494 | 13.8284 | 16.7108 | 19.3113 | 21.4435 | 24.1333 | 25.004 | 25.9495 | 26.8981 | 27.2388 | 27.9359 | 29.0853
AEP | KY | 0.28569 | 0.66432 | 0.93163 | 1.3116 | 1.7448 | 2.3384 | 3.07 | 3.9921 | 4.6252 | 5.4046 | 5.8101 | 6.3875 | 7.0369 | 7.5372 | 8.2834 | 8.9938
AEP | MI | 0.57204 | 1.2254 | 2.1624 | 2.6688 | 3.1519 | 3.9708 | 4.9809 | 5.9463 | 6.6835 | 7.7597 | 9.3972 | 11.0759 | 13.0077 | 14.6657 | 16.4638 | 18.0902
AEP | OH | 47.8069 | 77.894 | 86.7247 | 94.2149 | 102.4418 | 111.1404 | 121.1375 | 129.2049 | 134.8339 | 143.042 | 147.4276 | 152.3399 | 157.4708 | 158.9465 | 162.7868 | 166.8832
AEP | TN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP | VA | 7.1906 | 16.1679 | 22.3652 | 28.9231 | 36.498 | 44.6127 | 53.5074 | 62.1165 | 67.0909 | 73.7251 | 77.7763 | 82.2532 | 85.4166 | 86.8126 | 89.4812 | 92.0539
AEP | WV | 0.37418 | 0.88011 | 1.3907 | 2.1192 | 3.2822 | 4.4729 | 6.0323 | 7.7504 | 9.6246 | 11.6019 | 12.609 | 13.9767 | 15.4737 | 16.4315 | 17.5108 | 19.6183
APS | MD | 6.5635 | 13.5363 | 19.3916 | 25.8919 | 32.5721 | 40.3753 | 46.4381 | 51.6493 | 57.8024 | 64.3087 | 67.7427 | 71.6031 | 74.0043 | 78.5373 | 81.0339 | 82.8114
APS | PA | 9.0217 | 15.0326 | 17.8521 | 20.6824 | 24.2396 | 28.0538 | 31.4359 | 34.8156 | 38.3715 | 41.885 | 43.2138 | 45.1037 | 46.4245 | 48.8759 | 50.1371 | 51.2106
APS | VA | 1.2268 | 2.6229 | 3.4605 | 4.3513 | 5.2301 | 6.1951 | 7.0775 | 8.0034 | 8.5194 | 9.0381 | 9.2659 | 9.5953 | 9.7573 | 10.1632 | 10.3656 | 10.531
APS | WV | 0.31307 | 0.70022 | 1.0556 | 1.5642 | 2.3078 | 3.0478 | 3.9151 | 4.8998 | 5.9972 | 6.9796 | 7.3715 | 8.0012 | 8.6749 | 9.4417 | 9.9571 | 11.0203
ATSI | OH | 47.4703 | 76.2633 | 85.1104 | 93.7277 | 102.3602 | 112.4132 | 119.6531 | 127.0371 | 132.6738 | 139.162 | 146.365 | 152.2296 | 155.8703 | 159.1479 | 164.4787 | 171.2487
ATSI | PA | 2.2548 | 3.8981 | 4.8656 | 5.8769 | 7.2613 | 8.7761 | 10.08 | 11.4055 | 12.7595 | 14.2576 | 15.4434 | 16.5644 | 17.2443 | 17.9158 | 18.7403 | 19.6837
BGE | MD | 27.5784 | 54.2625 | 76.8943 | 103.5885 | 125.8245 | 152.6878 | 177.6602 | 190.9229 | 190.5873 | 187.4606 | 186.1968 | 186.4371 | 186.7724 | 185.5229 | 180.1115 | 179.6125
COMED | IL | 95.8982 | 194.3685 | 263.8983 | 328.1948 | 375.8013 | 437.6849 | 501.4014 | 557.0874 | 627.9405 | 681.199 | 711.3837 | 747.6259 | 768.9809 | 785.0286 | 793.2076 | 811.1022
DAYTON | OH | 12.2809 | 20.614 | 22.8777 | 24.9597 | 27.358 | 30.2279 | 32.9272 | 36.2333 | 38.4307 | 39.942 | 41.6864 | 43.9396 | 45.8668 | 47.8894 | 49.9732 | 51.6836
DPL | DE | 8.6274 | 23.5058 | 36.1883 | 44.8509 | 53.0644 | 57.4887 | 61.4186 | 69.574 | 76.0675 | 77.724 | 77.7722 | 79.2789 | 74.7862 | 71.428 | 69.3577 | 66.3497
DPL | MD | 4.2032 | 7.9051 | 10.9304 | 13.8351 | 16.6074 | 18.515 | 19.6757 | 21.8303 | 22.7264 | 22.0137 | 20.586 | 20.565 | 19.9834 | 19.7341 | 19.7175 | 19.1878
DPL | VA | 0.20318 | 0.3961 | 0.50461 | 0.60158 | 0.68995 | 0.73497 | 0.77574 | 0.87509 | 0.86646 | 0.80035 | 0.72846 | 0.713 | 0.6817 | 0.66074 | 0.65259 | 0.63133
DQE | PA | 6.2761 | 10.7824 | 13.4954 | 16.1724 | 19.6598 | 23.4825 | 27.5796 | 31.8744 | 35.8245 | 39.9946 | 42.8388 | 45.1151 | 47.1301 | 49.1421 | 50.9023 | 53.3727
DUKE | KY | 0.19794 | 0.48719 | 0.68379 | 0.98523 | 1.3231 | 1.7859 | 2.3702 | 3.1637 | 3.7143 | 4.3231 | 4.7227 | 5.2203 | 5.8664 | 6.5373 | 7.3205 | 8.0693
DUKE | OH | 15.1211 | 26.0645 | 29.0275 | 32.25 | 35.3832 | 38.6425 | 42.5608 | 46.5813 | 49.255 | 52.0488 | 54.5166 | 56.638 | 59.7178 | 62.7103 | 65.4338 | 68.0946
EKPC | KY | 0.56964 | 1.2489 | 1.7274 | 2.4637 | 3.2785 | 4.3707 | 5.646 | 7.3426 | 8.6575 | 9.9772 | 10.8206 | 11.7512 | 12.9953 | 14.4987 | 15.9257 | 17.243
JCPL | NJ | 20.3514 | 42.3868 | 67.1922 | 89.1868 | 111.7224 | 130.9883 | 144.2874 | 159.9384 | 176.1752 | 194.8911 | 204.2743 | 208.8072 | 213.027 | 221.7083 | 222.3686 | 219.751
METED | PA | 7.1102 | 12.0348 | 14.8291 | 17.7795 | 21.9075 | 26.0113 | 30.2065 | 33.5026 | 37.3391 | 41.6818 | 44.604 | 47.3325 | 50.3373 | 51.2187 | 53.2594 | 54.9556
PECO | PA | 19.1291 | 33.2668 | 41.619 | 49.9463 | 60.9261 | 73.3627 | 86.1431 | 98.6167 | 111.9377 | 124.9544 | 133.7607 | 142.608 | 153.7148 | 161.6737 | 169.6622 | 177.1587
PENLC | PA | 10.307 | 18.6482 | 23.2021 | 27.6237 | 34.1457 | 40.7515 | 47.3261 | 53.8063 | 59.1712 | 65.547 | 69.6666 | 73.6046 | 77.1545 | 78.7045 | 80.4652 | 82.0008
PEPCO | DC | 11.1142 | 22.1673 | 32.4381 | 38.8011 | 43.6942 | 47.9134 | 53.064 | 55.7576 | 56.8581 | 57.5643 | 58.0384 | 58.6894 | 59.3643 | 58.521 | 57.9833 | 58.7864
PEPCO | MD | 17.4476 | 33.9235 | 49.722 | 66.6512 | 85.7879 | 104.8765 | 119.5796 | 125.3914 | 129.5807 | 131.8117 | 138.4072 | 146.8757 | 151.7284 | 152.3291 | 153.1139 | 159.0861
PL | PA | 21.051 | 35.4226 | 43.2139 | 51.6286 | 62.9804 | 73.4167 | 83.947 | 96.1485 | 106.2506 | 117.4782 | 125.5979 | 132.7924 | 141.048 | 148.4931 | 156.4485 | 160.6965
PS | NJ | 36.943 | 75.9846 | 116.4659 | 150.6316 | 179.1022 | 194.9439 | 219.5658 | 231.4644 | 251.2551 | 238.9954 | 243.4044 | 249.0928 | 261.6726 | 256.4997 | 255.145 | 249.4159
RECO | NJ | 1.837 | 3.6929 | 5.9339 | 7.9446 | 9.5425 | 11.0745 | 12.8893 | 14.6735 | 16.0792 | 17.6889 | 18.6149 | 19.4095 | 20.4538 | 20.0416 | 19.7523 | 19.4325
UGI | PA | 0.391 | 0.71914 | 0.89527 | 1.0663 | 1.2915 | 1.5317 | 1.7593 | 2.0206 | 2.2201 | 2.4266 | 2.5527 | 2.7036 | 2.8996 | 2.9726 | 3.0532 | 3.168
VEPCO | NC | 3.31 | 5.6372 | 7.1473 | 8.6123 | 9.0673 | 9.5182 | 10.1259 | 11.0067 | 12.1341 | 12.8974 | 13.4393 | 14.1861 | 14.7651 | 15.8389 | 16.3971 | 17.3378
VEPCO | VA | 42.1925 | 86.5659 | 115.8535 | 154.0127 | 190.9352 | 235.4194 | 276.6476 | 325.1243 | 358.6662 | 378.332 | 403.6145 | 437.4615 | 460.4982 | 489.5861 | 502.9221 | 532.4736
Note:
Capacity factors are calculated using cumulative nameplate and average solar values from summer peak distributions. These capacity factors are applied to the IHS nameplate forecast for a cumulative capacity at peak 2023-2038.

## BatteryStateZone_IHSOnly
Please note, these values are based on the IHS State Forecast of the PJM Territory and do not include historical battery storage generation
This data is informational only as only IHS Forecast is reflected
Battery Storage Generation Forecast by Zone and State (only represents IHS Forecast)
Cumulative Capacity at Peak 2023-2038
Zone | State | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038
AE | NJ | 0.59792 | 1.2926 | 2.0969 | 3.7687 | 5.5385 | 7.3802 | 9.4018 | 11.1607 | 12.9279 | 14.5534 | 15.7345 | 16.7176 | 17.7623 | 19.0428 | 20.4679 | 22.0547
AEP | IN | 0.17294 | 0.35366 | 0.56138 | 0.81808 | 1.1009 | 1.4689 | 1.949 | 2.5242 | 2.9586 | 3.4894 | 4.0254 | 4.5637 | 5.1362 | 5.7213 | 6.3138 | 6.9129
AEP | KY | 0.020308 | 0.038571 | 0.057202 | 0.082124 | 0.1125 | 0.15424 | 0.20895 | 0.28104 | 0.36985 | 0.48057 | 0.59227 | 0.70327 | 0.81147 | 0.91992 | 1.0274 | 1.1351
AEP | MI | 0.036269 | 0.077493 | 0.12824 | 0.18318 | 0.24744 | 0.32914 | 0.43802 | 0.57449 | 0.69154 | 0.86559 | 1.0991 | 1.3941 | 1.7324 | 2.1398 | 2.5895 | 3.0598
AEP | OH | 1.0171 | 2.3855 | 3.85 | 5.3682 | 6.94 | 8.6414 | 10.5356 | 12.5863 | 14.4512 | 16.53 | 18.1537 | 19.6554 | 21.2245 | 22.7707 | 24.3244 | 25.89
AEP | TN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP | VA | 0.39768 | 0.87421 | 1.6058 | 2.2586 | 3.0041 | 3.8903 | 5.1366 | 6.6671 | 8.4507 | 10.4488 | 12.2006 | 13.7056 | 14.7752 | 15.6637 | 16.4826 | 17.2549
AEP | WV | 0.042909 | 0.086548 | 0.14306 | 0.21139 | 0.28649 | 0.37292 | 0.49993 | 0.66366 | 0.82938 | 1.0393 | 1.4523 | 1.9802 | 2.6038 | 3.2899 | 4.03 | 4.8094
APS | MD | 0.35573 | 0.80992 | 1.4744 | 2.1075 | 2.7966 | 3.5964 | 4.7685 | 6.1969 | 9.38 | 13.1851 | 17.0919 | 20.9987 | 24.8418 | 28.1328 | 31.4332 | 34.7107
APS | PA | 0.34696 | 0.74746 | 1.264 | 1.7459 | 2.2682 | 2.8482 | 3.5768 | 4.4292 | 5.305 | 6.4663 | 7.5475 | 8.6146 | 9.3997 | 9.9162 | 10.2624 | 10.627
APS | VA | 0.083706 | 0.18441 | 0.33922 | 0.47737 | 0.63519 | 0.82284 | 1.0868 | 1.411 | 1.7889 | 2.2125 | 2.5839 | 2.9032 | 3.1302 | 3.3192 | 3.4935 | 3.658
APS | WV | 0.044291 | 0.089512 | 0.14815 | 0.21907 | 0.29702 | 0.38677 | 0.51869 | 0.68877 | 0.86097 | 1.0792 | 1.5086 | 2.0578 | 2.7069 | 3.4224 | 4.195 | 5.0093
ATSI | OH | 1.0402 | 2.4396 | 3.9366 | 5.4882 | 7.0934 | 8.828 | 10.757 | 12.8425 | 14.7356 | 16.8404 | 18.4807 | 19.9937 | 21.5706 | 23.1205 | 24.6742 | 26.2371
ATSI | PA | 0.072392 | 0.15563 | 0.26277 | 0.36271 | 0.47093 | 0.59085 | 0.74129 | 0.91704 | 1.0972 | 1.3354 | 1.5566 | 1.7743 | 1.9339 | 2.0385 | 2.1083 | 2.1817
BGE | MD | 1.4432 | 3.2798 | 5.9654 | 8.5314 | 11.3352 | 14.6037 | 19.4142 | 25.3053 | 38.471 | 54.2635 | 70.5405 | 86.8977 | 103.0761 | 117.0798 | 131.2263 | 145.3303
COMED | IL | 2.9939 | 7.1309 | 12.6108 | 19.8528 | 27.3156 | 35.0992 | 43.2567 | 52.4548 | 62.998 | 75.2471 | 83.9761 | 90.4813 | 97.6283 | 104.9861 | 112.5108 | 120.1669
DAYTON | OH | 0.29007 | 0.67893 | 1.0942 | 1.524 | 1.9682 | 2.4482 | 2.9823 | 3.5592 | 4.0832 | 4.6662 | 5.1209 | 5.5411 | 5.9799 | 6.4118 | 6.8456 | 7.2821
DPL | DE | 0.36895 | 0.68608 | 1.0064 | 1.3629 | 1.7938 | 2.2636 | 2.8602 | 3.5629 | 4.7889 | 6.0111 | 6.9906 | 7.8533 | 8.6459 | 9.4099 | 10.1915 | 10.9983
DPL | MD | 0.24989 | 0.56676 | 1.0288 | 1.4688 | 1.9482 | 2.5057 | 3.3247 | 4.3245 | 6.5474 | 9.1981 | 11.9142 | 14.6275 | 17.2959 | 19.5832 | 21.8784 | 24.1561
DPL | VA | 0.015207 | 0.033377 | 0.061217 | 0.086048 | 0.11444 | 0.14827 | 0.19597 | 0.25466 | 0.32292 | 0.39923 | 0.46601 | 0.52335 | 0.56412 | 0.59808 | 0.62944 | 0.65901
DLCO | PA | 0.21021 | 0.45238 | 0.76484 | 1.0569 | 1.3736 | 1.7249 | 2.166 | 2.6821 | 3.2116 | 3.9127 | 4.564 | 5.2051 | 5.6756 | 5.9844 | 6.1912 | 6.4087
DEOK | KY | 0.017009 | 0.03235 | 0.04803 | 0.069038 | 0.094684 | 0.12995 | 0.17623 | 0.23726 | 0.31245 | 0.40619 | 0.50081 | 0.59491 | 0.6867 | 0.77879 | 0.87013 | 0.9617
DEOK | OH | 0.3889 | 0.91364 | 1.4763 | 2.0606 | 2.6664 | 3.3227 | 4.0542 | 4.8467 | 5.5676 | 6.371 | 6.9989 | 7.5801 | 8.1878 | 8.7871 | 9.3899 | 9.9979
EKPC | KY | 0.045497 | 0.086566 | 0.12867 | 0.18531 | 0.25449 | 0.34952 | 0.47408 | 0.63825 | 0.8404 | 1.0923 | 1.3464 | 1.5989 | 1.8448 | 2.0911 | 2.335 | 2.5795
JCPL | NJ | 1.3699 | 2.9658 | 4.8205 | 8.6907 | 12.7936 | 17.0641 | 21.7564 | 25.8407 | 29.9494 | 33.7335 | 36.4854 | 38.7778 | 41.2166 | 44.2103 | 47.5481 | 51.2703
METED | PA | 0.24541 | 0.52664 | 0.8884 | 1.2261 | 1.5922 | 1.9983 | 2.5087 | 3.1066 | 3.7211 | 4.5362 | 5.2949 | 6.0431 | 6.5931 | 6.9544 | 7.1965 | 7.4513
PECO | PA | 0.62655 | 1.3431 | 2.2616 | 3.115 | 4.0375 | 5.0593 | 6.3409 | 7.8397 | 9.3768 | 11.4115 | 13.3015 | 15.1631 | 16.5296 | 17.4263 | 18.0262 | 18.6562
PENLC | PA | 0.2672 | 0.5725 | 0.96373 | 1.3275 | 1.7208 | 2.1564 | 2.7026 | 3.341 | 3.9957 | 4.8622 | 5.6667 | 6.4582 | 7.0386 | 7.419 | 7.673 | 7.9398
PEPCO | DC | 0.54722 | 1.0986 | 1.8483 | 2.5565 | 3.3145 | 4.1412 | 5.1001 | 6.145 | 7.0645 | 8.0818 | 8.9986 | 9.5624 | 9.9864 | 10.2964 | 10.7598 | 11.2954
PEPCO | MD | 0.89538 | 2.0321 | 3.6884 | 5.2617 | 6.9713 | 8.9505 | 11.8445 | 15.3567 | 23.1566 | 32.4669 | 42.0257 | 51.6019 | 61.0522 | 69.2183 | 77.46 | 85.6402
PL | PA | 0.63091 | 1.3548 | 2.2858 | 3.1542 | 4.0957 | 5.141 | 6.4547 | 7.9945 | 9.577 | 11.6764 | 13.6299 | 15.5567 | 16.9729 | 17.9036 | 18.5267 | 19.1826
PS | NJ | 2.6813 | 5.8175 | 9.4719 | 17.1118 | 25.2192 | 33.6602 | 42.9363 | 51.0092 | 59.1282 | 66.603 | 72.0365 | 76.56 | 81.3703 | 87.2683 | 93.8397 | 101.1708
RECO | NJ | 0.088611 | 0.19131 | 0.31007 | 0.55651 | 0.81693 | 1.0873 | 1.3836 | 1.6406 | 1.8983 | 2.1349 | 2.3065 | 2.449 | 2.6002 | 2.7852 | 2.9908 | 3.2192
UGI | PA | 0.016268 | 0.034831 | 0.058577 | 0.080624 | 0.1044 | 0.13067 | 0.16349 | 0.20177 | 0.2409 | 0.29258 | 0.34041 | 0.38737 | 0.42172 | 0.4442 | 0.45919 | 0.47489
VEPCO | NC | 0.14321 | 0.315 | 0.51633 | 0.72839 | 0.94831 | 1.1952 | 1.4878 | 1.8264 | 2.1378 | 2.5596 | 3.0328 | 3.529 | 4.0294 | 4.6468 | 5.3647 | 6.1039
VEPCO | VA | 2.361 | 5.3335 | 10.1439 | 14.6571 | 19.9276 | 26.3008 | 35.4138 | 46.8054 | 60.2981 | 75.6643 | 89.3532 | 101.3088 | 109.9404 | 117.2356 | 124.0611 | 130.6561