## Title
Company:
Voltage Class Phase:
P5 Multiple Contingency (Fault plus relay failure to operate)
SLG with Delayed Fault Clearing due to the failure of a non-redundant relay13 protecting the Faulted element to operate as designed, for one of the following:
1. Generator
2. Transmission Circuit
3. Transformer
4. Shunt Device
5. Bus Section
Note
13. Applies to the following relay functions or types: pilot (#85), distance (#21), differential (#87), current (#50, 51, and 67), voltage (#27 & 59), directional (#32, & 67), and tripping (#86, & 94).
If any entries are made for a given tab below (e.g., Bus Section), then include additional documentation which provides the worst case clearing times (or specific clearing time if available) on how and when the fault would be cleared for each entry. A single Word document can contain all responses.
* - In the tabs, starred items are desired but optional

## Bus Section
PSS/e Bus Number* | Bus Name | Voltage | Bus Section Name | Relay Type

## Transmission Circuit
From PSS/e Bus Number* | From Bus Name | To PSS/e Bus Number* | To Bus Name | Circuit Number | Voltage | Bus name with Single Relay | Relay Type

## Transformer
Highside PSS/e Bus Number* | Lowside PSS/e Bus Number* | Bus Name | Transformer Number | Highside Voltage | Lowside Voltage | Relay Type

## Shunt Device
PSS/e Bus Number* | Bus Name | Voltage | Shunt Device Name or Number | Relay Type

## Generator
PSS/e Bus Number* | Bus Name | Voltage | Generator Name or Number | Relay Type