## Sheet1
Design Component | A | B | C | D | E | F | G
Gross CONE | Updated PJM | Higher WACC | PJM - ~15% | PJM - ~15% | More than 15% less than PJM | Updated PJM | TBD
Levelization Method | Level-Nominal | Level-Nominal | Level-Nominal | Level-Real | Level-Nominal | Level-Nominal | Level-Nominal for capital cost, level-real for non-capital costs
Reference Resource | CT | CT | CT | CT | CT | CT | CT
Net E&AS Offset | Forward Looking | Historical 3 Year | Forward Looking | Forward Looking | TBD | Forward Looking | Historical - 5 year without hi/low years
VRR Shape – System | Convex, shift right Brattle + 1% | Convex, shift right Brattle + 2% | Convex, shift right Brattle + 3.5% | Status Quo or Something Left | Status Quo | PJM with a floor of .6 x net CONE | Status Quo
VRR Shape – Local | Same as System | Same as System | Same as System | Same as System | Same as System | Same as System | Same as System
CONE Escalation Index | BLS | BLS | BLS | BLS | BLS | BLS | BLS
RTO Wide Gross CONE | Average CONE Areas | Average CONE Areas | Lowest | Average CONE Areas | Lowest | Average CONE Areas | Average CONE Areas
Net CONE Method – CONE Area | CONE Area – Zone E&AS using peak period dispatch | CONE Area – Zone E&AS using peak period dispatch | CONE Area – Zone E&AS using full economic dispatch | CONE Area – Zone E&AS using peak period dispatch | TBD | CONE Area – Zone E&AS using peak period dispatch | CONE Area – Zone E&AS using peak period dispatch
Net CONE Method – RTO | RTO-Wide Gross CONE - PJM wtd-avg LMP | RTO-Wide Gross CONE - PJM wtd-avg LMP | Minimum | RTO-Wide Gross CONE - PJM wtd-avg LMP | Minimum | RTO-wide Gross Cone - PJM Weighted Average LMP for Rest of Market | RTO-Wide Gross CONE - zonal Net E&AS Offset weighted with zonal Peak Load Forecast for RPM
Net CONE Method – LDA | Updated PJM | Updated PJM | Lowest net CONE | Updated PJM (without flooring to parent LDA) | Lowest net CONE | Updated PJM | Zonal load weighted average of net CONE