## AEP
AEP
Equip
Code | ID | Facility Identification by Transmission Provider | B1 | B2 | B3 | B3 TEXT | Current Status | Requested Change to:
1 |  | BUCKLEYR-SOFTAIL BUC-SOF | BUCKLEYR | 138 KV | BUC-SOF | BUCKLEYR-SOFTAIL BUC-SOF | Reliability BES | Reliability & Markets
1 |  | EDELPHOS-NDELPHOS EDE-NDE | EDELPHOS | 69 KV | EDE-NDE | EDELPHOS-NDELPHOS EDE-NDE | Not monitored, no status | Reliability & Markets
1 |  | HAVILAND-LATTYJCT HAV-LAT | HAVILAND | 69 KV | HAV-LAT | HAVILAND-LATTYJCT HAV-LAT | Not monitored, no status | Reliability & Markets
1 |  | HAVILAND-NVANWERT HAV-NVA | HAVILAND | 69 KV | HAV-NVA | HAVILAND-NVANWERT HAV-NVA | Not monitored, no status | Reliability & Markets
1 |  | HAVILAND-PAULDING HAV-PAU | HAVILAND | 69 KV | HAV-PAU | HAVILAND-PAULDING HAV-PAU | Not monitored, no status | Reliability & Markets
1 |  | NDELPHOS-SDELPHOS NDE-SDE | NDELPHOS | 69 KV | NDE-SDE | NDELPHOS-SDELPHOS NDE-SDE | Not monitored, no status | Reliability & Markets
1 |  | RICHLAND-WHITEWD TIE LINE | RICHLAND | 138 KV | RIC-WHI | RICHLAND-WHITEWD RIC-WHI | Reliability BES | Reliability & Markets
1 |  | RISNGSUN-SOFTAIL RIS-SOF | RISNGSUN | 138 KV | RIS-SOF | RISNGSUN-SOFTAIL RIS-SOF | Reliability BES | Reliability & Markets
1 |  | Rockport (AK Steel) - Rockport Works | ROCKPOR2 | 765 KV | ROC-ROC2 | ROCKPOR2-ROCKPWKS2 | Reliability BES | Reliability & Markets
1 |  | Rockport (AK Steel) - Rockport Works | ROCKPOR2 | 765 KV | ROC-ROC3 | ROCKPOR2-ROCKPWKS3 | Reliability BES | Reliability & Markets
2 | TR1 | CANTONCE TR1 XFORMER | CANTONCE | 345 KV | TR1 | CANTONCE TR1 XFORMER | Reliability BES | Reliability & Markets
2 | 3-S | Rockport 765/138/34 kV transformer | ROCKPOR2 | 138 KV | 3-S | ROCKPOR2 3-S XFORMER | Reliability BES | Reliability & Markets
2 | 3-P | Rockport 765/138/34 kV transformer | ROCKPOR2 | 765 KV | 3-P | ROCKPOR2 3-P XFORMER | Reliability BES | Reliability & Markets
2 | 7 | Rockport Works 765/138 kV transformer | ROCKPWKS | 765 KV | 7 | ROCKPWKS 7 XFORMER | Reliability BES | Reliability & Markets
2 | 8 | Rockport Works 765/138 kV transformer | ROCKPWKS | 765 KV | 8 | ROCKPWKS 8 XFORMER | Reliability BES | Reliability & Markets
2 | 3-S | SCANTON2 3-S XFORMER | SCANTON2 | 345 KV | 3-S | SCANTON2 3-S XFORMER | Reliability BES | Reliability & Markets
4 |  | Don Marquis | MARQUIS2 | 345 KV | _MARQUIS | MARQUIS2 _MARQUIS SER DEV | Reliability BES | Reliability & Markets
10 |  | AdamsIM 138 kV BUS | ADAMSIM | 138 KV |  |  | Reliability BES | Reliability & Markets
10 |  | Belden Village 138 kV BUS | BELDENVI | 138 KV |  |  | Reliability BES | Reliability & Markets
10 |  | EGE 138 kV BUS | EGE | 138 KV |  |  | Reliability BES | Reliability & Markets
10 |  | Hogan 138 kV BUS | HOGAN | 138 KV |  |  | Reliability BES | Reliability & Markets
10 |  | Rising Sun 138 kV BUS | RISNGSUN | 138 KV |  |  | Reliability BES | Reliability & Markets
10 |  | Rockpwks 138 kV BUS | ROCKPWKS | 138 KV |  |  | Reliability BES | Reliability & Markets
10 |  | Skimmer 115 kV BUS | SKIMMER | 115 KV |  |  | Reliability BES | Reliability & Markets

## COMED
COMED
Equip
Code | ID | Facility Identification by Transmission Provider | B1 | B2 | B3 | B3 TEXT | Current Status | Requested Change to:
1 | 38L18706 Z1 | 125 NORM-18706 18706 2 | 125 NORM | 138 KV | 18706 Z1 | 125 NORM-18706 18706 Z1 | Reliability & Markets | Reliability Non-BES
1 | 38L14102 Z2 | 259 Algonquin - 14102 14102 2 | 259 ALGO | 138 KV | 14102 Z2 | 259 ALGO-14102 14102 Z2 | Reliability & Markets | Reliability Non-BES
1 | 38L8315 | 83 GLIDD-375 W DE 8315 | 83 GLIDD | 138 KV | GLI-WDEK | 83 GLIDD-375 W DE 8315 | Reliability & Markets | Reliability Non-BES
1 | 38L8604 1 | 86 Davis Creek - 8604 8604 1 | 86 DAVIS | 138 KV | 8604 1 | 86 DAVIS-8604 8604 1 | Reliability Non-BES | Reliability & Markets
1 | 38L16901 Z1 | RAD 16901 - 979 Mendota 16901 Z1 | 16901 | 138 KV | 16901 Z1 | 16901-979 MEND 16901 Z1 | Reliability Non-BES | Reliability & Markets
1 | 38L8604 4 | Rad DAVIS CREEK-BRADLEY 8604 4 | 70 BRADL | 138 KV | 8604 4 | 70 BRADL-8604 8604 4 | Reliability Non-BES | Reliability & Markets
4 | 38L0903 13 | 0903 LINE 38L0903 13 | 0903 | 138 KV | 0903 13 | 0903 LINE 38L0903 13 | Reliability Non-BES | Reliability & Markets
4 | 38L11102 8. | 11102 - 581 Frontenac 11102 Z2 | 11102 | 138 KV | 11102 8 | 11102 11102 8 SER DEV | Reliability Non-BES | Reliability & Markets
4 | 38L14102 2 | 14102 14102 Z2 SER DEV | 14102 | 138 KV | 14102 Z2 | 14102 14102 Z2 SER DEV | Reliability Non-BES | Reliability & Markets
4 | 38L14102 3 | 14102 14102 Z3 SER DEV | 14102 | 138 KV | 14102 Z3 | 14102 14102 Z3 SER DEV | Reliability Non-BES | Reliability & Markets
4 | 38L14102 4 | 14102 14102 Z4 SER DEV | 14102 | 138 KV | 14102 Z4 | 14102 14102 Z4 SER DEV | Reliability Non-BES | Reliability & Markets
4 | 38L14103 Z2 | 14103 14103 Z2 SER DEV | 14103 | 138 KV | 14103 Z2 | 14103 14103 Z2 SER DEV | Reliability Non-BES | Reliability & Markets
4 | 38L14103 Z3 | 14103 14103 Z3 SER DEV | 14103 | 138 KV | 14103 Z3 | 14103 14103 Z3 SER DEV | Reliability Non-BES | Reliability & Markets
4 | 38L14103 Z4 | 14103 14103 Z4 SER DEV | 14103 | 138 KV | 14103 Z4 | 14103 14103 Z4 SER DEV | Reliability Non-BES | Reliability & Markets
4 | 38L9117 Z2 | 9117 9117 Z2 SER DEV | 9117 | 138 KV | 9117 Z2 | 9117 9117 Z2 SER DEV | Reliability & Markets | Reliability Non-BES
4 | 38L8604 2 | Rad DAVIS CREEK-BRADLEY 8604 2 | 8604 | 138 KV | 8604 2 | 8604 LINE 38L8604 2 | Reliability Non-BES | Reliability & Markets
4 | 38L8604 3 | Rad DAVIS CREEK-BRADLEY 8604 3 | 8604 | 138 KV | 8604 3 | 8604 LINE 38L8604 3 | Reliability Non-BES | Reliability & Markets
4 | 38L8809 5 | SKOKIE-DEVON 8809 5 | 8809 | 138 KV | 8809 5 | 8809 LINE 38L8809 5 | Reliability & Markets | Reliability Non-BES
7 | 38L6102 4 | 6102 - Marseiles 6102 4 CE/AMIL 138KV Tie-line | 6102 | 138 KV | 6102 4 | 6102 -MARSEILE 6102 4 TIE | Reliability & Markets | Reliability Non-BES
7 | 45L6615 | Olive - Green Acres 345 kV AEP/CE | OLIVE | 345 KV | OLI-GRE1 | OLIVE-GREENACR TIE | Reliability & Markets | External Reliability

## DOM
DOM
Equip
Code | ID | Facility Identification by Transmission Provider | B1 | B2 | B3 | B3 TEXT | Current Status | Requested Change to:
4 | SR1 | BRADDOCK SR1 REAC | BRADDOCK | 230 KV | SR1 | BRADDOCK SR1 REAC | Status Only | Reliability & Markets
4 | SR1 | JEFFRSON SR1 REACTOR | JEFFRSON | 230 KV | SR1 | JEFFRSON SR1 REACTOR | Status Only | Reliability & Markets
4 | SR1 | LAKEVIE4 SR1 REACTOR | LAKEVIE4 | 230 KV | SR1 | LAKEVIE4 SR1 REACTOR | Status Only | Reliability & Markets
4 | SR_1 | SHAWBORO SR_1 REAC | SHAWBORO | 230 KV | SR_1 | SHAWBORO SR_1 REAC | Status Only | Reliability & Markets
4 |  | SMTHPOND 104382SD SER DEV | SMTHPOND | 115 KV | 104382SD | SMTHPOND 104382SD SER DEV | GSU | Reliability & Markets
4 | SR1 | VALLEY4 SR1 REACTOR | VALLEY4 | 230 KV | SR1 | VALLEY4 SR1 REACTOR | Status Only | Reliability & Markets

## BC
BC
Equip
Code | ID | Facility Identification by Transmission Provider | B1 | B2 | B3 | B3 TEXT | Current Status | Requested Change to:
1 | 110606 | Erdman - Phila Rd Plant Tap 115 kV 110606-A | ERDMAN | 115 KV | ERD-PHI6 | ERDMAN-PHILADRD 110606-A | Reliability & Markets | Reliability Non-BES
1 | 2370 | Northwest - Northwest #2 2370 | NORTHWES | 230 KV | NOR-NOR1 | NORTHWES-NRTHWES2 2370 | Reliability & Markets | Reliability BES
1 | 2371 | Northwest - Northwest #2 2371 | NORTHWES | 230 KV | NOR-NOR3 | NORTHWES-NRTHWES2 2371 | Reliability & Markets | Reliability BES
1 | 110517 | Notch Cliff Tap - Windy Edge 115 kV 110517 | NOTCHCLI | 115 KV | NOT-WIN7 | NOTCHCLI-WINDYEDG 110517 | Reliability & Markets | Status Only
1 | 110518 | Notch Cliff Tap - Windy Edge 115 kV 110518 | NOTCHCLI | 115 KV | NOT-WIN8 | NOTCHCLI-WINDYEDG 110518 | Reliability & Markets | Status Only

## DLCO
DLCO
Equip
Code | ID | Facility Identification by Transmission Provider | B1 | B2 | B3 | B3 TEXT | Current Status | Requested Change to:
1 | Z54 | Cheswick - Plum Z-54 138 kV | CHESWICK | 138 KV | CHE-PLU | CHESWICK-PLUM CHE-PLU | Reliability Non-BES | Reliability & Markets
10 |  | Wilson 138 kV BUS | WILSON | 138 KV |  |  | GSU | Reliability & Markets

## FE
FE-W (ATSI)
Equip
Code | ID | Facility Identification by Transmission Provider | B1 | B2 | B3 | B3 TEXT | Current Status | Requested Change to:
1 | 3 | W-EBER-JOHNSON CONTROLS T 3 138kV | 02EBER | 138 KV | 02E-02JO | 02EBER-02JOHNCT 02E-02JO | Reliability & Markets | Status Only

## RECO
RECO
Equip
Code | ID | Facility Identification by Transmission Provider | B1 | B2 | B3 | B3 TEXT | Current Status | Requested Change to:
7 | 43 | Rad Line 43 Blue Hill - Montvale 3 RECO/SENY | BLUEHILL | 69 KV | BLU-MON3 | BLUEHILL-MONTVALE 3 TIE | Reliability & Markets | Reliabilty Non-BES
7 | 44 | Rad Line 44 Blue Hill - Montvale 4 RECO/SENY | BLUEHILL | 69 KV | BLU-MON4 | BLUEHILL-MONTVALE4 TIE | Reliability & Markets | Reliabilty Non-BES

## SMECO
SMECO
Equip
Code | ID | Facility Identification by Transmission Provider | B1 | B2 | B3 | B3 TEXT | Current Status | Requested Change to:
1 | 2320W | HEWITT ROAD - RYCEVILLE | HEWITTRD | 230 KV | HEW-RYC1 | HEWITTRD-RYCEVILL 2320W | Reliability BES | Reliability & Markets
1 | 2320E | HEWITT ROAD - RYCEVILLE | HEWITTRD | 230 KV | HEW-RYC2 | HEWITTRD-RYCEVILL 2320E | Reliability BES | Reliability & Markets

## PPL
PPL
Equip
Code | ID | Facility Identification by Transmission Provider | B1 | B2 | B3 | B3 TEXT | Current Status | Requested Change to:
1 |  | AIRPROHT-DELANOPL AIR-DEL1 | AIRPROHT | 69 KV | AIR-DEL1 | AIRPROHT-DELANOPL AIR-DEL1 | Reliability BES | Reliability & Markets
1 |  | AIRPROHT-DELANOPL AIR-DEL2 | AIRPROHT | 69 KV | AIR-DEL2 | AIRPROHT-DELANOPL AIR-DEL2 | Reliability BES | Reliability & Markets
1 |  | AIRPROHT-TAMANEND AIR-TAM1 | AIRPROHT | 69 KV | AIR-TAM1 | AIRPROHT-TAMANEND AIR-TAM1 | Reliability BES | Reliability & Markets
1 |  | AIRPROHT-TAMANEND AIR-TAM2 | AIRPROHT | 69 KV | AIR-TAM2 | AIRPROHT-TAMANEND AIR-TAM2 | Reliability BES | Reliability & Markets
1 |  | ASHFIEPL-EPALMTAP ASH-EPT1 | ASHFIEPL | 69 KV | ASH-EPT1 | ASHFIEPL-EPALMTAP ASH-EPT1 | Status Only | Reliability & Markets
1 |  | ASHFIEPL-EPALMTAP ASH-EPT2 | ASHFIEPL | 69 KV | ASH-EPT2 | ASHFIEPL-EPALMTAP ASH-EPT2 | Status Only | Reliability & Markets
1 |  | ASHFIEPL-LANSFORD ASH-LAND | ASHFIEPL | 69 KV | ASH-LAND | ASHFIEPL-LANSFORD ASH-LAND | Status Only | Reliability & Markets
1 |  | ASHFIEPL-PENN_SP ASH-PENN | ASHFIEPL | 69 KV | ASH-PENN | ASHFIEPL-PENN_SP ASH-PENN | Status Only | Reliability & Markets
1 | TP3 | ATT - E Allentown Tp 3 | ATT | 138 KV | ATT-EAL3 | ATT -E ALLENT ATT-EAL3 | Reliability BES | Reliability & Markets
1 | TP4 | ATT - E Allentown Tp 4 | ATT | 138 KV | ATT-EAL4 | ATT -E ALLENT ATT-EAL4 | Reliability BES | Reliability & Markets
1 |  | BLOOMSBU-COLU PL BLO-COL1 | BLOOMSBU | 69 KV | BLO-COL1 | BLOOMSBU-COLU PL BLO-COL1 | Status Only | Reliability & Markets
1 |  | BLOOMSBU-COLU PL BLO-SCO1 | BLOOMSBU | 69 KV | BLO-SCO1 | BLOOMSBU-COLU PL BLO-SCO1 | Status Only | Reliability & Markets
1 |  | Burle - Donnelly Gravure 1 | BURLE | 138 KV | BUR-DON1 | BURLE -DONNGRAV BUR-DON1 | Reliability BES | Reliability & Markets
1 |  | Burle - Donnelly Gravure 2 | BURLE | 138 KV | BUR-DON2 | BURLE -DONNGRAV BUR-DON2 | Reliability BES | Reliability & Markets
1 |  | Burle - E Lancaster 1 | BURLE | 138 KV | BUR-ELA1 | BURLE -ELANCAST BUR-ELA1 | Reliability BES | Reliability & Markets
1 |  | Burle - E Lancaster 2 | BURLE | 138 KV | BUR-ELA2 | BURLE -ELANCAST BUR-ELA2 | Reliability BES | Reliability & Markets
1 |  | COPLAY1-COPLAY2 COP-COP1 | COPLAY1 | 69 KV | COP-COP1 | COPLAY1-COPLAY2 COP-COP1 | Not monitored, no status | Reliability & Markets
1 |  | COPLAY1-COPLAY2 COP-COP2 | COPLAY1 | 69 KV | COP-COP2 | COPLAY1-COPLAY2 COP-COP2 | Not monitored, no status | Reliability & Markets
1 |  | COPLAY1-FRMRSVPL COP-FAR1 | COPLAY1 | 69 KV | COP-FAR1 | COPLAY1-FRMRSVPL COP-FAR1 | Not monitored, no status | Reliability & Markets
1 |  | COPLAY1-FRMRSVPL COP-FAR2 | COPLAY1 | 69 KV | COP-FAR2 | COPLAY1-FRMRSVPL COP-FAR2 | Not monitored, no status | Reliability & Markets
1 |  | DELANOPL-MAHONYCI DEL-MAH1 | DELANOPL | 69 KV | DEL-MAH1 | DELANOPL-MAHONYCI DEL-MAH1 | Reliability BES | Reliability & Markets
1 |  | DELANOPL-MAHONYCI DEL-MAH2 | DELANOPL | 69 KV | DEL-MAH2 | DELANOPL-MAHONYCI DEL-MAH2 | Reliability BES | Reliability & Markets
1 |  | Dartcont - Leola 1 | DARTCONT | 138 KV | DAR-LEO1 | DARTCONT-LEOLA DAR-LEO1 | Reliability BES | Reliability & Markets
1 |  | Dartcont - Leola 2 | DARTCONT | 138 KV | DAR-LEO2 | DARTCONT-LEOLA DAR-LEO2 | Reliability BES | Reliability & Markets
1 |  | Dartcont - N Bridge 1 | DARTCONT | 138 KV | DAR-NBR1 | DARTCONT-NBRIDGEP DAR-NBR1 | Reliability BES | Reliability & Markets
1 |  | Dartcont - N Bridge 2 | DARTCONT | 138 KV | DAR-NBR2 | DARTCONT-NBRIDGEP DAR-NBR2 | Reliability BES | Reliability & Markets
1 |  | Dillerville - Park City DIL-PAR1 | DILLERVI | 138 KV | DIL-PAR1 | DILLERVI-PARKCITY DIL-PAR1 | Reliability BES | Reliability & Markets
1 |  | Dillerville - Park City DIL-PAR2 | DILLERVI | 138 KV | DIL-PAR2 | DILLERVI-PARKCITY DIL-PAR2 | Reliability BES | Reliability & Markets
1 |  | DonnGrav - N Bridgeport 1 | DONNGRAV | 138 KV | DON-NBR1 | DONNGRAV-NBRIDGEP DON-NBR1 | Reliability BES | Reliability & Markets
1 |  | DonnGrav - N Bridgeport 2 | DONNGRAV | 138 KV | DON-NBR2 | DONNGRAV-NBRIDGEP DON-NBR2 | Reliability BES | Reliability & Markets
1 |  | Donnelle - PrincePL 1 | DONNELLE | 138 KV | DON-PRI1 | DONNELLE-PRINCEPL DON-PRI1 | Reliability BES | Reliability & Markets
1 |  | Donnelle - PrincePL 2 | DONNELLE | 138 KV | DON-PRI2 | DONNELLE-PRINCEPL DON-PRI2 | Reliability BES | Reliability & Markets
1 |  | Donnelle - Rohrstown 1 | DONNELLE | 138 KV | DON-ROH1 | DONNELLE-ROHRSTOW DON-ROH1 | Reliability BES | Reliability & Markets
1 |  | Donnelle - Rohrstown 2 | DONNELLE | 138 KV | DON-ROH2 | DONNELLE-ROHRSTOW DON-ROH2 | Reliability BES | Reliability & Markets
1 |  | Donnerville - Lancaster Air 1 | DONNERVL | 138 KV | DON-LAN1 | DONNERVL-LANCAIRP DON-LAN1 | Reliability BES | Reliability & Markets
1 |  | Donnerville - Lancaster Air 2 | DONNERVL | 138 KV | DON-LAN2 | DONNERVL-LANCAIRP DON-LAN2 | Reliability BES | Reliability & Markets
1 |  | Donnerville - W Hempfield 1 | DONNERVL | 138 KV | DON-WHE1 | DONNERVL-WHEMPFIE DON-WHE1 | Reliability BES | Reliability & Markets
1 |  | Donnerville - W Hempfield 2 | DONNERVL | 138 KV | DON-WHE2 | DONNERVL-WHEMPFIE DON-WHE2 | Reliability BES | Reliability & Markets
1 |  | E Lancaster - PrincePL 1 | ELANCAST | 138 KV | ELA-PRI1 | ELANCAST-PRINCEPL ELA-PRI1 | Reliability BES | Reliability & Markets
1 |  | E Lancaster - PrincePL 2 | ELANCAST | 138 KV | ELA-PRI2 | ELANCAST-PRINCEPL ELA-PRI2 | Reliability BES | Reliability & Markets
1 |  | EPALMTAP-SSLATING EPT-SSL1 | EPALMTAP | 69 KV | EPT-SSL1 | EPALMTAP-SSLATING EPT-SSL1 | Status Only | Reliability & Markets
1 |  | EPALMTAP-SSLATING EPT-SSL2 | EPALMTAP | 69 KV | EPT-SSL2 | EPALMTAP-SSLATING EPT-SSL2 | Status Only | Reliability & Markets
1 |  | East Petersburg - Neffsville EPE-NEF | EPETERSB | 138 KV | EPE-NEF | EPETERSB-NEFFSVIL EPE-NEF | Reliability BES | Reliability & Markets
1 |  | East Petersburg - Park City EPE-PAR1 | EPETERSB | 138 KV | EPE-PAR1 | EPETERSB-PARKCITY EPE-PAR1 | Reliability BES | Reliability & Markets
1 |  | East Petersburg - Park City EPE-PAR2 | EPETERSB | 138 KV | EPE-PAR2 | EPETERSB-PARKCITY EPE-PAR2 | Reliability BES | Reliability & Markets
1 |  | East Petersburg - Roseville EPE-ROS | EPETERSB | 138 KV | EPE-ROS | EPETERSB-ROSEVILL EPE-ROS | Reliability BES | Reliability & Markets
1 |  | FACEROCK-MTNEBO FAC-MTNB | MTNEBO | 69 KV | FAC-MTNB | FACEROCK-MTNEBO FAC-MTNB | Reliability BES | Reliability & Markets
1 |  | FARMERSV-QUARRY FAR-QUA | FRMRSVPL | 69 KV | FAR-QUA | FARMERSV-QUARRY FAR-QUA | Not monitored, no status | Reliability & Markets
1 |  | FARMERSV-SFARMERS FAR-SFA | FRMRSVPL | 69 KV | FAR-SFA | FARMERSV-SFARMERS FAR-SFA | Not monitored, no status | Reliability & Markets
1 |  | FRACKVIL-MAHONYCI FRA-MAHO | FRACKVIL | 69 KV | FRA-MAHO | FRACKVIL-MAHONYCI FRA-MAHO | Reliability BES | Reliability & Markets
1 |  | FRACKVIL-SHENAND FRA-SHE1 | FRACKVIL | 69 KV | FRA-SHE1 | FRACKVIL-SHENAND FRA-SHE1 | Reliability BES | Reliability & Markets
1 |  | FRACKVIL-SHENAND FRA-SHE2 | FRACKVIL | 69 KV | FRA-SHE2 | FRACKVIL-SHENAND FRA-SHE2 | Reliability BES | Reliability & Markets
1 |  | GRNWDTP-TAMANEND GRN-TAMA | GRNWDTP | 69 KV | GRN-TAMA | GRNWDTP-TAMANEND GRN-TAMA | Reliability BES | Reliability & Markets
1 |  | GRNWDTP-TUSCAROR GRN-TUSC | GRNWDTP | 69 KV | GRN-TUSC | GRNWDTP-TUSCAROR GRN-TUSC | Reliability BES | Reliability & Markets
1 |  | HAUTO-PENN_SP HAU-PEN1 | HAUTO | 69 KV | HAU-PEN1 | HAUTO-PENN_SP HAU-PEN1 | Status Only | Reliability & Markets
1 |  | HAUTO-PENN_SP HAU-PEN2 | HAUTO | 69 KV | HAU-PEN2 | HAUTO-PENN_SP HAU-PEN2 | Status Only | Reliability & Markets
1 |  | HAUTO-TAMANEND HAU-TAMA | HAUTO | 69 KV | HAU-TAMA | HAUTO-TAMANEND HAU-TAMA | Reliability BES | Reliability & Markets
1 |  | Hauto-Greenwood Tap 69 kV | HAUTO | 69 KV | HAU-GRW | HAUTO -GRNWDTP HAU-GRW | Status Only | Reliability & Markets
1 |  | LANSFORD-PENN_SP LAN-PENN | LANSFORD | 69 KV | LAN-PENN | LANSFORD-PENN_SP LAN-PENN | Status Only | Reliability & Markets
1 |  | Lancaster - Rohrstown 1 | LANCAIRP | 138 KV | LAN-ROH1 | LANCAIRP-ROHRSTOW LAN-ROH1 | Reliability BES | Reliability & Markets
1 |  | Lancaster - Rohrstown 2 | LANCAIRP | 138 KV | LAN-ROH2 | LANCAIRP-ROHRSTOW LAN-ROH2 | Reliability BES | Reliability & Markets
1 |  | Leola - S Akron 1 | LEOLA | 138 KV | LEO-SAK1 | LEOLA -SAKRON LEO-SAK1 | Reliability BES | Reliability & Markets
1 |  | Leola - S Akron 2 | LEOLA | 138 KV | LEO-SAK2 | LEOLA -SAKRON LEO-SAK2 | Reliability BES | Reliability & Markets
1 |  | MAHONYCI-SHENAND MAH-SHEN | MAHONYCI | 69 KV | MAH-SHEN | MAHONYCI-SHENAND MAH-SHEN | Reliability BES | Reliability & Markets
1 |  | MILLWDPL-MTNEBO MIL2-MNB | MILLWDPL | 69 KV | MIL2-MNB | MILLWDPL-MTNEBO MIL2-MNB | Reliability BES | Reliability & Markets
1 |  | Neffsville - Roseville NEF-ROS | NEFFSVIL | 138 KV | NEF-ROS | NEFFSVIL-ROSEVILL NEF-ROS | Reliability BES | Reliability & Markets
1 |  | Neffsville - Soouth Akron NEF-SAK1 | NEFFSVIL | 138 KV | NEF-SAK1 | NEFFSVIL-SAKRON NEF-SAK1 | Reliability BES | Reliability & Markets
1 |  | Neffsville - Soouth Akron NEF-SAK2 | NEFFSVIL | 138 KV | NEF-SAK2 | NEFFSVIL-SAKRON NEF-SAK2 | Reliability BES | Reliability & Markets
1 |  | QUARRY-SFARMERS QUA-SFA | QUARRY | 69 KV | QUA-SFA | QUARRY-SFARMERS QUA-SFA | Not monitored, no status | Reliability & Markets
1 |  | Rad Donnelle - DILLERVI 1 | DONNELLE | 138 KV | DON-DIL1 | DONNELLEY-DILLERVILLE 1 | Reliability BES | Reliability & Markets
1 |  | Rad Donnelle - DILLERVI 2 | DONNELLE | 138 KV | DON-DIL2 | DONNELLEY-DILLERVILLE 2 | Reliability BES | Reliability & Markets
1 |  | SIEGFRIE-TREICHLE SIE-TRE1 | SIEGFRIE | 69 KV | SIE-TRE1 | SIEGFRIE-TREICHLE SIE-TRE1 | Status Only | Reliability & Markets
1 |  | SIEGFRIE-TREICHLE SIE-TRE2 | SIEGFRIE | 69 KV | SIE-TRE2 | SIEGFRIE-TREICHLE SIE-TRE2 | Status Only | Reliability & Markets
1 |  | SSLATING-TREICHLE SSL-TRE1 | SSLATING | 69 KV | SSL-TRE1 | SSLATING-TREICHLE SSL-TRE1 | Status Only | Reliability & Markets
1 |  | SSLATING-TREICHLE SSL-TRE2 | SSLATING | 69 KV | SSL-TRE2 | SSLATING-TREICHLE SSL-TRE2 | Status Only | Reliability & Markets
1 |  | Amppark1-Harrisburg AP1-HAR1 | AMPPARK1 | 69 KV | AP1-HAR1 | AMPPARK1-HARRISBU AP1-HAR1 | Reliability & Markets | Not monitored, no status
1 |  | Amppark1-Harrisburg AP1-HAR2 | AMPPARK1 | 69 KV | AP1-HAR2 | AMPPARK1-HARRISBU AP1-HAR2 | Reliability & Markets | Not monitored, no status
1 |  | CASS-EXTRUDIO CAS-EXT1 | CASS | 69 KV | CAS-EXT1 | CASS-EXTRUDIO CAS-EXT1 | Reliability & Markets | Status Only
1 |  | CASS-EXTRUDIO CAS-EXT2 | CASS | 69 KV | CAS-EXT2 | CASS-EXTRUDIO CAS-EXT2 | Reliability & Markets | Status Only
1 |  | CASS-OAKHILPL CAS-OAK1 | CASS | 69 KV | CAS-OAK1 | CASS-OAKHILPL CAS-OAK1 | Reliability & Markets | Status Only
1 |  | CASS-OAKHILPL CAS-OAK2 | CASS | 69 KV | CAS-OAK2 | CASS-OAKHILPL CAS-OAK2 | Reliability & Markets | Status Only
1 |  | EXTRUDIO-FISHBACH EXT-FISH | EXTRUDIO | 69 KV | EXT-FISH | EXTRUDIO-FISHBACH EXT-FISH | Reliability & Markets | Status Only
1 |  | FISHBACH-PORTCRBN FIS-POR1 | FISHBACH | 69 KV | FIS-POR1 | FISHBACH-PORTCRBN FIS-POR1 | Reliability & Markets | Status Only
1 |  | FRACKVIL-HIGHR_PL FRA-HIG2 | FRACKVIL | 69 KV | FRA-HIG2 | FRACKVIL-HIGHR_PL FRA-HIG2 | Reliability & Markets | Status Only
1 |  | FRACKVIL-HIGHR_PL FRA-HIGH | FRACKVIL | 69 KV | FRA-HIGH | FRACKVIL-HIGHR_PL FRA-HIGH | Reliability & Markets | Status Only
1 |  | FRACKVIL-PORTCRBN FRA-POCA | FRACKVIL | 69 KV | FRA-POCA | FRACKVIL-PORTCRBN FRA-POCA | Reliability & Markets | Status Only
1 |  | HIGHR_PL-OAKHILPL HIG-OAK2 | HIGHR_PL | 69 KV | HIG-OAK2 | HIGHR_PL-OAKHILPL HIG-OAK2 | Reliability & Markets | Status Only
1 |  | HIGHR_PL-OAKHILPL HIG-OAKH | HIGHR_PL | 69 KV | HIG-OAKH | HIGHR_PL-OAKHILPL HIG-OAKH | Reliability & Markets | Status Only
2 | 2 | Blooming Grove T1 230/69KV Transformer | BLOOMING | 230 KV | 2 | BLOOMING 2 XFORMER | Reliability BES | Reliability & Markets
2 | 1 | Blooming Grove T1 230/69KV Transformer | BLOOMING | 230 KV | 1 | BLOOMING 1 XFORMER | Reliability BES | Reliability & Markets
2 | 1 | Lackawanna #1 230/69 kV | LACKAWAN | 230 KV | 1 | LACKAWAN 1 XFORMER | Reliability BES | Reliability & Markets
2 | 2 | Lackawanna #2 230/69 kV | LACKAWAN | 230 KV | 2 | LACKAWAN 2 XFORMER | Not monitored, no status | Reliability & Markets
2 | 2 | Clinton #2 230/69 kV | CLINTON | 230 KV | 2 | CLINTON 2 XFORMER | Reliability & Markets | Status Only
2 | 1 | Columbia #1 230/69 kV | COLU PL | 230 KV | 1 | COLU PL 1 XFORMER | Reliability & Markets | Status Only
2 | 1 | LAUSCHTO T1 XFORMER | LAUSCHTO | 230 KV | T1 | LAUSCHTO T1 XFORMER | Reliability & Markets | Status Only
2 | 2 | LAUSCHTO T2 XFORMER | LAUSCHTO | 230 KV | T2 | LAUSCHTO T2 XFORMER | Reliability & Markets | Status Only
2 | 1 | WILLGROV T1 XFORMER | WILLGROV | 230 KV | T1 | WILLGROV T1 XFORMER | Reliability & Markets | Status Only
2 | 2 | WILLGROV T2 XFORMER | WILLGROV | 230 KV | T2 | WILLGROV T2 XFORMER | Reliability & Markets | Status Only
2 |  | WSHORE TRAN1 XFORMER | WSHORE | 230 KV | TRAN1 | WSHORE TRAN1 XFORMER | Reliability & Markets | Status Only
2 |  | WSHORE TRAN2 XFORMER | WSHORE | 230 KV | TRAN2 | WSHORE TRAN2 XFORMER | Reliability & Markets | Status Only
2 |  | WSHORE TRAN3 XFORMER | WSHORE | 230 KV | TRAN3 | WSHORE TRAN3 XFORMER | Reliability & Markets | Status Only
10 |  | Blooming Grove 69 kV BUS | BLOOMING | 69 KV |  |  | Not monitored, no status | Reliability Markets
10 |  | Engleside 69 kV BUS | ENGLESID | 69 KV |  |  | Not monitored, no status | Reliability Markets
10 |  | Lackawanna 69 kV BUS | LACKAWAN | 69 KV |  |  | Not monitored, no status | Reliability Markets
10 |  | Lycoming 69 kV BUS | LYCOMING | 69 KV |  |  | Not monitored, no status | Reliability Markets
10 |  | Manor 69 kV BUS | MANOR | 69 KV |  |  | Not monitored, no status | Reliability Markets
10 |  | Martins Creek 69 kV BUS | MARTINSC | 69 KV |  |  | Not monitored, no status | Reliability Markets
10 |  | Milllwood PL 69 kV BUS | MILLWDPL | 69 KV |  |  | Not monitored, no status | Reliability Markets
10 |  | Nazareth 69 kV BUS | NAZARETH | 69 KV |  |  | Not monitored, no status | Reliability Markets
10 |  | Quarry 69 kV BUS | QUARRY | 69 KV |  |  | Not monitored, no status | Reliability Markets
10 |  | Siegfried 69 kV BUS | SIEGFRIE | 69 KV |  |  | Not monitored, no status | Reliability Markets