## Appendix
REASONID | DESCRIPTION | Dlambda Text | GENRUNR | SCED Dispatchable | CT On Reason
| Unit is Out of Service | Out of Service | 0 | no
| Unit is available to run | Available | 1 | no
100 | Unit is pool-scheduled for economics | Economic | 2 | yes | Economic
101 | Unit is running to honor min run time | Min Run | 3 | yes | Economic
102 | Unit will run for testing | Testing | 4 | no | Company
103 | Unit was schedule for PJM but cancelled prior to operating day | Cancelled by PJM | 5 | no
104 | Unit is running for pool to cover transmission problems | OPD or Constraint | 6 | yes | Transmission
105 | Unit is running at Economic Min at PJM request | PJM Min | 7 | no | Economic
106 | Generating unit is self scheduled | Comp | 8 | no | Company
107 | Local Contingency - Unit not dispatachable | Local-NonDisp | 9 | no | Transmission
108 | Local Contingency - Unit dispatchable | Local-Disp | 10 | yes | Transmission
113 | Unit failed to start | Failed to Start | 11 | no
114 | Unit tripped | Trip | 12 | no
116 | Unit syncronized to system, condensing for PJM | Condense | 13 | no | Spinning
117 | Unit called to load for spinning event (includes condensers and quick start) | Spinning | 14 | yes | Spinning
118 | Unit condensing for spinning reserve | Condense-SR | 15 | no | Spinning
121 | Unit released on economics | Released | 16 | no
125 | Unit running through for PJM | Run Thru PJM | 17 | yes | Economic
126 | Unit running through for the company | Run Thru Co | 18 | yes | Company
127 | Unit was self scheduled and PJM opted to pick up | Taken over PJM | 19 | yes | Economic
128 | Unit was pool scheduled, company now has taken over control | Taken over Comp | 20 | no | Company
140 | Generating unit is self scheduled and non dispatchable in day-ahead market | DA Comp Non-Disp | 21 | no | Company
141 | Generating unit is self scheduled and dispatchable | Comp Disp | 22 | yes | Company
142 | Condensing for PJM reactive support | Reactive-Cond | 23 | no | Spinning
143 | Generating for PJM reactive support and not dispatchable | Reactive Gen-NonDisp | 24 | no | Transmission
144 | Post-contingency condensing | Post-cont Cond | 25 | yes | Spinning
| Unit is part of a larger market unit | Not in Market | 26 | no
145 | Unit is brought on for regulation | Regulation Only | 27 | yes
109 | Units called on economically during the operating day | Economic - RT | 28 | yes | Economic
110 | Unit is Scheduled, as a result of the RA run in the PJM RTO, for Conservative Operations. | CONS-OPS | 29 | yes
111 | Unit is scheduled, as a result of the RA run for Conservative Operations in a Specific Region. | CONS-OPS Region | 30 | yes
147 | Generating for PJM reactive support and dispatchable | Reactive Gen-Disp | 31 | yes | Transmission
119 | Unit is no longer following SCED and manual dispatch via phone is given to MOC | Manual dispatch | 32 | yes
120 | Unit currently Regulation testing and not following SCED Dispatch | Reg Testing | 33 | no
148 | Used by Day Ahead Market calling on unit for Reactive Interface (Logged only in Day Ahead only) | DA React Interface | 34 | yes
149 | Blackstart Units (Primarily Logged in Day Ahead but maybe logged in Realtime) | BlackStart | 35 | yes
170 | Max Gen Local Action used for localized contingency during Max Emergency event | Local Max Gen Action | 36 | yes