## Included Contingencies
Contingencies modeled in 2020/2021 planning period
Contingency Description | Contingency ID
11 FISK TR75 (SERIES DEV) | 10026270
112 Wilton Center-23 Collins 765 kV | 20002450
115 Bedford Park TR82 | 10025480
138.Cheswick-Logans Ferry.Z-52 | 10040530
138/115.Altavista.T3 | 10089560
138/69.Buffington.BK2 | 10060020
138/69.Cheswold.AT1 + L69.Cheswold-Kent.6768 | 10001480
138/69.Easton.AT1 + L138.Steele-Easton.13712 | 10001490
138/69.Edgemoor.AT1&AT2 | 10001500
138/69.Gavin.T1 | 10095050
138/69.Hartford.T1 | 10081730
138/69.Hutching.T7A | 10031160
138/69.Hutching.T8 | 10031170
138/69.Jay.T1 | 10029400
138/69.Kiamensi.AT1 + L69.Kiamensi-West.6828 | 10063010
138/69.Lewis.T2 | 10000840
138/69.MoorePark.T1 | 10089920
138/69.OceanBay.AT1 | 10063020
138/69.Renaker.T1813 | 10070730
138/69.Vienna.AT2 | 10001590
138/69/34.Bellefonte.T2 | 10095010
138/69/34.DeerCreek.T1 | 10085960
138/69/34.Mottville.TX5 | 10038110
138L11103 Electric Jct-Aurora 138 kV Line | 10027850
138L13803 State Line-Wolf Lake 138 kV Line | 10028400
138L1604 Waukegan-1604-Libertyville 138 kV Line | 10026800
138L1802 Will Co-1802-Willow S 138 kV Line | 10026860
138L5105 GF McCook-Ridgeland 138 kV SPOG 2-25 | 10027240
138L6102 Streator-0108-Kickapo-Marseile 138kV Line | 10027380
138L7413 Kewanee-Crescent Ridge 138 kV Line | 10027480
138L95102 Aurora 5-10 CTs | 10028980
155 Nelson-H471 (15504) 345 kV | 20002490
161/69.LaurelCo.T188 | 10068260
230/115.Basin.TX6 | 10093700
230/115.Bremo.TX9 | 10032160
230/115.Greenwich.TX2 (Sctnlz) | 10093850
230/115.Hunterstown.TR2 | 10086600
230/115.Lewistown.T3 | 10009850
230/115.MiddletownJct.T2 | 10092770
230/115.MiddletownJct.T5 | 10009740
230/115.NorthEast.230-2 | 10085700
230/115.NorthEast.230-3 | 10085710
230/115.Riverside.T2+L230.Rivsid-BrndShr&Rivsid-NE | 10008780
230/115.SedgeHill.TX2 | 10087070
230/115.Seward.9TX+T11 | 10005790
230/115.Yorkana.T3 | 10051030
230/115/46.Lewistown.T1 | 10009840
230/138.Bergen.T220-4 | 10074440
230/138.CedarCreek.AT20 | 10001000
230/138.Chichester.9A/B | 10004030
230/138.Edgemoor.AT20 | 10004930
230/138.Emilie.7TR | 10005100
230/138.Emilie.9TR | 10087470
230/138.IndianRiver.AT21 | 10005650
230/138.Keeney.AT20 | 10005830
230/138.KokomoHighlandPark.T8 | 10099688
230/138.Linden.220-1 | 10090620
230/138.Milford.AT20 | 10001010
230/138.PineyGrove.AT20 | 10001910
230/138.Siegfried.5 | 10057420
230/138.Vienna.AT20 | 10001020
230/26.Sewaren.T220-3 | 10071640
230/34.Gilbert.T11 | 10046370
230/66.Mountain.T1 (Sctnlz) | 10062550
230/66.Mountain.T2 (Sctnlz) | 10062540
230/69.Cartanza.AT2 + L69.Cartanza-NorthSt.2 | 10063410
230/69.ChalkPoint.T1.T3 | 10092620
230/69.Churchtown.T1 | 10000810
230/69.Claymont.AT20 | 10045660
230/69.Lackawanna.T1 (Sctnlz F) | 10057510
230/69.Lackawanna.T2 (Sctnlz F) | 10057520
230/69.Mickleton.T1 | 10008440
230/69.Mountain.T3(UGI) | 10007720
230/69.Mountain.T3(UGI) w/ 23030 closed | 10007730
230/69.Schuylkill.7TR | 10012460
345/138.12 Dresden.TR83 | 10025730
345/138.155Nelson.TR81 | 10044610
345/138.155Nelson.TR81 | 20002740
345/138.155Nelson.TR82 | 10025960
345/138.155Nelson.TR82 | 20001920
345/138.Amos.T7 | 10022030
345/138.Ashtabula.T8 | 10043470
345/138.Avonlake-AVT91 | 10051610
345/138.Avonlake-AVT92 | 10051620
345/138.Beatty.3 | 10021950
345/138.BentonHarbor.T1 (Sctnlz) | 10098556
345/138.Bergen.345-1 | 10087730
345/138.Brunot Island.T1 | 10049810
345/138.Carson.T1 | 10087410
345/138.Collier.T3 | 10065040
345/138.DavisCreek.TR82 | 10025250
345/138.DavisCreek.TR83 | 10024120
345/138.Eastlake.TR62 | 10052570
345/138.EastLima.T1 | 10044670
345/138.FostoriaCentral.T1 | 10072000
345/138.Galion.T4 | 10030440
345/138.Greene.BK-S | 10022220
345/138.Hayes.TR1 | 10072360
345/138.Holloway.TR1 | 10085390
345/138.Inland.4 | 10030520
345/138.JacksonRoad.T5 | 10043860
345/138.Juniper.T2&T3 | 10030530
345/138.Kammer.T301 | 10073080
345/138.KanawhaRiver.A | 10076780
345/138.Midway.T3 | 10051710
345/138.OhioCentral.T1 | 10044290
345/138.Olive.T2(Sctnlz) | 10044070
345/138.Olive.T2(Sctnlz.F) | 10021990
345/138.PortUnion.T19 | 10059860
345/138.PortUnion.T20 | 10059870
345/138.RobisonPark.T5 | 10044320
345/138.Sheffield.T2 (NIPS) | 10041250
345/138.SouthWestLima.T1 | 10022010
345/138.SouthWestLima.T2 | 10022000
345/138.TannersCreek.T5 | 10071410
345/138.Terminal.BK12 | 10059770
345/138.Tidd.C | 10045470
345/138.Todhunter.T15 | 10059930
345/138.Todhunter.T16 | 10059940
345/138.Toronto.T1 | 10077480
345/138.Toronto.T2 | 10077490
345/138.TriState.T1 (Sctlnz) | 10090530
345/138.TriState.T3 (Sctlnz) | 10044190
345/138.Twinbranch.6 & 7 | 10044630
345/138.WestBellaire.T3 | 10044280
345/138.Wylie Ridge.1TX & 2TX (Sctnlz F) | 10016590
345/230.Cayuga.TX10 | 10066650
345/230.HomerCity.AT-N | 10005520
345/230.HomerCity.AT-S | 10005550
345/230.Linden.345-1 | 10092790
345/230.PierceBrook.TR1 | 10086020
345/4.6 Byron.TR142 | 10049010
345/4.DavisBesse.TR01.StationService | 10083500
345/69.SouthBerwick.T1 (Sctnlz) | 10044040
345L0721 S 7_State - Sheffield 345 kV line (AR) | 10023980
345L11120 Electric Jct-11120-W407-Lombard 345 kV | 10024760
345L11124 Electric Jct-Lombard 345 kV Line | 10024770
345L11608T Goodings Grove-Bedford & Bedford TR84 | 10024840
345L13821 Silver Lake-Libertyville 345 kV Line | 10024980
345L14401 Wayne-Silver Lake 345 kV Line | 10024990
345L2310 Collins-Kendall 345 kV Line | 10024460
345L94507 Crete-St Johns 345 kV Tie Line | 10025420
500/138.Bedington.T4 + 500.Cap.2&3 (Sctnlz) | 10013610
500/138.BlackOak.T3 + BlackOak.SVC + BlackOak.Caps | 10013950
500/138.Cranberry.T1 | 10064010
500/138.Cranberry.T2 | 10064020
500/138.Nagel.T3 | 10022070
500/138.Pruntytown.Tran1 (Sctnlz) | 10016260
500/138.Yukon.T1 & T3 (Sctnlz F) | 10016690
500/138.Yukon.T1 (Sctnlz) | 10016700
500/138.Yukon.T2 & T4 (Sctnlz F) | 10016720
500/161.Sullivan XF #3 (TVA) | 10042920
500/161.Sullivan.T4 (TVA) | 10042930
500/230.Carson.TX2 (Sctnlz) | 10066050
500/230.Clover.T8 | 10066540
500/230.Conastone.500-2 | 10003500
500/230.Conastone.500-4 | 10003520
500/230.EastWindsor.T2 | 10002050
500/230.Elmont.TX1 (Sctnlz) | 10043280
500/230.Hunterstown.T1 | 10002060
500/230.Juniata.T1 | 10084270
500/230.Keeney.AT50 | 10003540
500/230.Keystone.T3 | 10005880
500/230.Keystone.T4 | 10005870
500/230.Lauschtown.T3 | 10088900
500/230.NorthAnna.TX5 | 10034500
500/230.Orchard.T1 | 10044800
500/230.RedLion.AT50 | 10009470
500/230.RedLion.AT51 | 10009480
500/230.SteelCity.T1 (Sctnlz) | 10057460
500/230.Sunbury.T24 | 10078770
500/230.Susquehanna.T21 (Sctnlz) | 10057470
500/230.TMI.T1 | 10003530
500/230.WaughChapel.500-1 | 10008240
500/230.WaughChapel.500-4 | 10048470
500/230.Whitpain.3TR | 10059170
500/345.Cloverdale.T15 | 10087590
500/345.Cloverdale.T16 | 10087600
765/138.Amos.T6 | 10051280
765/138.Broadford.T1 | 10021810
765/138.Greentown.T1 (Sctnlz) | 10087280
765/138.JacksonsFerry.T2 | 10021800
765/138.JacksonsFerry.XF3 | 10085290
765/138.JoshuaFalls.1 | 10021770
765/138.NorthProctorville.T2 | 10089210
765/345.Amos.T5 | 10021960
765/345.Baker.T100 | 10021820
765/345.Baker.T300 | 10087020
765/345.Cloverdale.T10 | 10021780
765/345.Cook.T4 | 10021860
765/345.Kammer.T400 | 10021890
765/345.Marysville.T2 | 10076930
765/345.Vassell.T1 | 10076590
765/345.Wilton.TR94 | 10026260
765/500.Cloverdale.T14 | 10087580
Allen Jct-Morocco 345 kV | 20009790
Baldwin-Cahokia 345 kV | 20011150
Baldwin-Prairie St (4538) 345kV | 20011983
Barkley-Princeton 161 kV | 20002020
Bayshore 345/138kV TX1 | 20009210
Bedford2 - Columbus 345 kV | 20012010
Benton Harbor-Segreto 345 line | 20000480
Bergen.CC1 | 10002590
BlackOak.SVC | 10073270
Blue Island-Burnham 345(RED)+Blue Island TR81 | 20009180
Bowen4-SNP 500 line | 20000820
BRADFORD-LENAPE 230 LINE | 10005980
Braidwood-E. Frankfort 2001 345 kV | 20004410
Braidwood-East Frankfurt 2003 345 | 20009200
Broadford - Sullivan 500 kV | 20001380
Brokaw-Cornbelt 138kV + Gibson-Cornbelt 138kV | 20009940
Brokaw-Pontiac 345 | 20007080
Bunsonville (T 132386) 345/138 bank | 20000320
Bunsonville-Sidney 345 kV | 20009860
Burnham-Munster 345 | 20002650
Burnham-Munster 345 kV & Wilton Center-Dumont 765 | 20003120
Burnham-Sheffield 345 | 20000660
Burnham-Sheffield 345 kV & Wilton Center-Dumont 76 | 20003110
Burr Oak-Leesburg 345 kV | 20002510
Byron - Lee 0627 345kv line | 20004870
Byron - Wayne 345 kV | 20011500
Byron-Cherry Valley Blue (0621) 345 Line | 20000130
Byron-Cherry Valley Red (0622) 345 Line | 20000120
Byron-Wempletown 345 (0624 line) | 20000140
Callaway - Bland 345 kV | 20012058
Callaway 25/345 kV | 20011950
CARROLL-MTAIRY & 230/138 TRAN (APS) | 10014370
Caysub-Eugene 345kV | 20001880
Cayuga 345/230 xfmr 10 | 20003740
Cayuga2-Cayuga CT 345kV | 20010020
Cayuga2-Cayuga3 345 kV | 20003090
Center-Erdman (110556) 115 kV line | 10003980
Cherry Valley-Silver Lake 345kV (15616 line) | 20000230
CHICHESTER-EDDYSTONE 230 LINE | 10004910
CHICHESTER-FOULK 230 LINE | 10004140
Claymont-Edgemoor.23015 | 10004920
Clinton (DUQ) 345/138 KV TRANSFORMER | 10029620
Clinton Unit 1 | 20002930
Clinton-Brokaw 345kV | 20001990
Clinton-MaroaJ-Oreana 345kV+Goosecrk-MaroaJ 345kV | 20009920
Clinton-Oreana-GooseCrk 345 kV | 20003350
Cltn-Brkw+Rng-ChmpJct+LvrtRd-ChmpW+ChmpJct-Mhmt+.. | 20004610
Coffeen-Pana 345kV | 20011510
Coffeen-Roxfd 345 | 20000700
Collier - Clinton (DUQ) 345 KV LINE | 10029590
ColverPower.NUG | 10018860
Cook-Benton Harbor 345 kV | 20001540
Cook-Dumont 765 | 20009130
Cook-Segreto 345 kV | 20000470
Cook-Segreto 345 kV + Cook-Benton Harbor 345 kV | 20002320
Cook-Segreto 345kV+Benton Harbor-Segreto 345kV | 20009320
Cordova-E. Moline 345 kV + E. Moline 345/161 kV | 20002120
Cordova-Nelson (15503) 345 Line | 20000170
Cordova-Sub 39 345+Sub 39 345/161 | 20007960
Covert - Palisades 345 kV | 20012015
Covert - Segreto 345 kV | 20011780
Crescent-Collier-Brunot 331 (DUQ) 345 KV LINE | 10029550
CROYDON-CHINA-EMILIE LINE AND EMILIE #6 | 10009380
Davis Besse Unit | 20009670
Dearborn-Tanners Creek 345 kV ckt 1 | 20002070
Dequine-Westwood 345 kV | 20004500
Dresden-Electric Jct. 345 kV | 20002280
Dresden-Tazewell 345 | 20006290
Dresser-SugarCreek 345 kV | 20012053
DTX345.Palisades.AUX LD & AUX CTG Load | 10099161
Duck Creek-Maple Ridge 345 kV | 20000310
Dumont - Sorenson 765 kV | 20011320
Dumont-Greentown 765 kV line | 20001640
Dumont-Wilton Center 765kV | 20000080
Dune Acre-Michigan City #1 | 20001740
E. Frankfort-Crete 345 kV | 20004380
E. Frankfort-University Park North 345 | 20000580
E.Bend-Terminal 345 kV line | 20001580
EAGLEHEA-MONOCACY (APS) | 10014890
Eddystone-Printz 230 kV line | 10011850
Edwardsport-AMO 345kV | 20011690
Eugene-Bunsonville 345 | 20008620
Faraday-Kansas 345 kV | 20011870
FostoriaCentral - Lallendorf 345 kV | 20011988
Foulk 2TR 230/13 kV Transformer | 10011370
Gary Ave 345/138 kV | 20004080
Genoa - Seneca 161 kV | 20012050
Gibson-AB Brown 345 kV | 20011180
Gibson-Bedford 345kV + Bedford 345/138kV XF | 20010040
Gibson-Francisco 345 | 20005110
Gibson-Merom 345kV | 20010030
Godlnd-Morrison 138kV + GodLnd 69/138kV XF1 | 20009960
Godlnd-Reynolds 138kV + GodLnd 69/138kV XF2 | 20010000
Goodland-Morrison 138kV | 20011820
Goodland-Remington 69 kV | 20011970
Goose Creek-Rising 345 kV | 20009900
Greentown - Reynolds 765 kV | 20012036
Greentown 765/138 xfmr 2 | 20003760
Greentown-Maple-Chrysler 138kV | 20011010
Hamilton - Jackson 115 kV line | 10017360
Hardin County 345/138 kV | 20012041
Hatfield-Black Oak 500 kV + Black Oak TR3 | 20002940
Havana S - Havana E 138 kV | 20011250
Havana-Ipava 138 | 20008430
Havana-Powerton Jct-HuffIP 138kV | 20011930
Hennepin-Ltvsteel-Woodhall 138 kV | 20010630
Heritage-Wake 500 kV | 20001790
Holland-Neoga 345 kV | 20002340
Hoopest-Rossvill 138kV | 20009950
Hortonvi-Whitesto 345 line | 20000980
Hunterstown-Conastone 500 kV | 20003280
Hunterstown-Lincoln (962) 115 kV line | 10009680
Hunterstown-TexasEastern-Gardners (991) 115 kV lin | 10009660
HVDC.Neptune | 10043570
Inland Steel5-Marktown 138 kV | 20003880
Ipava-Duck Creek 345 kV | 20002920
Jefferson-Clifty Creek 345 kV | 20011800
Jefferson-CliftyCreek 345/765 kV | 20011750
Jefferson-Greentown 765 line | 20000990
Jefferson-Hanging Rock 765 kV line | 20001660
Jefferson-Rockport (JEF-ROC1) 765 Line | 20000360
Kansas - W Casey 345kV | 20009400
Keeney-Steele.23009 | 10005850
Kendall-Lockport 345 kV | 20003450
Kewanee East-Prince Tp-LTVSteel-Hennepin 138kV | 20012042
Kewanee-Streator 6101 138 | 20007850
Kickapoo Crk-Lasalle 138 | 20006370
Kincaid-Lanesville 345kV (2101 line) | 20002040
Kokomo Highland Park - New London 230 | 20011140
Kokomohighlandpark - Delco 138 kV | 20012011
L115.Boykins-Margarettsville-Seaboard-Pecan.56 | 10034130
L115.Cambria-Summit | 10046940
L115.CarlislePike-Gardners.1049 | 10009750
L115.CarlislePike-Roxbury.1049 | 10009760
L115.Claysburg-Curryville-Saxton.1099 | 10009780
L115.EastTowanda-NorthMeshoppen.1057 | 10010990
L115.Eclipse-Piney.1038 | 10016910
L115.Eclipse-UticaJct-Wayne.1010 | 10017070
L115.ErieWest-FairviewEast | 10017130
L115.Garman-Spangler | 10074820
L115.Glory-Seward | 10017160
L115.Henderson-Kerrdam.45 | 10034080
L115.Hilltop-Krayn-RachelHill (HillclayJct&Salix) | 10016980
L115.Mainesburg-Mansfield | 10079620
L115.MiddletownJct-Collins.975 (Sctnlz) | 10062670
L115.Pecan-Carolina.1010 | 10099548
L115.Rockwood-Somerset | 10017270
L115.RoundTop-Newberry.975 (Sctnlz) | 10051110
L115.SouthHampton-HandsomDP-Newsoms.140 | 10035710
L115.Summit-Thirty First St. | 10010010
L115.Yorkana-Yoe-Redfront-Windsor | 10017490
L138.Abingdon-ClinchRiver | 10035980
L138.Adams-Magley | 10089750
L138.AllenIM-Logtown | 10090030
L138.AllenIM-Tillman-TimberRoad | 10063180
L138.Amos-Curry-Milton | 10035900
L138.Athenia-KullerRoad.J-1362 | 10004550
L138.Axton-Danville.2 | 10038240
L138.Bedington-Harmony Jct-Marlowe-Cherry Run | 10013670
L138.Bedington-Nipetown-Reid | 10013680
L138.Bergen-EastRutherford.R-1344 | 10004860
L138.BigSandy-Inez | 10036360
L138.Bosserman-MichiganCity | 10082900
L138.Bosserman-NewCarlisle | 10082880
L138.Bosserman-NewCarlisle.2 | 10098012
L138.Broadford-Keywood-WolfHill | 10047480
L138.Broadford-Saltville.1 | 10038410
L138.Brunot Island-Collier.Z-41 | 10040450
L138.BuzzardPoint-Southwest.13841 | 10018030
L138.Charleroi-Yukon | 10014510
L138.CherryValley-15622-Sabrooke.15622 | 10028680
L138.Cheswold-Felton.13704 | 10001240
L138.ClinchRiver-VirginiaCityGeneration.2 | 10062380
L138.Cloverdale-Catawba | 10097240
L138.Cloverdale-LakeForest-Ivyhill-Coffee-Reusens | 10036090
L138.CollegeCorner-Trenton-Hutching | 10039740
L138.Conaway-IndianRiver.13766 | 10048620
L138.Corey-Mottville | 10087770
L138.Corridor-Genoa | 10037100
L138.Crescent-North.Z-21 | 10040610
L138.Cumberland-Sherman.1415 | 10000690
L138.Desoto-Mayfield-23rdStreetTap | 10088230
L138.Dravosburg-Brentwood-Elwyn.Z-70 | 10040430
L138.Dravosburg-Wilson.Z-72 | 10073890
L138.Dune Acres-Michigan City.#1 | 10040960
L138.EastElkhart-Mottville | 10094700
L138.EastKewanee-PrinceTap-LTVSteel-Hennepin.1552 | 10070150
L138.Ebersole-FostoriaCentral.1 | 10077300
L138.Emilie-Falls + 138/35.Falls.T1 | 10005210
L138.Emilie-Neshaminy.130-25 | 10006720
L138.England-Scull-Mill.1407 | 10000580
L138.Fairlawn-KullerRoad.L-1364 | 10004540
L138.Fawkes-FawkesLG (Tie) | 10086500
L138.Felton-SouthHarrington.13709 | 10001220
L138.FremontCenter-Fremont-WestFremont | 10031230
L138.Gavin-FireBrick | 10021600
L138.Gavin-Sporn.2 | 10021590
L138.Greentown-Mier.PSI-Wabash.psi | 10062440
L138.Groton-Hayes | 10099008
L138.Heath-WestMillersport | 10072570
L138.Hutching-Crown + 138/69.Crown.T7 | 10030780
L138.IndianRiver-Nelson.13703 | 10001080
L138.Inland-Lakeshore.Q4 | 10054730
L138.JacksonsFerry-Huffman | 10038190
L138.JacksonsFerry-PeakCreek | 10038180
L138.Jefferson-Fisk.4523 | 10027120
L138.Johnson-LakeAvenue.1 | 10081860
L138.Juniper-Northfield.Q1 | 10054260
L138.Kammer-GeorgeWashington | 10020950
L138.Kammer-Natrium | 10020970
L138.Kewanee-Hennepin.6101 | 10027370
L138.KingsCreek-Costen-Pocomoke.13714 | 10001290
L138.KingsCreek-Loretto.13713 | 10001270
L138.KiskiValley-BrackenRidge-ShaffersCorner | 10013380
L138.Kittanning-AllDam6 | 10013370
L138.Lincoln-Union | 10043430
L138.Loretto-PineyGrove.13777 | 10001250
L138.Loretto-Vienna.13780 | 10001260
L138.MahansLane-Tidd | 10058360
L138.Maliszewski-HyattCS.2 | 10021270
L138.Marktown-Inland Steel 7 | 10050320
L138.Mazon-CrescentRdg-Oglesby.7713 (Oglesby Tap) | 10027490
L138.Miami Fort-Morgan | 10059490
L138.Michigan City-Trail Creek.13814 | 10069680
L138.MuskingumRiver-ENewConcord-WestCambridge | 10039190
L138.Muskingum-SouthCaldwell.1 | 10090420
L138.Muskingum-SouthCaldwell.2 | 10090430
L138.Nagel-WestKingsport | 10035870
L138.NBristol-IndianSp-EdensRidge-WKingsport-How | 10035890
L138.NewChurch-PineyGrove.13764 | 10001140
L138.Northfield-Juniper.Q2 | 10054620
L138.NorthSeaford-SouthHarrington.13771 | 10001210
L138.Northwest-Devon-11416-Skokie.11416 | 10028000
L138.OhioCentral-EastPoint-EastZanesville-Philo | 10021180
L138.OhioCentral-Powelson | 10079140
L138.OhioCentral-WTrinway-Millwood-Academia | 10021170
L138.Olive-NewCarlisle | 10037980
L138.PaxtonEast-Gibson | 10099963
L138.PaxtonEast-Gifford | 10099962
L138.Powerton-Toulon.0321 | 10050950
L138.Richland-Naomi-Midway-Wauseon | 10053960
L138.Richland-Ridgeville-NapoleonMuni-Stryker | 10055690
L138.Sawmill-Dublin | 10047510
L138.Selmapar-Richmond | 10037300
L138.SmithMtn-Candlers-OpossumCreek | 10038370
L138.SouthBend-TwinBranch | 10038060
L138.SouthCaldwell-Steamtown | 10099616
L138.SouthCanton-Torrey | 10021060
L138.SouthwestLima-WestLima | 10037510
L138.Springdale-All4Jct-All4Tap-All6-Brackenridge | 10069690
L138.Springdale-ShaffersCorner | 10064920
L138.Spurlock-Mysvl-Plumville | 10067370
L138.Steele-Hillsboro-WyeMills.13761/13788 | 10001130
L138.SteelTap-Falls + 138/35.Falls.T2 | 10005220
L138.Stinger-ValleyIM | 10089050
L138.Studebaker-EastSide | 10037950
L138.Terminal-Evendale | 10059650
L138.Twinbranch-Concord | 10071040
L138.Wayne-WestChicago.14405 (SPOG 3-30) | 10028510
L138.Weirton-Carnegie-Tidd.224 | 10014340
L138.Westwood-08NW_Tap-WLafyett | 10092020
L138.Westwood-Tippecanoe | 10070930
L138.Wilson-Mitchell.Z-11 | 10073170
L161.Barkley-PrincetonTap(TVA) | 10096770
L161.Cooper-Elihu | 10067050
L161.Cooper-LaurelDam | 10067080
L161.LaurelCo-LaurelDam | 10067280
L161.Shawnee-Marshall.C31(TVA) | 10099892
L161.SummerShade(EKPC)-SummerShade(TVA) | 10070330
L230.AlabamaAvenue-BuzzardPoint.23026 | 10004370
L230.Altoona-BearRock | 10004430
L230.Altoona-Raystown.2001 | 10004470
L230.AsylumTwp-EastTowanda | 10082170
L230.Athenia-Belleville.Z-2226 | 10004520
L230.Athenia-Saddlebrook.F-2337 | 10086270
L230.Atlantic-SouthRiver.P1030 | 10007650
L230.Bergenfield-Leonia.P-2294 | 10069570
L230.Bergen-Leonia.K-2289 | 10044840
L230.Bergen-Saddlebrook.C-2334 | 10087190
L230.Birchwood-Dahlgren.2145 | 10073240
L230.Brambleton-Belmont.201 | 10034850
L230.Brambleton-PolandRoad.2183 | 10098293
L230.Brambleton-YardleyRidge.2172 | 10071880
L230.BrandonShores-Riverside.2345 | 10008770
L230.BrandonShores-Wagner.2346 | 10004760
L230.BrandonShores-Wagner.2347 | 10004770
L230.BrandonShores-WaughChapel.2343 | 10009320
L230.Bremo-Cartersville-Powhatan-Midlothian.2027 | 10031590
L230.Bridgeport-Mickleton.2315 | 10004730
L230.BrndnShrs-RvrSde.2344 + 230/115.RvrSide.230-1 | 10008760
L230.Brunswick-Deans.D-2204 | 10004300
L230.BurchesHill-PalmersCorner.23093 | 10008470
L230.Carson-Poe.2002 (Sctnlz) | 10066060
L230.Cartanza-Garrison.23025 | 10084600
L230.Cartanza-Milford.23033 | 10040860
L230.Cartanza-RedLion.23032 | 10003950
L230.CedarCreek-RedLion.23030 | 10007330
L230.CedarGrove-CedarSub-Roseland.Y-2277 | 10004080
L230.CedarGrove-CedarSub-William.F-2206 | 10009070
L230.CedarGrove-Clifton-Athenia.B-2228 | 10063510
L230.CedarGrove-Clifton-Athenia.K-2263 | 10063520
L230.Cedar-OysterCreek | 10007510
L230.Charlottesville-Proffit-Hollymead.2054 | 10073730
L230.Chesterfield-Basin.259 | 10033230
L230.Chesterfield-Hopewell.228 | 10032990
L230.Chesterfield-Lakeside.217 (Sectionalize) | 10066130
L230.Chesterfield-Southwest.208 | 10032810
L230.Chichester-Trainer.220-53 | 10007940
L230.Chuckatuck-Surry.290 | 10033450
L230.Churchland-Harborview-Crittenden-Surry.226 | 10032980
L230.Clover-Briery-Farmville.235 | 10033040
L230.Clover-SedgeHill.2068 | 10087040
L230.Columbia-Montour | 10004120
L230.Conastone-Graceton.2323 | 10005350
L230.Conastone-Northwest.2310 | 10006860
L230.Conastone-Northwest.2322 | 10006870
L230.Conemaugh-Seward | 10072100
L230.Conowingo-Nottingham-220-03 | 10008870
L230.CoolSprings-Milford.23069 | 10050900
L230.Croydon-Burlington.D-220-30 | 10008900
L230.Cumberland-Juniata + 230/69.Cumberland.T2 | 10009110
L230.Cumberland-Orchard.2314 | 10044910
L230.CuthbertBlvd-Gloucester.C-2308 | 10004260
L230.Dooms-Charlottesville.233 | 10033020
L230.EastTowanda-Canyon-NMeshoppen + 230/115.NM.T4 | 10018670
L230.EastWindsor-Windsor.F-2006 | 10008930
L230.Eddington-Holmesburg-Richmond.220-56 | 10004900
L230.Edgemoor-Harmony.23012 | 10004940
L230.Edgemoor-Linwood.220-85 | 10004050
L230.Elmont-Hanover-FourRivers.2032 | 10031630
L230.Elmont-Northeast.283 | 10033380
L230.Emilie-Eddington-Croydon | 10011890
L230.EndlessCaverns-Harrisonburg.2134 | 10075950
L230.ErieSouth-Warren.2008 | 10092810
L230.Essex-McCarter.K-2211 | 10043460
L230.Essex-Newark Energy Center.Q-2322 | 10084070
L230.ETowanda-Hillside.2002 [NYISO] | 10094120
L230.ETowanda-ScotchHollow-Grover-Marshall | 10006520
L230.Fairlawn-Waldwick.O-2267 + Fairlawn.220-1 | 10005190
L230.Forest-Glade | 10059220
L230.Forest-SquabHollow | 10079010
L230.Fredericksburg-Birchwood.2083 | 10032000
L230.Gilbert-GlenGardner.V-1036 | 10005290
L230.Gilbert-Springfield | 10005300
L230.Gillette-GB-MidSx-Bridgewater-LakeNels.I-1023 | 10042480
L230.Glade-Warren.2088 | 10092740
L230.Gordonsville-Louisa CT.2088 (Sctnlz) | 10066100
L230.Graceton-Bagley-RaphaelRoad.2305 | 10065800
L230.Graceton-Bagley-RaphaelRoad.2313 | 10091960
L230.GraysFerry-Tunnel.220-89 + 230/13.GrysFrry.T1 | 10007020
L230.Harwood-Susquehanna.1 + 230/69.Harwood.T5 | 10005450
L230.Harwood-Susquehanna.2 | 10007820
L230.Hathaway-Hornertown.2056 | 10092890
L230.HighRidge-SandySprings-Burtonsville.2314 | 10009400
L230.Hillsdale-Waldwick | 10008100
L230.HomerCity-Quemahoning-Hooversville.2024 | 10005570
L230.HomerCity-Seward.2011 | 10005510
L230.HomerCity-Shelocta-Keystone.2014 | 10008810
L230.Hosensack-Springfield | 10071430
L230.IndianRiver-Milford.23034 | 10042710
L230.IndianRiver-PineyGrove.23002 | 10001920
L230.Ironwood-SouthLebanon.1054 | 10049180
L230.Jackson-TMI.1051 | 10007880
L230.JeffersonStreet-NorthAlexandria.2112 | 10082930
L230.Jenkins-Mountain | 10007700
L230.Johnstown-Seward.2018 | 10005740
L230.Lackawanna-Oxbow-N.Meshoppen | 10008940
L230.Lackawanna-Paupack | 10080320
L230.Lackawanna-Summit.2 | 10096850
L230.Lakewood-Larrabee.K2011 | 10006110
L230.LewisRun-PierceBrook | 10086040
L230.Lewistown-Juniata | 10005800
L230.Limerick-Cromby-UpperProvidence.220-60/62 | 10009080
L230.Limerick-Lock.220-61 | 10004220
L230.Linden-Tosco.B-2254 | 10009440
L230.Linwood-Chichester.220-43 | 10018540
L230.Loudoun-Brambleton.2094 | 10040250
L230.Louisa CT-South Anna.2074 | 10031960
L230.MartinsCreek-MorrisPark-Gilbert.P-2016 | 10008710
L230.MartinsCreek-Portland.1008 | 10002570
L230.MartinsCreek-Quarry | 10089700
L230.Maywood-Saddlebrook.G-2259 | 10006650
L230.Mickleton-Monroe.2316 | 10018640
L230.Milford-Steele.23076 | 10006400
L230.Montour-Saegers.1 | 10077740
L230.Montour-Saegers.2 | 10077750
L230.Moshannon-Chapman-Lobo-Marshall | 10065160
L230.NewFreedom-Cardiff.2310 | 10006730
L230.NewLondon-KokomoHighlandPark | 10099482
L230.NorthAnna-SouthAnna.255 | 10033190
L230.NorthBoyertown-Boonetown.1006 | 10099905
L230.Northwood-Quarry | 10006780
L230.OtterCreek-Conastone.2302 | 10029850
L230.OtterCreek-SafeHarbor-Manor | 10006160
L230.OysterCreek-Manitou.O1029 | 10006140
L230.PleasantValley-Rocktown.Z-2357 | 10009280
L230.Printz-Ridley-Morton-MacDade.220-46 | 10011840
L230.Remington-MarshRun.280 | 10034920
L230.Roseland-Kearny.M-2318 | 10008690
L230.Roseland-Whippany.A-941 | 10008300
L230.Roseland-William.S-2297 | 10070160
L230.Sayreville-Kilmer-LakeNelson.W-1037 | 10008650
L230.Shellhorn-YardleyRidge.2095 | 10096830
L230.Smithburg-EastWindsor.E-2005 | 10008920
L230.SteelCity-Quarry.1 | 10010410
L230.SteelCity-Quarry.2 | 10003820
L230.Steele-Vienna.23085 & 230/138.Vienna.AT20 | 10000990
L230.Sunbury-Susquehanna | 10007800
L230.Surry-Yadkin.223 | 10035340
L230.Thrasher-Yadkin.2105 + 230/35.Thrasher.T1 | 10061250
L230.TMI-MiddletownJunction.1091 | 10006320
L230.TMI-MiddletownJunction.1092 | 10006330
L230.Tosco-VFT St.2271 | 10009450
L230.WaughChapel-RussettEast.2327 | 10082650
L230.West Orange-Springfield Rd.N-2292 | 10073770
L230.Whitpain-PlymouthMeeting.220-15 | 10007210
L230.Yorkana-BrunnerIsland + Yorkana.T1 | 10004790
L345.108Lockport-935Kendall.10806 | 10024720
L345.111Electric Jct-144Wayne.11126 | 10024780
L345.12 Dresden-111 ElctrcJct.1223+12 Dresden.TR83 | 10024060
L345.12 Dresden-900 Elwood.1222 | 10024050
L345.155Nelson-H471.15504 | 10025110
L345.Adkins-Atlanta | 10022150
L345.AllenJunction-Morocco (ITC) Tie | 10078020
L345.Amos-KanawhaRiver | 10020560
L345.Amos-Sporn | 10020570
L345.Argenta-Palisades.2 | 10042580
L345.Armstrong-HomerCity | 10073180
L345.Arsenal-BrunotIsland.305 | 10029630
L345.Avonlake-Juniper | 10052110
L345.AvonLake-LakeAvenue.1 | 10081810
L345.Bath-Foster | 10030650
L345.Beatty-Bixby | 10020290
L345.Beaver-DavisBesse | 10030000
L345.Beaver-Hayes | 10072380
L345.Beverly(IPP)-MuskingumRiver | 10020500
L345.BiersRun-Bixby | 10078790
L345.Braidwood-Davis.2004 | 10024140
L345.Braidwood-EastFrankfort.2001 | 10024100
L345.Braidwood-EastFrankfort.2003 | 10024130
L345.Brokaw-Clinton | 10042410
L345.BrunotIsland-Tecumseh-Carson.302 | 10085970
L345.Buffington-Pierce | 10029430
L345.Bunsonville-Eugene | 10020680
L345.Bunsonville-Sidney | 10092830
L345.Burnham-DavisCreek.17704 | 10025240
L345.Burnham-Munster.17703 | 10025230
L345.Burnham-Sheffield.17705 TIE | 10025260
L345.BurrOak-Schaffer (NIPS) | 10041090
L345.Byron-CherryValley.0621 | 10023890
L345.Byron-CherryValley.0622 | 10023910
L345.Byron-LeeCounty.0627 | 10023950
L345.Byron-Wayne.0626 | 10086140
L345.Byron-Wempletown.0624 | 10023930
L345.Cayuga-Eugene | 10020690
L345.Chamberlin-Harding | 10029060
L345.CherryValley-SilverLake.15616 | 10025150
L345.CliftyCreek-Trimblec | 10029180
L345.Cloverdale-MattFunk | 10020520
L345.Cook-Olive | 10019890
L345.Cook-Segreto | 10078850
L345.Covert-Palisades | 10099777
L345.Crawford-Fisk.1310 | 10061380
L345.Crescent-Mansfield | 10051720
L345.DaviesCo-Hardin | 10069480
L345.DavisBesse-Hayes | 10072370
L345.DavisBesse-Lemoyne | 10030020
L345.Desplains-ProspectHeights.4620 | 10024500
L345.Duck Creek-Ipva (AMIL) | 10050730
L345.Dumont-Sorenson | 10019880
L345.EastBend-Terminal | 10029810
L345.EastLima-FostoriaCentral | 10020120
L345.EastLima-MaddoxCreek | 10060980
L345.EastLima-SouthWestLima | 10020130
L345.ErieSouth-ErieWest.3001 | 10005130
L345.ErieWest-Ashtabula-Perry | 10009180
L345.ErieWest-Wayne.3004 | 10008160
L345.Fargo-Sandbrg | 10098054
L345.Foster-Garver | 10091770
L345.Foster-PortUnion.4508 | 10059270
L345.Foster-SugarCreek | 10022160
L345.FostoriaCentral-Lallendorf | 10085830
L345.FostoriaCentral-Lemoyne | 10020760
L345.Garver-ToddHunter | 10091780
L345.GaryAve-Sheffield (NIPS) | 10065000
L345.Ghent-Trimble County | 10048940
L345.GlenWillow-Perry | 10077440
L345.GoodingsGr-E.Frankfort.11602 | 10099773
L345.GoodingsGr-E.Frankfort.11602 (SF) SPOG 3-29 | 10024800
L345.HandsomeLake-Armstrong | 10008180
L345.HandsomeLake-Wayne | 10008170
L345.Hanna-Juniper | 10029080
L345.Hayden-HyattCS | 10020190
L345.Hayden-Roberts.1 | 10057680
L345.HomerCity-Mainesburg | 10079590
L345.HomerCity-PierceBrook | 10086000
L345.Hoytdale-Mansfield | 10016800
L345.Hudson-Farragut.B-3402 | 10005230
L345.Jefferson-CliftyCreek | 10020050
L345.Juniper-Star | 10029070
L345.Kammer-WestBellaire | 10087430
L345.KanawhaRiver-MattFunk | 10020540
L345.KanawhaRiver-Sporn | 10020550
L345.Kansas-Faraday | 10098607
L345.Kansas-WestCasey (Ameren) | 10071050
L345.Kincaid-Austin.2106 | 10060260
L345.Kincaid-Lanesville.2101 | 10024190
L345.Kincaid-Pana.2105 | 10024300
L345.KygerCreek-Marquis | 10020780
L345.LakeGeorge-Munster + 345/138.Munster.A | 10041150
L345.Lallendorf-Monroe[DET].Tie | 10085820
L345.Lasalle - Braidwood.0104 | 10023610
L345.Lasalle - Plano.0101 | 10023580
L345.Lemoyne-Midway | 10030090
L345.LeroyCenter-Perry | 10085880
L345.Lockport-Kendall.10805 | 10024700
L345.Lordstown-Highland.1 | 10094210
L345.Loretto-WiltonCenter.11212 | 10048240
L345.MaddoxCreek-RPMone | 10060970
L345.Mainesburg-Watercure [NYISO] | 10079600
L345.MapleRidge-Tazewell | 10041320
L345.Marysville-SouthWestLima | 10020250
L345.MeldahlDamTap-Zimmer | 10041570
L345.Miami Fort-Woodsdale | 10059350
L345.MiamiFort-Terminal.4514 | 10059290
L345.Nelson-Cordova.15503 | 10025070
L345.Nelson-ElectricJunction.15502 | 10025060
L345.Newton-Casey (Ameren) | 10070500
L345.Oakgrove-Louisa (MEC) | 10099802
L345.OhioCentral-Galion | 10044300
L345.OhioCentral-MuskingumRiver | 10020360
L345.Palisades-Segreto.1 | 10078870
L345.Palisades-Segreto.2 | 10078880
L345.Petersburg-Sullivan.Tie | 10086670
L345.Petersburg-Thompson | 10043150
L345.Pierce-Foster | 10029420
L345.Powerton-Tazewell.0304 | 10023740
L345.QuadCities-Cordova.0403 | 10023810
L345.QuadCities-H471.0404 | 10023840
L345.QuadCities-RockCreek.0405 | 10023870
L345.QuadCities-Sub91.0401 | 10023780
L345.Red Bank-Terminal | 10059320
L345.Reynolds-Olive.2 | 10094290
L345.Rising-Sidney | 10092850
L345.RobisonPark-Sorenson | 10088050
L345.SouthBerwick-FostoriaCentral | 10044050
L345.SouthBerwick-Galion | 10044060
L345.Spurlock-NorthClark | 10067360
L345.TannersCreek-Dearborn.1 | 10020860
L345.TannersCreek-EastBend | 10020830
L345.TannersCreek-MiamiFort | 10098279
L345.Terminal-PortUnion.4513 | 10059260
L345.Tidd-Collier | 10016870
L345.Tidd-WylieRidge | 10016530
L345.Todhunter-Woodsdale1.4561 | 10059330
L345.Toronto-WylieRidge | 10077470
L345.Tristate-Sporn (Sctlnz) | 10044170
L345.Vassell-HyattCS | 10073410
L345.Wayne-Tollway.14402 R | 10025000
L345.Zimmer-PortUnion.4544 | 10042020
L345.Zimmer-SilverGrove-RedBank & 345/138.SG.T23 | 10059310
L345.Zion(EnergyCntr/974)-Pleasant Prairie.PLPL41 | 10071450
L345.Zion-Arcadian.2222 | 10024430
L345.Zion-Pleasant Prairie.2221 | 10024420
L500 Chickahominy-Elmont.557A(Sctnlz) | 10043220
L500.502Junction-MtStorm (TRAIL) | 10057210
L500.502Junction-NorthLongview | 10049320
L500.Alburtis-Branchburg.5016 | 10003200
L500.Alburtis-Hosensack.5027 | 10003210
L500.Alburtis-Juniata.5009 | 10003220
L500.BathCounty-Lexington.547 | 10017880
L500.BathCounty-Valley.548 | 10016900
L500.Bedington-BlackOak | 10003380
L500.Bedington-Doubs | 10003390
L500.Belmont-Harrison | 10013720
L500.Bismark-Doubs | 10082110
L500.Bismark-MtStorm | 10082120
L500.BlackOak-Hatfield | 10011080
L500.Brambleton-GooseCreek.558 | 10071780
L500.Brambleton-Mosby.590A | 10071790
L500.Branchburg-Hopatcong.5060 | 10072020
L500.Breinigsville-Wescosville.5044 | 10077690
L500.Brighton-Conastone.5011 | 10003590
L500.Broadford-Sullivan (TVA) Tie | 10019720
L500.BrunswickHeritage-Rawlings.591 | 10084350
L500.BrunswickHeritage-RogersRoad.503 | 10092950
L500.BrunswickSwitchingStationHeritage-Wake.570 | 10079580
L500.BurchesHill-PossumPoint.560 | 10057060
L500.Cabot-Cranberry | 10011090
L500.Cabot-Keystone.5002 | 10003340
L500.CalvertCliffs-ChalkPoint.5072 | 10003560
L500.Carson-Midlothian.563 | 10033660
L500.Carson-Rawlings.511 | 10080430
L500.Carson-RogersRoad.585 | 10092940
L500.Clifton-Mosby.559A | 10077100
L500.Cloverdale-Lexington.566 | 10089800
L500.Clover-Rawlings.556 | 10080440
L500.Conastone-PeachBottom.5012 | 10003300
L500.Conemaugh-Juniata.5005 | 10003310
L500.Conemaugh-Keystone.5003 | 10003320
L500.Conemaugh-Vinco.5006 | 10018400
L500.Cranberry-WylieRidge | 10063820
L500.Deans-EastWindsor.5022 | 10010630
L500.Dooms-Cunningham.534 | 10033540
L500.Dooms-Lexington.555 | 10033610
L500.Dooms-Valley.549 | 10033570
L500.Doubs-GooseCreek.514 | 10014720
L500.Elmont-Cunningham.553 | 10033600
L500.Elmont-Ladysmith.574 | 10033740
L500.Fentress-Yadkin.588 | 10084490
L500.FrontRoyal-Morrisville.541 | 10065640
L500.FtMartin-Pruntytown.508 | 10015210
L500.FtMartin-Ronco.516 | 10015230
L500.GreenlandGap-MeadowBrook.540 | 10057160
L500.GreenlandGap-MtStorm.5572 | 10057150
L500.Harrison-Pruntytown.526 | 10051130
L500.Hatfield-RhodesLane.517 | 10015570
L500.Hatfield-Ronco.538 | 10015220
L500.Hopatcong-Lackawanna.5063 | 10074770
L500.Hopatcong-Ramapo.5018 | 10072010
L500.Hopatcong-Roseland.5061 | 10072430
L500.HopeCreek-RedLion.5015 | 10010370
L500.HopeCreek-Salem.5037 | 10010340
L500.Hosensack-Elroy.5028 + 500/138.Elroy.T3 | 10003160
L500.Hosensack-SteelCity.5032 | 10018470
L500.Hunterstown-Conastone.5013 | 10003620
L500.Hunterstown-Vinco.5068 | 10098064
L500.JacksonsFerry-Antioch(DUKE)Tie+765/500.JF.T1 | 10019760
L500.Juniata-Keystone.5004 | 10003230
L500.Juniata-Sunbury.5046 | 10078750
L500.Juniata-TMI.5008 | 10003240
L500.Kammer-502Jct + 765/500.Kammer.200 | 10049300
L500.Keeney-RedLion.5036 | 10009300
L500.Keeney-RockSprings.5025 | 10003350
L500.Keystone-SouthBend.5001(513) | 10003330
L500.Lackawanna-Shickshinny.5062 | 10088910
L500.Ladysmith-NorthAnna.575 | 10033750
L500.Ladysmith-Possum Point.568 | 10033690
L500.LadySmth-Chancelr.581 | 10070090
L500.Limerick-PeachBottom.5010 | 10003170
L500.Limerick-Whitpain.5031+500/230.Whitpain.500-2 | 10003650
L500.Loudoun-Meadowbrook.5535 | 10057190
L500.Loudoun-Morrisville.569 | 10033700
L500.Loudoun-Mosby.502A | 10063370
L500.Loudoun-Mosby.584A | 10071920
L500.McGuire-Antioch | 10066240
L500.Meadow Brook-FrontRoyal.580 | 10011070
L500.Midlothian-NorthAnna.576 | 10063360
L500.Morrisville-Spotsylvania.594 | 10033730
L500.MtStorm-Meadowbrook.5529 | 10057200
L500.MtStorm-Pruntytown.554 | 10003400
L500.MtStorm-Valley.550 | 10033580
L500.Nagel-Sullivan (TVA) Tie | 10019740
L500.NewFreedom-EastWindsor.5038 | 10045050
L500.NorthAnna-Spotsylvania.573 | 10079100
L500.PeachBottom-RockSprings.5014 | 10018410
L500.PeachBottom-TMI.5007 | 10003180
L500.Phippsbend-Volunteer (TVA) | 10042870
L500.RhodesLane-Yukon.518 | 10093350
L500.Shickshinny-Susquehanna.5067 | 10091940
L500.SkiffesCreek-Surry.582 | 10086160
L500.SouthBend-Yukon | 10016630
L500.Suffolk-Yadkin.565 | 10051480
L500.Sunbury-Susquehanna.5045 | 10078760
L500.Susquehanna-Wescosville.5043 | 10003710
L500.TMI-Lauschtown.5026 | 10093200
L69.Benning-12th&Irving.69049R | 10018170
L69.Berwick-Salem-Hazel-Harwood | 10019030
L69.Church-NewMeredith-Kent.6704 | 10001640
L69.CoolSprings-Harbeson.6753 | 10050760
L69.Cromby-Moser.6681 | 10012270
L69.Easton-EastonTap-Muni-Longwood-WyeMills.6707 | 10001670
L69.Edgemoor-DupontEdgemoor.6836 | 10075030
L69.Edgemoor-NewCastle.6801 | 10074860
L69.Harrington-SouthHarrington.6739 | 10001820
L69.Hunlock-Koonsville-Berwick | 10019310
L69.Lindenwold-SilverLake.0744 | 10007160
L69.Mickleton-ValeroTap-Paulsboro.0746 | 10000520
L69.Monroe-Vineland.0711 | 10000220
L69.Mountain-Hunlock.1 | 10019270
L69.Nelson-Edgewood-NorthSalisbury.6743 | 10001830
L69.Newport-SouthMillville.0762 | 10000290
L69.Sherman-Vineland.0761 | 10000240
L69.Todd-ViennaLocal-Vienna.6702 | 10001620
L69.Woodstown-Churchtown.0725 | 10000460
L765.Amos-Culloden | 10019640
L765.Axton-JacksonsFerry + 765/138.Axton.T1 | 10019540
L765.Baker-Broadford | 10019580
L765.Baker-Culloden | 10019610
L765.Baker-HangingRock | 10019570
L765.Broadford-JacksonsFerry + B138.Broadford.R | 10019550
L765.Cloverdale-JoshuaFalls | 10019670
L765.Collins - Plano.2315 | 10023560
L765.Cook-Dumont | 10019450
L765.Culloden-Gavin | 10019590
L765.Culloden-Wyoming | 10019600
L765.Dumont-Greentown | 10019440
L765.Dumont-Sorenson | 10078900
L765.Dumont-WiltonCenter.11215 | 10019430
L765.Flatlick-Gavin | 10019530
L765.Flatlick-Marysville | 10019710
L765.Gavin-Mountaineer | 10019560
L765.Greentown-Jefferson | 10019480
L765.HangingRock-Jefferson | 10019510
L765.JacksonsFerry-Cloverdale + 138CB.JF.L | 10019680
L765.Jefferson-Rockport | 10019470
L765.Kammer-Belmont-Mountaineer+765/500.Belmont.T5 | 10013710
L765.Kammer-Vassell | 10044380
L765.Maliszewski-Marysville | 10019660
L765.Marysville-Sorenson | 10078890
L765.Wilton-Collins.11216 | 10023570
L765.Wyoming-JacksonsFerry | 10042680
Labadie - Montgomery 345kV | 20010360
Labadie-Greysum Ckt1 345kV | 20010390
Leesburg-Hiple 345 kV | 20003040
Libertyville-Prospect Heights and Libertyville TR8 | 20009680
Lincoln Jct. 115 kV (Hunterstown-Orrtanna-Lincoln) | 10009610
Lulu 3-Terminal Line 3 | 20003790
Maple Ridge - Tazewell 345 kV | 20011730
Marktown-Inland5t 138 | 20006300
Marshall - Cumberland 500 kV | 20009720
Maywood-Herleman 345kV | 20011680
Meredosia - Ipava 345 kV | 20012008
Merom - Worthington 345 kV | 20009750
Miami Fort - Terminal 345 kV | 20012039
Miami Fort Unit 7 | 20012017
Miami Fort Unit 8 | 20011980
Michigan City-Trail Creek 138 | 20008040
MichiganCity-Bosserman 138kV | 20009490
Miller-LakeGeorge 138 kV | 20010810
Monroe - Wayne 345 kV | 20001480
Monroe-Brownstown 345 kV | 20001530
Mosteller - Conasauga 500 kV | 20011620
Mt Vernon-EWFKF3 345 kV | 20010110
Mt Vernon-Xenia 345 kV | 20010220
Nagel 500/138 | 20009070
Nelson 345/138 TR84CT-P | 20000390
Nelson B-Dixon B (15507 Z2) 138 Line | 20000300
Nelson-Electric Junction 345kV (15502 line) | 20000250
Neoga-Casey 345 kV | 20003750
Newton TR1 345/138 | 20010130
Newton TR2 345/138 | 20010190
Newton-Casey 345 kV | 20003100
Noblesville-Sanderson | 20005950
North Meshoppen - Mehoopany1 115 kV line | 10017030
Northern Neck.GTS | 10035290
Nucor-Cayuga 345 kV | 20002750
Oak Grove - Sandburg 345 kV | 20011740
OakGrove - Louisa 345 kV | 20012052
Oglesby Tap 138 sub | 20007990
Oglesby-Cresent-Mazon 138 kV | 20011590
Olive 345/138 transformer | 20001760
Olive-Cook 345 kV | 20002560
Oneida-Majestic 345 kV | 20001610
Orchards-Center (110589) 115 kV line | 10008960
Ottawa Tap 138 Sub 2 | 20010160
Ottawa-Oglesby-Hennepin 138 kV | 20010640
Paddock-Blackhawk 138 | 20000610
Palisades-Argenta 2 345 kV | 20002610
Palmyra-Carbine 161kV | 20012055
Pana - Austin 345 kV | 20012018
Pana - Faraday 345 kV | 20011880
Pana-Kincaid 345kV | 20000090
PAPERCIT-RIDG APS (APS) | 10016190
Paris-St.Martin 138kV | 20012044
Paxton - Gifford 138 kV | 20012009
Paxton-Paxton East + Paxton-Gibson | 20009800
Petersburg 345/138/34 kV xfmr E | 20010010
Petersburg-Sullivan 345kV | 20011540
Petersburg-Thompson 345 | 20007750
Pierce-Foster 345 line | 20001030
PLANEBROOK-BRADFORD 230 LINE | 10004720
Pleasant Prairie-Zion EC 345 | 20008830
PleasPrairie-Racine345 | 20000710
Plsnt Prairie-Zion 345+Plsnt Prairie-Zion EC 345 | 20008850
Pontiac-Blue Mound 345 | 20006410
Pontiac-Dresden 345 (8014) + Pontiac TR82 | 20001910
Portland #3 230/115 kV Transformer | 10017730
Powerton U5 | 20012006
Prairie State - Stallings 345 kV | 20011890
Prairie State-W Mt. Vernon 345 | 20002780
Princetp 138 Sub | 20008100
Quad Cities-Cordova 0403 345 kV | 20003660
Quad Cities-Rock Creek 345 | 20000740
Quad Cities-Sub91 345 + Sub91 345/161 | 20002170
Quad-H471 (0404) 345 Line | 20000180
Quad-Sub 91 (0401 1)345 Line | 20000260
Reynolds - Olive 34527 345kV | 20011530
Riverside - Gould Street (33871) 34 kV line | 10018270
Riverside - Gould Street (33872) 34 kV line | 10018280
Salem-Rock Crk 345 | 20005640
Sandburg - East Kewanee 138 kV | 20012037
Sandburg-Fargo 345 kV | 20012005
Schahfer-Burr Oak 345 | 20002290
Segreto-Palisades 1 345 kV | 20009630
Shawnee - C31 - Marshall 161 kV | 20012043
Shawnee 500/345 | 20008770
Sheffield 345/138 kV transformer | 20002060
Sheffield-Gary Ave 345 kV | 20002790
Sheffield-Marktown 138 | 20005040
Shenango (FE) 345/138 kV #2 Transformer | 10030600
Sidney-Rising 345 kV | 20011230
Springboro - Monticello 138 kV | 20012020
State Line-Wolf Lake 138 kV | 20003570
Sullivan TR 2-P 765/345 | 20010710
Sullivan-Casey 345 kV | 20009850
Summer Shade(TVA)-Summer Shade (EKPC) | 20008060
Tanners Creek - East Bend 345kV | 20011910
Tanners Creek 345/138 kV AB | 20002730
Tanners Crk-Miami Fort 345 | 20005660
Tazewell 345/138 kV T1 | 20010340
Tazewell 345/138 kV T2 | 20002970
Tidd.Cardinal.U1 | 10022600
Tiltonec-West Tilt 138 kV | 20009870
Todd Hunter 345/138 15 | 20008860
Todd Hunter 345/138 17 | 20008900
Toulon - Powerton 138 kV | 20012035
Trimble-Clifty Creek 345 kV | 20011940
Turkey Hill TR 345/138 | 20010210
Twin Branch-Argenta (ANG-DUM) 345 line | 20000490
University-Mukwonago 138kV | 20011981
Vermilion-Champagne 138 | 20009910
Vermilion-Tilton 138 kV | 20009810
Volunteer-PhippB 500 line | 20000860
Westport - Gould Street (33852) 34 kV line | 10018260
WESTWOOD #2 345/138KV TRANSFORMER | 10020720
Westwood 345/138 XF2 | 20005600
Westwood-08NW_Tap-WLafyett 138 | 20009500
Westwood-08NW_Tap-WLafyett 138+Purdue-Lafaycin 138 | 20009510
Westwood-LafayetteCat 138 kV | 20003010
Westwood-Tippecanoe Labs 138 kV | 20003800
Westwood-Tippencan 138 kV | 20002870
Whitestown-Guion 345kV + Guion 345/138kV XF1 | 20010080
Wilson Unit 1 | 20011490
Wilson XF1 345/161 | 20012059
Wilton 94 xfmr & Wilton Center-Collins & Wilton Ce | 20003230
Wilton Center-Collins 765 kV + Wilton Center TR93 | 20002470
Wilton Center-Dumont 765+Munster-Lake George 345 | 20008760
Wilton Center-Dumont 765+State Line-Wolf Lake 138 | 20004960
Wilton Center-Dumont 765+Wolf Lake-Sheffield 138 | 20004940
Wilton Center-Dumont 765kV + Sheffield-Gary Ave 34 | 20003250
Wilton Ctr - Dumont 765 kV | 20011520
WSTPRT-PMPHRY(110521) 115 kV LINE | 10003990
Wylie Ridge #5 & #6 500/345 kV trans | 10016570
Xenia-Newton (31330323) 345 Line | 20000340
Zimmer-Port Union 345 kV line | 20001620
Zion-Arcadian (2222) 345 Line | 20000210
Zion-Pleas PR (2221) 345 Line | 20000220
Zion-Waukegan 2219 345 kV | 20009440