## Planning Parameters
2022-2023 RPM Base Residual Auction Planning Parameters |  |  | 2021-05-17
| RTO | Notes:
Installed Reserve Margin (IRM) | 14.5% | 2020 IRM Study
Pool-Wide Average EFORd | 5.08% | 2020 IRM Study
Forecast Pool Requirement (FPR) | 1.0868 | 2020 IRM Study
Preliminary Forecast Peak Load | 150229 | 2021 Load Report with adjustments for load served outside PJM.
Locational Deliverability Area
| RTO | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI | ATSI-Cleveland | COMED | BGE | PL | DAYTON | DEOK
CETO | NA | -7440 | 2800 | 4120 | 5740 | 2680 | 1480 | 2380 | 4610 | 3310 | -2130 | 4780 | -500 | 2230 | 2710
CETL | NA | 4375 | 9173 | 8310 | 8626 | 4360 | 2053 | 6781 | 9119 | 5229 | 6839 | 5683 | 4850 | 3941 | 5465
Reliability Requirement | 163268.9 | 64514 | 35884 | 14934 | 11686 | 6180 | 3155 | 7701 | 15011 | 5761 | 23931 | 7828 | 10244 | 3950 | 7407
Total Peak Load of FRR Entities | 28535.4663 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 827.532
Preliminary FRR Obligation | 31012.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 899.4
Reliability Requirement adjusted for FRR | 132256.6 | 64514 | 35884 | 14934 | 11686 | 6180 | 3155 | 7701 | 15011 | 5761 | 23931 | 7828 | 10244 | 3950 | 7102.1034
Gross CONE, $/MW-Day (UCAP Price) | 309.34 | 310.65 | 311.73 | 316.63 | 311.73 | 311.73 | 311.73 | 316.63 | 304.51 | 304.51 | 304.51 | 316.63 | 304.51 | 304.51 | 304.51
Net CONE, $/MW-Day (UCAP Price) | 260.5 | 245.12 | 259.36 | 242.95 | 268.44 | 268.44 | 236.18 | 259.52 | 230.5 | 230.5 | 247.86 | 226.37 | 250.41 | 226.32 | 223.63
EE Addback (UCAP) | 5205 | 2062.4 | 1152 | 481.1 | 416.1 | 197.7 | 49.8 | 277.5 | 428.9 | 45.5 | 932.7 | 203.7 | 244 | 93.1 | 150.3
Variable Resource Requirement Curve:
Point (a) UCAP Price, $/MW-Day | 390.75 | 367.68 | 389.04 | 364.43 | 402.66 | 402.66 | 354.27 | 389.28 | 345.75 | 345.75 | 371.79 | 339.56 | 375.62 | 339.48 | 335.45
Point (b) UCAP Price, $/MW-Day | 195.38 | 183.84 | 194.52 | 182.21 | 201.33 | 201.33 | 177.14 | 194.64 | 172.88 | 172.88 | 185.9 | 169.78 | 187.81 | 169.74 | 167.72
Point (c) UCAP Price, $/MW-Day | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Point (a) UCAP Level, MW | 136075.5 | 65900.3 | 36659.9 | 15258.6 | 11979.6 | 6312.9 | 3171.7 | 7897.8 | 15282.6 | 5746.1 | 24612.9 | 7949.7 | 10380.6 | 4001.7 | 7178
Point (b) UCAP Level, MW | 139656.3 | 67646.9 | 37631.5 | 15662.9 | 12296 | 6480.3 | 3257.2 | 8106.3 | 15689 | 5902.1 | 25260.8 | 8161.6 | 10658 | 4108.6 | 7370.3
Point (c) UCAP Level, MW | 146471.2 | 70971.2 | 39480.5 | 16432.4 | 12898.2 | 6798.7 | 3419.7 | 8503.1 | 16462.5 | 6199 | 26493.9 | 8565 | 11185.8 | 4312.2 | 7736.2
Nominated PRD Value, MW | 230 | 230 | 40 | 190 | 0 | 0 | 19.6 | 110 | 0 | 0 | 0 | 80 | 0 | 0 | 0
VRR Curve adjusted for PRD:
Point (a1) UCAP Price, $/MW-Day | 390.75 | 367.68 | 389.04 | 364.43 |  |  | 354.27 | 389.28 |  |  |  | 339.56
Point (b1) UCAP Price, $/MW-Day | 195.38 | 183.84 | 194.52 | 182.21 |  |  | 177.14 | 194.64 |  |  |  | 169.78
Point (prd1) UCAP Price, $/MW-Day | 0.01 | 0.01 | 0.01 | 0.01 |  |  | 0.01 | 0.01 |  |  |  | 0.01
Point (prd2) UCAP Price, $/MW-Day | 0.01 | 0.01 | 0.01 | 0.01 |  |  | 0.01 | 0.01 |  |  |  | 0.01
Point (c) UCAP Price, $/MW-Day | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  |  |  | 0
Point (a1) UCAP Level, MW | 135825.5 | 65650.3 | 36616.4 | 15052.1 |  |  | 3150.4 | 7778.3 |  |  |  | 7862.8
Point (b1) UCAP Level, MW | 139406.3 | 67396.9 | 37588 | 15456.4 |  |  | 3235.9 | 7986.8 |  |  |  | 8074.7
Point (prd1) UCAP Level, MW | 146220.9 | 70721 | 39436.9 | 16225.9 |  |  | 3398.4 | 8383.6 |  |  |  | 8478.1
Point (prd2) UCAP Level, MW | 146470.9 | 70971 | 39480.4 | 16432.4 |  |  | 3419.7 | 8503.1 |  |  |  | 8565
Point (c) UCAP Level, MW | 146471.2 | 70971.2 | 39480.5 | 16432.4 |  |  | 3419.7 | 8503.1 |  |  |  | 8565
Pre-Auction Credit Rate, $/MW | 47541.25 | 44734.4 | 47333.2 | 44338.38 | 48990.3 | 48990.3 | 43102.85 | 47362.4 | 42066.25 | 42066.25 | 45234.45 | 41312.53 | 45699.83 | 41303.4 | 40812.48
Participant-Funded ICTRs Awarded | NA | 1557 | 40 | NA | 1070 | 639 | 72 | NA | NA | NA | 1376 | 65.7 | NA | NA | 155
FRR Load Requirement (% Obligation):
Minimum Internal Resource Requirement | NA | 100% | 82.7% | 50.6% | 29.9% | NA | NA | NA | 45.1% | NA | 81.4% | 30.8% | NA | NA | 33.9%
LDA CETO/CETL Data; Zonal Peak Loads, Base Zonal FRR Scaling Factors, and FRR load.
LDA/Zone | CETO | CETL | CETL to CETO Ratio % | 2020 Zonal W/N Coincident Peak Loads | Preliminary Zonal Peak Load Forecast | Base Zonal FRR Scaling Factor | FRR Portion of the Preliminary Peak Load Forecast | Preliminary Zonal Peak Load Forecast less FRR load | LDA/Zone
RTO | NA | NA | NA | 147074 | 150229 | NA | 28535.4663 | 121693.5337 | RTO
AE | 1220 | >1403.0 | >115% | 2400 | 2406 | 1.0025 | 0 | 2406 | AE
AEP | -660 | * | * | 21291.9 | 22101 | 1.038 | 10930.4553 | 11170.5447 | AEP
APS | 890 | >1024.0 | >115% | 8620 | 8641 | 1.0024 | 0 | 8641 | APS
ATSI | 4610 | 9119 | 197.8% | 11490 | 12022 | 1.0463 | 0 | 12022 | ATSI
ATSI-CLEVELAND | 3310 | 5229 | 158% | NA | 4159.6 | NA | 0 | NA | ATSI-CLEVELAND
BGE | 4780 | 5683 | 118.9% | 6330 | 6411 | 1.0128 | 0 | 6411 | BGE
COMED | -2130 | 6839 | * | 18490 | 19323 | 1.0451 | 0 | 19323 | COMED
DAYTON | 2230 | 3941 | 176.7% | 3120 | 3319 | 1.0638 | 0 | 3319 | DAYTON
DEOK | 2710 | 5465 | 201.7% | 4950 | 5275 | 1.0657 | 827.532 | 4447.468 | DEOK
DLCO | 1320 | >1518.0 | >115% | 2560 | 2662 | 1.0398 | 0 | 2662 | DLCO
DOM | -2770 | * | * | 19734.1 | 19648 | 0.99564 | 16777.479 | 2870.521 | DOM
DPL | 1090 | >1254.0 | >115% | 3770 | 3731 | 0.98966 | 0 | 3731 | DPL
DPL SOUTH | 1480 | 2053 | 138.7% | NA | 2328.1 | NA | 0 | 2328.1 | DPL SOUTH
EKPC | 1290 | >1483.5 | >115% | 2308 | 2344 | 1.0156 | 0 | 2344 | EKPC
JCPL | 3160 | >3634.0 | >115% | 5870 | 5639 | 0.96065 | 0 | 5639 | JCPL
METED | 1040 | >1196.0 | >115% | 2920 | 2989 | 1.0236 | 0 | 2989 | METED
OVEC | NA | NA | NA | 55 | 55 | 1 | 0 | 55 | OVEC
PECO | 2380 | >2737.0 | >115% | 7880 | 8152 | 1.0345 | 0 | 8152 | PECO
PENLC | -240 | * | * | 2840 | 2822 | 0.99366 | 0 | 2822 | PENLC
PEPCO | 2380 | 6781 | 284.9% | 5640 | 5642 | 1.0004 | 0 | 5642 | PEPCO
PL (incl. UGI) | -500 | 4850 | * | 6990 | 7241 | 1.0359 | 0 | 7241 | PL (incl. UGI)
PS | 5740 | 8626 | 150.3% | 9410 | 9431 | 1.0022 | 0 | 9431 | PS
PS NORTH | 2680 | 4360 | 162.7% | NA | 4904.1 | NA | 0 | 4904.1 | PS NORTH
RECO | NA | NA | NA | 405 | 375 | 0.92593 | 0 | 375 | RECO
EMAAC | 2800 | 9173 | 327.6% | NA | 29734 | NA | 0 |  | EMAAC
SWMAAC | 4120 | 8310 | 201.7% | NA | 12053 | NA | 0 |  | SWMAAC
Western MAAC | -10080 | * | * | NA | 13052 | NA | 0 |  | Western MAAC
MAAC | -7440 | 4375 | * | NA | 54839 | NA | 0 |  | MAAC
Western PJM | -4800 | * | * | NA | 75742 | NA | 11757.9873 |  | Western PJM
* LDA has adequate internal resources to meet the reliability criterion.
Limiting conditions at the CETL for modeled LDAs:
LDA | Violation |  | Limiting Facility
MAAC | Thermal |  | High Ridge - Sandy Spring 230 kV ckt 2314 for the loss of High Ridge - Sandy Spring - Burtonsville 230 kV ckt 2334 Elmont - Ladysmith 500 kV for the loss of Modlothian - North Anna 500 kV
EMAAC | Voltage |  | Voltage collapse for the loss of Keeney - Rock Springs 500 kV
SWMAAC | Voltage |  | Voltage drop at various 230kV and 500kV buses near the contingency for the loss of Burches Hill-Possum Point 500kV circuit
PS | Thermal |  | Cedar Grove - Clifton 'B' 230 kV for the loss of Cedar Grove - Clifton 'K' 230 kV Brunswick - Meadow Road 230 kV ckt Z2331 for the loss of Metuchen -Pierson Ave - Meadow Rd- Deans 230 kV ckt s2219
PSNORTH | Thermal |  | Roseland - Williams Pipeline 230 kV for the loss of Cedar Grove to Roseland 230 kV circuit Stanley Terrace - MC Carter 230 kV for the loss of West Orange - MC Carter 230 kV circuit High Ridge - Sandy Spring 230 kV ckt 2314 for the loss of High Ridge - Sandy Spring - Burtonsville 230 kV ckt 2334 Brandon Shores - Hawkins Point #2344 230kV line for the loss of Sollers Point - Riverside - N. East #2345 230kV line
DPLSOUTH | Thermal |  | Cedar Creek - Silver Run 230kV line for the loss of Cartanza - Milford 230kV line Mt Pleasant - Middle Point 138 kV for the loss of Cartanza - Milford 230kV line Keeney - Rock Springs 500 kV for the loss of Peach Bottom - Limerick 500 kV
PEPCO | Voltage |  | Voltage drop at Sandy Springs 230kV bus for the loss of Burches Hill-Possum Point 500kV circuit
ATSI | Thermal |  | Overload of Wylie Ridge-Toronto 345 kV for the loss of Wylie Ridge 345/138 kV transformers 1 and 2
ATSI-CLEVELAND | Thermal |  | Overload of Inland Q-11-Clinic Health 138 kV for the loss of the Inland #4 345/138 kV transformer
COMED | Thermal |  | Olive - University Park 345 kV for loss of Dumont - Wilton Center 765 kV
BGE | Voltage |  | Voltage drop at Pumphrey 115 kV bus for the loss of Conastone-Brighton 500kV line (5011)
PL | Thermal |  | Wescosville 500/138 kV transformer pre-contingency High Ridge - Sandy Spring 230 kV ckt 2314 for the loss of High Ridge - Sandy Spring - Burtonsville 230 kV ckt 2334 Brandon Shores - Hawkins Point #2344 230kV line for the loss of Sollers Point - Riverside - N. East #2345 230kV line
DAYTON | Thermal |  | Shelby - Sidney 138 kV for the loss of the Miami - West Milton -Miami Fort 345 kV Gosney Hill - Still Run 138 kV for the loss of Kammer - S. Canton 765 kV circuit and S. Canton 765/345 kV transformer
DEOK | Thermal |  | Pierce - Foster 345 kV for the loss of Miami Fort - Tanner's Creek 345 kV circuit Pierce 345/138 kV transformer #18 for the loss of the Pierce - Foster 345 kV circuit
Original 2/8/2021: Reliability Requirement not adjusted for FRR load.
Revision 4/22/2021: Reliability Requirement adjusted for FRR load.
Revision 5/17/2021: VRR Curve updated to reflect adjustments for total quantity of EE Resources for which PJM accepted an EE M&V Plan submitted for the auction.

## Net CONE
RPM CONE and E&AS Values for 2022/2023 Base Residual Auction
ICAP to UCAP Conversion Factor:
UCAP Price = ICAP Price / (1 - Pool-Wide Average EFORd)
Pool-Wide Average EFORd for 2022/2023 BRA | [6 empty] | 5.08%
CONE Area 1: AE, DPL, JCPL, PECO, PS, RECO
CONE Area 2: BGE, PEPCO
CONE Area 3: AEP, APS, ATSI, ComEd, Dayton, DEOK, Dominion, Duquesne (DLCo), EKPC, OVEC
CONE Area 4: MetEd, Penelec, PPL
Zone/LDA | 2022/2023 BRA CONE: Levelized Revenue Requirement, $/MW-Year * | Escalation | 2022/2023 BRA CONE: Levelized Revenue Requirement, $/MW-Year | Gross CONE, $/MW-Day, UCAP Price | Forward Net Energy Revenue Offset, $/MW-Year | Ancillary Services Offset, $/MW-Year per Tariff | Net E&AS Revenue Offset, $/MW-Year | Net CONE, $/MW-Day, ICAP Price | Net CONE, $/MW-Day, UCAP Price | LDA Modeled with VRR Curve
CONE Area 1 | 108000 | 1 | 108000 | 311.73
AE |  |  |  | 311.73 | 13969 | 2199 | 16168 | 251.5945 | 265.06
DPL |  |  |  | 311.73 | 23974 | 2199 | 26173 | 224.1836 | 236.18 | DPL SOUTH
JCPL |  |  |  | 311.73 | 13445 | 2199 | 15644 | 253.0301 | 266.57
PE |  |  |  | 311.73 | 16439 | 2199 | 18638 | 244.8274 | 257.93
PSEG |  |  |  | 311.73 | 12798 | 2199 | 14997 | 254.8027 | 268.44 | PS, PSEG NORTH
RECO |  |  |  | 311.73 | 15046 | 2199 | 17245 | 248.6438 | 261.95
EMAAC |  |  |  | 311.73 |  |  |  | 246.18 | 259.36 | EMAAC
CONE Area 2 | 109700 | 1 | 109700 | 316.63
BGE |  |  |  | 316.63 | 29074 | 2199 | 31273 | 214.8685 | 226.37 | BGE
PEPCO |  |  |  | 316.63 | 17587 | 2199 | 19786 | 246.3397 | 259.52 | PEPCO
SWMAAC |  |  |  | 316.63 |  |  |  | 230.61 | 242.95 | SWMAAC
CONE Area 4 | 105500 | 1 | 105500 | 304.51
METED |  |  |  | 304.51 | 20848 | 2199 | 23047 | 225.8986 | 237.99
PENELEC |  |  |  | 304.51 | 45824 | 2199 | 48023 | 157.4712 | 165.9
PPL |  |  |  | 304.51 | 16545 | 2199 | 18744 | 237.6877 | 250.41 | PPL
MAAC |  |  |  | 310.65 |  |  |  | 232.67 | 245.12 | MAAC
CONE Area 3 | 105500 | 1 | 105500 | 304.51
AEP |  |  |  | 304.51 | 24640 | 2199 | 26839 | 215.5096 | 227.04
APS |  |  |  | 304.51 | 33056 | 2199 | 35255 | 192.4521 | 202.75
ATSI |  |  |  | 304.51 | 23443 | 2199 | 25642 | 218.789 | 230.5 | ATSI, ATSI CLEVELAND
COMED |  |  |  | 304.51 | 17427 | 2199 | 19626 | 235.2712 | 247.86 | COMED
DAYTON |  |  |  | 304.51 | 24891 | 2199 | 27090 | 214.8219 | 226.32 | DAYTON
DEOK |  |  |  | 304.51 | 25824 | 2199 | 28023 | 212.2658 | 223.63 | DEOK
DLCO |  |  |  | 304.51 | 25576 | 2199 | 27775 | 212.9452 | 224.34
DOM |  |  |  | 304.51 | 16655 | 2199 | 18854 | 237.3863 | 250.09
EKPC |  |  |  | 304.51 | 24124 | 2199 | 26323 | 216.9233 | 228.53
OVEC |  |  |  | 304.51 | 28528 | 2199 | 30727 | 204.8575 | 215.82
RTO | 107175 |  | 107175 | 309.34 | 14725 | 2199 | 16924 | 247.263 | 260.5 | RTO
* The 2022/2023 BRA CONE values are based on PJM’s Quadrennial Review filing (Docket No. ER19-105) which was FERC approved on April 15, 2019.

## Key Transmission Upgrades
New Key Transmission Upgrades included for 2022/2023 model
Upgrade ID | Description | Transmission Owner
b2777 | Reconductor the entire Dequine - Eugene 345 kV circuit #1 | AEP
b2833 | Reconductor the Maddox Creek - East Lima 345 kV circuit with 2-954 ACSS Cardinal conductor | AEP
b2943 | Perform a LIDAR study on the Clifty Creek - Dearborn 345 kV line to increase the Summer Emergency rating above 1023MVA). | OVEC
b2969 | Replace terminal equipment on Maddox Creek - East Lima 345kV circuit | AEP
b2992.1 | Reconductor the Conastone to Graceton 230 kV 2323 & 2324 circuits. Replace 7 disconnect switches at Conastone Substation | BGE
b2992.2 | Add Bundle conductor on the Graceton-Bagley-Raphael Road 2305 & 2313 230kV circuits | BGE
b2992.4 | Reconductor the Raphael Road - Northeast 2315 & 2337 230kV circuits | BGE
b3006 | Replace four Yukon 500/138 kV transformers with three transformers with higher rating and reconfigure 500 kV bus | APS
b3026 | Re-conductor 230 kV Line #274 (Pleasant View – Ashburn – Beaumeade) with a minimum rating of 1200 MVA. Also upgrade terminal equipment. | Dominion
b2836 | Convert the N-1340 and T-1372/D-1330 (Brunswick – Trenton) 138 kV circuits to 230 kV circuits | PSEG
b2837 | Convert the F-1358/Z1326 and K1363/Y-1325 (Trenton - Burlington) 138 kV circuits to 230 kV circuits | PSEG
b2933 | Third Source for Springfield Rd. and Stanley Terrace Stations | PSEG
b2933.1 | Construct a 230/69 kV station at Springfield. | PSEG
b2933.2 | Construct a 230/69 kV station at Stanley Terrace | PSEG
b2933.3 | Construct a 69 kV network between Front Street, Springfield and Stanley Terrace | PSEG
b2996 | New Flint Run 500-138 kV substation | APS
b2996.1 | Construct a new 500-138 kV substation as a 4-breaker ring bus with expansion plans for double-breaker-double-bus on the 500 kV bus and breaker-and-a-half on the 138 kV bus to provide EHV source to the Marcellus shale load growth area. Projected load growth of additional 160 MVA to current plan of 280 MVA, for a total load of 440 MVA served from Waldo Run substation. Construct additional 3-breaker string at Waldo Run 138 kV bus. Relocate the Sherwood #2 line terminal to the new string. Construct two single circuit Flint Run - Waldo Run 138 kV lines using 795 ACSR (approximately 3 miles). After terminal relocation on new 3-breaker string at Waldo Run, terminate new Flint Run 138 kV lines onto the two open terminals. | APS
b2996.2 | Loop the Belmont-Harrison 500 kV line into and out of the new Flint Run 500 kV substation (less than 1 mile). Replace primary relaying and carrier sets on Belmont and Harrison 500 kV Remote End Substations. | APS
b3027.1 | Add a 2nd 500/230 kV 840 MVA transformer at Dominion’s Ladysmith Substation | Dominion
n5144 | Re-conductor a portion of the Kendall – Lockport ‘B’ 345 kV line along with sag mitigation on a separate portion. | ComEd
n5564 | Reconductor Roseland-Cedar Grove 230 kV Line with 1590 ACSS | PSEG
n5565 | Reconductor the Williams-Cedar Grove 230 kV Line with 1590 ACSS | PSEG
n5915 | Reconductor the Elwood - Goodings Grove 'B' 345 kV line, upgrade the station conductor at both line terminals, and upgrade the line circuit breaker at Goodings Grove. | ComEd
n5916 | Reconductor the Elwood - Goodings Grove 'R' 345 kV line, upgrade the station conductor at both line terminals, and upgrade the line circuit breaker at Goodings Grove. | ComEd
n5918 | Upgrade station conductor on the Kendall - Lockport 'B' 345 kV line. | ComEd
s0838 | Install a new Waterfront 138/13kV Sub. 223 and build four new 138kV circuits from Buzzard Point to supply the station | PEPCO
s0839 | Install Mt. Vernon 230/13kV Sub and 230kV High-Side-Bus at Takoma Sub. 27. Extend four new 230kV U.G. circuits from the new Takoma HSB to the Mt. Vernon substation on two separate rights-of-way. | PEPCO
s0840 | Install New Harvard 230/13kV Sub and supply the station by tapping two of the extened circuits to serve Mt. Vernon | PEPCO
Key Transmission Upgrades included for 2021/2022 model but not included for 2022/2023 model
Upgrade ID | Description | Transmission Owner
None