## Sheet1
ZONE | Delivery Year | Season | WN Peak (MW)
AE | 2014 | SUMMER | 2768
AE | 2015 | SUMMER | 2734
AE | 2016 | SUMMER | 2684
AE | 2017 | SUMMER | 2633
AE | 2018 | SUMMER | 2639
AE | 2019 | SUMMER | 2640
AE | 2020 | SUMMER | 2606
AE | 2021 | SUMMER | 2613
AE | 2022 | SUMMER | 2602
AE | 2023 | SUMMER | 2601
AEP | 2014 | SUMMER | 22622
AEP | 2015 | SUMMER | 22538
AEP | 2016 | SUMMER | 22421
AEP | 2017 | SUMMER | 22367
AEP | 2018 | SUMMER | 22352
AEP | 2019 | SUMMER | 22270
AEP | 2020 | SUMMER | 21803
AEP | 2021 | SUMMER | 22412
AEP | 2022 | SUMMER | 22358
AEP | 2023 | SUMMER | 22332
APS | 2014 | SUMMER | 8773
APS | 2015 | SUMMER | 8688
APS | 2016 | SUMMER | 8621
APS | 2017 | SUMMER | 8621
APS | 2018 | SUMMER | 8725
APS | 2019 | SUMMER | 8650
APS | 2020 | SUMMER | 8664
APS | 2021 | SUMMER | 8817
APS | 2022 | SUMMER | 8799
APS | 2023 | SUMMER | 8742
ATSI | 2014 | SUMMER | 13122
ATSI | 2015 | SUMMER | 12898
ATSI | 2016 | SUMMER | 12716
ATSI | 2017 | SUMMER | 12695
ATSI | 2018 | SUMMER | 12570
ATSI | 2019 | SUMMER | 12532
ATSI | 2020 | SUMMER | 12342
ATSI | 2021 | SUMMER | 12687
ATSI | 2022 | SUMMER | 12520
ATSI | 2023 | SUMMER | 12508
BGE | 2014 | SUMMER | 6902
BGE | 2015 | SUMMER | 6870
BGE | 2016 | SUMMER | 6785
BGE | 2017 | SUMMER | 6748
BGE | 2018 | SUMMER | 6716
BGE | 2019 | SUMMER | 6691
BGE | 2020 | SUMMER | 6616
BGE | 2021 | SUMMER | 6645
BGE | 2022 | SUMMER | 6590
BGE | 2023 | SUMMER | 6502
CENTRAL MID-ATLANTIC | 2014 | SUMMER | 23230
CENTRAL MID-ATLANTIC | 2015 | SUMMER | 23223
CENTRAL MID-ATLANTIC | 2016 | SUMMER | 22842
CENTRAL MID-ATLANTIC | 2017 | SUMMER | 23088
CENTRAL MID-ATLANTIC | 2018 | SUMMER | 23066
CENTRAL MID-ATLANTIC | 2019 | SUMMER | 23106
CENTRAL MID-ATLANTIC | 2020 | SUMMER | 22644
CENTRAL MID-ATLANTIC | 2021 | SUMMER | 22900
CENTRAL MID-ATLANTIC | 2022 | SUMMER | 22790
CENTRAL MID-ATLANTIC | 2023 | SUMMER | 22633
COMED | 2014 | SUMMER | 21366
COMED | 2015 | SUMMER | 21471
COMED | 2016 | SUMMER | 21978
COMED | 2017 | SUMMER | 21654
COMED | 2018 | SUMMER | 21668
COMED | 2019 | SUMMER | 21632
COMED | 2020 | SUMMER | 20679
COMED | 2021 | SUMMER | 20942
COMED | 2022 | SUMMER | 20892
COMED | 2023 | SUMMER | 20639
DAYTON | 2014 | SUMMER | 3361
DAYTON | 2015 | SUMMER | 3363
DAYTON | 2016 | SUMMER | 3397
DAYTON | 2017 | SUMMER | 3412
DAYTON | 2018 | SUMMER | 3465
DAYTON | 2019 | SUMMER | 3370
DAYTON | 2020 | SUMMER | 3299
DAYTON | 2021 | SUMMER | 3378
DAYTON | 2022 | SUMMER | 3356
DAYTON | 2023 | SUMMER | 3312
DEOK | 2014 | SUMMER | 5246
DEOK | 2015 | SUMMER | 5244
DEOK | 2016 | SUMMER | 5282
DEOK | 2017 | SUMMER | 5227
DEOK | 2018 | SUMMER | 5227
DEOK | 2019 | SUMMER | 5264
DEOK | 2020 | SUMMER | 5234
DEOK | 2021 | SUMMER | 5316
DEOK | 2022 | SUMMER | 5362
DEOK | 2023 | SUMMER | 5360
DLCO | 2014 | SUMMER | 2898
DLCO | 2015 | SUMMER | 2822
DLCO | 2016 | SUMMER | 2752
DLCO | 2017 | SUMMER | 2776
DLCO | 2018 | SUMMER | 2780
DLCO | 2019 | SUMMER | 2777
DLCO | 2020 | SUMMER | 2703
DLCO | 2021 | SUMMER | 2715
DLCO | 2022 | SUMMER | 2718
DLCO | 2023 | SUMMER | 2713
DOM | 2014 | SUMMER | 19377
DOM | 2015 | SUMMER | 19429
DOM | 2016 | SUMMER | 19353
DOM | 2017 | SUMMER | 19376
DOM | 2018 | SUMMER | 19532
DOM | 2019 | SUMMER | 19770
DOM | 2020 | SUMMER | 19778
DOM | 2021 | SUMMER | 20678
DOM | 2022 | SUMMER | 21239
DOM | 2023 | SUMMER | 21804
DPL | 2014 | SUMMER | 4123
DPL | 2015 | SUMMER | 4121
DPL | 2016 | SUMMER | 4063
DPL | 2017 | SUMMER | 4024
DPL | 2018 | SUMMER | 4002
DPL | 2019 | SUMMER | 4001
DPL | 2020 | SUMMER | 4076
DPL | 2021 | SUMMER | 3987
DPL | 2022 | SUMMER | 3986
DPL | 2023 | SUMMER | 3964
EASTERN MID-ATLANTIC | 2014 | SUMMER | 31755
EASTERN MID-ATLANTIC | 2015 | SUMMER | 31759
EASTERN MID-ATLANTIC | 2016 | SUMMER | 31641
EASTERN MID-ATLANTIC | 2017 | SUMMER | 31347
EASTERN MID-ATLANTIC | 2018 | SUMMER | 31491
EASTERN MID-ATLANTIC | 2019 | SUMMER | 31617
EASTERN MID-ATLANTIC | 2020 | SUMMER | 31276
EASTERN MID-ATLANTIC | 2021 | SUMMER | 31328
EASTERN MID-ATLANTIC | 2022 | SUMMER | 31351
EASTERN MID-ATLANTIC | 2023 | SUMMER | 31192
EKPC | 2014 | SUMMER | 2028
EKPC | 2015 | SUMMER | 2018
EKPC | 2016 | SUMMER | 2022
EKPC | 2017 | SUMMER | 2035
EKPC | 2018 | SUMMER | 2038
EKPC | 2019 | SUMMER | 2065
EKPC | 2020 | SUMMER | 2050
EKPC | 2021 | SUMMER | 2091
EKPC | 2022 | SUMMER | 2095
EKPC | 2023 | SUMMER | 2084
GPU | 2014 | SUMMER | 11806
GPU | 2015 | SUMMER | 11816
GPU | 2016 | SUMMER | 11856
GPU | 2017 | SUMMER | 11809
GPU | 2018 | SUMMER | 11796
GPU | 2019 | SUMMER | 11882
GPU | 2020 | SUMMER | 11757
GPU | 2021 | SUMMER | 11854
GPU | 2022 | SUMMER | 11804
GPU | 2023 | SUMMER | 11723
JCPL | 2014 | SUMMER | 6230
JCPL | 2015 | SUMMER | 6212
JCPL | 2016 | SUMMER | 6223
JCPL | 2017 | SUMMER | 6176
JCPL | 2018 | SUMMER | 6190
JCPL | 2019 | SUMMER | 6199
JCPL | 2020 | SUMMER | 6097
JCPL | 2021 | SUMMER | 6133
JCPL | 2022 | SUMMER | 6120
JCPL | 2023 | SUMMER | 6067
METED | 2014 | SUMMER | 2889
METED | 2015 | SUMMER | 2909
METED | 2016 | SUMMER | 2936
METED | 2017 | SUMMER | 2974
METED | 2018 | SUMMER | 2980
METED | 2019 | SUMMER | 3039
METED | 2020 | SUMMER | 3031
METED | 2021 | SUMMER | 3065
METED | 2022 | SUMMER | 3040
METED | 2023 | SUMMER | 3026
OVEC | 2014 | SUMMER | 90
OVEC | 2015 | SUMMER | 90
OVEC | 2016 | SUMMER | 90
OVEC | 2017 | SUMMER | 90
OVEC | 2018 | SUMMER | 90
OVEC | 2019 | SUMMER | 90
OVEC | 2020 | SUMMER | 90
OVEC | 2021 | SUMMER | 90
OVEC | 2022 | SUMMER | 90
OVEC | 2023 | SUMMER | 90
PECO | 2014 | SUMMER | 8661
PECO | 2015 | SUMMER | 8666
PECO | 2016 | SUMMER | 8652
PECO | 2017 | SUMMER | 8608
PECO | 2018 | SUMMER | 8695
PECO | 2019 | SUMMER | 8729
PECO | 2020 | SUMMER | 8588
PECO | 2021 | SUMMER | 8630
PECO | 2022 | SUMMER | 8628
PECO | 2023 | SUMMER | 8593
PENLC | 2014 | SUMMER | 2900
PENLC | 2015 | SUMMER | 2891
PENLC | 2016 | SUMMER | 2904
PENLC | 2017 | SUMMER | 2892
PENLC | 2018 | SUMMER | 2894
PENLC | 2019 | SUMMER | 2891
PENLC | 2020 | SUMMER | 2854
PENLC | 2021 | SUMMER | 2899
PENLC | 2022 | SUMMER | 2886
PENLC | 2023 | SUMMER | 2876
PEPCO | 2014 | SUMMER | 6258
PEPCO | 2015 | SUMMER | 6262
PEPCO | 2016 | SUMMER | 6263
PEPCO | 2017 | SUMMER | 6227
PEPCO | 2018 | SUMMER | 6215
PEPCO | 2019 | SUMMER | 6218
PEPCO | 2020 | SUMMER | 5999
PEPCO | 2021 | SUMMER | 6062
PEPCO | 2022 | SUMMER | 6069
PEPCO | 2023 | SUMMER | 6035
PJM MID-ATLANTIC | 2014 | SUMMER | 57379
PJM MID-ATLANTIC | 2015 | SUMMER | 57323
PJM MID-ATLANTIC | 2016 | SUMMER | 56709
PJM MID-ATLANTIC | 2017 | SUMMER | 56713
PJM MID-ATLANTIC | 2018 | SUMMER | 56688
PJM MID-ATLANTIC | 2019 | SUMMER | 56922
PJM MID-ATLANTIC | 2020 | SUMMER | 56010
PJM MID-ATLANTIC | 2021 | SUMMER | 56530
PJM MID-ATLANTIC | 2022 | SUMMER | 56338
PJM MID-ATLANTIC | 2023 | SUMMER | 55976
PJM RTO | 2014 | SUMMER | 150051
PJM RTO | 2015 | SUMMER | 149806
PJM RTO | 2016 | SUMMER | 149213
PJM RTO | 2017 | SUMMER | 148948
PJM RTO | 2018 | SUMMER | 149360
PJM RTO | 2019 | SUMMER | 149259
PJM RTO | 2020 | SUMMER | 147060
PJM RTO | 2021 | SUMMER | 149780
PJM RTO | 2022 | SUMMER | 150123
PJM RTO | 2023 | SUMMER | 149884
PJM WESTERN | 2014 | SUMMER | 77783
PJM WESTERN | 2015 | SUMMER | 77375
PJM WESTERN | 2016 | SUMMER | 77406
PJM WESTERN | 2017 | SUMMER | 77131
PJM WESTERN | 2018 | SUMMER | 77195
PJM WESTERN | 2019 | SUMMER | 76862
PJM WESTERN | 2020 | SUMMER | 74991
PJM WESTERN | 2021 | SUMMER | 76804
PJM WESTERN | 2022 | SUMMER | 76606
PJM WESTERN | 2023 | SUMMER | 76115
PL | 2014 | SUMMER | 7140
PL | 2015 | SUMMER | 7144
PL | 2016 | SUMMER | 6842
PL | 2017 | SUMMER | 7130
PL | 2018 | SUMMER | 7129
PL | 2019 | SUMMER | 7151
PL | 2020 | SUMMER | 7088
PL | 2021 | SUMMER | 7171
PL | 2022 | SUMMER | 7125
PL | 2023 | SUMMER | 7129
PLGRP | 2014 | SUMMER | 7339
PLGRP | 2015 | SUMMER | 7341
PLGRP | 2016 | SUMMER | 7039
PLGRP | 2017 | SUMMER | 7328
PLGRP | 2018 | SUMMER | 7327
PLGRP | 2019 | SUMMER | 7354
PLGRP | 2020 | SUMMER | 7289
PLGRP | 2021 | SUMMER | 7369
PLGRP | 2022 | SUMMER | 7321
PLGRP | 2023 | SUMMER | 7330
PS | 2014 | SUMMER | 10045
PS | 2015 | SUMMER | 10024
PS | 2016 | SUMMER | 10033
PS | 2017 | SUMMER | 9961
PS | 2018 | SUMMER | 10017
PS | 2019 | SUMMER | 10079
PS | 2020 | SUMMER | 9937
PS | 2021 | SUMMER | 10055
PS | 2022 | SUMMER | 10096
PS | 2023 | SUMMER | 10069
RECO | 2014 | SUMMER | 420
RECO | 2015 | SUMMER | 420
RECO | 2016 | SUMMER | 417
RECO | 2017 | SUMMER | 415
RECO | 2018 | SUMMER | 416
RECO | 2019 | SUMMER | 418
RECO | 2020 | SUMMER | 414
RECO | 2021 | SUMMER | 415
RECO | 2022 | SUMMER | 415
RECO | 2023 | SUMMER | 412
SOUTHERN MID-ATLANTIC | 2014 | SUMMER | 13114
SOUTHERN MID-ATLANTIC | 2015 | SUMMER | 13091
SOUTHERN MID-ATLANTIC | 2016 | SUMMER | 12994
SOUTHERN MID-ATLANTIC | 2017 | SUMMER | 12906
SOUTHERN MID-ATLANTIC | 2018 | SUMMER | 12854
SOUTHERN MID-ATLANTIC | 2019 | SUMMER | 12837
SOUTHERN MID-ATLANTIC | 2020 | SUMMER | 12491
SOUTHERN MID-ATLANTIC | 2021 | SUMMER | 12634
SOUTHERN MID-ATLANTIC | 2022 | SUMMER | 12593
SOUTHERN MID-ATLANTIC | 2023 | SUMMER | 12459
UGI | 2014 | SUMMER | 199
UGI | 2015 | SUMMER | 199
UGI | 2016 | SUMMER | 200
UGI | 2017 | SUMMER | 199
UGI | 2018 | SUMMER | 200
UGI | 2019 | SUMMER | 199
UGI | 2020 | SUMMER | 201
UGI | 2021 | SUMMER | 200
UGI | 2022 | SUMMER | 200
UGI | 2023 | SUMMER | 198
WESTERN MID-ATLANTIC | 2014 | SUMMER | 13025
WESTERN MID-ATLANTIC | 2015 | SUMMER | 13036
WESTERN MID-ATLANTIC | 2016 | SUMMER | 12781
WESTERN MID-ATLANTIC | 2017 | SUMMER | 13084
WESTERN MID-ATLANTIC | 2018 | SUMMER | 13114
WESTERN MID-ATLANTIC | 2019 | SUMMER | 13146
WESTERN MID-ATLANTIC | 2020 | SUMMER | 13061
WESTERN MID-ATLANTIC | 2021 | SUMMER | 13215
WESTERN MID-ATLANTIC | 2022 | SUMMER | 13134
WESTERN MID-ATLANTIC | 2023 | SUMMER | 13076
AE | 2014/15 | WINTER | 1630
AE | 2015/16 | WINTER | 1635
AE | 2016/17 | WINTER | 1597
AE | 2017/18 | WINTER | 1603
AE | 2018/19 | WINTER | 1607
AE | 2019/20 | WINTER | 1624
AE | 2020/21 | WINTER | 1607
AE | 2021/22 | WINTER | 1632
AE | 2022/23 | WINTER | 1616
AEP | 2014/15 | WINTER | 22608
AEP | 2015/16 | WINTER | 22462
AEP | 2016/17 | WINTER | 22419
AEP | 2017/18 | WINTER | 22467
AEP | 2018/19 | WINTER | 22291
AEP | 2019/20 | WINTER | 22257
AEP | 2020/21 | WINTER | 22055
AEP | 2021/22 | WINTER | 22435
AEP | 2022/23 | WINTER | 22423
APS | 2014/15 | WINTER | 8762
APS | 2015/16 | WINTER | 8766
APS | 2016/17 | WINTER | 8810
APS | 2017/18 | WINTER | 8944
APS | 2018/19 | WINTER | 8741
APS | 2019/20 | WINTER | 8962
APS | 2020/21 | WINTER | 8943
APS | 2021/22 | WINTER | 9238
APS | 2022/23 | WINTER | 9176
ATSI | 2014/15 | WINTER | 10878
ATSI | 2015/16 | WINTER | 10586
ATSI | 2016/17 | WINTER | 10637
ATSI | 2017/18 | WINTER | 10589
ATSI | 2018/19 | WINTER | 10280
ATSI | 2019/20 | WINTER | 10541
ATSI | 2020/21 | WINTER | 10206
ATSI | 2021/22 | WINTER | 10385
ATSI | 2022/23 | WINTER | 10411
BGE | 2014/15 | WINTER | 5907
BGE | 2015/16 | WINTER | 5878
BGE | 2016/17 | WINTER | 5847
BGE | 2017/18 | WINTER | 5844
BGE | 2018/19 | WINTER | 5839
BGE | 2019/20 | WINTER | 5844
BGE | 2020/21 | WINTER | 5843
BGE | 2021/22 | WINTER | 5856
BGE | 2022/23 | WINTER | 5820
CENTRAL MID-ATLANTIC | 2014/15 | WINTER | 21528
CENTRAL MID-ATLANTIC | 2015/16 | WINTER | 21215
CENTRAL MID-ATLANTIC | 2016/17 | WINTER | 21427
CENTRAL MID-ATLANTIC | 2017/18 | WINTER | 21385
CENTRAL MID-ATLANTIC | 2018/19 | WINTER | 21244
CENTRAL MID-ATLANTIC | 2019/20 | WINTER | 21275
CENTRAL MID-ATLANTIC | 2020/21 | WINTER | 21169
CENTRAL MID-ATLANTIC | 2021/22 | WINTER | 21405
CENTRAL MID-ATLANTIC | 2022/23 | WINTER | 21333
COMED | 2014/15 | WINTER | 15159
COMED | 2015/16 | WINTER | 15572
COMED | 2016/17 | WINTER | 15343
COMED | 2017/18 | WINTER | 15453
COMED | 2018/19 | WINTER | 15353
COMED | 2019/20 | WINTER | 14991
COMED | 2020/21 | WINTER | 14749
COMED | 2021/22 | WINTER | 14871
COMED | 2022/23 | WINTER | 14787
DAYTON | 2014/15 | WINTER | 2995
DAYTON | 2015/16 | WINTER | 3001
DAYTON | 2016/17 | WINTER | 2992
DAYTON | 2017/18 | WINTER | 3013
DAYTON | 2018/19 | WINTER | 2946
DAYTON | 2019/20 | WINTER | 2967
DAYTON | 2020/21 | WINTER | 2949
DAYTON | 2021/22 | WINTER | 3027
DAYTON | 2022/23 | WINTER | 2943
DEOK | 2014/15 | WINTER | 4527
DEOK | 2015/16 | WINTER | 4538
DEOK | 2016/17 | WINTER | 4590
DEOK | 2017/18 | WINTER | 4549
DEOK | 2018/19 | WINTER | 4535
DEOK | 2019/20 | WINTER | 4543
DEOK | 2020/21 | WINTER | 4456
DEOK | 2021/22 | WINTER | 4513
DEOK | 2022/23 | WINTER | 4636
DLCO | 2014/15 | WINTER | 2185
DLCO | 2015/16 | WINTER | 2103
DLCO | 2016/17 | WINTER | 2066
DLCO | 2017/18 | WINTER | 2075
DLCO | 2018/19 | WINTER | 2044
DLCO | 2019/20 | WINTER | 2060
DLCO | 2020/21 | WINTER | 1969
DLCO | 2021/22 | WINTER | 2007
DLCO | 2022/23 | WINTER | 2013
DOM | 2014/15 | WINTER | 18853
DOM | 2015/16 | WINTER | 18988
DOM | 2016/17 | WINTER | 19077
DOM | 2017/18 | WINTER | 19344
DOM | 2018/19 | WINTER | 19631
DOM | 2019/20 | WINTER | 19870
DOM | 2020/21 | WINTER | 20522
DOM | 2021/22 | WINTER | 21188
DOM | 2022/23 | WINTER | 21791
DPL | 2014/15 | WINTER | 3651
DPL | 2015/16 | WINTER | 3635
DPL | 2016/17 | WINTER | 3618
DPL | 2017/18 | WINTER | 3613
DPL | 2018/19 | WINTER | 3624
DPL | 2019/20 | WINTER | 3651
DPL | 2020/21 | WINTER | 3674
DPL | 2021/22 | WINTER | 3714
DPL | 2022/23 | WINTER | 3700
EASTERN MID-ATLANTIC | 2014/15 | WINTER | 22524
EASTERN MID-ATLANTIC | 2015/16 | WINTER | 22652
EASTERN MID-ATLANTIC | 2016/17 | WINTER | 22250
EASTERN MID-ATLANTIC | 2017/18 | WINTER | 22239
EASTERN MID-ATLANTIC | 2018/19 | WINTER | 22338
EASTERN MID-ATLANTIC | 2019/20 | WINTER | 22285
EASTERN MID-ATLANTIC | 2020/21 | WINTER | 22119
EASTERN MID-ATLANTIC | 2021/22 | WINTER | 22416
EASTERN MID-ATLANTIC | 2022/23 | WINTER | 22401
EKPC | 2014/15 | WINTER | 2606
EKPC | 2015/16 | WINTER | 2615
EKPC | 2016/17 | WINTER | 2628
EKPC | 2017/18 | WINTER | 2647
EKPC | 2018/19 | WINTER | 2665
EKPC | 2019/20 | WINTER | 2699
EKPC | 2020/21 | WINTER | 2683
EKPC | 2021/22 | WINTER | 2770
EKPC | 2022/23 | WINTER | 2745
GPU | 2014/15 | WINTER | 9219
GPU | 2015/16 | WINTER | 9290
GPU | 2016/17 | WINTER | 9180
GPU | 2017/18 | WINTER | 9160
GPU | 2018/19 | WINTER | 9209
GPU | 2019/20 | WINTER | 9268
GPU | 2020/21 | WINTER | 9162
GPU | 2021/22 | WINTER | 9300
GPU | 2022/23 | WINTER | 9286
JCPL | 2014/15 | WINTER | 3781
JCPL | 2015/16 | WINTER | 3782
JCPL | 2016/17 | WINTER | 3711
JCPL | 2017/18 | WINTER | 3712
JCPL | 2018/19 | WINTER | 3761
JCPL | 2019/20 | WINTER | 3745
JCPL | 2020/21 | WINTER | 3725
JCPL | 2021/22 | WINTER | 3815
JCPL | 2022/23 | WINTER | 3788
METED | 2014/15 | WINTER | 2681
METED | 2015/16 | WINTER | 2683
METED | 2016/17 | WINTER | 2658
METED | 2017/18 | WINTER | 2668
METED | 2018/19 | WINTER | 2676
METED | 2019/20 | WINTER | 2734
METED | 2020/21 | WINTER | 2674
METED | 2021/22 | WINTER | 2749
METED | 2022/23 | WINTER | 2745
OVEC | 2014/15 | WINTER | 95
OVEC | 2015/16 | WINTER | 95
OVEC | 2016/17 | WINTER | 95
OVEC | 2017/18 | WINTER | 95
OVEC | 2018/19 | WINTER | 95
OVEC | 2019/20 | WINTER | 95
OVEC | 2020/21 | WINTER | 95
OVEC | 2021/22 | WINTER | 95
OVEC | 2022/23 | WINTER | 95
PECO | 2014/15 | WINTER | 6788
PECO | 2015/16 | WINTER | 6833
PECO | 2016/17 | WINTER | 6761
PECO | 2017/18 | WINTER | 6711
PECO | 2018/19 | WINTER | 6722
PECO | 2019/20 | WINTER | 6565
PECO | 2020/21 | WINTER | 6556
PECO | 2021/22 | WINTER | 6564
PECO | 2022/23 | WINTER | 6577
PENLC | 2014/15 | WINTER | 2872
PENLC | 2015/16 | WINTER | 2922
PENLC | 2016/17 | WINTER | 2898
PENLC | 2017/18 | WINTER | 2880
PENLC | 2018/19 | WINTER | 2869
PENLC | 2019/20 | WINTER | 2872
PENLC | 2020/21 | WINTER | 2838
PENLC | 2021/22 | WINTER | 2840
PENLC | 2022/23 | WINTER | 2831
PEPCO | 2014/15 | WINTER | 5438
PEPCO | 2015/16 | WINTER | 5478
PEPCO | 2016/17 | WINTER | 5464
PEPCO | 2017/18 | WINTER | 5457
PEPCO | 2018/19 | WINTER | 5428
PEPCO | 2019/20 | WINTER | 5348
PEPCO | 2020/21 | WINTER | 5244
PEPCO | 2021/22 | WINTER | 5328
PEPCO | 2022/23 | WINTER | 5327
PJM MID-ATLANTIC | 2014/15 | WINTER | 46593
PJM MID-ATLANTIC | 2015/16 | WINTER | 46587
PJM MID-ATLANTIC | 2016/17 | WINTER | 46273
PJM MID-ATLANTIC | 2017/18 | WINTER | 46201
PJM MID-ATLANTIC | 2018/19 | WINTER | 46161
PJM MID-ATLANTIC | 2019/20 | WINTER | 46202
PJM MID-ATLANTIC | 2020/21 | WINTER | 45756
PJM MID-ATLANTIC | 2021/22 | WINTER | 46380
PJM MID-ATLANTIC | 2022/23 | WINTER | 46300
PJM RTO | 2014/15 | WINTER | 130759
PJM RTO | 2015/16 | WINTER | 131217
PJM RTO | 2016/17 | WINTER | 130755
PJM RTO | 2017/18 | WINTER | 131191
PJM RTO | 2018/19 | WINTER | 130605
PJM RTO | 2019/20 | WINTER | 131223
PJM RTO | 2020/21 | WINTER | 130059
PJM RTO | 2021/22 | WINTER | 132636
PJM RTO | 2022/23 | WINTER | 133059
PJM WESTERN | 2014/15 | WINTER | 67859
PJM WESTERN | 2015/16 | WINTER | 67887
PJM WESTERN | 2016/17 | WINTER | 67549
PJM WESTERN | 2017/18 | WINTER | 67856
PJM WESTERN | 2018/19 | WINTER | 67265
PJM WESTERN | 2019/20 | WINTER | 67245
PJM WESTERN | 2020/21 | WINTER | 66292
PJM WESTERN | 2021/22 | WINTER | 67487
PJM WESTERN | 2022/23 | WINTER | 67192
PL | 2014/15 | WINTER | 7415
PL | 2015/16 | WINTER | 7144
PL | 2016/17 | WINTER | 7358
PL | 2017/18 | WINTER | 7318
PL | 2018/19 | WINTER | 7316
PL | 2019/20 | WINTER | 7379
PL | 2020/21 | WINTER | 7321
PL | 2021/22 | WINTER | 7409
PL | 2022/23 | WINTER | 7366
PLGRP | 2014/15 | WINTER | 7616
PLGRP | 2015/16 | WINTER | 7344
PLGRP | 2016/17 | WINTER | 7559
PLGRP | 2017/18 | WINTER | 7521
PLGRP | 2018/19 | WINTER | 7518
PLGRP | 2019/20 | WINTER | 7582
PLGRP | 2020/21 | WINTER | 7521
PLGRP | 2021/22 | WINTER | 7610
PLGRP | 2022/23 | WINTER | 7557
PS | 2014/15 | WINTER | 6723
PS | 2015/16 | WINTER | 6733
PS | 2016/17 | WINTER | 6620
PS | 2017/18 | WINTER | 6660
PS | 2018/19 | WINTER | 6684
PS | 2019/20 | WINTER | 6702
PS | 2020/21 | WINTER | 6596
PS | 2021/22 | WINTER | 6779
PS | 2022/23 | WINTER | 6783
RECO | 2014/15 | WINTER | 223
RECO | 2015/16 | WINTER | 223
RECO | 2016/17 | WINTER | 221
RECO | 2017/18 | WINTER | 221
RECO | 2018/19 | WINTER | 222
RECO | 2019/20 | WINTER | 223
RECO | 2020/21 | WINTER | 216
RECO | 2021/22 | WINTER | 223
RECO | 2022/23 | WINTER | 224
SOUTHERN MID-ATLANTIC | 2014/15 | WINTER | 11345
SOUTHERN MID-ATLANTIC | 2015/16 | WINTER | 11371
SOUTHERN MID-ATLANTIC | 2016/17 | WINTER | 11327
SOUTHERN MID-ATLANTIC | 2017/18 | WINTER | 11305
SOUTHERN MID-ATLANTIC | 2018/19 | WINTER | 11253
SOUTHERN MID-ATLANTIC | 2019/20 | WINTER | 11157
SOUTHERN MID-ATLANTIC | 2020/21 | WINTER | 11116
SOUTHERN MID-ATLANTIC | 2021/22 | WINTER | 11189
SOUTHERN MID-ATLANTIC | 2022/23 | WINTER | 11173
UGI | 2014/15 | WINTER | 205
UGI | 2015/16 | WINTER | 205
UGI | 2016/17 | WINTER | 205
UGI | 2017/18 | WINTER | 205
UGI | 2018/19 | WINTER | 203
UGI | 2019/20 | WINTER | 204
UGI | 2020/21 | WINTER | 205
UGI | 2021/22 | WINTER | 204
UGI | 2022/23 | WINTER | 202
WESTERN MID-ATLANTIC | 2014/15 | WINTER | 13143
WESTERN MID-ATLANTIC | 2015/16 | WINTER | 12859
WESTERN MID-ATLANTIC | 2016/17 | WINTER | 13069
WESTERN MID-ATLANTIC | 2017/18 | WINTER | 13009
WESTERN MID-ATLANTIC | 2018/19 | WINTER | 12991
WESTERN MID-ATLANTIC | 2019/20 | WINTER | 13119
WESTERN MID-ATLANTIC | 2020/21 | WINTER | 12957
WESTERN MID-ATLANTIC | 2021/22 | WINTER | 13130
WESTERN MID-ATLANTIC | 2022/23 | WINTER | 13075