## DEOK Zone UCAP Obligations
DEOK Zone |  | DOCS 601781v3
FRR Daily UCAP Obligations
Delivery Years: 2011-2012, 2012-2013, 2013-2014
Delivery Years: | Final 1/1/2012-5/31/2012 | Preliminary 2012-2013 | Preliminary 2013-2014
Installed Reserve Margin (IRM) | 15.5% | 15.5% | 15.3%
Pool-Wide Average EFORd | 6.21% | 6.26% | 6.25%
Forecast Pool Requirement (FPR) | 1.0833 | 1.0827 | 1.0809
Demand Resource (DR) Factor | 0.955 | 0.954 | 0.956
Zonal Peak Load Forecast * | 5389.7 | 5559.3 | 5726.8
2010 Zonal Weather Normalized Peak Load ** | 5267 | 5267 | 5267
Zonal FRR Scaling Factor | 1.0233 | 1.0555 | 1.0873
Obligation Peak Load for which resources were already procured under RPM in 2011/2012 and 2012/2013. | 50.5 | 50.5 | 0
Adjusted Obligation Peak Load for DEOK FRR Load | 5216.5 | 5216.5 | 5267
FRR Daily UCAP Obligation | 5782.6809 | 5961.3434 | 6190.108
Notes:
Planned Integration date is 1/1/2012, 2011-2012 obligation is from 1/1/2012-5/31/2012
* Zonal Forecast Peak Load is based 2011 Load Report adjusted for Non-Zone Load.
** 2010 Zonal Weather Normalized Load is adjusted for Non-Zone Load.