## ITCLLC
PJM Interconnection, L.L.C
Last Updated on 06/12/2023
PJM Transmission Providers FACILITIES LIST
The following list includes, but is not limited to, facilities of the regional transmission owners that are
included in PJM's EMS model. FERC Form-1 or equivalent facilities are so noted under the column
headed PJM OAT Tariff Facility. This list will be updated when transmission facilities managed by PJM
are added to, or deleted from, the electrical network.
0
Equipment Code:
1 - Transmission Line
2 - Transformer or Phase Shifter
3 - Shunt Capacitor or Reactor
4 - Series Reactor or Capacitor
5 - SVC Device
6 - Other Substation Equipment-Busses, Bus Sections, or Breakers
7 - Tie-line
8 - Generator Step Up (GSU) transformer
(List by Station and Voltage Level or Device Name)
9 - Flow CB
10 - Equipment
Mark column K as
Yes = Reportable and Call in
|  | ITCLLC | [7 empty] | Low = Reportable, status available will not call in unless unusual circumstances
No = No call and no status
(A) | (B) | (C) | (D) | (E) | (F) | (G) | (H) | (I) | (J) | (K) | (L) | (M) | (N)
PJM
[8 empty] | OAT | Included | Reportable | PJM | BES | Effective
|  |  |  | PJM EMS MODEL FACILITY NAME |  |  |  | Tariff | in EMS | Transmission | Monitored | Flag | Date
Equip | [7 empty] | Facility | Model | Facility | Facility
Code | ID | Facility Information by Transmission Provider | B1_NAME | B2_NAME | B3_NAME | B3_TEXT | Voltage | (Y/L/N) | (Y/N) | (Y/L/N) | STATUS |  | (Eastern Standard Time)
1 |  | COVERT -PALISAD2 COV-PAL | COVERT | 345 KV | COV-PAL | COVERT -PALISAD2 COV-PAL | 345 | Yes | Yes | Yes | Reliability & Markets | True | 06/08/2023
7 |  | Covert - Segreto 345 KV | COVERT | 345 KV | COV-SEG | COVERT-SEGRETO TIE LINE | 345 | Yes | Yes | Yes | Reliability & Markets | True | 12/12/2018
7 |  | Palisade - Segreto (AEP) 345KV | PALISAD2 | 345 KV | PAL-SEG2 | PALISAD2-SEGRETO PAL-SEG2 | 345 | Yes | Yes | Yes | Reliability & Markets | True | 12/12/2018
8 |  | COVERT TB1 | COVERT | 345 KV | TB1 | COVERT TB1 XFORMER | 345 | No | Yes | No | GSU | True | 04/30/2020
8 |  | COVERT TB2 | COVERT | 345 KV | TB2 | COVERT TB2 XFORMER | 345 | No | Yes | No | GSU | True | 04/30/2020
8 |  | COVERT TB3 | COVERT | 345 KV | TB3 | COVERT TB3 XFORMER | 345 | No | Yes | No | GSU | True | 12/20/2019
10 |  | COVERT 345KV BUS | COVERT | 345 KV | TARIFF | DUMMY TARIFF FACILITY | 345 | Yes | Yes | Yes | Reliability & Markets | True | 01/29/2021