## may2000
| Percentage of correct off-cost operations projections MAY 2000: |  |  |  |  | 96.4% (27/28 3 days - no forecast given on OASIS)
Off-Cost Operations - Projection History May 2000
Date | Projected | Occurred |  | Facility | Contingency |  | Duration
2000-05-01 | Yes | Yes | Mt Olive - Piney Grove 6729 69kV |  | Oak Hall AT-1 138/69kV xfmr |  | 0712-thru 0029
2000-05-02 | Yes | Yes | Mt Olive - Piney Grove 6729 69kV |  | Oak Hall-Piney Grove 13764+Oak Hall AT-1 xfmr |  | 0646-1750
|  |  | Erie West #1 345/115kV xfmr |  | Erie South - Erie West 345kV |  | 0733-1046; 1956-2218
2000-05-03 | Yes | Yes | Oak Hall - Tasley 6778 69kV |  | Stability |  | 704-1358; 1502-2010
2000-05-04 | Yes | Yes | Brunswick - Edison H1360 |  | Sewaren 220-1 230/138kV xfmr |  | 1054-1345; 1717-2207
2000-05-05 | Yes | Yes | Brunswick - Edison H1360 |  | Sewaren 220-1 230/138kV xfmr |  | 0900-1015
2000-05-06 | No | No
2000-05-07 | No | Yes | England - Scull 1408 138kV |  | England-Scull-Mill-Lewis 1407 138kV |  | 1307-1942
|  |  | England - Scull 138kV |  | England-Scull-Mill-Lewis + Mill 138/69kV xfmr |  | 2038-2233
2000-05-08 | Yes | Yes | England - Scull 1408 138kV |  | England-Scull-Mill-Lewis 1407 138kV |  | 1044-1600
2000-05-09 | N/A | Yes | England - Scull 1408 138kV |  | England-Scull-Mill-Lewis 1407 138kV |  | 0753-1400
|  |  | Eastern Transfers |  | Reactive |  | 1206-2005
|  |  | Western Transfers |  | Reactive |  | 1622-1944
2000-05-10 | Yes | Yes | Middletown Jct - TMI 1091 230kV |  | Middletown Jct - TMI 1092 230kV |  | 0840-1718
|  |  | DPL South |  | Reactive |  | 1427-2108
|  |  | Doubs - Dickerson 23101 230kV |  | Doubs - Dickerson 23102 230kV |  | 1642-1731
2000-05-11 | Yes | Yes | Oak Hall - Pokomoke 6787 69kV |  | Mt Olive - Piney Grove 6729 69kV |  | 0900-thru
|  |  | Mt Olive - Piney Grove 6729 69kV |  | Kings Creek - Loretto 6703 69kV |  | 1056-thru
|  |  | Goudey - Tiffany 115kV |  | East Towanda - Hillside 230kV |  | 1159-1416
2000-05-12 | Yes | Yes | Oak Hall - Pokomoke 6787 69kV |  | Mt Olive - Piney Grove 6729 69kV |  | thru-0646
|  |  | Mt Olive - Piney Grove 6729 69kV |  | Kings Creek - Loretto 6703 69kV |  | thru-0100; 0646-1817
|  |  | Brunner Island - West Hempfield 2305 |  | Conastone - Peach Bottom 5012 500kV |  | 1735-2244
|  |  | N Seaford - Pine Street 6752 69kV |  | Vienna AT20 230/138kV xfmr |  | 1857-thru 0226
2000-05-13 | Yes | Yes | Easton - Trappe Tap 6716 69kV |  | Vienna AT20 230/138kV xfmr |  | 1042-thru 0029
|  |  | Brunner Island - West Hempfield 2305 |  | Conastone - Peach Bottom 5012 500kV |  | 1332-1840
2000-05-14 | No | No
2000-05-15 | N/A | Yes | Cedar Grove - Roseland F2206 230kV |  | Branchburg - Ramapo 5018 500kV |  | 1510-1810
|  |  | Easton - Trappe Tap 6716 69kV |  | Indian River - Milford 23069 230kV |  | 2050-2245
2000-05-16 | Yes | Yes | Mt Hermon - N Salisbury 6726 69kV |  | Vienna - Loretto 13780 138kV |  | 0706-thru 0107
|  |  | N Seaford - Pine Street 6752 69kV |  | Indian River - Nelson 13703 138kV |  | 1228-2140
|  |  | Cedar Grove - Roseland F2206 230kV |  | Branchburg - Ramapo 5018 |  | 1309-1815
2000-05-17 | Yes | Yes | Kings Creek - Loretto 6703 69kV |  | reactive surrogate |  | 0107-1023
|  |  | Easton - Trappe Tap 6716 69kV |  | Indian River AT-20 230/138kV xfmr |  | 0630-1023
|  |  | DPL South |  | reactive |  | 1023-thru 0158
|  |  | Cedar Grove - Roseland F2206 230kV |  | Branchburg - Ramapo 5018 500kV |  | 1135-1441
|  |  | Indian River - N Seaford 13766 138kV |  | Indian River - Milford 23069 230kV |  | 1354-2130
2000-05-18 | Yes | Yes | Kings Creek - Loretto 6703 69kV |  | reactive surrogate |  | 0158-thru 0314
|  |  | IB Corners - Church 6710 69kV |  | Steele - Easton 13712 138kV |  | 0651-1430
|  |  | Indian River - N Seaford 13766 138kV |  | Indian River - Milford 23069 230kV |  | 0934-2230
2000-05-19 | Yes | Yes | Easton - Trappe Tap 6716 69kV |  | Indian River AT-20 230/138kV xfmr |  | 0314-thru 0342
|  |  | Kings Creek - Loretto 6703 69kV |  | reactive surrogate |  | 0333-thru 0006
|  |  | Cheswold AT1 138/69kV xfmr |  | Steele AT-20 230/138kV xfmr |  | 0435-1025
2000-05-20 | Yes | Yes | Easton - Trappe Tap 6716 69kV |  | Ind Riv - Milford 23069 & Ind Riv AT-20 xfmr |  | 0520-thru 0001 Monday
|  |  | Mt Hermon - N Salisbury 6726 69kV |  | Vienna - Loretto 13780 138kV |  | 0730-thru 0217
2000-05-21 | Yes | Yes | Mt Hermon - N Salisbury 6726 69kV |  | Vienna - Loretto 13780 138kV |  | 0920-thru 0001
2000-05-22 | Yes | Yes | Easton - Trappe Tap 6716 69kV |  | Indian River AT-20 230/138kV xfmr |  | 0503-2215
2000-05-23 | Yes | Yes | Easton - Trappe Tap 6716 69kV |  | Indian River AT-20 230/138kV xfmr |  | 0505-1000
|  |  | Dupont-Seaford-Laurel 6736 69kV |  | Ind Riv - Milford 23069; IR AT-20; E Trap-Talbot |  | 0753-0920
|  |  | Dupont-Seaford-Laurel 6736 69kV |  | Ind Riv - Milford 23069 & Ind Riv AT-20 xfmr |  | 0920-thru 0130
2000-05-24 | Yes | Yes | Easton - Trappe Tap 6716 69kV |  | Indian River AT-20 230/138kV xfmr |  | 0320-1342
|  |  | Easton - Trappe Tap 6716 69kV |  | Indian River AT-20 230/138kV xfmr |  | 1449-thru 0352
|  |  | Mt Hermon - N Salisbury 6726 69kV |  | Piney Grove AT-1 138/69kV xfmr |  | 1736-thru 0200
|  |  | Seward #9 230/115kV xfmr |  | Johnstown #2 230/115kV xfmr |  | 1741-2220
2000-05-25 | N/A | Yes | Easton - Trappe Tap 6716 69kV |  | Indian River AT-20 230/138kV xfmr |  | 0618-0900
|  |  | Mt Olive - Piney Grove 6729 69kV |  | Costen - Pokomoke - Kings Creek 6714 69kV |  | 0626-0659
[5 empty] | Oak Hall - Piney Grove 13764 138kV |  | 0659-0711
[5 empty] | Kings Creek - Loretto 6703 69kV |  | 0711-2221
|  |  | Easton - Trappe Tap 6716 69kV |  | Indian River AT-20 230/138kV xfmr |  | 0956-thru May 30 2355
|  |  | Seward #9 230/115kV xfmr |  | Johnstown #2 230/115kV xfmr |  | 1031-1545
2000-05-26 | Yes | Yes | Easton - Trappe Tap 6716 69kV |  | Indian River AT-20 230/138kV xfmr |  | thru
2000-05-27 | Yes | Yes | Easton - Trappe Tap 6716 69kV |  | Indian River AT-20 230/138kV xfmr |  | thru
2000-05-28 | Yes | Yes | Easton - Trappe Tap 6716 69kV |  | Indian River AT-20 230/138kV xfmr |  | thru
2000-05-29 | Yes | Yes | Easton - Trappe Tap 6716 69kV |  | Indian River AT-20 230/138kV xfmr |  | thru
2000-05-30 | Yes | Yes | Easton - Trappe Tap 6716 69kV |  | Indian River AT-20 230/138kV xfmr |  | thru-2355
|  |  | Seward #9 230/115kV xfmr |  | Johnstown #2 230/115kV xfmr |  | 0915-1445
|  |  | Cedar Grove - Roseland F-2206 230kV |  | Roseland-Cedar Grove-Clifton-Athenia B-2228 |  | 1516-1723
|  |  | Hummelstown-Middl Jct 1002 230kV |  | Middletown Jct #1 230/115kV xfmr |  | 1623-2152
2000-05-31 | Yes | Yes | Easton - Trappe Tap 6716 69kV |  | Indian River AT-20 230/138kV xfmr |  | 0044-thru
|  |  | Eastern Transfers |  | Switch Peach Bottom-Keeney 5014 500kV line |  | 0814-0910
|  |  | Edgemoor - Harmony 23012 230kV |  | Red Lion - Hope Creek 500kV line |  | 1025-1508
|  |  | Hummelstown-Middl Jct 1002 230kV |  | Middletown Jct #1 230/115kV xfmr |  | 1149-1900
Formulas:
Date = +[Date, row above]+1