## Sheet1
| Percentage of correct off-cost operations projections July 2000: |  |  |  |  | 96.4% (27/28 3 days - no forecast given on OASIS)
Off-Cost Operations - Projection History July 2000
Date | Projected | Occurred |  | Facility | Contingency |  | Duration
2000-07-01 | Yes | Yes | Church - I.B. Corners 6710 69kV |  | Church-Steele 13701 + Steele AT-20 230/138kV xfmr |  | 0835-1520
|  |  | Oak Hall - Hallwood 6790 69kV |  | Oak Hall - Tasley 6778 69kV (reactive) |  | 1005-thru 0015
|  |  | Centreville-Wyemills 6710 69kV |  | Church - Steele 13701 138kV |  | 1520-2359
|  |  | Lewis - Motts 69kV |  | Sands Point - Cedar 0777 69kV |  | 1638-2143
2000-07-02 | N/A | Yes | Centreville-Wyemills 6710 69kV |  | Church-Steele 13701 + Steele AT-20 230/138kV xfmr |  | 0954-1809
|  |  | Cedar Interface |  | Voltage |  | 1125-2223
|  |  | Oak Hall - Hallwood 6790 69kV |  | Oak Hall - Tasley 6778 69kV (reactive) |  | 1313-thru 1321 (Wed)
|  |  | Glasgow - Mt Pleasant 13808 138kV |  | Steele AT-20 230/138kV xfmr |  | 1856-2211
2000-07-03 | Yes | Yes | Centreville-Wyemills 6710 69kV |  | Church - Steele 13701 138kV (reactive) |  | 1007-2157
|  |  | Cedar - Motts 0702 69kV |  | Oyster Creek - Sands Point 230kV |  | 1015-2250
|  |  | Deans 500-2 500/230kV xfmr |  | Deans - Smithburg 5020 500kV |  | 1155-1452
|  |  | Kings Creek - Loretto 6703 69kV |  | Oak Hall - Piney Grove 13764 138kV (reactive) |  | 1247-2240
|  |  | Indian River AT-20 230/138kV xfmr |  | Indian River - Piney Grove 23002 230kV |  | 1332-1415
|  |  | Dorothy - Lewis 1404 138kV |  | Cardiff - New Freedom 2310 230kV |  | 1639-2127
|  |  | Church AT-2 138/69kV xfmr |  | Easton - Steele 13712 138kV |  | 1708-1819
2000-07-04 | Yes | Yes | Cedar - Motts 0702 69kV |  | Sands Point - Cedar 0777 69kV |  | 1105-thru 0120
|  |  | Blairsville East - Social Hall 115kV |  | Keystone - Shelocta - Homer City 230kV |  | 1308-1620
|  |  | Keystone #4 500/230kV xfmr |  | Keystone #3 500/230kV xfmr |  | 2242-thru 0027
2000-07-05 | Yes | Yes | Vienna - Vienna Local 6702 69kV |  | Church - Steele 13701 138kV |  | 1018-1235
|  |  | Brandon Shores - Waugh Chapel 2343 |  | Brandon Shores - Waugh Chapel 2342 230kV |  | 1030-1449
|  |  | Cedar Interface |  | Voltage |  | 1223-2246
|  |  | Piney Grove - Loretto 13777 138kV |  | Mt Olive - Piney Grove 6729 69kV |  | 1321-1648
|  |  | Kings Creek - Loretto 6703 69kV |  | Mt Olive - Piney Grove 6729 69kV (reactive) |  | 1648-thru 0046
|  |  | Edison - Brunswick H-1360 138kV |  | Sewaren 220-1 230/138kV transformer |  | 1842-2206
2000-07-06 | Yes | Yes | Oak Hall - Hallwood 6790 69kV |  | Oak Hall - Tasley 6778 69kV (reactive) |  | 0046-1003
|  |  | Kings Creek - Loretto 6703 69kV |  | Mt Olive - Piney Grove 6729 69kV (reactive) |  | 1003-thru 0025
|  |  | Edison - Brunswick H-1360 138kV |  | Sewaren 220-1 230/138kV transformer |  | 1513-2127
2000-07-07 | Yes | Yes | Oak Hall - Hallwood 6790 69kV |  | Oak Hall - Tasley 6778 69kV (reactive) |  | 0025-0235
|  |  | Cedar Grove - Clifton K-2263 230kV |  | Cedar Grove - Roseland B-2228 230kV |  | 0947-1335
|  |  | Oak Hall - Hallwood 6790 69kV |  | Oak Hall - Tasley 6778 69kV (reactive) |  | 1147-2152
2000-07-08 | No | No
2000-07-09 | N/A | Yes | Oak Hall - Tasley 6778 69kV |  | Oak Hall - Hallwood 6790 69kV (reactive) |  | 2029-2208
2000-07-10 | Yes | Yes | Oak Hall - Tasley 6778 69kV |  | Oak Hall - Hallwood 6790 69kV (reactive) |  | 0821-1000; 1018-thru 0040
|  |  | Eastern Transfers |  | Reactive |  | 1110-2053
|  |  | Hunterstown #2 230/115kV xfmr |  | Actual |  | 1238-2030
|  |  | Gardners - Hunterstown 115kV |  | Actual |  | 1345-1814
|  |  | Greystone - Portland 230kV |  | Kittatinny - Portland 230kV |  | 1540-1751
|  |  | Whitpain #3 500/230kV xfmr |  | Actual |  | 1555-1927
|  |  | Cedar Reactive |  | Motts Voltage |  | 1745-2055
|  |  | Edison - Meadow Road R-1318 138kV |  | Sewaren 220-1 230/138kV transformer |  | 1937-2127
|  |  | Indian River AT-20 230/138kV xfmr |  | Indian River-Piney Grove + Piney Grove AT-20 xfmr |  | 1958-2100
2000-07-11 | Yes | Yes | Oak Hall - Tasley 6778 69kV |  | Oak Hall - Hallwood 6790 69kV (reactive) |  | 0820-2400
|  |  | Edison - Brunswick H-1360 138kV |  | Sewaren 220-1 230/138kV transformer |  | 1016-2105
2000-07-12 | Yes | Yes | Oak Hall - Pocomoke 6787 69kV |  | New Church - Piney Grove 13764 138kV |  | 0557-1355
|  |  | Kenney - Stockton 6712 69kV |  | New Church - Piney Grove 13764 138kV |  | 0859-1108
|  |  | Kings Creek - Loretto 6703 69kV |  | New Church - Piney Grove 13764 138kV |  | 1116-2302
|  |  | Edison - Brunswick H-1360 138kV |  | Sewaren 220-1 230/138kV transformer |  | 1411-2108
2000-07-13 | Yes | Yes | Church - New Meredith 6704 69kV |  | Keeney - Steele 230kV |  | 0522-1300
|  |  | Keeney AT-20 230/138kV xfmr |  | Harmony AT-20 230/138kV xfmr |  | 0626-1757
|  |  | Edison - Brunswick H-1360 138kV |  | Sewaren 220-1 230/138kV transformer |  | 1128-2117
|  |  | Oak Hall - Tasley 6778 69kV |  | Oak Hall - Hallwood 6790 69kV (reactive) |  | 1901-2349
|  |  | Keystone/Conemaugh Station |  | Stability |  | 2248-thru 1234
2000-07-14 | Yes | Yes | Oak Hall - Tasley 6778 69kV |  | Oak Hall - Hallwood 6790 69kV (reactive) |  | 1307-2332
|  |  | Brunner Island-West Hempfield 230kV |  | Conastone - Peach Bottom 5012 500kV |  | 1326-1644
|  |  | Conastone 500-2 500/230kV xfmr |  | Brighton - Constone 5011 500kV |  | 1359-1938
|  |  | Dauphin - Juniata 230kV |  | Cumberland - Juniata 230kV + Cumberland #2 xfmr |  | 1635-1803
2000-07-15 | Yes | Yes | Eastern Transfers |  | Reactive (SMD) |  | 1530-2107
|  |  | Dauphin - Juniata 230kV |  | Cumberland - Juniata 230kV + Cumberland #2 xfmr |  | 1825-2105
2000-07-16 | Yes | Yes | Brunner Island-West Hempfield 230kV |  | South Manheim - South Akron 230kV |  | 1310-1530
|  |  | Cedar - Motts 0702 69kV |  | Oyster Creek - Sands Point 230kV |  | 1743-2111
2000-07-17 | Yes | Yes | Edison - Brunswick H-1360 138kV |  | Sewaren 220-1 230/138kV transformer |  | 1033-2136
|  |  | Oak Hall - Tasley 6778 69kV |  | Oak Hall - Hallwood 6790 69kV (reactive) |  | 1153-2356
|  |  | Cedar - Motts 0702 69kV |  | Oyster Creek - Sands Point 230kV |  | 1637-1946
2000-07-18 | N/A | Yes | Oak Hall - Tasley 6778 69kV |  | Oak Hall - Hallwood 6790 69kV (reactive) |  | 1025-2256
|  |  | Cedar Reactive |  | Sands Point - Cedar 0777 69kV |  | 1045-2232
|  |  | Piney Grove - Loretto 13777 138kV |  | Oak Hall - Piney Grove 13764 138kV (reactive) |  | 1256-2232
|  |  | Sicklerville 230/69kV #1 xfmr |  | New Freedom-Silver Lake 230kV + Silver Lake xfmr |  | 1530-2023
|  |  | Plymouth Mtg-Whitpain 230-13 230kV |  | Plymouth Mtg-Whitpain 230-15 230kV |  | 1823-2113
2000-07-19 | Yes | Yes | Oak Hall - Tasley 6778 69kV |  | Oak Hall - Hallwood 6790 69kV (reactive) |  | 0650-2213
|  |  | Piney Grove - Loretto 13777 138kV |  | Oak Hall - Piney Grove 13764 138kV (reactive) |  | 1214-1904
2000-07-20 | Yes | Yes | Oak Hall - Tasley 6778 69kV |  | Oak Hall - Hallwood 6790 69kV (reactive) |  | 1617-2227
2000-07-21 | Yes | Yes | Oak Hall - Tasley 6778 69kV |  | Oak Hall - Hallwood 6790 69kV (reactive) |  | 1417-2350
2000-07-22 | No | Yes | Eastern Transfers |  | Reactive |  | 1131-1257
|  |  | Cedar - Motts 0702 69kV |  | Oyster Creek - Sands Point 230kV |  | 1746-2154
2000-07-23 | Yes | Yes | Keeney AT-51 500/230kV xfmr |  | Keeney AT-50 500/230kV xfmr |  | 1400-1855
|  |  | Eastern Transfers |  | Reactive |  | 1544-2124
2000-07-24 | Yes | Yes | Talbot - Trappe Tap 6716 69kV |  | Indian River-Milford 23069 & Vienna-Steele 23085 |  | 1200-1230
|  |  | Edison - Brunswick H-1360 138kV |  | Sewaren 220-1 230/138kV transformer |  | 1215-1310
|  |  | Talbot - Trappe Tap 6716 69kV |  | Indian River - Milford 23069 230kV |  | 1230-1440
|  |  | Edison - Meadow Road R-1318 138kV |  | Sewaren 220-1 230/138kV transformer |  | 1310-1745
|  |  | Church - New Meredith 6704 69kV |  | Cedar Creek - Red Lion 23030 230kV |  | 1440-1758
2000-07-25 | Yes | Yes | Eastern Transfers |  | Reactive |  | 0830-1729
|  |  | Cochranville - Newlinville 220-34 230kV |  | Keeney - Peach Bottom 5014 500kV |  | 1105-1200
|  |  | Edison - Brunswick H-1360 138kV |  | Deans - Pierson Avenue 230kV |  | 1617-1645
|  |  | Edison - Meadow Road R-1318 138kV |  | Edison - Meadow Road Q-1317 138kV |  | 1645-1805
2000-07-26 | Yes | Yes | Erie West 345/115kV xfmr |  | Erie South - Erie West 345kV |  | 0154-0509
|  |  | Red Lion 500kV Bus |  | Red Lion - Hope Creek 5015 500kV Reactive |  | 0657-0852
|  |  | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV |  | 0708-0952
|  |  | Edgemoor - Harmony 23012 230kV |  | Red Lion - Hope Creek 5015 500kV |  | 0930-1130
|  |  | Eastern Transfers |  | Reactive |  | 1130-1148
|  |  | Oak Hall - Hallwood 6790 69kV |  | Oak Hall - Tasley 6778 69kV (reactive) |  | 1340-2230
2000-07-27 | Yes | Yes | Oak Hall - Tasley 6778 69kV |  | Oak Hall - Wattsville 6717 69kV |  | 1358-2034
|  |  | Lewis - Motts 0701 69kV |  | Cedar - Sands Point 0777 69kV |  | 1701-2053
|  |  | Oak Hall - Tasley 6778 69kV |  | Oak Hall - Hallwood 6790 69kV (reactive) |  | 2034-thru 0004
2000-07-28 | Yes | Yes | Oak Hall - Tasley 6778 69kV |  | Oak Hall - Hallwood 6790 69kV (reactive) |  | 0949-thru 0005
|  |  | Crisfield - Kingston 6725 69kV |  | Kings Creek - Loretto 6703 69kV (reactive) |  | 1315-1849
2000-07-29 | Yes | Yes | Oak Hall - Tasley 6778 69kV |  | Oak Hall - Hallwood 6790 69kV (reactive) |  | 1404-2331
|  |  | Cedar Creek - Clayton 13832 138kV |  | Actual |  | 1445-2131
2000-07-30 | Yes | Yes | Lewis - Motts 0701 69kV |  | Cedar - Sands Point 0777 69kV |  | 1024-2218
|  |  | Oak Hall - Tasley 6778 69kV |  | Oak Hall - Hallwood 6790 69kV (reactive) |  | 1035-2305
|  |  | Plymouth Mtg-Whitpain 230-13 230kV |  | Plymouth Mtg-Whitpain 230-15 230kV |  | 1206-1805
2000-07-31 | Yes | Yes | Oak Hall - Tasley 6778 69kV |  | Oak Hall - Hallwood 6790 69kV (reactive) |  | 0752-thru 0158
|  |  | Edison - Meadow Road R-1318 138kV |  | Sewaren 220-1 230/138kV transformer |  | 0908-1117
|  |  | Cedar - Motts 0702 69kV |  | Oyster Creek - Sands Point 230kV |  | 0933-2242
|  |  | Indian River AT-20 230/138kV xfmr |  | Indian River - Milford 23069 230kV |  | 0938-1217;1444-thru 0300
|  |  | Crisfield - Kingston 6725 69kV |  | Kings Creek - Loretto 6703 69kV (reactive) |  | 1057-2216
|  |  | Eastern Transfers |  | Reactive |  | 1111-1217
|  |  | Plymouth Mtg-Whitpain 230-13 230kV |  | Plymouth Mtg-Whitpain 230-15 230kV |  | 1337-2145
|  |  | Gould Street - Westport 34kV |  | Gould Street - Riverside 34kV |  | 1502-1957
|  |  | Cumberland #2 230/69kV xfmr |  | Bridgeport - Mickleton 2315 230kV |  | 1516-1544
|  |  | Hunterstown #2 230/115kV xfmr |  | Actual |  | 1547-2154
|  |  | Cly - Collins 975 115kV |  | Hunterstown - Gardners 99192 115kV |  | 1700-2217
Formulas:
Date = +[Date, row above]+1