## June
Percentage of correct off-cost operations projections June 2001: |  |  |  |  | 92.3% (24/26 4 days - no forecast given on OASIS)
Off-Cost Operations - Projection History June 2001
Date | Projected | Occurred |  | Facility | Contingency | Duration
2001-06-01 | Yes | Yes | Shieldalloy-Vineland 0711 69kV |  | Chambers - Churchtown 2313 230kV | 1603-1654
2001-06-02 | N/A | Yes | Athenia - Saddlebrook Q2217 230kV |  | Actual | 1103-1145
|  |  | Athenia - Saddlebrook Q2217 230kV |  | Branchburg - Ramapo 5018 500kV | 1145-1320
|  |  | Greenwood - S Harrington 6738 69kV |  | Indian River - New Milford 23069 230kV | 1530-1735
2001-06-03 | N/A | No
2001-06-04 | Yes | Yes | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV | 0940-1228;1607-1743
|  |  | Edison - Meadow Road R1318 138kV |  | Deans - Pierson Ave G2207 230kV | 2128-2232
|  |  | Brunswick - Edison H1360 138kV |  | Deans - Pierson Ave S2219 230kV | 2232-2239
2001-06-05 | Yes | No
2001-06-06 | Yes | Yes | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV | 1106-1139;1144-1358
|  |  | Cecil T3 230/138kV xfmr |  | Keeney 230/138kV AT20 | 1304-1606
2001-06-07 | Yes | Yes | Edison - Meadow Road R1318 138kV |  | Sewaren 220-1 + 132-8 xfmrs | 1425-1920
|  |  | Cedar - Motts 0702 69kV |  | Oyster Creek - Sands Point S2045 230kV | 1803-1931;2042-2209
2001-06-08 | Yes | Yes | Leonia - New Milford T2272 230kV |  | Athenia-Belleville Z2226+Belleville-Penhorn X2250 | 0712-0828
|  |  | Cedar - Motts 0702 69kV |  | Sands Pt xfmr + Oyster Creek-Sands Pt S2045 | 1013-1014
|  |  | Edison - Meadow Road R1318 138kV |  | Sewaren 220-1 + 132-8 xfmrs | 1019-1630
|  |  | Leonia - New Milford T2272 230kV |  | Actual | 1206-1432
|  |  | Jarret - Whitpain 220-52 230kV |  | Actual | 1630-2107
|  |  | Cromby #5 230/138kV xfmr |  | Cromby - Limerick 220-60 230kV | 1942-2059
2001-06-09 | Yes | Yes | Cromby #5 230/138kV xfmr |  | Cromby - Perkiomen 220-62 230kV | 0829-0925
|  |  | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV | 1210-1529
|  |  | Branchburg 500-2 500/230kV xfmr |  | Branchburg 1-2 500kV CB | 1529-1732
2001-06-10 | No | Yes | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV | 2043-2216
|  |  | Cromby #5 230/138kV xfmr |  | Cromby - Perkiomen 220-62 230kV | 2101-2141
2001-06-11 | Yes | Yes | Shieldalloy-Vineland 0711 69kV |  | Churchtown-Cumberland 230 kV + Cumb #2 xfmr | 0900-1300
|  |  | Clifton - Cedar Grove K2263 230kV |  | Cedar Grove - Roseland B2228 230kV | 0923-1238
|  |  | Sewaren 220-1 230/138kV xfmr |  | Brunswick - Deans 2204 230kV | 0944-1550
|  |  | Branchburg - East Flemington 230kV |  | Jarret - Whitpain 220-52 230kV | 1103-1648
|  |  | Jarret - Whitpain 220-52 230kV |  | Branchburg - East Flemington 230kV | 1111-1213
|  |  | Sewaren - Woodbridge V1322 138kV |  | Brunswick - Deans 2204 230kV | 1113-1637
|  |  | Hallwood - Oak Hall 6790 69kV |  | Oak Hall - Tasley 6778 69kV | 1146-2328
|  |  | Cumberland #2 230/138kV xfmr |  | Bridgeport - Mickleton 2315 230kV | 1151-2204
|  |  | Bergen - Leonia 138kV |  | Actual | 1319-1402
|  |  | Bergen - Leonia T2272 230kV |  | Actual | 1402-1720
|  |  | Cumberland - Juniata 2235 230kV |  | Dauphin - Juniata 1087 230kV | 1623-1809
|  |  | Leonia - New Milford T2272 230kV |  | Actual | 1938-2317
2001-06-12 | Yes | Yes | Laurel - Woodstown 0740 69kV |  | Carlls Corner - Sherman 0739 69kV | 0612-1111
|  |  | Cumberland #2 230/138kV xfmr |  | Bridgeport - Mickleton 2315 230kV | 0853-1111
|  |  | Hallwood - Oak Hall 6790 69kV |  | Oak Hall - Tasley 6778 69kV | 0904-2308
|  |  | Jarret - Whitpain 220-52 230kV |  | Actual | 0914-2200
|  |  | Cecil T3 230/138kV xfmr |  | Keeney 230/138kV AT20 | 0947-1136
|  |  | Branchburg 500-1 500/230kV xfmr |  | Branchburg 500-2 500/230kV xfmr | 0959-1049
|  |  | TMI #1 500/230kV xfmr |  | Hunterstown #1 500/230kV xfmr | 1033-2058
|  |  | Cumberland - Juniata 2235 230kV |  | Dauphin - Juniata 1087 230kV | 1104-1136
|  |  | Eastern Transfers |  | Reactive | 1241-1304
|  |  | Shieldalloy-Vineland 0711 69kV |  | Chambers - Churchtown 2313 230kV | 1242-2002
2001-06-13 | Yes | Yes | Jarret - Whitpain 220-52 230kV |  | Actual | 0815-2201
|  |  | Hallwood - Oak Hall 6790 69kV |  | Oak Hall - Tasley 6778 69kV | 0921-2323
|  |  | Keeney AT50 500/230kV xfmr |  | Keeney AT51 500/230kV xfmr | 0937-1007
|  |  | Cly - Collins 975 115kV |  | Gardners - Hunterstown 991 115kV | 1332-2153
|  |  | Hunterstown #1 230/138kV xfmr |  | Actual | 1102-2134
|  |  | Keeney AT50 500/230kV xfmr |  | Keeney AT51 500/230kV xfmr | 1144-2000
|  |  | Christiana - Edgemoor 13805 138kV |  | Red Lion AT50 500/230kV xfmr | 1507-1614
|  |  | Branchburg - East Flemington 230kV |  | Jarret - Whitpain 220-52 230kV | 1509-1918
2001-06-14 | Yes | Yes | Keeney AT50 500/230kV xfmr |  | Keeney AT51 500/230kV xfmr | 0045-0115
|  |  | Cromby #3 230/138kV xfmr |  | Cromby #4 230/138kV xfmr | 0146-0446
|  |  | Erie West #1 345/115kV xfmr |  | Erie South - Erie West 345kV | 0222-0501
|  |  | Hallwood - Oak Hall 6790 69kV |  | Oak Hall - Tasley 6778 69kV | 0851-thru 0136
|  |  | Cly - Collins 975 115kV |  | Gardners - Hunterstown 991 115kV | 1214-2031
|  |  | Greenwood - S Harrington 6738 69kV |  | North Seaford AT1 138/69kV xfmr | 1228-1813
|  |  | Christiana - Edgemoor 13805 138kV |  | Red Lion AT50 500/230kV xfmr | 1329-1827
|  |  | Hunterstown #2 230/138kV xfmr |  | Actual | 1401-2202
|  |  | Seward #9 230/115kV xfmr |  | Altoona-Raystown 230kV+Johnstown #2 xfmr CB | 1623-1624;1628-2124
|  |  | Jarret - Whitpain 220-52 230kV |  | Actual | 1421-1955
|  |  | Branchburg - Flagtown C2203 230kV |  | Smithburg 500-1 xfmr | 1504-1947
|  |  | Erie West #1 345/115kV xfmr |  | Erie South - Erie West 345kV | 2352-thru 0357
2001-06-15 | Yes | Yes | Erie West #1 345/115kV xfmr |  | Erie South - Erie West 345kV | 0522-0619
|  |  | Hallwood - Oak Hall 6790 69kV |  | Oak Hall - Tasley 6778 69kV | 0826-2000
|  |  | Edison - Meadow Road R1318 138kV |  | Sewaren 220-1 + 132-8 xfmrs | 0957-1156;2305-2359
|  |  | Jarret - Whitpain 220-52 230kV |  | Actual | 1323-1922
|  |  | Branchburg - Flagtown C2203 230kV |  | Smithburg 500-1 xfmr | 1450-1807
2001-06-16 | N/A | Yes | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV | 0115-0828
|  |  | Erie West #1 345/115kV xfmr |  | Erie South - Erie West 345kV | 0233-0419
|  |  | Eastern Transfers |  | Reactive | 0938-1346;2123-2136
|  |  | Jarret - Whitpain 220-52 230kV |  | Actual | 1221-1712
|  |  | Monroe #3 230kV xfmr |  | Chambers - Churchtown 2313 230kV | 1303-thru 0037
|  |  | Edison - Meadow Road R1318 138kV |  | Sewaren 220-1 + 132-8 xfmrs | 2033- thru 0138
|  |  | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV | 2115-thru 0503
2001-06-17 | Yes | Yes | Shieldalloy-Vineland 0711 69kV |  | Chambers - Churchtown 2313 230kV | 1906-2052
2001-06-18 | Yes | Yes | Erie West #1 345/115kV xfmr |  | Erie South - Erie West 345kV | 0111-0244
|  |  | Shieldalloy-Vineland 0711 69kV |  | Churchtown-Cumberland 230 kV + Cumb #2 xfmr | 0853-1321
|  |  | Clifton - Cedar Grove K2263 230kV |  | Cedar Grove - Roseland B2228 230kV | 0928-1057
|  |  | Monroe #3 230kV xfmr |  | Chambers - Churchtown 2313 230kV | 1133-2136
|  |  | Hallwood - Oak Hall 6790 69kV |  | Oak Hall - Tasley 6778 69kV | 1141-2307
|  |  | North Philadelphia - Wanetta 220-49 |  | Plymouth - Whitemarsh 220-41 230kV | 1326-2013
|  |  | Cumberland #2 230/138kV xfmr |  | Bridgeport - Mickleton 2315 230kV | 2136-2343
2001-06-19 | Yes | Yes | Erie West #1 345/115kV xfmr |  | Erie South - Erie West 345kV | 0406-0513
|  |  | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV | 0908-1050
|  |  | Edison - Meadow Road R1318 138kV |  | Sewaren 220-1 + 132-8 xfmrs | 0944-1036;1147-1247
|  |  | North Philadelphia - Wanetta 220-49 |  | Plymouth - Whitemarsh 220-41 230kV | 0953-1241
|  |  | Laurel - Woodstown 0740 69kV |  | Churchtown-Cumberland 230 kV + Cumb #2 xfmr | 0958-1229
|  |  | Branchburg - Flagtown C2203 230kV |  | Atlantic - Larrabee R1032 230kV | 1220-1241;1255-1933
|  |  | Hunterstown #2 230/138kV xfmr |  | Actual | 1311-2251
|  |  | North Philadelphia - Wanetta 220-49 |  | Plymouth - Whitemarsh 220-41 230kV | 1320-2311
|  |  | Edison - Meadow Road R1318 138kV |  | Sewaren 220-1 + 132-8 xfmrs | 1347-1638;2122-2151
2001-06-20 | Yes | Yes | Erie West #1 345/115kV xfmr |  | Erie South - Erie West 345kV | 0033-0538;0852-1200
|  |  | Talbot - Trappe Tap 6716 69kV |  | Vienna AT20 230/138kV xfmr | 0453-0817
|  |  | Western Transfers |  | Reactive | 0909-0926
|  |  | West Voltage |  | Reactive | 0923-1120
|  |  | Edison - Meadow Road R1318 138kV |  | Sewaren 220-1 + 132-8 xfmrs | 0928-1118
|  |  | Laurel - Woodstown 0740 69kV |  | Churchtown-Cumberland 230 kV + Cumb #2 xfmr | 0959-1118
|  |  | North Philadelphia - Wanetta 220-49 |  | Pulaski - Whitemarsh 220-41 230kV | 1011-2121
|  |  | Hunterstown #2 230/138kV xfmr |  | Actual | 1132-1158;1159-2024
|  |  | Branchburg - Flagtown C2203 230kV |  | Readington - Roseland U2221 230kV | 1310-1922
|  |  | Eastern Transfers |  | Reactive | 1320-1851
|  |  | Cumberland - Juniata 2235 230kV |  | Dauphin - Juniata 1087 230kV | 1540-1917
|  |  | Cedar |  | Reactive | 1553-1945
|  |  | Middletown Junction - TMI 1091 230kV |  | Middletown Junction - TMI 1092 230kV | 1708-1907
|  |  | Dickerson - Doubs 23102 230kV |  | Dickerson - Doubs 23101 230kV | 1725-1955
|  |  | Northwest 230-2 xfmr |  | Northwest 230-3 xfmr | 1824-1945
|  |  | Cumberland #2 230/138kV xfmr |  | Bridgeport - Mickleton 2315 230kV | 2129-2206
2001-06-21 | Yes | Yes | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV | 0145-0538
|  |  | Erie West #1 345/115kV xfmr |  | Erie South - Erie West 345kV | 0205-0309
|  |  | Eastern Transfers |  | Reactive | 0719-0747
|  |  | Western Transfers |  | Reactive | 0746-0837
|  |  | Laurel - Woodstown 0740 69kV |  | Churchtown-Cumberland 230 kV + Cumb #2 xfmr | 0938-1053
|  |  | Brunswick - Edison H1360 138kV |  | Sewaren 220-1 + 132-8 xfmrs | 0959-1120
|  |  | West Voltage |  | Reactive | 1011-1141
|  |  | Oak Hall - Tasley 6778 69kV |  | Hallwood - Oak Hall 6790 69kV | 1113-2212
|  |  | Hunterstown #2 230/138kV xfmr |  | Actual | 1341-2039
2001-06-22 | Yes | Yes | Western Transfers |  | Reactive | 0712-1709
|  |  | Erie West #1 345/115kV xfmr |  | Erie South - Erie West 345kV | 0649-0908
|  |  | Oak Hall - Tasley 6778 69kV |  | Hallwood - Oak Hall 6790 69kV | 0946-2023
|  |  | North Philadelphia - Wanetta 220-49 |  | Plymouth - Whitemarsh 220-41 230kV | 1035-2106
|  |  | Eastern Transfers |  | Reactive | 1046-1742
|  |  | Branchburg - Flagtown C2203 230kV |  | Readington - Roseland U2221 230kV | 1047-2153
|  |  | Hunterstown #2 230/138kV xfmr |  | Actual | 1454-1744
|  |  | Edison - Meadow Road R1318 138kV |  | Sewaren 220-1 + 132-8 xfmrs | 1902-2350
|  |  | Talbot - Trappe Tap 6716 69kV |  | Vienna AT20 230/138kV xfmr | 2056-2350
|  |  | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV | 2300-thru 0259
2001-06-23 | Yes | Yes | Bergen - Leonia T2272 230kV |  | Actual | 0644-0644
|  |  | Monroe #3 230kV xfmr |  | Chambers - Churchtown 2313 230kV | 0845-2339
|  |  | Brunswick - Edison H1360 138kV |  | Sewaren 220-1 xfmr | 1107-1938
|  |  | Western Transfers |  | Reactive | 1117-1405
|  |  | Eastern Transfers |  | Reactive | 1259-1446
|  |  | Clayton - Jones 13770 138kV |  | Milford AT20 xfmr | 1518-1655
|  |  | Edison - Meadow Road R1318 138kV |  | Sewaren 220-1 xfmr | 1933-2219
2001-06-24 | N/A | Yes | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV | 2209-2310
2001-06-25 | Yes | Yes | Basin Road - Church Tap 138kV |  | Keeney AT20 230/138kV xfmr | 0956-1246;1342-2353
|  |  | Leonia - New Milford T2272 230kV |  | Actual | 1015-1305
|  |  | Monroe #3 230kV xfmr |  | Chambers - Churchtown 2313 230kV | 1040-1320
|  |  | Branchburg 500-1 500/230kV xfmr |  | Branchburg 500-2 500/230kV xfmr | 1110-1655
|  |  | Alburtis - Hosensack 1073 230kV |  | Actual | 1237-1243
|  |  | Hallwood - Oak Hall 6790 69kV |  | Oak Hall - Tasley 6778 69kV | 1401-1709
|  |  | Mansfield - South Troy 115kV |  | Gold - Potter 115kV | 1446-2023
|  |  | Cumberland #2 230/138kV xfmr |  | Bridgeport - Mickleton 2315 230kV | 1838-2208
|  |  | Brunswick - Edison H1360 138kV |  | Sewaren 220-1 + 132-8 xfmrs | 2039-2240
2001-06-26 | Yes | Yes | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV | 0034-0550
|  |  | Clifton - Cedar Grove K2263 230kV |  | Cedar Grove - Roseland B2228 230kV | 0801-1342;2302-0013
|  |  | Basin Road - Church Tap 138kV |  | Keeney AT20 230/138kV xfmr | 0828-1414;1807-2349
|  |  | Eastern Transfers |  | Reactive | 1000-1536
|  |  | Laurel - Woodstown 0740 69kV |  | Churchtown-Cumberland 230 kV + Cumb #2 xfmr | 0927-1024;2131-2358
|  |  | Hallwood - Oak Hall 6790 69kV |  | Oak Hall - Tasley 6778 69kV | 1044-2342
|  |  | Edison - Meadow Road R1318 138kV |  | Sewaren 220-1 xfmr | 1113-1411
|  |  | Western Transfers |  | Reactive | 1130-1328;1507-1606
|  |  | Branchburg - Flagtown C2203 230kV |  | Readington - Roseland U2221 230kV | 1230-1420;1520-1905
|  |  | Hunterstown #2 230/138kV xfmr |  | Actual | 1241-2007
|  |  | Cedar - Motts 0702 69kV |  | Oyster Creek - Sands Point S2045 230kV | 1515-2300
2001-06-27 | Yes | Yes | Martins Creek - Siegfried #2 230kV |  | Martins Creek - Siegfried #1 230kV | 0709-0807
|  |  | Eastern Transfers |  | Reactive | 0733-1455
|  |  | Erie West #1 345/115kV xfmr |  | Erie South - Erie West 345kV | 0817-1000
|  |  | Edison - Meadow Road R1318 138kV |  | Sewaren 220-1 xfmr | 0956-1039;2242-2328
|  |  | Branchburg - Flagtown C2203 230kV |  | Readington - Roseland U2221 230kV | 1012-2158
|  |  | Hunterstown #2 230/138kV xfmr |  | Actual | 1138-2318
|  |  | Cedar - Motts 0702 69kV |  | Oyster Creek - Sands Point S2045 230kV | 1217-1410;1711-2347
|  |  | Hallwood - Oak Hall 6790 69kV |  | Oak Hall - Tasley 6778 69kV | 1740-2230
|  |  | Central Transfers |  | Reactive | 1836-1912
|  |  | Eastern Transfers |  | Reactive | 1947-2108
2001-06-28 | Yes | Yes | Erie West #1 345/115kV xfmr |  | Erie South - Erie West 345kV | 0142-0455
|  |  | Central Transfers |  | Reactive | 0644-0703
|  |  | Western Transfers |  | Reactive | 0703-1558
|  |  | Hallwood - Oak Hall 6790 69kV |  | Oak Hall - Tasley 6778 69kV | 0742-1106;1909-0022
|  |  | Brandon Shores-Riverside 2345 230kV |  | Riverside 230-1 xfmr | 0811-0939;1236-1452
|  |  | Cedar - Motts 0702 69kV |  | Oyster Creek - Sands Point S2045 230kV | 0955-1138;1808-0022
|  |  | Hunterstown #2 230/138kV xfmr |  | Actual | 1027-2220
|  |  | Branchburg - Flagtown C2203 230kV |  | Smithburg 500kV xfmr | 1155-2053
|  |  | Cheswold AT1 138/69kV xfmr |  | Harrington - South Harrington 6739 69kV | 1224-1329
|  |  | Middletown Junction - TMI 1091 230kV |  | Middletown Junction - TMI 1092 230kV | 1303-1349
|  |  | Eastern Transfers |  | Reactive | 1948-2113
|  |  | Erie West #1 345/115kV xfmr |  | Erie South - Erie West 345kV | 2338-0112
2001-06-29 | Yes | Yes | Delco Tap - Trainer 220-38 230kV |  | Hope Creek - Red Lion 5015 500kV | 0552-0702
|  |  | Hallwood - Oak Hall 6790 69kV |  | Oak Hall - Tasley 6778 69kV | 0804-0120
|  |  | Laurel - Woodstown 0740 69kV |  | Cumberland #2 230/138kV xfmr | 0849-0940
|  |  | Western Transfers |  | Reactive | 0909-1232;1252-1346
|  |  | Eastern Transfers |  | Reactive | 0909-1232;1252-1450
|  |  | Cedar - Motts 0702 69kV |  | Oyster Creek - Sands Point S2045 230kV | 0955-0130
|  |  | Hunterstown #2 230/138kV xfmr |  | Actual | 1004-2154
|  |  | Goudey - Laurel Lake 115kV |  | East Towanda #3 230/115kV xfmr | 1044-1249
|  |  | Bayway - Doremus Place Q1369 138kV |  | Federal Square - Linden W1323 138kV | 1131-1311
|  |  | Dickerson - Quince Orchard 230kV |  | Dickerson - Quince Orchard 230kV | 1201-1332
|  |  | Cumberland - Juniata 2235 230kV |  | Dauphin - Juniata 1087 230kV | 1239-1807
|  |  | Eastern Transfers |  | Reactive | 1512-1830
2001-06-30 | Yes | Yes | Adams - Bennetts X2224 230kV |  | Salem-E Windsor-Deans 5021 + 5019 + Deans 500-1 | 0026-0200;0753-1146
|  |  | Erie West #1 345/115kV xfmr |  | Erie South - Erie West 345kV | 0618-0732
|  |  | Eastern Transfers |  | Reactive | 0809-1533
|  |  | Hallwood - Oak Hall 6790 69kV |  | Oak Hall - Tasley 6778 69kV | 0819-0149
|  |  | Cedar - Motts 0702 69kV |  | Oyster Creek - Sands Point S2045 230kV | 0842-0111
|  |  | North Philadelphia - Wanetta 220-49 |  | Pulaski - Whitemarsh 220-41 230kV | 0852-1038;2221-0051
|  |  | Laurel - Woodstown 0740 69kV |  | Churchtown-Cumberland 230 kV + Cumb #2 xfmr | 0931-1609
|  |  | Branchburg - Flagtown C2203 230kV |  | Readington - Roseland U2221 230kV | 1133-2200
|  |  | Western Transfers |  | Reactive | 1147-1427
|  |  | Hunterstown #2 230/138kV xfmr |  | Actual | 1205-2017
|  |  | Dickerson - Doubs 23102 230kV |  | Brighton - Doubs 5055 500kV | 1308-1628
|  |  | Eastern Transfers |  | Reactive | 1707-1953
|  |  | Cumberland #2 230/138kV xfmr |  | Bridgeport - Mickleton 2315 230kV | 1738-2023
|  |  | Western Transfers |  | Reactive | 1803-1936;2034-2116
|  |  | Talbot - Trappe Tap 6716 69kV |  | Vienna AT20 230/138kV xfmr | 1906-2134
Formulas:
Date = +[Date, row above]+1