## off-cost
Percentage of correct off-cost operations projections August 2001: 100.0% (28/28 3 days - no forecast given on OASIS)
Off-Cost Operations - Projection History August 2001
Date | Projected | Occurred |  | Facility | Contingency | Duration
2001-08-01 | Yes | Yes | Erie South - Erie West 345kV |  | Forest - Glade - Lewis Run + xfmr | 0346-0502
|  |  | Basin Road - Bear 6816 69kV |  | Red Lion AT-20 230/138kV xfmr | 1832-2233
|  |  | Middletown Jct - TMI 1091 230kV |  | Middletown Jct - TMI 1092 230kV | 1327-2250
|  |  | Cedar - Motts 0702 69kV |  | Oyster Creek - Sands Point S2045 230kV | 1749-2250
2001-08-02 | N/A | Yes | Basin Road - Bear 6816 69kV |  | Red Lion AT-20 230/138kV xfmr | 0630-0650;1012-1226
|  |  | Edison - Meadow Rd R1318 138kV |  | Sewaren 220-1 230/138kV xfmr | 1123-1155
|  |  | Brandon Shores-Riverside 2345 230kV |  | Wagner #2 230/115kV xfmr | 1244-1309
|  |  | Hallwood - Oak Hall 6790 69kV |  | Oak Hall - Tasley 6778 69kV | 1252-2158
|  |  | Gardners - Hunterstown 991 115kV |  | Actual | 1309-2142
|  |  | Brandon Shores-Riverside 2345 230kV |  | Brandon Shores-Riverside 2344 230kV + xfmr | 1345-2100
|  |  | Chichester - Claymont 22039 230kV |  | Edgemoor - Chichester 22043 230kV | 1438-1642
|  |  | Hunterstown #2 230/115kV xfmr |  | Conastone - Peach Bottom 5012 500kV | 1503-2102
|  |  | Cedar - Motts 0702 69kV |  | Oyster Creek - Sands Point S2045 230kV | 1519-2119
|  |  | Graceton - Raphael Rd 2313 230kV |  | Brighton - Conastone 5011 500kV | 1531-1651
|  |  | Eastern Transfers |  | Reactive | 1534-1955
|  |  | Burtonsville-Sandy Spring 2334 230kV |  | Brighton - Conastone 5011 500kV | 1551-1656
|  |  | Edgemoor - Chichester 22043 230kV |  | Claymont - Edgemoor 23015 230kV | 1821-1955
|  |  | Edison - Meadow Rd R1318 138kV |  | Sewaren 220-1 230/138kV xfmr | 1911-2159
2001-08-03 | Yes | Yes | Erie West #1 345/115kV xfmr |  | Erie South - Erie West 345kV + Seneca pump | 0322-0457;0716-0719;0922-1049
|  |  | Hallwood - Oak Hall 6790 69kV |  | Oak Hall - Tasley 6778 69kV | 1025-2223
|  |  | Talbot - Trappe Tap 6716 69kV |  | Vienna AT-20 230/138kV xfmr | 1100-2221
|  |  | Cedar - Motts 0702 69kV |  | Oyster Creek - Sands Point S2045 230kV | 1240-2222
|  |  | Dupont Seaford - Laurel 6736 69kV |  | Steele - Vienna 23085 230kV | 1410-1928
|  |  | Western Transfers |  | Reactive | 1419-1554
|  |  | Keeney AT-20 230/138kV xfmr |  | Harmony AT-20 230/138kV xfmr | 1532-2223
2001-08-04 | Yes | Yes | Cedar - Motts 0702 69kV |  | Sands Point - Cedar 0777 69kV | 1304-2157
2001-08-05 | Yes | Yes | Cedar - Motts 0702 69kV |  | Oyster Creek - Sands Point S2045 230kV | 1038-2300
|  |  | Laurel - Woodstown 0740 69kV |  | Cumberland #2 230/138kV xfmr | 1053-1353
|  |  | Hallwood - Oak Hall 6790 69kV |  | Oak Hall - Tasley 6778 69kV | 1106-1403
|  |  | Indian River AT-20 230/138kV xfmr |  | Piney Grove AT-20 230/138kV xfmr | 1307-2151
|  |  | Center - Westport 110551 115kV |  | Westport - Pumphrey 110525 115kV | 1422-2155
2001-08-06 | Yes | Yes | Erie South - Erie West 345kV |  | Actual | 0340-0536
|  |  | Center - Westport 110551 115kV |  | Westport - Pumphrey 110525 115kV | 0733-0952
|  |  | Hallwood - Oak Hall 6790 69kV |  | Oak Hall - Tasley 6778 69kV | 0929-0958
|  |  | Cedar - Motts 0702 69kV |  | Oyster Creek - Sands Point S2045 230kV | 0944-1143
|  |  | Brandon Shores-Riverside 2345 230kV |  | Brandon Shores-Riverside 2344 230kV + xfmr | 1014-1418
|  |  | Hallwood - Oak Hall 6790 69kV |  | Oak Hall - Tasley 6778 69kV | 1031-1144
|  |  | Laurel - Woodstown 0740 69kV |  | Cumberland #2 230/138kV xfmr | 1105-1143
|  |  | Western Transfers |  | Reactive | 1113-1418
|  |  | Eastern Transfers |  | Reactive | 1114-1137
|  |  | Hunterstown #2 230/115kV xfmr |  | Actual | 1125-2309
|  |  | Cedar - Motts 0702 69kV |  | Oyster Creek - Sands Point S2045 230kV | 1845-2352
|  |  | Indian River AT-20 230/138kV xfmr |  | Piney Grove AT-20 230/138kV xfmr | 1856-2229
|  |  | Hallwood - Oak Hall 6790 69kV |  | Oak Hall - Tasley 6778 69kV | 1902-thru0117
|  |  | Brandon Shores-Riverside 2344 230kV |  | Brandon Shores-Riverside 2345 230kV + xfmr | 2142-2321
|  |  | Erie West #1 345/115kV xfmr |  | Erie South - Erie West 345kV + Seneca pump | 2212-thru0108
2001-08-07 | N/A | Yes | Erie South - Erie West 345kV |  | Actual | 0214-0608
|  |  | Garman - Glory 992 115kV |  | Glade - Warren 230kV | 0515-0740
|  |  | Alburtis - Hosensack 1073 230kV |  | Actual | 0537-0722
|  |  | Western Transfers |  | Reactive | 0818-0922
|  |  | Erie West #1 345/115kV xfmr |  | Erie South - Erie West 345kV | 0824-1024
|  |  | Hallwood - Oak Hall 6790 69kV |  | Oak Hall - Tasley 6778 69kV | 0839-1025
|  |  | Green - Roxbury 115kV |  | Brighton - Conastone 5011 500kV | 0841-1146
|  |  | Brandon Shores-Riverside 2345 230kV |  | Brandon Shores-Riverside 2344 230kV + xfmr | 0839-1403;1402-1704
|  |  | Cedar - Motts 0702 69kV |  | Oyster Creek - Sands Point S2045 230kV | 0916-1025
|  |  | West Volt |  | Reactive | 0922-1119
|  |  | Western Transfers |  | Reactive | 1118-1325;1507-1528
|  |  | Erie West #1 345/115kV xfmr |  | Erie South - Erie West 345kV | 1143-1236
|  |  | Green - Roxbury 115kV |  | Hunterstown - Jackson 230kV | 1146-1355
|  |  | Branchburg - Flagtown C2203 230kV |  | Readington - Roseland U2221 230kV | 1225-2313
|  |  | Cromby - Moser 6680 69kV |  | Cromby - Moser 6681 69kV | 1305-1558
|  |  | Hunterstown #2 230/115kV xfmr |  | Actual | 1357-2159
|  |  | Green Street - Westport 110553 115kV |  | Westport - Pumphrey 110526 115kV | 1459-1551
|  |  | West Volt |  | Reactive | 1528-1837
|  |  | Brandon Shores-Riverside 2345 230kV |  | Brandon Shores-Riverside 2344 230kV + xfmr | 1947-thru 0034
|  |  | Indian River AT-20 230/138kV xfmr |  | Indian River #1 unit | 2136-thru 0033
|  |  | Erie West #1 345/115kV xfmr |  | Erie South - Erie West 345kV | 2151-thru 0010
|  |  | Hallwood - Oak Hall 6790 69kV |  | Oak Hall - Tasley 6778 69kV | 2222-thru 0213
2001-08-08 | Yes | Yes | Motts - Cedar 0701 69kV |  | Lewis - Motts 0702 69kV | 0216-0523
|  |  | Brandon Shores-Riverside 2345 230kV |  | Brandon Shores-Riverside 2344 230kV + xfmr | 0727-1350
|  |  | Center - Westport 110551 115kV |  | Center - Westport 110552 115kV | 0801-0932;1937-thru 0026
|  |  | Hallwood - Oak Hall 6790 69kV |  | Oak Hall - Tasley 6778 69kV | 0811-0932;2158-thru 0347
|  |  | Erie South - Erie West 345kV |  | Chateaguay - Massena 765kV | 0812-1022
|  |  | Western Transfers |  | Reactive | 0829-1937
|  |  | Cedar - Motts 0702 69kV |  | Oyster Creek - Sands Point S2045 230kV | 0832-0951;2052-thru 0342
|  |  | Cromby - Moser 6681 69kV |  | Cromby - Moser 6680 69kV | 0859-2249
|  |  | Erie West #1 345/115kV xfmr |  | Erie South - Erie West 345kV | 1011-thru 1157
|  |  | Eastern Transfers |  | Reactive | 1325-1624;1805-1911
|  |  | Nelson - Vienna 13707 138kV |  | Indian River AT-20 230/138kV xfmr | 1824-thru 0034
|  |  | Indian River AT-20 230/138kV xfmr |  | Actual | 1824-2141;2141-thru 0023
|  |  | Cly - Collins 975 115kV |  | Gardners - Hunterstown 991 115kV | 2133-2229
|  |  | Hunterstown #2 230/115kV xfmr |  | Actual | 2133-2254
|  |  | Keeney AT-20 230/138kV xfmr |  | Harmony AT-20 230/138kV xfmr | 2139-thru 0009
2001-08-09 | Yes | Yes | Center - Westport 110551 115kV |  | Center - Westport 110552 115kV | 0655-2225
|  |  | Hallwood - Oak Hall 6790 69kV |  | Oak Hall - Tasley 6778 69kV | 0705-0910
|  |  | Brandon Shores-Riverside 2344 230kV |  | Brandon Shores-Riverside 2345 230kV + #2 xfmr | 0825-1226;2209-thru 0003
|  |  | Cedar - Motts 0702 69kV |  | Oyster Creek - Sands Point S2045 230kV | 0836-1009
|  |  | Western Transfers |  | Reactive | 0848-thru 0222
|  |  | Cromby - Moser 6681 69kV |  | Cromby - Moser 6680 69kV | 0930-thru 0046
|  |  | Hunterstown #2 230/115kV xfmr |  | Actual | 0954-1001
|  |  | Eastern Transfers |  | Reactive | 1028-1134
|  |  | Claymont - Edgemoor 23015 230kV |  | Edgemoor - Chichester 22043 230kV | 2115-thru 0121
2001-08-10 | Yes | Yes | Erie West #1 345/115kV xfmr |  | Erie South - Erie West 345kV | thru-0009; 1714-1937
|  |  | Cromby #5 xfmr |  | Cromby-Upper Prov-Perkiomen-N Wales 230kV | 0004-0210;0713-0803
|  |  | Hallwood - Oak Hall 6790 69kV |  | Oak Hall - Tasley 6778 69kV | 0231-0821;1936-thru 0020
|  |  | Alburtis - Hosensack 1073 230kV |  | Actual | 0312-0803
|  |  | Western Transfers |  | Reactive | 0437-0919;1919-2022;2156-thru 0001
|  |  | West Volt |  | Reactive | 0919-1441
|  |  | Eastern Transfers |  | Reactive | 1059-2009
|  |  | Nelson - Vienna 13707 138kV |  | Indian River AT-20 230/138kV xfmr | 1429-1643
|  |  | Indian River AT-20 230/138kV xfmr |  | Milford AT-20 230/138kV xfmr | 1430-1917
|  |  | Hunterstown #2 230/115kV xfmr |  | Actual | 1807-1935
|  |  | Motts - Cedar 0701 69kV |  | Lewis - Motts 0702 69kV | 1953-thru 0238
|  |  | Martins Creek - Siegfried #2 230kV |  | Martins Creek - Siegfried #1 230kV | 2332-thru 0012
2001-08-11 | Yes | Yes | Western Transfers |  | Reactive | 0916-1253;1320-1423
|  |  | Homer City - Shelocta KHC 230kV |  | Homer City - Watercure Rd 345kV | 1025-1730
|  |  | Hallwood - Oak Hall 6790 69kV |  | Oak Hall - Tasley 6778 69kV | 1034-2211
|  |  | Church AT2 138/69kV xfmr |  | Cedar Creek - Red Lion 230kV | 1336-1641
|  |  | Cedar - Motts 0702 69kV |  | Oyster Creek - Sands Point S2045 230kV | 1400-2313
|  |  | Laurel - Woodstown 0740 69kV |  | Cumberland #2 230/138kV xfmr | 1529-2307
|  |  | Erie West #1 345/115kV xfmr |  | Erie South - Erie West 345kV | 2142-thru
2001-08-12 | Yes | Yes | Monroe #3 230/138kV xfmr |  | Chambers - Churchtown 2313 230kV | 0953-1102
|  |  | Western Transfers |  | Reactive | 0953-1612;1750-2139
|  |  | Cedar - Motts 0702 69kV |  | Oyster Creek - Sands Point S2045 230kV | 1002-2351
|  |  | Milford - South Harrington 13774 138kV |  | Indian River AT-20 230/138kV xfmr | 1939-2153
2001-08-13 | Yes | Yes | Western Transfers |  | Reactive | 0911-1138;1303-1539;1614-1635
|  |  | Laurel - Woodstown 0740 69kV |  | Cumberland #2 230/138kV xfmr | 1605-1639
|  |  | Hallwood - Oak Hall 6790 69kV |  | Oak Hall - Tasley 6778 69kV | 1541-2257
|  |  | Cedar - Motts 0702 69kV |  | Sands Point - Cedar 0777 69kV | 1047-2304
|  |  | Edgemoor - Chichester 22043 230kV |  | Claymont - Edgemoor 23015 230kV | 1330-1626
|  |  | Cly - Newberry 975 115kV |  | Roxbury - Carlisle Pike 115kV | 1613-1707
2001-08-14 | Yes | Yes | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV | 0128-0307
|  |  | Western Transfers |  | Reactive | 0851-2204
|  |  | Brandon Shores-Riverside 2345 230kV |  | Brandon Shores-Riverside 2344 + Riv #1 230/115kV xfmr | 1033-1217
|  |  | Brunswick - Edison H1360 138kV |  | Sewaren 220-1 230/138kV xfmr | 1239-1437
|  |  | Cedar - Motts 0702 69kV |  | Oyster Creek - Sands Point S2045 230kV | 1314-1928
|  |  | Hallwood - Oak Hall 6790 69kV |  | Voltage Surrogate | 1422-1439
|  |  | Cly - Newberry 975 115kV |  | Actual | 1536-1628
|  |  | Jackson #4 230/115kV xfmr |  | Jackson-Yorkana 1052 230kV + xfmrs | 1629-thru 0021
|  |  | Seward #9 230/115kV xfmr |  | Johnstown #2 230/115kV xfmr | 1709-1935
|  |  | Brunswick - Edison H1360 138kV |  | Sewaren 220-1 230/138kV xfmr | 2018-2222
|  |  | Basin Road - Kiamensi 13813 138kV |  | Harmony AT-20 230/138kV xfmr | 2349-thru 0118
2001-08-15 | Yes | Yes | Erie West #1 345/115kV xfmr |  | Erie South - Erie West 345kV | 0229-0600
|  |  | Jackson #4 230/115kV xfmr |  | Jackson-Yorkana 1052 230kV + xfmrs | 0556-thru 0031
|  |  | Hallwood - Oak Hall 6790 69kV |  | Actual | 0956-2247
|  |  | Branchburg - Flagtown C2203 230kV |  | Atlantic - Larrabee 230kV | 1053-1757
|  |  | Edison - Meadow Rd R1318 138kV |  | Sewaren 220-1 230/138kV xfmr | 1306-1422;1728-2154
|  |  | Cedar - Motts 0702 69kV |  | Oyster Creek - Sands Point S2045 230kV | 1541-2147
|  |  | Edison - Meadow Rd R1318 138kV |  | Devilsbrook-Plainsbrook-Trenton 138kV | 2156-2332
2001-08-16 | Yes | Yes | Jackson #4 230/115kV xfmr |  | Jackson-Yorkana 1052 230kV + xfmrs | 0530-2306
|  |  | Western Transfers |  | Reactive | 0831-2030
|  |  | Hallwood - Oak Hall 6790 69kV |  | Actual | 1242-2304
|  |  | Cedar - Motts 0702 69kV |  | Oyster Creek - Sands Point S2045 230kV | 1304-2312
2001-08-17 | Yes | Yes | Erie West #1 345/115kV xfmr |  | Erie South - Erie West 345kV + Seneca pump | 0240-0524
|  |  | Jackson #4 230/115kV xfmr |  | Jackson-Yorkana 1052 230kV + xfmrs | 0842-2150
|  |  | Western Transfers |  | Reactive | 0920-2148
|  |  | Cedar - Motts 0702 69kV |  | Oyster Creek - Sands Point S2045 230kV | 1019-2342
|  |  | Hallwood - Oak Hall 6790 69kV |  | Oak Hall - Tasley 6778 69kV | 1135-1416;1751-2150
2001-08-18 | Yes | Yes | Erie West #1 345/115kV xfmr |  | Erie South - Erie West 345kV line | 0216-0614
|  |  | Western Transfers |  | Reactive | 0839-1910;2004-2238
|  |  | Cedar - Motts 0702 69kV |  | Oyster Creek - Sands Point S2045 230kV | 0929-2313
|  |  | Roxbury - Shade Gap 1075 115kV |  | Juniata - Lewistown 230kV | 1610-1702
2001-08-19 | Yes | Yes | Monroe #3 230/138kV xfmr |  | Chambers - Churchtown 2313 230kV | 0956-1544
|  |  | Cedar - Motts 0702 69kV |  | Oyster Creek - Sands Point S2045 230kV | 1022-2219
|  |  | Western Transfers |  | Reactive | 1404-1829;1945-2213
2001-08-20 | Yes | Yes | Western Transfers |  | Reactive | 0805-2307
|  |  | Laurel - Woodstown 0740 69kV |  | Cumberland #2 230/138kV xfmr | 0836-0941
|  |  | Indian River AT-20 230/138kV xfmr |  | Piney Grove AT-20 230/138kV xfmr | 0910-2200
|  |  | Motts - Cedar 0701 69kV |  | Cedar - Motts 0702 69kV | 1006-1751
|  |  | Jackson #4 230/115kV xfmr |  | Jackson-Yorkana 1052 230kV + xfmrs | 1028-2147
|  |  | Chichester - Claymont 22039 230kV |  | Edgemoor - Chichester 22043 230kV | 1127-1141;1150-1416;1438-1701
|  |  | Hallwood - Oak Hall 6790 69kV |  | Oak Hall - Tasley 6778 69kV | 1355-2119
|  |  | Nelson - Vienna 13707 138kV |  | Indian River AT-20 230/138kV xfmr | 1518-2117
|  |  | Cedar - Motts 0702 69kV |  | Oyster Creek - Sands Point S2045 230kV | 1750-thru 0010
|  |  | Edison - Meadow Rd R1318 138kV |  | Sewaren 220-1 230/138kV xfmr | 1857-2309
2001-08-21 | Yes | Yes | Erie West #1 345/115kV xfmr |  | Erie South - Erie West 345kV line | 0312-0621
|  |  | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV | 0336-0511
|  |  | Western Transfers |  | Reactive | 0814-2133
|  |  | Laurel - Woodstown 0740 69kV |  | Cumberland #2 230/138kV xfmr | 0816-1059
|  |  | Jackson #4 230/115kV xfmr |  | Jackson-Yorkana 1052 230kV + xfmrs | 1115-1242;1746-2046
|  |  | Indian River AT-20 230/138kV xfmr |  | Piney Grove AT-20 230/138kV xfmr | 1155-1910
|  |  | Cedar - Motts 0702 69kV |  | Oyster Creek - Sands Point S2045 230kV | 1308-2206
|  |  | Edison - Meadow Rd R1318 138kV |  | Sewaren 220-1 230/138kV xfmr | 1557-1832
|  |  | Roxbury - Shade Gap 1075 115kV |  | Juniata - Lewistown 230kV | 1634-1847
|  |  | Monroe #3 230/138kV xfmr |  | Chambers - Churchtown 2313 230kV | 1638-1857
2001-08-22 | Yes | Yes | Western Transfers |  | Reactive | 0813-1607
|  |  | Monroe #3 230/138kV xfmr |  | Chambers - Churchtown 2313 230kV | 0955-1041;1425-2258
|  |  | Jackson #4 230/115kV xfmr |  | Jackson-Yorkana 1052 230kV + xfmrs | 1103-2130
|  |  | Motts - Cedar 0701 69kV |  | Lewis - Motts 0702 69kV | 1337-1339
|  |  | Cedar - Motts 0702 69kV |  | Oyster Creek - Sands Point S2045 230kV | 1339-2344
2001-08-23 | Yes | Yes | Erie West #1 345/115kV xfmr |  | Erie South - Erie West 345kV + Seneca pump | 0126-0601
|  |  | Monroe #3 230/138kV xfmr |  | Chambers - Churchtown 2313 230kV | 1027-1701
|  |  | Jackson #4 230/115kV xfmr |  | Jackson-Yorkana 1052 230kV + xfmrs | 1108-1337;1549-1910
|  |  | Western Transfers |  | Reactive | 1112-1306;1411-1640
|  |  | Cedar - Motts 0702 69kV |  | Oyster Creek - Sands Point S2045 230kV | 1242-2125
|  |  | Hallwood - Oak Hall 6790 69kV |  | Oak Hall - Tasley 6778 69kV | 1411-1838
|  |  | Indian River AT-20 230/138kV xfmr |  | Piney Grove AT-20 230/138kV xfmr | 1418-2245
|  |  | Beckett - Paulsboro 0722 69kV |  | Actual | 1524-1624
|  |  | Talbot - Trappe Tap 6716 69kV |  | Vienna AT-20 230/138kV xfmr | 1527-1838
|  |  | Beckett - Paulsboro 0722 69kV |  | Chambers - Churchtown 2313 230kV | 1624-2313
2001-08-24 | Yes | Yes | Jackson #4 230/115kV xfmr |  | Jackson-Yorkana 1052 230kV + xfmrs | 0956-2200
|  |  | Beckett - Paulsboro 0722 69kV |  | Chambers - Churchtown 2313 230kV | 0957-2318
|  |  | Edison - Meadow Rd R1318 138kV |  | Sewaren 220-1 230/138kV xfmr | 1032-2205
|  |  | Cedar - Motts 0702 69kV |  | Oyster Creek - Sands Point S2045 230kV | 1244-2336
|  |  | Western Transfers |  | Reactive | 1429-1632
|  |  | Lewistown - Reeds SS 115kV |  | Juniata - Lewistown 230kV | 1434-1606
|  |  | Alburtis - Hosensack 1073 230kV |  | Actual | 1437-1549
|  |  | Indian River AT-20 230/138kV xfmr |  | Piney Grove AT-20 230/138kV xfmr | 1744-1849
2001-08-25 | Yes | Yes | Erie West #1 345/115kV xfmr |  | Erie South - Erie West 345kV + Seneca pump | 0016-0236
2001-08-26 | Yes | Yes | Cedar - Motts 0702 69kV |  | Oyster Creek - Sands Point S2045 230kV | 1719-2125
|  |  | Cromby #5 230/69kV xfmr |  | Cromby-Upper Prov-Perk-N Wales 22062 230kV | 1800-2143
|  |  | Western Transfers |  | Reactive | 1947-2036
|  |  | Eastern Transfers |  | Reactive | 1953-2025
2001-08-27 | Yes | Yes | Erie West #1 345/115kV xfmr |  | Erie South - Erie West 345kV + Seneca pump | 0114-0513
|  |  | Jackson #4 230/115kV xfmr |  | Jackson-Yorkana 1052 230kV + xfmrs | 0948-2224
|  |  | Cedar - Motts 0702 69kV |  | Oyster Creek - Sands Point S2045 230kV | 1112-2202
|  |  | Western Transfers |  | Reactive | 1128-1218;1407-1541
|  |  | Eastern Transfers |  | Reactive | 1339-1541
|  |  | Claymont - Edgemoor 23015 230kV |  | Edgemoor - Chichester 22043 230kV | 1452-1700
|  |  | Sicker #1 230/69kV xfmr |  | New Freedom-Silverlake 230kV + Slvrlake xfmrs | 1455-1935
|  |  | Churchtown #1 230/69kV xfmr |  | Bridgeport - Mickleton 2315 230kV | 1604-1655;1944-2032
|  |  | Edison - Meadow Rd R1318 138kV |  | Sewaren 220-1 230/138kV xfmr | 1812-2224
2001-08-28 | Yes | Yes | Erie West #1 345/115kV xfmr |  | Erie South - Erie West 345kV + Seneca pump | 2339-0936
|  |  | Shieldalloy-Vineland 0711 69kV |  | Cumberland - Churchtown 230kV | 0922-1004
|  |  | Jackson #4 230/115kV xfmr |  | Jackson-Yorkana 1052 230kV + xfmrs | 0937-1625;1629-2256
|  |  | Cedar - Motts 0702 69kV |  | Oyster Creek - Sands Point S2045 230kV | 1048-thru 0026
|  |  | Western Transfers |  | Reactive | 1156-1823
|  |  | Sicker #1 230/69kV xfmr |  | New Freedom-Silverlake 230kV + Slvrlake xfmrs | 1317-1711
2001-08-29 | N/A | Yes | Cedar Grove - Roseland B2228 230kV |  | Roseland-Cdr Grv-Clifton-Athenia F/K 230kV | 0422-0515
|  |  | Jackson #4 230/115kV xfmr |  | Jackson-Yorkana 1052 230kV + xfmrs | 0901-2140
|  |  | Western Transfers |  | Reactive | 0920-1326;1603-1718
|  |  | Laurel - Woodstown 0740 69kV |  | Cumberland #2 230/138kV xfmr | 1207-1340
|  |  | Cedar - Motts 0702 69kV |  | Oyster Creek - Sands Point S2045 230kV | 1339-2122
|  |  | Hallwood - Oak Hall 6790 69kV |  | Oak Hall - Tasley 6778 69kV | 1544-2116
2001-08-30 | Yes | Yes | Leonia - New Milford T2272 230kV |  | Actual | 0901-0933
|  |  | Indian River AT-20 230/138kV xfmr |  | Piney Grove AT-20 230/138kV xfmr | 1204-2117
|  |  | Western Transfers |  | Reactive | 1309-1425
|  |  | Hallwood - Oak Hall 6790 69kV |  | Oak Hall - Tasley 6778 69kV | 1334-2128
|  |  | Cedar - Motts 0702 69kV |  | Oyster Creek - Sands Point S2045 230kV | 1606-2113
|  |  | Hunterstown #2 230/115kV xfmr |  | Actual | 1629-1957
2001-08-31 | Yes | Yes | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV | 0138-0506
|  |  | Leonia - New Milford T2272 230kV |  | Actual | 0843-1005
|  |  | Cedar - Motts 0702 69kV |  | Oyster Creek - Sands Point S2045 230kV | 0923-1430;1633-2339
|  |  | Laurel - Woodstown 0740 69kV |  | Cumberland #2 230/138kV xfmr | 1019-1340
|  |  | Western Transfers |  | Reactive | 1023-1239
|  |  | Indian River AT-20 230/138kV xfmr |  | Piney Grove AT-20 230/138kV xfmr | 1158-1340;1815-1953
|  |  | West Volt |  | Reactive | 1240-2038
|  |  | Cedar Grove - Roseland B2228 230kV |  | Roseland-Cdr Grv-Clifton-Athenia F/K 230kV | 2312-0610
Formulas:
Date = +[Date, row above]+1