## dec2001
Percentage of correct off-cost operations projections December 2001: 87.1% (27/31 0 days - no forecast given on OASIS)
Off-Cost Operations - Projection History December 2001
Date | Projected | Occurred | Facility | Contingency | Begin Time | End Time | Begin Time | End Time
2001-12-01 | Yes | Yes | Western Transfers | Reactive | 9:30 | 14:12
2001-12-02 | Yes | No
2001-12-03 | Yes | Yes | Churchtown #1 230/69kV xfmr | Cumberland - Churchtown 230kV | 7:11 | 16:59
|  |  | Monroe #3 230/138kV xfmr | New Freedom - Cardiff 2310 230kV | 10:48 | 11:44
|  |  | Milford - S Harrington 13774 138kV | Indian River - Milford 23069 230kV | 16:46 | 17:12
2001-12-04 | Yes | Yes | Churchtown #1 230/69kV xfmr | Cumberland - Churchtown 230kV | 7:17 | 22:37
|  |  | Monroe #3 230/138kV xfmr | New Freedom - Cardiff 2310 230kV | 16:20 | 20:35
|  |  | Milford - S Harrington 13774 138kV | Indian River - Milford 23069 230kV | 16:40 | 17:15
|  |  | East Towanda - South Troy 115kV | Farmers Valley - Potter 115kV | 17:27 | 18:50
|  |  | Branchburg #1 500/230kV xfmr | Branchburg-Deans 5019 + Deans 500-1 | 17:30 | 18:49
2001-12-05 | Yes | Yes | Red Lion AT20 230/138kV xfmr | Harmony AT20 230/138kV xfmr | 8:21 | 10:12
|  |  | Milford - S Harrington 13774 138kV | Indian River - Milford 23069 230kV | 10:11 | 11:45 | 16:30 | 17:15
|  |  | Mount Olive - Piney Grove 6729 69kV | Piney Grove - New Church 13764 138kV | 11:11 | 11:36 | 13:51 | 14:29
|  |  | Martins Creek - Siegfried #2 230kV | Martins Creek - Siegfried #1 230kV | 14:00 | 17:05
|  |  | Shieldalloy - Vineland 0711 69kV | Chambers - Churchtown 2313 230kV | 18:05 | 18:56
|  |  | Monroe #3 230/138kV xfmr | New Freedom - Cardiff 2310 230kV | 22:05 | 23:35
2001-12-06 | Yes | Yes | Shieldalloy - Vineland 0711 69kV | Chambers - Churchtown 2313 230kV | 16:46 | 19:58
2001-12-07 | Yes | Yes | Shieldalloy - Vineland 0711 69kV | Chambers - Churchtown 2313 230kV | 11:22 | 12:26
|  |  | Martins Creek - Siegfried #2 230kV | Martins Creek - Siegfried #1 230kV | 11:59 | 13:45
2001-12-08 | Yes | No | None
2001-12-09 | No | No | None
2001-12-10 | Yes | Yes | Church AT2 138/69kV xfmr | Milford AT20 230/138kV xfmr | 6:52 | 10:00
|  |  | Eastern Transfers | Reactive | 16:24 | 17:31
|  |  | Western Transfers | Reactive | 16:58 | 17:45
2001-12-11 | Yes | Yes | Cromby #4 138/69kV xfmr | Cromby #3 138/69kV xfmr | 7:40 | 14:00
|  |  | Keeney - Peach Bottom 5014 500kV | Alburtis - Branchburg 5016 500kV | 9:40 | 14:20
|  |  | Mt Hermon - N Salisbury 6726 69kV | Vienna - Loretto 13780 138kV | 12:11 | 15:38
|  |  | Erie West #1 345/115kV xfmr | Erie South - Erie West 345kV | 16:50 | 17:26
|  |  | Eastern Transfers | Reactive | 16:57 | 17:41
|  |  | Western Transfers | Reactive | 17:12 | 17:35
2001-12-12 | Yes | Yes | Eastern Transfers | Reactive | 16:46 | 17:15
2001-12-13 | Yes | Yes | Red Lion AT20 230/138kV xfmr | Harmony AT20 230/138kV xfmr | 11:49 | 12:00
|  |  | Eastern Transfers | Reactive | 16:28 | 17:16
2001-12-14 | Yes | Yes | Cedar Grove - Clifton K2263 230kV | Cedar Grove - Roseland B2228 230kV | 9:33 | 11:25
|  |  | Martins Creek - Siegfried #2 230kV | Martins Creek - Siegfried #1 230kV | 9:33 | 12:13 | 15:06 | 16:12
|  |  | Eastern Transfers | Reactive | 16:12 | 17:01 | 17:45 | 18:27
2001-12-15 | Yes | Yes | Shieldalloy - Vineland 0711 69kV | Chambers - Churchtown 2313 230kV | 17:17 | 21:40
2001-12-16 | Yes | Yes | Branchburg #1 500/230kV xfmr | Branchburg-Deans 5019 + Deans 500-1 | 16:45 | 18:13
|  |  | Monroe #3 230/138kV xfmr | Chambers - Churchtown 2313 230kV | 17:09 | 21:18
2001-12-17 | Yes | Yes | Talbot - Trappe Tap 6716 69kV | Vienna AT20 230/138kV xfmr | 6:50 | 11:00
|  |  | Monroe #3 230/138kV xfmr | Chambers - Churchtown 2313 230kV | 17:05 | 20:51
2001-12-18 | Yes | Yes | Cheswold AT1 138/69kV xfmr | South Harrington - College Rd 138kV | 7:11 | 18:23
|  |  | Shieldalloy - Vineland 0711 69kV | Chambers - Churchtown 2313 230kV | 16:27 | 22:03
|  |  | Talbot - Trappe Tap 6716 69kV | Vienna AT20 230/138kV xfmr | 17:31 | 18:23
2001-12-19 | Yes | Yes | Talbot - Trappe Tap 6716 69kV | Vienna AT20 230/138kV xfmr | 6:55 | 9:06
|  |  | Jackson #4 230/115kV xfmr | Jackson - Yorkanna 230kV | 9:28 | 9:54
2001-12-20 | Yes | Yes | Cheswold AT1 138/69kV xfmr | Dover Tap - South Harrington 138kV | 6:19 | 12:59
|  |  | Westvolt | Reactive | 17:02 | 17:47
2001-12-21 | Yes | Yes | Branchburg - Readington M2265 230kV | Roseland - Whippany A941 230kV | 11:15 | 14:38
|  |  | Brunswick - Edison H1360 | Edison - Meadow Rd Q1317 | 19:42 | 0:08
2001-12-22 | No | Yes | Edison - Meadow Rd R1318 | Devilsbrook-Plainsboro-Trenton 138kV | 16:36 | 17:44
|  |  | Shieldalloy - Vineland 0711 69kV | Chambers - Churchtown 2313 230kV | 17:08 | 20:42
2001-12-23 | Yes | Yes | Shieldalloy - Vineland 0711 69kV | Chambers - Churchtown 2313 230kV | 16:44 | 18:27
2001-12-24 | No | Yes | Laurel - Woodstown 0740 69kV | Cumberland - Churchtown 230kV | 17:52 | 18:57
2001-12-25 | No | No
2001-12-26 | Yes | Yes | Church AT2 138/69kV xfmr | Milford AT20 230/138kV xfmr | 9:55 | 14:23
|  |  | Milford - S Harrington 13774 138kV | Indian River - Milford 23069 230kV | 16:11 | 23:51
|  |  | Western Transfers | Reactive | 16:35 | 18:02
|  |  | Monroe - Shieldalloy 0711 69kV | Chambers - Churchtown 2313 230kV | 17:07 | 22:39
|  |  | Preston - Todd 6716 69kV | Vienna AT20 230/138kV xfmr | 17:33 | 23:24
2001-12-27 | Yes | Yes | Milford - S Harrington 13774 138kV | Indian River - Milford 23069 230kV | 4:49 | 7:38
|  |  | Church AT2 138/69kV xfmr | Milford AT20 230/138kV xfmr | 7:38 | 16:15
|  |  | Western Transfers | Reactive | 17:02 | 18:44
|  |  | Monroe - Shieldalloy 0711 69kV | Cumberland - Churchtown 230kV | 16:13 | 22:57
|  |  | Church AT2 138/69kV xfmr | Cedar Creek - Red Lion 23030 230kV | 16:15 | 23:59
2001-12-28 | Yes | Yes | Milford - S Harrington 13774 138kV | Indian River - Milford 23069 230kV | 14:25 | 16:46
|  |  | Monroe - Shieldalloy 0711 69kV | Chambers - Churchtown 2313 230kV | 16:16 | 21:46
|  |  | Church AT2 138/69kV xfmr | Milford AT20 230/138kV xfmr | 16:36 | 17:18
|  |  | Western Transfers | Reactive | 16:52 | 18:34
|  |  | Preston - Todd 6716 69kV | Vienna AT20 230/138kV xfmr | 18:23 | 19:42
2001-12-29 | Yes | Yes | Church AT2 138/69kV xfmr | Cedar Creek - Red Lion 23030 230kV | 8:59 | 11:12 | 16:44 | 22:17
2001-12-30 | Yes | Yes | Church AT2 138/69kV xfmr | Cedar Creek - Red Lion 23030 230kV | 7:30 | 11:08 | 16:19 | 18:54
2001-12-31 | Yes | Yes | Church AT2 138/69kV xfmr | Cedar Creek - Red Lion 23030 230kV | 5:48 | 12:02
|  |  | Western Transfers | Reactive | 6:12 | 7:13 | 9:55 | 11:09
|  |  | Keeney AT50 500/230kV xfmr | Keeney - Red Lion 5036 500kV | 16:01 | 20:40
|  |  | Western Transfers | Reactive | 16:45 | 19:44
Formulas:
Date = +[Date, row above]+1