## Jan02
Percentage of correct off-cost operations projections: 73.3% (22/30 1 day - no forecast given on OASIS)
Off-Cost Operations + Projections: January 2002
Date | Projected | Occurred | Facility | Contingency | Begin Time | End Time | Begin Time | End Time
2002-01-01 | Yes | Yes | Church AT2 138/69kV xfmr | Cedar Creek - Red Lion 23030 230kV | 8:34 | 10:40
2002-01-02 | Yes | Yes | West Volt | Reactive | 6:17 | 9:06 | 11:08 | 12:28
|  |  | Edison - Meadow Rd R1318 138kV | Linden - Tosco B2254 230kV | 16:00 | 19:17
|  |  | West Volt | Reactive | 17:00 | 17:18
|  |  | Western Transfers | Reactive | 17:18 | 21:27
2002-01-03 | Yes | Yes | Edinboro - Erie South 115kV | Erie South - Erie West 345kV | 3:44 | 5:51
|  |  | Church AT2 138/69kV xfmr | Cedar Creek - Red Lion 23030 230kV | 6:21 | 22:03
|  |  | Bergen - Leonia T2272 230kV | Actual | n/a | n/a
|  |  | Brunswick - Edison H1360 138kV | Actual | 8:35 | 14:07
|  |  | Athenia - Saddlebrook Q2217 230kV | Actual | 9:02 | 11:05
|  |  | Keeney AT50 500/230kV xfmr | Keeney - Red Lion 5036 500kV | 9:53 | 11:10
|  |  | Western Transfers | Reactive | 11:09 | 13:12
|  |  | Edison - Meadow Rd R1318 138kV | Actual | 14:07 | 0:06
|  |  | Edison - Meadow Rd R1318 138kV | Deans - Pierson Ave G2207 230kV | 17:12 | 22:02
|  |  | East Towanda - South Troy 115kV | Potter - Two Mile 115kV | 17:33 | 20:52
2002-01-04 | Yes | Yes | Church AT2 138/69kV xfmr | Cedar Creek - Red Lion 23030 230kV | 6:15 | 7:10
|  |  | Cheswold AT1 138/69kV xfmr | Cheswold - Dover Tap 13775 138kV | 7:10 | 9:49
|  |  | Cheswold AT1 138/69kV xfmr | South Harrington - Dover Tap 13704 138kV | 9:49 | 19:19 | 19:53 | 17:18
|  |  | Harrington - Vaughn 6784 69kV | South Harrington - Dover Tap 13704 138kV | 19:48 | 20:21
2002-01-05 | Yes | Yes | Shieldalloy - Vineland 0711 69kV | Chambers - Churchtown 2313 230kV | 17:09 | 17:39
|  |  | Monroe #3 230/138kV xfmr | Chambers - Churchtown 2313 230kV | 17:39 | 21:27
|  |  | Harrington - Vaughn 6784 69kV | Cheswold - Dover Tap 13775 138kV | 18:19 | 19:25
|  |  | Cheswold AT1 138/69kV xfmr | Cheswold - Dover Tap 13775 138kV | 19:25 | 1:09
2002-01-06 | Yes | Yes | Cheswold AT1 138/69kV xfmr | Cheswold - Dover Tap 13775 138kV | 5:25 | 23:22
|  |  | Shieldalloy - Vineland 0711 69kV | Chambers - Churchtown 2313 230kV | 15:21 | 20:55
2002-01-07 | Yes | Yes | Cheswold AT1 138/69kV xfmr | Cheswold - Dover Tap 13775 138kV | 4:20 | 23:22
|  |  | Edison - Meadow Rd R1318 138kV | Devilsbrook - Plainsboro D1330 138kV | 6:04 | 8:32
|  |  | Shieldalloy - Vineland 0711 69kV | Chambers - Churchtown 2313 230kV | 7:12 | 11:59
|  |  | Edison - Meadow Rd R1318 138kV | Brunswick - Edison H1360 138kV | 8:32 | 9:09
|  |  | Monroe #3 230/138kV xfmr | Chambers - Churchtown 2313 230kV | 11:59 | 14:14 | 21:13 | 23:21
|  |  | Churchtown #1 230/69kV xfmr | Bridgeport - Mickleton 230kV | 16:11 | 18:15
|  |  | Edison - Meadow Rd R1318 138kV | Edison - Meadow Rd Q1317 | 9:09 | 10:25
2002-01-08 | Yes | Yes | Cheswold AT1 138/69kV xfmr | Cheswold - Dover Tap 13775 138kV | 0:00 | 20:02
|  |  | Monroe #3 230/138kV xfmr | Chambers - Churchtown 2313 230kV | 5:50 | 10:52 | 17:17 | 20:40
|  |  | Monroe - Shieldalloy 69kV | Chambers - Churchtown 2313 230kV | 5:50 | 10:13
|  |  | Western Transfers | Reactive | 18:02 | 18:22
|  |  | Church AT2 138/69kV xfmr | Cedar Creek - Red Lion 23030 230kV | 20:49 | 22:03
2002-01-09 | Yes | Yes | Church AT2 138/69kV xfmr | Cedar Creek - Red Lion 23030 230kV | 6:05 | 8:26
|  |  | Western Transfers | Reactive | 17:08 | 17:14
2002-01-10 | Yes | No
2002-01-11 | Yes | No
2002-01-12 | Yes | No
2002-01-13 | Yes | Yes | Eastern Transfers | Reactive | 17:30 | 17:51
2002-01-14 | Yes | Yes | Western Transfers | Reactive | 7:15 | 8:51 | 16:36 | 16:55
|  |  | Church AT2 138/69kV xfmr | Cedar Creek - Red Lion 23030 230kV | 6:11 | 8:10 | 17:54 | 20:47
|  |  | Preston - Todd 69kV | Vienna AT20 xfmr | 8:10 | 9:45
|  |  | West Volt | Reactive | 16:55 | 18:27
2002-01-15 | Yes | Yes | Erie West #1 345/115kV xfmr | Erie South - Erie West 345kV | 1:42 | 3:11 | 21:36 | 22:15
|  |  | Keeney AT50 500/230kV xfmr | Red Lion-Keeney 5036 + Keeney AT51 | 8:00 | 11:42 | 16:55 | 18:53
2002-01-16 | Yes | Yes | Shieldalloy - Vineland 0711 69kV | Chambers - Churchtown 2313 230kV | 9:54 | 14:15
2002-01-17 | Yes | Yes | Keeney AT50 500/230kV xfmr | Keeney - Red Lion 5036 500kV | 16:58 | 19:08
2002-01-18 | Yes | Yes | Church AT2 138/69kV xfmr | Cedar Creek - Red Lion 23030 230kV | 7:10 | 8:02 | 19:12 | 21:47
2002-01-19 | No | Yes | Church AT2 138/69kV xfmr | Cedar Creek - Red Lion 23030 230kV | 8:53 | 21:00
|  |  | Monroe - Shieldalloy 69kV | Cardiff - New Freedom 230kV | 22:20 | 7:00
2002-01-20 | No | Yes | Church AT2 138/69kV xfmr | Cedar Creek - Red Lion 23030 230kV | 9:00 | 9:52
|  |  | Shieldalloy - Vineland 0711 69kV | Cardiff - New Freedom 230kV | 12:03 | 12:57
|  |  | Keeney AT51 500/230kV xfmr | Keeney AT50 500/230kV xfmr | 17:26 | 18:34
2002-01-21 | Yes | No
2002-01-22 | Yes | Yes | Western Transfers | Reactive | 6:17 | 6:56
2002-01-23 | Yes | Yes | Western Transfers | Reactive | 17:06 | 18:38
|  |  | Keeney AT51 500/230kV xfmr | Keeney AT50 500/230kV xfmr | 17:06 | 20:05
2002-01-24 | Yes | Yes | Western Transfers | Reactive | 7:00 | 7:15
|  |  | Erie West #1 345/115kV xfmr | Erie South - Erie West 345kV | 7:05 | 7:40
|  |  | Deans #1 500/230kV xfmr | Salem - Deans 5021 500kV | 8:45 | 11:05
|  |  | Western Transfers | Reactive | 13:00 | 14:15 | 16:51 | 20:14
|  |  | Plymouth - Whitpain 22013 230kV | Roxborough - Whitpain 22065 230kV | 22:45 | 0:25
2002-01-25 | No | Yes | Western Transfers | Reactive | 17:05 | 19:19
2002-01-26 | No | No
2002-01-27 | No | No
2002-01-28 | Yes | Yes | Keeney AT51 500/230kV xfmr | Keeney AT50 500/230kV xfmr | 13:13 | 14:46
|  |  | Clifton - Cedar Grove K2263 230kV | Cedar Grove - Roseland B2228 230kV | 13:30 | 15:46
2002-01-29 | Yes | Yes | Clifton - Cedar Grove K2263 230kV | Cedar Grove - Roseland B2228 230kV | 9:40 | 16:57
|  |  | Monroe #3 230/138kV xfmr | Chambers - Churchtown 2313 230kV | 18:06 | 18:30
|  |  | Cromby #5 xfmr | Cromby - Upper Providence 230kV | 18:25 | 19:30
2002-01-30 | n/a | Yes | Erie West #1 345/115kV xfmr | Erie South - Erie West 345kV | 1:22 | 2:16 | 4:40 | 5:08
2002-01-31 | No | Yes | Erie West #1 345/115kV xfmr | Erie South - Erie West 345kV + Seneca Pump | 0:29 | 5:13
|  |  | Erie West #1 345/115kV xfmr | Erie South - Erie West 345kV | 7:07 | 8:30 | 11:47 | 1:16
Formulas:
Date = +[Date, row above]+1