## PJME
Percentage of correct off-cost operations projections June 2002: 83.0% (19/23 7 days - no forecast given on OASIS)
Off-Cost Operations - Projection History June 2002
Date | Projected | Occurred | Facility | Contingency | Begin Time | End Time | Begin Time | End Time
2002-06-01 | N/A | Yes | Vineland - Shieldalloy 69kV | Chambers - Churchtown 230kV | 3:50 | 5:00
|  |  | Monroe #3 230/138kV xfmr | Chambers - Churchtown 230kV | 9:23 | 22:50
|  |  | Cedar - Motts 69kV | Oyster Creek - Sands Point 230kV | 9:59 | 12:21
|  |  | Indian River AT-20 230/138kV xfmr | Piney Grove AT-20 230/138kV xfmr | 11:02 | 21:43
|  |  | Edison - Meadow Rd 138kV | Sewaren 220-1 230/138kV xfmr | 16:00 | 19:12
2002-06-02 | N/A | Yes | Cromby #3 138/69kV xfmr | Cromby - Upper Providence 230kV | 9:15 | 15:26
|  |  | Monroe #3 230/138kV xfmr | Chambers - Churchtown 230kV | 13:17 | 19:15
2002-06-03 | N/A | No | None
2002-06-04 | N/A | No | None
2002-06-05 | N/A | Yes | Cly - Collins 115kV | Hunterstown - Gardners 115kV | 12:57 | 20:45
|  |  | Goudey - Laurel Lake 115kV | East Towanda #3 230/115kV xfmr | 14:30 | 21:50
2002-06-06 | No | Yes | Goudey - Laurel Lake 115kV | East Towanda #3 230/115kV xfmr | 9:22 | 17:50
|  |  | Keeney AT20 230/138kV xfmr | Harmony AT20 230/138kV xfmr | 13:00 | 14:05
|  |  | Cedar - Motts 69kV | Oyster Creek - Sands Point 230kV | 19:12 | 20:08
2002-06-07 | No | No | None
2002-06-08 | Yes | Yes | Monroe #3 230/138kV xfmr | Chambers - Churchtown 230kV | 20:35 | 22:57
2002-06-09 | Yes | Yes | Keystone #3 500/230kV xfmr | Keystone-Juniata 500kV + Keystone #4 xfmr | 15:58 | 16:06
2002-06-10 | Yes | Yes | Carlisle Pike - Gardners 115kV | Hunterstown - Gardners 115kV | 8:01 | 23:42
|  |  | Edison - Meadow Rd 138kV | Sewaren 220-1 230/138kV xfmr | 10:20 | 15:23
|  |  | Laurel - Woodstown 69kV | Deepwater - Laurel 69kV | 12:44 | 21:45
|  |  | Adams - Brunswick 230kV | Branchburg-Deans 500kV + Deans 500-1 xfmr | 15:23 | 18:51
2002-06-11 | Yes | Yes | Carlisle Pike - Gardners 115kV | Hunterstown - Gardners 115kV | 7:00 | 2002-06-12 01:52
|  |  | Laurel - Woodstown 69kV | Cumberland #2 230/138kV xfmr | 9:30 | 9:58 | 22:12 | 23:52
|  |  | Middletown Jct - York Haven 230kV | Actual | 10:35 | 19:00
|  |  | Monroe #3 230/138kV xfmr | Chambers - Churchtown 230kV | 10:57 | 19:00
|  |  | Edison - Meadow Rd 138kV | Sewaren 220-1 230/138kV xfmr | 13:01 | 14:30 | 16:00 | 22:12
2002-06-12 | Yes | Yes | Carlisle Pike - Gardners 115kV | Hunterstown - Gardners 115kV | 6:20 | 23:40
|  |  | Middletown Jct - York Haven 230kV | Actual | 10:14 | 18:25
|  |  | Edison - Meadow Rd 138kV | Sewaren 220-1 230/138kV xfmr | 11:20 | 12:41 | 13:05 | 14:30
|  |  | Hallwood - Oak Hall 69kV | Oak Hall - Tasley 69kV | 13:16 | 19:40
|  |  | Cedar - Motts 69kV | Oyster Creek - Sands Point 230kV | 13:25 | 19:43
|  |  | Laurel - Woodstown 69kV | Cumberland #2 230/138kV xfmr | 13:42 | 23:07
|  |  | Dickerson - Quince Orchard 230kV | Dickerson - Quince Orchard 230kV | 15:10 | 17:10
2002-06-13 | No | Yes | Carlisle Pike - Gardners 115kV | Hunterstown - Gardners 115kV | 6:13 | 23:34
2002-06-14 | Yes | Yes | Met Ed Voltage | Area | 2:03 | 8:39
|  |  | Greene - Roxbury 115kV | Lewistown - Shade Gap 115kV | 8:39 | 14:35
|  |  | Carlisle Pike - Gardners 115kV | Hunterstown - Gardners 115kV | 14:35 | 23:00
2002-06-15 | Yes | No | None
2002-06-16 | Yes | No | None
2002-06-17 | Yes | Yes | Church - New Meredith 69kV | Cedar Creek - Red Lion 230kV | 6:45 | 12:56
|  |  | Talbot - Trappe Tap 69kV | Cedar Creek - Milford 230kV | 8:09 | 9:43
|  |  | Monroe - Sheildalloy 69kV | Chambers - Churchtown 230kV | 10:08 | 15:22
|  |  | Carlisle Pike - Gardners 115kV | Hunterstown - Gardners 115kV | 10:59 | 20:33
|  |  | Edison - Meadow Rd 138kV | Sewaren 220-1 230/138kV xfmr | 12:23 | 20:16
|  |  | Monroe #3 230/138kV xfmr | Chambers - Churchtown 230kV | 15:22 | 22:03
2002-06-18 | N/A | Yes | Church - New Meredith 69kV | Cedar Creek - Red Lion 230kV | 7:04 | 20:17
|  |  | Carlisle Pike - Gardners 115kV | Hunterstown - Gardners 115kV | 10:59 | 17:09
|  |  | Beckett - Paulsboro 69kV | Chambers - Churchtown 230kV | 14:53 | 16:27
|  |  | Monroe #3 230/138kV xfmr | Chambers - Churchtown 230kV | 16:27 | 19:25
|  |  | Edison - Meadow Rd 138kV | Sewaren 220-1 230/138kV xfmr | 16:51 | 19:21
2002-06-19 | Yes | Yes | Church - New Meredith 69kV | Cedar Creek - Red Lion 230kV | 6:15 | 19:21
|  |  | Laurel - Woodstown 69kV | Cumberland #2 230/138kV xfmr | 11:42 | 21:20
|  |  | Towanda Voltage | Reactive | 13:24 | 18:37
|  |  | Edison - Meadow Rd 138kV | Sewaren 220-1 230/138kV xfmr | 13:27 | 19:19
|  |  | Talbot - Tanyard 69kV | Vienna AT20 230/138kV xfmr | 20:42 | 22:02
2002-06-20 | Yes | Yes | Church - New Meredith 69kV | Cedar Creek - Red Lion 230kV | 6:36 | 18:13
|  |  | Cly - Collins 115kV | Hunterstown - Gardners 115kV | 15:56 | 21:35
|  |  | Edison - Meadow Rd 138kV | Sewaren 220-1 230/138kV xfmr | 13:17 | 19:56
2002-06-21 | Yes | Yes | Church - New Meredith 69kV | Cedar Creek - Red Lion 230kV | 6:00 | 12:33
|  |  | Church AT2 138/69kV xfmr | Cedar Creek - Red Lion 230kV | 12:33 | 15:06
|  |  | Cly - Collins 115kV | Hunterstown - Gardners 115kV | 14:19 | 19:47
2002-06-22 | Yes | Yes | Erie West #1 345/115kV xfmr | Erie South - Erie West 345kV | 0:03 | 2:25
|  |  | Edison - Meadow Rd 138kV | Sewaren 220-1 230/138kV xfmr | 10:18 | 22:40
|  |  | Laurel - Woodstown 69kV | Cumberland #2 230/138kV xfmr | 11:45 | 14:30 | 15:30 | 16:50
|  |  | Monroe #3 230/138kV xfmr | Chambers - Churchtown 230kV | 12:45 | 23:45
|  |  | Towanda Voltage | Reactive | 14:30 | 19:40
|  |  | Cedar Voltage | Reactive | 17:02 | 18:58
2002-06-23 | Yes | Yes | Monroe #3 230/138kV xfmr | Chambers - Churchtown 230kV | 9:17 | 18:57
|  |  | Laurel - Woodstown 69kV | Cumberland #2 230/138kV xfmr | 9:52 | 18:57
|  |  | Edison - Meadow Rd 138kV | Sewaren 220-1 230/138kV xfmr | 12:15 | 22:44
|  |  | Cedar Voltage | Reactive | 16:36 | 19:26
2002-06-24 | Yes | Yes | Laurel - Woodstown 69kV | Cumberland #2 230/138kV xfmr | 7:45 | 8:52
|  |  | Towanda Voltage | Reactive | 8:10 | 20:21
|  |  | Monroe #3 230/138kV xfmr | Chambers - Churchtown 230kV | 8:52 | 22:35
|  |  | Cedar - Motts 69kV | Oyster Creek - Sands Point 230kV | 9:50 | 23:59
|  |  | Hallwood - Oak Hall 69kV | Oak Hall - Tasley 69kV | 11:54 | 21:59
|  |  | Cromby - Moser 69kV | Cromby - Moser 69kV | 12:31 | 19:34
|  |  | Jackson #4 230/115kV xfmr | Jackson - Yorkana 230kV | 13:48 | 17:23
|  |  | West Volt | Reactive | 13:50 | 14:13
|  |  | Brandon Shores - Riverside 230kV | Brandon Shores - Riverside 230kV | 14:02 | 17:27
|  |  | PJM West Volt | Reactive | 14:13 | 21:40
|  |  | Cheswold AT1 138/69kV xfmr | Harrington - S Harrington 69kV | 16:18 | 19:52
|  |  | Wyemills AT2 138/69kV xfmr | Easton AT1 138/69kV xfmr | 17:49 | 19:03
|  |  | Laurel - Woodstown 69kV | Cumberland #2 230/138kV xfmr | 21:12 | 21:51 | 22:35 | 23:41
2002-06-25 | N/A | Yes | Laurel - Woodstown 69kV | Cumberland #2 230/138kV xfmr | 7:19 | 8:54
|  |  | Monroe #3 230/138kV xfmr | Chambers - Churchtown 230kV | 8:54 | 23:59
|  |  | Hallwood - Oak Hall 69kV | Oak Hall - Tasley 69kV | 9:44 | 22:06
|  |  | Cedar - Motts 69kV | Oyster Creek - Sands Point 230kV | 9:36 | 22:42
|  |  | Brandon Shores - Riverside 230kV | Brandon Shores - Riverside 230kV | 10:41 | 15:31
|  |  | East Towanda Voltage | Reactive | 11:24 | 19:27
|  |  | Keystone #3 500/230kV xfmr | Keystone #4 500/230kV xfmr | 11:55 | 15:14
|  |  | Jackson #4 230/115kV xfmr | Jackson - Yorkana 230kV | 12:12 | 22:35
|  |  | Hunterstown #2 230/115kV xfmr | Actual | 12:30 | 12:52
|  |  | Cromby - Moser 69kV | Cromby - Moser 69kV | 13:08 | 19:27
|  |  | Hummelstown - Middletown Jct 230kV | Middletown Jct #1 230/115kV xfmr | 13:10 | 14:06
|  |  | Keeney AT20 230/138kV xfmr | Harmony AT20 230/138kV xfmr | 14:55 | 20:06
|  |  | Cheswold AT1 138/69kV xfmr | Harrington - S Harrington 69kV | 15:03 | 20:01
2002-06-26 | Yes | Yes | Erie West #1 345/115kV xfmr | Erie South - Erie West 345kV | 4:58 | 5:35
|  |  | Laurel - Woodstown 69kV | Cumberland #2 230/138kV xfmr | 7:19 | 8:36 | 9:30 | 13:22
|  |  | Brandon Shores - Riverside 230kV | Brandon Shores - Riverside 230kV | 8:21 | 19:01
|  |  | Cedar - Motts 69kV | Oyster Creek - Sands Point 230kV | 8:43 | 13:22
|  |  | East Towanda Voltage | Reactive | 8:53 | 18:30
|  |  | Keeney AT20 230/138kV xfmr | Harmony AT20 230/138kV xfmr | 9:16 | 13:28
|  |  | Center - Westport 115kV | Center - Westport 115kV | 9:50 | 13:24 | 20:36 | 23:17
|  |  | Hallwood - Oak Hall 69kV | Oak Hall - Tasley 69kV | 9:57 | 13:30 | 17:45 | 22:09
|  |  | Cromby - Moser 69kV | Cromby - Moser 69kV | 10:38 | 13:24
|  |  | Cheswold AT1 138/69kV xfmr | Harrington - S Harrington 69kV | 12:14 | 17:59
|  |  | Monroe #3 230/138kV xfmr | Chambers - Churchtown 230kV | 16:59 | 22:42
|  |  | Edison - Meadow Rd 138kV | Sewaren 220-1 230/138kV xfmr | 17:16 | 22:37
|  |  | Gould Street - Westport 115kV | Pumphrey - Westport 115kV | 17:26 | 22:27
|  |  | Bair - Hill 115kV | Yoe - Yorkana 115kV | 18:20 | 21:44
2002-06-27 | Yes | Yes | Center - Westport 115kV | Center - Westport 115kV | 8:40 | 9:15 | 9:50 | 20:00
|  |  | Brandon Shores - Riverside 230kV | Brandon Shores - Riverside 230kV | 8:51 | 17:50
|  |  | Cedar - Motts 69kV | Oyster Creek - Sands Point 230kV | 9:24 | 23:24
|  |  | Keeney AT20 230/138kV xfmr | Harmony AT20 230/138kV xfmr | 9:36 | 20:18
|  |  | Cromby - Moser 69kV | Cromby - Moser 69kV | 10:19 | 19:54
|  |  | Cheswold AT1 138/69kV xfmr | Harrington - S Harrington 69kV | 12:42 | 18:40
|  |  | Hudson #2 xfmr | Bergen #1 | 15:28 | 20:56
|  |  | Monroe #3 230/138kV xfmr | Chambers - Churchtown 230kV | 21:48 | 23:47
2002-06-28 | Yes | Yes | Laurel - Woodstown 69kV | Cumberland #2 230/138kV xfmr | 7:58 | 9:39 | 16:31 | 21:42
|  |  | Monroe #3 230/138kV xfmr | Chambers - Churchtown 230kV | 9:39 | 13:29 | 21:42 | 23:31
|  |  | Edison - Meadow Rd 138kV | Sewaren 220-1 230/138kV xfmr | 11:46 | 13:00 | 14:10 | 21:54
|  |  | Laurel - Woodstown 69kV | Cumberland #2 230/138kV xfmr | 13:29 | 14:26
|  |  | Cedar Interface | Reactive | 16:10 | 2002-06-29 00:11
|  |  | Hallwood - Oak Hall 69kV | Oak Hall - Tasley 69kV | 16:49 | 22:00
2002-06-29 | Yes | Yes | Cromby #6 230/69kV xfmr | Cromby - Limerick 230kV | 7:38 | 14:00
|  |  | Talbot - Tanyard 69kV | Vienna AT20 230/138kV xfmr | 9:15 | 10:10 | 11:59 | 12:40
|  |  | Clayton - Jones 138kV | Cedar Creek - Milford 230kV | 11:45 | 12:40
|  |  | Edison - Meadow Rd 138kV | Sewaren 220-1 230/138kV xfmr | 12:37 | 16:05 | 17:34 | 21:38
|  |  | Church AT2 138/69kV xfmr | Cedar Creek - Red Lion 230kV | 12:40 | 21:30
|  |  | Cedar - Motts 69kV | Oyster Creek - Sands Point 230kV | 13:33 | 20:50
|  |  | Hallwood - Oak Hall 69kV | Oak Hall - Tasley 69kV | 15:38 | 20:25
|  |  | Keeney AT51 500/230kV xfmr | Keeney AT50 500/230kV xfmr | 22:30 | 23:35
2002-06-30 | Yes | Yes | Laurel - Woodstown 69kV | Cumberland #2 230/138kV xfmr | 10:16 | 12:40
|  |  | Edison - Meadow Rd 138kV | Sewaren 220-1 230/138kV xfmr | 11:56 | 13:19 | 16:50 | 20:23
|  |  | Cedar - Motts 69kV | Oyster Creek - Sands Point 230kV | 12:02 | 21:37
Formulas:
Date = +[Date, row above]+1

## PJMW
Off-Cost Operations - June 2002
Date | Facility | Contingency | Begin Time | End Time | Begin Time | End Time
2002-06-01 | Wylie Ridge #7 500/345kV xfmr | Wylie Ridge #5 500/345kV xfmr | 10:43 | 13:32 | 15:37 | 19:31
| Layman - Wolf Creek 138kV | Belmont - Harrison 500kV | 12:17 | 19:00
2002-06-02 | Wylie Ridge #7 500/345kV xfmr | Wylie Ridge #5 500/345kV xfmr | 3:43 | 19:01
2002-06-03 | None
2002-06-04 | Cabot #1 500/138kV xfmr | Cabot #2 & #4 500/138kV xfmrs | 15:15 | 19:30
| Pruntytown #3 500/138kV xfmr | Pruntytown #1&2 500/138kV xfmrs | 15:25 | 19:30
| Bedington-Shepherdstown 138kV | Bedington - Doubs 500kV | 15:55 | 19:45
2002-06-05 | Wylie Ridge #7 500/345kV xfmr | Wylie Ridge #5 500/345kV xfmr | 5:35 | 9:12 | 13:25 | 22:16
| Bedington - Black Oak 500kV | Reactive | 9:00 | 20:20
| Halfway - Marlowe 138kV | Bedington - Doubs 500kV | 10:08 | 21:20
| Bedington-Shepherdstown 138kV | Bedington - Doubs 500kV | 10:49 | 21:20
| Kammer #8 765/500kV xfmr | Belmont - Harrison 500kV | 11:34 | 17:05
2002-06-06 | Wylie Ridge #7 500/345kV xfmr | Wylie Ridge #5 500/345kV xfmr | 2:26 | 18:21
| Bedington - Black Oak 500kV | Reactive | 8:32 | 18:40
| Kammer #8 765/500kV xfmr | Belmont - Harrison 500kV | 10:58 | 11:36
| Bedington-Shepherdstown 138kV | Bedington - Doubs 500kV | 12:18 | 18:20
2002-06-07 | Wylie Ridge #7 500/345kV xfmr | Wylie Ridge #5 500/345kV xfmr | 3:50 | 7:21 | 9:28 | 14:24
| Wylie Ridge #7 500/345kV xfmr | Wylie Ridge #5 500/345kV xfmr | 15:00 | 17:25 | 23:20 | 2002-06-08 03:40
2002-06-08 | Wylie Ridge #7 500/345kV xfmr | Wylie Ridge #5 500/345kV xfmr | 8:21 | 22:35
2002-06-09 | Mitchell - Shepler Hill Jct 138kV | Harrison - Pruntytown 500kV | 16:32 | 17:47
| Wylie Ridge #7 500/345kV xfmr | Wylie Ridge #5 500/345kV xfmr | 17:12 | 22:46
2002-06-10 | Wylie Ridge #7 500/345kV xfmr | Wylie Ridge #5 500/345kV xfmr | 5:57 | 2002-06-11 00:13
| Cabot #1 500/138kV xfmr | Cabot #2 & #4 500/138kV xfmrs | 11:10 | 19:13
| Halfway - Marlowe 138kV | Bedington - Doubs 500kV | 12:40 | 23:45
| Doubs #1 500/230kV xfmr | Doubs #2 + #4 500/230kV xfmrs | 16:50 | 19:37
| Bedington - Black Oak 500kV | Reactive | 20:30 | 22:05
2002-06-11 | Bedington - Nipetown 138kV | Bedington - Doubs 500kV | 7:35 | 14:10
| Cabot #1 500/138kV xfmr | Cabot #2 & #4 500/138kV xfmrs | 10:16 | 23:35
| Pruntytown #3 500/138kV xfmr | Pruntytown #1&2 500/138kV xfmrs | 14:10 | 21:48
| Bedington-Shepherdstown 138kV | Bedington - Doubs 500kV | 14:10 | 21:59
| AP South | Reactive | 14:55 | 18:11
| Doubs #1 500/230kV xfmr | Doubs #2 + #4 500/230kV xfmrs | 19:40 | 22:06
| Kammer #8 765/500kV xfmr | Belmont - Harrison 500kV | 20:52 | 21:22
2002-06-12 | Wylie Ridge #7 500/345kV xfmr | Wylie Ridge #5 500/345kV xfmr | 7:10 | 21:01
| Halfway - Marlowe 138kV | Bedington - Doubs 500kV | 8:32 | 8:44 | 9:05 | 22:11
| Bedington - Black Oak 500kV | Reactive | 8:35 | 9:00
| Kammer #8 765/500kV xfmr | Belmont - Harrison 500kV | 9:30 | 13:28
| Bedington - Black Oak 500kV | Pruntytown - Mt Storm 500kV | 11:20 | 19:27
| Cabot #1 500/138kV xfmr | Cabot #2 & #4 500/138kV xfmrs | 10:55 | 22:00
| Harrison Tap - Kammer 500kV | Belmont - Harrison 500kV | 15:20 | 16:00
| Bedington - Black Oak 500kV | Reactive | 20:11 | 21:40
2002-06-13 | Wylie Ridge #7 500/345kV xfmr | Wylie Ridge #5 500/345kV xfmr | 3:49 | 8:03
| Bedington - Black Oak 500kV | Pruntytown - Mt Storm 500kV | 9:41 | 13:13
| Bedington - Black Oak 500kV | Reactive | 10:00 | 11:35
2002-06-14 | Wylie Ridge #7 500/345kV xfmr | Wylie Ridge #5 500/345kV xfmr | 1:59 | 7:35
2002-06-15 | None
2002-06-16 | Fort Martin - Pruntytown 500kV | Black Oak - Hatfield 500kV | 10:15 | 18:16
| Elrama - Mitchell 138kV | Ft Martin-Harrison-Kammer + xfmr | 10:56 | 18:16
2002-06-17 | Bedington - Black Oak 500kV | Reactive | 10:25 | 21:35
| AP South | Reactive | 11:48 | 20:35
| Wylie Ridge #7 500/345kV xfmr | Wylie Ridge #5 500/345kV xfmr | 16:04 | 21:11
2002-06-18 | Wylie Ridge #7 500/345kV xfmr | Wylie Ridge #5 500/345kV xfmr | 8:03 | 14:08 | 16:07 | 19:25
| Halfway - Marlowe 138kV | Bedington - Doubs 500kV | 11:04 | 21:00
| Bedington-Shepherdstown 138kV | Bedington - Doubs 500kV | 15:09 | 21:00
| AP South | Reactive | 16:00 | 21:05
2002-06-19 | Bedington - Black Oak 500kV | Reactive | 9:07 | 11:28
| Wylie Ridge #7 500/345kV xfmr | Wylie Ridge #5 500/345kV xfmr | 9:07 | 11:27
| Halfway - Marlowe 138kV | Bedington - Doubs 500kV | 14:28 | 21:00
2002-06-20 | None
2002-06-21 | None
2002-06-22 | Halfway - Marlowe 138kV | Bedington - Doubs 500kV | 15:10 | 17:45
2002-06-23 | Fort Martin - Pruntytown 500kV | Hatfield - Black Oak 500kV | 8:55 | 12:04
| Cabot #2 500/138kV xfmr | Cabot #4 500/138kV xfmr | 13:04 | 13:34
| Halfway - Marlowe 138kV | Bedington - Doubs 500kV | 13:30 | 17:42
| Doubs - Mount Storm 500kV | Mount Storm-Meadowbrook 500kV | 16:10 | 18:18
2002-06-24 | Halfway - Marlowe 138kV | Bedington - Doubs 500kV | 8:58 | 20:10
| Doubs #1 500/230kV xfmr | Doubs - Brighton 500kV | 12:55 | 20:37
| Yukon #4 500/138kV xfmr | Keystone - South Bend 500kV | 13:05 | 16:27
| Bedington - Black Oak 500kV | Reactive | 13:38 | 20:10
| Eureka - Willow Island 138kV | Kammer - Scanton + Scanton #4 xfmr | 16:13 | 16:59
2002-06-25 | Bedington - Black Oak 500kV | Reactive | 8:03 | 20:50
| Halfway - Marlowe 138kV | Bedington - Doubs 500kV | 8:35 | 21:20
| Doubs #1 500/230kV xfmr | Doubs - Brighton 500kV | 9:04 | 18:00
| AP South | Reactive | 17:33 | 21:20
| Doubs - Mount Storm 500kV | Mount Storm-Meadowbrook 500kV | 18:30 | 18:41
2002-06-26 | Wylie Ridge #7 500/345kV xfmr | Wylie Ridge #5 500/345kV xfmr | 2:54 | 11:32
| Bedington - Black Oak 500kV | Reactive | 6:24 | 8:33
| PJM West 500kV | Reactive | 8:33 | 22:02
| Doubs #1 500/230kV xfmr | Doubs - Brighton 500kV | 12:15 | 20:27
2002-06-27 | Wylie Ridge #7 500/345kV xfmr | Wylie Ridge #5 500/345kV xfmr | 1:44 | 20:59
| Halfway - Marlowe 138kV | Bedington - Doubs 500kV | 8:38 | 18:42
| Doubs #1 500/230kV xfmr | Doubs - Brighton 500kV | 13:09 | 21:20
| Black Oak #3 500/138kV xfmr | Black Oak - Hatfield 500kV | 20:24 | 21:13
2002-06-28 | Wylie Ridge #7 500/345kV xfmr | Wylie Ridge #5 500/345kV xfmr | 8:37 | 17:08
| PJM West 500kV | Reactive | 9:10 | 11:02
| PJM West 500kV | Reactive | 15:00 | 15:58
| Bedington - Black Oak 500kV | Reactive | 15:58 | 19:14
2002-06-29 | Wylie Ridge #7 500/345kV xfmr | Wylie Ridge #5 500/345kV xfmr | 10:07 | 21:25 | 23:43 | 2002-06-30 03:02
| Doubs #1 500/230kV xfmr | Doubs - Brighton 500kV | 18:15 | 18:55
2002-06-30 | Wylie Ridge #7 500/345kV xfmr | Wylie Ridge #5 500/345kV xfmr | 10:24 | 20:03
Formulas:
Date = +[Date, row above]+1