## PJME
Off-Cost Operations - August 2003
Date | Facility | Contingency | Begin Time | End Time
2003-08-01 | Dupont Seaford - Laurel 69kV | Steele - Vienna 230kV | 9:31 | 11:45
| Edison - Meadow Rd 138kV | Sewaren 230/138kV xfmr | 9:37 | 22:45
| Clayton - Jones 138kV | Cedar Creek - Milford 230kV | 11:45 | 13:45
| Cedar Interface | Reactive | 12:21 | 22:02
| Dupont Seaford - Laurel 69kV | Steele - Vienna 230kV | 13:45 | 20:57
2003-08-02 | Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 5:35 | 6:04
| Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 6:38 | 2003-08-03 05:56
| Lewis - Motts 69kV | Oyster Creek - Sands Point 230kV | 10:20 | 10:29
| Cedar Interface | Reactive | 10:29 | 22:52
| Conastone #3 500/230kV xfmr | Conastone #2 500/230kV xfmr | 13:46 | 19:45
2003-08-03 | Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 9:54 | 11:33
| Cedar Interface | Reactive | 10:11 | 22:49
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 10:21 | 11:00
| Hosensack - N Temple 230kV | Lyons - N Temple 230kV | 11:14 | 12:17
| Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 12:04 | 2003-08-04 01:06
| Edison - Meadow Rd 138kV | Sewaren 230/138kV xfmr | 13:11 | 14:11
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 13:47 | 21:56
2003-08-04 | Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 1:51 | 6:00
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 8:39 | 22:42
| Bayonne - Marion 138kV | Linden - Bayway 230kV | 9:15 | 10:09
| Cedar Interface | Reactive | 9:45 | 22:42
| Clifton - Cedar Grove K 230kV | Cedar Grove - Roseland B 230kV | 10:01 | 11:29
| Eastern Transfers | Reactive | 10:22 | 11:03
| Yorkana 1A 230/115kV xfmr | Jackson - Yorkana 230kV | 10:40 | 22:47
| Central Transfers | Reactive | 11:25 | 12:25
| Branchburg - Readington 230kV | Roseland - Whippany 230kV | 11:29 | 12:25
| Farmers Valley - Two Mile 115kV | Actual | 11:44 | 15:36
| Plainsboro - Trenton 138kV | Sewaren 230/138kV xfmr | 13:44 | 15:22
| Central Transfers | Reactive | 18:24 | 20:54
| Roseland 220-3 xfmr | Cedar Grove - Roseland B 230kV | 21:03 | 21:50
| Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 23:26 | 2003-08-05 05:15
2003-08-05 | Keeney AT51 500/230kV xfmr | Keeney AT50 500/230kV xfmr | 8:32 | 9:30
| Eastern Transfers | Reactive | 8:39 | 11:42
| Clifton - Cedar Grove K 230kV | Cedar Grove - Roseland B 230kV | 8:44 | 14:47
| Yorkana 1A 230/115kV xfmr | Jackson - Yorkana 230kV | 10:06 | 11:21
| Middletown Jct - Yorkhaven 115kV | Actual | 14:21 | 14:47
| Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 14:47 | 18:07
| Yorkana 1A 230/115kV xfmr | Jackson - Yorkana 230kV | 14:47 | 19:40
| Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 22:53 | 2003-08-06 04:55
2003-08-06 | Keeney AT51 500/230kV xfmr | Keeney AT50 500/230kV xfmr | 8:16 | 10:32
| Deans #1 500/230kV xfmr | Smithburg - Deans 500kV | 11:01 | 13:52
| Keeney AT51 500/230kV xfmr | Keeney AT50 500/230kV xfmr | 12:35 | 13:28
| Yorkana 1A 230/115kV xfmr | Jackson - Yorkana 230kV | 13:58 | 21:04
| Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 14:00 | 15:11
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 14:25 | 21:25
| Lewis - Motts 69kV | Oyster Creek - Sands Point 230kV | 16:54 | 19:06
| Keeney AT51 500/230kV xfmr | Keeney AT50 500/230kV xfmr | 20:06 | 21:25
| Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 23:14 | 23:59
2003-08-07 | Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 1:10 | 13:50
| Keeney AT51 500/230kV xfmr | Keeney AT50 500/230kV xfmr | 10:06 | 11:47
| Waldwick 345/230kV xfmr | S Mawa - Waldwick 345kV | 13:50 | 16:09
| Yorkana 1A 230/115kV xfmr | Jackson - Yorkana 230kV | 15:53 | 18:43
| Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 16:09 | 18:15
| Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 23:16 | 2003-08-08 02:42
2003-08-08 | Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 5:11 | 7:20
| Edison - Meadow Rd 138kV | Sewaren 230/138kV xfmr | 9:49 | 10:00
| Brunswick - Edison 138kV | Sewaren 230/138kV xfmr | 10:00 | 11:15
| Eastern Transfers | Reactive | 10:38 | 13:15
| Brunswick - Edison 138kV | Sewaren 230/138kV xfmr | 12:00 | 13:08
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 13:05 | 21:40
| Brandon Shores - Riverside 230kV | Brandon Shores - Riverside 230kV | 13:37 | 18:53
| Brunswick - Edison 138kV | Sewaren 230/138kV xfmr | 14:09 | 2003-08-09 00:57
| Cedar Interface | Reactive | 14:45 | 21:53
| Eastern Transfers | Reactive | 16:16 | 19:20
| Clifton - Cedar Grove K 230kV | Cedar Grove - Roseland B 230kV | 22:57 | 2003-08-09 02:20
2003-08-09 | Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 2:20 | 6:12
| Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 8:35 | 12:45
| PJM W 500 | Reactive | 20:11 | 2003-08-10 00:30
2003-08-10 | Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 1:04 | 1:45
| Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 2:56 | 6:10
| PJM W 500 | Reactive | 12:32 | 13:32
| Brunswick - Edison 138kV | Sewaren 230/138kV xfmr | 12:37 | 14:08
| Lewis - Motts 69kV | Sands Point - Cedar 69kV | 15:08 | 22:09
| PJM W 500 | Reactive | 15:22 | 17:17
2003-08-11 | Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 5:12 | 6:15
| Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 7:55 | 15:15
| Keeney AT51 500/230kV xfmr | Keeney AT50 500/230kV xfmr | 8:30 | 10:03
| PJM W 500 | Reactive | 10:03 | 10:52
| Plymouth Meeting - Whitpain 230kV | Limerick - Cromby 230kV | 12:52 | 22:06
| Brandon Shores - Riverside 230kV | Brandon Shores - Riverside 230kV | 13:00 | 18:25
| Clifton - Cedar Grove K 230kV | Cedar Grove - Roseland B 230kV | 16:38 | 19:03
| Sewaren 230/138kV xfmr | Actual | 16:58 | 17:28
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 18:19 | 20:48
| Keeney AT51 500/230kV xfmr | Keeney AT50 500/230kV xfmr | 19:15 | 21:11
| Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 23:53 | 2003-08-12 06:10
2003-08-12 | Brandon Shores - Riverside 230kV | Brandon Shores - Riverside 230kV | 10:55 | 12:39
| Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 11:10 | 13:36
| PJM W 500 | Reactive | 11:12 | 12:00
| PJM W 500 | Reactive | 14:07 | 15:20
| Jackson #4 230/115kV xfmr | Jackson - Yorkana 230kV | 14:50 | 19:07
| Plainsboro - Trenton 138kV | Sewaren 230/138kV xfmr | 16:32 | 19:02
| Waneeta #8 xfmr | Actual | 16:48 | 19:10
| Branchburg - Readington 230kV | Roseland - Whippany 230kV | 18:10 | 21:47
| Cedar Grove - Roseland F 230kV | Branchburg - Ramapo 500kV | 23:37 | 2003-08-13 09:32
2003-08-13 | Brunswick - Edison 138kV | Sewaren 230/138kV xfmr | 7:08 | 17:37
| Keeney AT51 500/230kV xfmr | Keeney AT50 500/230kV xfmr | 9:30 | 10:42
| Bayonne - Marion 138kV | Linden - Bayway 230kV | 10:05 | 13:18
| Brandon Shores - Riverside 230kV | Brandon Shores - Riverside 230kV | 11:49 | 19:30
| Jackson #4 230/115kV xfmr | Jackson - Yorkana 230kV | 14:02 | 19:30
| Lewis - Motts 69kV | Sands Point - Cedar 69kV | 14:06 | 21:00
| Edison - Meadow Rd 138kV | Sewaren 230/138kV xfmr | 17:37 | 22:45
| Plymouth Meeting - Whitpain 230kV | Limerick - Cromby 230kV | 17:45 | 21:40
| Clifton - Cedar Grove K 230kV | Cedar Grove - Roseland B 230kV | 19:07 | 22:45
| Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 23:12 | 23:50
2003-08-14 | Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 2:42 | 6:00
| Edison - Meadow Rd 138kV | Sewaren 230/138kV xfmr | 7:15 | 10:16
| Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 8:37 | 10:05
| Bayonne - Marion 138kV | Linden - Bayway 230kV | 10:01 | 12:04
| Lewis - Motts 69kV | Sands Point - Cedar 69kV | 10:10 | 17:39
| Jackson #4 230/115kV xfmr | Jackson - Yorkana 230kV | 10:36 | 17:39
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 10:43 | 13:47
| Plymouth Meeting - Whitpain 230kV | Limerick - Cromby 230kV | 11:15 | 17:39
| PJM W 500 | Reactive | 11:28 | 11:40
| Edison - Meadow Rd 138kV | Sewaren 230/138kV xfmr | 11:28 | 17:39
| Lewis - Motts 69kV | Sands Point - Cedar 69kV | 12:10 | 17:39
| Beckett - Paulsboro 69kV | Chambers - Churchtown 230kV | 13:40 | 17:39
| Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 14:23 | 17:39
2003-08-15 | Hillsdale - New Milford 230kV | Actual | 7:00 | 7:08
| Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 7:08 | 18:04
| Cedar Interface | Reactive | 9:44 | 23:47
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 10:03 | 10:46
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 11:56 | 13:06
| Eastern Transfers | Reactive | 11:58 | 19:23
| Brandon Shores - Riverside 230kV | Brandon Shores - Riverside 230kV | 12:06 | 16:50
| Warren - Falconer 115kV | Actual | 13:22 | 16:52
| Branchburg - Readington 230kV | Roseland - Whippany 230kV | 17:36 | 19:31
| Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 18:04 | 23:59
| Brandon Shores - Riverside 230kV | Brandon Shores - Riverside 230kV | 18:48 | 23:47
2003-08-16 | Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 8:36 | 9:37
| Cedar Interface | Reactive | 8:50 | 22:10
| Landis - Minotola 69kV | Cardiff - New Freedom 230kV | 11:20 | 12:40
| Edison - Meadow Rd 138kV | Sewaren 230/138kV xfmr | 15:14 | 16:58
| Edison - Meadow Rd 138kV | Sewaren 230/138kV xfmr | 20:08 | 20:32
2003-08-17 | Cedar Grove - Roseland F 230kV | Millstone #3 | 9:01 | 9:58
| Plymouth Meeting - Whitpain 230kV | Limerick - Cromby 230kV | 9:23 | 18:37
| Vineland - Shieldalloy 69kV | Cumberland - Churchtown 230kV | 10:00 | 16:12
| Keeney AT51 500/230kV xfmr | Keeney AT50 500/230kV xfmr | 11:15 | 12:00
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 16:12 | 21:42
| Cedar Interface | Reactive | 11:33 | 2003-08-18 00:50
2003-08-18 | Lewis - Motts 69kV | Oyster Creek - Sands Point 230kV | 7:44 | 22:23
| Vineland - Shieldalloy 69kV | Chambers - Churchtown 230kV | 9:31 | 10:57
| Plymouth Meeting - Whitpain 230kV | Limerick - Cromby 230kV | 15:31 | 19:10
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 18:02 | 22:53
2003-08-19 | Roseland - Whippany 230kV | Branchburg - Ramapo 500kV | 4:57 | 5:55
| Roseland - Whippany 230kV | Branchburg - Ramapo 500kV | 7:35 | 9:13
| Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 9:27 | 23:53
| Edison - Meadow Rd 138kV | Sewaren 230/138kV xfmr | 10:00 | 21:03
| Plymouth Meeting - Whitpain 230kV | Limerick - Cromby 230kV | 10:14 | 13:42
| Keeney AT51 500/230kV xfmr | Keeney AT50 500/230kV xfmr | 10:23 | 12:09
| Keeney AT51 500/230kV xfmr | Keeney AT50 500/230kV xfmr | 10:26 | 21:50
| Cedar Interface | Reactive | 13:01 | 22:14
| Plymouth Meeting - Whitpain 230kV | Limerick - Cromby 230kV | 15:28 | 19:24
| Branchburg - Readington 230kV | Branchburg - Ramapo 500kV | 23:53 | 2003-08-19 07:24
2003-08-20 | Branchburg - Readington 230kV | Branchburg - Ramapo 500kV | 7:53 | 8:04
| Vineland - Shieldalloy 69kV | Cumberland - Churchtown 230kV | 9:10 | 10:10
| Indian River AT20 230/138kV xfmr | Piney Grove AT20 230/138kV xfmr | 9:58 | 10:40
| Plymouth Meeting - Whitpain 230kV | Limerick - Cromby 230kV | 10:04 | 11:21
| Brunswick - Edison 138kV | Sewaren 230/138kV xfmr | 10:15 | 10:49
| Cedar Interface | Reactive | 11:22 | 21:57
| Jackson #4 230/115kV xfmr | Jackson - Yorkana 230kV | 12:17 | 13:55
| Clifton - Cedar Grove K 230kV | Cedar Grove - Roseland B 230kV | 13:01 | 16:27
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 14:08 | 22:01
| Morris Park - Martins Creek 230kV | Portland - Martins Creek 230kV | 14:17 | 18:10
| Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 19:57 | 2003-08-21 00:49
2003-08-21 | Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 2:35 | 5:09
| Garman - Glory 115kV | Warren - Glade 230kV | 7:13 | 7:23
| Clifton - Cedar Grove K 230kV | Cedar Grove - Roseland B 230kV | 8:34 | 16:54
| Cedar Interface | Reactive | 10:00 | 22:13
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 11:16 | 22:12
| Keeney AT51 500/230kV xfmr | Keeney AT50 500/230kV xfmr | 11:32 | 12:30
| Plainsboro - Trenton 138kV | Sewaren 230/138kV xfmr | 11:32 | 12:37
| Waneeta #8 xfmr | Actual | 12:13 | 13:29
| Brunswick - Edison 138kV | Sewaren 230/138kV xfmr | 12:37 | 18:10
| PE Interface | Reactive | 12:42 | 20:00
| Whitpain #3 500/230kV xfmr | Actual | 13:29 | 15:40
| Roseland 220-4 xfmr | Laurel Ave - Roseland 138kV | 15:36 | 18:10
| Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 16:54 | 17:58
| Bair - Hill 115kV | Yoe - Yorkana 115kV | 18:37 | 21:13
| Brunswick - Edison 138kV | Sewaren 230/138kV xfmr | 19:18 | 21:12
| Portland - Martins Creek 230kV | Morris Park - Martins Creek 230kV | 19:22 | 21:12
| Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 22:51 | 2003-08-22 00:30
2003-08-22 | Cedar Interface | Reactive | 10:00 | 23:55
| Elroy - Hosensack 500kV | Alburtis - Branchburg 500kV | 11:18 | 17:48
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 11:29 | 21:53
| Waneeta #8 xfmr | Actual | 11:34 | 12:16
| Eastern Transfers | Reactive | 12:09 | 15:30
| Brandon Shores - Riverside 230kV | Brandon Shores - Riverside 230kV | 12:10 | 16:27
| Cromby - Moser 69kV | Cromby - Moser 69kV | 12:11 | 17:35
| North PE | Reactive | 12:15 | 23:31
| Whitpain #3 500/230kV xfmr | Actual | 12:19 | 13:47
| Hudson #2 xfmr | Bergen Gen | 12:38 | 20:56
| Bair - Hill 115kV | Yoe - Yorkana 115kV | 12:53 | 19:25
| Greystone - Portland 230kV | Kittatinny - Portland 230kV | 14:22 | 16:51
| Branchburg #1 500/230 xfmr | Branchburg #2 500/230 xfmr | 16:10 | 16:26
| Indian River AT20 230/138kV xfmr | Indian River - Piney Grove 230kV | 16:40 | 19:57
| Dupont Seaford - Laurel 69kV | Steele - Vienna 230kV | 16:40 | 17:23
| Hallwood - Oak Hall 69kV | Perdue - Tasley 69kV | 18:06 | 19:38
2003-08-23 | Edison - Meadow Rd 138kV | Sewaren 230/138kV xfmr | 12:20 | 18:42
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 12:20 | 21:47
| Lewis - Motts 69kV | Oyster Creek - Sands Point 230kV | 13:08 | 14:30
| Cedar Interface | Reactive | 14:30 | 21:12
2003-08-24 | Athenia - Saddlebrook 230kV | Actual | 2:59 | 4:32
2003-08-25 | Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 0:25 | 9:18
| Plymouth Meeting - Whitpain 230kV | Limerick - Cromby 230kV | 8:22 | 12:55
| Brunswick - Edison 138kV | Sewaren 230/138kV xfmr | 12:42 | 13:49
| Lewis - Motts 69kV | Oyster Creek - Sands Point 230kV | 16:27 | 19:08
| Edison - Meadow Rd 138kV | Sewaren 230/138kV xfmr | 17:42 | 22:01
| Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 23:12 | 2003-08-26 00:18
2003-08-26 | Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 4:55 | 6:14
| Keeney AT51 500/230kV xfmr | Keeney AT50 500/230kV xfmr | 12:45 | 14:05
| Lewis - Motts 69kV | Oyster Creek - Sands Point 230kV | 14:05 | 22:11
| North PE | Reactive | 14:20 | 15:00
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 14:39 | 19:59
| Dupont Seaford - Laurel 69kV | Vienna AT20 230/138kV xfmr | 15:31 | 15:44
| DPL South | Reactive | 15:55 | 16:50
| Indian River AT20 230/138kV xfmr | Indian River - Piney Grove 230kV | 16:50 | 17:25
| Talbot - Trappe Tap 69kV | Vienna AT20 230/138kV xfmr | 17:25 | 19:44
| Keeney AT51 500/230kV xfmr | Keeney AT50 500/230kV xfmr | 19:44 | 21:00
| Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 21:44 | 2003-08-27 05:53
2003-08-27 | Plymouth Meeting - Whitpain 230kV | Limerick - Cromby 230kV | 0:21 | 2:34
| Plymouth Meeting - Whitpain 230kV | Limerick - Cromby 230kV | 5:51 | 2003-08-28 02:23
| North PE | Reactive | 10:07 | 16:02
| Lewis - Motts 69kV | Oyster Creek - Sands Point 230kV | 11:29 | 23:05
| Dupont Seaford - Laurel 69kV | Vienna AT20 230/138kV xfmr | 13:38 | 18:41
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 13:54 | 21:22
| Brunswick - Edison 138kV | Sewaren 230/138kV xfmr | 14:05 | 22:55
| Clifton - Cedar Grove K 230kV | Cedar Grove - Roseland B 230kV | 20:02 | 20:21
| Erie South - Gore Jct 115kV | Erie West - Fairview East 115kV | 22:00 | 2003-08-28 09:49
| Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 23:11 | 2003-08-28 05:11
2003-08-28 | Plymouth Meeting - Whitpain 230kV | Limerick - Cromby 230kV | 6:05 | 9:35
| Clifton - Cedar Grove K 230kV | Cedar Grove - Roseland B 230kV | 8:18 | 8:53
| Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 8:47 | 10:20
| Keeney AT51 500/230kV xfmr | Keeney AT50 500/230kV xfmr | 9:06 | 21:01
| Brunswick - Edison 138kV | Sewaren 230/138kV xfmr | 9:24 | 21:22
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 10:20 | 21:18
| Cedar Interface | Reactive | 11:43 | 21:10
| Plymouth Meeting - Whitpain 230kV | Limerick - Cromby 230kV | 12:29 | 21:10
2003-08-29 | Plymouth Meeting - Whitpain 230kV | Limerick - Cromby 230kV | 0:25 | 0:36
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 10:21 | 23:55
| Talbot - Trappe Tap 69kV | Vienna AT20 230/138kV xfmr | 10:41 | 12:08
| Brunswick - Edison 138kV | Sewaren 230/138kV xfmr | 10:42 | 23:46
| Cedar Interface | Reactive | 10:55 | 23:29
| Jackson #4 230/115kV xfmr | Jackson - Yorkana 230kV | 11:32 | 18:10
| Plymouth Meeting - Whitpain 230kV | Limerick - Cromby 230kV | 12:28 | 14:36
| Dupont Seaford - Laurel 69kV | Steele - Vienna 230kV | 12:50 | 23:49
| Landis - Minotola 69kV | Cardiff - New Freedom 230kV | 16:20 | 21:13
| Fox Chase - Blue Grass 138kV | Croydon - Mt Laurel 230kV | 16:30 | 17:33
| Keeney AT51 500/230kV xfmr | Keeney AT50 500/230kV xfmr | 18:34 | 21:51
2003-08-30 | Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 0:17 | 2:55
| Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 3:51 | 6:45
| Keeney AT51 500/230kV xfmr | Keeney AT50 500/230kV xfmr | 7:42 | 13:45
| Vineland - Shieldalloy 69kV | Chambers - Churchtown 230kV | 8:15 | 13:55
| PJM W 500 | Reactive | 8:27 | 9:40
| Lewis - Motts 69kV | Oyster Creek - Sands Point 230kV | 9:00 | 23:00
| Eastern Transfers | Reactive | 10:32 | 13:49
| Landis - Minotola 69kV | Cardiff - New Freedom 230kV | 11:29 | 21:35
| Brunswick - Edison 138kV | Sewaren 230/138kV xfmr | 12:45 | 17:24
| Elroy - Hosensack 500kV | Alburtis - Branchburg 500kV | 12:58 | 13:59
| Dupont Seaford - Laurel 69kV | Steele - Vienna 230kV | 13:14 | 16:45
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 13:55 | 21:45
| Indian River AT20 230/138kV xfmr | Indian River - Piney Grove 230kV | 15:49 | 21:26
| N Phila - Waneeta 230kV | Actual | 20:40 | 22:15
2003-08-31 | Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 2:27 | 3:10
| Keeney AT51 500/230kV xfmr | Keeney AT50 500/230kV xfmr | 13:05 | 16:53
Formulas:
Date = [Date, row above]+1

## PJMW
Off-Cost Operations - August 2003
Date | Facility | Contingency | Begin Time | End Time
2003-08-01 | Doubs #1 500/230kV xfmr | Brighton - Doubs 500kV | 10:16 | 16:50
2003-08-02 | Wylie Ridge #5 500/138kV xfmr | Wylie Ridge #7 500/138kV xfmr | 0:30 | 1:30
| Wylie Ridge #5 500/138kV xfmr | Wylie Ridge #7 500/138kV xfmr | 2:05 | 2:50
| Wylie Ridge #5 500/138kV xfmr | Wylie Ridge #7 500/138kV xfmr | 4:30 | 4:45
| Wylie Ridge #5 500/138kV xfmr | Wylie Ridge #7 500/138kV xfmr | 5:10 | 5:15
| Wylie Ridge #5 500/138kV xfmr | Wylie Ridge #7 500/138kV xfmr | 6:15 | 6:30
| Wylie Ridge #5 500/138kV xfmr | Wylie Ridge #7 500/138kV xfmr | 7:05 | 8:15
| Wylie Ridge #7 500/138kV xfmr | Wylie Ridge #5 500/138kV xfmr | 9:20 | 10:00
| Double Toll Gate-Old Chapel 138kV | Morrisville - Meadowbrook 500kV | 14:00 | 14:30
| Doubs #1 500/230kV xfmr | Brighton - Doubs 500kV | 14:00 | 21:45
| Sammis - Wylie Ridge 345kV | Actual | 15:00 | 16:55
| Black Oak #3 500/138kV xfmr | Black Oak - Hatfield 500kV | 20:10 | 20:50
2003-08-03 | Bedington - Black Oak 500kV | Reactive | 10:30 | 11:05
| Doubs #1 500/230kV xfmr | Brighton - Doubs 500kV | 11:59 | 18:22
| Bedington - Black Oak 500kV | Reactive | 12:39 | 15:15
2003-08-04 | None
2003-08-05 | Doubs #1 500/230kV xfmr | Brighton - Doubs 500kV | 15:47 | 20:41
2003-08-06 | None
2003-08-07 | None
2003-08-08 | Doubs #1 500/230kV xfmr | Brighton - Doubs 500kV | 12:32 | 19:38
2003-08-09 | Doubs #1 500/230kV xfmr | Brighton - Doubs 500kV | 10:35 | 23:42
| Bedington - Black Oak 500kV | Reactive | 14:09 | 14:37
2003-08-10 | Bedington - Black Oak 500kV | Reactive | 10:21 | 12:36
| Wylie Ridge #5 500/138kV xfmr | Wylie Ridge #7 500/138kV xfmr | 12:45 | 17:31
| Bedington - Black Oak 500kV | Reactive | 13:32 | 14:39
| Bedington - Black Oak 500kV | Reactive | 14:57 | 15:20
| Mitchell - Shepler Hill Jct 138kV | Hatfield - Ronco 500kV | 22:21 | 23:09
2003-08-11 | Doubs #1 500/230kV xfmr | Brighton - Doubs 500kV | 10:10 | 20:34
| Bedington - Black Oak 500kV | Reactive | 11:10 | 23:51
| Windsor - Tiltonsville 138kV | Actual | 14:10 | 14:35
2003-08-12 | Doubs #1 500/230kV xfmr | Brighton - Doubs 500kV | 10:25 | 20:25
| Bedington - Black Oak 500kV | Reactive | 13:10 | 23:02
| Mt Storm - Meadowbrook 500kV | Mt Storm - Doubs 500kV | 19:57 | 21:35
| S500-VP | Reactive | 20:23 | 21:48
2003-08-13 | Doubs #1 500/230kV xfmr | Brighton - Doubs 500kV | 9:14 | 20:05
2003-08-14 | Bedington - Black Oak 500kV | Reactive | 7:20 | 8:30
| Doubs #1 500/230kV xfmr | Brighton - Doubs 500kV | 10:15 | 16:30
| Bedington - Black Oak 500kV | Reactive | 11:10 | 16:30
| Yukon #4 500/138kV xfmr | S Bend - Yukon 500kV + xfmrs | 14:20 | 16:30
2003-08-15 | Doubs #1 500/230kV xfmr | Brighton - Doubs 500kV | 9:30 | 19:05
| Yukon #4 500/138kV xfmr | S Bend - Yukon 500kV + xfmrs | 15:40 | 18:20
2003-08-16 | None
2003-08-17 | None
2003-08-18 | None
2003-08-19 | None
2003-08-20 | Yukon #4 500/138kV xfmr | S Bend - Yukon 500kV + xfmrs | 13:37 | 19:35
| Doubs #1 500/230kV xfmr | Brighton - Doubs 500kV | 14:49 | 15:27
2003-08-21 | Doubs #1 500/230kV xfmr | Brighton - Doubs 500kV | 10:31 | 19:34
| Yukon #4 500/138kV xfmr | S Bend - Yukon 500kV + xfmrs | 11:57 | 19:34
| Yukon #4 500/138kV xfmr | S Bend - Yukon 500kV + xfmrs | 20:29 | 22:29
2003-08-22 | Eureka - Willow Island 138kV | Belmont - Harrison 500kV | 0:40 | 3:50
| Doubs #1 500/230kV xfmr | Brighton - Doubs 500kV | 10:19 | 15:55
| S500-VP | Reactive | 13:12 | 15:24
| AP South | Reactive | 15:24 | 16:37
| Doubs #1 500/230kV xfmr | Doubs #2 500/230kV xfmr | 15:55 | 19:54
| Doubs #1 500/230kV xfmr | Brighton - Doubs 500kV | 17:07 | 20:46
| Doubs #5 230kV xfmr | Montgomery - Doubs 230kV | 18:38 | 19:29
2003-08-23 | None
2003-08-24 | None
2003-08-25 | None
2003-08-26 | Doubs #1 500/230kV xfmr | Brighton - Doubs 500kV | 16:31 | 20:59
2003-08-27 | None
2003-08-28 | Bedington - Black Oak 500kV | Reactive | 10:20 | 11:35
2003-08-29 | Bedington - Black Oak 500kV | Reactive | 8:20 | 9:25
| Bedington - Black Oak 500kV | Reactive | 13:05 | 20:45
2003-08-30 | Mt Storm - Pruntytown 500kV | Bedington - Black Oak 500kV | 7:25 | 7:50
| Bedington - Black Oak 500kV | Reactive | 8:25 | 8:31
| Bedington - Black Oak 500kV | Reactive | 9:40 | 15:53
| Bedington - Black Oak 500kV | Reactive | 17:11 | 19:30
| Bedington - Black Oak 500kV | Reactive | 21:15 | 22:43
2003-08-31 | None
Formulas:
Date = [Date, row above]+1