## MIDATL
Off-Cost Operations - May 2006
Date | Facility | Contingency | Begin Time | End Time
2006-05-01 | Juniata 2 Xformer | Alburtis Juniata 500 Line | 38838.4273 | 38838.4371
| Juniata 2 Xformer | Alburtis Juniata 500 Line | 38838.4544 | 38838.4934
| Laurel-Woodstow 0740 | Cumberland (Ae) 230/138 Kv Transformer | 38838.4857 | 38838.5288
| Homercit N.Auto-S Xformer | Erie W-Ashtabula-Perry & Erie W #1 & Ashtab Trans | 38838.5991 | 38838.6469
| Juniata 2 Xformer | Alburtis Juniata 500 Line | 38838.6166 | 38838.6864
| Juniata 2 Xformer | Alburtis Juniata 500 Line | 38838.7144 | 38838.885
2006-05-02 | Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38839.4703 | 38839.5602
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38839.5803 | 38839.5971
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38839.6311 | 38839.6465
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38839.6674 | 38839.6758
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38839.7808 | 38839.8424
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38839.8901 | 38839.9286
2006-05-03 | Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38840.3211 | 38840.3541
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38840.373 | 38840.3887
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38840.4079 | 38840.6758
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38840.7596 | 38840.8122
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38840.8323 | 38840.8469
2006-05-04 | Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38841.0669 | 38841.0774
| Laurel-Woodstow 0740 | Cumberland (Ae) 230/138 Kv Transformer | 38841.4077 | 38841.7343
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38841.4095 | 38841.4911
| Athenia-Saddlebr Q-2217 | Actual | 38841.5181 | 38841.5241
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38841.5241 | 38841.6254
| Federals-Linden W-1323 | Bayway-Doremus Place (Q-1369) 138 Kv Line | 38841.6162 | 38841.6851
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38841.6407 | 38841.6691
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38841.6986 | 38841.8235
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38841.8376 | 38841.8546
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38841.9085 | 38841.9835
2006-05-05 | Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38842.0289 | 38842.1395
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38842.1544 | 38842.1652
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38842.2246 | 38842.2263
| Athenia-Saddlebr Q-2217 | Actual | 38842.2725 | 38842.2942
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38842.2762 | 38842.279
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38842.2942 | 38842.2999
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38842.3235 | 38842.3407
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38842.3808 | 38842.3838
| Athenia-Saddlebr Q-2217 | Actual | 38842.3868 | 38842.4367
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38842.4297 | 38842.4337
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38842.5201 | 38842.5279
| Athenia-Saddlebr Q-2217 | Actual | 38842.6822 | 38842.702
| Athenia-Saddlebr Q-2217 | Actual | 38842.72 | 38842.7422
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38842.7273 | 38842.7852
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38842.8521 | 38842.8649
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38842.9304 | 38842.9339
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38842.9493 | 38842.9567
2006-05-06 | Brunswic-Edison H-1360 | Deans-Pierson Avenue-Sewaren S-2219 | 38843.7406 | 38843.7517
| Edison-Meadowrd R-1318 | Deans-Pierson Avenue-Sewaren S-2219 | 38843.7406 | 38843.7517
| Bergen-Hoboken R-2270 | Hudson-Penhorn-Bellville-N. Bergen-Bergen (X-2250) | 38843.7517 | 38843.7622
| Cedargro-Roseland B-2228 | Roseland-Cedargrove-Clifton-Athen F/K | 38843.7622 | 38843.7802
| Brunswic-Edison H-1360 | Deans-Pierson Avenue-Sewaren S-2219 | 38843.7887 | 38843.804
| Edison-Meadowrd R-1318 | Deans-Pierson Avenue-Sewaren S-2219 | 38843.7887 | 38843.804
| Cedargro-Roseland B-2228 | Roseland-Cedargrove-Clifton-Athen F/K | 38843.8026 | 38843.8673
| Cedargro-Clif Ps K-2263-3 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38843.8941 | 38843.915
| Cedargro-Roseland B-2228 | Roseland-Cedargrove-Clifton-Athen F/K | 38843.915 | 38843.9157
| Cedargro-Roseland B-2228 | Roseland-Cedargrove-Clifton-Athen F/K | 38843.9503 | 38843.9524
| Roseland-Whippany A-941 | Branchburg Ramapo T Line | 38843.9717 | 38843.9823
2006-05-07 | Roseland-Whippany A-941 | Branchburg Ramapo T Line | 38844.0069 | 38844.0225
| Roseland-Whippany A-941 | Branchburg Ramapo T Line | 38844.0492 | 38844.0684
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38844.8007 | 38844.8166
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38844.837 | 38844.8448
| Eriew No3 Tx Xformer | Erie West-Erie South 345 Kv Line | 38844.972 | 38844.9793
2006-05-08 | Chichester-Linwood 220-43 | Actual | 38845.3177 | 38845.3265
| Chichester-Linwood 220-43 | Actual | 38845.3677 | 38845.4598
| Emilie-Falls 130-20 | Emilie-Eddington-Croydon 230 Kv Line | 38845.4474 | 38845.4711
| Chichester-Linwood 220-43 | Actual | 38845.4807 | 38845.5304
| Chichester-Linwood 220-43 | Actual | 38845.5572 | 38845.6305
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38845.5632 | 38845.5705
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38845.6132 | 38845.6305
| Chichester-Linwood 220-43 | Actual | 38845.647 | 38845.7614
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38845.7246 | 38845.7337
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38845.7658 | 38845.8207
| Chichester-Linwood 220-43 | Actual | 38845.793 | 38845.8068
| Chichester-Linwood 220-43 | Actual | 38845.8207 | 38845.8263
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38845.8385 | 38845.8882
| Chichester-Linwood 220-43 | Actual | 38845.852 | 38845.8651
| Chichester-Linwood 220-43 | Actual | 38845.8982 | 38845.9366
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38845.9181 | 38845.9261
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38845.9507 | 38845.9574
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove & 5015 | 38845.9856 | 38846.0077
2006-05-09 | Cedargro-Roseland F-2206 | Roseland-Cedar Grove & 5015 | 38846.0126 | 38846.0734
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38846.1899 | 38846.2004
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38846.2692 | 38846.2817
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38846.3134 | 38846.4056
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38846.5731 | 38846.5845
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38846.6174 | 38846.691
| Bergen-Hoboken R-2270 | Hudson-Penhorn-Bellville-N. Bergen-Bergen (X-2250) | 38846.7372 | 38846.7479
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38846.7638 | 38846.8773
| Bergen-Hoboken R-2270 | Hudson-Penhorn-Bellville-N. Bergen-Bergen (X-2250) | 38846.7747 | 38846.7892
| Bergen-Hoboken R-2270 | Hudson-Penhorn-Bellville-N. Bergen-Bergen (X-2250) | 38846.8126 | 38846.8155
| Frackvil-Siegfrie | Susquehanna-Wescosville-Alburtis & Wescosville #3 | 38846.8446 | 38846.9467
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38846.9136 | 38846.9979
| Frackvil-Siegfrie | Susquehanna-Wescosville-Alburtis & Wescosville #3 | 38846.9702 | 38847.0121
2006-05-10 | Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38847.0339 | 38847.1231
| Frackvil-Siegfrie | Susquehanna-Wescosville-Alburtis & Wescosville #3 | 38847.0373 | 38847.0558
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38847.1438 | 38847.1969
| Frackvil-Siegfrie | Susquehanna-Wescosville-Alburtis & Wescosville #3 | 38847.2123 | 38847.5362
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38847.2191 | 38847.2247
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38847.5722 | 38847.5837
| Athenia-Saddlebr Q-2217 | Hillsdale-Waldwick 230 Line | 38847.5733 | 38847.5737
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38847.632 | 38847.6814
| Cedargro-Clif Ps K-2263-3 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38847.6356 | 38847.7444
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38847.7507 | 38847.785
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38847.8065 | 38847.8842
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38847.9293 | 38847.9666
2006-05-11 | Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38848.549 | 38848.613
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38848.6587 | 38848.6674
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38848.6845 | 38848.6917
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38848.796 | 38848.8059
| Athenia-Saddlebr Q-2217 | Actual | 38848.8151 | 38848.816
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38848.8216 | 38848.9852
| Athenia-Saddlebr Q-2217 | Actual | 38848.863 | 38848.8881
| Athenia-Saddlebr Q-2217 | Actual | 38848.91 | 38848.9286
2006-05-12 | Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38849.0683 | 38849.1131
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38849.1306 | 38849.1439
| Athenia-Saddlebr Q-2217 | Actual | 38849.2662 | 38849.269
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38849.2718 | 38849.2719
| Bergen-Leonia T-2272 | Bellville-Athenia 230 Line | 38849.329 | 38849.3494
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38849.3494 | 38849.3925
| Athenia-Saddlebr Q-2217 | Actual | 38849.365 | 38849.3925
| Bergen-Leonia T-2272 | Bellville-Athenia 230 Line | 38849.3925 | 38849.4185
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38849.4185 | 38849.467
| Athenia-Saddlebr Q-2217 | Actual | 38849.4391 | 38849.4552
| Bergen-Leonia T-2272 | Bellville-Athenia 230 Line | 38849.467 | 38849.4766
| Bergen-Leonia T-2272 | Bellville-Athenia 230 Line | 38849.51 | 38849.5574
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38849.5574 | 38849.5597
| Bergen-Leonia T-2272 | Actual | 38849.5717 | 38849.5756
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38849.5756 | 38849.616
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38849.6322 | 38849.7087
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38849.7391 | 38849.8837
| Athenia-Saddlebr Q-2217 | Actual | 38849.7839 | 38849.7878
| Cromby Crom6Tr Xformer | Limerick-Cromby 220-61 | 38849.8519 | 38849.8667
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38849.9194 | 38850.0153
2006-05-13 | Athenia-Saddlebr Q-2217 | Actual | 38850.4431 | 38850.4462
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38850.4431 | 38850.5771
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38850.6028 | 38850.7448
| Cedargro-Roseland F-2206 | Roseland 220-3 230-138 Transformer | 38850.7592 | 38850.7708
| Cedargro-Roseland F-2206 | Roseland 220-3 230-138 Transformer | 38850.8135 | 38850.8176
| Cedargro-Roseland F-2206 | Roseland 220-3 230-138 Transformer | 38850.8456 | 38850.8814
| Cedargro-Roseland F-2206 | Roseland 220-3 230-138 Transformer | 38850.9099 | 38850.9997
2006-05-14 | Cedargro-Roseland F-2206 | Roseland 220-3 230-138 Transformer | 38851.0466 | 38851.0867
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38851.4685 | 38851.5423
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38851.5883 | 38851.6438
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38851.8657 | 38851.8883
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38851.9216 | 38851.938
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38851.959 | 38851.9624
2006-05-15 | Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38852.0886 | 38852.108
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38852.1307 | 38852.1803
| Cedargro-Clif Ps K-2263-3 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38852.3764 | 38852.3891
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38852.3858 | 38852.5387
| Cedargro-Clif Ps K-2263-3 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38852.5684 | 38852.6425
| Cedargro-Clif Ps K-2263-3 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38852.6728 | 38852.757
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38852.7741 | 38852.7794
| Cedargro-Clif Ps K-2263-3 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38852.7794 | 38852.9218
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38852.814 | 38852.8184
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38852.9158 | 38852.9253
2006-05-16 | Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38853.0498 | 38853.0555
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38853.0766 | 38853.1601
| Gillette-Greenbro I1023-6 | Branchburg Ramapo T Line | 38853.3251 | 38853.3351
| Cedargro-Clif Ps K-2263-3 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38853.3887 | 38853.3934
| Gillette-Greenbro I1023-6 | Branchburg Ramapo T Line | 38853.3887 | 38853.3995
| Glendon-Hosensac 914 | Hosensack-Gilbert 230 Line | 38853.3887 | 38853.4172
| Branchbu-Flagtown C-2203 | Branchburg Ramapo T Line | 38853.4042 | 38853.5117
| Blairsve No.1 Tx Xformer | Keystone-Shelocta-Homer City 230 | 38853.4924 | 38853.66
| Branchbu-Flagtown C-2203 | Branchburg Ramapo T Line | 38853.5525 | 38853.6225
| Cedargro-Clif Ps K-2263-3 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38853.6326 | 38853.7272
| Branchbu-Flagtown C-2203 | Branchburg Ramapo T Line | 38853.6449 | 38853.6554
| Blairsve No.1 Tx Xformer | Keystone-Shelocta-Homer City 230 | 38853.6792 | 38853.6851
| Blairsve No.1 Tx Xformer | Keystone-Shelocta-Homer City 230 | 38853.7019 | 38853.7052
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38853.7535 | 38853.7572
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38853.7734 | 38853.8531
| Cedargro-Clif Ps K-2263-3 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38853.8531 | 38853.8737
2006-05-17 | Cedargro-Roseland B-2228 | Roseland-Cedargrove-Clifton-Athen F/K | 38854.2634 | 38854.2751
| Bergen-Leonia T-2272 | Bellville-Athenia 230 Line | 38854.2751 | 38854.3043
| Cedargro-Roseland B-2228 | Roseland-Cedargrove-Clifton-Athen F/K | 38854.3222 | 38854.3463
| Cedargro-Roseland B-2228 | Roseland-Cedargrove-Clifton-Athen F/K | 38854.3631 | 38854.415
| Glendon-Hosensac 914 | Steel City-Hosensack (5032) 500 Kv Line | 38854.3631 | 38854.4184
| Bergen-Leonia T-2272 | Bellville-Athenia 230 Line | 38854.3753 | 38854.3876
| Branchbu-Flagtown C-2203 | Branchburg Ramapo T Line | 38854.3983 | 38854.4664
| Cedargro-Roseland B-2228 | Roseland-Cedargrove-Clifton-Athen F/K | 38854.4599 | 38854.4601
| Athenia-Saddlebr Q-2217 | Hillsdale-Waldwick 230 Line | 38854.503 | 38854.522
| Athenia-Saddlebr Q-2217 | Actual | 38854.5474 | 38854.5613
| Branchbu-Flagtown C-2203 | Actual | 38854.5474 | 38854.5708
| Cedargro-Clif Ps K-2263-3 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38854.6328 | 38854.6506
| Athenia-Saddlebr Q-2217 | Hillsdale-Waldwick 230 Line | 38854.6332 | 38854.6367
| Cedargro-Clif Ps K-2263-3 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38854.6931 | 38854.7226
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38854.7226 | 38854.7445
| Cedargro-Clif Ps K-2263-3 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38854.7445 | 38854.7661
2006-05-18 | Cedargro-Clif Ps K-2263-3 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38855.3272 | 38855.3834
| Branchbu-Flagtown C-2203 | Atlantic-New Prospect Rd-Smithburg 230 Kv Line | 38855.4178 | 38855.5223
2006-05-20 | Homercit-Shelocta Khc 2014 | Lewistown #3 230/115 Kv Transformer | 38857.6399 | 38857.6424
| Homercit-Shelocta Khc 2014 | Lewistown #3 230/115 Kv Transformer | 38857.7171 | 38857.724
| Homercit-Shelocta Khc 2014 | Lewistown #3 230/115 Kv Transformer | 38857.7464 | 38857.7708
| Homercit-Shelocta Khc 2014 | Lewistown #3 230/115 Kv Transformer | 38857.8216 | 38857.8716
| Homercit-Shelocta Khc 2014 | Lewistown #3 230/115 Kv Transformer | 38857.9066 | 38857.9105
2006-05-21 | Homercit-Shelocta Khc 2014 | Lewistown #2 230/115/46 Kv Transformer | 38858.514 | 38858.5656
| Homercit-Shelocta Khc 2014 | Lewistown #2 230/115/46 Kv Transformer | 38858.6206 | 38858.6485
| Homercit-Shelocta Khc 2014 | Lewistown #2 230/115/46 Kv Transformer | 38858.6987 | 38858.7966
| Homercit-Shelocta Khc 2014 | Lewistown #2 230/115/46 Kv Transformer | 38858.8106 | 38858.8222
| Homercit-Shelocta Khc 2014 | Lewistown #2 230/115/46 Kv Transformer | 38858.8427 | 38858.8549
2006-05-22 | Blueplai-Potomac 23106W | Burches Hill-Palmers Corner (23092) 230 Kv Line | 38859.3514 | 38859.3744
| Blueplai-Potomac 23106W | Burches Hill-Palmers Corner (23092) 230 Kv Line | 38859.4016 | 38859.404
| Edison-Meadowrd R-1318 | Deans-Pierson Avenue-Sewaren S-2219 | 38859.5495 | 38859.5634
| Edison-Meadowrd R-1318 | Deans-Pierson Avenue-Sewaren S-2219 | 38859.6363 | 38859.6411
2006-05-23 | Whitpain Wht 2Tr Xformer | Elroy Whitpain & 500-3 | 38860.8602 | 38860.8678
2006-05-24 | Athenia-Saddlebr Q-2217 | Bellville-Athenia 230 Line | 38861.3637 | 38861.376
2006-05-25 | Gillette-Greenbro I1023-6 | Branchburg Ramapo T Line | 38862.4089 | 38862.437
| Gillette-Greenbro I1023-6 | Branchburg Ramapo T Line | 38862.5474 | 38862.5571
| Gillette-Greenbro I1023-6 | Branchburg Ramapo T Line | 38862.6712 | 38862.6888
| Graceton-Raphaerd 2313 | Brighton-Conastone 500Kv | 38862.7068 | 38862.7448
| Graceton-Raphaerd 2313 | Brighton-Conastone 500Kv | 38862.763 | 38862.8083
2006-05-26 | Blueplai-Potomac 23106W | Palmers Corner-Blue Plains-Potomac (23107) 230 Kv | 38863.3011 | 38863.3325
| Gillette-Greenbro I1023-6 | Branchburg Ramapo T Line | 38863.4004 | 38863.4199
| Graceton-Raphaerd 2313 | Brighton-Conastone 500Kv | 38863.5599 | 38863.6978
| Laurel-Woodstow 0740 | Cumberland (Ae) 230/138 Kv Transformer | 38863.574 | 38863.9605
| Graceton-Raphaerd 2313 | Brighton-Conastone 500Kv | 38863.7414 | 38863.7434
2006-05-27 | Laurel-Woodstow 0740 | Cumberland (Ae) 230/138 Kv Transformer | 38864.4181 | 38864.6581
| Burlingt-Croydon D-220-30 | Emilie-Neshaminy 138 Line | 38864.6026 | 38864.6115
| Burlingt-Croydon D-220-30 | Emilie-Neshaminy 138 Line | 38864.644 | 38864.6581
| Laurel-Woodstow 0740 | Cumberland (Ae) 230/138 Kv Transformer | 38864.6957 | 38864.7376
| Burlingt-Croydon D-220-30 | Emilie-Neshaminy 138 Line | 38864.7122 | 38864.7376
| Laurel-Woodstow 0740 | Cumberland (Ae) 230/138 Kv Transformer | 38864.7619 | 38864.9547
2006-05-28 | Laurel-Woodstow 0740 | Cumberland (Ae) 230/138 Kv Transformer | 38865.4552 | 38865.9158
| Graceton-Raphaerd 2313 | Brighton-Conastone 500Kv | 38865.5013 | 38865.845
| Centrevl-Wyemills 6710-4 | Easton 138/69 Kv Transformer | 38865.6179 | 38865.6229
| Centrevl-Wyemills 6710-4 | Easton 138/69 Kv Transformer | 38865.7844 | 38865.7887
2006-05-29 | Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38866.0516 | 38866.0926
| Laurel-Woodstow 0740 | Cumberland (Ae) 230/138 Kv Transformer | 38866.5312 | 38866.7977
| Edison-Meadowrd R-1318 | Sewaren 220-1 230-138 Transformer | 38866.5679 | 38866.6814
| Centrevl-Wyemills 6710-4 | Steele-Easton (13712) 138 Kv Line | 38866.6 | 38866.7002
| Edison-Meadowrd R-1318 | Sewaren 220-1 230-138 Transformer | 38866.7002 | 38866.949
| Centrevl-Wyemills 6710-4 | Steele-Easton (13712) 138 Kv Line | 38866.7262 | 38866.7341
| Centrevl-Wyemills 6710-4 | Steele-Easton (13712) 138 Kv Line | 38866.7523 | 38866.8092
| Graceton-Raphaerd 2313 | Brighton-Conastone 500Kv | 38866.7523 | 38866.7623
| Laurel-Woodstow 0740 | Cumberland (Ae) 230/138 Kv Transformer | 38866.8599 | 38866.8991
2006-05-30 | Cedargro-Clif Ps K-2263-3 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38867.0362 | 38867.0606
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38867.056 | 38867.1528
| Athenia-Saddlebr Q-2217 | Actual | 38867.2647 | 38867.3593
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 38867.364 | 38867.3657
| Edison-Meadowrd R-1318 | Sewaren 220-1 230-138 Transformer | 38867.3661 | 38867.8965
| Athenia-Saddlebr Q-2217 | Actual | 38867.4042 | 38867.4144
| Laurel-Woodstow 0740 | Cumberland (Ae) 230/138 Kv Transformer | 38867.4042 | 38867.4271
| Laurel-Woodstow 0740 | Cumberland (Ae) 230/138 Kv Transformer | 38867.445 | 38867.4598
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 38867.4467 | 38867.4558
| Gillette-Greenbro I1023-6 | Branchburg-Readington 230 Line | 38867.4689 | 38867.5072
| Laurel-Woodstow 0740 | Cumberland (Ae) 230/138 Kv Transformer | 38867.4788 | 38867.5131
| Kent-Newmered 6704-2 | Church 138/69 Kv Transformer | 38867.48 | 38867.5072
| Conaston 500-3 Xformer | Conastone 500-2 Transformer | 38867.4998 | 38867.5594
| Brighton No.1Tr Xformer | Brighton Waugh Chapel | 38867.5162 | 38867.5435
| Laurel-Woodstow 0740 | Cumberland (Ae) 230/138 Kv Transformer | 38867.5327 | 38867.5435
| Kent-Newmered 6704-2 | Church 138/69 Kv Transformer | 38867.5594 | 38867.8259
| Conaston 500-3 Xformer | Conastone 500-2 Transformer | 38867.6012 | 38867.6093
| Brighton No.1Tr Xformer | Brighton Waugh Chapel | 38867.6031 | 38867.604
| Conaston 500-3 Xformer | Conastone 500-2 Transformer | 38867.6357 | 38867.6555
| Brighton No.1Tr Xformer | Brighton Waugh Chapel | 38867.6424 | 38867.9078
| Gardners-Hunterst 991 | Lewistown #2 230/115/46 Kv Transformer | 38867.6424 | 38867.6555
| Graceton-Raphaerd 2313 | Brighton-Conastone 500Kv | 38867.6921 | 38867.7011
| Gardners-Hunterst 991 | Lewistown #2 230/115/46 Kv Transformer | 38867.7011 | 38867.8464
| Linden-Northav T-1346 | Actual | 38867.7011 | 38867.7143
| Brunneri-Yorkana 1055 | Conastone-Peach Bottem (5012) 500 Kv Line | 38867.7318 | 38867.7678
| Graceton-Raphaerd 2313 | Brighton-Conastone 500Kv | 38867.7505 | 38867.8127
| Linden-Northav T-1346 | Actual | 38867.7758 | 38867.779
| Federals-Linden W-1323 | Linden-Bayway (X-1324) 138 Line | 38867.8275 | 38867.8294
| Federals-Linden W-1323 | Linden-Bayway (X-1324) 138 Line | 38867.8464 | 38867.8835
| Graceton-Raphaerd 2313 | Brighton-Conastone 500Kv | 38867.8464 | 38867.892
| Kent-Newmered 6704-2 | Church 138/69 Kv Transformer | 38867.8464 | 38867.892
| Gardners-Hunterst 991 | Lewistown #2 230/115/46 Kv Transformer | 38867.875 | 38867.9099
2006-05-31 | Graceton-Raphaerd 2313 | Brighton-Conastone 500Kv | 38868.4258 | 38868.4734
| Gardners-Hunterst 991 | Middletown Junction- Collins 115 Kv Line | 38868.4625 | 38868.5135
| Gillette-Greenbro I1023-6 | Branchburg-Readington 230 Line | 38868.4734 | 38868.4766
| Branchbu-Readingt M-2265 | Lakenelson-Middlesex-Bridgewater-Greenbrook-Gillet | 38868.4835 | 38868.4842
| Laurel-Woodstow 0740 | Cumberland (Ae) 230/138 Kv Transformer | 38868.4978 | 38868.8193
| Brunneri-Yorkana 1055 | Conastone-Peach Bottem (5012) 500 Kv Line | 38868.5057 | 38868.514
| Graceton-Raphaerd 2313 | Brighton-Conastone 500Kv | 38868.5057 | 38868.5111
| Brighton No.1Tr Xformer | Brighton Waugh Chapel | 38868.5191 | 38868.6452
| Graceton-Raphaerd 2313 | Brighton-Conastone 500Kv | 38868.5267 | 38868.6626
| Brunneri-Yorkana 1055 | Conastone-Peach Bottem (5012) 500 Kv Line | 38868.6575 | 38868.6781
| Brighton No.1Tr Xformer | Brighton Waugh Chapel | 38868.6594 | 38868.9011
| Middljct 5 Bank Xformer | Middletown Junction #1 230/115 Kv Transformer | 38868.6654 | 38868.7098
| Graceton-Raphaerd 2313 | Brighton-Conastone 500Kv | 38868.6788 | 38868.68
| Graceton-Raphaerd 2313 | Brighton-Conastone 500Kv | 38868.7254 | 38868.7326
| Brunneri-Yorkana 1055 | Conastone-Peach Bottem (5012) 500 Kv Line | 38868.7363 | 38868.7628
| Middljct 5 Bank Xformer | Middletown Junction #1 230/115 Kv Transformer | 38868.7448 | 38868.7628
| Graceton-Raphaerd 2313 | Brighton-Conastone 500Kv | 38868.754 | 38868.7795
| Graceton-Raphaerd 2313 | Brighton-Conastone 500Kv | 38868.8288 | 38868.8518
| Plymouth-Whitpain 220-13 | Limerick-Cromby 220-61 | 38868.8549 | 38868.8872
| Graceton-Raphaerd 2313 | Brighton-Conastone 500Kv | 38868.8872 | 38868.9011
| Plymouth-Whitpain 220-13 | Limerick-Cromby 220-61 | 38868.9011 | 38868.911

## RTO
Off-Cost Operations - May 2006
Date | Facility | Contingency | Begin Time | End Time
2006-05-01 | Transfer Interface: Pl North |  | 38838.0009 | 38838.0062
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38838.0208 | 38838.0654
| Transfer Interface: Bed-Bla | Belmont-Harrison 500 Kv Line | 38838.0606 | 38838.0922
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38838.0798 | 38838.1977
| Transfer Interface: Pl North |  | 38838.0957 | 38838.147
| Transfer Interface: Bed-Bla | Belmont-Harrison 500 Kv Line | 38838.1282 | 38838.2238
| Transfer Interface: Pl North |  | 38838.185 | 38838.3219
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38838.2124 | 38838.2923
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38838.2523 | 38838.2528
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38838.3086 | 38838.3448
| Transfer Interface: Bed-Bla | Calvert Cliffs 2 Gen | 38838.3185 | 38838.325
| Transfer Interface: Apsouth | Bedington Blackoak Line | 38838.3725 | 38838.3729
| Transfer Interface: Bed-Bla | Calvert Cliffs 1 Gen | 38838.3725 | 38838.3784
| Transfer Interface: Apsouth | Calvert Cliffs 2 Gen | 38838.3958 | 38838.3966
| Transfer Interface: Pl North |  | 38838.5077 | 38838.5104
| Transfer Interface: Pl North |  | 38838.788 | 38838.8069
| Transfer Interface: Pl North |  | 38838.8241 | 38838.8442
2006-05-02 | Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 38839.9802 | 38839.9874
| Transfer Interface: West |  | 38839.986 | 38840.0027
| Transfer Interface: Pl North |  | 38839.9903 | 38840.0111
2006-05-03 | Transfer Interface: West |  | 38840.0111 | 38840.0115
| Transfer Interface: West |  | 38840.7904 | 38840.8487
2006-05-04 | Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38841.8164 | 38841.8232
| Transfer Interface: West |  | 38841.8218 | 38841.8497
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38841.8711 | 38841.8845
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38841.9052 | 38841.917
2006-05-05 | Transfer Interface: West |  | 38842.0496 | 38842.0572
| Transfer Interface: West |  | 38842.2319 | 38842.2481
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38842.237 | 38842.2628
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38842.2862 | 38842.3056
| Transfer Interface: West |  | 38842.2901 | 38842.2999
| Transfer Interface: West |  | 38842.315 | 38842.3353
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38842.3235 | 38842.3477
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38842.3765 | 38842.3789
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38842.4294 | 38842.4485
| Transfer Interface: West |  | 38842.6916 | 38842.702
| Transfer Interface: West |  | 38842.7332 | 38842.7357
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38842.7733 | 38842.8058
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38842.835 | 38842.8649
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38842.8866 | 38842.8907
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38842.9567 | 38843.0152
2006-05-06 | Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38843.1685 | 38843.1859
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38843.2016 | 38843.225
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38843.2467 | 38843.5127
| Wylierid Tran 7 (Irol) | Belmont-Harrison 500 Kv Line | 38843.5378 | 38843.5912
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38843.6948 | 38843.8252
| Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38843.7045 | 38843.7241
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38843.977 | 38843.9919
2006-05-07 | Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38844.5184 | 38844.529
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38844.5641 | 38844.5817
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38844.6292 | 38844.6349
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38844.7028 | 38844.7245
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38844.7454 | 38844.75
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38844.7734 | 38844.8635
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38844.8861 | 38844.8898
2006-05-10 | Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38847.2284 | 38847.251
| Hunterst 4 Bank Xformer | T.M.I. Gen | 38847.5437 | 38847.616
2006-05-11 | Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38848.1846 | 38848.1966
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38848.9929 | 38849.0048
2006-05-12 | Wylierid Tran 5 (Irol) | Wylierid 3Tx | 38849.3344 | 38849.3414
| Transfer Interface: Central |  | 38849.365 | 38849.3662
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38849.365 | 38849.382
| Wylierid Tran 5 (Irol) | Wylierid 3Tx | 38849.3677 | 38849.3729
| Transfer Interface: Apsouth | Bedington Blackoak Line | 38849.401 | 38849.4247
| Wylierid Tran 5 (Irol) | Wylierid 3Tx | 38849.4391 | 38849.4552
| Wylierid Tran 5 (Irol) | Wylierid 3Tx | 38849.4766 | 38849.4841
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38849.5142 | 38849.5153
| Wylierid Tran 5 (Irol) | Wylierid 3Tx | 38849.5756 | 38849.5841
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38849.6137 | 38849.6731
| Wylierid Tran 5 (Irol) | Wylierid 3Tx | 38849.6322 | 38849.653
| Transfer Interface: Apsouth | Bedington Blackoak Line | 38849.7473 | 38849.7573
2006-05-13 | Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38850.0721 | 38850.0765
| Wylierid Tran 5 (Irol) | Wylierid 3Tx | 38850.2951 | 38850.2977
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38850.2951 | 38850.2977
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38850.5021 | 38850.554
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38850.5883 | 38850.8456
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38850.912 | 38850.968
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38850.9827 | 38850.9848
2006-05-14 | Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38851.0196 | 38851.0236
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38851.0429 | 38851.0466
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38851.4046 | 38851.5691
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38851.5969 | 38851.6274
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38851.6556 | 38851.732
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38851.7864 | 38851.8168
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38851.8506 | 38851.8631
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38851.9216 | 38851.9314
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38851.9624 | 38851.9643
2006-05-17 | Transfer Interface: West |  | 38854.6328 | 38854.6779
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38854.7263 | 38854.8738
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38854.9205 | 38855.2208
2006-05-18 | Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38855.2232 | 38855.2577
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38855.2729 | 38855.4078
| Transfer Interface: East |  | 38855.3486 | 38855.3639
| Transfer Interface: East |  | 38855.3931 | 38855.394
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38855.4347 | 38855.4575
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38855.4828 | 38855.5308
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38855.5488 | 38855.7236
| Transfer Interface: Central |  | 38855.5908 | 38855.5917
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38855.7419 | 38855.7859
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38855.7998 | 38856.0547
| Transfer Interface: Central |  | 38855.8869 | 38855.89
2006-05-19 | Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38856.0817 | 38856.255
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38856.2776 | 38856.3054
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38856.3209 | 38856.3476
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38856.6283 | 38856.8975
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38856.9173 | 38856.9553
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38856.994 | 38857.005
2006-05-20 | Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38857.0092 | 38857.0644
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38857.422 | 38857.4259
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38857.4436 | 38857.4437
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38857.593 | 38857.5956
| Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38857.7019 | 38857.7649
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38857.71 | 38857.7183
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38857.7649 | 38857.7871
| Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38857.7954 | 38857.8242
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38857.808 | 38857.8175
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38857.8395 | 38857.8834
| Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38857.8537 | 38857.8775
| Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38857.9204 | 38858.0565
2006-05-21 | Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38858.0717 | 38858.1767
| Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38858.1953 | 38858.21
| Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38858.2243 | 38858.239
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38858.3144 | 38858.3401
| Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38858.3401 | 38858.4337
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38858.3629 | 38858.5772
| Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38858.5074 | 38858.5311
| Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38858.5584 | 38858.7347
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38858.6019 | 38858.6918
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38858.7149 | 38858.7722
| Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38858.7552 | 38858.8244
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38858.7899 | 38858.944
| Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38858.8533 | 38858.8687
| Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38858.9144 | 38859.0022
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38858.9791 | 38858.9824
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38858.9996 | 38859.0097
2006-05-22 | Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38859.0097 | 38859.0253
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38859.014 | 38859.0575
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38859.1464 | 38859.1623
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38859.1847 | 38859.1971
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38859.2826 | 38859.2947
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38859.3201 | 38859.3345
| Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38859.6662 | 38859.7004
| Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38859.7268 | 38859.769
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38859.769 | 38859.7738
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38859.8558 | 38859.8735
2006-05-23 | Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38860.1661 | 38860.1735
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38860.2907 | 38860.3346
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38860.3232 | 38860.3411
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38860.3914 | 38860.3918
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38860.418 | 38860.4424
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38860.4424 | 38860.4475
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38860.4609 | 38860.4676
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38860.499 | 38860.5219
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38860.6699 | 38860.7365
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38860.749 | 38860.7591
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38860.7781 | 38860.8514
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38860.957 | 38860.9993
| Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38860.9887 | 38861.0089
2006-05-24 | Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38861.0115 | 38861.0703
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38861.0912 | 38861.1018
| Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38861.1632 | 38861.1866
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38861.1632 | 38861.1771
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Trans - Sps Disabled | 38861.2031 | 38861.2074
| Wylierid Tran 5 (Irol) | Erie W-Ashtabula-Perry & Erie W #1 & Ashtab Trans | 38861.3123 | 38861.3653
| Wylierid Tran 5 (Irol) | Erie W-Ashtabula-Perry & Erie W #1 & Ashtab Trans | 38861.4208 | 38861.426
| Transfer Interface: Bed-Bla | Calvert Cliffs 1 Gen | 38861.4948 | 38861.5014
| Wylierid Tran 5 (Irol) | Erie W-Ashtabula-Perry & Erie W #1 & Ashtab Trans | 38861.6602 | 38861.6623
| Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38861.9832 | 38862.0282
2006-05-25 | Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38862.0519 | 38862.181
| Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38862.2017 | 38862.2104
| Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38862.2529 | 38862.258
| Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38862.2789 | 38862.2916
| Wylierid Tran 5 (Irol) | Erie W-Ashtabula-Perry & Erie W #1 & Ashtab Trans | 38862.978 | 38863.0033
| Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38862.9955 | 38863.1352
2006-05-26 | Wylierid Tran 5 (Irol) | Erie W-Ashtabula-Perry & Erie W #1 & Ashtab Trans | 38863.0953 | 38863.1253
| Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38863.1434 | 38863.1727
| Wylierid Tran 5 (Irol) | Erie W-Ashtabula-Perry & Erie W #1 & Ashtab Trans | 38863.1727 | 38863.3025
| Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38863.2312 | 38863.2676
| Wylierid Tran 5 (Irol) | Harr Aps-Wylierid | 38863.3325 | 38863.336
| Wylierid Tran 5 (Irol) | Harr Aps-Wylierid | 38863.3581 | 38863.3662
| Wylierid Tran 5 (Irol) | Harr Aps-Wylierid | 38863.3925 | 38863.4283
| Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38863.8787 | 38863.8874
| Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38863.9281 | 38863.9958
2006-05-27 | Wylierid Tran 5 (Irol) | Ftmartin-Harritap-Harr Aps-Kammer | 38864.0156 | 38864.0494
| Harritap-Kammer (Irol) | Baker Broadford 765Kv Line | 38864.0223 | 38864.0266
| Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38864.0396 | 38864.1406
| Wylierid Tran 5 (Irol) | Ftmartin-Harritap-Harr Aps-Kammer | 38864.0709 | 38864.2293
| Wylierid Tran 5 (Irol) | Ftmartin-Harritap-Harr Aps-Kammer | 38864.28 | 38864.4455
| Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38864.3704 | 38864.3875
| Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38864.4361 | 38864.4602
| Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38864.481 | 38864.4867
| Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38864.5872 | 38864.5925
| Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38864.9671 | 38864.9842
| Wylierid Tran 5 (Irol) | Ftmartin-Harritap-Harr Aps-Kammer | 38864.9741 | 38865.0128
2006-05-28 | Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38865.0128 | 38865.0623
| Wylierid Tran 5 (Irol) | Ftmartin-Harritap-Harr Aps-Kammer | 38865.0472 | 38865.1421
| Wylierid Tran 5 (Irol) | Ftmartin-Harritap-Harr Aps-Kammer | 38865.1563 | 38865.2395
| Wylierid Tran 5 (Irol) | Ftmartin-Harritap-Harr Aps-Kammer | 38865.3778 | 38865.4552
2006-05-29 | Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38866.0214 | 38866.0286
| Transfer Interface: Apsouth | Bedington Blackoak Line | 38866.6559 | 38866.7523
| Transfer Interface: Bed-Bla | Calvert Cliffs 1 Gen | 38866.7042 | 38866.7292
| Transfer Interface: Bed-Bla | Calvert Cliffs 2 Gen | 38866.7977 | 38866.8021
| Transfer Interface: Bed-Bla | Calvert Cliffs 1 Gen | 38866.8201 | 38866.8226
| Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38866.9689 | 38866.9942
2006-05-30 | Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38867.0047 | 38867.0619
| Transfer Interface: Apsouth | Bedington Blackoak Line | 38867.4244 | 38867.4689
| Transfer Interface: Bed-Bla | Calvert Cliffs 1 Gen | 38867.4244 | 38867.445
| Transfer Interface: Bed-Bla | Calvert Cliffs 1 Gen | 38867.4598 | 38867.4731
| Transfer Interface: Apsouth | Bedington Blackoak Line | 38867.4998 | 38867.5131
| Transfer Interface: Bed-Bla | Calvert Cliffs 2 Gen | 38867.4998 | 38867.5226
| Transfer Interface: Apsouth | Bedington Blackoak Line | 38867.5327 | 38867.6071
| Transfer Interface: Bed-Bla | Doubs-Mt. Storm 500 Kv Line | 38867.5785 | 38867.6093
| Harritap-Kammer (Irol) | Kammer South Canton 765Kv Line | 38867.6012 | 38867.6315
| Transfer Interface: Apsouth | Bedington Blackoak Line | 38867.6315 | 38867.7011
| Transfer Interface: Bed-Bla | Doubs-Mt. Storm 500 Kv Line | 38867.6555 | 38867.7069
| Transfer Interface: Apsouth | Calvert Cliffs 2 Gen | 38867.7419 | 38867.8072
| Harritap-Kammer (Irol) | Kammer South Canton 765Kv Line | 38867.7505 | 38867.7558
| Transfer Interface: Bed-Bla | Calvert Cliffs 2 Gen | 38867.7678 | 38867.7728
| Harritap-Kammer (Irol) | Kammer South Canton 765Kv Line | 38867.779 | 38867.8464
| Transfer Interface: Bed-Bla | Calvert Cliffs 1 Gen | 38867.8182 | 38867.8464
2006-05-31 | Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38868.0179 | 38868.0283
| Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38868.0929 | 38868.108
| Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38868.2347 | 38868.2781
| Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38868.2926 | 38868.2996
| Transfer Interface: Apsouth | Bedington Blackoak Line | 38868.5468 | 38868.7866
| Transfer Interface: Bed-Bla | Calvert Cliffs 1 Gen | 38868.5468 | 38868.5516
| Transfer Interface: Bed-Bla | Calvert Cliffs 2 Gen | 38868.5741 | 38868.5821
| Transfer Interface: Bed-Bla | Calvert Cliffs 1 Gen | 38868.6121 | 38868.6211
| Transfer Interface: Bed-Bla | Calvert Cliffs 1 Gen | 38868.7147 | 38868.7363
| Transfer Interface: Bed-Bla | Calvert Cliffs 1 Gen | 38868.7866 | 38868.7895
| Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38868.9945 | 38869.0242

## WEST
Off-Cost Operations - May 2006
Date | Facility | Contingency | Begin Time | End Time
2006-05-01 | Sammis-Wylierid | Erie W-Ashtabula-Perry & Erie W #1 & Ashtab Trans | 38838.1506 | 38838.168
| Sammis-Wylierid | Erie W-Ashtabula-Perry & Erie W #1 & Ashtab Trans | 38838.1889 | 38838.2124
| Sammis-Wylierid | Erie W-Ashtabula-Perry & Erie W #1 & Ashtab Trans | 38838.2863 | 38838.3086
| Collier-Elwyn Z-62 | Elrama (Duq) 138/69 Kv Transformer | 38838.3287 | 38838.3529
| Spornaep B Xformer | Amos North Proctorville Hangingrock765Kv Line | 38838.3502 | 38838.3958
| Spornaep B Xformer | Amos North Proctorville Hangingrock765Kv Line | 38838.4106 | 38838.4716
| Collier-Elwyn Z-62 | Elrama (Duq) 138/69 Kv Transformer | 38838.4252 | 38838.5991
| Spornaep B Xformer | Amos North Proctorville Hangingrock765Kv Line | 38838.486 | 38838.4892
| 79 Spaul-7910 7910 1 | 345L14402 R G | 38838.5025 | 38838.5045
| Spornaep B Xformer | Amos North Proctorville Hangingrock765Kv Line | 38838.5121 | 38838.519
| Collier-Elwyn Z-62 | Elrama (Duq) 138/69 Kv Transformer | 38838.6222 | 38838.6282
| Collier-Elwyn Z-62 | Elrama (Duq) 138/69 Kv Transformer | 38838.6434 | 38838.7046
| Spornaep B Xformer | Doex530 - Sargents 345 Kv Line & Sargents Trans. | 38838.669 | 38838.7144
| Spornaep B Xformer | Doex530 - Sargents 345 Kv Line & Sargents Trans. | 38838.8417 | 38838.9329
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38838.9988 | 38839.002
2006-05-02 | Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38839.0128 | 38839.0494
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38839.0634 | 38839.068
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38839.2021 | 38839.2152
| Doubs-Mtstorm | Meadow Brook - Mt. Storm 500 Kv Line | 38839.8473 | 38839.883
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38839.9874 | 38839.9903
2006-05-03 | Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38840.0027 | 38840.033
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38840.0531 | 38840.2201
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38840.4648 | 38840.4653
| Doubs-Mtstorm | Meadow Brook - Mt. Storm 500 Kv Line | 38840.4648 | 38840.4666
| Chesapke-Reevesav 164A | 66 Line: Chesapkke-Craddock | 38840.5484 | 38840.5597
| Doubs-Mtstorm | Meadow Brook - Mt. Storm 500 Kv Line | 38840.8492 | 38840.8748
2006-05-04 | Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38841.0365 | 38841.0439
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38841.0669 | 38841.1207
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38841.1542 | 38841.186
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 38841.5831 | 38841.5945
| Doubs-Mtstorm | Meadow Brook - Mt. Storm 500 Kv Line | 38841.6277 | 38841.6389
| Doubs-Mtstorm | Meadow Brook - Mt. Storm 500 Kv Line | 38841.6552 | 38841.6986
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 38841.7305 | 38841.747
| Doubs-Mtstorm | Meadow Brook - Mt. Storm 500 Kv Line | 38841.739 | 38841.7668
| Doubs-Mtstorm | Meadow Brook - Mt. Storm 500 Kv Line | 38841.8298 | 38841.8845
2006-05-05 | Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38842.0289 | 38842.1178
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38842.1395 | 38842.1828
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38842.2055 | 38842.2319
| Collier-Elwyn Z-62 | Carson-Brunot-Collier 345 Kv Line & T1 Xfmr (Duq) | 38842.2862 | 38842.3477
| Doubs-Mtstorm | Meadow Brook - Mt. Storm 500 Kv Line | 38842.3353 | 38842.6064
| Collier-Elwyn Z-62 | Carson-Brunot-Collier 345 Kv Line & T1 Xfmr (Duq) | 38842.3616 | 38842.3838
| Collier-Elwyn Z-62 | Carson-Brunot-Collier 345 Kv Line & T1 Xfmr (Duq) | 38842.4069 | 38842.4079
| Collier-Elwyn Z-62 | Carson-Brunot-Collier 345 Kv Line & T1 Xfmr (Duq) | 38842.4297 | 38842.4304
| Collier-Elwyn Z-62 | Carson-Brunot-Collier 345 Kv Line & T1 Xfmr (Duq) | 38842.5156 | 38842.5331
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 38842.5879 | 38842.7422
| Doubs-Mtstorm | Meadow Brook - Mt. Storm 500 Kv Line | 38842.6901 | 38842.7332
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 38842.8399 | 38842.8649
2006-05-06 | Elrama-Mitchell Z-11 | Cabot - Wylie Ridge 500 Kv Line | 38843.1344 | 38843.1685
| Elrama-Mitchell Z-11 | Cabot - Wylie Ridge 500 Kv Line | 38843.3983 | 38843.3988
2006-05-07 | Collier-Elwyn Z-62 | Elrama (Duq) 138/69 Kv Transformer | 38844.4687 | 38844.4706
| Collier-Elwyn Z-62 | Elrama (Duq) 138/69 Kv Transformer | 38844.5209 | 38844.5236
| Collier-Elwyn Z-62 | Elrama (Duq) 138/69 Kv Transformer | 38844.7028 | 38844.75
| Collier-Elwyn Z-62 | Elrama (Duq) 138/69 Kv Transformer | 38844.7734 | 38844.7852
| Elrama-Mitchell Z-11 | Ftmartin-Ronco 500 Kv | 38844.778 | 38844.7813
| Collier-Elwyn Z-62 | Elrama (Duq) 138/69 Kv Transformer | 38844.8007 | 38844.8777
| Elrama-Mitchell Z-11 | Ftmartin-Ronco 500 Kv | 38844.8007 | 38844.8019
| Elrama-Mitchell Z-11 | Ftmartin-Ronco 500 Kv | 38844.8247 | 38844.8274
2006-05-08 | Collier-Woodvill Z-64 | Collier - Woodville Z-63 138 Kv Line (Duq) | 38845.2867 | 38845.2961
| Collier-Woodvill Z-64 | Collier - Woodville Z-63 138 Kv Line (Duq) | 38845.3268 | 38845.3414
| Collier-Woodvill Z-64 | Collier - Woodville Z-63 138 Kv Line (Duq) | 38845.3611 | 38845.4062
| Spornaep B Xformer | Doex530 - Sargents 345 Kv Line & Sargents Trans. | 38845.3784 | 38845.3827
| Spornaep B Xformer | Doex530 - Sargents 345 Kv Line & Sargents Trans. | 38845.4101 | 38845.623
| Cabot Tran 2 Xformer | Cabot 500/138 #4 | 38845.5705 | 38845.5863
| Spornaep B Xformer | Doex530 - Sargents 345 Kv Line & Sargents Trans. | 38845.65 | 38845.7205
| Spornaep B Xformer | Doex530 - Sargents 345 Kv Line & Sargents Trans. | 38845.7445 | 38845.7614
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 38845.852 | 38845.8684
| Spornaep B Xformer | Doex530 - Sargents 345 Kv Line & Sargents Trans. | 38845.8651 | 38845.9304
2006-05-09 | Cabot Tran 2 Xformer | Cabot 500/138 #4 | 38846.3355 | 38846.338
| Cabot Tran 2 Xformer | Cabot 500/138 #4 | 38846.4186 | 38846.4221
| Spornaep B Xformer | Doex530 - Sargents 345 Kv Line & Sargents Trans. | 38846.4637 | 38846.4677
| Spornaep B Xformer | Doex530 - Sargents 345 Kv Line & Sargents Trans. | 38846.5261 | 38846.9379
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 38846.8605 | 38846.866
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 38846.883 | 38846.883
2006-05-10 | Spornaep B Xformer | Doex530 - Sargents 345 Kv Line & Sargents Trans. | 38847.3766 | 38847.3781
| Spornaep B Xformer | Doex530 - Sargents 345 Kv Line & Sargents Trans. | 38847.3947 | 38847.7377
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 38847.5492 | 38847.5722
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 38847.6073 | 38847.6388
| Clover Tx9 Xformer | 570 Line: Carson-Wake | 38847.632 | 38847.6649
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 38847.6937 | 38847.7103
| Clover Tx9 Xformer | 570 Line: Carson-Wake | 38847.8093 | 38847.8828
| Spornaep B Xformer | Muskingum River Waterford 345Kv Line | 38847.8432 | 38847.9326
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 38847.8551 | 38847.8842
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 38847.9095 | 38847.9248
2006-05-11 | Cloverda-Lexingto 500Kv | 550 Line: Mtstorm-Valley | 38848.0037 | 38848.0264
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 38848.5004 | 38848.5742
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 38848.6084 | 38848.6197
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 38848.8395 | 38848.87
2006-05-12 | Morrisvl-Loudoun4 569A | 575 Line: Ladysmith-Nanna | 38849.3494 | 38849.3528
| Morrisvl-Loudoun4 569A | 575 Line: Ladysmith-Nanna | 38849.382 | 38849.467
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 38849.4492 | 38849.4552
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 38849.4841 | 38849.5756
| Morrisvl-Loudoun4 569A | 575 Line: Ladysmith-Nanna | 38849.5371 | 38849.5717
| Morrisvl-Loudoun4 569A | 575 Line: Ladysmith-Nanna | 38849.6049 | 38849.6137
| Morrisvl-Loudoun4 569A | 575 Line: Ladysmith-Nanna | 38849.6358 | 38849.6573
| Collier-Elwyn Z-62 | Elrama (Duq) 138/69 Kv Transformer | 38849.6879 | 38849.7914
| Collier-Elwyn Z-62 | Elrama (Duq) 138/69 Kv Transformer | 38849.8413 | 38849.9401
2006-05-13 | Collier-Elwyn Z-62 | Elrama (Duq) 138/69 Kv Transformer | 38850.3517 | 38850.3548
| Collier-Elwyn Z-62 | Elrama (Duq) 138/69 Kv Transformer | 38850.3803 | 38850.41
| Collier-Elwyn Z-62 | Elrama (Duq) 138/69 Kv Transformer | 38850.5043 | 38850.55
| Collier-Elwyn Z-62 | Elrama (Duq) 138/69 Kv Transformer | 38850.884 | 38850.9099
2006-05-14 | Collier-Elwyn Z-62 | Elrama (Duq) 138/69 Kv Transformer | 38851.8456 | 38851.8657
| Collier-Elwyn Z-62 | Elrama (Duq) 138/69 Kv Transformer | 38851.8815 | 38851.8883
2006-05-15 | Pruntyto Tran 3 Xformer | ___Pruntyto Tran 1 & Tran 2 | 38852.6856 | 38852.6999
| Collier-Elwyn Z-62 | Elrama (Duq) 138/69 Kv Transformer | 38852.8085 | 38852.8098
| Elrama-Mitchell Z-11 | Hatfield-Ronco 500 Kv | 38852.8085 | 38852.8112
| Elrama-Mitchell Z-11 | Hatfield-Ronco 500 Kv | 38852.8399 | 38852.8573
2006-05-17 | Bedingto Tran 3 Xformer | Bedington Doubs Line | 38854.6817 | 38854.8644
2006-05-18 | Altavsta-Dominion 30A | Cloverdale 765-345Kv Xf | 38855.3931 | 38855.3941
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 38855.4226 | 38855.4383
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 38855.453 | 38855.4575
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 38855.4828 | 38855.4848
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 38855.5203 | 38855.5409
| Bedingto Tran 3 Xformer | Bedington Doubs Line | 38855.6109 | 38855.8312
| Bedingto Tran 3 Xformer | Bedington Doubs Line | 38855.8559 | 38855.8602
| Collier-Elwyn Z-62 | Elrama (Duq) 138/69 Kv Transformer | 38855.8757 | 38855.9061
2006-05-19 | Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 38856.4784 | 38856.4811
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 38856.5048 | 38856.5566
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 38856.5708 | 38856.573
2006-05-20 | Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38857.0644 | 38857.1455
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38857.2068 | 38857.2324
| Bedingto Tran 1 Xformer | Bedington Doubs Line | 38857.808 | 38857.8149
| Bedingto Tran 1 Xformer | Bedington Doubs Line | 38857.8464 | 38857.8537
2006-05-23 | Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38860.1886 | 38860.1989
| Krendale-Senecaoe138 Kv | Cabot - Wylie Ridge 500 Kv Line | 38860.725 | 38860.737
| Halifax -Mtlaure4 33C | 296 Line: Halifax-Person_Cpl | 38860.7297 | 38860.7391
2006-05-24 | Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38861.048 | 38861.0681
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38861.0827 | 38861.1632
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38861.1828 | 38861.1866
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38861.2295 | 38861.242
| Wylierid 3Tx Xformer | ___Wylierid 1Tx & 2Tx | 38861.5568 | 38861.595
| Wylierid 3Tx Xformer | ___Wylierid 1Tx & 2Tx | 38861.6882 | 38861.6968
| Wylierid 3Tx Xformer | ___Wylierid 1Tx & 2Tx | 38861.7123 | 38861.729
| Wylierid 3Tx Xformer | ___Wylierid 1Tx & 2Tx | 38861.7959 | 38861.8014
2006-05-25 | Tiltonsville-Windsor Aps | Keystone Sbend 500 Line | 38862.2858 | 38862.3069
| Wylierid 3Tx Xformer | ___Wylierid 1Tx & 2Tx | 38862.3121 | 38862.3207
| Wylierid 3Tx Xformer | ___Wylierid 1Tx & 2Tx | 38862.3558 | 38862.3708
| Wylierid 3Tx Xformer | ___Wylierid 1Tx & 2Tx | 38862.4738 | 38862.477
| Wylierid 3Tx Xformer | ___Wylierid 1Tx & 2Tx | 38862.5409 | 38862.5452
| Wylierid 3Tx Xformer | ___Wylierid 1Tx & 2Tx | 38862.5812 | 38862.6033
| Person4 -Half296 296B | 556 Line: Carson-Clover | 38862.6222 | 38862.6549
2006-05-26 | Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38863.1727 | 38863.1847
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 38863.4624 | 38863.4736
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 38863.4915 | 38863.5138
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 38863.5462 | 38863.5477
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 38863.5974 | 38863.6735
| Hopewel4-Chester4 211A | 228 Line: Chesterfld-Hopewel | 38863.6151 | 38863.6741
| Bedingto Tran 1 Xformer | Bedington Doubs Line | 38863.7056 | 38863.8741
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 38863.7447 | 38863.822
2006-05-27 | Kammer2 .200 Xformer | Baker Broadford 765Kv Line | 38864.0223 | 38864.0266
| Bedingto Tran 3 Xformer | Bedington Doubs Line | 38864.4216 | 38864.4291
| Eureka-Stmarys 70 | Kammer George Washington 138Kv Line | 38864.4291 | 38864.5578
| Bedingto Tran 3 Xformer | Bedington Doubs Line | 38864.6143 | 38864.6173
| Eureka-Stmarys 70 | Kammer George Washington 138Kv Line | 38864.6316 | 38864.6361
| Bedingto Tran 3 Xformer | Bedington Doubs Line | 38864.6673 | 38864.8647
| Bedingto Tran 1 Xformer | Bedington Doubs Line | 38864.6857 | 38864.9741
| Eureka-Stmarys 70 | Kammer George Washington 138Kv Line | 38864.6904 | 38864.7813
| Eureka-Stmarys 70 | Kammer George Washington 138Kv Line | 38864.8859 | 38864.9374
2006-05-28 | Bedingto Tran 3 Xformer | Bedington Doubs Line | 38865.3717 | 38865.8143
| Layman-Wolfcree 86 | Belmont 765/500 Tx & Oak Grove Cts & Pleasnts #2 | 38865.8568 | 38865.8732
| Layman-Wolfcree 86 | Belmont 765/500 Tx & Oak Grove Cts & Pleasnts #2 | 38865.9336 | 38865.9441
2006-05-29 | Cloverd2 . 6A Xformer | 550 Line: Mtstorm-Valley | 38866.0677 | 38866.0683
| Cloverd2 . 6B Xformer | 550 Line: Mtstorm-Valley | 38866.0677 | 38866.0682
| Cloverd2 . 6B Xformer | 550 Line: Mtstorm-Valley | 38866.0861 | 38866.0956
| Cloverd2 . 6A Xformer | 550 Line: Mtstorm-Valley | 38866.087 | 38866.098
| Cloverd2 . 6A Xformer | 550 Line: Mtstorm-Valley | 38866.1152 | 38866.1237
| Cloverd2 . 6B Xformer | 550 Line: Mtstorm-Valley | 38866.1206 | 38866.1268
| Cloverda-Lexingto 500Kv | 550 Line: Mtstorm-Valley | 38866.1399 | 38866.1481
| Cloverda-Lexingto 500Kv | 550 Line: Mtstorm-Valley | 38866.2065 | 38866.2413
| Bedingto Tran 1 Xformer | Bedington Doubs Line | 38866.3745 | 38866.9254
| Belmont Tran 3 Xformer | ___Belmont 500/138 #1 & #2 | 38866.4036 | 38866.4132
| Dooms4 Tx7 Xformer | 553 Line: Elmont-Cunningham | 38866.6717 | 38866.6739
| 179 Bloo-17904 17904 1 | Actual | 38866.6982 | 38866.6996
| Dooms4 Tx7 Xformer | 553 Line: Elmont-Cunningham | 38866.7228 | 38866.7362
| Kammer2 .200 Xformer | Kammer South Canton 765Kv Line | 38866.8328 | 38866.8866
| Kammer2 .200 Xformer | Baker Broadford 765Kv Line | 38866.949 | 38866.9561
2006-05-30 | Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38867.09 | 38867.2358
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38867.2542 | 38867.2741
| Kammer2 .200 Xformer | Baker Broadford 765Kv Line | 38867.2741 | 38867.3164
| Mahans Lane-Tidd | Tidd - Wylierid 345 Kv | 38867.3122 | 38867.3155
| Bedingto Tran 3 Xformer | Bedington Doubs Line | 38867.3131 | 38867.3155
| Bedingto Tran 3 Xformer | Bedington Doubs Line | 38867.3401 | 38868.0334
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 38867.4648 | 38867.5072
| Belmont Tran 3 Xformer | ___Belmont 500/138 #1 & #2 | 38867.4731 | 38867.48
| 156 Cher-15623 15623 1 | 345L15616 | 38867.4874 | 38867.76
| Doubs 500-3 Xformer | ___Doubs 500/230 #2 & #4 | 38867.4998 | 38867.5226
| Cabot Tran 2 Xformer | Cabot #1 500/138 Transformer | 38867.5327 | 38867.5594
| Dooms4 Tx7 Xformer | 553 Line: Elmont-Cunningham | 38867.5435 | 38867.6031
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 38867.5435 | 38867.5745
| Mahans Lane-Tidd | Tidd - Wylierid 345 Kv | 38867.5506 | 38867.6731
| Cabot Tran 2 Xformer | Cabot #1 500/138 Transformer | 38867.5785 | 38867.5832
| Waverly2-Sargents | Actual | 38867.5785 | 38867.8464
| 12 Dresden 45Tr83 Ct | 345L11622 | 38867.5856 | 38867.6627
| Ox4 Tx2 Xformer | Ox 500/230 Tx#1 | 38867.5856 | 38867.8835
| Spornaep B Xformer | Muskingum River Waterford 345Kv Line | 38867.5856 | 38867.6016
| Remntnct-Elkrundp 183A | 569 Line: Loudoun-Morrisvill | 38867.6031 | 38867.7936
| Belmont Tran 3 Xformer | ___Belmont 500/138 #1 & #2 | 38867.622 | 38867.8294
| Doubs-Mtstorm | Meadow Brook - Mt. Storm 500 Kv Line | 38867.622 | 38867.7558
| Meadowbr Tran 3 Xformer | ___Meadowbr Tran 2 & Tran 4 | 38867.622 | 38867.8104
| Spornaep B Xformer | Muskingum River Waterford 345Kv Line | 38867.6228 | 38867.6357
| Cheswick-Springda Z-58 | Actual | 38867.6731 | 38867.685
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 38867.6731 | 38867.6921
| Spornaep B Xformer | Muskingum River Waterford 345Kv Line | 38867.6731 | 38867.6788
| Dooms4 Tx7 Xformer | 553 Line: Elmont-Cunningham | 38867.6921 | 38867.7318
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 38867.7089 | 38867.7143
| Doubs Tran 5 Xformer | Actual | 38867.7419 | 38867.7758
| Cheswick-Springda Z-58 | Actual | 38867.76 | 38867.788
| Doubs 500-3 Xformer | ___Doubs 500/230 #2 & #4 | 38867.76 | 38867.7758
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 38867.7989 | 38867.8104
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 38867.8328 | 38867.8835
| Doubs Tran 5 Xformer | Monocacy T4 Xformer With Auto-Recloser On | 38867.8835 | 38867.9355
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 38867.9169 | 38867.9605
| Kammer2 .200 Xformer | Kammer South Canton 765Kv Line | 38867.9766 | 38868.0283
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 38867.9849 | 38867.99
2006-05-31 | Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 38868.0179 | 38868.0283
| Mtstorm-Pruntyto | Bedington Blackoak Line | 38868.0283 | 38868.0791
| Kammer2 .200 Xformer | Kammer South Canton 765Kv Line | 38868.0472 | 38868.0486
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38868.0486 | 38868.2858
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 38868.0674 | 38868.0791
| Statelin-17Wolflk | 345L17705 | 38868.1282 | 38868.1599
| Bedingto Tran 1 Xformer | Bedington Doubs Line | 38868.2448 | 38868.249
| Mtstorm-Pruntyto | Bedington Blackoak Line | 38868.2657 | 38868.2858
| Belmont Tran 3 Xformer | ___Belmont 500/138 #1 & #2 | 38868.2709 | 38868.2996
| Kammer2 .200 Xformer | Kammer South Canton 765Kv Line | 38868.2751 | 38868.4086
| Bedingto Tran 1 Xformer | Bedington Doubs Line | 38868.2781 | 38868.386
| Belmont Tran 3 Xformer | ___Belmont 500/138 #1 & #2 | 38868.327 | 38868.9067
| Mahans Lane-Tidd | Weirton-Carnegie-Tidd (224) 138 Kv | 38868.3771 | 38868.403
| Bedingto Tran 3 Xformer | Bedington Doubs Line | 38868.3884 | 38868.9211
| Cabot Tran 4 Xformer | Cabot #1 500/138 Transformer | 38868.4307 | 38868.5009
| Mahans Lane-Tidd | Tidd - Broadacr - Malvern - Wagenhal 138 Kv Circui | 38868.4734 | 38868.6121
| Cres Duq T1 Xformer | Crescent (Duq) 345/138 Kv #2 Transformer | 38868.4978 | 38868.917
| Kammer2 .200 Xformer | Kammer South Canton 765Kv Line | 38868.5034 | 38868.5191
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 38868.5468 | 38868.5821
| Dooms4 Tx7 Xformer | 553 Line: Elmont-Cunningham | 38868.5516 | 38868.5984
| Lamberto-Mountwoo 8 | Actual | 38868.5516 | 38868.6034
| Amos 8-P Xformer | Amos 345-138Kv Xf #7 | 38868.5741 | 38868.6034
| Kammer2 .200 Xformer | Kammer South Canton 765Kv Line | 38868.5741 | 38868.5763
| Yukon Tran 4 Xformer | ___Yukon Tran 1 & Tran 3 | 38868.6034 | 38868.7748
| Ox4 Tx2 Xformer | Ox 500/230 Tx#1 | 38868.6211 | 38868.8063
| Remntnct-Elkrundp 183A | 569 Line: Loudoun-Morrisvill | 38868.6211 | 38868.8127
| Monocacy T4 Xformer | Doubs-Limekiln | 38868.6575 | 38868.8132
| Tannersc-Miamifor | East Bend-Terminal 345 Kv Line | 38868.6575 | 38868.6626
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 38868.6626 | 38868.6707
| Mahans Lane-Tidd | Tidd - Broadacr - Malvern - Wagenhal 138 Kv Circui | 38868.6781 | 38868.6986
| Dooms4 Tx7 Xformer | 553 Line: Elmont-Cunningham | 38868.6858 | 38868.7363
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 38868.6858 | 38868.7098
| Doubs 500-3 Xformer | ___Doubs 500/230 #2 & #4 | 38868.6986 | 38868.7938
| Collier-Elwyn Z-62 | Elrama (Duq) 138/69 Kv Transformer | 38868.7117 | 38868.927
| Lamberto-Mountwoo 8 | Actual | 38868.7254 | 38868.7448
| Kammer2 .200 Xformer | Kammer South Canton 765Kv Line | 38868.7363 | 38868.7448
| Kammer2 .200 Xformer | Kammer South Canton 765Kv Line | 38868.783 | 38868.8193
| Lamberto-Mountwoo 8 | Actual | 38868.7866 | 38868.8039
| Kammer2 .200 Xformer | Kammer South Canton 765Kv Line | 38868.8633 | 38868.8872
| Collier-Elwyn Z-62 | Elrama (Duq) 138/69 Kv Transformer | 38868.9409 | 38868.9582
| Bedingto Tran 3 Xformer | Bedington Doubs Line | 38868.9441 | 38869.0074
| Mtstorm-Pruntyto | Bedington Blackoak Line | 38868.965 | 38868.9945
| Kammer2 .200 Xformer | Kammer South Canton 765Kv Line | 38868.9856 | 38869.0127
| Collier-Elwyn Z-62 | Elrama (Duq) 138/69 Kv Transformer | 38868.9899 | 38868.9945