## MIDATL
Off-Cost Operations - December 2007
Date | Facility | Contingency | Begin Time | End Time
2007-12-01 | Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39417.6961 | 39417.7095
| Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39417.7602 | 39417.7841
| Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39417.8307 | 39417.8943
| Atlantic-Larrabee R1032 | Red Oak & Atlantic Double | 39417.8912 | 39417.9278
2007-12-02 | Atlantic-Larrabee R1032 | Atlantic-New Prospect Rd-Smithburg 230 Kv Line | 39418.0313 | 39418.0989
| Atlantic-Larrabee R1032 | Atlantic-New Prospect Rd-Smithburg 230 Kv Line | 39418.1133 | 39418.2207
| Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39418.4572 | 39418.5168
| Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39418.6451 | 39418.7167
| Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39418.8005 | 39418.8702
| Atlantic-Larrabee R1032 | Red Oak & Atlantic Double | 39418.8677 | 39418.991
2007-12-03 | Atlantic-Larrabee R1032 | Atlantic-New Prospect Rd-Smithburg 230 Kv Line | 39419.0007 | 39419.0088
| Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39419.4005 | 39419.546
| Keeney At51 Xformer | Red Lion At50 Transformer 500-230 | 39419.4927 | 39419.5142
| Keeney At51 Xformer | Red Lion At50 Transformer 500-230 | 39419.5357 | 39419.5368
| Keeney At51 Xformer | Red Lion At50 Transformer 500-230 | 39419.5756 | 39419.617
| Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39419.589 | 39419.5929
| Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39419.6672 | 39419.6792
| Keeney At51 Xformer | Red Lion At50 Transformer 500-230 | 39419.6862 | 39419.7695
| Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39419.7078 | 39419.7368
2007-12-04 | Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39420.0926 | 39420.1088
| Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39420.1267 | 39420.225
| Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39420.2829 | 39420.7692
| Bergen-Hoboken R-2270 | Hudson-Penhorn-Bellville-N. Bergen-Bergen (X-2250) | 39420.3434 | 39420.3452
| Edison-Meadowrd R-1318 | Sewaren 220-1 230-138 Transformer | 39420.5951 | 39420.6105
| Bergen-Hoboken R-2270 | Hudson-Penhorn-Bellville-N. Bergen-Bergen (X-2250) | 39420.6105 | 39420.6358
| Edison-Meadowrd R-1318 | Sewaren 220-1 230-138 Transformer | 39420.6402 | 39420.6426
| Edison-Meadowrd R-1318 | Sewaren 220-1 230-138 Transformer | 39420.6753 | 39420.8035
| Etowanda-Stroy Met 1055 | Farmers Valley-Two Mile-Potter 115 Kv Line | 39420.7962 | 39420.8035
| Edison-Meadowrd R-1318 | Sewaren 220-1 230-138 Transformer | 39420.8229 | 39420.8965
2007-12-05 | Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39421.3892 | 39421.4397
| Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39421.6592 | 39421.7142
| Steelcty 500/230 Xf | Alburtis Branchburg 500 Line | 39421.7004 | 39421.7732
| Alburtis-Branchbu 5016 | Actual | 39421.7142 | 39421.7193
| Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39421.8 | 39421.9466
| Alburtis-Branchbu 5016 | Actual | 39421.8819 | 39421.923
2007-12-06 | Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39422.2122 | 39422.2172
| Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39422.3887 | 39422.5153
| Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39422.4189 | 39422.4415
| Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39422.4556 | 39422.5986
| Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39422.6478 | 39422.8937
| Alburtis-Branchbu 5016 | Actual | 39422.6723 | 39422.6821
| Alburtis-Branchbu 5016 | Actual | 39422.7003 | 39422.7133
| Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39422.7003 | 39422.7133
| Alburtis-Branchbu 5016 | Actual | 39422.7643 | 39422.7867
| Gardners-Hunterst 991 | Middletown Junction- Collins 115 Kv Line | 39422.8937 | 39422.8984
2007-12-07 | Gardners-Hunterst 991 | Middletown Junction- Collins 115 Kv Line | 39423.279 | 39423.3163
| Nseaford At-1 Xformer | Piney Grove (At-20) 230/138 Kv Transformer | 39423.2922 | 39423.2957
| Nseaford At-1 Xformer | Piney Grove (At-20) 230/138 Kv Transformer | 39423.3129 | 39423.3163
| Eddyston-Scottpap 6658 | Chichester Chi 9Tr 230-138 Transformer | 39423.3519 | 39423.4715
| Keeney At51 Xformer | Dbl:Red Lion At50 Transformer 500-230 And Keeney A | 39423.375 | 39423.4212
| Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39423.4098 | 39423.4117
| Keeney At51 Xformer | Dbl:Red Lion At50 Transformer 500-230 And Keeney A | 39423.4411 | 39423.9139
| Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39423.5233 | 39423.5241
| Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39423.6449 | 39423.6577
| Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39423.6756 | 39423.6821
| Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39423.6978 | 39423.6993
| Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39423.7004 | 39423.7014
| Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39423.7402 | 39423.7582
| Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39423.8419 | 39423.901
2007-12-08 | Atlantic-Larrabee R1032 | Atlantic-New Prospect Rd-Smithburg 230 Kv Line | 39424.2893 | 39424.3012
| Atlantic-Larrabee R1032 | Atlantic-New Prospect Rd-Smithburg 230 Kv Line | 39424.3902 | 39424.6044
| Atlantic-Larrabee R1032 | Atlantic-New Prospect Rd-Smithburg 230 Kv Line | 39424.6919 | 39424.8216
| Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39424.6919 | 39424.6943
| Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39424.7896 | 39424.7934
| Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39424.8248 | 39425.0029
| Atlantic-Larrabee R1032 | Atlantic-New Prospect Rd-Smithburg 230 Kv Line | 39424.8377 | 39424.8719
| Atlantic-Larrabee R1032 | Atlantic-New Prospect Rd-Smithburg 230 Kv Line | 39424.9808 | 39424.9897
2007-12-09 | Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39425.0068 | 39425.0669
| Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39425.1023 | 39425.1506
| Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39425.1768 | 39425.298
| Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39425.5704 | 39425.7116
| Atlantic-Larrabee R1032 | Atlantic-New Prospect Rd-Smithburg 230 Kv Line | 39425.6104 | 39425.6197
| Atlantic-Larrabee R1032 | Atlantic-New Prospect Rd-Smithburg 230 Kv Line | 39425.7007 | 39425.7169
| Atlantic-Larrabee R1032 | Atlantic-New Prospect Rd-Smithburg 230 Kv Line | 39425.7492 | 39425.7528
| Atlantic-Larrabee R1032 | Atlantic-New Prospect Rd-Smithburg 230 Kv Line | 39425.8028 | 39425.8233
| Atlantic-Larrabee R1032 | Atlantic-New Prospect Rd-Smithburg 230 Kv Line | 39425.8653 | 39425.8665
2007-12-10 | Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39426.3951 | 39426.3973
| Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39426.4167 | 39426.4352
| Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39426.6841 | 39426.7063
| Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39426.7379 | 39426.7448
| Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39426.7692 | 39426.7815
| Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39426.8028 | 39426.8869
2007-12-11 | Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39427.6839 | 39427.8142
| Etowanda-Stroy Met 1055 | Farmers Valley-Two Mile-Potter 115 Kv Line | 39427.7458 | 39427.8485
| Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39427.8352 | 39427.8424
| Etowanda-Stroy Met 1055 | Farmers Valley-Two Mile-Potter 115 Kv Line | 39427.8693 | 39427.8787
| Etowanda-Stroy Met 1055 | Farmers Valley-Two Mile-Potter 115 Kv Line | 39427.8956 | 39427.8991
2007-12-12 | Blairsve No.1 Tx Xformer | Keystone-Shelocta-Homer City 230 | 39428.274 | 39428.3478
| Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39428.4097 | 39428.4147
| Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39428.4315 | 39428.5929
| Homercit-Shelocta Khc 2014 | Homer City-Watercure 345 Line | 39428.4363 | 39428.4636
| Garman-Westover Gbm 991 | Summit-Westfall 115 Kv Line (Penelec) | 39428.4636 | 39428.4957
| Homercit-Shelocta Khc 2014 | Homer City-Watercure 345 Line | 39428.4957 | 39428.6735
| Garman-Westover Gbm 991 | Summit-Westfall 115 Kv Line (Penelec) | 39428.611 | 39428.719
| Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39428.6331 | 39429.0232
| Absecon-Lewis 0702 | Oyster Creek-Cedar 230 Kv Line | 39428.7061 | 39428.719
| Absecon-Lewis 0702 | Oyster Creek-Cedar 230 Kv Line | 39428.7447 | 39428.8088
2007-12-13 | Cumb Ae Cumb #2 Xformer | All Sherman 138Kv Xfs (Reactive Surrogate) | 39429.2848 | 39429.2877
| Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39429.3196 | 39429.4357
| Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39429.4381 | 39429.5964
| Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39429.4864 | 39429.6855
| Dickerso-Plvw Vp 23111 | Possum Point-Burch Hill-Chalk Point 500Kv | 39429.5656 | 39429.5702
| Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39429.6661 | 39429.9101
| Branchbu-Readingt M-2265 | Actual | 39429.7038 | 39429.7278
2007-12-14 | Garman-Westover Gbm 991 | Erie W-Ashtabula-Perry 345Kv Line | 39430.0164 | 39430.1962
| Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39430.2735 | 39430.4675
| Keeney At51 Xformer | Dbl:Red Lion At50 Transformer 500-230 And Keeney A | 39430.3075 | 39430.4439
| Blairsve No.1 Tx Xformer | Keystone-Shelocta-Homer City 230 | 39430.4755 | 39430.4826
| Deepwate-Woodstow 0725 | Cumberland (Ae) 230/138 Kv Transformer | 39430.4755 | 39430.4983
| Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39430.5374 | 39430.9961
| Blairsve No.1 Tx Xformer | Altoona-Bearrock 230 Line | 39430.5518 | 39430.5548
| Keeney At51 Xformer | Dbl:Red Lion At50 Transformer 500-230 And Keeney A | 39430.6736 | 39430.8387
| Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39430.677 | 39430.8975
| Atlantic-Larrabee R1032 | Atlantic-New Prospect Rd-Smithburg 230 Kv Line | 39430.6867 | 39430.7398
| Atlantic-Larrabee R1032 | Atlantic-New Prospect Rd-Smithburg 230 Kv Line | 39430.7582 | 39430.7922
| Atlantic-Larrabee R1032 | Atlantic-New Prospect Rd-Smithburg 230 Kv Line | 39430.8131 | 39430.8488
| Keeney At51 Xformer | Red Lion At50 Transformer 500-230 | 39430.8591 | 39430.9213
| Atlantic-Larrabee R1032 | Atlantic-New Prospect Rd-Smithburg 230 Kv Line | 39430.963 | 39430.9961
2007-12-15 | Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39431.008 | 39431.1314
| Keeney At51 Xformer | Red Lion At50 Transformer 500-230 | 39431.008 | 39431.1268
| Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39431.4197 | 39431.5021
| Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39431.6893 | 39431.7331
| Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39431.7516 | 39431.7538
| Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39431.7757 | 39431.877
| Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39431.907 | 39431.9705
2007-12-16 | Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39432.022 | 39432.1617
| Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39432.1791 | 39432.187
| Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39432.2118 | 39432.2142
| Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39432.3903 | 39432.9467
| Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39432.5383 | 39432.7354
| Dickerso-Plvw Vp 23111 | Possum Point-Burch Hill-Chalk Point 500Kv | 39432.7025 | 39432.7238
| Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39432.7628 | 39432.8393
| Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39432.8625 | 39432.9584
2007-12-17 | Atlantic-Larrabee R1032 | Atlantic-New Prospect Rd-Smithburg 230 Kv Line | 39433.0251 | 39433.1502
| Atlantic-Larrabee R1032 | Atlantic-New Prospect Rd-Smithburg 230 Kv Line | 39433.1724 | 39433.1804
| Federals-Linden W-1323 | Linden-Bayway (X-1324) 138 Line | 39433.2792 | 39433.3662
| Redoaka-Sayrevil | Actual | 39433.2792 | 39433.3943
| Redoaka-Sayrevil | Actual | 39433.4488 | 39433.4648
| Laurel-Roadstown 0723-3 | Cumberland (Ae) 230/138 Kv Transformer | 39433.5341 | 39433.5602
| Redoaka-Sayrevil | Actual | 39433.609 | 39433.6351
| Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39433.6406 | 39433.7172
| Redoaka-Sayrevil | Parlin-Red Oak-Sayreville (G1047) 230 Kv Line | 39433.6543 | 39433.712
| Federals-Linden W-1323 | Linden-Bayway (X-1324) 138 Line | 39433.6805 | 39433.7346
| Laurel-Roadstown 0723-3 | Cumberland (Ae) 230/138 Kv Transformer | 39433.6888 | 39433.7923
| Dickerso-Plvw Vp 23111 | Possum Point-Burch Hill-Chalk Point 500Kv | 39433.7001 | 39433.7416
| Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39433.7135 | 39433.7298
| Carlls-Sherman 0739 | Deepwater - Quinton 69Kv Line | 39433.7172 | 39433.7897
| Redoaka-Sayrevil | Actual | 39433.7488 | 39433.7549
| Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39433.7549 | 39433.7564
| Federals-Linden W-1323 | Linden-Bayway (X-1324) 138 Line | 39433.7564 | 39433.8525
| Laurel-Roadstown 0723-3 | Cumberland (Ae) 230/138 Kv Transformer | 39433.8118 | 39433.8931
| Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39433.8159 | 39433.8186
| Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39433.8381 | 39433.8876
| Carlls-Sherman 0739 | Deepwater - Quinton 69Kv Line | 39433.8525 | 39433.8804
| Federals-Linden W-1323 | Linden-Bayway (X-1324) 138 Line | 39433.8731 | 39433.9109
| Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39433.9175 | 39433.9196
| Atlantic-Larrabee R1032 | Atlantic-New Prospect Rd-Smithburg 230 Kv Line | 39433.9245 | 39433.941
| Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39433.941 | 39433.9649
| Federals-Linden W-1323 | Linden-Bayway (X-1324) 138 Line | 39433.941 | 39433.9966
2007-12-18 | Atlantic-Larrabee R1032 | Atlantic-New Prospect Rd-Smithburg 230 Kv Line | 39434.0117 | 39434.2063
| Athenia-Saddlebr Q-2217 | Hillsdale-Waldwick 230 Line | 39434.2823 | 39434.2909
| Brunneri-Yorkana 1055 | Conastone-Peach Bottem (5012) 500 Kv Line | 39434.3055 | 39434.315
| Athenia-Saddlebr Q-2217 | Hillsdale-Waldwick 230 Line | 39434.3182 | 39434.3222
| Plymouth-Whitpain 220-13 | Whitpain-Plymouth Meeting 220-14 | 39434.3324 | 39434.3523
| Brunneri-Yorkana 1055 | Conastone-Peach Bottem (5012) 500 Kv Line | 39434.3373 | 39434.3409
| Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39434.3782 | 39434.4463
| Plymouth-Whitpain 220-13 | Whitpain-Plymouth Meeting 220-14 | 39434.4133 | 39434.4792
| Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39434.4609 | 39434.5066
| Plymouth-Whitpain 220-13 | Whitpain-Plymouth Meeting 220-14 | 39434.5025 | 39434.8507
| Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39434.5208 | 39434.7209
| Redoaka-Sayrevil | Parlin-Red Oak-Sayreville (G1047) 230 Kv Line | 39434.6654 | 39434.67
| Dickerso-Plvw Vp 23111 | Possum Point-Burch Hill-Chalk Point 500Kv | 39434.6908 | 39434.7457
| Plymouth-Whitpain 220-14 | Whitpain-Plymouth Meeting 220-13 | 39434.7103 | 39434.7476
| Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39434.7148 | 39434.78
| Plymouth-Whitpain 220-14 | Limerick-Cromby 220-61 | 39434.7617 | 39434.8507
| Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39434.8018 | 39434.867
| Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39434.8316 | 39434.8403
| Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39434.8593 | 39434.867
| Plymouth-Whitpain 220-13 | Whitpain-Plymouth Meeting 220-14 | 39434.867 | 39434.9112
| Plymouth-Whitpain 220-14 | Limerick-Cromby 220-61 | 39434.867 | 39434.9259
| Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39434.8942 | 39434.9018
| Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39434.9352 | 39434.9394
| Plymouth-Whitpain 220-14 | Limerick-Cromby 220-61 | 39434.9452 | 39434.9589
2007-12-19 | Plymouth-Whitpain 220-13 | Whitpain-Plymouth Meeting 220-14 | 39435.0071 | 39435.1221
| Bergen-Hoboken R-2270 | Hudson-Essex (A-2227) 230 Kv Line | 39435.2629 | 39435.2762
| Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39435.3008 | 39435.9903
| Plymouth-Whitpain 220-14 | Limerick-Cromby 220-61 | 39435.4952 | 39435.5015
| Plymouth-Whitpain 220-14 | Limerick-Cromby 220-61 | 39435.5983 | 39435.6171
| Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39435.6729 | 39435.8184
2007-12-20 | Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39436.2425 | 39436.2467
| Conaston-Peachbot 5012 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39436.2531 | 39436.2571
| Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39436.2606 | 39436.3836
| Conaston-Peachbot 5012 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39436.284 | 39436.2883
| Brunneri-Yorkana 1055 | Conastone-Peach Bottem (5012) 500 Kv Line | 39436.3066 | 39436.3339
| Conaston-Peachbot 5012 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39436.3339 | 39436.3564
| Waldwick 345-2 Xformer | Waldwick 345-1 345-230 Transformer | 39436.3441 | 39436.3596
| Collins-Middljct 975-1 | Roxbury-Carlisle Pike 115 Kv Line | 39436.4039 | 39436.7872
| Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39436.4129 | 39436.459
| Waldwick 345-2 Xformer | Waldwick 345-1 345-230 Transformer | 39436.4259 | 39436.4359
| Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39436.4834 | 39436.5792
| Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39436.6077 | 39436.9302
2007-12-21 | Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39437.2433 | 39437.9419
| Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39437.965 | 39437.9707
2007-12-22 | Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39438.3157 | 39438.3436
| Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39438.3691 | 39438.549
| Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39438.585 | 39438.5958
| Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39438.6567 | 39438.8812
2007-12-23 | Atlantic-Larrabee R1032 | Atlantic-New Prospect Rd-Smithburg 230 Kv Line | 39439.0296 | 39439.1007
| Atlantic-Larrabee R1032 | Atlantic-New Prospect Rd-Smithburg 230 Kv Line | 39439.3957 | 39439.415
| Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39439.3957 | 39439.4834
| Atlantic-Larrabee R1032 | Atlantic-New Prospect Rd-Smithburg 230 Kv Line | 39439.4332 | 39439.5685
| Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39439.5005 | 39439.5424
| Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39439.559 | 39439.5632
| Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39439.5813 | 39439.5961
| Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39439.677 | 39439.8263
| Atlantic-Larrabee R1032 | Atlantic-New Prospect Rd-Smithburg 230 Kv Line | 39439.692 | 39439.8624
| Branchbu-Readingt M-2265 | Actual | 39439.6942 | 39439.6961
| Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39439.8427 | 39439.9336
| Atlantic-Larrabee R1032 | Atlantic-New Prospect Rd-Smithburg 230 Kv Line | 39439.9093 | 39439.9112
| Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39439.9577 | 39439.96
2007-12-24 | Atlantic-Larrabee R1032 | Atlantic-New Prospect Rd-Smithburg 230 Kv Line | 39440.693 | 39440.7155
| Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39440.7155 | 39440.7587
| Atlantic-Larrabee R1032 | Atlantic-New Prospect Rd-Smithburg 230 Kv Line | 39440.744 | 39440.7606
2007-12-25 | Atlantic-Larrabee R1032 | Atlantic-New Prospect Rd-Smithburg 230 Kv Line | 39441.0203 | 39441.0607
| Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39441.7954 | 39441.809
2007-12-26 | Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39442.3008 | 39442.3104
| Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39442.3566 | 39442.9744
| Atlantic-Larrabee R1032 | Atlantic-New Prospect Rd-Smithburg 230 Kv Line | 39442.5016 | 39442.5017
| Atlantic-Larrabee R1032 | Atlantic-New Prospect Rd-Smithburg 230 Kv Line | 39442.629 | 39442.6416
| Atlantic-Larrabee R1032 | Atlantic-New Prospect Rd-Smithburg 230 Kv Line | 39442.6715 | 39442.8455
| Atlantic-Larrabee R1032 | Atlantic-New Prospect Rd-Smithburg 230 Kv Line | 39442.8596 | 39442.9054
2007-12-27 | Atlantic-Larrabee R1032 | Atlantic-New Prospect Rd-Smithburg 230 Kv Line | 39443.0172 | 39443.1401
| Atlantic-Larrabee R1032 | Atlantic-New Prospect Rd-Smithburg 230 Kv Line | 39443.1634 | 39443.176
| Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39443.3153 | 39443.9341
| Atlantic-Larrabee R1032 | Atlantic-New Prospect Rd-Smithburg 230 Kv Line | 39443.4051 | 39443.4149
| Atlantic-Larrabee R1032 | Atlantic-New Prospect Rd-Smithburg 230 Kv Line | 39443.4305 | 39443.8588
| Atlantic-Larrabee R1032 | Atlantic-New Prospect Rd-Smithburg 230 Kv Line | 39443.8769 | 39443.8966
2007-12-28 | Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39444.2738 | 39444.5505
| Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39444.6348 | 39444.9445
2007-12-29 | Atlantic-Larrabee R1032 | Atlantic-New Prospect Rd-Smithburg 230 Kv Line | 39445.7115 | 39445.7456
| Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39445.7115 | 39445.9206
| Atlantic-Larrabee R1032 | Atlantic-New Prospect Rd-Smithburg 230 Kv Line | 39445.8901 | 39445.9119
| Atlantic-Larrabee R1032 | Atlantic-New Prospect Rd-Smithburg 230 Kv Line | 39445.9359 | 39445.9375
| Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39445.9359 | 39446.0305
2007-12-30 | Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39446.3371 | 39446.4438
| Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39446.4601 | 39446.5086
| Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39446.5227 | 39446.5473
| Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39446.5914 | 39446.6067
| Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39446.6282 | 39446.9508
2007-12-31 | Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39447.2816 | 39447.5716
| Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39447.5861 | 39447.6024
| Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39447.6967 | 39447.906
| Etowanda 3 Tx Xformer | East Towanda #4 230/115 Kv Xf (Reclosing Failed) | 39447.9263 | 39447.9467

## RTO
Off-Cost Operations - December 2007
Date | Facility | Contingency | Begin Time | End Time
2007-12-02 | Transfer Interface: West | Juniata Keystone 500 Line | 39418.0989 | 39418.1133
| Homercit-Watercur Hcwc Tie | Actual | 39418.1266 | 39418.1458
| Transfer Interface: West | Juniata Keystone 500 Line | 39418.1458 | 39418.1595
| Transfer Interface: West | Juniata Keystone 500 Line | 39418.2207 | 39418.2236
| Eugene-Bunsonvi Tie | Breed West Casy 345Kv Line | 39418.3665 | 39418.3698
| Transfer Interface: West | Juniata Keystone 500 Line | 39418.4184 | 39418.4923
| Transfer Interface: West | Juniata Keystone 500 Line | 39418.519 | 39418.5331
| Transfer Interface: West | Juniata Keystone 500 Line | 39418.5501 | 39418.5922
| Transfer Interface: West | Juniata Keystone 500 Line | 39418.6163 | 39418.6387
| Transfer Interface: West | Juniata Keystone 500 Line | 39418.6841 | 39418.7084
| Transfer Interface: West | Bedington Blackoak Line | 39418.7499 | 39418.7892
2007-12-04 | Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39420.0292 | 39420.0707
| Transfer Interface: Kmf | Pruntytown-Mt. Storm (510) 500 Kv Line | 39420.0292 | 39420.2481
| Homercit-Watercur Hcwc Tie | Actual | 39420.0364 | 39420.143
| Homercit-Watercur Hcwc Tie | Actual | 39420.166 | 39420.2246
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39420.193 | 39420.2008
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39420.2361 | 39420.3213
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39420.3361 | 39420.4804
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39420.5018 | 39420.547
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39420.6 | 39420.7773
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39420.8108 | 39420.8268
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39420.8436 | 39420.8965
| Transfer Interface: Kmf | Pruntytown-Mt. Storm (510) 500 Kv Line | 39420.8883 | 39420.9263
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39420.9406 | 39420.9563
| Transfer Interface: Kmf | Pruntytown-Mt. Storm (510) 500 Kv Line | 39420.9406 | 39421.0045
2007-12-05 | Transfer Interface: Kmf | Pruntytown-Mt. Storm (510) 500 Kv Line | 39421.0101 | 39421.0417
| Transfer Interface: Kmf | Pruntytown-Mt. Storm (510) 500 Kv Line | 39421.0604 | 39421.195
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39421.233 | 39421.3481
| Transfer Interface: Kmf | Pruntytown-Mt. Storm (510) 500 Kv Line | 39421.2905 | 39421.2917
| Transfer Interface: Kmf | Pruntytown-Mt. Storm (510) 500 Kv Line | 39421.31 | 39421.3987
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39421.3703 | 39421.3766
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39421.3987 | 39421.5623
| Transfer Interface: Kmf | Pruntytown-Mt. Storm (510) 500 Kv Line | 39421.4164 | 39421.6468
| Transfer Interface: Bed-Bla | 550 Line: Mtstorm-Valley | 39421.6339 | 39421.6363
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39421.6536 | 39421.6592
| Transfer Interface: Kmf | Pruntytown-Mt. Storm (510) 500 Kv Line | 39421.6791 | 39421.6796
| Transfer Interface: Bed-Bla | Conemaugh-Hunterstown (5006) 500 Kv Line | 39421.7025 | 39421.7142
| Transfer Interface: Bed-Bla | Conemaugh-Hunterstown (5006) 500 Kv Line | 39421.7616 | 39421.7897
| Transfer Interface: Kmf | Pruntytown-Mt. Storm (510) 500 Kv Line | 39421.956 | 39421.9731
2007-12-06 | Homercit-Watercur Hcwc Tie | Actual | 39422.1633 | 39422.2174
| Transfer Interface: 50045005 | Conemaugh-Hunterstown (5006) 500 Kv Line | 39422.1633 | 39422.2022
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39422.2649 | 39422.298
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39422.2649 | 39422.2707
| Dooms4 Tx9 Xformer | Valley 500/230Kv Transformer | 39422.2765 | 39422.298
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39422.2885 | 39422.3155
| Transfer Interface: Kmf | Pruntytown-Mt. Storm (510) 500 Kv Line | 39422.3957 | 39422.7133
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39422.5073 | 39422.5267
| Transfer Interface: Bed-Bla | 550 Line: Mtstorm-Valley | 39422.6307 | 39422.6413
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39422.6687 | 39422.6723
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39422.6886 | 39422.754
| Transfer Interface: Bed-Bla | Calvert Cliffs 2 Gen | 39422.7713 | 39422.7744
| Transfer Interface: Kmf | Pruntytown-Mt. Storm (510) 500 Kv Line | 39422.7909 | 39423.0358
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39422.8014 | 39422.8559
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39422.8736 | 39422.9105
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39422.953 | 39422.9795
2007-12-07 | Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39423.0393 | 39423.0476
| Transfer Interface: Kmf | Pruntytown-Mt. Storm (510) 500 Kv Line | 39423.0393 | 39423.0648
| Transfer Interface: Kmf | Pruntytown-Mt. Storm (510) 500 Kv Line | 39423.0867 | 39423.2486
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39423.1532 | 39423.1585
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39423.2701 | 39423.2922
| Transfer Interface: Kmf | Pruntytown-Mt. Storm (510) 500 Kv Line | 39423.2701 | 39423.2862
| Eugene-Bunsonvi Tie | Breed West Casy 345Kv Line | 39423.2743 | 39423.3049
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39423.3129 | 39423.3461
| Transfer Interface: Kmf | Pruntytown-Mt. Storm (510) 500 Kv Line | 39423.3261 | 39423.4515
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39423.3632 | 39423.4898
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39423.5801 | 39423.6097
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39423.6963 | 39423.697
| Transfer Interface: Kmf | Pruntytown-Mt. Storm (510) 500 Kv Line | 39423.6963 | 39423.697
| Transfer Interface: Kmf | Pruntytown-Mt. Storm (510) 500 Kv Line | 39423.8023 | 39423.8061
| Transfer Interface: Bed-Bla | Calvert Cliffs 2 Gen | 39423.8566 | 39423.9242
| Transfer Interface: Kmf | Pruntytown-Mt. Storm (510) 500 Kv Line | 39423.9573 | 39423.9996
| Transfer Interface: Bed-Bla | Juniata Keystone 500 Line | 39423.9678 | 39423.9678
2007-12-08 | Transfer Interface: Kmf | Pruntytown-Mt. Storm (510) 500 Kv Line | 39424.0116 | 39424.0167
| Transfer Interface: Kmf | Pruntytown-Mt. Storm (510) 500 Kv Line | 39424.1957 | 39424.23
| Transfer Interface: West | Pruntytown-Mt. Storm (510) 500 Kv Line | 39424.7042 | 39424.7044
| Transfer Interface: West | Juniata Keystone 500 Line | 39424.8927 | 39424.9179
| Transfer Interface: West | Pruntytown-Mt. Storm (510) 500 Kv Line | 39424.9548 | 39424.9573
2007-12-09 | Transfer Interface: West | Juniata Keystone 500 Line | 39425.013 | 39425.0337
| Transfer Interface: West | Pruntytown-Mt. Storm (510) 500 Kv Line | 39425.0598 | 39425.0666
2007-12-11 | Homercit-Watercur Hcwc Tie | Actual | 39427.6619 | 39427.6638
| Homercit-Watercur Hcwc Tie | Actual | 39427.6987 | 39427.709
| Homercit-Watercur Hcwc Tie | Actual | 39427.9626 | 39428.006
2007-12-12 | Homercit-Watercur Hcwc Tie | Actual | 39428.0683 | 39428.0752
| Homercit-Watercur Hcwc Tie | Actual | 39428.0916 | 39428.102
| Homercit-Watercur Hcwc Tie | Actual | 39428.1169 | 39428.2072
| Homercit-Watercur Hcwc Tie | Keystone-Shelocta-Homer City 230 | 39428.3791 | 39428.3836
| Homercit-Watercur Hcwc Tie | Keystone-Shelocta-Homer City 230 | 39428.4097 | 39428.4147
| Transfer Interface: Ae Volt |  | 39428.4531 | 39428.5579
| Homercit-Watercur Hcwc Tie | Actual | 39428.6871 | 39428.726
| Transfer Interface: Ae Volt |  | 39428.7137 | 39428.9103
2007-12-13 | Harritap-Kammer (Irol) | Boonsbor-Frostown | 39429.0473 | 39429.12
| Transfer Interface: Ae Volt |  | 39429.2894 | 39429.7136
| Transfer Interface: 50045005 | Jefferson Rockport 765Kv Line | 39429.3145 | 39429.3213
| Transfer Interface: 50045005 | Bedington Blackoak Line | 39429.5769 | 39429.6693
| Transfer Interface: West | Juniata Keystone 500 Line | 39429.5813 | 39429.5852
| Transfer Interface: West | Jefferson Rockport 765Kv Line | 39429.6093 | 39429.6138
| Transfer Interface: West | Juniata Keystone 500 Line | 39429.6305 | 39429.6323
| Transfer Interface: West | Bedington Blackoak Line | 39429.6661 | 39429.6693
| Transfer Interface: Ae-Volt |  | 39429.7163 | 39430.0001
2007-12-14 | Transfer Interface: Ae-Volt |  | 39430.2965 | 39430.5634
2007-12-15 | Homercit-Watercur Hcwc Tie | Actual | 39431.038 | 39431.1091
| Homercit-Watercur Hcwc Tie | Actual | 39431.1268 | 39431.1617
2007-12-16 | Homercit-Watercur Hcwc Tie | Actual | 39432.0133 | 39432.088
| Homercit-Watercur Hcwc Tie | Actual | 39432.1048 | 39432.1198
| Homercit-Watercur Hcwc Tie | Actual | 39432.1511 | 39432.187
| Homercit-Watercur Hcwc Tie | Actual | 39432.42 | 39432.6416
| Homercit-Watercur Hcwc Tie | Actual | 39432.6944 | 39432.7521
| Transfer Interface: West | Juniata Keystone 500 Line | 39432.7113 | 39432.7238
| Homercit-Watercur Hcwc Tie | Actual | 39432.7825 | 39432.8208
| Homercit-Watercur Hcwc Tie | Actual | 39432.8393 | 39432.8963
2007-12-17 | Transfer Interface: Apsouth | Bedington Blackoak Line | 39433.2676 | 39433.3271
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39433.2676 | 39433.2729
| Homercit-Watercur Hcwc Tie | Actual | 39433.6976 | 39433.712
| Transfer Interface: 50045005 | Bedington Blackoak Line | 39433.712 | 39433.723
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39433.712 | 39433.8382
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39433.8525 | 39433.8665
2007-12-18 | Transfer Interface: Apsouth | Bedington Blackoak Line | 39434.1542 | 39434.3492
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39434.1542 | 39434.1716
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39434.1861 | 39434.2186
| Transfer Interface: Bed-Bla | Juniata Keystone 500 Line | 39434.2525 | 39434.2671
| Eugene-Bunsonvi Tie | Breed West Casy 345Kv Line | 39434.276 | 39434.2805
| Transfer Interface: Bed-Bla | Juniata Keystone 500 Line | 39434.2849 | 39434.33
| Transfer Interface: Bed-Bla | Doubs-Mt. Storm 500 Kv Line | 39434.345 | 39434.382
| Transfer Interface: Bed-Bla | Conemaugh-Juniata 500 Line | 39434.5991 | 39434.6558
| Eugene-Bunsonvi Tie | Breed West Casy 345Kv Line | 39434.67 | 39434.6839
| Transfer Interface: 50045005 | Bedington Blackoak Line | 39434.6996 | 39434.738
| Transfer Interface: Bed-Bla | Juniata Keystone 500 Line | 39434.7032 | 39434.73
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39434.7495 | 39434.7716
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39434.8199 | 39434.8228
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39434.8507 | 39434.867
2007-12-19 | Wylierid Tran 7 (Irol) | Ftmartin-Harritap-Harr Aps-Kammer | 39435.0414 | 39435.0461
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39435.1152 | 39435.1908
| Transfer Interface: 50045005 | Bedington Blackoak Line | 39435.2064 | 39435.2144
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39435.2538 | 39435.3134
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39435.2538 | 39435.3049
| Transfer Interface: Bed-Bla | Doubs-Mt. Storm 500 Kv Line | 39435.3571 | 39435.4042
| Transfer Interface: 50045005 | Bedington Blackoak Line | 39435.479 | 39435.5104
| Transfer Interface: Bed-Bla | Juniata Keystone 500 Line | 39435.4952 | 39435.4992
| Transfer Interface: 50045005 | Bedington Blackoak Line | 39435.5286 | 39435.6224
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39435.5571 | 39435.5607
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39435.5674 | 39435.5773
| Transfer Interface: Bed-Bla | Juniata Keystone 500 Line | 39435.5983 | 39435.6171
| Transfer Interface: 50045005 | Bedington Blackoak Line | 39435.6379 | 39435.8184
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39435.6964 | 39435.7039
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39435.7039 | 39435.7236
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39435.734 | 39435.7548
| Transfer Interface: Bed-Bla | Juniata Keystone 500 Line | 39435.8278 | 39435.8319
| Transfer Interface: Bed-Bla | Juniata Keystone 500 Line | 39435.8473 | 39435.8596
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39435.946 | 39435.9538
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39435.9699 | 39435.9723
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39435.9699 | 39436.016
2007-12-20 | Transfer Interface: Apsouth | Bedington Blackoak Line | 39436.0613 | 39436.0834
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39436.1113 | 39436.1194
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39436.1751 | 39436.1943
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39436.2283 | 39436.2311
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39436.2349 | 39436.235
| Transfer Interface: Kmf | Pruntytown-Mt. Storm (510) 500 Kv Line | 39436.2399 | 39436.2492
| Transfer Interface: Apsouth | Conemaugh-Juniata 500 Line | 39436.2492 | 39436.2659
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39436.281 | 39436.3118
| Transfer Interface: Kmf | Pruntytown-Mt. Storm (510) 500 Kv Line | 39436.284 | 39436.3066
| Transfer Interface: Apsouth | Calvert Cliffs 2 Gen | 39436.3066 | 39436.3519
| Transfer Interface: Apsouth | Conemaugh-Juniata 500 Line | 39436.4551 | 39436.459
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39436.5267 | 39436.5473
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39436.5989 | 39436.6548
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39436.6931 | 39436.708
2007-12-21 | Transfer Interface: West | Pruntytown-Mt. Storm (510) 500 Kv Line | 39437.2467 | 39437.3378
| Transfer Interface: West | Pruntytown-Mt. Storm (510) 500 Kv Line | 39437.353 | 39437.3761
| Transfer Interface: West | Juniata Keystone 500 Line | 39437.4002 | 39437.6106
| Transfer Interface: West | Juniata Keystone 500 Line | 39437.654 | 39437.7345
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39437.708 | 39437.7611
| Transfer Interface: West | Bedington Blackoak Line | 39437.7496 | 39437.7522
| Transfer Interface: West | Pruntytown-Mt. Storm (510) 500 Kv Line | 39437.8095 | 39437.8391
| Transfer Interface: West | Bedington Blackoak Line | 39437.8587 | 39437.8784
| Transfer Interface: West | Pruntytown-Mt. Storm (510) 500 Kv Line | 39437.9054 | 39437.9589
2007-12-22 | Transfer Interface: West | Juniata Keystone 500 Line | 39438.7868 | 39438.8096
| Transfer Interface: West | Juniata Keystone 500 Line | 39438.8318 | 39438.9302
| Transfer Interface: West | Juniata Keystone 500 Line | 39438.9497 | 39438.9828
| Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39438.9861 | 39438.992
2007-12-23 | Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39439.0086 | 39439.1391
| Transfer Interface: West | Pruntytown-Mt. Storm (510) 500 Kv Line | 39439.0887 | 39439.105
| Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39439.1547 | 39439.2003
| Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39439.2165 | 39439.2871
| Transfer Interface: 50045005 | Conemaugh-Hunterstown (5006) 500 Kv Line | 39439.4101 | 39439.4123
| Transfer Interface: West | Juniata Keystone 500 Line | 39439.4417 | 39439.4885
| Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39439.4875 | 39439.4901
| Transfer Interface: West | Juniata Keystone 500 Line | 39439.559 | 39439.5839
| Transfer Interface: West | Juniata Keystone 500 Line | 39439.692 | 39439.7084
2007-12-24 | Transfer Interface: 50045005 | Conemaugh-Hunterstown (5006) 500 Kv Line | 39440.6921 | 39440.704
| Transfer Interface: 50045005 | Conemaugh-Hunterstown (5006) 500 Kv Line | 39440.7247 | 39440.7722
2007-12-25 | Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39441.5168 | 39441.5181
| Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39441.5369 | 39441.5498
| Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39441.5739 | 39441.593
| Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39441.6341 | 39441.6492
| Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39441.9105 | 39441.9321
2007-12-26 | Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39442.0604 | 39442.0675
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39442.445 | 39442.4953
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39442.5206 | 39442.5241
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39442.5581 | 39442.5605
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39442.6146 | 39442.6557
| Transfer Interface: West | Juniata Keystone 500 Line | 39442.6416 | 39442.6557
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39442.6715 | 39442.7678
| Transfer Interface: West | Juniata Keystone 500 Line | 39442.6715 | 39442.7094
| Transfer Interface: West | Juniata Keystone 500 Line | 39442.7267 | 39442.7678
| Transfer Interface: West | Juniata Keystone 500 Line | 39442.8028 | 39442.809
| Transfer Interface: West | Bedington Blackoak Line | 39442.8777 | 39442.9038
2007-12-27 | Transfer Interface: West | Juniata Keystone 500 Line | 39443.6397 | 39443.6582
| Transfer Interface: West | Juniata Keystone 500 Line | 39443.713 | 39443.7193
2007-12-28 | Transfer Interface: Apsouth | Bedington Blackoak Line | 39444.6995 | 39444.7162
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39444.752 | 39444.753
2007-12-30 | Smawa-Waldwick J-3410 Tie | Waldwick-South Mawa-Ramapo K-3411 345 | 39446.3628 | 39446.4705
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39446.7028 | 39446.7695
2007-12-31 | Transfer Interface: Apsouth | Bedington Blackoak Line | 39447.2961 | 39447.4264
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39447.4571 | 39447.4598
| Transfer Interface: West | Pruntytown-Mt. Storm (510) 500 Kv Line | 39447.4767 | 39447.4812
| Transfer Interface: West | Pruntytown-Mt. Storm (510) 500 Kv Line | 39447.5358 | 39447.5365
| Transfer Interface: West | Pruntytown-Mt. Storm (510) 500 Kv Line | 39447.559 | 39447.567
| Transfer Interface: West | Juniata Keystone 500 Line | 39447.5949 | 39447.5972
| Transfer Interface: West | Juniata Keystone 500 Line | 39447.7 | 39447.7019
| Transfer Interface: West | Pruntytown-Mt. Storm (510) 500 Kv Line | 39447.7236 | 39447.7878
| Transfer Interface: West | Bedington Blackoak Line | 39447.8064 | 39447.8273
| Transfer Interface: West | Pruntytown-Mt. Storm (510) 500 Kv Line | 39447.8419 | 39447.86
| Transfer Interface: West | Pruntytown-Mt. Storm (510) 500 Kv Line | 39447.8757 | 39447.8942
| Transfer Interface: West | Pruntytown-Mt. Storm (510) 500 Kv Line | 39447.9292 | 39447.9322
| Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39447.9859 | 39448.0402

## WEST
Off-Cost Operations - December 2007
Date | Facility | Contingency | Begin Time | End Time
2007-12-01 | Wylierid 1Tx Xformer | Wylierid 3Tx | 39417.0123 | 39417.1458
| Wylierid 1Tx Xformer | Wylierid 3Tx | 39417.1642 | 39417.287
| Wylierid 1Tx Xformer | Wylierid 3Tx | 39417.3176 | 39417.3206
| Mitchell-Unionjct Mi-Unnj | Charlero-Dryrun-Mitchell | 39417.3206 | 39417.3407
| Cheswick-Univers Z-52 | Cheswick Tr1 138/69 Kv Trans (Duq) | 39417.33 | 39417.3406
| Collier-Elwyn Z-62 | Arsenal 345/138 Kv T1 Xfmr | 39417.3421 | 39417.3437
| Cheswick-Springda Z-58 | Mitchell-Elrama 138 Kv | 39417.3569 | 39417.5803
| Wylierid 1Tx Xformer | Wylierid 3Tx | 39417.3692 | 39417.3828
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39417.5507 | 39417.5803
| Collier-Elwyn Z-62 | Arsenal 345/138 Kv T1 Xfmr | 39417.5507 | 39417.5607
| Cheswick-Springda Z-58 | Cabot - Wylie Ridge 500 Kv Line | 39417.5989 | 39417.6097
| Collier-Elwyn Z-62 | Arsenal 345/138 Kv T1 Xfmr | 39417.6042 | 39417.6094
| Mitchell-Unionjct Mi-Unnj | Charlero-Dryrun-Mitchell | 39417.6333 | 39417.8459
| Mitchell-Unionjct Mi-Unnj | Charlero-Dryrun-Mitchell | 39417.8661 | 39417.9014
| Mitchell-Unionjct Mi-Unnj | Charlero-Dryrun-Mitchell | 39417.9244 | 39417.9529
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39417.9666 | 39418.0024
| Mitchell-Unionjct Mi-Unnj | Charlero-Dryrun-Mitchell | 39417.9754 | 39417.9813
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39417.9937 | 39418
2007-12-02 | Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39418.0024 | 39418.0166
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39418.0058 | 39418.0989
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39418.0989 | 39418.1161
| Dryrun-Mitchell Mi-Ch-1 | Charlero-Unionjct-Mitchel-Peters | 39418.1133 | 39418.1266
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39418.1161 | 39418.2943
| Dryrun-Mitchell Mi-Ch-1 | Charlero-Unionjct-Mitchel-Peters | 39418.2236 | 39418.2411
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39418.2682 | 39418.374
| Dryrun-Mitchell Mi-Ch-1 | Charlero-Unionjct-Mitchel-Peters | 39418.3452 | 39418.4795
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39418.3452 | 39418.7322
| Dryrun-Mitchell Mi-Ch-1 | Charlero-Unionjct-Mitchel-Peters | 39418.5102 | 39418.519
| Dryrun-Mitchell Mi-Ch-1 | Charlero-Unionjct-Mitchel-Peters | 39418.5361 | 39418.5561
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39418.6515 | 39418.6528
| Dryrun-Mitchell Mi-Ch-1 | Charlero-Unionjct-Mitchel-Peters | 39418.7836 | 39418.8186
| Dryrun-Mitchell Mi-Ch-1 | Charlero-Unionjct-Mitchel-Peters | 39418.8503 | 39418.8612
| Dryrun-Mitchell Mi-Ch-1 | Charlero-Unionjct-Mitchel-Peters | 39418.8801 | 39418.9568
| Dryrun-Mitchell Mi-Ch-1 | Charlero-Unionjct-Mitchel-Peters | 39418.991 | 39419.0017
2007-12-03 | Dryrun-Mitchell Mi-Ch-1 | Charlero-Unionjct-Mitchel-Peters | 39419.005 | 39419.0146
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39419.0146 | 39419.0173
| Dryrun-Mitchell Mi-Ch-1 | Charlero-Unionjct-Mitchel-Peters | 39419.039 | 39419.0421
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39419.0421 | 39419.0511
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39419.0511 | 39419.0927
| Dryrun-Mitchell Mi-Ch-1 | Charlero-Unionjct-Mitchel-Peters | 39419.131 | 39419.1435
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39419.1499 | 39419.1551
| Dryrun-Mitchell Mi-Ch-1 | Charlero-Unionjct-Mitchel-Peters | 39419.191 | 39419.263
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39419.195 | 39419.2255
| Collier-Elwyn Z-62 | Arsenal 345/138 Kv T1 Xfmr | 39419.2255 | 39419.2513
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39419.2513 | 39419.2543
| Possump4 Tx9 Xformer | Fredericksburg 230/115 Tx#7 | 39419.3457 | 39419.3686
| Possump4 Tx9 Xformer | Fredericksburg 230/115 Tx#7 | 39419.4005 | 39419.4017
| Halifax -Half296 296A | 570 Line: Carson-Wake | 39419.5012 | 39419.5248
| Halifax -Half296 296A | 570 Line: Carson-Wake | 39419.546 | 39419.6115
| Altavsta-Dominion 30A | New London Johnsonm Otter Altavist 138 Kv Circuit | 39419.627 | 39419.6608
| Halifax -Half296 296A | 570 Line: Carson-Wake | 39419.6287 | 39419.6378
| Halifax -Half296 296A | 570 Line: Carson-Wake | 39419.654 | 39419.6608
| Ox4 Tx2 Xformer | Ox 500/230 Tx#1 & Bus#3 Failed Sectionalizing | 39419.654 | 39419.6608
| Halifax -Half296 296A | 570 Line: Carson-Wake | 39419.6761 | 39419.7282
| Ox4 Tx2 Xformer | Ox 500/230 Tx#1 & Bus#3 Failed Sectionalizing | 39419.6761 | 39419.7602
| Halifax Tx5 Xformer | 2068Line: Clover-Halifax | 39419.6862 | 39419.7078
| Altavsta-Dominion 30A | New London Johnsonm Otter Altavist 138 Kv Circuit | 39419.7078 | 39419.8037
| Clover Tx9 Xformer | 570 Line: Carson-Wake | 39419.7268 | 39419.7282
| Halifax -Half296 296A | 570 Line: Carson-Wake | 39419.7524 | 39419.7602
2007-12-04 | Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39420.0344 | 39420.0873
| Wylierid 1Tx Xformer | Wylierid 3Tx | 39420.183 | 39420.2097
| Halifax Tx5 Xformer | 2068Line: Clover-Halifax | 39420.3774 | 39420.427
| Halifax Tx5 Xformer | 2068Line: Clover-Halifax | 39420.4464 | 39420.5161
| Halifax -Half296 296A | 570 Line: Carson-Wake | 39420.459 | 39420.4956
| Halifax -Half296 296A | 570 Line: Carson-Wake | 39420.5724 | 39420.6468
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39420.6 | 39420.6246
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39420.6402 | 39420.6622
| Halifax -Half296 296A | 570 Line: Carson-Wake | 39420.6827 | 39420.6841
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39420.6827 | 39420.724
| Ox4 Tx1 Xformer | 234 Line: Whealton-Winchestr | 39420.7186 | 39420.7438
| Bedingto Tran 2 Xformer | ___Bedingto Tran 1 & Tran 3 | 39420.8206 | 39420.822
| Bedingto Tran 2 Xformer | ___Bedingto Tran 1 & Tran 3 | 39420.8409 | 39420.8436
| Altavsta-Dominion 30A | New London Johnsonm Otter Altavist 138 Kv Circuit | 39420.8965 | 39420.9406
2007-12-05 | Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39421.0666 | 39421.071
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39421.233 | 39421.2994
| Halifax -Half296 296A | 570 Line: Carson-Wake | 39421.321 | 39421.3241
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39421.3273 | 39421.3411
| Altavsta-Dominion 30A | New London Johnsonm Otter Altavist 138 Kv Circuit | 39421.3649 | 39421.4164
| Halifax -Half296 296A | 570 Line: Carson-Wake | 39421.366 | 39421.3703
| Halifax -Half296 296A | 570 Line: Carson-Wake | 39421.4111 | 39421.4267
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39421.4111 | 39421.4397
| Halifax -Half296 296A | 570 Line: Carson-Wake | 39421.4531 | 39421.4626
| Mahans Lane-Tidd | Wylierid 3Tx | 39421.4531 | 39421.4702
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39421.4563 | 39421.4724
| Mitchell-Unionjct Mi-Unnj | Charlero-Dryrun-Mitchell | 39421.4785 | 39421.5041
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39421.5041 | 39421.5623
| Altavsta-Dominion 30A | New London Johnsonm Otter Altavist 138 Kv Circuit | 39421.5049 | 39421.523
| Mitchell-Unionjct Mi-Unnj | Charlero-Dryrun-Mitchell | 39421.5265 | 39421.5478
| Altavsta-Dominion 30A | New London Johnsonm Otter Altavist 138 Kv Circuit | 39421.5478 | 39421.5505
| Ox4 Tx2 Xformer | Ox 500/230 Tx#1 & Bus#3 Failed Sectionalizing | 39421.5505 | 39421.5533
| Mitchell-Unionjct Mi-Unnj | Charlero-Dryrun-Mitchell | 39421.5876 | 39421.5935
| Altavsta-Dominion 30A | New London Johnsonm Otter Altavist 138 Kv Circuit | 39421.5935 | 39421.6084
| Halifax -Half296 296A | 570 Line: Carson-Wake | 39421.6339 | 39421.7324
| Ox4 Tx2 Xformer | Ox 500/230 Tx#1 & Bus#3 Failed Sectionalizing | 39421.6339 | 39421.7795
| Mitchell-Unionjct Mi-Unnj | Charlero-Dryrun-Mitchell | 39421.6344 | 39421.6465
| Altavsta-Dominion 30A | New London Johnsonm Otter Altavist 138 Kv Circuit | 39421.6348 | 39421.653
| Altavsta-Dominion 30A | New London Johnsonm Otter Altavist 138 Kv Circuit | 39421.676 | 39421.6831
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39421.7096 | 39421.7193
| Mitchell-Unionjct Mi-Unnj | Charlero-Dryrun-Mitchell | 39421.7096 | 39421.7142
| Bedingto Tran 2 Xformer | ___Bedingto Tran 1 & Tran 3 | 39421.7668 | 39421.7732
| Bedingto Tran 2 Xformer | ___Bedingto Tran 1 & Tran 3 | 39421.8 | 39421.8095
| Mitchell-Unionjct Mi-Unnj | Charlero-Dryrun-Mitchell | 39421.8 | 39422.1052
| Halifax -Half296 296A | 570 Line: Carson-Wake | 39421.8079 | 39421.847
2007-12-06 | Ussclair-Wmifflin Z-14 | Dravosburg T1 138/69 Kv Trans & Bus 1 (Duq) | 39422.0631 | 39422.0909
| Dryrun-Mitchell Mi-Ch-1 | Charlero-Unionjct-Mitchel-Peters | 39422.1197 | 39422.1633
| Mitchell-Unionjct Mi-Unnj | Charlero-Dryrun-Mitchell | 39422.1197 | 39422.1297
| Mitchell-Unionjct Mi-Unnj | Charlero-Dryrun-Mitchell | 39422.1633 | 39422.208
| Ussclair-Wmifflin Z-14 | Dravosburg T1 138/69 Kv Trans & Bus 1 (Duq) | 39422.1633 | 39422.1954
| Collier-Elwyn Z-62 | Arsenal 345/138 Kv T1 Xfmr | 39422.1834 | 39422.2174
| Dryrun-Mitchell Mi-Ch-1 | Charlero-Unionjct-Mitchel-Peters | 39422.2273 | 39422.2707
| Ussclair-Wmifflin Z-14 | Dravosburg T1 138/69 Kv Trans & Bus 1 (Duq) | 39422.2489 | 39422.2565
| Ox4 Tx1 Xformer | Ox 500/230 Tx#2 & Bus Failed Sectionalizing | 39422.2707 | 39422.2765
| Mitchell-Unionjct Mi-Unnj | Charlero-Dryrun-Mitchell | 39422.2885 | 39422.3006
| Mitchell-Unionjct Mi-Unnj | Charlero-Dryrun-Mitchell | 39422.3155 | 39422.4097
| Ox4 Tx1 Xformer | Ox 500/230 Tx#2 & Bus Failed Sectionalizing | 39422.3385 | 39422.3448
| Halifax -Half296 296A | 570 Line: Carson-Wake | 39422.4097 | 39422.4247
| Mitchell-Unionjct Mi-Unnj | Charlero-Dryrun-Mitchell | 39422.4321 | 39422.5677
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39422.4861 | 39422.4881
| Mitchell-Unionjct Mi-Unnj | Charlero-Dryrun-Mitchell | 39422.5986 | 39422.7298
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39422.6899 | 39422.74
| Halifax -Half296 296A | 570 Line: Carson-Wake | 39422.7058 | 39422.7133
| Mahans Lane-Tidd | Sammis - Wylierid 345 Kv | 39422.7227 | 39422.8199
| Mitchell-Unionjct Mi-Unnj | Charlero-Dryrun-Mitchell | 39422.8089 | 39422.8937
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39422.8805 | 39422.8819
| Mitchell-Unionjct Mi-Unnj | Charlero-Dryrun-Mitchell | 39422.9182 | 39422.9968
| Bedingto-Blackoak 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39422.9332 | 39422.9392
| Bedingto-Blackoak 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39422.9609 | 39422.9693
| Bedingto-Blackoak 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39422.9867 | 39422.9968
2007-12-07 | Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39423.0013 | 39423.0912
| Wylierid 1Tx Xformer | Wylierid 3Tx | 39423.0648 | 39423.1046
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39423.1256 | 39423.3129
| Wylierid 1Tx Xformer | Wylierid 3Tx | 39423.1406 | 39423.1585
| Bedingto-Blackoak 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39423.1426 | 39423.147
| Wylierid 1Tx Xformer | Wylierid 3Tx | 39423.1759 | 39423.2099
| Bedingto-Blackoak 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39423.3664 | 39423.3765
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39423.3664 | 39423.3774
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39423.4117 | 39423.4898
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39423.5298 | 39423.7402
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39423.7582 | 39423.7696
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39423.8665 | 39423.901
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39423.9393 | 39424.2054
2007-12-08 | Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39424.2093 | 39424.3054
| Cheswick-Evergree Z-50 | Cheswick - Logans Ferry Z-53 138 Kv Line (Duq) | 39424.2792 | 39424.3012
| Cheswick-Evergree Z-50 | Cheswick - Logans Ferry Z-53 138 Kv Line (Duq) | 39424.3303 | 39424.3417
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39424.3303 | 39424.366
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39424.4105 | 39424.4276
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39424.6289 | 39424.665
2007-12-09 | Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39425.0029 | 39425.013
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39425.0316 | 39425.0667
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39425.0959 | 39425.3864
| Wylierid 1Tx Xformer | Wylierid 3Tx | 39425.4219 | 39425.4241
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39425.4254 | 39425.4392
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39425.4584 | 39425.4878
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39425.6104 | 39425.648
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39425.6813 | 39425.7116
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39425.9769 | 39426.1219
2007-12-10 | Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39426.133 | 39426.2581
| Altavsta-Dominion 30A | New London Johnsonm Otter Altavist 138 Kv Circuit | 39426.3667 | 39426.4167
| Clover Tx9 Xformer | 570 Line: Carson-Wake | 39426.3951 | 39426.4533
| Halifax -Half296 296A | 570 Line: Carson-Wake | 39426.4241 | 39426.4462
| Halifax -Half296 296A | 570 Line: Carson-Wake | 39426.6513 | 39426.7068
| Altavsta-Dominion 30A | New London Johnsonm Otter Altavist 138 Kv Circuit | 39426.6753 | 39426.6841
| Middlebo-Willowis 84 | Belmont-Harrison 500 Kv Line | 39426.6893 | 39426.7063
| Clover Tx9 Xformer | 570 Line: Carson-Wake | 39426.6961 | 39426.7102
| Altavsta-Dominion 30A | New London Johnsonm Otter Altavist 138 Kv Circuit | 39426.7528 | 39426.8179
2007-12-11 | Garrnjct-Kiskival Kv-Grj | Erie W-Ashtabula-Perry 345Kv Line | 39427.0233 | 39427.0677
| Middlebo-Willowis 84 | Belmont-Harrison 500 Kv Line | 39427.0233 | 39427.061
| Middlebo-Willowis 84 | Belmont-Harrison 500 Kv Line | 39427.1138 | 39427.2228
| Belmont-Harr Aps | Kammer 765-345Kv Xf | 39427.1972 | 39427.2084
| Muskingu-Wolfcreek 138 Kv | Kammer-Belmont-Mountaineer 765 Kv Line | 39427.2005 | 39427.2145
| Middlebo-Willowis 84 | Belmont-Harrison 500 Kv Line | 39427.2538 | 39427.257
| Middlebo-Willowis 84 | Belmont-Harrison 500 Kv Line | 39427.2875 | 39427.2921
| Eureka-Willowis 70 | Kammer 765-345Kv Xf | 39427.3061 | 39427.3161
| 3Rocky -Battlebo 123A | 570 Line: Carson-Wake | 39427.3161 | 39427.3737
| Halifax -Half296 296A | 570 Line: Carson-Wake | 39427.4491 | 39427.4847
| Altavsta Tx3 Xformer | Altavista 138/115 Tx#4 | 39427.4761 | 39427.4796
| Halifax -Half296 296A | 570 Line: Carson-Wake | 39427.5542 | 39427.5616
| Cabot Tran 1 Xformer | Keystone-Cabot (5002) 500 Kv Line | 39427.5616 | 39427.5952
| Halifax -Half296 296A | 570 Line: Carson-Wake | 39427.5871 | 39427.5952
| Halifax -Half296 296A | 570 Line: Carson-Wake | 39427.6096 | 39427.6161
| Cabot Tran 1 Xformer | Keystone-Cabot (5002) 500 Kv Line | 39427.6147 | 39427.621
| Halifax -Half296 296A | 570 Line: Carson-Wake | 39427.6327 | 39427.6839
| Cabot Tran 1 Xformer | Keystone-Cabot (5002) 500 Kv Line | 39427.6552 | 39427.709
| 3Rocky -Battlebo 123A | 570 Line: Carson-Wake | 39427.7013 | 39427.7156
| Elrama-Mitchell Z-11 | Erie W-Ashtabula-Perry 345Kv Line | 39427.9626 | 39427.9893
| Garrnjct-Kiskival Kv-Grj | Erie W-Ashtabula-Perry 345Kv Line | 39427.9935 | 39427.9996
| Middlebo-Willowis 84 | Belmont-Harrison 500 Kv Line | 39427.9935 | 39427.9996
2007-12-12 | Middlebo-Willowis 84 | Belmont-Harrison 500 Kv Line | 39428.0097 | 39428.0752
| Brunotis-Mont Duq Z-44 | Arsenal-Brunot-Collier 345 Kv Line & T1 Xfmr (Duq) | 39428.047 | 39428.1925
| Middlebo-Willowis 84 | Belmont-Harrison 500 Kv Line | 39428.0916 | 39428.0925
| Middlebo-Willowis 84 | Belmont-Harrison 500 Kv Line | 39428.1347 | 39428.2426
| Elrama-Mitchell Z-11 | Belmont-Harrison 500 Kv Line | 39428.1791 | 39428.2181
| Middlebo-Willowis 84 | Belmont-Harrison 500 Kv Line | 39428.2763 | 39428.2949
| Halifax -Half296 296A | 570 Line: Carson-Wake | 39428.3083 | 39428.3413
| Elrama-Mitchell Z-11 | Harr-Ptn & Kam-Harr-Ftm | 39428.6413 | 39428.697
| Middlebo-Willowis 84 | Harr-Ptn & Kam-Harr-Ftm | 39428.6413 | 39428.6584
2007-12-13 | Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39429.1167 | 39429.298
| Halifax -Half296 296A | 570 Line: Carson-Wake | 39429.3975 | 39429.4089
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39429.588 | 39429.6016
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39429.588 | 39429.5892
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39429.6161 | 39429.6463
| Frdrksbg-Cranescr 252A | 574 Line: Elmont-Ladysmith | 39429.6611 | 39429.7708
| Halifax -Half296 296A | 570 Line: Carson-Wake | 39429.6911 | 39429.7193
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39429.6911 | 39429.6977
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39429.9604 | 39429.9666
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39429.9902 | 39430.0401
2007-12-14 | Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39430.0406 | 39430.1962
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39430.1809 | 39430.2248
| Breed-Sulliva1 | Jefferson Rockport 765Kv Line | 39430.5374 | 39430.6829
2007-12-15 | Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39431.0789 | 39431.2325
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39431.7085 | 39431.7269
2007-12-16 | Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39432.0016 | 39432.3138
| Grandpt-Guilford | Greenaps 138-Roxbury 115 | 39432.4513 | 39432.6663
2007-12-17 | Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39433.073 | 39433.0742
| Elrama-Mitchell Z-11 | Actual | 39433.0891 | 39433.1818
| Elrama-Mitchell Z-11 | Actual | 39433.2501 | 39433.2562
| Albright-Mtzi Aps Afai | Black Oak - Hatfield 500 Kv Line | 39433.2625 | 39433.3304
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39433.5854 | 39433.609
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39433.6457 | 39433.6655
| Person4 -Half296 296B | 570 Line: Carson-Wake | 39433.6493 | 39433.6705
| Person4 -Half296 296B | 570 Line: Carson-Wake | 39433.6867 | 39433.7298
| Frdrksbg-Cranescr 252A | 574 Line: Elmont-Ladysmith | 39433.7035 | 39433.7346
| Bedingto Tran 2 Xformer | ___Bedingto Tran 1 & Tran 3 | 39433.712 | 39433.7268
| Bedingto-Nipetown Bre1 | Bedington Doubs Line | 39433.712 | 39433.7377
2007-12-18 | Elrama-Mitchell Z-11 | Wylie Ridge #7 & #8 500/345 Kv Trans (Sps Removed) | 39434.0223 | 39434.0607
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39434.0519 | 39434.0705
| Elrama-Mitchell Z-11 | Wylie Ridge #7 & #8 500/345 Kv Trans (Sps Removed) | 39434.1054 | 39434.2172
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39434.1148 | 39434.1243
| 66 E Frn-945 Cret 6607 | Dumont Wilton Center 765Kv Line | 39434.1766 | 39434.2255
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39434.2083 | 39434.2186
| Mtstorm-Pruntyto | Bedington Blackoak Line | 39434.2083 | 39434.2204
| 66 E Frn-945 Cret 6607 | Dumont Wilton Center 765Kv Line | 39434.2716 | 39434.2909
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39434.5574 | 39434.6908
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39434.6364 | 39434.646
| Breed-Sulliva1 | Jefferson Rockport 765Kv Line | 39434.6727 | 39434.7307
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39434.6759 | 39434.7148
| Halifax -Half296 296A | 570 Line: Carson-Wake | 39434.6996 | 39434.7307
| Clover Tx9 Xformer | 570 Line: Carson-Wake | 39434.7103 | 39434.738
| Breed-Sulliva1 | Jefferson Rockport 765Kv Line | 39434.7476 | 39434.8087
| Breed-Sulliva1 | Jefferson Rockport 765Kv Line | 39434.8228 | 39434.8593
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39434.8593 | 39434.867
| Breed-Sulliva1 | Jefferson Rockport 765Kv Line | 39434.8789 | 39434.9159
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39434.9259 | 39434.9394
| Elrama-Mitchell Z-11 | Wylie Ridge #7 & #8 500/345 Kv Trans (Sps Removed) | 39434.9352 | 39434.9394
| Breed-Sulliva1 | Jefferson Rockport 765Kv Line | 39434.9452 | 39434.9589
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39434.9864 | 39435.0214
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39434.998 | 39435.0127
2007-12-19 | Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39435.0275 | 39435.1538
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39435.0278 | 39435.0321
| Breed-Sulliva1 | Jefferson Rockport 765Kv Line | 39435.0321 | 39435.0665
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39435.0665 | 39435.1647
| Dravosbu-Wmifflin Z-73 | Wylie Ridge #7 & #8 500/345 Kv Trans (Sps Removed) | 39435.1006 | 39435.1221
| Breed-Sulliva1 | Jefferson Rockport 765Kv Line | 39435.1138 | 39435.1402
| Breed-Sulliva1 | Jefferson Rockport 765Kv Line | 39435.1729 | 39435.5089
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39435.219 | 39435.3008
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39435.5256 | 39435.5431
| Breed-Sulliva1 | Jefferson Rockport 765Kv Line | 39435.5356 | 39435.5431
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39435.5431 | 39435.734
| Sulliva2 1-P Xformer | Jefferson Rockport 765Kv Line | 39435.5431 | 39435.5501
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39435.6091 | 39435.6171
| Albright-Mtzi Aps Afai | Black Oak - Hatfield 500 Kv Line | 39435.7064 | 39435.734
| Bedingto-Nipetown Bre1 | Bedington Doubs Line | 39435.7078 | 39435.7089
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39435.8837 | 39435.8954
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39435.933 | 39435.946
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39435.946 | 39436.0026
2007-12-20 | Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39436.0116 | 39436.0366
| Mtstorm-Pruntyto | Bedington Blackoak Line | 39436.016 | 39436.0258
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39436.0432 | 39436.0613
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39436.0613 | 39436.0895
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39436.0895 | 39436.165
| Mtstorm-Pruntyto | Bedington Blackoak Line | 39436.1422 | 39436.2571
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39436.165 | 39436.2349
| Bedingto-Blackoak 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39436.2233 | 39436.2349
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39436.2349 | 39436.2883
| Meadowbr Tran 3 Xformer | ___Meadowbr Tran 2 & Tran 4 | 39436.2531 | 39436.405
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39436.3118 | 39436.4507
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39436.4697 | 39436.6336
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39436.6488 | 39436.7097
| Collier-Woodvill Z-64 | Collier - Elwyn Z-62 138 Kv Line (Duq) | 39436.715 | 39436.7223
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39436.8697 | 39436.8946
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39436.8897 | 39437.0778
2007-12-21 | Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39437.045 | 39437.1082
| Arsenal-Oakland Z-101 | Collier - Elwyn Z-62 138 Kv Line (Duq) | 39437.0778 | 39437.0895
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39437.0804 | 39437.2202
| Collier-Woodvill Z-64 | Collier - Elwyn Z-62 138 Kv Line (Duq) | 39437.0887 | 39437.0987
| Elrama-Mitchell Z-11 | Ftmartin-Ronco 500 Kv | 39437.1364 | 39437.1751
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39437.1648 | 39437.1856
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39437.2202 | 39437.239
| Elrama-Mitchell Z-11 | Ftmartin-Ronco 500 Kv | 39437.2369 | 39437.3154
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39437.239 | 39437.3029
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39437.2805 | 39437.2898
| Elrama-Mitchell Z-11 | Ftmartin-Ronco 500 Kv | 39437.333 | 39437.378
| Collier-Woodvill Z-64 | Collier - Elwyn Z-62 138 Kv Line (Duq) | 39437.3686 | 39437.3761
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39437.3686 | 39437.3761
| Elrama-Mitchell Z-11 | Ftmartin-Ronco 500 Kv | 39437.393 | 39437.4562
| Collier-Woodvill Z-64 | Collier - Elwyn Z-62 138 Kv Line (Duq) | 39437.4002 | 39437.4519
| Collier-Woodvill Z-64 | Collier - Elwyn Z-62 138 Kv Line (Duq) | 39437.4703 | 39437.4709
| Elrama-Mitchell Z-11 | Ftmartin-Ronco 500 Kv | 39437.4816 | 39437.4993
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39437.4982 | 39437.5299
| Collier-Woodvill Z-64 | Ftmartin-Ronco 500 Kv | 39437.503 | 39437.5742
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39437.5189 | 39437.7103
| Elrama-Mitchell Z-11 | Ftmartin-Ronco 500 Kv | 39437.5189 | 39437.5742
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39437.5731 | 39437.5742
| Collier-Woodvill Z-64 | Collier - Elwyn Z-62 138 Kv Line (Duq) | 39437.6203 | 39437.6418
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39437.654 | 39437.751
| Elrama-Mitchell Z-11 | Ftmartin-Ronco 500 Kv | 39437.6547 | 39437.6789
| Collier-Woodvill Z-64 | Ftmartin-Ronco 500 Kv | 39437.6894 | 39437.7345
| Elrama-Mitchell Z-11 | Ftmartin-Ronco 500 Kv | 39437.7034 | 39437.708
| Clover Tx9 Xformer | 570 Line: Carson-Wake | 39437.7318 | 39437.7395
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39437.7318 | 39437.7395
| Elrama-Mitchell Z-11 | Ftmartin-Ronco 500 Kv | 39437.7318 | 39437.7451
| Elrama-Mitchell Z-11 | Ftmartin-Ronco 500 Kv | 39437.774 | 39437.8208
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39437.8368 | 39437.9014
| Elrama-Mitchell Z-11 | Ftmartin-Ronco 500 Kv | 39437.8368 | 39437.8784
| Collier-Woodvill Z-64 | Dravosburg T1 138/69 Kv Trans & Bus 1 (Duq) | 39437.8564 | 39437.8587
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39437.8749 | 39437.9234
| Elrama-Mitchell Z-11 | Ftmartin-Ronco 500 Kv | 39437.9054 | 39437.9136
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39437.9234 | 39437.9805
| Collier-Woodvill Z-64 | Dravosburg T1 138/69 Kv Trans & Bus 1 (Duq) | 39437.9264 | 39437.9355
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39437.965 | 39438.0213
| Collier-Woodvill Z-64 | Dravosburg T1 138/69 Kv Trans & Bus 1 (Duq) | 39437.9707 | 39437.9764
| Mtstorm-Pruntyto | Bedington Blackoak Line | 39437.9764 | 39437.9771
2007-12-22 | Collier-Woodvill Z-64 | Dravosburg T1 138/69 Kv Trans & Bus 1 (Duq) | 39438.0008 | 39438.4319
| Elrama-Mitchell Z-11 | Ftmartin-Ronco 500 Kv | 39438.0145 | 39438.0444
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39438.0157 | 39438.022
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39438.0367 | 39438.063
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39438.0592 | 39438.1393
| Elrama-Mitchell Z-11 | Ftmartin-Ronco 500 Kv | 39438.0749 | 39438.1061
| Elrama-Mitchell Z-11 | Ftmartin-Ronco 500 Kv | 39438.1393 | 39438.4421
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39438.1497 | 39438.1519
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39438.1911 | 39438.3046
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39438.332 | 39438.5947
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39438.5759 | 39438.6381
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39438.6497 | 39438.7541
| Elrama-Mitchell Z-11 | Ftmartin-Ronco 500 Kv | 39438.7111 | 39438.7207
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39438.7794 | 39438.8391
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39438.8539 | 39438.9886
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39438.8576 | 39438.8608
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39438.9497 | 39438.9536
2007-12-23 | Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39439.0109 | 39439.0408
| Elrama-Mitchell Z-11 | Cabot - Wylie Ridge 500 Kv Line | 39439.0109 | 39439.0215
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39439.0658 | 39439.1247
| Elrama-Mitchell Z-11 | Cabot - Wylie Ridge 500 Kv Line | 39439.1391 | 39439.1565
| Elrama-Mitchell Z-11 | Cabot - Wylie Ridge 500 Kv Line | 39439.1753 | 39439.1804
| Elrama-Mitchell Z-11 | Cabot - Wylie Ridge 500 Kv Line | 39439.2151 | 39439.2955
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39439.2633 | 39439.3957
| Elrama-Mitchell Z-11 | Cabot - Wylie Ridge 500 Kv Line | 39439.3116 | 39439.5024
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39439.3161 | 39439.3178
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39439.3957 | 39439.4453
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39439.5024 | 39439.704
2007-12-24 | Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39440.0971 | 39440.1011
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39440.1655 | 39440.2682
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39440.2871 | 39440.3472
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39440.4025 | 39440.7722
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39440.847 | 39440.985
2007-12-25 | Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39441.0017 | 39441.1487
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39441.1639 | 39441.5802
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39441.6738 | 39442.0028
2007-12-26 | Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39442.0071 | 39442.3212
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39442.3365 | 39442.597
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39442.5581 | 39442.6146
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39442.6146 | 39442.7444
| Cabot Tran 1 Xformer | Keystone-Cabot (5002) 500 Kv Line | 39442.6732 | 39442.6759
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39442.7613 | 39442.7798
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39442.8299 | 39442.8455
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39442.8738 | 39442.8777
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39442.9054 | 39443.2585
2007-12-27 | Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39443.2804 | 39443.3138
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39443.6983 | 39443.7161
| Clover Tx9 Xformer | 570 Line: Carson-Wake | 39443.7143 | 39443.7377
| Halifax -Half296 296A | 570 Line: Carson-Wake | 39443.7193 | 39443.7243
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39443.9924 | 39443.9951
2007-12-28 | Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39444.0098 | 39444.04
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39444.0119 | 39444.0147
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39444.0571 | 39444.0597
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39444.1238 | 39444.1914
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39444.1604 | 39444.1614
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39444.1914 | 39444.2951
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39444.2723 | 39444.3393
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39444.6995 | 39444.7039
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39444.9043 | 39444.9482
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39444.9566 | 39445.0569
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39444.9921 | 39445.0028
2007-12-29 | Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39445.0569 | 39445.1936
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39445.1237 | 39445.2481
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39445.224 | 39445.2635
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39445.2635 | 39445.277
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39445.2973 | 39445.303
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39445.3592 | 39445.4469
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39445.4626 | 39445.514
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39445.5079 | 39445.5325
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39445.5325 | 39445.7177
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39445.6314 | 39445.6502
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39445.8709 | 39445.8854
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39445.9083 | 39446.0153
2007-12-30 | Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39446.0153 | 39446.0636
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39446.0215 | 39446.0334
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39446.1401 | 39446.4214
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39446.3001 | 39446.3102
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39446.4488 | 39446.7211
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39446.6429 | 39446.6543
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39446.6687 | 39446.7043
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39446.7211 | 39446.7273
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39446.848 | 39446.8807
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39446.8957 | 39447.0324
2007-12-31 | Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39447.0266 | 39447.1801
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39447.0755 | 39447.095
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39447.1174 | 39447.139
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39447.1681 | 39447.3075
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39447.3258 | 39447.3394
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39447.3591 | 39447.4066
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39447.4422 | 39447.4644
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39447.4644 | 39447.5247
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39447.567 | 39447.6273
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39447.5716 | 39447.5745
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39447.6846 | 39447.6967
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39447.6967 | 39447.7236
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39447.7121 | 39447.7197
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39447.7585 | 39447.9467
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39447.8273 | 39447.8546
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39447.962 | 39448.0006