## MIDATL
Off-Cost Operations - March 2009
Date | Facility | Contingency | Begin Time | End Time
2009-03-02 | Conaston-Peachbot 5012 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39874.2082 | 39874.2322
| Conaston-Peachbot 5012 | Conemaugh-Hunterstown (5006) 500 Kv Line | 39874.2592 | 39874.2656
| Graceton-Raphaerd 2313 | Brighton-Conastone 500Kv | 39874.2656 | 39874.2776
| Graceton-Raphaerd 2313 | Brighton-Conastone 500Kv | 39874.3122 | 39874.3374
| Goudey-Laurellake 115 Kv | E.Towanda-Hillside 230Kv Line & Relay Op.@ E.Sayre | 39874.3244 | 39874.5181
| Reedsss-Shadegap 1K2K | Bedington Blackoak Line | 39874.3244 | 39874.378
| Graceton-Raphaerd 2313 | Brighton-Conastone 500Kv | 39874.3576 | 39874.3597
| Reedsss-Shadegap 1K2K | Bedington Blackoak Line | 39874.3945 | 39874.4218
| Plainsbu-Trenton D-1330 | Sewaren 220-1 230-138 Transformer | 39874.4839 | 39874.497
| Plainsbu-Trenton D-1330 | Sewaren 220-1 230-138 Transformer | 39874.5464 | 39874.9007
2009-03-03 | Yorkana 1 Bank Xformer | Jackson-Yorkana W/Jackson Tmi | 39875.415 | 39875.4292
| Dickerso-Plvw Vp 23111 | Doubs Brighton | 39875.7611 | 39875.769
2009-03-04 | Roxbury-Shadegap Kr 1075 | Bedington Blackoak Line | 39876.2427 | 39876.2656
| Dickerso-Plvw Vp 23111 | Doubs Brighton | 39876.407 | 39876.4213
| Plainsbu-Trenton D-1330 | Sewaren 220-1 230-138 Transformer | 39876.4429 | 39876.4834
| Atlantic-Larrabee R1032 | Atlantic-New Prospect Rd-Smithburg 230 Kv Line | 39876.4511 | 39876.5146
| Burchesh No.2Tr Xformer | Doubs Brighton | 39876.8465 | 39876.8576
| Roxbury-Shadegap Kr 1075 | Bedington Blackoak Line | 39876.8785 | 39876.9188
2009-03-05 | Roxbury-Shadegap Kr 1075 | Actual | 39877.2369 | 39877.243
| Collins-Middljct 975-1 | Actual | 39877.2539 | 39877.2644
| Collins-Middljct 975-1 | Actual | 39877.2823 | 39877.2892
| Emilie-Falls 130-20 | Emilie-Eddington-Croydon 230 Kv Line | 39877.328 | 39877.3297
| Emilie-Falls 130-20 | Emilie-Eddington-Croydon 230 Kv Line | 39877.3639 | 39877.4017
| Emilie-Falls 130-20 | Emilie-Eddington-Croydon 230 Kv Line | 39877.5213 | 39877.5429
2009-03-06 | Conaston-Ottcrkpl | Hunterstown-Conastone (5013) And Cap | 39878.1831 | 39878.1869
| Roxbury-Shadegap Kr 1075 | Bedington Blackoak Line | 39878.2595 | 39878.2888
| Schuylki Sch 8Tr Xformer | Eddystone-Printz 230 Kv Line | 39878.3074 | 39878.7147
| Plainsbu-Trenton D-1330 | Sewaren 220-1 230-138 Transformer | 39878.4341 | 39878.5464
| Plainsbu-Trenton D-1330 | Sewaren 220-1 230-138 Transformer | 39878.7687 | 39878.7693
2009-03-07 | Athenia-Saddlebr Q-2217 | Actual | 39879.4436 | 39879.556
| Athenia-Saddlebr Q-2217 | Actual | 39879.7002 | 39879.7772
2009-03-08 | Athenia-Saddlebr Q-2217 | Actual | 39880.4943 | 39880.5066
2009-03-11 | Plainsbu-Trenton D-1330 | Sewaren 220-1 230-138 Transformer | 39883.5074 | 39883.5925
| Plainsbu-Trenton D-1330 | Sewaren 220-1 230-138 Transformer | 39883.6081 | 39883.6173
2009-03-14 | Graceton-Raphaerd 2313 | Brighton-Conastone 500Kv | 39886.2571 | 39886.2607
2009-03-15 | Hillsdal-Waldwick F-2258 | Actual | 39887.3427 | 39887.3497
| Hillsdal-Waldwick F-2258 | Actual | 39887.3785 | 39887.3849
2009-03-16 | Eddyston-Scottpap 6658 | Chichester Chi 9Tr 230-138 Transformer | 39888.8636 | 39888.9004
2009-03-18 | Atlantic-Larrabee R1032 | Atlantic-New Prospect Rd-Smithburg 230 Kv Line | 39890.5512 | 39890.5871
| Atlantic-Larrabee R1032 | Atlantic-New Prospect Rd-Smithburg 230 Kv Line | 39890.7482 | 39890.759
2009-03-20 | Plainsbu-Trenton D-1330 | Sewaren 220-1 230-138 Transformer | 39892.3574 | 39892.4175
| Plainsbu-Trenton D-1330 | Sewaren 220-1 230-138 Transformer | 39892.4365 | 39892.4589
| Plainsbu-Trenton D-1330 | Sewaren 220-1 230-138 Transformer | 39892.4894 | 39892.5367
| Plainsbu-Trenton D-1330 | Sewaren 220-1 230-138 Transformer | 39892.57 | 39892.6462
| Athenia-Saddlebr Q-2217 | Actual | 39892.6531 | 39892.7444
2009-03-21 | Roxbury-Shadegap Kr 1075 | Middletown Junction- Collins 115 Kv Line | 39893.3103 | 39893.33
2009-03-24 | Brighton No.1Tr Xformer | Brighton Waugh Chapel | 39896.251 | 39896.2769
2009-03-25 | Middljct 1 Bank-P Xformer | Jackson-Tmi (1051) 230 Kv Line | 39897.2658 | 39897.3065
| Middljct 1 Bank-P Xformer | Jackson-Tmi (1051) 230 Kv Line | 39897.4195 | 39897.4203
| Madera-Shawvill Sm 1078 | Warren #4 230/115 Kv Transformer | 39897.9377 | 39897.9588
2009-03-26 | Middljct 1 Bank-P Xformer | Middletown Jct #5 230/115 Kv Xf And Bus #8 | 39898.2575 | 39898.3319
| Collins-Middljct 975-1 | Actual | 39898.8861 | 39898.9001
2009-03-27 | Collins-Middljct 975-1 | Actual | 39899.2036 | 39899.2482
| Middljct 1 Bank-P Xformer | Smith Jct. 115 Kv Line (Westgate-Smithst-Yorkinc) | 39899.2405 | 39899.3426
| Middljct 1 Bank-P Xformer | Smith Jct. 115 Kv Line (Westgate-Smithst-Yorkinc) | 39899.3792 | 39899.4351

## WEST
Off-Cost Operations - March 2009
Date | Facility | Contingency | Begin Time | End Time
2009-03-01 | 138 Silv-156 Cher 15616 | 345L15502 Nelson-Electric Jct 345 Kv Line | 39873.0375 | 39873.0505
| 138 Silv-156 Cher 15616 | 345L15502 Nelson-Electric Jct 345 Kv Line | 39873.0659 | 39873.0681
| Kanawhar . B Xformer | Baker Broadford 765Kv Line | 39873.1291 | 39873.1514
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39873.1938 | 39873.2884
| Ruth-Turner | Baker Broadford 765Kv Line | 39873.2008 | 39873.2131
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39873.3104 | 39873.3211
| Ruth-Turner | Baker Broadford 765Kv Line | 39873.316 | 39873.3906
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39873.338 | 39873.3906
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39873.4057 | 39873.4356
| Ruth-Turner | Baker Broadford 765Kv Line | 39873.4264 | 39873.7168
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39873.4715 | 39873.6074
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39873.6215 | 39873.6859
| Ruth-Turner | Baker Broadford 765Kv Line | 39873.7343 | 39873.7567
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39873.7547 | 39873.7624
| Ruth-Turner | Baker Broadford 765Kv Line | 39873.9408 | 39873.9469
| Ruth-Turner | Baker Broadford 765Kv Line | 39873.9815 | 39874.01
2009-03-02 | Ruth-Turner | Baker Broadford 765Kv Line | 39874.0189 | 39874.0662
| Kanawhar-Kincaida | Kanawha River Bradley2 138Kv Line | 39874.0529 | 39874.3008
| 66 E Frn-945 Cret 6607 | 112_Wilton - 23_Collins 765 Kv Line & Wilton Tr93 | 39874.0604 | 39874.1554
| Kanawhar-Bradley | Kanawha River Kincaida Bradley1 138Kv Line | 39874.0604 | 39874.0662
| Ruth-Turner | Baker Broadford 765Kv Line | 39874.0945 | 39874.6896
| Kanawhar-Bradley | Kanawha River Kincaida Bradley1 138Kv Line | 39874.0994 | 39874.2903
| Doubs 500-3 Xformer | Doubs 500/230 #1 | 39874.2656 | 39874.3244
| Bedingto Tran 2 Xformer | ___Bedingto Tran 1 & Tran 3 | 39874.293 | 39874.3244
| Kanawhar-Kincaida | Kanawha River Bradley2 138Kv Line | 39874.3244 | 39874.6896
| Kanawhar-Bradley | Kanawha River Kincaida Bradley1 138Kv Line | 39874.3814 | 39874.4459
| Muskingu-Wolfcreek 138 Kv | Kammer-Belmont-Mountaineer 765 Kv Line | 39874.4123 | 39874.4596
| Doubs 500-3 Xformer | Doubs 500/230 #1 | 39874.4839 | 39874.5464
| Kanawhar-Bradley | Kanawha River Kincaida Bradley1 138Kv Line | 39874.497 | 39874.6896
| Middlebo-Willowis 84 | Harr Aps-Pruntyto | 39874.5464 | 39874.5669
| Tiltonsville-Windsor Aps | Harr Aps-Pruntyto | 39874.5883 | 39874.6225
| Hami Aps-Weirton 200I | Harr Aps-Pruntyto | 39874.6239 | 39874.634
| Middlebo-Willowis 84 | Harr Aps-Pruntyto | 39874.6239 | 39874.8264
| Kanawhar-Kincaida | Kanawha River Bradley2 138Kv Line | 39874.7378 | 39874.9924
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 39874.7587 | 39874.785
| Ruth-Turner | Baker Broadford 765Kv Line | 39874.7587 | 39874.7625
| Ruth-Turner | Baker Broadford 765Kv Line | 39874.7971 | 39874.8194
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 39874.8142 | 39874.8426
| Gree Aps-Roxbury Rgp | Bedington Blackoak Line | 39874.8343 | 39874.8426
| Ruth-Turner | Baker Broadford 765Kv Line | 39874.8369 | 39874.9122
| Middlebo-Willowis 84 | Harr Aps-Pruntyto | 39874.8455 | 39874.8477
| Middlebo-Willowis 84 | Harr Aps-Pruntyto | 39874.8695 | 39874.8836
| Middlebo-Willowis 84 | Harr Aps-Pruntyto | 39874.9273 | 39875.0619
| Ruth-Turner | Baker Broadford 765Kv Line | 39874.9374 | 39874.9622
2009-03-03 | Kanawhar-Kincaida | Kanawha River Bradley2 138Kv Line | 39875.0048 | 39875.0887
| 155 Nels-111 Elec 15502 | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 39875.0204 | 39875.0295
| Mtstorm-Pruntyto | Bedington Blackoak Line | 39875.0204 | 39875.0295
| Ruth-Turner | Baker Broadford 765Kv Line | 39875.0244 | 39875.0295
| 155 Nels-111 Elec 15502 | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 39875.0587 | 39875.0948
| 66 E Frn-945 Cret 6607 | 112_Wilton - 23_Collins 765 Kv Line & Wilton Tr93 | 39875.0587 | 39875.0684
| 9 Joliet-0906 0906 1 | 138L0901 Joliet-0901-Davis Crk-E Frankfort 138 Kv | 39875.0684 | 39875.1075
| Middlebo-Willowis 84 | Harr Aps-Pruntyto | 39875.0684 | 39875.0887
| 66 E Frn-945 Cret 6607 | 112_Wilton - 23_Collins 765 Kv Line & Wilton Tr93 | 39875.0846 | 39875.1217
| Ruth-Turner | Baker Broadford 765Kv Line | 39875.0846 | 39875.0887
| Bedingto Tran 2 Xformer | ___Bedingto Tran 1 & Tran 3 | 39875.0993 | 39875.2281
| 155 Nels-111 Elec 15502 | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 39875.1217 | 39875.1294
| Mtstorm-Pruntyto | Bedington Blackoak Line | 39875.1294 | 39875.1639
| 9 Joliet-0906 0906 1 | 138L0901 Joliet-0901-Davis Crk-E Frankfort 138 Kv | 39875.1345 | 39875.1437
| Kanawhar-Kincaida | Kanawha River Bradley2 138Kv Line | 39875.1345 | 39875.2132
| Middlebo-Willowis 84 | Harr Aps-Pruntyto | 39875.1378 | 39875.1486
| 9 Joliet-0906 0906 1 | 138L0901 Joliet-0901-Davis Crk-E Frankfort 138 Kv | 39875.1602 | 39875.1765
| Middlebo-Willowis 84 | Harr Aps-Pruntyto | 39875.1863 | 39875.2177
| 9 Joliet-0906 0906 1 | 138L0901 Joliet-0901-Davis Crk-E Frankfort 138 Kv | 39875.1941 | 39875.2132
| Mtstorm-Pruntyto | Bedington Blackoak Line | 39875.206 | 39875.2132
| Ruth-Turner | Baker Broadford 765Kv Line | 39875.206 | 39875.2132
| Bedingto Tran 2 Xformer | ___Bedingto Tran 1 & Tran 3 | 39875.2443 | 39875.3684
| Kanawhar-Kincaida | Kanawha River Bradley2 138Kv Line | 39875.2443 | 39875.2519
| Ruth-Turner | Baker Broadford 765Kv Line | 39875.2443 | 39875.2519
| Kanawhar-Kincaida | Kanawha River Bradley2 138Kv Line | 39875.2731 | 39875.4434
| Ruth-Turner | Baker Broadford 765Kv Line | 39875.2955 | 39875.3271
| Kanawhar-Bradley | Kanawha River Kincaida Bradley1 138Kv Line | 39875.3083 | 39875.3409
| Bonsack-Cloverd2 | Matt Funk T1 345/138Kv Xf (Sectionalized) | 39875.3199 | 39875.3409
| Ruth-Turner | Baker Broadford 765Kv Line | 39875.3554 | 39875.4249
| 155 Nels-111 Elec 15502 | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 39875.4728 | 39875.4794
| Tiltonsville-Windsor Aps | Harr Aps-Pruntyto | 39875.4728 | 39875.5549
| Tiltonsville-Windsor Aps | Harr Aps-Pruntyto | 39875.5931 | 39875.6023
| Tiltonsville-Windsor Aps | Harr Aps-Pruntyto | 39875.6163 | 39875.6551
| Cloverd2 . 10 Xformer | Pruntytown-Mt. Storm (510) 500 Kv Line | 39875.6461 | 39875.6551
| Cloverd2 . 10 Xformer | Pruntytown-Mt. Storm (510) 500 Kv Line | 39875.693 | 39875.6964
| Cloverd2 . 10 Xformer | Pruntytown-Mt. Storm (510) 500 Kv Line | 39875.7188 | 39875.7206
| 155 Nels-111 Elec 15502 | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 39875.893 | 39875.8965
2009-03-04 | Gree Aps-Roxbury Rgp | Bedington Blackoak Line | 39876.248 | 39876.3362
| Kanawhar-Kincaida | Kanawha River Bradley2 138Kv Line | 39876.3062 | 39876.3232
| Kanawhar-Kincaida | Kanawha River Bradley2 138Kv Line | 39876.3494 | 39876.37
| Harr Aps-Pruntyto | Cabot - Wylie Ridge 500 Kv Line | 39876.5146 | 39876.519
| Tiltonsville-Windsor Aps | Harr Aps-Pruntyto | 39876.5146 | 39876.5416
| Bays-Powellmt 312 | Harr Aps-Pruntyto | 39876.519 | 39876.5647
| Kammer2 .100 Xformer | Tidd West Bellair Kammer 345Kv Line | 39876.525 | 39876.6162
| Tiltonsville-Windsor Aps | Harr Aps-Pruntyto | 39876.5565 | 39876.5723
| Tiltonsville-Windsor Aps | Harr Aps-Pruntyto | 39876.6083 | 39876.6089
| Cloverd2 . 10 Xformer | Pruntytown-Mt. Storm (510) 500 Kv Line | 39876.6179 | 39876.6955
| Kammer2 .100 Xformer | Tidd West Bellair Kammer 345Kv Line | 39876.64 | 39876.6414
| 155 Nels-111 Elec 15502 | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 39876.7044 | 39876.7105
| Kammer2 .100 Xformer | Tidd West Bellair Kammer 345Kv Line | 39876.7381 | 39876.8676
| Tiltonsville-Windsor Aps | Harr Aps-Pruntyto | 39876.7381 | 39876.7869
| Harr Aps-Pruntyto | Cabot - Wylie Ridge 500 Kv Line | 39876.739 | 39876.7414
| 155 Nels-111 Elec 15502 | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 39876.7514 | 39876.7554
| Harr Aps-Pruntyto | Cabot - Wylie Ridge 500 Kv Line | 39876.7614 | 39876.9683
| 155 Nels-111 Elec 15502 | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 39876.7772 | 39876.799
| 155 Nels-111 Elec 15502 | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 39876.8465 | 39876.8564
| Kammer2 .100 Xformer | Tidd West Bellair Kammer 345Kv Line | 39876.8842 | 39876.9389
| Kammer2 .100 Xformer | Tidd West Bellair Kammer 345Kv Line | 39876.9609 | 39876.9666
| Belmont Tran 3 Xformer | ___Belmont 500/138 #1 & #2 | 39876.9757 | 39877.0127
2009-03-05 | Krendale-Shanorma Knd-Bt | Cabot - Wylie Ridge 500 Kv Line | 39877.0127 | 39877.1293
| Belmont Tran 3 Xformer | ___Belmont 500/138 #1 & #2 | 39877.0926 | 39877.165
| Belmont Tran 3 Xformer | ___Belmont 500/138 #1 & #2 | 39877.191 | 39877.2112
| Hami Aps-Weirton 200I | Wind Aps-Tiltonsv-Wbellair | 39877.2369 | 39877.2395
| Belmont Tran 3 Xformer | ___Belmont 500/138 #1 & #2 | 39877.2681 | 39877.3331
| Dayton -Valley4 253A | Dooms Tx#7 500/230 Kv Xf Sectionalized | 39877.2681 | 39877.309
| Kanawhar . B Xformer | Kanawha River Matt Funk 345Kv Line | 39877.2766 | 39877.3235
| Ruth-Turner | Baker Broadford 765Kv Line | 39877.2789 | 39877.2892
| Hami Aps-Weirton 200I | Wind Aps-Tiltonsv-Wbellair | 39877.2892 | 39877.2902
| Hami Aps-Weirton 200I | Wind Aps-Tiltonsv-Wbellair | 39877.309 | 39877.3204
| Dayton -Valley4 253A | Dooms Tx#7 500/230 Kv Xf Sectionalized | 39877.328 | 39877.3297
| Belmont Tran 3 Xformer | ___Belmont 500/138 #1 & #2 | 39877.3508 | 39877.6007
| Kanawhar . B Xformer | Kanawha River Matt Funk 345Kv Line | 39877.3639 | 39877.393
| Hami Aps-Weirton 200I | Wind Aps-Tiltonsv-Wbellair | 39877.3725 | 39877.3777
| Hami Aps-Weirton 200I | Wind Aps-Tiltonsv-Wbellair | 39877.393 | 39877.4349
| Krendale-Shanorma Knd-Bt | Cabot - Wylie Ridge 500 Kv Line | 39877.4098 | 39877.4448
| Smit Aps-Wylierid 214/Wyr | Cabot - Wylie Ridge 500 Kv Line | 39877.431 | 39877.5939
| Krendale-Shanorma Knd-Bt | Cabot - Wylie Ridge 500 Kv Line | 39877.4648 | 39877.8568
| Butl Aps-Shanorma Knd-Bt | Cabot - Wylie Ridge 500 Kv Line | 39877.4834 | 39877.4901
| Ruth-Turner | Baker Broadford 765Kv Line | 39877.4984 | 39877.5131
| Smit Aps-Wylierid 214/Wyr | Cabot - Wylie Ridge 500 Kv Line | 39877.6097 | 39877.6113
| Butl Aps-Shanorma Knd-Bt | Cabot - Wylie Ridge 500 Kv Line | 39877.669 | 39877.6728
| Smit Aps-Wylierid 214/Wyr | Cabot - Wylie Ridge 500 Kv Line | 39877.669 | 39877.6923
| Smit Aps-Wylierid 214/Wyr | Cabot - Wylie Ridge 500 Kv Line | 39877.7107 | 39877.8565
| Butl Aps-Shanorma Knd-Bt | Cabot - Wylie Ridge 500 Kv Line | 39877.7736 | 39877.778
| Belmont Tran 3 Xformer | ___Belmont 500/138 #1 & #2 | 39877.8246 | 39877.8331
2009-03-07 | Kingwood-Pruntyto 100 | Hatfield-Ronco 500 Kv | 39879.7634 | 39879.7822
| Tiltonsville-Windsor Aps | Harr Aps-Pruntyto | 39879.7696 | 39879.7768
2009-03-08 | Harr Aps-Pruntyto | Actual | 39880.5001 | 39880.5066
| Leesvill-Altavist | Edanville - Smithmou 138 Kv Line & Dvp Load | 39880.8132 | 39880.8169
2009-03-09 | Dayton -Valley4 253A | Dooms Tx#7 500/230 Kv Xf Sectionalized | 39881.773 | 39881.7823
2009-03-10 | Cloverda-Lexingto 500Kv | Harr Aps-Pruntyto | 39882.0139 | 39882.0772
| Kammer2-Ormet 1 | Kammer Unit 3 | 39882.2349 | 39882.3034
| Kammer-Wbellaire 345 Kv | Kammer South Canton 765Kv Line | 39882.2552 | 39882.2561
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 39882.2697 | 39882.2803
| Kammer-Wbellaire 345 Kv | Kammer South Canton 765Kv Line | 39882.2949 | 39882.3034
| Kammer2-Ormet 1 | Actual | 39882.3271 | 39882.4434
| Kammer-Wbellaire 345 Kv | Kammer South Canton 765Kv Line | 39882.3345 | 39882.342
| Kammer-Wbellaire 345 Kv | Kammer South Canton 765Kv Line | 39882.3721 | 39882.5376
| Tiltonsville-Windsor Aps | Harr Aps-Pruntyto | 39882.4038 | 39882.4059
| Kammer2-Ormet 1 | Actual | 39882.4614 | 39882.6179
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39882.6016 | 39882.6071
| Kammer2-Ormet 1 | Actual | 39882.6809 | 39882.7019
| Kammer2-Ormet 1 | Actual | 39882.7223 | 39882.7288
| Kammer2-Ormet 1 | Actual | 39882.7593 | 39882.7606
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39882.8713 | 39882.9025
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39882.9339 | 39882.9642
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39882.982 | 39882.9908
2009-03-11 | Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39883.0333 | 39883.2364
| Kammer2-Ormet 1 | Actual | 39883.214 | 39883.2568
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 39883.2179 | 39883.2489
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39883.2568 | 39883.2699
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39883.2912 | 39883.3052
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39883.3454 | 39883.3754
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39883.3986 | 39883.5092
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39883.5677 | 39883.583
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39883.7006 | 39883.7473
2009-03-12 | 112 Wilton 65Tr93 Ct | Actual | 39884.0555 | 39884.0643
| 112 Wilton 65Tr93 Ct | Actual | 39884.1461 | 39884.1625
2009-03-13 | Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39885.482 | 39885.4851
| Kammer2 .100 Xformer | Tidd West Bellair Kammer 345Kv Line | 39885.499 | 39885.629
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39885.5014 | 39885.5341
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39885.5757 | 39885.7569
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39885.78 | 39885.7867
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39885.8449 | 39885.8476
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39885.9208 | 39885.9534
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39885.9831 | 39886.0139
2009-03-14 | Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39886.0357 | 39886.1485
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39886.3062 | 39886.3127
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39886.4012 | 39886.418
| Kammer2-Ormet 1 | Kammer .300 345/138 Kv Transformer | 39886.6884 | 39886.8057
| 66 E Frn-945 Cret 6607 | Dumont Wilton Center 765Kv Line (L11215) | 39886.7955 | 39886.8077
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39886.8057 | 39886.9806
| Kammer2-Ormet 1 | Kammer .300 345/138 Kv Transformer | 39886.831 | 39886.8578
| Kammer2-Ormet 1 | Kammer .300 345/138 Kv Transformer | 39886.8836 | 39886.908
2009-03-15 | Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39887.0003 | 39887.0247
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39887.2043 | 39887.2641
| Tiltonsville-Windsor Aps | Harr Aps-Pruntyto | 39887.4555 | 39887.499
| Tiltonsville-Windsor Aps | Harr Aps-Pruntyto | 39887.5503 | 39887.62
| Tiltonsville-Windsor Aps | Harr Aps-Pruntyto | 39887.6355 | 39887.6827
| Tiltonsville-Windsor Aps | Harr Aps-Pruntyto | 39887.7265 | 39887.7499
| Tiltonsville-Windsor Aps | Harr Aps-Pruntyto | 39887.7833 | 39887.8038
2009-03-16 | Tiltonsville-Windsor Aps | Harr Aps-Pruntyto | 39888.4706 | 39888.5216
| Tiltonsville-Windsor Aps | Harr Aps-Pruntyto | 39888.5372 | 39888.5819
| Belva-Jonestap | Kammer-Belmont-Mountaineer 765 Kv Line | 39888.5563 | 39888.6101
| Tiltonsville-Windsor Aps | Harr Aps-Pruntyto | 39888.6012 | 39888.6101
| Belva-Jonestap | Kammer-Belmont-Mountaineer 765 Kv Line | 39888.6363 | 39888.6417
| Tiltonsville-Windsor Aps | Harr Aps-Pruntyto | 39888.6363 | 39888.6647
| Belva-Jonestap | Kammer-Belmont-Mountaineer 765 Kv Line | 39888.6699 | 39888.6705
| Belva-Jonestap | Kammer-Belmont-Mountaineer 765 Kv Line | 39888.6874 | 39888.7093
| Tiltonsville-Windsor Aps | Harr Aps-Pruntyto | 39888.6874 | 39888.7516
| Belva-Jonestap | Kammer-Belmont-Mountaineer 765 Kv Line | 39888.7372 | 39888.7852
| 155 Nels-111 Elec 15502 | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 39888.8834 | 39888.9016
| Tiltonsville-Windsor Aps | Harr Aps-Pruntyto | 39888.9139 | 39889.0027
2009-03-17 | Tiltonsville-Windsor Aps | Harr Aps-Pruntyto | 39889.0111 | 39889.0321
| Scottsvi-Bremo_Vp | Pruntytown-Mt. Storm (510) 500 Kv Line | 39889.0204 | 39889.0259
| Tiltonsville-Windsor Aps | Harr Aps-Pruntyto | 39889.0756 | 39889.0765
| Tiltonsville-Windsor Aps | Harr Aps-Pruntyto | 39889.0976 | 39889.1099
| Tiltonsville-Windsor Aps | Harr Aps-Pruntyto | 39889.1518 | 39889.1619
| Tiltonsville-Windsor Aps | Harr Aps-Pruntyto | 39889.1916 | 39889.235
| Beechdp -Etnferdp 22B | 45 Line: Kerrdam-Henderson | 39889.223 | 39889.2662
| Edenton -Mackeys 64C | 579 Line: Fentress-Septa & Tx#1 & #3 | 39889.2662 | 39889.3207
| Tiltonsville-Windsor Aps | Harr Aps-Pruntyto | 39889.2986 | 39889.3103
| Tiltonsville-Windsor Aps | Harr Aps-Pruntyto | 39889.3284 | 39889.4981
| Edenton -Mackeys 64C | 579 Line: Fentress-Septa & Tx#1 & #3 | 39889.3502 | 39889.3506
| Kiddstdp-Bremo4 91A | Bremo 230/115 Tx#9 | 39889.3888 | 39889.4035
| Kiddstdp-Bremo4 91A | Bremo 230/115 Tx#9 | 39889.4346 | 39889.4473
| Tiltonsville-Windsor Aps | Harr Aps-Pruntyto | 39889.5269 | 39889.7985
| Kiddstdp-Bremo4 91A | Bremo 230/115 Tx#9 | 39889.5589 | 39889.6684
| Kiddstdp-Bremo4 91A | Bremo 230/115 Tx#9 | 39889.6903 | 39889.6946
| Tiltonsville-Windsor Aps | Harr Aps-Pruntyto | 39889.8184 | 39889.9157
| Kiddstdp-Bremo4 91A | Bremo 230/115 Tx#9 | 39889.8388 | 39889.8503
| Tiltonsville-Windsor Aps | Harr Aps-Pruntyto | 39889.9318 | 39889.9556
| Kiddstdp-Bremo4 91A | Bremo 230/115 Tx#9 | 39889.9469 | 39889.9556
2009-03-18 | 66 E Frn-945 Cret 6607 | 345L6608 E Frankfort-Up North 345 Kv Line | 39890.0153 | 39890.0179
| Kiddstdp-Bremo4 91A | Bremo 230/115 Tx#9 | 39890.1797 | 39890.2004
| Tiltonsville-Windsor Aps | Harr Aps-Pruntyto | 39890.2394 | 39890.2629
| Tiltonsville-Windsor Aps | Harr Aps-Pruntyto | 39890.3287 | 39890.3342
| Kerrdam -Beechdp 22C | 556 Line: Carson-Clover | 39890.3842 | 39890.3897
| Tiltonsville-Windsor Aps | Harr Aps-Pruntyto | 39890.3944 | 39890.406
| Tiltonsville-Windsor Aps | Harr Aps-Pruntyto | 39890.4369 | 39890.5129
| Kiddstdp-Bremo4 91A | Bremo 230/115 Tx#9 | 39890.447 | 39890.5021
| Scottsvi-Bremo_Vp | Pruntytown-Mt. Storm (510) 500 Kv Line | 39890.4672 | 39890.4767
| Tiltonsville-Windsor Aps | Harr Aps-Pruntyto | 39890.5659 | 39890.5713
| Tiltonsville-Windsor Aps | Harr Aps-Pruntyto | 39890.5871 | 39890.7634
| Mahans Lane-Tidd | Weirton-Carnegie-Tidd (224) 138 Kv | 39890.5958 | 39890.6013
| Kiddstdp-Bremo4 91A | Bremo 230/115 Tx#9 | 39890.6741 | 39890.7025
| Mahans Lane-Tidd | Weirton-Carnegie-Tidd (224) 138 Kv | 39890.709 | 39890.7251
| Kiddstdp-Bremo4 91A | Bremo 230/115 Tx#9 | 39890.7255 | 39890.7584
| Tiltonsville-Windsor Aps | Harr Aps-Pruntyto | 39890.7916 | 39890.7988
| Tiltonsville-Windsor Aps | Harr Aps-Pruntyto | 39890.8357 | 39890.8534
| Tiltonsville-Windsor Aps | Harr Aps-Pruntyto | 39890.8742 | 39890.9052
| Tiltonsville-Windsor Aps | Harr Aps-Pruntyto | 39890.9498 | 39890.9694
2009-03-19 | Tiltonsville-Windsor Aps | Harr Aps-Pruntyto | 39891.2048 | 39891.2586
| Kerrdam -Beechdp 22C | 45 Line: Kerrdam-Henderson | 39891.2153 | 39891.2186
| 66 E Frn-945 Cret 6607 | 345L6608 E Frankfort-Up North 345 Kv Line | 39891.2186 | 39891.2368
| Tiltonsville-Windsor Aps | Harr Aps-Pruntyto | 39891.297 | 39891.3912
| Farmvill Tx4 Xformer | Clover Tx#9 500/230 Kv Xf Sectionalized & Farmvill | 39891.3429 | 39891.4452
| Tiltonsville-Windsor Aps | Harr Aps-Pruntyto | 39891.4135 | 39891.5103
| Farmvill Tx4 Xformer | Clover Tx#9 500/230 Kv Xf Sectionalized | 39891.4664 | 39891.5638
| Tiltonsville-Windsor Aps | Harr Aps-Pruntyto | 39891.5271 | 39891.5971
| Bays-Powellmt 312 | Harr Aps-Pruntyto | 39891.567 | 39891.5914
| Tiltonsville-Windsor Aps | Harr Aps-Pruntyto | 39891.6564 | 39891.694
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39891.6932 | 39891.727
| Tiltonsville-Windsor Aps | Harr Aps-Pruntyto | 39891.7085 | 39891.7798
2009-03-20 | 66 E Frn-945 Cret 6607 | 345L2002T S Braid-Davis Crk & Davis Tr83 Spog2-24 | 39892.0357 | 39892.0425
| 66 E Frn-945 Cret 6607 | 345L2002T S Braid-Davis Crk & Davis Tr83 Spog2-24 | 39892.0759 | 39892.1456
| 66 E Frn-945 Cret 6607 | 345L2002T S Braid-Davis Crk & Davis Tr83 Spog2-24 | 39892.169 | 39892.1865
| Cloverda-Lexingto 500Kv | Harr Aps-Pruntyto | 39892.5945 | 39892.695
| Cloverda-Lexingto 500Kv | Harr Aps-Pruntyto | 39892.983 | 39893.0177
2009-03-21 | Cloverda-Lexingto 500Kv | Harr Aps-Pruntyto | 39893.0221 | 39893.0417
| Cloverda-Lexingto 500Kv | Harr Aps-Pruntyto | 39893.2632 | 39894.0457
| 66 E Frn-945 Cret 6607 | Lake George - Munster 345 Kv Line & Xf #2 (Nips) | 39893.3045 | 39893.3053
| Tiltonsville-Windsor Aps | Harr Aps-Pruntyto | 39893.7455 | 39893.7486
| Newmarti-Padencit 68 | Belmont 765/500Kv Xf (Sectionalized) | 39893.7486 | 39893.7833
| Tiltonsville-Windsor Aps | Harr Aps-Pruntyto | 39893.7667 | 39893.7865
| Mahans Lane-Tidd | Sammis - Wylierid 345 Kv | 39893.8837 | 39893.9495
2009-03-22 | Cloverda-Lexingto 500Kv | Harr Aps-Pruntyto | 39894.0504 | 39894.191
| 66 E Frn-945 Cret 6607 | 112_Wilton - 23_Collins 765 Kv Line & Wilton Tr93 | 39894.1786 | 39894.1882
| Newmarti-Padencit 68 | Belmont 765/500Kv Xf (Sectionalized) | 39894.2385 | 39894.2744
| Newmarti-Padencit 68 | Belmont 765/500Kv Xf (Sectionalized) | 39894.2911 | 39894.2976
| 4 Quad C-H471 0404 | 345L15503 Nelson-Cordova 345 Kv Line 1-3-G | 39894.3258 | 39894.3337
| 4 Quad C-H471 0404 | 345L15503 Nelson-Cordova 345 Kv Line 1-3-G | 39894.3621 | 39894.369
| Newmarti-Padencit 68 | Belmont 765/500Kv Xf (Sectionalized) | 39894.4254 | 39894.4724
| 4 Quad C-H471 0404 | 345L15503 Nelson-Cordova 345 Kv Line 1-3-G | 39894.4391 | 39894.4625
| 12204 -141 Plea 12204 2 | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 39894.5547 | 39894.5961
| 12204 -141 Plea 12204 2 | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 39894.6781 | 39894.6841
| 12204 -141 Plea 12204 2 | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 39894.7229 | 39894.7325
| Tiltonsville-Windsor Aps | Actual | 39894.7357 | 39894.7426
| 12204 -141 Plea 12204 2 | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 39894.7479 | 39894.778
| Tiltonsville-Windsor Aps | Actual | 39894.7736 | 39894.7886
2009-03-23 | Cloverda-Lexingto 500Kv | Dbl: Mt Storm U#2 & Mts-Pru 510 Line | 39895.4938 | 39895.5238
| Cloverda-Lexingto 500Kv | Dbl: Mt Storm U#2 & Mts-Pru 510 Line | 39895.5525 | 39895.683
| Kammer2-Ormet 1 | Actual | 39895.6024 | 39895.7837
| Cloverda-Lexingto 500Kv | Dbl: Mt Storm U#2 & Mts-Pru 510 Line | 39895.7214 | 39895.7347
| Tiltonsville-Windsor Aps | Actual | 39895.7283 | 39895.7347
| Cloverda-Lexingto 500Kv | Dbl: Mt Storm U#2 & Mts-Pru 510 Line | 39895.77 | 39895.7837
| Kammer2-Ormet 1 | Actual | 39895.8435 | 39896.1821
| Dutchfor-Wind Aps Wd-Wa | Harr Aps-Pruntyto | 39895.8496 | 39895.8754
| 12204 -141 Plea 12204 2 | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 39895.917 | 39895.9711
2009-03-24 | 12204 -141 Plea 12204 2 | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 39896.0771 | 39896.1079
| Kammer2-Ormet 1 | Actual | 39896.1849 | 39896.2144
| Kammer2-Ormet 1 | Actual | 39896.3178 | 39896.3931
| 12204 -141 Plea 12204 2 | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 39896.3991 | 39896.4098
| Kammer2-Ormet 1 | Actual | 39896.4098 | 39897.2185
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 39896.462 | 39896.4719
| Cloverda-Lexingto 500Kv | Dbl: Mt Storm U#2 & Mts-Pru 510 Line | 39896.5926 | 39896.6538
| Butl Aps-Karnscit Kc-Bt | Erie W-Ashtabula-Perry 345Kv Line | 39896.6279 | 39896.7234
| Cloverda-Lexingto 500Kv | Dbl: Mt Storm U#2 & Mts-Pru 510 Line | 39896.6709 | 39896.7092
| Tiltonsville-Windsor Aps | Actual | 39896.7706 | 39896.7857
| Cloverda-Lexingto 500Kv | Dbl: Mt Storm U#2 & Mts-Pru 510 Line | 39896.7752 | 39896.7857
2009-03-25 | Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 39897.1764 | 39897.2159
| 112 Wilton 65Tr93 Ct | 765L2315 23_Collins - 167_Plano 765 Kv Line | 39897.1768 | 39897.2063
| Kammer2-Ormet 1 | Actual | 39897.2261 | 39897.2536
| Kammer2-Ormet 1 | Actual | 39897.2749 | 39897.3759
| Kammer2-Ormet 1 | Actual | 39897.41 | 39897.7825
| Cloverda-Lexingto 500Kv | Dbl: Mt Storm U#2 & Mts-Pru 510 Line | 39897.9525 | 39897.9588
| 112 Wilton 65Tr93 Ct | Actual | 39897.9588 | 39898.2106
| Cloverda-Lexingto 500Kv | Dbl: Mt Storm U#2 & Mts-Pru 510 Line | 39897.9731 | 39898.009
2009-03-26 | 66 E Frn-945 Cret 6607 | Dumont Wilton Center 765Kv Line (L11215) | 39898.0153 | 39898.0493
| 23 Collins 65Tr92 Ct | Actual | 39898.0185 | 39898.0213
| 66 E Frn-945 Cret 6607 | Dumont Wilton Center 765Kv Line (L11215) | 39898.0633 | 39898.2286
| Cloverda-Lexingto 500Kv | Dbl: Mt Storm U#2 & Mts-Pru 510 Line | 39898.1434 | 39898.1553
| 12204 -141 Plea 12204 2 | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 39898.5512 | 39898.5885
| 12204 -141 Plea 12204 2 | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 39898.6055 | 39898.7554
| Tiltonsville-Windsor Aps | Harr Aps-Pruntyto | 39898.7381 | 39898.7518
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39898.9346 | 39898.9459
| Cloverda-Lexingto 500Kv | Harr Aps-Pruntyto | 39898.9814 | 39898.9954
2009-03-27 | 66 E Frn-945 Cret 6607 | 112_Wilton - 23_Collins 765 Kv Line & Wilton Tr93 | 39899.024 | 39899.0268
| Cloverda-Lexingto 500Kv | Harr Aps-Pruntyto | 39899.0404 | 39899.0407
| Sulliva2 1-P Xformer | Breed Sullivan2 345Kv Line | 39899.2929 | 39899.3113
| Sulliva2 1-P Xformer | Breed Sullivan2 345Kv Line | 39899.3426 | 39899.3485
| Sulliva2 1-P Xformer | Breed Sullivan2 345Kv Line | 39899.4641 | 39899.4735
| Sulliva2 1-P Xformer | Breed Sullivan2 345Kv Line | 39899.529 | 39899.5329
2009-03-28 | Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39900.0058 | 39900.0558
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39900.0703 | 39900.1861
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39900.2011 | 39900.2169
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39900.2947 | 39900.3003
| Mahans Lane-Tidd | Sammis - Wylierid 345 Kv | 39900.3385 | 39900.368
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39900.5682 | 39900.6756
| Mahans Lane-Tidd | Sammis - Wylierid 345 Kv | 39900.9429 | 39900.9564
2009-03-30 | 12204 -141 Plea 12204 2 | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 39902.0921 | 39902.1334
| 66 E Frn-945 Cret 6607 | 112_Wilton - 23_Collins 765 Kv Line & Wilton Tr93 | 39902.1241 | 39902.1269
| 12204 -141 Plea 12204 2 | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 39902.1784 | 39902.1889
| 66 E Frn-945 Cret 6607 | 112_Wilton - 23_Collins 765 Kv Line & Wilton Tr93 | 39902.1824 | 39902.1889
| 12204 -141 Plea 12204 2 | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 39902.2173 | 39902.2259
| 12204 -141 Plea 12204 2 | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 39902.6625 | 39902.7246
| 12204 -141 Plea 12204 2 | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 39902.7721 | 39902.7967
| 12204 -141 Plea 12204 2 | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 39902.9456 | 39903.0116
| Cloverda-Lexingto 500Kv | Harr Aps-Pruntyto | 39902.9799 | 39902.9897

## RTO
Off-Cost Operations - March 2009
Date | Facility | Contingency | Begin Time | End Time
2009-03-02 | Transfer Interface: Aep/Dom | Pruntytown-Mt. Storm (510) 500 Kv Line | 39874.1595 | 39874.1616
| Esayre-Nwaverly 1058 Tie | Susquehanna 1 Gen | 39874.3279 | 39874.3453
| Esayre-Nwaverly 1058 Tie | Susquehanna 1 Gen | 39874.3814 | 39874.4123
| Esayre-Nwaverly 1058 Tie | Susquehanna 1 Gen | 39874.4267 | 39874.4591
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39874.5713 | 39874.6861
| Sammis-Wylierid Tie | Belmont-Harrison 500 Kv Line | 39874.6239 | 39874.634
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39874.7508 | 39874.8426
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39874.8954 | 39874.9122
| Transfer Interface: Aep/Dom | Broadford Jacksons Ferry 765Kv Line | 39874.9374 | 39874.9622
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39874.9374 | 39875.0295
| Sammis-Wylierid Tie | Belmont-Harrison 500 Kv Line | 39874.9981 | 39875.0008
2009-03-03 | Sammis-Wylierid Tie | Belmont-Harrison 500 Kv Line | 39875.0048 | 39875.0392
| Transfer Interface: Aep/Dom | Pruntytown-Mt. Storm (510) 500 Kv Line | 39875.0105 | 39875.0244
| Transfer Interface: Aep/Dom | Broadford Jacksons Ferry 765Kv Line | 39875.0392 | 39875.0411
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39875.0392 | 39875.2311
| Sammis-Wylierid Tie | Belmont-Harrison 500 Kv Line | 39875.0846 | 39875.1437
| Transfer Interface: Aep/Dom | Broadford Jacksons Ferry 765Kv Line | 39875.1121 | 39875.1397
| Transfer Interface: Aep/Dom | Pruntytown-Mt. Storm (510) 500 Kv Line | 39875.154 | 39875.1602
| Sammis-Wylierid Tie | Belmont-Harrison 500 Kv Line | 39875.1602 | 39875.2132
| Transfer Interface: Aep/Dom | Pruntytown-Mt. Storm (510) 500 Kv Line | 39875.1991 | 39875.224
| Transfer Interface: Aep/Dom | Pruntytown-Mt. Storm (510) 500 Kv Line | 39875.2955 | 39875.3083
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39875.3083 | 39875.3199
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39875.3826 | 39875.3968
| Transfer Interface: Aep/Dom |  | 39875.3899 | 39875.5341
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39875.415 | 39875.7318
| Transfer Interface: Aep/Dom |  | 39875.5496 | 39875.6302
| Transfer Interface: Aep/Dom |  | 39875.7116 | 39875.7234
| Transfer Interface: Aep/Dom |  | 39875.7484 | 39875.7487
| Transfer Interface: Aep/Dom |  | 39875.8358 | 39876.0752
2009-03-04 | Transfer Interface: Aep/Dom |  | 39876.0802 | 39876.0965
| Transfer Interface: Aep/Dom |  | 39876.1221 | 39876.2177
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39876.1567 | 39876.1679
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39876.2177 | 39876.4264
| Transfer Interface: Aep/Dom |  | 39876.2366 | 39876.3955
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39876.4511 | 39876.5967
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39876.7381 | 39876.7889
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39876.7636 | 39876.7837
| Nagel-Phippsb 500Kv Tie | Phippsbend - Sullivan 500 Kv Line (Tva) | 39876.7772 | 39876.7882
| Transfer Interface: Bed-Bla | Juniata Keystone 500 Line | 39876.8564 | 39876.8688
| Transfer Interface: Apsouth | Black Oak - Hatfield 500 Kv Line | 39876.8614 | 39876.8823
| Clrksjct-Lardin Cla-Lar | Black Oak - Hatfield 500 Kv Line | 39876.8894 | 39876.9653
| Transfer Interface: Bed-Bla | Calvert Cliffs 1 Gen | 39876.8904 | 39876.912
2009-03-05 | Transfer Interface: Apsouth | Black Oak - Hatfield 500 Kv Line | 39877.022 | 39877.1036
| Transfer Interface: Bed-Bla | Calvert Cliffs 1 Gen | 39877.0242 | 39877.0293
| Transfer Interface: Bed-Bla | Keystone Sbend 500 Line | 39877.0454 | 39877.0784
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39877.0926 | 39877.098
| Transfer Interface: Aep/Dom | Baker Broadford 765Kv Line | 39877.1205 | 39877.2142
| Transfer Interface: Apsouth | Black Oak - Hatfield 500 Kv Line | 39877.1205 | 39877.1452
| Transfer Interface: Bed-Bla | Hatfield Hat-Yuk | 39877.1274 | 39877.1526
| Transfer Interface: Bed-Bla | Hatfield Hat-Yuk | 39877.191 | 39877.2311
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39877.2681 | 39877.285
| Transfer Interface: Apsouth | Black Oak - Hatfield 500 Kv Line | 39877.3073 | 39877.3849
| Transfer Interface: Apsouth | Black Oak - Hatfield 500 Kv Line | 39877.4032 | 39877.4155
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39877.431 | 39877.4535
| Transfer Interface: Bed-Bla | Calvert Cliffs 1 Gen | 39877.431 | 39877.4448
| Transfer Interface: Aep/Dom | Cloverdale 765-345Kv Xf Failed Sectionalize | 39877.4737 | 39877.4802
| Transfer Interface: Bed-Bla | Conemaugh-Hunterstown (5006) 500 Kv Line | 39877.5051 | 39877.5131
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39877.5474 | 39877.5565
| Transfer Interface: Bed-Bla | Juniata Keystone 500 Line | 39877.563 | 39877.578
| Transfer Interface: Apsouth | Black Oak - Hatfield 500 Kv Line | 39877.5723 | 39877.585
| Transfer Interface: Aep/Dom | Joshua Falls 765-138 Xf | 39877.6788 | 39877.6907
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39877.778 | 39877.7808
2009-03-08 | Bentonha-Palisad2 Tie | Cook Palisade 345Kv Line | 39880.9552 | 39880.9633
2009-03-13 | Transfer Interface: Apsouth | Bedington Blackoak Line | 39885.5033 | 39885.5579
| Sammis-Wylierid Tie | Belmont-Harrison 500 Kv Line | 39885.5942 | 39885.5967
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39885.5942 | 39885.7379
| Sammis-Wylierid Tie | Belmont-Harrison 500 Kv Line | 39885.7249 | 39885.7867
2009-03-14 | Transfer Interface: Apsouth | Bedington Blackoak Line | 39886.3931 | 39886.4098
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39886.4246 | 39886.4345
| Transfer Interface: Aep/Dom | Cloverdale 765-345Kv Xf Failed Sectionalize | 39886.6928 | 39886.7002
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39886.6949 | 39886.7002
| Transfer Interface: Aep/Dom | Harr Aps-Pruntyto | 39886.7273 | 39886.7388
| Sammis-Wylierid Tie | Belmont-Harrison 500 Kv Line | 39886.7287 | 39886.7585
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39886.7287 | 39886.7374
| Transfer Interface: Aep/Dom | Harr Aps-Pruntyto | 39886.7608 | 39886.7851
| Transfer Interface: Aep/Dom | Cloverdale 765-345Kv Xf Failed Sectionalize | 39886.8009 | 39886.8108
| Sammis-Wylierid Tie | Belmont-Harrison 500 Kv Line | 39886.9054 | 39886.908
2009-03-15 | Transfer Interface: Aep/Dom | Cloverdale 765-345Kv Xf Failed Sectionalize | 39887.3548 | 39887.3562
| Transfer Interface: Aep/Dom | Cloverdale 765-345Kv Xf Failed Sectionalize | 39887.3722 | 39887.3885
| Transfer Interface: Aep/Dom | Harr Aps-Pruntyto | 39887.4146 | 39887.4195
| Sammis-Wylierid Tie | Belmont-Harrison 500 Kv Line | 39887.4555 | 39887.4683
| Transfer Interface: Aep/Dom | Harr Aps-Pruntyto | 39887.4555 | 39887.4748
| Transfer Interface: Aep/Dom | Cloverdale 765-345Kv Xf Failed Sectionalize | 39887.4942 | 39887.511
| Transfer Interface: Aep/Dom | Pruntytown-Mt. Storm (510) 500 Kv Line | 39887.5587 | 39887.5623
| Transfer Interface: Aep/Dom | Pruntytown-Mt. Storm (510) 500 Kv Line | 39887.5943 | 39887.596
| Transfer Interface: Aep/Dom | Harr Aps-Pruntyto | 39887.6355 | 39887.6388
| Transfer Interface: Aep/Dom | Bedington Blackoak Line | 39887.7676 | 39887.7714
2009-03-16 | Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39888.571 | 39888.7589
| 4 Quad C-940 Cord 0402 Tie | 345L0404 4_Quad Cities - H471 345 Kv Line | 39888.755 | 39888.7589
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39888.7765 | 39888.7852
| 4 Quad C-940 Cord 0402 Tie | 345L15504 Nelson-H471 345 Kv Line | 39888.7786 | 39888.7904
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39888.8245 | 39889.2662
2009-03-17 | Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39889.2796 | 39889.5908
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39889.6088 | 39889.7838
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39889.8622 | 39890.0458
2009-03-18 | Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39890.0492 | 39890.265
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39890.2853 | 39890.378
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39890.4871 | 39890.4905
| 4 Quad C-940 Cord 0402 Tie | 345L15504 Nelson-H471 345 Kv Line | 39890.5305 | 39890.5784
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39890.5913 | 39890.6134
| 4 Quad C-940 Cord 0402 Tie | 345L15504 Nelson-H471 345 Kv Line | 39890.5958 | 39890.6741
| 4 Quad C-940 Cord 0402 Tie | 345L0404 4_Quad Cities - H471 345 Kv Line | 39890.6897 | 39890.759
| 4 Quad C-940 Cord 0402 Tie | 345L15504 Nelson-H471 345 Kv Line | 39890.7757 | 39890.7789
| 4 Quad C-940 Cord 0402 Tie | 345L15504 Nelson-H471 345 Kv Line | 39890.8057 | 39890.8105
2009-03-19 | Statelin-17Roxana Tie | Chicago Ave - Sheffild 345 Kv Line (Nips) | 39891.0312 | 39891.0336
| Statelin-17Roxana Tie | Chicago Ave - Sheffild 345 Kv Line (Nips) | 39891.0838 | 39891.1085
| Sammis-Wylierid Tie | Belmont-Harrison 500 Kv Line | 39891.439 | 39891.5372
| Sammis-Wylierid Tie | Belmont-Harrison 500 Kv Line | 39891.567 | 39891.589
2009-03-20 | Bayway-Fed Square K-1311Ug | Bayway-Doremus Place (Q-1369) 138 Kv Line | 39892.3574 | 39892.36
| Sammis-Wylierid Tie | Belmont-Harrison 500 Kv Line | 39892.6223 | 39892.6245
| Sammis-Wylierid Tie | Belmont-Harrison 500 Kv Line | 39892.6462 | 39892.6637
| Sammis-Wylierid Tie | Belmont-Harrison 500 Kv Line | 39892.695 | 39892.7106
2009-03-21 | Statelin-17Roxana Tie | Chicago Ave - Sheffild 345 Kv Line (Nips) | 39893.1229 | 39893.1427
| Statelin-17Roxana Tie | Chicago Ave - Sheffild 345 Kv Line (Nips) | 39893.1597 | 39893.2579
| Transfer Interface: Aep/Dom | Cloverdale 765-345Kv Xf Failed Sectionalize | 39893.2607 | 39893.3378
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39893.266 | 39893.2777
| Statelin-17Wolflk Tie | Lake George - Munster 345 Kv Line & Xf #2 (Nips) | 39893.3827 | 39893.4763
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39893.7455 | 39893.7868
2009-03-22 | Sammis-Wylierid Tie | Belmont-Harrison 500 Kv Line | 39894.2156 | 39894.2243
| Transfer Interface: West | Possum Point-Burch Hill-Chalk Point 500Kv | 39894.4796 | 39894.4971
| 113 Waterma 38L11323 Z1 | 345L15502 Nelson-Electric Jct 345 Kv Line | 39894.5547 | 39894.5961
| Transfer Interface: West | Possum Point-Burch Hill-Chalk Point 500Kv | 39894.6683 | 39894.6869
| 113 Waterma 38L11323 Z1 | 345L15502 Nelson-Electric Jct 345 Kv Line | 39894.7479 | 39894.7819
2009-03-23 | Mtstorm4 G2T550 Breaker | Bedington Blackoak Line | 39895.3685 | 39895.4419
| Mtstorm4 G2T550 Breaker | Bedington Blackoak Line | 39895.4624 | 39895.4793
| Mtstorm4 G2T550 Breaker | Bedington Blackoak Line | 39895.4938 | 39895.5169
| Mtstorm4 G2T550 Breaker | Bedington Blackoak Line | 39895.5837 | 39895.7125
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39895.687 | 39895.7125
| Mtstorm4 G2T550 Breaker | Bedington Blackoak Line | 39895.7754 | 39895.7955
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39895.7837 | 39895.7898
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39895.7837 | 39895.7955
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39895.8325 | 39895.8666
| Transfer Interface: Apsouth | Black Oak - Hatfield 500 Kv Line | 39895.8962 | 39895.8969
2009-03-24 | Transfer Interface: Apsouth | Bedington Blackoak Line | 39896.2444 | 39896.251
| 113 Waterma 38L11323 Z1 | 345L15502 Nelson-Electric Jct 345 Kv Line | 39896.3991 | 39896.4244
| 113 Waterma 38L11323 Z1 | 345L15502 Nelson-Electric Jct 345 Kv Line | 39896.4464 | 39896.478
| 113 Waterma 38L11323 Z1 | 345L15502 Nelson-Electric Jct 345 Kv Line | 39896.5108 | 39896.5395
| 113 Waterma 38L11323 Z1 | 345L15502 Nelson-Electric Jct 345 Kv Line | 39896.5581 | 39896.5822
| 113 Waterma 38L11323 Z1 | 345L15502 Nelson-Electric Jct 345 Kv Line | 39896.688 | 39896.7138
| Mtstorm4 G2T550 Breaker | Bedington Blackoak Line | 39896.7228 | 39896.7349
| 113 Waterma 38L11323 Z1 | 345L15502 Nelson-Electric Jct 345 Kv Line | 39896.7349 | 39896.7476
2009-03-28 | Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39900.3992 | 39900.4034
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39900.4375 | 39900.4661
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39900.4527 | 39900.495
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39900.4883 | 39900.5927
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39900.5682 | 39900.5867
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39900.6478 | 39900.6507
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39900.6873 | 39900.7226
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39900.7728 | 39900.7989
2009-03-29 | Logansfe-Universa Log-Uni | Arsenal-Brunot-Collier 345 Kv Line & T1 Xfmr (Duq) | 39901.9941 | 39902.0005
2009-03-30 | Logansfe-Universa Log-Uni | Arsenal-Brunot-Collier 345 Kv Line & T1 Xfmr (Duq) | 39902.014 | 39902.0825
| Statelin-17Wolflk Tie | 345L17705 Burnham-Sheffield 345 Kv Tie Line | 39902.0921 | 39902.1311
| Statelin-17Wolflk Tie | 345L17705 Burnham-Sheffield 345 Kv Tie Line | 39902.1633 | 39902.1981
| Logansfe-Universa Log-Uni | Arsenal-Brunot-Collier 345 Kv Line & T1 Xfmr (Duq) | 39902.1844 | 39902.1889
| Logansfe-Universa Log-Uni | Arsenal-Brunot-Collier 345 Kv Line & T1 Xfmr (Duq) | 39902.2092 | 39902.2484
| Logansfe-Universa Log-Uni | Arsenal-Brunot-Collier 345 Kv Line & T1 Xfmr (Duq) | 39902.2834 | 39902.579
| Logansfe-Universa Log-Uni | Arsenal-Brunot-Collier 345 Kv Line & T1 Xfmr (Duq) | 39902.6215 | 39902.6581
| Logansfe-Universa Log-Uni | Arsenal-Brunot-Collier 345 Kv Line & T1 Xfmr (Duq) | 39902.6819 | 39902.7312