## MIDATL
Off-Cost Operations - December 2009
Date | Facility | Contingency | Begin Time | End Time
2009-12-01 | Graceton-Raphaerd 2313 B 230 K | Bedington Blackoak Line | 40148.1841 | 40148.1873
| Graceton-Raphaerd 2313 B 230 K | Bedington Blackoak Line | 40148.2137 | 40148.3041
| Conaston-Northwes 2322 A 230 K | Conastone-Northwest (2310) 230 Kv Line | 40148.2695 | 40148.3183
| Buckingh-Plvy Ps L-220-12 B 230 K | New Freedom - East Windsor (5038) 500Kv Line | 40148.9528 | 40148.9594
2009-12-02 | Graceton-Raphaerd 2313 B 230 K | Bedington Blackoak Line | 40149.2226 | 40149.2588
| Graceton-Raphaerd 2313 A 230 K | Bedington Blackoak Line | 40149.7366 | 40149.7597
| Graceton-Raphaerd 2313 A 230 K | Bedington Blackoak Line | 40149.7852 | 40149.8182
2009-12-03 | Mardela-Vienna 6708-3 B 69 K | Vienna-Loretto (13780) 138 Kv Line | 40150.3424 | 40150.3448
| Mardela-Vienna 6708-3 B 69 K | Vienna-Loretto (13780) 138 Kv Line | 40150.3701 | 40150.4673
| Brunswic-Deans D-2204 B 230 K | New Freedom - East Windsor (5038) 500Kv Line | 40150.4442 | 40150.4457
| Brunswic-Deans D-2204 B 230 K | New Freedom - East Windsor (5038) 500Kv Line | 40150.4673 | 40150.4801
| Brunswic-Deans D-2204 B 230 K | New Freedom - East Windsor (5038) 500Kv Line | 40150.4954 | 40150.517
| Brunswic-Deans D-2204 B 230 K | East Windsor-Deans (5022) 500 Kv Line & Deans #2 | 40150.5765 | 40150.5879
| Brunswic-Deans D-2204 B 230 K | New Freedom - East Windsor (5038) 500Kv Line | 40150.6066 | 40150.6158
| Brunswic-Deans D-2204 B 230 K | New Freedom - East Windsor (5038) 500Kv Line | 40150.6451 | 40150.6707
| Brunswic-Deans D-2204 B 230 K | New Freedom - East Windsor (5038) 500Kv Line | 40150.6972 | 40150.7087
| Brunswic-Deans D-2204 B 230 K | New Freedom - East Windsor (5038) 500Kv Line | 40150.7263 | 40150.7268
2009-12-04 | Harwood-Susqueha B 230 K | Susquehanna-Harwood #2 230 Line | 40151.6994 | 40151.7167
2009-12-05 | Edison-Meadowrd Q-1317 B 138 K | Mercer-Kuser-Lawrence (A-2201) 230 Kv Line | 40152.7852 | 40152.7914
2009-12-06 | Eddyston-Saville 130-40 A 138 K | Actual | 40153.0841 | 40153.0871
| Quarry-Steelcity 230 Kv 2 B 230 K | Steel City-Quarry #1 230 Kv Line | 40153.7065 | 40153.7149
| Harwood-Susqueha B 230 K | Susquehanna-Harwood #2 230 Line | 40153.7088 | 40153.7215
2009-12-07 | Harwood-Susqueha B 230 K | Susquehanna-Harwood #2 230 Line | 40154.5023 | 40154.585
| Harwood-Susqueha B 230 K | Susquehanna-Harwood #2 230 Line | 40154.6146 | 40154.7528
| Quarry-Steelcity 230 Kv 2 B 230 K | Steel City-Quarry #1 230 Kv Line | 40154.6369 | 40154.7585
2009-12-09 | Cedargro-Roseland F-2206 A 230 K | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 40156.5845 | 40156.6004
| Athenia-Saddlebr Q-2217 A 230 K | Branchburg Ramapo T Line | 40156.5895 | 40156.5979
2009-12-11 | Graceton-Raphaerd 2313 B 230 K | Brighton-Conastone 500Kv | 40158.2576 | 40158.2653
| Atlantic-Larrabee R1032 B 230 K | Atlantic-New Prospect Rd-Smithburg 230 Kv Line | 40158.7232 | 40158.7563
| Atlantic-Larrabee R1032 B 230 K | Atlantic-New Prospect Rd-Smithburg 230 Kv Line | 40158.7785 | 40158.7897
2009-12-12 | Graceton-Raphaerd 2313 A 230 K | Brighton-Conastone 500Kv | 40159.2601 | 40159.266
| Graceton-Raphaerd 2313 A 230 K | Brighton-Conastone 500Kv | 40159.2984 | 40159.3034
| Graceton-Raphaerd 2313 A 230 K | Brighton-Conastone 500Kv | 40159.3184 | 40159.3743
| Graceton-Raphaerd 2313 A 230 K | Brighton-Conastone 500Kv | 40159.3899 | 40159.4097
2009-12-13 | Atlantic-Larrabee R1032 B 230 K | Atlantic-New Prospect Rd-Smithburg 230 Kv Line | 40160.7099 | 40160.7765
2009-12-14 | Atlantic-Larrabee R1032 B 230 K | Atlantic-New Prospect Rd-Smithburg 230 Kv Line | 40161.6856 | 40161.7644
2009-12-15 | Branchbu-Readingt M-2265 B 230 K | Branchburg Ramapo T Line | 40162.397 | 40162.4738
| Readingt-Roseland U-2221 B 230 K | Branchburg Ramapo T Line | 40162.4738 | 40162.6165
| Readingt-Roseland U-2221 B 230 K | Branchburg Ramapo T Line | 40162.6594 | 40162.6672
| Chichester-Linwood 220-43 B 230 K | Linwood-Chichester (220-39) 230 Kv Line | 40162.6889 | 40162.6909
| Readingt-Roseland U-2221 B 230 K | Branchburg Ramapo T Line | 40162.7014 | 40162.7089
| Bergen-Nbergen E-1305 A 138 K | Fairlawn-Bergen 138 Line | 40162.7393 | 40162.7889
| Bergen-Nbergen E-1305 A 138 K | Fairlawn-Bergen 138 Line | 40162.8069 | 40162.8364
| Bergen-Nbergen E-1305 A 138 K | Fairlawn-Bergen 138 Line | 40162.8712 | 40162.8859
2009-12-16 | Brandons-Riversid 2344 A 230 K | Rvrsd-Brndnshrs 2345 230 Line | 40163.5255 | 40163.5577
| Passyunk-Schuylki 6631 B 69 K | Grays Ferry - Island Road 230 Kv Line | 40163.7077 | 40163.7218
2009-12-19 | Philipsbg-Shawvill Sf 1079 B 115 K | Summit-Westfall 115 Kv Line (Penelec) | 40166.3714 | 40166.4396
2009-12-22 | Atlantic-Larrabee R1032 B 230 K | Atlantic-New Prospect Rd-Smithburg 230 Kv Line | 40169.7084 | 40169.7266
2009-12-26 | Atlantic-Larrabee R1032 B 230 K | Atlantic-New Prospect Rd-Smithburg 230 Kv Line | 40173.7484 | 40173.7551
2009-12-29 | Atlantic-Larrabee R1032 B 230 K | Atlantic-New Prospect Rd-Smithburg 230 Kv Line | 40176.5183 | 40176.6247
| Atlantic-Larrabee R1032 B 230 K | Atlantic-New Prospect Rd-Smithburg 230 Kv Line | 40176.6446 | 40176.6875

## WEST
Off-Cost Operations - December 2009
Date | Facility | Contingency | Begin Time | End Time
2009-12-01 | Cabot Tran 1 Xformer L 138 K | Keystone-Cabot 500 Kv Line ( W/ Cabot #2 Cb Open ) | 40148.312 | 40148.3135
| Cabot Tran 1 Xformer L 138 K | Keystone-Cabot 500 Kv Line ( W/ Cabot #2 Cb Open ) | 40148.3795 | 40148.4096
| Cabot Tran 1 Xformer L 138 K | Keystone-Cabot 500 Kv Line ( W/ Cabot #2 Cb Open ) | 40148.4325 | 40148.6236
| Cabot Tran 1 Xformer L 138 K | Keystone-Cabot 500 Kv Line ( W/ Cabot #2 Cb Open ) | 40148.6413 | 40148.8663
| Cabot Tran 1 Xformer L 138 K | Keystone-Cabot 500 Kv Line ( W/ Cabot #2 Cb Open ) | 40148.8836 | 40148.939
| Cabot Tran 1 Xformer L 138 K | Keystone-Cabot 500 Kv Line ( W/ Cabot #2 Cb Open ) | 40148.9617 | 40148.9771
2009-12-02 | Cabot Tran 1 Xformer L 138 K | Keystone-Cabot 500 Kv Line ( W/ Cabot #2 Cb Open ) | 40149.0191 | 40149.0291
| Cabot Tran 1 Xformer L 138 K | Keystone-Cabot 500 Kv Line ( W/ Cabot #2 Cb Open ) | 40149.0837 | 40149.0913
| Cabot Tran 1 Xformer L 138 K | Keystone-Cabot 500 Kv Line ( W/ Cabot #2 Cb Open ) | 40149.1773 | 40149.1913
| Cabot Tran 1 Xformer L 138 K | Keystone-Cabot 500 Kv Line ( W/ Cabot #2 Cb Open ) | 40149.3645 | 40149.3647
| Cabot Tran 1 Xformer L 138 K | Keystone-Cabot 500 Kv Line ( W/ Cabot #2 Cb Open ) | 40149.4661 | 40149.5027
| Cabot Tran 1 Xformer L 138 K | Keystone-Cabot 500 Kv Line ( W/ Cabot #2 Cb Open ) | 40149.553 | 40149.6011
| Cabot Tran 1 Xformer L 138 K | Keystone-Cabot 500 Kv Line ( W/ Cabot #2 Cb Open ) | 40149.624 | 40149.644
| Cabot Tran 1 Xformer L 138 K | Keystone-Cabot 500 Kv Line ( W/ Cabot #2 Cb Open ) | 40149.6769 | 40149.7228
2009-12-03 | Ruth-Turner B 138 K | Culloden - Wyoming 765Kv Line | 40150.0322 | 40150.0644
| Ruth-Turner B 138 K | Culloden - Wyoming 765Kv Line | 40150.1593 | 40150.2004
2009-12-05 | 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40152.6799 | 40152.6941
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40152.9977 | 40152.9986
2009-12-06 | 112 Wilton 65Tr93 Ct H 765 K | 765L11216 112_Wilton - 23_Collins 765 Kv Line | 40153.0005 | 40153.0136
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40153.0005 | 40153.1899
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40153.2067 | 40153.3863
2009-12-07 | 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40154.0322 | 40154.0523
| Cloverda-Lexingto 500Kv A 500 K | Sps Bath #2 & #5 & Pruntytown-Mtstorm | 40154.0322 | 40154.0356
| Cloverda-Lexingto 500Kv A 500 K | Sps Bath #2 & #5 & Pruntytown-Mtstorm | 40154.0523 | 40154.0619
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40154.0662 | 40154.1982
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40154.2345 | 40154.2466
| Brunotis-Mont Duq Z-44 A 138 K | Tidd-Collier 345Kv (Aep) | 40154.5557 | 40154.5971
| Brunotis-Mont Duq Z-44 A 138 K | Tidd-Collier 345Kv (Aep) | 40154.6267 | 40154.6461
| Brunotis-Mont Duq Z-44 A 138 K | Tidd-Collier 345Kv (Aep) | 40154.6684 | 40154.8025
| Cloverd2 . 6B Xformer H 500 K | 550 Line: Mtstorm-Valley | 40154.9986 | 40155.0097
2009-12-08 | 12204 -141 Plea 12204 2 B 138 K | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 40155.1576 | 40155.1884
| 12204 -141 Plea 12204 2 B 138 K | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 40155.2501 | 40155.3521
| 12204 -141 Plea 12204 2 B 138 K | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 40155.5584 | 40155.5718
| 12204 -141 Plea 12204 2 B 138 K | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 40155.6027 | 40155.6069
| Brunotis-Mont Duq Z-44 A 138 K | Tidd-Collier 345Kv (Aep) | 40155.6658 | 40155.7597
| 12204 -141 Plea 12204 2 B 138 K | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 40155.6852 | 40155.7176
| 12204 -141 Plea 12204 2 B 138 K | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 40155.9242 | 40155.964
| 12204 -141 Plea 12204 2 B 138 K | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 40155.9885 | 40156.0807
2009-12-09 | 12204 -141 Plea 12204 2 B 138 K | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 40156.0922 | 40156.1161
| 12204 -141 Plea 12204 2 B 138 K | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 40156.1359 | 40156.1484
| Cloverd2 . 6B Xformer H 500 K | Actual | 40156.1359 | 40156.1484
| Cloverd2 . 10 Xformer H 765 K | Joshua Falls 765-138 Xf | 40156.1568 | 40156.2265
| 12204 -141 Plea 12204 2 B 138 K | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 40156.1658 | 40156.2043
| 12204 -141 Plea 12204 2 B 138 K | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 40156.2475 | 40156.2525
| 12204 -141 Plea 12204 2 B 138 K | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 40156.2784 | 40156.2942
| Brunotis-Mont Duq Z-44 B 138 K | Tidd-Collier 345Kv (Aep) | 40156.4673 | 40156.4703
| Brunotis-Mont Duq Z-44 B 138 K | Tidd-Collier 345Kv (Aep) | 40156.4899 | 40156.5072
| 12204 -141 Plea 12204 2 B 138 K | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 40156.672 | 40156.6981
| 12204 -141 Plea 12204 2 B 138 K | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 40156.9594 | 40156.9718
2009-12-11 | Hrsnbgdp-Harrsnbg 2017A B 230 K | Morrisville 500/230 Kv Tx#1 | 40158.2752 | 40158.4187
| Brunotis-Mont Duq Z-44 B 138 K | Tidd-Collier 345Kv (Aep) & Clinton-Collier 324 Dou | 40158.3714 | 40158.5118
| Brunotis-Mont Duq Z-44 B 138 K | Tidd-Collier 345Kv (Aep) | 40158.5578 | 40158.6278
| Brunotis-Mont Duq Z-44 B 138 K | Tidd-Collier 345Kv (Aep) | 40158.6464 | 40158.7513
2009-12-12 | 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40159.0359 | 40159.3228
| Bedingto-Shepherds Bmvi A 138 K | Bedington-Doubs & One 500Kv Cap | 40159.1108 | 40159.1308
| Bedingto-Shepherds Bmvi A 138 K | Bedington-Doubs & One 500Kv Cap | 40159.1826 | 40159.1967
| Bedingto-Shepherds Bmvi A 138 K | Bedington-Doubs & One 500Kv Cap | 40159.256 | 40159.266
| Brunotis-Mont Duq Z-44 A 138 K | Tidd-Collier 345Kv (Aep) | 40159.2601 | 40159.282
| Brunotis-Mont Duq Z-44 A 138 K | Tidd-Collier 345Kv (Aep) | 40159.3374 | 40159.3461
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40159.3526 | 40159.3598
| Brunotis-Mont Duq Z-44 A 138 K | Tidd-Collier 345Kv (Aep) | 40159.381 | 40159.4229
| Brunotis-Mont Duq Z-44 A 138 K | Tidd-Collier 345Kv (Aep) | 40159.4495 | 40159.5443
| Harr Aps-Pruntyto A 500 K | Northlongview-Ftmartin 500 Kv | 40159.5575 | 40159.5628
| Brunotis-Mont Duq Z-44 A 138 K | Tidd-Collier 345Kv (Aep) | 40159.5637 | 40159.5746
| Brunotis-Mont Duq Z-44 A 138 K | Tidd-Collier 345Kv (Aep) | 40159.5946 | 40159.635
| Brunotis-Mont Duq Z-44 A 138 K | Tidd-Collier 345Kv (Aep) | 40159.6706 | 40159.6837
| Brunotis-Mont Duq Z-44 A 138 K | Tidd-Collier 345Kv (Aep) | 40159.7038 | 40159.7347
2009-12-13 | 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40160.0332 | 40160.0545
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40160.0778 | 40160.2431
| Harr Aps-Pruntyto A 500 K | Northlongview-Ftmartin 500 Kv | 40160.5127 | 40160.5956
2009-12-14 | 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40161.1002 | 40161.1379
| Cloverda-Lexingto 500Kv A 500 K | Actual | 40161.1002 | 40161.1666
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40161.1674 | 40161.1714
| Butl Aps-Shanorma Knd-Bt A 138 K | Cabot - Wylie Ridge 500 Kv Line | 40161.1992 | 40161.2116
| Butl Aps-Shanorma Knd-Bt A 138 K | Cabot - Wylie Ridge 500 Kv Line | 40161.4559 | 40161.4608
| Kingwood-Pruntyto 100 B 138 K | Hatfield-Ronco 500 Kv | 40161.4559 | 40161.5477
| Butl Aps-Shanorma Knd-Bt A 138 K | Cabot - Wylie Ridge 500 Kv Line | 40161.4983 | 40161.5072
| Tiltonsville-Windsor Aps A 138 K | Hatfield Hat-Yuk | 40161.5284 | 40161.5645
| Butl Aps-Karnscit Kc-Bt A 138 K | Keystone-Cabot (5002) 500 Kv Line | 40161.5393 | 40161.5431
| Tiltonsville-Windsor Aps A 138 K | Hatfield Hat-Yuk | 40161.5797 | 40161.5816
| Kingwood-Pruntyto 100 B 138 K | Hatfield-Ronco 500 Kv | 40161.6902 | 40161.7274
| Tiltonsville-Windsor Aps A 138 K | Hatfield Hat-Yuk | 40161.7004 | 40161.7193
2009-12-15 | Butl Aps-Shanorma Knd-Bt A 138 K | Cabot - Wylie Ridge 500 Kv Line | 40162.0421 | 40162.0522
| Butl Aps-Shanorma Knd-Bt A 138 K | Cabot - Wylie Ridge 500 Kv Line | 40162.0748 | 40162.1268
| Butl Aps-Shanorma Knd-Bt A 138 K | Cabot - Wylie Ridge 500 Kv Line | 40162.1557 | 40162.1591
| Butl Aps-Shanorma Knd-Bt A 138 K | Cabot - Wylie Ridge 500 Kv Line | 40162.1839 | 40162.2123
| Leesvill-Altavist A 138 K | Smith Mtn - Canders - Opossum Creek 138Kv Line | 40162.7393 | 40162.7453
2009-12-16 | 66 E Frn-945 Cret 6607 A 345 K | 112 Wilton Tr94 | 40163.1677 | 40163.1682
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40163.1941 | 40163.2023
2009-12-17 | 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40164.019 | 40164.0699
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40164.1005 | 40164.1132
| Butl Aps-Shanorma Knd-Bt A 138 K | Cabot - Wylie Ridge 500 Kv Line | 40164.1089 | 40164.1094
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40164.135 | 40164.1741
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40164.2302 | 40164.2322
| Butl Aps-Shanorma Knd-Bt A 138 K | Cabot - Wylie Ridge 500 Kv Line | 40164.5529 | 40164.5585
| Butl Aps-Shanorma Knd-Bt A 138 K | Cabot - Wylie Ridge 500 Kv Line | 40164.577 | 40164.5839
| Butl Aps-Shanorma Knd-Bt A 138 K | Cabot - Wylie Ridge 500 Kv Line | 40164.5983 | 40164.6029
| Butl Aps-Shanorma Knd-Bt A 138 K | Cabot - Wylie Ridge 500 Kv Line | 40164.6206 | 40164.6225
| Tiltonsville-Windsor Aps A 138 K | Hatfield-Ronco 500 Kv | 40164.6589 | 40164.7347
| Butl Aps-Shanorma Knd-Bt A 138 K | Cabot - Wylie Ridge 500 Kv Line | 40164.6876 | 40164.6997
| Butl Aps-Shanorma Knd-Bt A 138 K | Cabot - Wylie Ridge 500 Kv Line | 40164.9949 | 40165.0053
2009-12-18 | Butl Aps-Shanorma Knd-Bt A 138 K | Cabot - Wylie Ridge 500 Kv Line | 40165.0146 | 40165.0153
| Butl Aps-Shanorma Knd-Bt A 138 K | Cabot - Wylie Ridge 500 Kv Line | 40165.0413 | 40165.0744
| Butl Aps-Shanorma Knd-Bt A 138 K | Cabot - Wylie Ridge 500 Kv Line | 40165.0908 | 40165.0931
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40165.1027 | 40165.1584
| Butl Aps-Shanorma Knd-Bt A 138 K | Cabot - Wylie Ridge 500 Kv Line | 40165.1113 | 40165.1312
| Butl Aps-Shanorma Knd-Bt A 138 K | Cabot - Wylie Ridge 500 Kv Line | 40165.1651 | 40165.1658
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40165.1772 | 40165.24
| Butl Aps-Shanorma Knd-Bt A 138 K | Cabot - Wylie Ridge 500 Kv Line | 40165.1804 | 40165.184
| Butl Aps-Shanorma Knd-Bt A 138 K | Cabot - Wylie Ridge 500 Kv Line | 40165.2044 | 40165.2108
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40165.2865 | 40165.2971
| Tiltonsville-Windsor Aps A 138 K | Hatfield-Ronco 500 Kv | 40165.6378 | 40165.7219
| Butl Aps-Shanorma Knd-Bt A 138 K | Cabot - Wylie Ridge 500 Kv Line | 40165.925 | 40165.9276
| Butl Aps-Shanorma Knd-Bt A 138 K | Cabot - Wylie Ridge 500 Kv Line | 40165.9611 | 40165.9658
| Ruth-Turner B 138 K | Culloden - Wyoming 765Kv Line | 40165.9706 | 40166.3162
| Butl Aps-Shanorma Knd-Bt A 138 K | Cabot - Wylie Ridge 500 Kv Line | 40165.9819 | 40165.9937
2009-12-19 | 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40166.0123 | 40166.0302
| Butl Aps-Shanorma Knd-Bt A 138 K | Cabot - Wylie Ridge 500 Kv Line | 40166.0191 | 40166.0229
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40166.0451 | 40166.0831
| Butl Aps-Shanorma Knd-Bt A 138 K | Cabot - Wylie Ridge 500 Kv Line | 40166.0542 | 40166.0557
| Butl Aps-Shanorma Knd-Bt A 138 K | Cabot - Wylie Ridge 500 Kv Line | 40166.0782 | 40166.0855
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40166.0988 | 40166.2863
| Butl Aps-Shanorma Knd-Bt A 138 K | Cabot - Wylie Ridge 500 Kv Line | 40166.1137 | 40166.1289
| Harr Aps-Pruntyto A 500 K | Northlongview-Ftmartin 500 Kv | 40166.2 | 40166.2029
| Butl Aps-Shanorma Knd-Bt A 138 K | Cabot - Wylie Ridge 500 Kv Line | 40166.2769 | 40166.2863
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40166.3036 | 40166.3442
| Harr Aps-Pruntyto A 500 K | Northlongview-Ftmartin 500 Kv | 40166.3036 | 40166.31
| Ruth-Turner B 138 K | Culloden - Wyoming 765Kv Line | 40166.3184 | 40166.4838
| Harr Aps-Pruntyto A 500 K | Northlongview-Ftmartin 500 Kv | 40166.3287 | 40166.3311
| Harr Aps-Pruntyto A 500 K | Northlongview-Ftmartin 500 Kv | 40166.3561 | 40166.4119
| Harr Aps-Pruntyto A 500 K | Northlongview-Ftmartin 500 Kv | 40166.5814 | 40166.5916
| Butl Aps-Shanorma Knd-Bt A 138 K | Cabot - Wylie Ridge 500 Kv Line | 40166.5826 | 40166.5834
| Tiltonsville-Windsor Aps A 138 K | Hatfield-Ronco 500 Kv | 40166.5916 | 40166.6021
| Harr Aps-Pruntyto A 500 K | Northlongview-Ftmartin 500 Kv | 40166.6145 | 40166.6361
| Tiltonsville-Windsor Aps A 138 K | Hatfield-Ronco 500 Kv | 40166.6312 | 40166.6361
| Harr Aps-Pruntyto A 500 K | Northlongview-Ftmartin 500 Kv | 40166.6546 | 40166.6741
| Tiltonsville-Windsor Aps A 138 K | Hatfield-Ronco 500 Kv | 40166.6618 | 40166.6629
| Ruth-Turner B 138 K | Culloden - Wyoming 765Kv Line | 40166.6663 | 40166.6833
| Ruth-Turner B 138 K | Culloden - Wyoming 765Kv Line | 40166.8889 | 40167.5143
2009-12-20 | Ruth-Turner B 138 K | Culloden - Wyoming 765Kv Line | 40167.5549 | 40167.6852
| Ruth-Turner B 138 K | Culloden - Wyoming 765Kv Line | 40167.8232 | 40168.4522
2009-12-21 | Kanawhar-Kincaida A 138 K | Culloden - Wyoming 765Kv Line | 40168.0054 | 40168.2584
| 12204 -141 Plea 12204 2 B 138 K | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 40168.2486 | 40168.2521
| Ruth-Turner B 138 K | Culloden - Wyoming 765Kv Line | 40168.4558 | 40168.457
| Collier-Elwyn Z-62 A 138 K | Cheswick (Duq) 138 Kv Unit | 40168.7994 | 40168.8006
| Collier-Elwyn Z-62 A 138 K | Cheswick (Duq) 138 Kv Unit | 40168.8989 | 40168.9187
2009-12-22 | 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40169.1808 | 40169.2862
| Tiltonsville-Windsor Aps A 138 K | Ftmartin-Ronco 500 Kv | 40169.6979 | 40169.7184
| Doubs 500-3 Xformer L 230 K | Doubs Brighton | 40169.7073 | 40169.7084
| Kingwood-Pruntyto 100 B 138 K | Hatfield-Ronco 500 Kv | 40169.7073 | 40169.709
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40169.9825 | 40170.0053
2009-12-23 | Cloverda-Lexingto 500Kv A 500 K | Pruntytown-Mt. Storm (510) 500 Kv Line | 40170.917 | 40170.9632
| Tiltonsville-Windsor Aps A 138 K | Ftmartin-Ronco 500 Kv | 40170.9269 | 40170.9343
2009-12-24 | Tiltonsville-Windsor Aps A 138 K | Ftmartin-Ronco 500 Kv | 40171.0323 | 40171.2044
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40171.0729 | 40171.1805
| Tidd_Aep-Wylierid A 345 K | Sammis - Wylierid 345 Kv | 40171.1751 | 40171.1769
| Cloverda-Lexingto 500Kv A 500 K | Pruntytown-Mt. Storm (510) 500 Kv Line | 40171.1921 | 40171.2223
| Tiltonsville-Windsor Aps A 138 K | Ftmartin-Ronco 500 Kv | 40171.2201 | 40171.2393
| Cloverda-Lexingto 500Kv A 500 K | Pruntytown-Mt. Storm (510) 500 Kv Line | 40171.243 | 40171.299
| Tiltonsville-Windsor Aps A 138 K | Ftmartin-Ronco 500 Kv | 40171.2657 | 40171.2676
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40171.2884 | 40171.3488
| Tiltonsville-Windsor Aps A 138 K | Northlongview-Harristap-Harrison-Kammer 500Kv Aps | 40171.2948 | 40171.3197
| Cloverda-Lexingto 500Kv A 500 K | Pruntytown-Mt. Storm (510) 500 Kv Line | 40171.3295 | 40171.36
| Tiltonsville-Windsor Aps A 138 K | Ftmartin-Ronco 500 Kv | 40171.3356 | 40171.4102
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40171.3684 | 40171.4719
| Cloverda-Lexingto 500Kv A 500 K | Pruntytown-Mt. Storm (510) 500 Kv Line | 40171.4487 | 40171.4988
| Tiltonsville-Windsor Aps A 138 K | Northlongview-Harristap-Harrison-Kammer 500Kv Aps | 40171.4827 | 40171.504
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40171.4877 | 40171.4905
| Cloverda-Lexingto 500Kv A 500 K | Pruntytown-Mt. Storm (510) 500 Kv Line | 40171.5521 | 40171.654
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40171.6942 | 40171.722
| Cloverda-Lexingto 500Kv A 500 K | Pruntytown-Mt. Storm (510) 500 Kv Line | 40171.7109 | 40171.7117
| Tiltonsville-Windsor Aps A 138 K | Ftmartin-Ronco 500 Kv | 40171.7109 | 40171.722
| Tiltonsville-Windsor Aps A 138 K | Ftmartin-Ronco 500 Kv | 40171.7561 | 40171.8363
| Cloverda-Lexingto 500Kv A 500 K | Pruntytown-Mt. Storm (510) 500 Kv Line | 40171.808 | 40171.91
| Tiltonsville-Windsor Aps A 138 K | Northlongview-Harristap-Harrison-Kammer 500Kv Aps | 40171.8735 | 40171.9549
| Tidd_Aep-Wylierid A 345 K | Sammis - Wylierid 345 Kv | 40171.91 | 40171.935
| Cloverda-Lexingto 500Kv A 500 K | Pruntytown-Mt. Storm (510) 500 Kv Line | 40171.9423 | 40171.9903
| Tiltonsville-Windsor Aps A 138 K | Northlongview-Harristap-Harrison-Kammer 500Kv Aps | 40171.9984 | 40172.038
2009-12-25 | Cloverda-Lexingto 500Kv A 500 K | Pruntytown-Mt. Storm (510) 500 Kv Line | 40172.0084 | 40172.0489
| Tidd_Aep-Wylierid A 345 K | Sammis - Wylierid 345 Kv | 40172.0417 | 40172.0786
| Tiltonsville-Windsor Aps A 138 K | Northlongview-Harristap-Harrison-Kammer 500Kv Aps | 40172.0445 | 40172.061
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40172.063 | 40172.0682
| Cloverda-Lexingto 500Kv A 500 K | Pruntytown-Mt. Storm (510) 500 Kv Line | 40172.0786 | 40172.091
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40172.0885 | 40172.094
| Tidd_Aep-Wylierid A 345 K | Sammis - Wylierid 345 Kv | 40172.107 | 40172.2653
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40172.1294 | 40172.1755
| Cloverda-Lexingto 500Kv A 500 K | Actual | 40172.1414 | 40172.1458
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40172.1942 | 40172.238
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40172.2526 | 40172.2675
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40172.2988 | 40172.3152
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40172.3489 | 40172.5038
| Tiltonsville-Windsor Aps A 138 K | Northlongview-Harristap-Harrison-Kammer 500Kv Aps | 40172.3756 | 40172.3952
| Cloverda-Lexingto 500Kv A 500 K | Pruntytown-Mt. Storm (510) 500 Kv Line | 40172.3824 | 40172.3952
| Tidd_Aep-Wylierid A 345 K | Sammis - Wylierid 345 Kv | 40172.3824 | 40172.3952
| Cloverda-Lexingto 500Kv A 500 K | Pruntytown-Mt. Storm (510) 500 Kv Line | 40172.451 | 40172.4707
| Tiltonsville-Windsor Aps A 138 K | Northlongview-Harristap-Harrison-Kammer 500Kv Aps | 40172.4872 | 40172.5288
| Cloverda-Lexingto 500Kv A 500 K | Pruntytown-Mt. Storm (510) 500 Kv Line | 40172.5116 | 40172.6888
| Halifax -Half296 296A B 230 K | 570 Line: Carson-Wake | 40172.5234 | 40172.5288
| Tiltonsville-Windsor Aps A 138 K | Northlongview-Harristap-Harrison-Kammer 500Kv Aps | 40172.5785 | 40172.7666
| Cloverda-Lexingto 500Kv A 500 K | Pruntytown-Mt. Storm (510) 500 Kv Line | 40172.724 | 40172.7591
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40172.7286 | 40172.7292
| Tiltonsville-Windsor Aps A 138 K | Northlongview-Harristap-Harrison-Kammer 500Kv Aps | 40172.7862 | 40172.7865
2009-12-26 | Cloverda-Lexingto 500Kv A 500 K | Actual | 40173.1511 | 40173.158
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40173.363 | 40173.402
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40173.4329 | 40173.4631
| Tidd_Aep-Wylierid A 345 K | Sammis - Wylierid 345 Kv | 40173.4329 | 40173.4335
| Tiltonsville-Windsor Aps A 138 K | Northlongview-Harristap-Harrison-Kammer 500Kv Aps | 40173.4329 | 40173.4692
| Tidd_Aep-Wylierid A 345 K | Sammis - Wylierid 345 Kv | 40173.467 | 40173.4743
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40173.4893 | 40173.4988
| Tidd_Aep-Wylierid A 345 K | Sammis - Wylierid 345 Kv | 40173.4893 | 40173.7186
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40173.5307 | 40173.532
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40173.5564 | 40173.5578
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40173.6604 | 40173.7017
2009-12-27 | 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40174.2709 | 40174.3777
| Harr Aps-Pruntyto A 500 K | Northlongview-Ftmartin 500 Kv | 40174.3125 | 40174.3149
| Harr Aps-Pruntyto A 500 K | Northlongview-Ftmartin 500 Kv | 40174.3308 | 40174.4256
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40174.4256 | 40174.4283
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40174.6815 | 40174.7164
| Harr Aps-Pruntyto A 500 K | Northlongview-Ftmartin 500 Kv | 40174.7271 | 40174.7468
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40174.7318 | 40174.7337
2009-12-28 | Harr Aps-Pruntyto A 500 K | Northlongview-Ftmartin 500 Kv | 40175.9898 | 40176.0629
2009-12-29 | Harr Aps-Pruntyto A 500 K | Northlongview-Ftmartin 500 Kv | 40176.1989 | 40176.2169
| Harr Aps-Pruntyto A 500 K | Northlongview-Ftmartin 500 Kv | 40176.2413 | 40176.2451
| Kerrdam -Beechdp 22C A 115 K | 90 Line: Carolina-Kerr Dam | 40176.4698 | 40176.4803
| Kerrdam -Beechdp 22C A 115 K | 90 Line: Carolina-Kerr Dam | 40176.5389 | 40176.5792
| Person4 -Half296 296B A 230 K | 570 Line: Carson-Wake | 40176.5515 | 40176.5837
| Cloverda-Lexingto 500Kv A 500 K | Actual | 40176.5728 | 40176.5748
| Halifax -Half296 296A B 230 K | 570 Line: Carson-Wake | 40176.5748 | 40176.5792
| Mahans Lane-Tidd B 138 K | Weirton-Carnegie-Tidd (224) 138 Kv | 40176.666 | 40176.7429
| Loudoun4-Gainesvl 2030A A 230 K | 539Line:Bristers - Ox 500 Kv Line | 40176.6898 | 40176.7429
| Harr Aps-Pruntyto A 500 K | Northlongview-Ftmartin 500 Kv | 40176.9968 | 40177.129
2009-12-30 | 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40177.0413 | 40177.2419
| Ruth-Turner B 138 K | Kanawha River T-B 345/138Kv Xf (Sectionalized) | 40177.0896 | 40177.4946
| Harr Aps-Pruntyto A 500 K | Northlongview-Ftmartin 500 Kv | 40177.1301 | 40177.1566
| Harr Aps-Pruntyto A 500 K | Northlongview-Ftmartin 500 Kv | 40177.1945 | 40177.1963
| Harr Aps-Pruntyto A 500 K | Northlongview-Ftmartin 500 Kv | 40177.2176 | 40177.3166
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40177.2646 | 40177.2907
| Atkins-Smyth B 138 K | Jacksons Ferry 765-138Kv Xf | 40177.3018 | 40177.3056
| Ruth-Turner B 138 K | Kanawha River T-B 345/138Kv Xf (Sectionalized) | 40177.5142 | 40177.5398
| Cloverda-Lexingto 500Kv A 500 K | Actual | 40177.5699 | 40177.589
| Ruth-Turner B 138 K | Kanawha River T-B 345/138Kv Xf (Sectionalized) | 40177.7609 | 40177.7823
| Harr Aps-Pruntyto A 500 K | Northlongview-Ftmartin 500 Kv | 40177.9564 | 40178.0017
2009-12-31 | Harr Aps-Pruntyto A 500 K | Northlongview-Ftmartin 500 Kv | 40178.0057 | 40178.02
| Harr Aps-Pruntyto A 500 K | Northlongview-Ftmartin 500 Kv | 40178.0904 | 40178.0924
| Harr Aps-Pruntyto A 500 K | Northlongview-Ftmartin 500 Kv | 40178.2856 | 40178.4902
| Harr Aps-Pruntyto A 500 K | Northlongview-Ftmartin 500 Kv | 40178.5178 | 40178.7189
| Harr Aps-Pruntyto A 500 K | Northlongview-Ftmartin 500 Kv | 40178.9517 | 40179.01

## RTO
Off-Cost Operations - December 2009
Date | Facility | Contingency | Begin Time | End Time
2009-12-01 | Transfer Interface: Apsouth | Bedington Blackoak Line | 40148.0054 | 40148.2837
| Glenarm-Windyedge 110512 B 115 K | Raphael Road-Northeast (2315) 230 Kv Line | 40148.2475 | 40148.3041
| Transfer Interface: Apsouth | Bedington Blackoak Line | 40148.3078 | 40148.4325
| Transfer Interface: Apsouth | Bedington Blackoak Line | 40148.4728 | 40148.567
| Bristers-Ox4 539 B 500 K | 568 Line: Ladysmith-Possumpt | 40148.4813 | 40148.4888
| Transfer Interface: Apsouth | Bedington Blackoak Line | 40148.6589 | 40148.7257
| Bristers-Ox4 539 B 500 K | 568 Line: Ladysmith-Possumpt | 40148.6907 | 40148.7126
2009-12-02 | Bristers-Ox4 539 A 500 K | 568 Line: Ladysmith-Possumpt | 40149.2588 | 40149.2606
| Bristers-Ox4 539 A 500 K | 568 Line: Ladysmith-Possumpt | 40149.2788 | 40149.3339
| Bristers-Ox4 539 A 500 K | 568 Line: Ladysmith-Possumpt | 40149.3637 | 40149.379
| Bristers-Ox4 539 A 500 K | 568 Line: Ladysmith-Possumpt | 40149.3937 | 40149.4093
| Bristers-Ox4 539 A 500 K | 568 Line: Ladysmith-Possumpt | 40149.4566 | 40149.4688
| Bristers-Ox4 539 A 500 K | 568 Line: Ladysmith-Possumpt | 40149.538 | 40149.5901
| Transfer Interface: Apsouth | Meadow Brook - Greenland Gap 500 Kv Line | 40149.6111 | 40149.6478
| Bristers-Ox4 539 A 500 K | 568 Line: Ladysmith-Possumpt | 40149.6367 | 40149.7247
| Transfer Interface: Apsouth | Bedington Blackoak Line | 40149.6837 | 40149.7109
| Transfer Interface: Apsouth | Bedington Blackoak Line | 40149.7761 | 40149.7852
2009-12-05 | Transfer Interface: Apsouth | Bedington Blackoak Line | 40152.558 | 40152.6239
| Transfer Interface: Apsouth | Bedington Blackoak Line | 40152.6802 | 40152.6806
| Bristers-Ox4 539 A 500 K | 568 Line: Ladysmith-Possumpt | 40152.7215 | 40152.7322
2009-12-06 | Transfer Interface: Apsouth | Bedington Blackoak Line | 40153.0237 | 40153.0841
| Transfer Interface: Apsouth | Bedington Blackoak Line | 40153.1249 | 40153.2654
| Transfer Interface: Apsouth | Bedington Blackoak Line | 40153.2848 | 40153.3305
| Transfer Interface: Apsouth | Bedington Blackoak Line | 40153.3488 | 40153.3863
| Transfer Interface: Apsouth | Bedington Blackoak Line | 40153.4488 | 40153.4671
| Transfer Interface: Apsouth | Bedington Blackoak Line | 40153.5186 | 40153.5356
| Transfer Interface: Aep-Dom | Cloverdale 765-345Kv Xf Failed Sectionalize | 40153.5727 | 40153.5865
2009-12-07 | Transfer Interface: Aep-Dom | Cloverdale 765-345Kv Xf Failed Sectionalize | 40154.0322 | 40154.2239
| Transfer Interface: Apsouth | Cloverdale-Lexingtn (566) 500Kv Line & Lexgtn Tx#3 | 40154.0322 | 40154.0356
| Transfer Interface: Apsouth | Cloverdale-Lexingtn (566) 500Kv Line & Lexgtn Tx#3 | 40154.0523 | 40154.0571
| Transfer Interface: Apsouth | 550 Line: Mtstorm-Valley | 40154.1133 | 40154.1156
| Transfer Interface: Apsouth | Bedington Blackoak Line | 40154.1922 | 40154.3536
| Transfer Interface: Aep-Dom | Bedington Blackoak Line | 40154.2425 | 40154.2438
| Transfer Interface: Apsouth | Bedington Blackoak Line | 40154.3759 | 40154.3805
2009-12-08 | Transfer Interface: Aep-Dom | 550 Line: Mtstorm-Valley | 40155.0839 | 40155.1268
| 83 Glidden 38L15627 Z1 A 138 K | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 40155.0905 | 40155.1884
| Transfer Interface: Aep-Dom | Cloverdale 765-345Kv Xf Failed Sectionalize | 40155.1595 | 40155.1694
| Transfer Interface: Aep-Dom | Cloverdale 765-345Kv Xf Failed Sectionalize | 40155.1884 | 40155.2017
| 83 Glidden 38L15627 Z1 A 138 K | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 40155.2147 | 40155.2893
| Transfer Interface: Aep-Dom | Bedington Blackoak Line | 40155.2555 | 40155.2586
| 22 Zion -Pleas Pr 2221 Tie B 345 K | Actual | 40155.2645 | 40155.2791
| 282Zion-Lakevie2 28201 Tie B 138 K | 345L2221 Zion-Pleasant Prairie 345 Kv Line | 40155.2645 | 40155.2835
| Transfer Interface: Apsouth | Bedington Blackoak Line | 40155.3312 | 40155.3437
| Bayway-Fed Square K-1311Ug A 138 K | Freshkill-Goethals #22 345Kv Line | 40155.3877 | 40155.3931
| 83 Glidden 38L15627 Z1 A 138 K | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 40155.5246 | 40155.7176
| 83 Glidden 38L15627 Z1 A 138 K | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 40155.8736 | 40155.8783
| 83 Glidden 38L15627 Z1 A 138 K | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 40155.9139 | 40155.951
| Transfer Interface: Apsouth | Bedington Blackoak Line | 40155.9349 | 40155.951
| Transfer Interface: Aep-Dom | Cloverdale 765-345Kv Xf Failed Sectionalize | 40155.9986 | 40156.0146
2009-12-09 | Transfer Interface: Aep-Dom | Cloverdale 765-345Kv Xf Failed Sectionalize | 40156.0263 | 40156.0349
| Transfer Interface: Aep-Dom | Cloverdale 765-345Kv Xf Failed Sectionalize | 40156.0622 | 40156.1231
| Transfer Interface: Aep-Dom | Cloverdale 765-345Kv Xf Failed Sectionalize | 40156.1389 | 40156.1603
| 83 Glidden 38L15627 Z1 A 138 K | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 40156.2475 | 40156.2992
| 83 Glidden 38L15627 Z1 A 138 K | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 40156.4522 | 40156.5072
| 83 Glidden 38L15627 Z1 A 138 K | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 40156.6166 | 40156.759
| 22 Zion -Pleas Pr 2221 Tie B 345 K | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 40156.6927 | 40156.6981
| 282Zion-Lakevie2 28201 Tie B 138 K | 345L2221 Zion-Pleasant Prairie 345 Kv Line | 40156.6927 | 40156.6981
| 83 Glidden 38L15627 Z1 A 138 K | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 40156.8919 | 40156.9008
2009-12-10 | Glenarm-Windyedge 110512 A 115 K | Windy Edge-Glenarm-Colon-Fiveforks 110511 | 40157.251 | 40157.3
2009-12-11 | Transfer Interface: Apsouth | Bedington Blackoak Line | 40158.2828 | 40158.3448
| Transfer Interface: Apsouth | Bedington Blackoak Line | 40158.363 | 40158.3669
| Transfer Interface: Apsouth | Bedington Blackoak Line | 40158.4681 | 40158.5005
| Transfer Interface: Apsouth | Bedington Blackoak Line | 40158.532 | 40158.7563
| Transfer Interface: Apsouth | Bedington Blackoak Line | 40158.7752 | 40158.7986
| Transfer Interface: Apsouth | Bedington Blackoak Line | 40158.8373 | 40158.8427
| Transfer Interface: Apsouth | Bedington Blackoak Line | 40158.8865 | 40158.8893
| Transfer Interface: Apsouth | Bedington Blackoak Line | 40158.963 | 40159.1224
2009-12-12 | Transfer Interface: Apsouth | Bedington Blackoak Line | 40159.1264 | 40159.5637
| Transfer Interface: Aep-Dom | Cloverdale 765-345Kv Xf Failed Sectionalize | 40159.562 | 40159.6007
| Transfer Interface: Apsouth | Bedington Blackoak Line | 40159.5823 | 40159.6706
| Transfer Interface: Aep-Dom | Cloverdale 765-345Kv Xf Failed Sectionalize | 40159.6453 | 40159.6719
| 113 Waterma 38L11323 Z1 A 138 K | 345L15502 Nelson-Electric Jct 345 Kv Line | 40159.6837 | 40159.7208
| Transfer Interface: Apsouth | Bedington Blackoak Line | 40159.69 | 40159.7139
| Transfer Interface: 50045005 | Bedington Blackoak Line | 40159.699 | 40159.7258
2009-12-13 | Transfer Interface: Aep-Dom | 550 Line: Mtstorm-Valley | 40160.1384 | 40160.2104
| Transfer Interface: Aep-Dom | Cloverdale 765-345Kv Xf Failed Sectionalize | 40160.2431 | 40160.2442
| 282Zion-Lakevie2 28201 Tie B 138 K | 345L2221 Zion-Pleasant Prairie 345 Kv Line | 40160.3493 | 40160.3531
| Transfer Interface: 50045005 | Bedington Blackoak Line | 40160.4156 | 40160.5135
| Transfer Interface: 50045005 | Bedington Blackoak Line | 40160.5656 | 40160.6047
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 40160.6367 | 40160.637
| Transfer Interface: 50045005 | Bedington Blackoak Line | 40160.6786 | 40160.7316
| Bristers-Ox4 539 B 500 K | 568 Line: Ladysmith-Possumpt | 40160.7026 | 40160.763
| Transfer Interface: 50045005 | Bedington Blackoak Line | 40160.7576 | 40160.7765
2009-12-14 | Sammis-Wylierid Tie B 345 K | Tidd - Wylierid 345 Kv | 40161.2056 | 40161.2101
| Bristers-Ox4 539 B 500 K | 568 Line: Ladysmith-Possumpt | 40161.2442 | 40161.2453
2009-12-15 | 22 Zion -Pleas Pr 2221 Tie B 345 K | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 40162.1591 | 40162.1621
| 22 Zion -Pleas Pr 2221 Tie B 345 K | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 40162.2656 | 40162.2913
2009-12-16 | 22 Zion -Pleas Pr 2221 Tie B 345 K | 345L2222 Zion-Arcadian 345 Kv Line | 40163.071 | 40163.0846
| 22 Zion -Pleas Pr 2221 Tie B 345 K | 345L2222 Zion-Arcadian 345 Kv Line | 40163.1034 | 40163.127
| 22 Zion -Pleas Pr 2221 Tie B 345 K | 345L2222 Zion-Arcadian 345 Kv Line | 40163.1659 | 40163.1768
| 22 Zion -Pleas Pr 2221 Tie B 345 K | 345L2222 Zion-Arcadian 345 Kv Line | 40163.2405 | 40163.2475
| 22 Zion -Pleas Pr 2221 Tie B 345 K | 345L2222 Zion-Arcadian 345 Kv Line | 40163.2639 | 40163.2679
| 22 Zion -Pleas Pr 2221 Tie B 345 K | 345L2222 Zion-Arcadian 345 Kv Line | 40163.293 | 40163.2935
| Bristers-Ox4 539 A 500 K | 568 Line: Ladysmith-Possumpt | 40163.7051 | 40163.7483
| 22 Zion -Pleas Pr 2221 Tie B 345 K | Actual | 40163.8508 | 40163.8875
2009-12-17 | Sammis-Wylierid Tie B 345 K | Tidd - Wylierid 345 Kv | 40164.0625 | 40164.0699
| Sammis-Wylierid Tie B 345 K | Tidd - Wylierid 345 Kv | 40164.0902 | 40164.1384
| Sammis-Wylierid Tie B 345 K | Tidd - Wylierid 345 Kv | 40164.1714 | 40164.2208
| 22 Zion -Pleas Pr 2221 Tie B 345 K | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 40164.1972 | 40164.1991
| 22 Zion -Pleas Pr 2221 Tie B 345 K | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 40164.2185 | 40164.2352
| Sammis-Wylierid Tie B 345 K | Tidd - Wylierid 345 Kv | 40164.2413 | 40164.2479
| 22 Zion -Pleas Pr 2221 Tie B 345 K | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 40164.2562 | 40164.2734
| Sammis-Wylierid Tie B 345 K | Tidd - Wylierid 345 Kv | 40164.9752 | 40164.9801
2009-12-18 | Sammis-Wylierid Tie B 345 K | Tidd - Wylierid 345 Kv | 40165.0009 | 40165.2299
| 22 Zion -Pleas Pr 2221 Tie B 345 K | 345L2222 Zion-Arcadian 345 Kv Line | 40165.1772 | 40165.1888
| 22 Zion -Pleas Pr 2221 Tie B 345 K | 345L2222 Zion-Arcadian 345 Kv Line | 40165.2299 | 40165.24
| 22 Zion -Pleas Pr 2221 Tie B 345 K | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 40165.2865 | 40165.2971
| Cecil-Colora 22074 A 230 K | Dbl: Red Lion-Hope Creek (5015) & Keeney-Rock Spri | 40165.3179 | 40165.3632
| Sammis-Wylierid Tie B 345 K | Tidd - Wylierid 345 Kv | 40165.9145 | 40165.9194
| Sammis-Wylierid Tie B 345 K | Tidd - Wylierid 345 Kv | 40165.9491 | 40165.9611
| Transfer Interface: Aep-Dom | Culloden - Wyoming 765Kv Line | 40165.9726 | 40165.9759
| Transfer Interface: Aep-Dom | Wyoming2 Jacksons Ferry 765Kv Line | 40165.9909 | 40165.9964
2009-12-19 | Transfer Interface: Aep-Dom | Wyoming2 Jacksons Ferry 765Kv Line | 40166.0032 | 40166.0212
| Transfer Interface: Aep-Dom | Cloverdale 765-345Kv Xf Failed Sectionalize | 40166.0451 | 40166.0471
| Transfer Interface: Aep-Dom | Wyoming2 Jacksons Ferry 765Kv Line | 40166.0648 | 40166.0855
| Transfer Interface: Aep-Dom | Wyoming2 Jacksons Ferry 765Kv Line | 40166.1089 | 40166.1254
| Transfer Interface: Aep-Dom | Wyoming2 Jacksons Ferry 765Kv Line | 40166.1406 | 40166.2064
| Transfer Interface: Aep-Dom | Wyoming2 Jacksons Ferry 765Kv Line | 40166.2211 | 40166.222
| 282Zion-Lakevie2 28201 Tie B 138 K | 345L2221 Zion-Pleasant Prairie 345 Kv Line | 40166.31 | 40166.7091
| Transfer Interface: Aep-Dom | Bedington Blackoak Line | 40166.3234 | 40166.3253
| Transfer Interface: Apsouth | Bedington Blackoak Line | 40166.3714 | 40166.3829
| Transfer Interface: West | Bedington Blackoak Line | 40166.3806 | 40166.4339
| Transfer Interface: Apsouth | Bedington Blackoak Line | 40166.4214 | 40166.4258
| Transfer Interface: Aep-Dom | Bedington Blackoak Line | 40166.4449 | 40166.4618
| Transfer Interface: Apsouth | Bedington Blackoak Line | 40166.4618 | 40166.7457
| Transfer Interface: Aep-Dom | Pruntytown-Mt. Storm (510) 500 Kv Line | 40166.5647 | 40166.567
| Transfer Interface: Aep-Dom | Pruntytown-Mt. Storm (510) 500 Kv Line | 40166.6068 | 40166.613
| Transfer Interface: Aep-Dom | Bedington Blackoak Line | 40166.6312 | 40166.6323
| Transfer Interface: Aep-Dom | Cloverdale 765-345Kv Xf Failed Sectionalize | 40166.6464 | 40166.6498
| Transfer Interface: Aep-Dom | Pruntytown-Mt. Storm (510) 500 Kv Line | 40166.6741 | 40166.6762
| Transfer Interface: Apsouth | Bedington Blackoak Line | 40166.771 | 40166.7778
| Transfer Interface: Aep-Dom | Pruntytown-Mt. Storm (510) 500 Kv Line | 40166.8365 | 40166.9102
| Transfer Interface: 50045005 | Bedington Blackoak Line | 40166.8569 | 40166.8702
| Transfer Interface: 50045005 | Bedington Blackoak Line | 40166.8889 | 40167.0019
| Transfer Interface: Aep-Dom | Pruntytown-Mt. Storm (510) 500 Kv Line | 40166.9585 | 40166.969
| Transfer Interface: Aep-Dom | Wyoming2 Jacksons Ferry 765Kv Line | 40166.9838 | 40167.0202
2009-12-20 | Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 40167.0202 | 40167.0285
| Transfer Interface: Aep-Dom | Wyoming2 Jacksons Ferry 765Kv Line | 40167.0403 | 40167.349
| Transfer Interface: 50045005 | Hatfield-Ronco 500 Kv | 40167.0694 | 40167.0867
| Transfer Interface: Apsouth | Juniata Keystone 500 Line | 40167.0694 | 40167.0709
| Transfer Interface: 50045005 | Juniata 500/230 #1 Transformer & 500 Kv Caps | 40167.1283 | 40167.148
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 40167.1818 | 40167.1896
| Transfer Interface: 50045005 | Hatfield-Ronco 500 Kv | 40167.206 | 40167.2107
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 40167.2881 | 40167.3117
| Transfer Interface: Aep-Dom | Wyoming2 Jacksons Ferry 765Kv Line | 40167.37 | 40167.429
| Transfer Interface: Bed-Bla | Conemaugh Keystone 500 Line | 40167.37 | 40167.5073
| Transfer Interface: Aep-Dom | Wyoming2 Jacksons Ferry 765Kv Line | 40167.4455 | 40167.5298
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 40167.5474 | 40167.5549
| Transfer Interface: Aep-Dom | Meadow Brook - Greenland Gap 500 Kv Line | 40167.5595 | 40167.5784
| Transfer Interface: Aep-Dom | Wyoming2 Jacksons Ferry 765Kv Line | 40167.6018 | 40167.6034
| Transfer Interface: Aep-Dom | Kanawha River Matt Funk 345Kv Line | 40167.6218 | 40167.6473
| Transfer Interface: Bed-Bla | Conastone-Peach Bottom (5012) 500 Kv Line | 40167.6218 | 40167.6384
| Transfer Interface: Aep-Dom | 550 Line: Mtstorm-Valley | 40167.6653 | 40167.6753
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 40167.6867 | 40167.7326
| Bristers-Ox4 539 A 500 K | 568 Line: Ladysmith-Possumpt | 40167.7037 | 40167.7581
| Transfer Interface: Aep-Dom | Bedington Blackoak Line | 40167.7037 | 40167.7265
| Transfer Interface: Aep-Dom | Wyoming2 Jacksons Ferry 765Kv Line | 40167.7581 | 40167.7602
| Transfer Interface: Bed-Bla | Conemaugh Keystone 500 Line | 40167.7581 | 40167.8165
| Transfer Interface: Aep-Dom | Pruntytown-Mt. Storm (510) 500 Kv Line | 40167.8131 | 40167.8309
| Transfer Interface: Bed-Bla | Conemaugh-Hunterstown (5006) 500 Kv Line | 40167.8364 | 40167.8827
| Transfer Interface: Aep-Dom | Wyoming2 Jacksons Ferry 765Kv Line | 40167.8533 | 40167.8573
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 40167.8844 | 40167.9075
| Transfer Interface: 50045005 | Bedington Blackoak Line | 40167.9239 | 40167.9414
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 40167.9568 | 40167.9594
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 40167.986 | 40167.9909
2009-12-21 | Transfer Interface: 50045005 | Bedington Blackoak Line | 40168.0069 | 40168.0088
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 40168.0333 | 40168.0356
| Transfer Interface: 50045005 | Bedington Blackoak Line | 40168.0663 | 40168.079
| 22 Zion -Pleas Pr 2221 Tie B 345 K | 345L2222 Zion-Arcadian 345 Kv Line | 40168.262 | 40168.275
| Transfer Interface: Aep-Dom | Bedington Blackoak Line | 40168.3065 | 40168.3124
| Transfer Interface: Aep-Dom | Bedington Blackoak Line | 40168.3517 | 40168.3665
| Transfer Interface: Aep-Dom | Black Oak - Hatfield 500 Kv Line | 40168.3995 | 40168.4182
| Transfer Interface: Apsouth | Bedington Blackoak Line | 40168.3995 | 40168.4064
| Transfer Interface: Aep-Dom | Pruntytown-Mt. Storm (510) 500 Kv Line | 40168.4604 | 40168.503
2009-12-22 | Transfer Interface: Aep-Dom | Cloverdale 765-345Kv Xf Failed Sectionalize | 40169.1424 | 40169.1895
| Transfer Interface: Aep-Dom | Wyoming2 Jacksons Ferry 765Kv Line | 40169.2099 | 40169.2112
| Transfer Interface: Aep-Dom | Wyoming2 Jacksons Ferry 765Kv Line | 40169.227 | 40169.2287
| 22 Zion -Pleas Pr 2221 Tie B 345 K | 345L2222 Zion-Arcadian 345 Kv Line | 40169.2593 | 40169.287
| Transfer Interface: Aep-Dom | Bedington Blackoak Line | 40169.298 | 40169.302
| Transfer Interface: Aep-Dom | Bedington Blackoak Line | 40169.3291 | 40169.3377
| Transfer Interface: Aep-Dom | Black Oak - Hatfield 500 Kv Line | 40169.3539 | 40169.362
| Transfer Interface: 50045005 | Conemaugh-Hunterstown (5006) 500 Kv Line | 40169.362 | 40169.6247
| Transfer Interface: Aep-Dom | Wyoming2 Jacksons Ferry 765Kv Line | 40169.421 | 40169.4503
| Transfer Interface: Aep-Dom | Black Oak - Hatfield 500 Kv Line | 40169.549 | 40169.5674
| Transfer Interface: 50045005 | Bedington Blackoak Line | 40169.6416 | 40169.7596
| 113 Waterma 38L11323 Z1 B 138 K | 345L15502 Nelson-Electric Jct 345 Kv Line | 40169.6831 | 40169.7288
| Bristers-Ox4 539 A 500 K | 568 Line: Ladysmith-Possumpt | 40169.703 | 40169.7037
| Transfer Interface: 50045005 | Black Oak - Hatfield 500 Kv Line | 40169.7753 | 40169.7789
| Transfer Interface: 50045005 | Black Oak - Hatfield 500 Kv Line | 40169.8147 | 40170.0019
2009-12-23 | Transfer Interface: Aep-Dom | Cloverdale 765-345Kv Xf Failed Sectionalize | 40170.0053 | 40170.0075
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 40170.0217 | 40170.0392
| 113 Waterma 38L11323 Z1 B 138 K | 345L15502 Nelson-Electric Jct 345 Kv Line | 40170.0265 | 40170.0825
| Transfer Interface: 50045005 | Bedington Blackoak Line | 40170.0536 | 40170.0545
| Transfer Interface: 50045005 | Bedington Blackoak Line | 40170.1052 | 40170.1198
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 40170.1894 | 40170.2283
| Transfer Interface: Aep-Dom | Cloverdale 765-345Kv Xf Failed Sectionalize | 40170.2047 | 40170.2127
| Transfer Interface: Aep-Dom | Bedington Blackoak Line | 40170.2361 | 40170.2611
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 40170.2504 | 40170.2761
| Transfer Interface: 50045005 | Bedington Blackoak Line | 40170.2666 | 40170.3319
| Transfer Interface: Apsouth | Bedington Blackoak Line | 40170.278 | 40170.3977
| Transfer Interface: Aep-Dom | Bedington Blackoak Line | 40170.282 | 40170.2899
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 40170.2983 | 40170.3319
| Transfer Interface: 50045005 | Bedington Blackoak Line | 40170.3483 | 40170.392
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 40170.3551 | 40170.3921
| Transfer Interface: Apsouth | Bedington Blackoak Line | 40170.4409 | 40170.4483
| Transfer Interface: 50045005 | Bedington Blackoak Line | 40170.4522 | 40170.4696
| Transfer Interface: Bed-Bla | Juniata Keystone 500 Line | 40170.5174 | 40170.5349
| Transfer Interface: Apsouth | Bedington Blackoak Line | 40170.5246 | 40170.6078
| Transfer Interface: Apsouth | Bedington Blackoak Line | 40170.624 | 40170.6282
| Transfer Interface: 50045005 | Bedington Blackoak Line | 40170.6985 | 40170.749
| Transfer Interface: Apsouth | Bedington Blackoak Line | 40170.7066 | 40170.7247
| 113 Waterma 38L11323 Z1 B 138 K | 345L15502 Nelson-Electric Jct 345 Kv Line | 40170.7284 | 40170.7296
2009-12-24 | 22 Zion -Pleas Pr 2221 Tie B 345 K | 345L2222 Zion-Arcadian 345 Kv Line | 40171.0688 | 40171.1013
| Transfer Interface: Apsouth | Bedington Blackoak Line | 40171.312 | 40171.4079
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 40171.312 | 40171.3197
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 40171.3356 | 40171.3422
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 40171.36 | 40171.3601
| 22 Zion -Pleas Pr 2221 Tie B 345 K | 345L2222 Zion-Arcadian 345 Kv Line | 40171.3684 | 40171.437
| Transfer Interface: Bed-Bla | Conemaugh Keystone 500 Line | 40171.3786 | 40171.3989
| 22 Zion -Pleas Pr 2221 Tie B 345 K | 345L2222 Zion-Arcadian 345 Kv Line | 40171.4684 | 40171.4719
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 40171.4719 | 40171.5113
| 22 Zion -Pleas Pr 2221 Tie B 345 K | 345L2222 Zion-Arcadian 345 Kv Line | 40171.5242 | 40171.5286
| Transfer Interface: Bed-Bla | Conemaugh-Hunterstown (5006) 500 Kv Line | 40171.5337 | 40171.5562
| 22 Zion -Pleas Pr 2221 Tie B 345 K | 345L2222 Zion-Arcadian 345 Kv Line | 40171.5521 | 40171.6027
| 22 Zion -Pleas Pr 2221 Tie B 345 K | 345L2222 Zion-Arcadian 345 Kv Line | 40171.6186 | 40171.6305
| 113 Waterma 38L11323 Z1 B 138 K | 345L15502 Nelson-Electric Jct 345 Kv Line | 40171.6394 | 40171.6478
| 22 Zion -Pleas Pr 2221 Tie B 345 K | 345L2222 Zion-Arcadian 345 Kv Line | 40171.6478 | 40171.654
| 22 Zion -Pleas Pr 2221 Tie B 345 K | 345L2222 Zion-Arcadian 345 Kv Line | 40171.6771 | 40171.6796
| 113 Waterma 38L11323 Z1 B 138 K | 345L15502 Nelson-Electric Jct 345 Kv Line | 40171.6942 | 40171.7025
| Transfer Interface: Bed-Bla | Conemaugh-Hunterstown (5006) 500 Kv Line | 40171.7274 | 40171.7285
| 113 Waterma 38L11323 Z1 B 138 K | 345L15502 Nelson-Electric Jct 345 Kv Line | 40171.7385 | 40171.744
| Transfer Interface: Bed-Bla | Doubs-Mt. Storm 500 Kv Line | 40171.744 | 40171.7561
| Transfer Interface: Apsouth | Black Oak - Hatfield 500 Kv Line | 40171.7743 | 40171.7805
| Transfer Interface: Bed-Bla | Conemaugh Keystone 500 Line | 40171.8013 | 40171.813
| 22 Zion -Pleas Pr 2221 Tie B 345 K | 345L2222 Zion-Arcadian 345 Kv Line | 40171.8527 | 40171.8791
| Harritap-Kammer (Irol) B 500 K | Belmont-Harrison 500 Kv Line | 40171.9018 | 40171.9658
| 22 Zion -Pleas Pr 2221 Tie B 345 K | 345L2222 Zion-Arcadian 345 Kv Line | 40171.91 | 40171.933
| Harritap-Kammer (Irol) B 500 K | Belmont-Harrison 500 Kv Line | 40171.9845 | 40171.9903
2009-12-25 | Harritap-Kammer (Irol) B 500 K | Belmont-Harrison 500 Kv Line | 40172.0119 | 40172.0165
| Transfer Interface: 50045005 | Black Oak - Hatfield 500 Kv Line | 40172.0135 | 40172.0301
| Harritap-Kammer (Irol) B 500 K | Belmont-Harrison 500 Kv Line | 40172.0417 | 40172.0786
| Transfer Interface: 50045005 | Bedington Blackoak Line | 40172.0445 | 40172.0702
| Transfer Interface: 50045005 | Black Oak - Hatfield 500 Kv Line | 40172.0841 | 40172.0885
| Harritap-Kammer (Irol) B 500 K | Belmont-Harrison 500 Kv Line | 40172.094 | 40172.1952
| Transfer Interface: Aep-Dom | Cloverdale 765-345Kv Xf Failed Sectionalize | 40172.1952 | 40172.2105
| Harritap-Kammer (Irol) B 500 K | Belmont-Harrison 500 Kv Line | 40172.218 | 40172.2244
| Transfer Interface: Aep-Dom | Cloverdale 765-345Kv Xf Failed Sectionalize | 40172.2244 | 40172.2526
| Transfer Interface: 50045005 | Bedington Blackoak Line | 40172.2288 | 40172.2356
| Harritap-Kammer (Irol) B 500 K | Belmont-Harrison 500 Kv Line | 40172.2526 | 40172.2608
| Transfer Interface: Aep-Dom | Cloverdale 765-345Kv Xf Failed Sectionalize | 40172.2956 | 40172.2988
| Harritap-Kammer (Irol) B 500 K | Belmont-Harrison 500 Kv Line | 40172.3503 | 40172.451
| Transfer Interface: 50045005 | Black Oak - Hatfield 500 Kv Line | 40172.3879 | 40172.4264
| Harritap-Kammer (Irol) B 500 K | Belmont-Harrison 500 Kv Line | 40172.4707 | 40172.5207
| Transfer Interface: 50045005 | Black Oak - Hatfield 500 Kv Line | 40172.5116 | 40172.5161
| Transfer Interface: 50045005 | Conemaugh-Hunterstown (5006) 500 Kv Line | 40172.5464 | 40172.5628
| 113 Waterma 38L11323 Z1 B 138 K | 345L15502 Nelson-Electric Jct 345 Kv Line | 40172.5785 | 40172.5857
| Transfer Interface: 50045005 | Black Oak - Hatfield 500 Kv Line | 40172.5897 | 40172.6097
| 113 Waterma 38L11323 Z1 B 138 K | 345L15502 Nelson-Electric Jct 345 Kv Line | 40172.6003 | 40172.6042
| Transfer Interface: 50045005 | Black Oak - Hatfield 500 Kv Line | 40172.6424 | 40172.6462
| Transfer Interface: 50045005 | Bedington Blackoak Line | 40172.6711 | 40172.7666
| Harritap-Kammer (Irol) B 500 K | Belmont-Harrison 500 Kv Line | 40172.6888 | 40172.7096
| 113 Waterma 38L11323 Z1 B 138 K | 345L15502 Nelson-Electric Jct 345 Kv Line | 40172.7075 | 40172.7119
| 282Zion-Lakevie2 28201 Tie B 138 K | 345L2221 Zion-Pleasant Prairie 345 Kv Line | 40172.7226 | 40172.7432
| 22 Zion -Pleas Pr 2221 Tie B 345 K | 345L2222 Zion-Arcadian 345 Kv Line | 40172.724 | 40172.7363
| Transfer Interface: 50045005 | Black Oak - Hatfield 500 Kv Line | 40172.7819 | 40172.8284
| Transfer Interface: 50045005 | Black Oak - Hatfield 500 Kv Line | 40172.8479 | 40172.8626
| Transfer Interface: 50045005 | Conemaugh-Hunterstown (5006) 500 Kv Line | 40172.8838 | 40172.9269
| Transfer Interface: 50045005 | Black Oak - Hatfield 500 Kv Line | 40172.9555 | 40172.9623
| Transfer Interface: 50045005 | Black Oak - Hatfield 500 Kv Line | 40172.9828 | 40172.998
2009-12-26 | Transfer Interface: 50045005 | Black Oak - Hatfield 500 Kv Line | 40173.0013 | 40173.0062
| Transfer Interface: 50045005 | Conemaugh-Hunterstown (5006) 500 Kv Line | 40173.0222 | 40173.0342
| Transfer Interface: 50045005 | Hunterstown-Conastone (5013) And Cap | 40173.0906 | 40173.0988
| Transfer Interface: 50045005 | Hunterstown-Conastone (5013) And Cap | 40173.1242 | 40173.1338
| Transfer Interface: 50045005 | Hunterstown-Conastone (5013) And Cap | 40173.1565 | 40173.158
| Sammis-Wylierid Tie B 345 K | Tidd - Wylierid 345 Kv | 40173.3619 | 40173.3834
| Sammis-Wylierid Tie B 345 K | Tidd - Wylierid 345 Kv | 40173.4335 | 40173.4651
| Sammis-Wylierid Tie B 345 K | Tidd - Wylierid 345 Kv | 40173.4794 | 40173.4821
| Transfer Interface: 50045005 | Conemaugh-Hunterstown (5006) 500 Kv Line | 40173.6604 | 40173.6794
| Transfer Interface: 50045005 | Rock Springs-Keeney (5025) 500 Kv Line | 40173.7017 | 40173.7205
| Transfer Interface: 50045005 | Rock Springs-Keeney (5025) 500 Kv Line | 40173.7359 | 40173.7397
| Transfer Interface: 50045005 | Conemaugh Keystone 500 Line | 40173.8297 | 40173.8544
| Transfer Interface: 50045005 | Black Oak - Hatfield 500 Kv Line | 40173.89 | 40173.8984
| Transfer Interface: 50045005 | Conemaugh Keystone 500 Line | 40173.9495 | 40173.9613
| Transfer Interface: 50045005 | Bedington Blackoak Line | 40173.977 | 40173.985
2009-12-27 | Transfer Interface: 50045005 | Hunterstown-Conastone (5013) And Cap | 40174.0967 | 40174.1025
| Transfer Interface: Aep-Dom | Cloverdale 765-345Kv Xf Failed Sectionalize | 40174.2151 | 40174.2701
| Transfer Interface: Aep-Dom | Pruntytown-Mt. Storm (510) 500 Kv Line | 40174.285 | 40174.2856
| Transfer Interface: Aep-Dom | Pruntytown-Mt. Storm (510) 500 Kv Line | 40174.319 | 40174.3358
2009-12-28 | Transfer Interface: Aep-Dom | Cloverdale 765-345Kv Xf Failed Sectionalize | 40175.9959 | 40175.9977
2009-12-29 | Transfer Interface: Aep-Dom | Cloverdale 765-345Kv Xf Failed Sectionalize | 40176.0611 | 40176.2088
| Transfer Interface: Aep-Dom | Pruntytown-Mt. Storm (510) 500 Kv Line | 40176.2591 | 40176.2697
| Transfer Interface: 50045005 | Black Oak - Hatfield 500 Kv Line | 40176.5353 | 40176.5961
| Transfer Interface: 50045005 | Black Oak - Hatfield 500 Kv Line | 40176.6243 | 40176.6286
| Transfer Interface: 50045005 | Conemaugh Keystone 500 Line | 40176.6773 | 40176.7838
| Bristers-Ox4 539 A 500 K | 568 Line: Ladysmith-Possumpt | 40176.7102 | 40176.7114
| Bristers-Ox4 539 A 500 K | 568 Line: Ladysmith-Possumpt | 40176.7328 | 40176.7561
| Bristers-Ox4 539 A 500 K | 568 Line: Ladysmith-Possumpt | 40176.7849 | 40176.7911
| Transfer Interface: 50045005 | Susquehanna-Wescosville-Alburtis & Wescosville #3 | 40176.8044 | 40176.921
| Transfer Interface: 50045005 | Black Oak - Hatfield 500 Kv Line | 40176.9429 | 40176.9712
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 40176.9933 | 40177.0021
2009-12-30 | Transfer Interface: 50045005 | Black Oak - Hatfield 500 Kv Line | 40177.0202 | 40177.059
| Transfer Interface: Aep-Dom | Cloverdale 765-345Kv Xf Failed Sectionalize | 40177.0764 | 40177.082
| Transfer Interface: Aep-Dom | Cloverdale 765-345Kv Xf Failed Sectionalize | 40177.1051 | 40177.2248
| Transfer Interface: 50045005 | Black Oak - Hatfield 500 Kv Line | 40177.1937 | 40177.2051
| Transfer Interface: 50045005 | Bedington Blackoak Line | 40177.2852 | 40177.2931
| Transfer Interface: Apsouth | Bedington Blackoak Line | 40177.365 | 40177.4122
| Transfer Interface: Apsouth | Bedington Blackoak Line | 40177.4353 | 40177.4447
| Transfer Interface: Aep-Dom | Cloverdale 765-345Kv Xf Failed Sectionalize | 40177.5612 | 40177.5807
| Transfer Interface: Aep-Dom | Cloverdale 765-345Kv Xf Failed Sectionalize | 40177.6301 | 40177.6357
| Transfer Interface: Aep-Dom | Cloverdale 765-345Kv Xf Failed Sectionalize | 40177.9938 | 40178.0102
2009-12-31 | Transfer Interface: Aep-Dom | Cloverdale 765-345Kv Xf Failed Sectionalize | 40178.02 | 40178.0454
| Transfer Interface: Apsouth | Bedington Blackoak Line | 40178.3661 | 40178.4658
| Transfer Interface: Apsouth | Bedington Blackoak Line | 40178.4849 | 40178.5262
| 113 Waterma 38L11323 Z1 B 138 K | 345L15502 Nelson-Electric Jct 345 Kv Line | 40178.6303 | 40178.6507
| Transfer Interface: 50045005 | Bedington Blackoak Line | 40178.7052 | 40178.7272
| Transfer Interface: 50045005 | Bedington Blackoak Line | 40178.7522 | 40178.7575