## Existing Allocation
These are the "existing" RTEP cost allocations for sensitivy purposes as of December 2015 and may not exactly match the approved Schedule 12 cost allocations.
Document date: 12/11/2015
The Con Ed - PJM Wheel is described in Schedule C of the PJM - NYISO JOA Agreement
http://pjm.com/~/media/documents/agreements/nyiso-joa.ashx
Upgrade ID | Backbone / Necessary LVF ? | Single Zone Allocation ? | Description | Cost Estimate ($M) | Transmission Owner | AEC | AEP | APS | ATSI | BGE | ComEd | Coned | Dayton | DEOK | DL | Dominion | DPL | ECP | EKPC | HTP | JCPL | ME | Neptune | PECO | PENELEC | PEPCO | PPL | PSEG | RE | UGI
b2218 | No | No | Rebuild 4 miles of overhead line from Edison - Meadow Rd - Metuchen (Q-1317) | 46 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 63.51% | 0% | 36.49% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
b2276 | No | No | Eliminate the Sewaren 138 kV bus by installing a new 230 kV bay at Sewaren 230 kV | 101 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 50.82% | 0% | 0% | 0% | 0% | 0% | 49.18% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
b2276.1 | No | No | Convert the two 138 kV circuits from Sewaren - Metuchen to 230 kV circuits including Lafayettte and Woodbridge substation |  | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 50.82% | 0% | 0% | 0% | 0% | 0% | 49.18% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
b2276.2 | No | No | Reconfigure the Metuchen 230 kV station to accommodate the two converted circuits |  | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 50.82% | 0% | 0% | 0% | 0% | 0% | 49.18% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
b2436.10_DFAX_Allocation | No | No | Convert the Bergen - Marion 138 kV path to double circuit 345 kV and associated substation upgrades. (50% of allocation based on DFAX) | 77.165 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 93% | 0% | 0% | 0% | 0% | 0% | 5.761% | 0% | 0.2452% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0.9606% | 0.0379% | 0%
b2436.10_Load_Ratio_Share_Allocation | Yes | No | Convert the Bergen - Marion 138 kV path to double circuit 345 kV and associated substation upgrades. (50% of allocation based on load ratio share) | 77.165 | PSEG | 1.53% | 15.32% | 5.87% | 7.76% | 4.18% | 12.38% | 0.57% | 2.01% | 3.21% | 1.69% | 12.42% | 2.43% | 0.2% | 2.15% | 0.2% | 3.54% | 1.77% | 0.42% | 5.18% | 1.92% | 3.98% | 5.05% | 5.97% | 0.25% | 0%
b2436.21_DFAX_Allocation | No | No | Convert the Marion - Bayonne "L" 138 kV circuit to 345 kV and any associated substation upgrades. (50% of allocation based on DFAX) | 33.91 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 87.69% | 0% | 0% | 0% | 0% | 0% | 0.5967% | 0% | 11.72% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
b2436.21_Load_Ratio_Share_Allocation | Yes | No | Convert the Marion - Bayonne "L" 138 kV circuit to 345 kV and any associated substation upgrades. (50% of allocation based on load ratio share) | 33.91 | PSEG | 1.53% | 15.32% | 5.87% | 7.76% | 4.18% | 12.38% | 0.57% | 2.01% | 3.21% | 1.69% | 12.42% | 2.43% | 0.2% | 2.15% | 0.2% | 3.54% | 1.77% | 0.42% | 5.18% | 1.92% | 3.98% | 5.05% | 5.97% | 0.25% | 0%
b2436.22_DFAX_Allocation | No | No | Convert the Marion - Bayonne "C" 138 kV circuit to 345 kV and any associated substation upgrades. (50% of allocation based on DFAX) | 28.32 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 87.69% | 0% | 0% | 0% | 0% | 0% | 0.5967% | 0% | 11.72% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
b2436.22_Load_Ratio_Share_Allocation | Yes | No | Convert the Marion - Bayonne "C" 138 kV circuit to 345 kV and any associated substation upgrades. (50% of allocation based on load ratio share) | 28.32 | PSEG | 1.53% | 15.32% | 5.87% | 7.76% | 4.18% | 12.38% | 0.57% | 2.01% | 3.21% | 1.69% | 12.42% | 2.43% | 0.2% | 2.15% | 0.2% | 3.54% | 1.77% | 0.42% | 5.18% | 1.92% | 3.98% | 5.05% | 5.97% | 0.25% | 0%
b2436.33 | No | No | Construct a new Bayway - Bayonne 345 kV circuit and any associated substation upgrades | 160.38 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 86.07% | 0% | 0% | 0% | 0% | 0% | 0.2987% | 0% | 13.63% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
b2436.34 | No | No | Construct a new North Ave - Bayonne 345 kV circuit and any associated substation upgrades | 139.77 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 86.05% | 0% | 0% | 0% | 0% | 0% | 0.3293% | 0% | 13.62% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
b2436.50 | No | No | Construct a new North Ave - Airport 345 kV circuit and any associated substation upgrades | 80.43 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 85.84% | 0% | 0% | 0% | 0% | 0% | 0.5636% | 0% | 13.59% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
b2436.60 | No | No | Relocate the underground portion of North Ave - Linden "T" 138 kV circuit to Bayway, convert it to 345 kV, and any associated substation upgrades | 52.75 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 86.19% | 0% | 0% | 0% | 0% | 0% | 0.1599% | 0% | 13.65% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
b2436.70 | No | No | Construct a new Airport - Bayway 345 kV circuit and any associated substation upgrades | 102 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 86.26% | 0% | 0% | 0% | 0% | 0% | 0.08477% | 0% | 13.66% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
b2436.81_DFAX_Allocation | No | No | Relocate the overhead portion of Linden - North Ave "T" 138 kV circuit to Bayway, convert it to 345 kV, and any associated substation upgrades. (50% of allocation based on DFAX) | 24.135 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 12.79% | 0% | 0% | 0% | 0% | 0% | 0.02358% | 0% | 6.598% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 77.53% | 3.059% | 0%
b2436.81_Load_Ratio_Share_Allocation | Yes | No | Relocate the overhead portion of Linden - North Ave "T" 138 kV circuit to Bayway, convert it to 345 kV, and any associated substation upgrades. (50% of allocation based on load ratio share) | 24.135 | PSEG | 1.53% | 15.32% | 5.87% | 7.76% | 4.18% | 12.38% | 0.57% | 2.01% | 3.21% | 1.69% | 12.42% | 2.43% | 0.2% | 2.15% | 0.2% | 3.54% | 1.77% | 0.42% | 5.18% | 1.92% | 3.98% | 5.05% | 5.97% | 0.25% | 0%
b2436.83_DFAX_Allocation | No | No | Convert the Bayway - Linden "Z" 138 kV circuit to 345 kV and any associated substation upgrades. (50% of allocation based on DFAX) | 24.135 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 12.8% | 0% | 0% | 0% | 0% | 0% | 0.02358% | 0% | 6.599% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 77.52% | 3.059% | 0%
b2436.83_Load_Ratio_Share_Allocation | Yes | No | Convert the Bayway - Linden "Z" 138 kV circuit to 345 kV and any associated substation upgrades. (50% of allocation based on load ratio share) | 24.135 | PSEG | 1.53% | 15.32% | 5.87% | 7.76% | 4.18% | 12.38% | 0.57% | 2.01% | 3.21% | 1.69% | 12.42% | 2.43% | 0.2% | 2.15% | 0.2% | 3.54% | 1.77% | 0.42% | 5.18% | 1.92% | 3.98% | 5.05% | 5.97% | 0.25% | 0%
b2436.84_DFAX_Allocation | No | No | Convert the Bayway - Linden "W" 138 kV circuit to 345 kV and any associated substation upgrades. (50% of allocation based on DFAX) | 23.845 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 65.97% | 0% | 0% | 0% | 0% | 0% | 0.0237% | 0% | 34.01% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
b2436.84_Load_Ratio_Share_Allocation | Yes | No | Convert the Bayway - Linden "W" 138 kV circuit to 345 kV and any associated substation upgrades. (50% of allocation based on load ratio share) | 23.845 | PSEG | 1.53% | 15.32% | 5.87% | 7.76% | 4.18% | 12.38% | 0.57% | 2.01% | 3.21% | 1.69% | 12.42% | 2.43% | 0.2% | 2.15% | 0.2% | 3.54% | 1.77% | 0.42% | 5.18% | 1.92% | 3.98% | 5.05% | 5.97% | 0.25% | 0%
b2436.85_DFAX_Allocation | No | No | Convert the Bayway - Linden "M" 138 kV circuit to 345 kV and any associated substation upgrades. (50% of allocation based on DFAX) | 23.845 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 65.97% | 0% | 0% | 0% | 0% | 0% | 0.0237% | 0% | 34.01% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
b2436.85_Load_Ratio_Share_Allocation | Yes | No | Convert the Bayway - Linden "M" 138 kV circuit to 345 kV and any associated substation upgrades. (50% of allocation based on load ratio share) | 23.845 | PSEG | 1.53% | 15.32% | 5.87% | 7.76% | 4.18% | 12.38% | 0.57% | 2.01% | 3.21% | 1.69% | 12.42% | 2.43% | 0.2% | 2.15% | 0.2% | 3.54% | 1.77% | 0.42% | 5.18% | 1.92% | 3.98% | 5.05% | 5.97% | 0.25% | 0%
b2436.90_DFAX_Allocation | No | No | Relocate Farragut - Hudson "B" and "C" 345 kV circuits to Marion 345 kV and any associated substation upgrades. (50% of allocation based on DFAX) | 19.125 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 99.16% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0.04878% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0.763% | 0.03011% | 0%
b2436.90_Load_Ratio_Share_Allocation | Yes | No | Relocate Farragut - Hudson "B" and "C" 345 kV circuits to Marion 345 kV and any associated substation upgrades. (50% of allocation based on load ratio share) | 19.125 | PSEG | 1.53% | 15.32% | 5.87% | 7.76% | 4.18% | 12.38% | 0.57% | 2.01% | 3.21% | 1.69% | 12.42% | 2.43% | 0.2% | 2.15% | 0.2% | 3.54% | 1.77% | 0.42% | 5.18% | 1.92% | 3.98% | 5.05% | 5.97% | 0.25% | 0%
b2436.91 | No | Yes | Relocate the Hudson 2 generation to inject into the 345 kV at Marion and any associated upgrades | 23.92 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0%
b2437.10 | No | No | New Bergen 345/230 kV transformer and any associated substation upgrades | 29.72 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 89.34% | 0% | 0% | 0% | 0% | 0% | 5.577% | 0% | 1.074% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 3.861% | 0.1523% | 0%
b2437.11 | No | No | New Bergen 345/138 kV transformer #1 and any associated substation upgrades | 29.72 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 95.12% | 0% | 0% | 0% | 0% | 0% | 4.88% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
b2437.20 | No | No | New Bayway 345/138 kV transformer #1 and any associated substation upgrades | 15.27 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 0.3245% | 0% | 0% | 0% | 0% | 0% | 0.03155% | 0% | 3.269% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 92.72% | 3.658% | 0%
b2437.21 | No | No | New Bayway 345/138 kV transformer #2 and any associated substation upgrades | 15.27 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 0.1549% | 0% | 0% | 0% | 0% | 0% | 0.01511% | 0% | 2.906% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 93.25% | 3.679% | 0%
b2437.30 | No | No | New Linden 345/230 kV transformer and any associated substation upgrades | 24.91 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 19.61% | 0% | 0% | 0% | 0% | 0% | 0.251% | 0% | 8.434% | 0% | 0% | 0.05106% | 0% | 0% | 0% | 0% | 68.93% | 2.72% | 0%
b2437.33 | No | Yes | New Bayonne 345/69 kV transformer and any associated substation upgrades | 16.9 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%

## Revised Allocation No Wheel
These are the "No Wheel Sensitivity" RTEP cost allocations for sensitivy purposes as of December 2015 and are not the approved Schedule 12 cost allocations. The sensitivy assumed that the wheel was set to 0 MW in/out of PJM.
Document date: 12/11/2015
The Con Ed - PJM Wheel is described in Schedule C of the PJM - NYISO JOA Agreement
http://pjm.com/~/media/documents/agreements/nyiso-joa.ashx
Upgrade ID | Backbone / Necessary LVF ? | Single Zone Allocation ? | Description | Cost Estimate ($M) | Transmission Owner | AEC | AEP | APS | ATSI | BGE | ComEd | Coned | Dayton | DEOK | DL | Dominion | DPL | ECP | EKPC | HTP | JCPL | ME | Neptune | PECO | PENELEC | PEPCO | PPL | PSEG | RE | UGI
b2218 | No | No | Rebuild 4 miles of overhead line from Edison - Meadow Rd - Metuchen (Q-1317) | 46 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 63.57% | 0% | 36.43% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
b2276 | No | Yes | Eliminate the Sewaren 138 kV bus by installing a new 230 kV bay at Sewaren 230 kV | 101 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
b2276.1 | No | Yes | Convert the two 138 kV circuits from Sewaren - Metuchen to 230 kV circuits including Lafayettte and Woodbridge substation |  | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
b2276.2 | No | Yes | Reconfigure the Metuchen 230 kV station to accommodate the two converted circuits |  | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
b2436.10_DFAX_Allocation | No | No | Convert the Bergen - Marion 138 kV path to double circuit 345 kV and associated substation upgrades. (50% of allocation based on DFAX) | 77.165 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 98.76% | 0% | 0.24% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0.96% | 0.04% | 0%
b2436.10_Load_Ratio_Share_Allocation | Yes | No | Convert the Bergen - Marion 138 kV path to double circuit 345 kV and associated substation upgrades. (50% of allocation based on load ratio share) | 77.165 | PSEG | 1.539% | 15.41% | 5.904% | 7.804% | 4.204% | 12.45% | 0% | 2.022% | 3.228% | 1.7% | 12.49% | 2.444% | 0.2011% | 2.162% | 0.2011% | 3.56% | 1.78% | 0.4224% | 5.21% | 1.931% | 4.003% | 5.079% | 6.004% | 0.2514% | 0%
b2436.21_DFAX_Allocation | No | No | Convert the Marion - Bayonne "L" 138 kV circuit to 345 kV and any associated substation upgrades. (50% of allocation based on DFAX) | 33.91 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0.6% | 0% | 99.4% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
b2436.21_Load_Ratio_Share_Allocation | Yes | No | Convert the Marion - Bayonne "L" 138 kV circuit to 345 kV and any associated substation upgrades. (50% of allocation based on load ratio share) | 33.91 | PSEG | 1.539% | 15.41% | 5.904% | 7.804% | 4.204% | 12.45% | 0% | 2.022% | 3.228% | 1.7% | 12.49% | 2.444% | 0.2011% | 2.162% | 0.2011% | 3.56% | 1.78% | 0.4224% | 5.21% | 1.931% | 4.003% | 5.079% | 6.004% | 0.2514% | 0%
b2436.22_DFAX_Allocation | No | No | Convert the Marion - Bayonne "C" 138 kV circuit to 345 kV and any associated substation upgrades. (50% of allocation based on DFAX) | 28.32 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0.597% | 0% | 99.4% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
b2436.22_Load_Ratio_Share_Allocation | Yes | No | Convert the Marion - Bayonne "C" 138 kV circuit to 345 kV and any associated substation upgrades. (50% of allocation based on load ratio share) | 28.32 | PSEG | 1.539% | 15.41% | 5.904% | 7.804% | 4.204% | 12.45% | 0% | 2.022% | 3.228% | 1.7% | 12.49% | 2.444% | 0.2011% | 2.162% | 0.2011% | 3.56% | 1.78% | 0.4224% | 5.21% | 1.931% | 4.003% | 5.079% | 6.004% | 0.2514% | 0%
b2436.33 | No | No | Construct a new Bayway - Bayonne 345 kV circuit and any associated substation upgrades | 160.38 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0.3% | 0% | 99.7% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
b2436.34 | No | No | Construct a new North Ave - Bayonne 345 kV circuit and any associated substation upgrades | 139.77 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0.33% | 0% | 99.67% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
b2436.50 | No | No | Construct a new North Ave - Airport 345 kV circuit and any associated substation upgrades | 80.43 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0.56% | 0% | 99.44% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
b2436.60 | No | No | Relocate the underground portion of North Ave - Linden "T" 138 kV circuit to Bayway, convert it to 345 kV, and any associated substation upgrades | 52.75 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0.16% | 0% | 99.84% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
b2436.70 | No | No | Construct a new Airport - Bayway 345 kV circuit and any associated substation upgrades | 102 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0.08% | 0% | 99.92% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
b2436.81_DFAX_Allocation | No | No | Relocate the overhead portion of Linden - North Ave "T" 138 kV circuit to Bayway, convert it to 345 kV, and any associated substation upgrades. (50% of allocation based on DFAX) | 24.135 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0.02% | 0% | 7.57% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 88.9% | 3.51% | 0%
b2436.81_Load_Ratio_Share_Allocation | Yes | No | Relocate the overhead portion of Linden - North Ave "T" 138 kV circuit to Bayway, convert it to 345 kV, and any associated substation upgrades. (50% of allocation based on load ratio share) | 24.135 | PSEG | 1.539% | 15.41% | 5.904% | 7.804% | 4.204% | 12.45% | 0% | 2.022% | 3.228% | 1.7% | 12.49% | 2.444% | 0.2011% | 2.162% | 0.2011% | 3.56% | 1.78% | 0.4224% | 5.21% | 1.931% | 4.003% | 5.079% | 6.004% | 0.2514% | 0%
b2436.83_DFAX_Allocation | No | No | Convert the Bayway - Linden "Z" 138 kV circuit to 345 kV and any associated substation upgrades. (50% of allocation based on DFAX) | 24.135 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0.02% | 0% | 7.56% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 88.91% | 3.51% | 0%
b2436.83_Load_Ratio_Share_Allocation | Yes | No | Convert the Bayway - Linden "Z" 138 kV circuit to 345 kV and any associated substation upgrades. (50% of allocation based on load ratio share) | 24.135 | PSEG | 1.539% | 15.41% | 5.904% | 7.804% | 4.204% | 12.45% | 0% | 2.022% | 3.228% | 1.7% | 12.49% | 2.444% | 0.2011% | 2.162% | 0.2011% | 3.56% | 1.78% | 0.4224% | 5.21% | 1.931% | 4.003% | 5.079% | 6.004% | 0.2514% | 0%
b2436.84_DFAX_Allocation | No | No | Convert the Bayway - Linden "W" 138 kV circuit to 345 kV and any associated substation upgrades. (50% of allocation based on DFAX) | 23.845 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0.02% | 0% | 99.98% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
b2436.84_Load_Ratio_Share_Allocation | Yes | No | Convert the Bayway - Linden "W" 138 kV circuit to 345 kV and any associated substation upgrades. (50% of allocation based on load ratio share) | 23.845 | PSEG | 1.539% | 15.41% | 5.904% | 7.804% | 4.204% | 12.45% | 0% | 2.022% | 3.228% | 1.7% | 12.49% | 2.444% | 0.2011% | 2.162% | 0.2011% | 3.56% | 1.78% | 0.4224% | 5.21% | 1.931% | 4.003% | 5.079% | 6.004% | 0.2514% | 0%
b2436.85_DFAX_Allocation | No | No | Convert the Bayway - Linden "M" 138 kV circuit to 345 kV and any associated substation upgrades. (50% of allocation based on DFAX) | 23.845 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0.02% | 0% | 99.98% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
b2436.85_Load_Ratio_Share_Allocation | Yes | No | Convert the Bayway - Linden "M" 138 kV circuit to 345 kV and any associated substation upgrades. (50% of allocation based on load ratio share) | 23.845 | PSEG | 1.539% | 15.41% | 5.904% | 7.804% | 4.204% | 12.45% | 0% | 2.022% | 3.228% | 1.7% | 12.49% | 2.444% | 0.2011% | 2.162% | 0.2011% | 3.56% | 1.78% | 0.4224% | 5.21% | 1.931% | 4.003% | 5.079% | 6.004% | 0.2514% | 0%
b2436.90_DFAX_Allocation | No | No | Relocate Farragut - Hudson "B" and "C" 345 kV circuits to Marion 345 kV and any associated substation upgrades. (50% of allocation based on DFAX) | 19.125 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 5.83% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 90.6% | 3.57% | 0%
b2436.90_Load_Ratio_Share_Allocation | Yes | No | Relocate Farragut - Hudson "B" and "C" 345 kV circuits to Marion 345 kV and any associated substation upgrades. (50% of allocation based on load ratio share) | 19.125 | PSEG | 1.539% | 15.41% | 5.904% | 7.804% | 4.204% | 12.45% | 0% | 2.022% | 3.228% | 1.7% | 12.49% | 2.444% | 0.2011% | 2.162% | 0.2011% | 3.56% | 1.78% | 0.4224% | 5.21% | 1.931% | 4.003% | 5.079% | 6.004% | 0.2514% | 0%
b2436.91 | No | Yes | Relocate the Hudson 2 generation to inject into the 345 kV at Marion and any associated upgrades | 23.92 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0%
b2437.10 | No | No | New Bergen 345/230 kV transformer and any associated substation upgrades | 29.72 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 94.91% | 0% | 1.06% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 3.88% | 0.15% | 0%
b2437.11 | No | Yes | New Bergen 345/138 kV transformer #1 and any associated substation upgrades | 29.72 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
b2437.20 | No | No | New Bayway 345/138 kV transformer #1 and any associated substation upgrades | 15.27 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0.35% | 0% | 3.28% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 92.71% | 3.66% | 0%
b2437.21 | No | No | New Bayway 345/138 kV transformer #2 and any associated substation upgrades | 15.27 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0.17% | 0% | 2.92% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 93.23% | 3.68% | 0%
b2437.30 | No | No | New Linden 345/230 kV transformer and any associated substation upgrades | 24.91 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0.25% | 0% | 10.53% | 0% | 0% | 0.05% | 0% | 0% | 0% | 0% | 85.78% | 3.39% | 0%
b2437.33 | No | Yes | New Bayonne 345/69 kV transformer and any associated substation upgrades | 16.9 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0%