## 2011-2012 Parameters
2011-2012 RPM Base Residual Auction Planning Parameters |  |  |  | Updated 12/2/2009
Update shows newly calculated Post-Clearing BRA Credit Rates as a result of FERC Order ER10-15-000
Changes in input data are shown in red.
The CONE value is changed to the EMAAC value used for the transition years.
FRR load and RPM Non-Zone Load are reduced in Dominion zone.
CETL study included the 502 Junction - Loudoun line (TrAIL Project) approved by the Board.
Consistent with Duquesne Light Co.'s notification to FERC and to PJM, the Duquesne zone load was removed from the PJM RTO.
RTO
Installed Reserve Margin (IRM) | 15.5%
Pool-Wide Average EFORd | 6.21%
Forecast Pool Requirement (FPR) | 1.0833
Demand Resoiurce (DR) Factor | 0.955
Preliminary Forecast Peak Load | 142390
Pre-Clearing BRA Credit Rate, $/MW | 43095
Post-Clearing BRA Credit Rate, $/MW | 9662
Forecast ILR | 1540.6
ILR Obligation | 1593.8
Reliability Requirement not Adjusted for FRR | 154251.1
FRR Preliminary Obligation | 23592.4
FRR Demand Resources, UCAP Value | 0
Cost of New Entry (CONE), $/MW-Year | 72207
Energy & Ancillary Services, $/MW-Year | 13368
Net CONE, $/MW-Day | 160.76
Point (a) UCAP Price, $/MW-Day | 257.11
Point (b) UCAP Price, $/MW-Day | 171.4
Point (c) UCAP Price, $/MW-Day | 34.28
Point (a) UCAP Level Adjusted for FRR, MW | 125671.2
Point (b) UCAP Level Adjusted for FRR, MW | 130196.1
Point (c) UCAP Level Adjusted for FRR, MW | 134721.1
LDA CETO/CETL Data; Zonal Peak Loads and Base Zonal FRR Scaling Factors
LDA with CETO/CETL shown with an asterisk (*) has adequate internal resources to meet the reliability criterion.
LDA/Zone | CETO | CETL | 2011/2012 Preliminary Zonal Peak Load Forecast | 2007 W/N Zonal Coincident Peak Loads | Base Zonal FRR Scaling Factor | Forecast ILR
RTO | NA | NA | 142390 | 133527 | NA | 1540.6
AE | 1920 | >2112 | 3059 | 2660 | 1.15 | 1.4
AEP | * | * | 24121 | 23082 | 1.045 | 178.2
APS | * | * | 8615 | 8290 | 1.0392 | 32.1
BGE | 4950 | >5445 | 7347 | 6990 | 1.0511 | 233.2
COMED | 3520 | >3872 | 24140 | 22220 | 1.0864 | 386.4
DAYTON | 810 | >891 | 3545 | 3390 | 1.0457 | 1.9
DOM | 1980 | >2178 | 19783 | 18360 | 1.0775 | 3.6
DPL | 1610 | 1737 | 4284 | 3980 | 1.0764 | 54.7
DPLSOUTH | 1710 | 1857 | NA | NA | NA | NA
JCPL | 4400 | >4840 | 6671 | 6140 | 1.0865 | 60.6
METED | 660 | >726 | 2974 | 2770 | 1.0736 | 27.3
PECO | 2410 | >2651 | 8850 | 8320 | 1.0637 | 108.3
PENLC | 620 | >682 | 2830 | 2690 | 1.052 | 4
PEPCO | 3500 | >3850 | 7076 | 6690 | 1.0577 | 58.5
PL (incl. UGI) | 1090 | >1199 | 7552 | 7105 | 1.0629 | 258
PS | 6050 | >6655 | 11108 | 10430 | 1.065 | 132.4
PSNORTH | 2880 | >3168 | NA | NA | NA | NA
RECO | NA | NA | 435 | 410 | 1.061 | 0
EMAAC | 8070 | 8804 | NA | NA | NA | NA
SWMAAC | 6270 | >6897 | NA | NA | NA | NA
Western MAAC | * | * | NA | NA | NA | NA
MAAC | 6890 | >7579 | NA | NA | NA | NA
Western PJM | * | * | NA | NA | NA | NA