## Sheet1
Updated - August 18, 2014
ID | Requester | Action Item | Response
1 | Ed Tatum | Were the coal units that were off on January 7 back on for the winter storm? | Response contained in presentation with August 18, 2014 Meeting Materials for Capacity Performance - Slide 3
2 | Mike Borgati | For the gas interruption outages, what percent were called outside of their DA awards? | Response contained in presentation with August 18, 2014 Meeting Materials for Capacity Performance - Slide 4
3 | Ed Tatum | Please add percentage on slide 6 for January 24 and 28. | Response contained in presentation with August 18, 2014 Meeting Materials for Capacity Performance - Slide 5
4 | Susan Bruce | Of the January outages, how much was from units that are planning to retire? | Response contained in presentation with August 18, 2014 Meeting Materials for Capacity Performance - Slide 6
5 | Jim Benchek | Are the outages from all generators or just capacity resources? | Response contained in presentation with August 18, 2014 Meeting Materials for Capacity Performance - Slide 7
6 | Susan Bruce Will Burns | Was generator location important to outage numbers? For instance, a particular LDA or behind a certain LDC? | Response contained in presentation with August 18, 2014 Meeting Materials for Capacity Performance - Slides 8 and 9
7 | Jim Wilson | Please split outage numbers based on energy or capacity resources. | Response contained in presentation with August 18, 2014 Meeting Materials for Capacity Performance - Slide 7
8 | Will Burns | Slide 6 - are these chronically curtailed units that were on forced outage during January? Or, is it related to specific pipeline issues. | Work in progress
9 | Will Burns | Please provide more data on outages compared to temperatures. | Work in progress (question needs clarification)
10 | Ed Tatum | Can we see wind chill and outage by primary mover? | Work in progress
11 | Dan Griffiths | What does it take to improve physical performance at colder temps and what is the associated capital cost? | To be considered for further documentation or discussion
12 | Jim Benchek | Is outage performance at cold temperatures better when the market incentives exist or was in demand during the time? | Work in progress
13 | Susan Bruce | Is the generator performance also worse in hotter weather? (bathtub curve) | Work in progress
14 | Jim Wilson | Is the wind chill and outage graph showing bad performance on just a few days? Can you show the cluster of days? | Response contained in presentation with August 18, 2014 Meeting Materials for Capacity Performance - Slide 10
15 | Ed Tatum | Part II report, please add more verbiage about the wind chill and forced outage chart? | To be considered for further documentation or discussion
16 | Ed Tatum | Do we have similar information for other zones? Can we see the wind chill and forced outage charts? | Work in progress.
17 | Brock Ondayko Jim Wilson | Are outages higher in years with lower capacity prices? Is there correlation between EFORd and the prices? | Response contained in presentation with August 18, 2014 Meeting Materials for Capacity Performance - Slide 11
18 | Jim Wilson | Please elaborate on the analysis demonstrating that January was a 1 in 10 event. | Response contained in presentation with August 18, 2014 Meeting Materials for Capacity Performance - Slides 12 and 13
19 | Dan Griffiths | slide 9 - Please make it more clear that this is excess outage above expected outages. | Work in progress
20 | Jim Wilson | Remove the weather-outages units from the cumulative prob table so they are not double counted | Response contained in presentation with August 18, 2014 Meeting Materials for Capacity Performance - Slide 14
21 | Bruce Campbell | How did wind perform in the winter? | Response contained in presentation with August 18, 2014 Meeting Materials for Capacity Performance - Slide 15
22 | Ed Tatum | Part II report, please add more verbiage about how a 15% outage over the expected outage in winter translates to a loss of load on a peak day. | To be considered for further documentation or discussion
23 | Ed Tatum Marji Philips | Please further explain the 15.7% and 37.3% reserve margin graph. | Response contained in presentation with August 18, 2014 Meeting Materials for Capacity Performance - Slide 16
24 | Jim Wilson | Please detail what resources were included for 2015 and 2016 comparison on slide 9. | Response contained in presentation with August 18, 2014 Meeting Materials for Capacity Performance - Slide 17
25 | Will Burns | Please share the differences in capacity between winter 2015 and 2016. What are your CIR assumptions. | Response contained in presentation with August 18, 2014 Meeting Materials for Capacity Performance - Slide 18
26 | Susan Bruce | How much of the existing generation in PJM is dual fuel? | Response contained in presentation with August 18, 2014 Meeting Materials for Capacity Performance - Slide 18
27 | Jim Wilson | Please increase summer capacity to push LOLE less than 0.1 as a sensitivity analysis and see how much that impacts the winter requirement. | To be considered for further documentation or discussion
28 | Jim Wilson | In the final report, please be clear if the potential loss of load is about the model or the real world. | Real World
29 | Katie Guerry | How much generation from the queue is ultimately built on a MW-basis and a generator-basis by primary mover (fuel-type)? | Response contained in presentation with August 18, 2014 Meeting Materials for Capacity Performance - Slides 19 and 20
30 | Katie Guerry | If a planned generator cleared in a BRA, how much of the queue is that? (slides 11&12) | Response contained in presentation with August 18, 2014 Meeting Materials for Capacity Performance - Slides 21 and 22
31 | Jung Suh | What percent or order of magnitude of the uplift from January was caused by gas/electric day coordination? | A significant portion of the uplift was related to coordination between gas and electric industries.
32 | Jim Wilson | Lack of compensation for resource flexibility. Please be more clear in the report and add further detail. | To be considered for further documentation or discussion
33 | Eric Matheson | Please provide further education regarding the current ability to recover staffing costs. | To be considered for further documentation or discussion
34 | Bruce Campbell | Please provide additional information about EFORp and how it is utilized. | Response contained in presentation with August 18, 2014 Meeting Materials for Capacity Performance - Slides 24 through 39
35 | Ed Tatum | Please include implementation explanations for any potential proposed solutions. | To be considered for further documentation or discussion
36 | Walter Hall | Slide 13 - please provide a thorough discussion of the low probability and high reliability impact events which costs are not permitted recovery under current market rules. | To be considered for further documentation or discussion
37 | Marji Philips | Interested if performance results vary based on LDA versus rest of RTO. | To be considered for further documentation or discussion
38 | Susan Bruce | What protections exist against the exercise of market power including portfolio effects? | To be considered for further documentation or discussion
39 | Susan Bruce | Please bound the potential impacts on end-use customer costs - both incentives and penalties. | To be considered for further documentation or discussion
40 | Michelle Gardner | Slide 9 - what did PJM project with regard to wind resources and its performance for 2015 and 2016? | Response contained in presentation with August 18, 2014 Meeting Materials for Capacity Performance - Slide 41
41 | Jim Wilson | Please ensure that the discussion of incentives includes the impacts of portfolio effects. | To be considered for further documentation or discussion
42 | Jim Wilson | Would like the generator survey to be updated with a follow-up based on the current thinking. | To be considered for further documentation or discussion
43 | Tom Rutigliano | Slide 9 & 10 - Please provide more intraday information. (energy storage related) | To be considered for further documentation or discussion
44 | Mike Borgati | Slide 3 - What was the deviation between peak load and DA load? | Response contained in presentation with August 18, 2014 Meeting Materials for Capacity Performance - Slide 40
45 | Rene Demuynck | Slide 10 - Please indicate how the GADS-filed unit ratings for the winter months posted by generators and reflected in the 190,000 MW IRM line. | Response contained in presentation with August 18, 2014 Meeting Materials for Capacity Performance - Slide 41
46 | John Farber | What metrics will PJM develop in order to determine the cost effectiveness to customers of proposals to increase capacity performance? | To be considered for further documentation or discussion
47 | John Farber | What is the justification for the continued treatment in the RPM of all capacity as homogenous resources when significant differences in the capability to respond to peak period requirements has been identified? | To be considered for further documentation or discussion
48 | John Farber | What non-generation options can PJM pursue to mitigate disruptions during peak periods? E.g., thermal storage capacity, development of demand response during winter peak periods, etc. | To be considered for further documentation or discussion
49 | Joe Kerecman | Please provide, for the past two years, the hours per month for Hot Weather Alerts, Cold Weather Alerts and Max Emergency Alerts. | Response contained in presentation with August 18, 2014 Meeting Materials for Capacity Performance - Slides 42 through 44
50
51
52
53
54
55