## Total Dispatch Cost Calculation
Table 1 - Daily Resource Parameters and Cost
Resource offers or Schedules | Maximum Run Time (hrs) | Minimum Run Time (hrs) | Daily Cold Start Up cost ($) | Daily No Load Cost ($/hr)
Price Schedule | 24 | 24 | 12000 | 1200
Price PLS Schedule | 24 | 5 | 13000 | 1300
Cost Schedule 1 | 24 | 3 | 14000 | 1400
Cost Schedule 2 | 24 | 4 | 18000 | 4000
Table 2 - Incremental Energy Offers
| HE1-HE10,HE23-HE24 |  | HE11-HE22 |  |  |  | HE1-HE10,HE23-HE24 |  | HE11-HE22 |  |  |  | HE1-HE10,HE23-HE24 |  | HE11-HE22 |  |  | HE1-HE10,HE23-HE24 |  | HE11-HE22 | [10 empty] | price Schedule | [6 empty] | Price PLS schedule | [5 empty] | Cost Schedule 1 | [5 empty] | Cost Schedule 2
Price Schedule | MW | Price ($/MWh) | MW | Price ($/MWh) |  | PricePLS Schedule | MW | Price ($/MWh) | MW | Price ($/MWh) |  | Cost Schedule 1 | MW | Price ($/MWh) | MW | Price ($/MWh) | Cost Schedule 2 | MW | Price ($/MWh) | MW | Price ($/MWh) | [9 empty] | MW | $/MWh | segment Cost | MW | $/MWh | segment Cost |  | MW | $/MWh | segment Cost | MW | $/MWh | segment Cost | MW | $/MWh | segment Cost | MW | $/MWh | segment Cost | MW | $/MWh | segment Cost | MW | $/MWh | segment Cost
| 5 | 15 | 5 | 20 |  |  | 5 | 15 | 5 | 20 |  |  | 5 | 20 | 5 | 20 |  | 5 | 15 | 5 | 20 | [9 empty] | 5 | 15 | 75 | 5 | 20 | 100 |  | 5 | 15 | 75 | 5 | 20 | 100 | 5 | 20 | 100 | 5 | 20 | 100 | 5 | 15 | 75 | 5 | 20 | 100
| 80 | 16 | 80 | 21 |  |  | 80 | 16 | 80 | 75 |  |  | 80 | 21 | 80 | 40 |  | 80 | 16 | 80 | 21 | [9 empty] | 80 | 16 | 1200 | 80 | 21 | 1575 |  | 80 | 16 | 1200 | 80 | 75 | 5625 | 80 | 21 | 1575 | 80 | 40 | 3000 | 80 | 16 | 1200 | 80 | 21 | 1575
| 225 | 17 | 225 | 22 |  |  | 225 | 17 | 225 | 100 |  |  | 225 | 22 | 225 | 41 |  | 225 | 17 | 225 | 22 | [9 empty] | 225 | 17 | 2465 | 225 | 22 | 3190 |  | 225 | 17 | 2465 | 225 | 100 | 14500 | 225 | 22 | 3190 | 225 | 41 | 5945 | 225 | 17 | 2465 | 225 | 22 | 3190
| 250 | 18 | 250 | 25 |  |  | 250 | 18 | 250 | 150 |  |  | 250 | 23 | 250 | 42 |  | 250 | 18 | 250 | 25 | [9 empty] | 250 | 18 | 450 | 250 | 25 | 625 |  | 250 | 18 | 450 | 250 | 150 | 3750 | 250 | 23 | 575 | 250 | 42 | 1050 | 250 | 18 | 450 | 250 | 25 | 625
Table 3 - Hourly Dispatch Cost
1050
Hour | Price Schedule |  |  |  | Price PLS Schedule |  |  |  | Cost Schedule 1 |  |  |  | Cost Schedule 2 |  |  |  | Final Dispatch MW |  | Price Schedule |  |  | Price PLS Schedule |  |  | Cost Schedule 1 |  |  | Cost Schedule 2
| EcoMin (MW) | EcoMax (MW) | No-Load Cost ($/hr) | Cold-Start Up Cost ($) | EcoMin (MW) | EcoMax (MW) | No-Load Cost ($/hr) | Cold-Start Up Cost ($) | EcoMin (MW) | EcoMax (MW) | No-Load Cost ($/hr) | Cold-Start Up Cost ($) | EcoMin (MW) | EcoMax (MW) | No-Load Cost ($/hr) | Cold-Start Up Cost ($) |  |  | Solution Option 4(A) & 4(D):Dispatch Cost ($) @EcoMin | Solution Option 4(B) & 4(E): Dispatch Cost ($)@EcoMax | Solution Option 4 (C ) & 4(F): Dispatch Cost ($)@avg(ecomin,ecomax) | Solution Option 4(A) & 4(D):Dispatch Cost ($) @EcoMin | Solution Option 4(B) & 4(E): Dispatch Cost ($)@EcoMax | Solution Option 4 (C ) & 4(F): Dispatch Cost ($)@avg(ecomin,ecomax) | Solution Option 4(A) & 4(D):Dispatch Cost ($) @EcoMin | Solution Option 4(B) & 4(E): Dispatch Cost ($)@EcoMax | Solution Option 4 (C ) & 4(F): Dispatch Cost ($)@avg(ecomin,ecomax) | Solution Option 4(A) & 4(D):Dispatch Cost ($) @EcoMin | Solution Option 4(B) & 4(E): Dispatch Cost ($)@EcoMax | Solution Option 4 (C ) & 4(F): Dispatch Cost ($)@avg(ecomin,ecomax) | final MW hourly cost (price schedule) | final MW hourly cost (price PLS schedule) | final MW hourly cost (Cost Schedule 1 ) | final MW hourly cost (cost schedule 2) | startup cost price schedule | startup cost price PLS schedule | startup cost cost schedule 1 | startup cost cost schedule 2 | start up cost incurred?
HE1 | 80 | 250 | 1200 | 12000 | 80 | 250 | 1300 | 13000 | 80 | 250 | 1400 | 14000 | 80 | 250 | 4000 | 18000 | 0 |  | 2475 | 5390 | 3920 | 2575 | 5490 | 4020 | 3075 | 6840 | 4945 | 5275 | 8190 | 6720 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE2 | 80 | 250 | 1200 | 12000 | 80 | 250 | 1300 | 13000 | 80 | 250 | 1400 | 14000 | 80 | 250 | 4000 | 18000 | 0 |  | 2475 | 5390 | 3920 | 2575 | 5490 | 4020 | 3075 | 6840 | 4945 | 5275 | 8190 | 6720 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE3 | 80 | 250 | 1200 | 12000 | 80 | 250 | 1300 | 13000 | 80 | 250 | 1400 | 14000 | 80 | 250 | 4000 | 18000 | 0 |  | 2475 | 5390 | 3920 | 2575 | 5490 | 4020 | 3075 | 6840 | 4945 | 5275 | 8190 | 6720 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE4 | 80 | 250 | 1200 | 12000 | 80 | 250 | 1300 | 13000 | 80 | 250 | 1400 | 14000 | 80 | 250 | 4000 | 18000 | 0 |  | 2475 | 5390 | 3920 | 2575 | 5490 | 4020 | 3075 | 6840 | 4945 | 5275 | 8190 | 6720 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE5 | 80 | 250 | 1200 | 12000 | 80 | 250 | 1300 | 13000 | 80 | 250 | 1400 | 14000 | 80 | 250 | 4000 | 18000 | 150 |  | 2475 | 5390 | 3920 | 2575 | 5490 | 4020 | 3075 | 6840 | 4945 | 5275 | 8190 | 6720 | 3665 | 3765 | 4615 | 6465 | 12000 | 13000 | 14000 | 18000 | 1
HE6 | 80 | 250 | 1200 | 12000 | 80 | 250 | 1300 | 13000 | 80 | 250 | 1400 | 14000 | 80 | 250 | 4000 | 18000 | 150 |  | 2475 | 5390 | 3920 | 2575 | 5490 | 4020 | 3075 | 6840 | 4945 | 5275 | 8190 | 6720 | 3665 | 3765 | 4615 | 6465 | 0 | 0 | 0 | 0 | 0
HE7 | 80 | 250 | 1200 | 12000 | 80 | 250 | 1300 | 13000 | 80 | 250 | 1400 | 14000 | 80 | 250 | 4000 | 18000 | 150 |  | 2475 | 5390 | 3920 | 2575 | 5490 | 4020 | 3075 | 6840 | 4945 | 5275 | 8190 | 6720 | 3665 | 3765 | 4615 | 6465 | 0 | 0 | 0 | 0 | 0
HE8 | 80 | 250 | 1200 | 12000 | 80 | 250 | 1300 | 13000 | 80 | 250 | 1400 | 14000 | 80 | 250 | 4000 | 18000 | 150 |  | 2475 | 5390 | 3920 | 2575 | 5490 | 4020 | 3075 | 6840 | 4945 | 5275 | 8190 | 6720 | 3665 | 3765 | 4615 | 6465 | 0 | 0 | 0 | 0 | 0
HE9 | 80 | 250 | 1200 | 12000 | 80 | 250 | 1300 | 13000 | 80 | 250 | 1400 | 14000 | 80 | 250 | 4000 | 18000 | 150 |  | 2475 | 5390 | 3920 | 2575 | 5490 | 4020 | 3075 | 6840 | 4945 | 5275 | 8190 | 6720 | 3665 | 3765 | 4615 | 6465 | 0 | 0 | 0 | 0 | 0
HE10 | 80 | 250 | 1200 | 12000 | 80 | 250 | 1300 | 13000 | 80 | 250 | 1400 | 14000 | 80 | 250 | 4000 | 18000 | 150 |  | 2475 | 5390 | 3920 | 2575 | 5490 | 4020 | 3075 | 6840 | 4945 | 5275 | 8190 | 6720 | 3665 | 3765 | 4615 | 6465 | 0 | 0 | 0 | 0 | 0
HE11 | 80 | 250 | 1200 | 12000 | 80 | 250 | 1300 | 13000 | 80 | 250 | 1400 | 14000 | 80 | 250 | 4000 | 18000 | 150 |  | 2875 | 6690 | 4745 | 6925 | 23975 | 14225 | 4500 | 11495 | 7985 | 5675 | 9490 | 7545 | 4415 | 13925 | 7370 | 7215 | 0 | 0 | 0 | 0 | 0
HE12 | 80 | 250 | 1200 | 12000 | 80 | 250 | 1300 | 13000 | 80 | 250 | 1400 | 14000 | 80 | 250 | 4000 | 18000 | 150 |  | 2875 | 6690 | 4745 | 6925 | 23975 | 14225 | 4500 | 11495 | 7985 | 5675 | 9490 | 7545 | 4415 | 13925 | 7370 | 7215 | 0 | 0 | 0 | 0 | 0
HE13 | 80 | 250 | 1200 | 12000 | 80 | 250 | 1300 | 13000 | 80 | 250 | 1400 | 14000 | 80 | 250 | 4000 | 18000 | 150 |  | 2875 | 6690 | 4745 | 6925 | 23975 | 14225 | 4500 | 11495 | 7985 | 5675 | 9490 | 7545 | 4415 | 13925 | 7370 | 7215 | 0 | 0 | 0 | 0 | 0
HE14 | 80 | 250 | 1200 | 12000 | 80 | 250 | 1300 | 13000 | 80 | 250 | 1400 | 14000 | 80 | 250 | 4000 | 18000 | 150 |  | 2875 | 6690 | 4745 | 6925 | 23975 | 14225 | 4500 | 11495 | 7985 | 5675 | 9490 | 7545 | 4415 | 13925 | 7370 | 7215 | 0 | 0 | 0 | 0 | 0
HE15 | 80 | 250 | 1200 | 12000 | 80 | 250 | 1300 | 13000 | 80 | 250 | 1400 | 14000 | 80 | 250 | 4000 | 18000 | 150 |  | 2875 | 6690 | 4745 | 6925 | 23975 | 14225 | 4500 | 11495 | 7985 | 5675 | 9490 | 7545 | 4415 | 13925 | 7370 | 7215 | 0 | 0 | 0 | 0 | 0
HE16 | 80 | 250 | 1200 | 12000 | 80 | 250 | 1300 | 13000 | 80 | 250 | 1400 | 14000 | 80 | 250 | 4000 | 18000 | 150 |  | 2875 | 6690 | 4745 | 6925 | 23975 | 14225 | 4500 | 11495 | 7985 | 5675 | 9490 | 7545 | 4415 | 13925 | 7370 | 7215 | 0 | 0 | 0 | 0 | 0
HE17 | 80 | 250 | 1200 | 12000 | 80 | 250 | 1300 | 13000 | 80 | 250 | 1400 | 14000 | 80 | 250 | 4000 | 18000 | 150 |  | 2875 | 6690 | 4745 | 6925 | 23975 | 14225 | 4500 | 11495 | 7985 | 5675 | 9490 | 7545 | 4415 | 13925 | 7370 | 7215 | 0 | 0 | 0 | 0 | 0
HE18 | 80 | 250 | 1200 | 12000 | 80 | 250 | 1300 | 13000 | 80 | 250 | 1400 | 14000 | 80 | 250 | 4000 | 18000 | 150 |  | 2875 | 6690 | 4745 | 6925 | 23975 | 14225 | 4500 | 11495 | 7985 | 5675 | 9490 | 7545 | 4415 | 13925 | 7370 | 7215 | 0 | 0 | 0 | 0 | 0
HE19 | 80 | 250 | 1200 | 12000 | 80 | 250 | 1300 | 13000 | 80 | 250 | 1400 | 14000 | 80 | 250 | 4000 | 18000 | 150 |  | 2875 | 6690 | 4745 | 6925 | 23975 | 14225 | 4500 | 11495 | 7985 | 5675 | 9490 | 7545 | 4415 | 13925 | 7370 | 7215 | 0 | 0 | 0 | 0 | 0
HE20 | 80 | 250 | 1200 | 12000 | 80 | 250 | 1300 | 13000 | 80 | 250 | 1400 | 14000 | 80 | 250 | 4000 | 18000 | 150 |  | 2875 | 6690 | 4745 | 6925 | 23975 | 14225 | 4500 | 11495 | 7985 | 5675 | 9490 | 7545 | 4415 | 13925 | 7370 | 7215 | 0 | 0 | 0 | 0 | 0
HE21 | 80 | 250 | 1200 | 12000 | 80 | 250 | 1300 | 13000 | 80 | 250 | 1400 | 14000 | 80 | 250 | 4000 | 18000 | 150 |  | 2875 | 6690 | 4745 | 6925 | 23975 | 14225 | 4500 | 11495 | 7985 | 5675 | 9490 | 7545 | 4415 | 13925 | 7370 | 7215 | 0 | 0 | 0 | 0 | 0
HE22 | 80 | 250 | 1200 | 12000 | 80 | 250 | 1300 | 13000 | 80 | 250 | 1400 | 14000 | 80 | 250 | 4000 | 18000 | 150 |  | 2875 | 6690 | 4745 | 6925 | 23975 | 14225 | 4500 | 11495 | 7985 | 5675 | 9490 | 7545 | 4415 | 13925 | 7370 | 7215 | 0 | 0 | 0 | 0 | 0
HE23 | 80 | 250 | 1200 | 12000 | 80 | 250 | 1300 | 13000 | 80 | 250 | 1400 | 14000 | 80 | 250 | 4000 | 18000 | 150 |  | 2475 | 5390 | 3920 | 2575 | 5490 | 4020 | 3075 | 6840 | 4945 | 5275 | 8190 | 6720 | 3665 | 3765 | 4615 | 6465 | 0 | 0 | 0 | 0 | 0
HE24 | 80 | 250 | 1200 | 12000 | 80 | 250 | 1300 | 13000 | 80 | 250 | 1400 | 14000 | 80 | 250 | 4000 | 18000 | 150 |  | 2475 | 5390 | 3920 | 2575 | 5490 | 4020 | 3075 | 6840 | 4945 | 5275 | 8190 | 6720 | 3665 | 3765 | 4615 | 6465 | 0 | 0 | 0 | 0 | 0
[31 empty] | 82300 | 197220 | 125360 | 138300 | 12000 | 13000 | 14000 | 18000
Table 4 - Total Dispatch Cost
|  | Solution Option 4(A):Total Dispatch Cost over Min Run (largest values for equivalent hours of min run time) using EcoMin |  | Solution Option 4(B): Total Dispatch Cost over Min Run (largest values for equivalent hours of min run time)@EcoMax |  | Solution Option 4(C): Total Dispatch Cost over Min Run (largest values for equivalent hours of min run time)@average(EcoMin,EcoMax) |  | Solution Option 4(D): Total Dispatch Cost over maxrun time (largest values for equivalent hours of max run time) using EcoMin |  | Solution Option 4(E): Total Dispatch Cost over Max Run (largest values for equivalent hours of max run time)@EcoMax |  | Solution Option 4(F) :Total Dispatch Cost over Max Run (largest values for equivalent hours of max run time)@average(EcoMin,EcoMax) |  |  | Dispatch Cost based on Final Dispatch MW
Price Schedule |  | 76200 |  | 156960 |  | 115980 |  | 76200 |  | 156960 |  | 115980 |  |  | 94300
Price PLS Schedule |  | 47625 |  | 132875 |  | 84125 |  | 127000 |  | 366580 |  | 231940 |  |  | 210220
Cost Schedule 1 |  | 27500 |  | 48485 |  | 37955 |  | 104900 |  | 234020 |  | 169160 |  |  | 139360
Cost Schedule 2 |  | 40700 |  | 55960 |  | 48180 |  | 149400 |  | 230160 |  | 189180 |  |  | 156300