## Sheet1
Updated - August 01, 2014
Date Received | Submitted by | # | Question | Response | Posted
2014-06-14 | MD PSC | 1 | Please identify the increase in Gross CONE for the reference CT unit (GE Frame 7FA) in SWMAAC caused by PJM’s adoption of the Brattle recommendation that, due to constrained supply and transport on the Cove Point Natural Gas Pipeline, that a firm gas transportation contract is required to assure reliable service in SWMAAC. See PJM Preliminary Recommendations at p. 5, heading 2, bullet 2; The Brattle Group, Cost of New Entry Estimates for CT and CC Plants in PJM at p. 31 (May 15, 2014). | Brattle did not recommend that a firm gas transportation contract be included in the Gross CONE for the reference CT unit in SWMAAC. The Gross CONE for the reference CT unit for the CONE area that contains SWMAAC zones (CONE Area 2) assumes dual-fuel capability. PJM recommends gross CONE values for the reference CT to include dual-fuel capability in all CONE areas and further recommends continued use of the reference CT as the reference resource used in the VRR curve determination. The section and pages referred to in the question are in regards to the reference CC unit. For the reference CC, Brattle recommends that a firm gas transportation contract be assumed in the Gross CONE for the SWMAAC CONE Area and that firm transportation avoids the need for and cost of duel fuel capability assumed for the CC in the other CONE Areas. The firm gas transportation assumption adds $11,000/MW-year to the CONE for CCs in SWMAAC but avoids the incremental cost of $5,600/MW-year associated with dual-fuel capability so the net impact of the firm gas transportation assumption on the gross CONE of the CC in SWMAAC is $5,400/MW-year. (see sections II.C.5 and IV.A.5 of Brattle CONE report) There are currently 2 combined cycle facilities in SWMAAC with CPCN applications before the MD PSC in cases 9280 and 9297 and in both cases the combined cycle facilities have opted not to use oil back-up which leads PJM to adopt the Brattle recommendation that firm gas transportation is required for CC units in SWMAAC. To reiterate, PJM recommends continued use of the CT as the reference resource for VRR curve purposes therefore the firm gas transportation assumption for CCs in SWMAAC has no effect on the VRR curve for SWMAAC under PJM preliminary recommendations | Yes: 6/30 CSTF meeting materials
2014-06-14 | MD PSC | 2 | Please describe all analyses done and provide all work papers of Brattle or PJM including the rationale and criteria used to identify constrained natural gas supply and transportation pipeline segments throughout the PJM RTO and MAAC. If no such analyses were performed other than as respects SWMAAC, please explain why the analysis was limited to, or focused solely on, SWMAAC? | The gas pipeline serving the part of SWMAAC identified for the reference plants is Dominion Cove Point (DCP) which, based on information from shippers, is capacity constrained and availability of interruptible service has been unreliable and inflexible. DCP is fully subscribed so in order to ensure gas deliverability it will be necessary for new CC to pay for firm transportation to expand pipeline capability to ensure deliverability of gas. To at least partially address this concern, it has been assumed that new CC plants in this area will sign up for firm transportation on DCP. This assumption largely eliminates the value of dual-fuel capability therefore dual-fuel capability was not assumed in this CONE area as it was in the other CONE areas. Again, as mentioned above, there are currently 2 combined cycle facilities in SWMAAC with CPCN applications before the MD PSC in cases 9280 and 9297 and in both cases the combined cycle facilities have opted not to use oil back-up which leads PJM to adopt the Brattle recommendation that firm gas transportation is required for CC units in SWMAAC. Brattle has not received similar information regarding operational issues of pipelines in other areas of PJM and thus have not completed any additional analysis concerning firm transportation contracts in other CONE areas. | Yes: 6/30 CSTF meeting materials
2014-06-14 | MD PSC | 3 | How and in what magnitude would Gross CONE in SWMAAC change if duel fuel capacity rather than firm gas transportation contracts were relied upon to provide assurance of service during natural gas supply or transport shortages? Why has PJM continued to require a firm gas transportation contract for the reference CT unit though Brattle rejects such a contract for CT units as not cost effective. See PJM Preliminary Recommendations at p. 5, heading 2, bullet 2; The Brattle Group, Cost of New Entry Estimates for CT and CC Plants in PJM at p. 14 (May 15, 2014). | See response to #1 On page 14:”The incremental cost is approximately $22 million for the CC and $24 million for the CT (in 2014 dollars), including equipment, labor, and materials, indirect costs, and fuel inventory. That contributes approximately $9,500/MW-year to the CONE for the CT and $5,600/MW-year for the CC (in 2018 dollars and in level-nominal terms).” | Yes: 6/30 CSTF meeting materials
2014-06-14 | MD PSC | 4 | How would changes in Gross CONE in SWMAAC attributable to PJM’s assumption respecting dual fuel capability or firm natural gas contracting as described above, affect the SWMAAC VRR curve and the magnitude and cost of generation resources procured to provide reliable electric service in SWMAAC? | See response to #1 | Yes: 6/30 CSTF meeting materials
2014-06-14 | MD PSC | 5 | Please provide all data and work papers upon which Brattle and/or PJM rely in asserting that property taxes in SWMAAC are higher than in other regions of PJM, including particularly Eastern MAAC and Rest of RTO. See The Brattle Group, Cost of New Entry Estimates for CT and CC Plants in PJM at p. iv, 28-30, 33-34 (May 15, 2014). • Please explain fully how Brattle calculated the $5.3 million and the $9.9 million shown for Property Taxes as an O & M Cost in Tables 23 & 24 of the Report, including separate identification of all separate items or components contributing to that cost. • Please provide a similar explanation for other total tax costs for other PJM regions in these tables. | The basis of the property tax values for each CONE area of Tables 23 and 24 of the Brattle report are described fully in section IV.A.3 of the Brattle CONE report. As explained in this section, the main driver behind higher property taxes for CONE areas that include Maryland, Ohio and Virginia is that taxes in these states are based on all property, not just land and building. Maryland tax rates estimated as the sum of county and state rates in Charles County and Prince George’s County in 2013-2014. Data obtained from Maryland Department of Assessment & Taxation website: http://www.dat.state.md.us/sdatweb/taxrate.html personal tax rate in MD increases tax expense Per Table 21, sources: [2d] Md. Tax-Property Code Ann. 7-237 [2e] Maryland Depreciation Regulation Chapter 18, Subtitle 03, Chapter 01, Depreciation .02B(2). Phone conversation with State Department of Assessments & Taxation in June 2012. | Yes: 6/30 CSTF meeting materials
2014-06-14 | MD PSC | 6 | Please provide all labor cost data for SWMAAC relied upon in Brattle’s 2011 Second Triennial Review Report and in this Third Report dated 2014. Identify the comparable costs of union and non-union labor in the two Reports and any data relied upon by Brattle and/or PJM to demonstrate greater unionization of labor or use of unionized labor in SWMAAC in 2014 as compared to 2011. Please identify where in Brattle’s 2011 Report that Brattle” assumed strictly non-union labor in the 2011 Report and provided its explanation in support of that decision. See The Brattle Group, Cost of New Entry Estimates for CT and CC Plants in PJM at p. iv, vi, 6, 17-18, (May 15, 2014). a) Please explain why the SWMAAC Cone Area Labor Pool excludes Baltimore, Maryland; other northern Maryland cities and Delmarva; and is restricted only to Washington, DC; Annapolis, MD and Alexandria, VA. b) At page 17 of its Report, Brattle states that “labor rates in this analysis do not reflect a specific assumption of whether union or non-union labor is utilized”, but rather rely upon “a survey of prevalent wages in each region in 2014”. Please provide access to or a copy of this survey. This new approach is stated to provide “a better representation of the labor force that will include labor from both pools”. Employing the data provided in response to this data request, please state fully Brattle’s basis for this belief. | Craft labor rates used to prepare capital cost estimates in the report were obtained from the publication “RS Means Labor Rates for the Construction Industry”, 2014 edition. Costs have been added to the rates to cover social security, workmen’s compensation, federal and state unemployment insurance. The resulting burdened craft rates were used to develop typical crew rates applicable to the task being performed. Different tasks require different skilled labor crafts and therefore require a different crew makeup. A crew is a composition of various crafts by a certain percentage of participation to perform a particular task. These crew rates include additional allowances to cover other costs (i.e. expendables, small tools, show up time, working foreman, general liability), construction equipment including cranes, lifts, other rentals, and construction site overhead indirect costs. Craft labor rates used for SWMAAC were the average of rates for the cities of Washington, D.C., Annapolis, MD, and Alexandria, VA. These cities were chosen as representative of the labor costs applicable to projects in the area around Waldorf, MD, including portions of Charles and Prince George’s counties. This area was chosen as the basis for SWMAAC cost estimates, as described on page 4 of the report. As stated in RS Means Labor Rates for the Construction Industry, the wage rates “have been compiled and updated after careful checking and cross checking of the wage rates submitted by local unions and employer associations in each city. Local prevailing or Davis-Bacon wage rates are used when union wage rates are not available. These figures are the latest available.” This is basis for our statement on page 17 of the report that “the labor rates in this analysis do not reflect a specific assumption of whether union or non-union labor is utilized. Instead, the labor rates have been developed by S&L through a survey of the prevalent wages in each region in 2014, including both union and non-union labor.” Labor hour estimates for CTs and CCs are based on construction productivity in the Texas Gulf Coast region, which is a common approach used in construction estimates. Productivity factors were applied to labor hours to reflect the effect union vs. open shop, weather, and other factors that vary by region. Productivity factors were obtained from the 2014 Global Construction Cost Yearbook published by Compass International. The Yearbook’s data is based on Compass International’s construction cost library, now twenty years old, and data obtained from various sources. This information has been “audited, added to, expanded upon in some situations, modified and calibrated with latest currency, productivity and escalation values, refined and aligned to today’s engineering, procurement and construction installation methods and applications.”2 Sources: RS Means Labor Rates for the Construction Industry, 2014 edition, page vi. 2 Compass international, Inc., 2014 Global Construction Costs Yearbook, 14th Annual Edition, page | Yes: 6/30 CSTF meeting materials
2014-06-14 | MD PSC | 7 | Please explain and provide all data relied upon to establish that CC CONE is greater in 2014 (current study) than in 2011 (prior study) because of increased estimated costs of EPC contingency, owner’s project development costs and plant O & M costs. See The Brattle Group, Cost of New Entry Estimates for CT and CC Plants in PJM at p. 18 (May 15, 2014) | As explained in Section III.A.4 of the report, the increased estimated EPC contingency costs are based on input received by stakeholder during 2011 study and proprietary data from S&L. As explained in Section III.B.1 of the report, the owner’s development costs and mobilization and startup costs are “based on S&L’s review of similar projects for which it has detailed information on actual owner’s costs.” A full explanation of the O&M costs and the split between fixed and variable O&M costs are included in Section IV of the report. As noted in Section V of the report, “plant O&M” costs, excluding property taxes, are lower than the 2011 for CTs and higher than 2011 for CCs due to differences in methodologies between S&L and CH2M Hill in estimating fixed O&M costs. | Yes: 6/30 CSTF meeting materials
2014-06-14 | MD PSC | 8 | PJM has stated in its Preliminary Recommendations that it does not adopt the Brattle recommendation to average CT and CC costs in developing its Gross Cone determination. Does PJM intend to use a CT unit as its reference technology for purposes of Gross CONE determination through to the next Quadrennial Review in 2019, including the BRA for the 2022/23 delivery year? See PJM Preliminary Recommendations at pp. 5-6, Bullet 4 (2014). | PJM’s preliminary recommendations include a recommendation to maintain the reference CT as the reference resource used in the determination of the RTO and LDA VRR curves, and it is PJM’s expectation that any tariff requirements associated with the parameters that are the focus of the quadrennial review (gross CONE including reference technology, shape of VRR curve and Net EAS method) would be effective starting with the next BRA (2018/19 BRA) and remain in effect through and including the 2021/22 BRA. The approved changes from the late 2017/early 2018 Quadrennial Review will be incorporated in the BRA for the 2022/2023 delivery year. | Yes: 6/30 CSTF meeting materials
2014-06-14 | MD PSC | 9 | Brattle asserts in its Report that PJM’s three year historic average model for Energy & Ancillary Service revenue offset determination in the calculation of Net CONE overstates the revenues which Generators can actually earn from PJM markets by as much as 25%. Brattle specifically identifies SWMAAC as an area in which overstatement occurs, but also qualifies its statements as follows (PJM Preliminary Recommendations at p. 7; The Brattle Group, at pp. 14-15 (May 15, 2014). “In SWMAAC, this comparison is a particular challenge because there are no installed CT or CC units similar to the reference unit, and so we report a comparison with older and smaller CTs and no comparison for CCs . . . This discrepancy appears to be attributable to unavailability of non-firm natural gas or inflexible gas scheduling capabilities in the SWMAAC region causing actual units to generate rarely and to more often rely on expensive oil when they do run. The current historical simulation calculations do not account for the higher costs associated with these challenges, causing an overestimation of the E&AS offset and, consequently, an underestimated Net CONE value.” a. Please provide all data, analyses and work papers relied upon by Brattle to support its conclusions respecting the adequacy or overstatement of the E & AS revenue offset from CT and/or CC units in SWMAAC, MAAC and RTO. b. Please confirm that Brattle has made no quantitative analysis or comparison for CC units in SWMAAC, as stated in the quoted paragraph above, to support this assertion. c. Please identify and fully compare the characteristics of those older and smaller CTs (including particularly their and the reference unit’s heat rate and alternative fuel capability or lack thereof) used in the analysis or comparison done by Brattle. d. Please provide all information and data upon which Brattle relies for its statement that “This discrepancy appears to be attributable to unavailability of non-firm natural gas or inflexible gas scheduling capabilities in the SWMAAC region”? e. Please provide an example with explanation of the comparison made by Brattle to support its assertion of overstatement of A & ES revenues by the PJM historic three year model using a MAAC area CC generator. | (a) Section III.B describes the data relied upon in this comparison: historical annual net EAS revenues for the reference resource CT and CC were provided by PJM staff and historical actual unit-specific net EAS revenues were provided by the IMM. Brattle compared actual to administrative net EAS revenues for units that Brattle identified as being similar to each reference resource based on fuel type, unit type, online date and unit size from Ventyx and PJM RPM data. PJM has posted the historical annual net EAS revenues for the reference resource; however, the unit specific net EAS revenues used in this analysis cannot be publicly posted. (b) No comparison was or could be made for CC units similar in configuration to the units developed for the CC CONE in SWMAAC. (c) EPA CEMS data indicates that the CTs in service in SWMAAC have much higher heat rates than the reference resource CTs (HRs ranging from 10226 to 15932 with average of 13300 for these 5 CTS the most recent of which was installed in 1993.) Moreover, CEMS data shows many of the CTs run on oil far more often than in other locations which leads to lower Net E&AS revenues Under Review (d) Brattle identifies an overstatement of administrative net EAS revenues versus actual net EAS revenues on average across all locations as illustrated in the summary of comparison results shown on Figure 6. | Yes: 6/30 CSTF meeting materials
2014-06-14 | MD PSC | 10 | Please describe how PJM will implement the Brattle recommendation that minimum Net CONE be established for sub-LDAs equal to the Parent LDA-Net CONE and how that action will affect SWMAAC. Please describe fully all effects within SWMAAC. See PJM Preliminary Recommendations at p. 7. | PJM’s presented an example of this implementation using actual 2017/18 BRA parameters at the 6/13/2014 CSTF. The example showed the combined implementation of (1) a proposed change in the method for determining each LDA’s net EAS and Net CONE in order to more closely align these values with each LDA, and (2) establishing the minimum Net CONE of sub-LDAs equal to the Net CONE of the parent LDA. The example shows that the combined impact of these proposed implementation is an increase in the SWMAAC Net CONE from $295/MW-day to $336/MW-day based on 2017/18 BRA planning parameters. See: http://www.pjm.com/~/media/committees-groups/task-forces/cstf/20140613/20140613-item-02b-pjm-recommendations-lda-net-cone.ashx (pdf page #13) | Yes: 6/30 CSTF meeting materials
2014-06-14 | MD PSC | 11 | Please explain fully what effect PJM’s adoption of the Brattle recommendation that the Energy & Ancillary Services calculation be “more closely” aligned with modeled LDAs will have upon SWMAAC. See PJM Preliminary Recommendations at p. 7. | See response to #10 | Yes: 6/30 CSTF meeting materials
2014-06-14 | MD PSC | 12 | Please provide all underlying data and calculations that support the value for Gross Cone ($/MW-Yr) of $146,348 and Net EAS ($/MW-yr) of $38,559 shown on slide 5 (Titled-“Application of 5.10(a)(iv) & (v) in Determination of LDA Net CONE Values”) of the Presentation titled “Proposed Charges for Methodology used to Determine LDA Net Cone Values” made to the Capacity Senior Task Force on June 13. 2014. Please identify all cost items that contribute to the level of these two values | The gross CONE value of $146,348/MW-day for SWMAAC is directly from the 2017/18 BRA planning parameters as developed using the gross CONE value specified in the table of section 5.10(a)(iv) of the PJM OATT escalated by the applicable HWI as per this section of the OATT. The net CONE value of $38,559 for SWMAAC is the 3-year average of annual net EAS revenues for a reference resource CT located in BGE zone as per direct application of section 5.10(a)(v) of the PJM OATT. More details behind these determinations can be found on the ‘Net CONE’ tab of the 2017/18 BRA planning parameters located at http://www.pjm.com/~/media/markets-ops/rpm/rpm-auction-info/2017-2018-planning-period-parameters.ashx | Yes: 6/30 CSTF meeting materials
2014-06-19 | MD PSC | 13a | Please explain how the data referenced in MD PSC Data Request Set I, questions 5-7 & 9 is employed in SWMAAC VRR curve development. What specific anchor points, curve shape or other values significant to the development of the curve and affecting capacity resource procurement or prices are affected by that data and how? | The y-axis coordinates of the RTO and LDA VRR curves are based on the Net CONE of the RTO and each modeled LDA. The Net CONE is equal to the gross CONE minus the NET EAS revenues applicable to the RTO and each modeled LDA. MD PSC request Set I, questions 5, 6 and 7 pertain to property taxes, labor rates, EPC contingency costs, owner’s project development costs and plant O&M costs which are components of the total gross CONE. MD PSC request Set I, question 9 pertains to the three-year historical reference resource model used to estimate the Net EAS revenues for a new resource located in the RTO or LDA | Yes: 6/30 CSTF meeting materials
2014-06-19 | MD PSC | 13b | How will the 2018-2019 VRR curve for SWMAAC be impacted if Gross or Net CONE values differ either upward or downward using the proposed Brattle 2014 Report recommendations or those adopted based on the 2011 Brattle Report based on the results of the last three Base Residual Auctions (BRAs). | The SWMAAC LDA has not separated in price from the MAAC LDA since the 2009/10 BRA. In the last three BRAs, the SWMAAC LDA has cleared at the same price as the MAAC LDA and has had ample capacity import margin; therefore, changes to the input assumptions regarding the SWMAAC gross CONE and SWMAAC Net EAS would have had no impact on the SWMAAC LDA clearing price relative to the MAAC LDA clearing price. The net CONE value specific to the SWMAAC LDA becomes relevant to SWMAAC prices only if the SWMAAC LDA is constrained (i.e., when SWMAAC capacity imports reach the SWMAAC capacity import limit in the clearing of the auction). Once imports reach the import limit in the auction clearing, capacity located inside of the SWMAAC LDA must be committed out of merit order up to the intersection point with the SWMAAC VRR curve and price of the internal capacity resource that intersects the SWMAAC VRR curve sets the price for the SWMAAC LDA. A change to the Net CONE of an LDA becomes a factor only when the LDA is constrained and the incremental price impact of the Net CONE change on the constrained LDA price is a function of the internal LDA capacity supply curve and is bounded between a $0/MW-day impact (in the case of a horizontal supply curve where all that is needed to intersect the LDA VRR curve is additional MWs from the same marginal resource) to an upper end price impact equal to the change in the LDA Net CONE (in the case where the LDA capacity supply curve is completely vertical). | Yes: 6/30 CSTF meeting materials
2014-06-19 | MD PSC | 13c | Please explain how capacity resource procurement and pricing in SWMAAC would have differed in the last three BRAs if Brattle’s 2011 recommendations rather than 2014 Gross and Net CONE recommendations were applied in each BRA. | (see above) | Yes: 6/30 CSTF meeting materials
2014-06-19 | MD PSC | 13d | Please identify and fully explain any other effect of the data referenced at MD PSC Set I Data Request questions 5-7 & 9 upon SWMAAC capacity resource procurement and pricing. | (see above) | Yes: 6/30 CSTF meeting materials
2014-06-19 | MD PSC | 14 | The Brattle Report (Table 19 – page 26) for the reference unit CT for the Rest of RTO excludes any costs for Fuel Inventory – all other CONE Areas have a Fuel Cost of approximately $5 million. Please provide all analysis and data supporting this difference. | Brattle observed that actual projects in the Rest of RTO area have not generally been designed with dual-fuel capability. Only in areas with a dual-fuel assumption was it necessary to calculate cost for Fuel Inventories. See page 23 of the Brattle CONE Report for cost details and page 26, Table 19 for Brattle’s output based on preliminary assumptions. However, PJM made a request to model Rest of RTO with a dual-fuel assumption following gas delivery challenges from this past winter and Brattle has provided an alternative estimate for Rest of RTO to include dual-fuel. Table 29 on page 44 of the Brattle CONE Report compares dual-fuel and single-fuel costs for both CT and CC technologies. Level nominal costs for CT were calculated as $138,000/ MW-yr for single-fuel and $147,500 for dual-fuel PJM’s preliminary recommendation includes dual-fuel for the Rest of RTO. | Yes: 6/30 CSTF meeting materials
2014-06-19 | MD PSC | 15 | The Brattle Report (Table 19 – page 26) for the reference unit CT for the Rest of RTO – indicates that the cost of equipment is approximately $4-5 million below all other CONE Areas. Please provide all analysis and data supporting this difference. | Brattle base assumption was single-fuel for Rest of RTO based on reasons stated in answer #2 above. | Yes: 6/30 CSTF meeting materials
2014-06-19 | MD PSC | 16 | The Brattle Report (Table 20 – page 27) for the reference unit CC (Combined Cycle) for SWMAAC and the Rest of RTO excludes any costs for Fuel Inventory – the remaining CONE Areas have a Fuel Cost of approximately $6 million. Please provide all analysis and data supporting this difference. | Rest of RTO and SWMAAC does not assume dual-fuel CCs in Table 20 SWMAAC CC are assumed to have firm gas CCs assumed to use duct firing based on empirical data (see pp 11-12 section 2) | Yes: 6/30 CSTF meeting materials
2014-06-19 | MD PSC | 17 | The Brattle Report (Table 20 – page 27) for the reference unit CC for SWMAAC and the Rest of RTO – indicates that the cost of equipment is approximately $5 million below all other CONE Areas. Please provide all analysis and data supporting this difference. | Rest of RTO and SWMAAC do not include dual-fuel in Table 20 1. Assumption – Dual-fuel requires the addition of water injection nozzles (see page 14) 2. Equipment costs are based on S&L’s proprietary database and continuous interaction with clients and vendors | Yes: 6/30 CSTF meeting materials
2014-06-19 | Dave Mabry | 18 | Brattle report table 12; would be helpful to compare existing curve, Brattle curve, PJM proposed curve, and other curves against metrics in the Brattle report table 12. Would like objective criteria for running the curves for comparison. Brattle’s metrics indicate that 35% of outcomes are below IRM; Hobbs indicated 4% below IRM. Why is Hobb’s and Brattle so different? | Difficult to compare absolute model results due to differences in assumptions and approach. However, it should be noted that the frequency of procuring below the IRM indicated by the Hobbs model is sensitive to changes in key input assumptions. For example, 2006 Hobbs analysis showed the frequency of procuring below IRM to be 34.3% when a higher risk aversion factor was assumed; and, 2013 Hobbs analysis showed the frequency of procuring below IRM to be 33% when equal weights on yearly profits were assumed.
2014-06-20 | Carl Johnson | 19 | In the section of the Brattle Report on the VRR Curve dealing with the Shape of the VRR Curve (beginning on p. 48), there is discussion of marginal avoided expected unserved energy (EUE). Brattle introduces this concept and uses it as justification for adopting the convex-shaped curve. In defining this term, Brattle refers to a study it prepared for FERC, but nothing about that study seems to deal with PJM-specific data, nor does it explain the derivation of the avoided EUE curve that Brattle presents on p. 49. The only reference for that curve is a caption below the graph that says that “Marginal Avoided EUE equal to LOLH times 1 MW.” There is no reference to the source of the LOLH numbers, or the background for that calculation. | The LOLH values of Figure 16 were estimated by PJM's Resource Adequacy Planning Group using PJM-specific data at the request of Brattle for use in this qualitative assessment of VRR Curve shape.
2014-06-02 | Jim Wilson | 20 | Work papers for the shock values as was provided in New England | According to Brattle, the report completed for PJM contains more documentation regarding the model, than the working papers provided to ISO-NE. Please see section 4 of the VRR Curve Report. | Yes: 6/13 CSTF meeting materials
2014-06-02 | Jim Wilson | 21 | Detailed model results for the 1000 Monte Carlo iterations | According to Brattle, P & Q results were provided by draw and location for a few runs that stakeholders were interested in. | Yes: 6/13 CSTF meeting materials
2014-06-02 | Jim Wilson | 22 | The model itself, or at least, the core model | According to Brattle, a very simplified model was made available. The model was not a Monte Carlo simulation model. The results were not intended to replicate those presented by Brattle and ISO-NE during stakeholder meetings. Brattle’s report for PJM results from a more advanced Monte Carlo analysis that tested demand curve performance over distribution of draws with shocks to supply and demand. | Yes: 6/13 CSTF meeting materials
2014-06-02 | Jim Wilson | 23 | The history of the annual E&AS Offset values, and the three year averages used for Net CONE, for RTO/MAAC/EMAAC/SWMAAC. | PJM will provide this in a separate posting. | Yes: 6/13 CSTF meeting materials
2014-06-02 | Jim Wilson | 24 | Provide evidence, given the cleared new entry of recent auctions, that the current curve shape is inadequate. | A Monte Carlo model is used to simulate a distribution of price, quantity, and reliability outcomes that might be realized over many years under the current VRR curve or alternative curves. Revising the shape and slope of the curve would change the expected distribution of price and quantity outcomes from the market, but the magnitude of these effects is not obvious on inspection or with only a few years of historical experience. Please see section 5B, tables 8 and 9 of the VRR Curve Report. | Yes: 6/13 CSTF meeting materials
2014-06-30 | Scott Etnoyer | 25 | Background on IRM - 3% | As noted in PJM's FERC filing for RPM (ER05-1410-000, dated Aug 31, 2005), Professor Hobbs performed a dynamic simulation of 5 different demand curves. Based on the results provided by Professor Hobbs, PJM selected Curve #4 which offered the best combination of reliability and cost. Point “a” of Curve #4 was established at a quantity of IRM - 3% and a price of 2 x Net CONE. On Sept 29, 2006, PJM filed its RPM settlement agreement which defined point 'a' of the VRR curve with no change in quantity from IRM – 3% but with price dropped to 1.5 x Net CONE.
2014-06-30 | Jim Wilson | 26 | With regard to the draws, please provide the actual values of inputs used for the Monte Carlo simulation. | See item ID 21 above | See item ID 21 above
2014-06-30 | Roy Shankar | 27 | Education that would discuss interaction between RTEP planning process and reliability levels that are achieved? What triggers an RTEP upgrade? | RTEP includes a 5-year forward load deliverability analysis using LDA CETO/CETL determinations and an RTEP upgrade is triggered when an LDA CETL is less than the LDA CETO. This analysis methodology and assumptions are described in detail in Manual 14.B.
2014-06-30 | Dave Pratzon | 28 | A broad summary of the rules around PJM’s actions after a BRA having to do with transmission development and additional capacity procurement, i.e. backstop rules, incremental auctions purchases and sales, etc. | (1) If BRA clears below IRM - 1% for 3 consecutive years, PJM may conduct a back stop auction with FERC approval. (2) If baseload generation committed in BRA is less than forecast minimum hourly load for 3 consecutive years, PJM may conduct a backstop auction with FERC approval. See Sec. 16, Attach DD, OATT. (3) If LDA has price separation in BRA for 2 consecutive years without any planned resources cleared PJM will evaluate in the RTEP process the costs and benefits of a transmission upgrade over 10 years against the value of eliminating the Locational Price Adder. See Sec. 15, Attach. DD, OATT. (4) Amounts to be procured or released are described in Schedule 4 and 12, Attach DD, OATT.
2014-07-01 | Jim Wilson | 29 | I suggest you email Requardt Whitman, note that PJM uses the H-W index for CONE escalation, with consequence likely tens if not 100s of million dollars, but concerned about recent escalation out of line with similar indices, and considering changing indices; and ask the following: 1. Best version of methodology documentation (beyond what's in the publication, if any). 2. Explanation for why the HWI Other has continued to escalate through the recession while other indices were more moderate. 3. Whether any changes are being made, and what to expect looking forward. | In process.
2014-07-01 | Jim Wilson | 30 | I suggest doing your comparisons going back to 1964 or wherever, to see the pattern in the HW cycles, as I had done back then (see below). | In process.
2014-07-18 | Neal Fitch | 31 | Forward looking E&AS for ACR | Out of Scope for the Triennial Review
2014-07-17 | Mark Scott | 32 | Run a BRA sensitivity as follows: 1. Last three BRAs – with 2017-2018 the most important (because first BRA with import limits and new DR clearing) and 2016-2017, 2015-2016 2. Leave all inputs the same for each BRA as originally used in the BRA with the exception of model the PJM recommended VRR curve shape and shift (update net CONE values as well as update point a, b, & c on VRR for volumes and prices) a. Model no other changes like flooring LDAs at parents, updated offsets, etc. so truly isolate the impact of this single change 3. Produce the updated BRA input sheet and results | See excel spreadsheet posted under 8/1 meeting materials. | Yes: posted under 8/1 CSTF meeting materials
2014-07-14 | DE Division of Public Advocate | 33 | Any further identification of the problem, and evidence for a need for change to the current curve, as suggested by Wilson Part I slides 3-5. | In addition to the Brattle reports that illustrate the concerns with the current curve and the explanation both in the reports (pages 45-72 of Brattle reported titled "Third Triennial Review of PJM's Variable Resource Requirement Curve, posted here: http://www.pjm.com/~/media/documents/reports/20140515-brattle-2014-pjm-vrr-curve-report.ashx) and in person during the 7/11/14 CSTF meeting (see Ms. Kathleen Spees' presentation here: http://pjm.com/~/media/committees-groups/task-forces/cstf/20140711/20140711-item-03a-brattle-probabilistic-simulation-modeling.ashx). PJM has presented to stakeholders its preliminary recommendation for changes to the current curve based on the Brattle analysis results described in the Brattle Report (PJM preliminary recommendations for VRR curve can be found at: http://pjm.com/~/media/committees-groups/task-forces/cstf/20140630/20140630-item-04c-vrr-curve-background.ashx
2014-07-14 | DE Division of Public Advocate | 34 | Re-run the 1,000-draw simulation for each curve with each of the following alternative assumptions: i. Reduce the supply shock standard deviation to 1,700 MW for RTO (and/or use a recalculated value based on exclusion of 2012 and 2015 from the underlying data, which would be slightly different). (Wilson Part II slides 17-19) ii. The supply curves used in the simulation apparently have slope in the critical range around anticipated clearing points of approximately $50/1,000 MW, compared to PJM's sensitivity analyses which show slopes of about $11/1,000 MW around clearing points (Wilson Part II slides 14-16). Set the slopes of the supply curves above $200/MW-day to an intermediate value, say, $30/1,000 MW. iii. Applying both of the above alternative assumptions (supply shock, supply curve). iv. [based on the results of these simulations, alternative to various other assumptions, including load forecast shock values and others, may be requested] | PJM will not be engaging Brattle for further simulation re-runs. Brattle conducted sensitivity analysis of key model input assumptions including size of shocks and estimate of Net CONE (see Tables 9, 10 and 15 of the Brattle Report). Stakeholders may utilize the simplified model provided by Brattle in the 6/30/14 Meeting Materials (http://pjm.com/committees-and-groups/task-forces/cstf.aspx).
2014-07-14 | DE Division of Public Advocate | 35 | For each candidate curve, provide details input and outputs for each of the 1,000 Monte Carlo draws: Provide the values of each "shock" used in the draw (supply; demand, and showing both load forecast and IRM components; CETL; and Net CONE), the cleared quantity and price, and any other relevant assumptions, for RTO and each zone. | Brattle has compiled a document titled "Monte Carlo Simulation Draws for Illustration" (in the CSTF 6/30/14 Meeting Materials http://pjm.com/committees-and-groups/task-forces/cstf.aspx) that includes the following column headers: reliability requirement, administrative Net CONE, offer quantity, cleared quantity, clearing price, LOLE. Additionally, Brattle has detailed shocks calculation in a document titled "Shocks Calculation" also in the 6/30/14 Meeting Materials. Further details on shock values, etc, will not be requested of Brattle.
2014-07-14 | DE Division of Public Advocate | 36 | Provide the simulation model for stakeholders to validate and run with alternative assumptions, as was done for prior uses of the Hobbs model, with any macros and cells that include "proprietary" formulas protected. | The proprietary model used by Brattle to achieve its published simulation results will not be provided to stakeholders. Brattle has provided a simplified clearing model (in the CSTF 6/30/14 Meeting Materials http://pjm.com/committees-and-groups/task-forces/cstf.aspx) in which stakeholders can change parameters to see the impact on price and reliability outputs
2014-07-14 | DE Division of Public Advocate | 37 | If the complete simulation model will not be provided, provide instructions for adjusting the posted Simplified Clearing Model results, if necessary, in order that its results approximately match the results oft he current and PJM proposed curves for the same assumed shock values and curve. | As noted above, the model has been posted. Instructions on adjusting the model can be found on the first tab of the excel file. Brattle has provided a simplified clearing model (in the CSTF 6/30/14 Meeting Materials http://pjm.com/committees-and-groups/task-forces/cstf.aspx) in which stakeholders can change parameters to see the impact on price and reliability outputs
2014-07-14 | DE Division of Public Advocate | 38 | Re-run the 2016/17 and 2017/18 base residual auctions using the PJM proposed VRR curve shape/position, and provide the detailed results (as was done to evaluate impacts of proposals regarding clearing of subannual DR products last fall). | See excel spreadsheet posted under 8/1 meeting materials. | Yes: posted under 8/1 CSTF meeting materials
| DE Division of Public Advocate | 38a | Using the Brattle simulation model, report results assuming: i. no change to the "smart block" quantity determined for the current VRR curve; ii. the "smart block" quantity transitions from the quantity corresponding to the current VRR curve to the quantity corresponding to the PJM proposed curve in five equal steps (report results for 1,000 draws under each step). | PJM will not be engaging Brattle for simulation re-runs. Brattle has provided a simplified clearing model (in the CSTF 6/30/14 Meeting Materials http://pjm.com/committees-and-groups/task-forces/cstf.aspx) in which stakeholders can change parameters to see the impact on price and reliability outputs
2014-07-14 | DE Division of Public Advocate | 39 | Report, for each candidate curve, the maximum potential clearing price change per 100 MW of reduction in annual supply (maximum potential impact assumes locally vertical supply curve). | The coordinates of the candidate curve has been provided in 5/23 presentation of PJM's initial recommendations.
2014-07-14 | DE Division of Public Advocate | 40 | Determine the minimum portfolio size such that exercising available flexibility to physically or economically withhold this quantity would be break-even profitable (assuming the withheld capacity earns zero capacity price, rather than being sold in an IA or exported). | Market power mitigation is well defined in attachment DD of the PJM Tariff.
2014-07-14 | DE Division of Public Advocate | 41 | Determine the percentage of PJM internal generation that is held in portfolios of this size or larger. (This requires a database of PJM generation by owner, such as the EIA-411 filing with affiliations noted, and/or such as the database the market monitor uses to determine capacity market shares). | Market power mitigation is well defined in attachment DD of the PJM Tariff.
2014-07-14 | DE Division of Public Advocate | 42 | Provide, for each curve and a schedule of price levels (say, $50 to $300 in $50 increments), the resulting cleared excess quantity, in MW, and expressed as percent of reserve margin, and also expressed in years of long term load growth (0.825%/year for RTO on average over 2016 to 2026), according to PJM 2014 Load Forecast Report) | The coordinates of the candidate curve have been provided in 5/23 presentation of PJM's initial recommendations.
2014-07-14 | DE Division of Public Advocate | 43 | Estimate the anticipated future relationship between delivery year reserve margins and energy and ancillary services earnings for the reference resource (update Prof. Hobbs data as reflected in Wilson Part II slide 10). | Out of Scope for the Triennial Review.
2014-07-14 | DE Division of Public Advocate | 44 | Education on PJM's Reserve Requirements Study ("RRS") approach and the assumptions applied in it to calculate what is reported as LOLE. | Out of Scope for the Triennial Review. See manual 20.
2014-07-14 | DE Division of Public Advocate | 45 | Clarify whether the RRS calculates an unconditional LOLE, or a conditional LOLE based on various conservative assumptions (if conditional, presumably an unconditional LOLE, taking everything into account, would be considerably lower; estimate how much lower). | Out of Scope for the Triennial Review. See manual 20.
2014-07-14 | DE Division of Public Advocate | 46 | Clarify extent to which (if at all) the RRS study approach attempts to model what can happen between the three-year-forward base residual auction that determines the three year- forward committed capacity quantity, and the delivery year. | Out of Scope for the Triennial Review. See manual 20.
2014-07-14 | DE Division of Public Advocate | 47 | Education on the role and status of the "one day in ten years" resource adequacy standard, according to Reliability First Corporation standard BAL-502-RFC-02 and the FERC order in RM10-1O that approved it, and any other applicable standards, rules or legislation. | Out of scope for the Triennial Review. 1-in-10 is an RFC standard and was not up for review under the Triennial Review tariff mandate
2014-07-14 | DE Division of Public Advocate | 48 | Education on the source and basis for the two LOLE-based criteria put forward and evaluated by The Brattle Group in its report. | 1-in-10 is an RFC standard. 1-in-5 is equivalent to IRM - 1% which is defined in the backstop section of the OATT. Both were used as benchmarks for measuring curve performance.
2014-07-14 | DE Division of Public Advocate | 49 | Education on "economically optimal" reserve margin levels, in general and likely levels for the PJM system, per The Brattle Group's report for FERC (cited at Wilson Part I slide 23). | Unrelated to the Brattle group Triennial Review for PJM as we are using the RFC standard.
2014-07-14 | DE Division of Public Advocate | 50 | Brattle or PJM to estimate the incremental value of additional delivery year committed capacity at various reserve margin levels (as suggested by The Brattle Group's May 15 report, p. 49 Figure 16) and fully document the assumptions underlying the analysis. | PJM will not be engaging Brattle for further analysis.
2014-07-22 | MD PSC | 51 | Please confirm that the MAAC VRR Curve will now be based upon WMAAC Net CONE values either because it is the lowest priced of the LDA Net CONE values in MAAC or because PJM has or will adopt the Brattle recommendation that the MAAC VRR Curve be established on the basis of WMAAC data. | PJM proposes to use average of Net CONEs of the 11 zones in MAAC as MAAC Net CONE. This was not Brattle recommendation.
2014-07-22 | MD PSC | 52 | Has PJM adopted the Brattle recommendation that the MAAC VRR Curve for the 2018-2019 Delivery Year and subsequent delivery years be determined based on WMAAC Net CONE data. | No. See #51.
2014-07-22 | MD PSC | 53 | In Maryland PSC Data Request (Set I) Q. 6, PJM advises that craft labor rates for Gross CONE determination in the Brattle Study were obtained from the “RS Means Labor Rates for the Construction Industry”, 2014 edition. The average of rates for Washington DC, Annapolis MD and Alexandria VA are used to establish Gross CONE for SWMAAC. Please supply the “unburdened” average of the craft labor rates for these three cities as used in establishing Gross CONE for SWMAAC | the average RS Means published craft Base Wage Rates for Washington DC, Annapolis MD and Alexandria VA are $27.97, $26.72 and $28.08, respectively.
2014-07-22 | MD PSC | 54 | Please supply the comparable rates for other Maryland cities or labor pools in SWMAAC for which data is provided in the R.S. Means Study and which are located in SWMACC, including particularly that of Baltimore. | the average rate of MD cities not used in the Gross CONE determination are $26.68 for Baltimore MD and $24.80 for Cumberland MD.
2014-07-22 | MD PSC | 55 | Are these other Maryland craft labor rates higher or lower than the average adopted by Brattle for use throughout SWMAAC and by what percentage. | See #53 and #54
2014-07-22 | MD PSC | 56 | PJM has proposed a forward-looking method for establishing the Energy & Ancillary Service revenue offset for producing Net CONE which employs 12 months of electricity futures prices in determining that revenue offset. Provide and compare the E & AS revenue offset and resulting Net CONE for the 2012 and 2014 BRAs as determined using PJM’s then effective three year historic method and its now proposed forward-looking method as if the latter had been effective for those BRAs. What futures price index or other data source does PJM propose to use in development of this forward looking E & AS revenue offset methodology. | In process. (expect to post for August 8 meeting or earlier)
2014-07-22 | MD PSC | 57 | Brattle states in its Report entitled “Third Triennial Review of PJM’s Variable Resource Requirement Curve” that PJM’s historical three year average method of E & AS revenue offset overstates the level of revenues that generators can earn in PJM markets by 20% for a CT in SWMAAC and by 25% for a CC in MAAC, including SWMAAC. Please provide, subject to an appropriate confidentiality agreement, all data, including the actual revenues earned data provided by the Market Monitor, which Brattle relies upon to make these assertions. | in process - an appropriate confidentiality agreement will be required.
2014-07-22 | MD PSC | 58 | PJM has adopted the Brattle recommendation that Point a on the system-wide and LDA VRR Curves should be adjusted to the right on the curve from IRM-3% to IRM-0.2%. The objective stated is to enhance the price incentive available to attract generation investment at an earlier point on the curve once the reliability reserve margin first drops below the level required to satisfy the 1 day in 10 years outage requirement. See Brattle II at pp. 64-66; Letter of A. Ott, PJM Preliminary Recommendations at p. 2. . Please provide all data and explanation known to PJM and Brattle that evaluates the cost versus the benefit of this action if adopted separate from PJM/Brattle’s other VRR Curve shape recommendations. | Section V.C.I. of the Brattle Report describes and evalutes the expected long-run cost and reliability impact of the single isolated change of shifting point "a" to the right.
2014-07-22 | MD PSC | 59 | The VRR Curve is plotted employing Net CONE data plotted against the y-axis, including both a maximum cap (1.5x Net CONE) and a minimum level (0.2x Net Cone), the latter of which PJM proposes to change as part of its adoption of a convex curve shape. Brattle further proposes, though PJM does not adopt, that the maximum cap at VRR Curve Point a be increased from 1.5 to 1.7x Net Cone as a means of further increasing PJM system reliability. See Brattle II at pp. 64-66; Letter of A. Ott, PJM Preliminary Recommendations at p. 2. Please fully explain the function of Net CONE in determining the magnitude of capacity resources purchased and the price at which purchased by PJM in the Base Residual Auction? What effect does the 1.5x price cap as embedded in the VRR Curve have upon the level of capacity purchased, or would increasing that cap to 1.7x have? Similarly, what effect does increases in the PJM system-wide or LDA Net CONES (particularly that of MAAC or SWMAAC) have upon the level or cost of capacity purchased through the BRA? | The Net CONE of an LDA is used to determine the y-axis points of the VRR curve, and the magnitude of capacity purchases and the price at which purchased by PJM in the BRA is determined by the intersection point of the supply offer curve and the VRR curve. Sell offers below the VRR curve will clear the auction while sell offers above the VRR cure do not clear. Shifting Point "a" up and/or to the right from current point "a" postion as best illustrated in Figure 23 of the Brattle Report would allow additional capacity with offer prices above the current curve to clear up to the new curve in those cases where the supply curve would have otherwise intersected the current VRR curve at a quantity point anywhere to the left of IRM +1% (point "b" on the current curve). An increase in the Net CONE itself will have a similar impact since a higher net CONE will shift the entire VRR curve upward. The Brattle Report includes the expected long-run impact of changes in Net CONE and increases in the price cap to 1.7X.
2014-07-25 | Jim Wilson | 60a | Supply curves: The supply curves used in the simulations apparently do not match the supply curves depicted in the report on p. 37 Figure 12. For example, that figure shows supply curves that slope at all price ranges, while the supply curves used in the simulation apparently were vertical over a substantial price range. The 1,000 draw data reveals that for the Current VRR Curve, 15.3% of the draws cleared on the vertical portion of the supply curve, with 100% of the offered supply clearing and no uncleared supply; the same value was 14.5% for the PJM Recommended Curve. Some of these instances of clearing 100% of offered supply were at prices below the long run average Net CONE. Could you please augment the 1,000 draw data with a column indicating by number which supply curve (1..8) was used in each draw. This would facilitate further validation and efforts to recreate the results. | The supply curve used for each of the 1,000 draws is not readily available to fulfill this request.
2014-07-25 | Jim Wilson | 60b | Please also provide the actual supply curves used in the simulation (best in Excel, second best graphically). | The supply curves used in the Monte Carlo analysis are shown graphically in Figure 12 of Brattle Report.
2014-07-25 | Jim Wilson | 61 | IRM Excess values: The IRM outcomes calculated based on this data (Cleared Quantity/Reliability Requirement -1)*(1+IRM) do not match the values reported in Table 15 on p. 71 labeled “IRM excess (deficit) (IRM + X%)”. Explanation? What equation was used? | The equation shown is that which was used; however, it appears that the average and standard deviation of the reserve margin above the target "Average Excess (Deficit) (IRM + X%)" values reported in Table 15 on page 71 are inadvertantly based on only the first 500 of the 1000 draws. The effect of this inadvertant omission of the full 1000 simulation on this statistic is that the reported Average Excess is understated by about 0.1 to 0.2%. For example, Table 15 shows that under base Modeling Assumptions, the current curve results in a long-run procurement with an Average Excess of 0.4% which should be corrected to be 0.57%. The standard deviaton of 2.0% as reported in Table 15 is unchanged when all 1000 daws are included as rounded to the nearest tenth of a percent and remains at 2.0%.
2014-07-25 | Jim Wilson | 62 | Shock values: The shock means and standard deviations in this data match the documented values for all but the CETL shock values. Explanation? | The difference in the means is not significant and no difference in the standard deviaitons in this data versus the documented values of CETL.
2014-07-25 | Jim Wilson | 63 | LDA results: The data shows that there was no price separation for MAAC or for any of the zones nested in MAAC. Can you confirm that this means modeling these zones had no impact on the RTO-level results? If not, please explain what impact? | That is correct - modeling these zones had no impact on the RTO-level results.
2014-07-25 | Jim Wilson | 64 | Could you provide further explanation with regard to the following note that appears on the top of the page for both the Current VRR Curve and PJM Recommended Curve: “Note: The Monte Carlo simulation model continuously attracts excess supply in LDAs with Net CONE below system Net CONE. In this run, excess supply was capped at an arbitrary MW quantity in the results shaded in grey. Shaded results should not be interpreted to reflect calibrated long-term equilibrium conditions. For additional discussion of this issue see Section VI.B.1 of [report]” By “attracts” do you mean clears? Else what? | The RTO system-wide curve performance analysis discussed in Section V of the Brattle Report uses base case assumptions consistent with the 2016/17 BRA parameters in which most LDAs have Net CONE below the RTO Net CONE. As discussed in Section VI.B.1 of the report, when new smart block capacity is required, rational economic entry expectation places this new capacity in the area with lowest Net CONE and these LDAs become non-binding and irrelevent to the overall RTO system results. The purpose of the "note" is to reiterate and remind of that discussion of Section V1.B.1. which states that the LDA-level results for such LDAs provide limited insight into LDA-level performance and have no bearing on the overall RTO system-wide results of Section V of the report.
2014-07-25 | Jim Wilson | 65 | Could you provide further explanation with regard to the following note that appears on the top of the page for both the Current VRR Curve and PJM Recommended Curve: “Note: The Monte Carlo simulation model continuously attracts excess supply in LDAs with Net CONE below system Net CONE. In this run, excess supply was capped at an arbitrary MW quantity in the results shaded in grey. Shaded results should not be interpreted to reflect calibrated long-term equilibrium conditions. For additional discussion of this issue see Section VI.B.1 of [report]” By “continuously” do you mean frequently or always? | See Response to #64
2014-07-25 | Jim Wilson | 66 | The results were shaded in grey for all 1,000 iterations for MAAC and all LDAs nested in MAAC. Why was supply arbitrarily capped? What cap values were used? What impact does this have on RTO level results? | See Response to #64. The cap values have no impact on the RTO level results.
2014-07-25 | Jim Wilson | 67 | “LDAs with Net CONE below system Net CONE”: Does the problem apparently also occur in LDAs with Net CONE roughly equal to system Net CONE (EMAAC, PSEG, DPL-S and PS-N all had Net CONE $.59 below system Net CONE)? | See Response to #64.
2014-07-25 | Jim Wilson | 68 | IRM to LOLE relationship: What was the actual underlying data from PJM used to develop the approximating equation? Is it the same as included in the “Simplified Clearing Model”? | The underlying IRM to LOLE relationship data is shown in Figure 15. The full model used an exponential fit of this data while the simplified clearing model used a linear fit of this data.
2014-07-25 | Jim Wilson | 69 | IRM to LOLE relationship: A substantial number of the draws apparently result in IRM values outside of the range of the source data. Was any other information available to check the reasonableness of the particular functional form you chose for extrapolating well beyond the given values? | PJM provided LOLE model results over a range of 19.6% RM/0.010 LOLE to 10.5% RM/1.057 LOLE. There was no information beyond the source data to confirm the accuracy of the LOLE fit beyond the range of given IRM values.
2014-07-28 | Jim Wilson | 70 | Re: the 1000 draw data posted July 21 under the June 30 CSTF meeting page. Please explain the clearing result for draws such as 139, 737, which have the following attributes: a. Reliability Requirement and Administrative Net CONE exhibit only small shocks. b. Offered quantity exhibits large negative shock (about 4,000 MW, 6,000 MW respectively) c. Prices clear at the RTO price cap (~ $490/MW-d) with no zonal price separation. d. Rather low RTO cleared quantities; about 97% of Reliability Requirement. e. But uncleared supply (offered minus cleared) at RTO level is about 3,400 MW for each draw. Why is there any uncleared supply in these draws? How is this consistent with the supply curves as documented in the report? | In the two draws referenced in the question, all of the uncleared supply was above the price cap. The supply curves for those draws were both based on the same delivery year supply curve which had a relatively large amount of offers at high prices (above $500).
2014-07-28 | John Rohrbach | 71 | What is the effective Federal/State tax rate in your PJM CONE study (used in your ATWAAC calc)? I believe it is about 40.6% (average of the state tax rates, PA twice, VA, NJ, MD, average is 8.65%), and then 1-.35 (top Federal rate) = .65, and then .65 * 8.65%, equals 5.6199% + 35% Federal rate = 40.6199%. Can you confirm this is the effective Federal/State tax rate you used. | Yes that is the equation we used. However, we apply a different state tax rate in each CONE Area as summarized below.
2014-07-29 | Jim Wilson | 72 | With respect to the "blockiness" feature of the simulation, described on p. 37 of the VRR curve report: "We reflect the lumpy nature of investments by simulating each supply curve as a collection of discrete sized offer blocks... To derive realistically-sized offer blocks in each location, we randomly select from actual offers in that location from the 2016/17 BRA but re-price those offers consistent with the selected smooth supply curve shape." Further documentation of this feature please: a. Block sizes: Identify the largest, say 20 blocks in the supply curve for RTO. If the list varies across the eight supply curves, provide the additional details for each. b. Price points: Identify the price points over $200 to which the blocks can be assigned, for each supply curve used in RTO. c. Are any of the blocks assigned randomly to any of the price points for each draw? If not please describe the assignment approach. | (a) the table below shows the 20 largest supply blocks. (b) We do not assign supply offers to a discrete set of price points, instead any block could be assigned to any point in the supply curve. The blocks are picked at random, and are stacked in the order they are chosen. The corresponding price for each block is calculated to fit the smooth curves shown in Figure 12 of the report. The result is that supply offers may have any price over a continuous range. (c) Yes, blocks are assigned randomly to any price portion of the curve.
2014-07-31 | Jim Jablonski | 73 | Brattle cites reliability in recommending changes to the VRR Curve and PJM agrees. NJ municipals infer from the recommendation and proposed changes that PJM expects new capacity sufficient to address the reliability concern will result. However, we have not seen projections. How many megawatts of new capacity does PJM expect to result if the proposed VRR Curve changes are adopted? Specifically, how many megawatts does PJM expect to result above historic averages and expressed either in total megawatts or a percentage above the historic averages? | The Brattle simulations showed that the PJM-recommended VRR curve would procure on average 1.2% more capacity above the IRM than that quantity procured under the current curve. The 2016/17 BRA simulations showed that the PJM-recommended curve procured 2,800 MW (or 1.7% ) more than that procured using the current curve. The 2017/18 BRA simulations showed that the PJM-recommended curve procured 1,767 MW (or 1.1% ) more than that procured using the current curve.