## CW 11-14
Cold Weather Recommendation Status
Topic | Status and Notes | Implementation Timing | Working Committee | Description | Materials |  | Solutions Matrix DOCS #
Cold Weather Resource Performance Improvement | Solution package endorsed at October OC and approved at the 10/30 MRC | 2014-10-01 | OC | Improve the performance of resources during extreme cold weather events via some level of performance verification or testing of certain resources during cold weather, including testing dual-fuel capability | Problem Statement | Issue Charge | x
Gas Unit Commitment Coordination | First read completed at the 10/30 MRC and planned for OC endorsement on 11/6 | Short term changes (prior to the winter of 2014/2015) Long term changes (early 2015) | OC | Improve the clarity, transparency and standardization of handling long-lead gas unit commitment, due to fuel restrictions. Consider tools, processes, market construct, as well as communication and notification protocols. | Problem Statement | Issue Charge
Energy & Reserve Pricing | The Energy and Reserve Pricing transition proposal was approved at the October 30 MRC meeting. The Interchange Volatility proposal was not approved at the 10/30 MRC. The ERPIV has been charged with meeting one time to refine the Interchange Volatility proposal and return to the November 20 MRC meeting for another vote. | Short term solution implemented June 1 through September 30; Long term solutions to be voted on at October MIC/MRC and November MC, Implementation TBD | Energy Reserve Pricing and Interchange Price Volatility Initiative (ERPIV) | Determine whether enhancements can be made to better capture conservative operator actions in market clearing prices: Determine whether enhancements can be made to existing rules for transaction scheduling to improve system and price stability | Problem Statement | Issue Charge
Energy Market Uplift | The group continues to discuss methodologies for cost allocation with the target of voting on them in the Fall. PJM has put forward a new proposal that more closely mimics the current allocation methodology with minor changes. The original proposal was not supported by stakeholders and therefore will likely get dropped. | April 1 2015 | Energy Market Uplift Senior TF (EMUSTF) | Review and consider changes to the following regarding uplift: -Cost allocation of energy market uplift charges, -Potential mechanism to allocation uplift during emergency operations when rates are extreme, and -Additional methods and procedures for reducing the overall amount of uplift to be paid | Problem Statement / Issue Charge
Capacity Performance | Comments from initial whitepaper have been posted. Updated whitepaper will be posted on 10/7.Enhanced LC meeting with the Board on 11/4 | TBD | Enhanced Liaison Committee Process | The Problem Definition: Need to refine the definition of capacity •Fuel security – dependable fuel source •Performance incentives and penalties •Capacity resources must be highly available for operations •Require flexible unit operational parameters | Problem Statement | Capacity Performance Proposal
Unit Characteristics | Survey will be sent out in October. Survey responses are due 11/7 | 2014/2015 | OC | Working with the generation owners to identify opportunities to create or improve information sharing such as fuel source and limitations, emission limitations; as well as use and validation of outage types .
Gas / Electric Industry Coordination | PJM is working through the NAESB process, as part of the FERC NOPR. FERC is finalizing the NOPR, the comment period closes on 11/15. | 2015-09-01 | MC Webinar | PJM, in conjunction with stakeholders, is developing industry recommendations for the following topics in response to the FERC NOPR on gas / electric coordination: -Harmonization of the timing of the gas and electric operating days -Will determine PJM market timing to coordinate with gas day and nomination schedules once FERC NOPR is finalized | FERC NOPR
Unit Market Offers | Items from this issue will be discussed with Capacity Performance | TBD 2014-2015 Winter | Enhanced Liaison Committee Process | Consider potential market rule changes that would allow generators to better include natural gas costs in their energy or capacity market offers; and Consider the ability of a unit to make changes to energy market offers during the operating day
Offer Caps | The CRSTF was approved for sunsetting at the 10/30 MRC. | 2014-12-14 | Cap Review Senior Task Force (CRSTF) | Analyze and review generation energy market offer caps for both cost-based and price-based offers. | Problem Statement | Issue Charge
Data Sharing with Gas Industry | Internal PJM effort that is in progress will include: -Improvement of internal FERC 787 data sharing process which includes data sharing for informational purposes -Development of a template, in collaboration with other ISO/RTOs, to facilitate sharing of electric industry operational information and gas pipeline information between the two industries (Draft template to discussed at the meeting with INGAA on 9/3) -Internal dashboard of electrical interconnection areas impacted by pipeline issues (v. 1.0 to be released internally by end of November) | 2014-11-01 | MC Webinar | Improve the tools and processes for two-way communication with the gas industry to enhance situational awareness and better evaluate impact to PJM generation
Interregional Coordination | COMPLETE: -Emergency Procedure document and contacts created and discussed with VACAR group. - 5/20/14 Summer Emergency drill completed with Duke Energy Progress - Reference guide to support NERC tags for shared reserves created for the Dominion MOC -Mutual emergency procedure language in the VACAR/PJM RC Agreement completed IN PROGRESS: - The new EMS display for VACAR reserves will be available by 12/1/14. | 2014-07-01 | MC Webinar | Consider improvements to increase situational awareness with the VACAR Reserve Sharing group and VACAR Reliability Coordinator: -Define and review PJM emergency procedures and overall communications, including a review of the operating agreements, including the VACAR Reserve Sharing Group Agreement
Voltage Reduction Emergency Procedure | Survey distributed to Transmission Owners and responses being presented back to stakeholders. Data being finalized. Survey responses from TOs utilized to create Voltage reduction plans. Voltage reduction plans have been added to the Dispatcher SharePoint site. First read of edits completed at the 10/30 MRC to be effective for 1/1/15 | 2014-10-01 | SOS-T & OC | Review the voltage reduction capabilities of transmission owners to better understand current capabilities and determine if there are additional requirements to be developed
Regulation Market Rules | PJM is in the process of drafting a whitepaper to provide clarification and reasoning on the Regulation Market Rules enhancement recommendations. | TBD | MIC | Reexamine the performance of the Regulation Market based on January results and consider: -Whether the division by the performance score is appropriate, -Whether the minimum participation requirements are adequately high enough -Whether going short on regulation during system peaks is acceptable
External Capacity | Tool has been developed and is in the testing phase | 2014-10-01 | MC Webinar | Develop processes and tools to confirm external capacity resources availability, day-ahead and real-time market commitments, and actual performance.
Winter Outage Rate and Reserve planning studies | Internal analysis has started to quantify the impact of higher forced outage rates on future IRM requirements COMPLETE: -A loss of load probability assessment of the winters of 2014/15 and 2015/16 was completed and reviewed at the PC and Capacity Performance mtgs. -Gas outage scenarios development was completed -CETO analysis for the three gas outage scenarios is complete. IN PROGRESS: CETL work is in progress. -CETO/CETL work is in progress -Evaluation of further scenarios and potential operational issues where natural gas will be used to generate electricity is in progress | TBD | Planning Committee | This work consists of the following items: -A loss of load probability assessment of the winters of 2014/15 and 2015/16 -Analysis of the 2018/19 Delivery Year to develop possible recommendations regarding changes to the RPM BRA to recognize weather-related winter risk - Analysis of the RTEP year of 2019/20 to develop winter CETOs and CETLs based on a series of gas outage scenarios. - Evaluation of further scenarios in which greater levels of natural gas will be used to generate electricity and what potential operational issues this could cause, as well as what electric infrastructure will be needed to maintain reliability. | Presentation- Assessment of Winter LOLE Risk at the RTO Level Presentation- Winter Generation Outage Analysis
Gas Infrastructure Future Adequacy | Target 1- Baseline systems draft report has been posted Target 2 initial modeling runs to determine the adequacy of the pipeline infrastructure to meet electric system needs are scheduled to be delivered to Planning Authorities for review by 9/1Posting of the Gas-Electric System Interface Study Target 2 Draft Report has been delayed. The study consultant provided the draft in accordance with the study schedule, however, EIPC learned that additional review was required before it could be posted. EIPC will notify the Stakeholder Steering Committee and stakeholders when the Draft Report is available and if changes to the remaining study schedule are required. | Study results by 2014 | PC | EIPC Gas-Electric System Interface Study includes four Targets: 1. Baseline systems (posted) 2. Infrastructure capability (October) (TBD) 3. Contingency analysis (December) (TBD) 4. Dual-Fuel evaluation (November) (Draft release beginning of November) | Presentation- EIPC Gas-Electric System Interface Study Update
Communications & Procedures | PJM developed an internal Operational Emergency Readiness Team that was deployed during January to facilitate discussions internally and externally. Additional enhancements to be incorporated as part of the Summer and Winter Emergency Procedure drills. OM-004 drafted and posted effective 6/1. Utilized for 5/20/14 Summer drill and recent Hot Weather Alert. Process and procedures to be utilized at the 11/18/14 Winter Emergency drill. | 2014-11-14 | MC Webinar | Consider further improvements to internal and external communication tools, processes, and protocols during Operational emergencies.
Public Appeals | COMPLETE: Internal discussions completed to determine the impact of Public Appeals on RTO load: At this time there is no accurate method utilized in the industry to determine the impact. No updates will be completed to M13 IN PRORESS: Draft updates to M-13 in progress. | 10/1/2014 1/1/15 | MC Webinar | PJM to : -Determine if it is possible to quantify impact of public appeals for conservation and if so, investigate where or how to use this information. -Improve process (triggers, protocols, content, and processes) for public notification during emergency procedures (C1/C2, H1/H2)
Waivers | COMPLETE Implemented 6/1 with the new version of M-13 to clarify that PJM does not grant environmental waivers but will work with the GO if requested/notified of limitations. | November-14 June- 14 | OC | Confirm mechanism by which Generation Owners work with PJM during resources seek waivers for fuel emission limitations and better understand conditions under which relief may be granted. | PJM Manual 13
Emergency Energy Bids | COMPLETE Transition to an electronic form versus fax has been completed and updated in M-13. | M-13 Approved at April & May MRC | OC | Review and enhance the tools and processes for accepting Emergency Energy Bids | PJM Manual 13 - Attachment D
CERA D796478
On target for vote date.
Vote date threatened.
Unlikely to meet vote date.
Updated November 3, 2014