## Setup
Enter Stakeholder Group Name in cell A2:
DRS
Enter issue title (use title from Issue Tracking if applicable) in cell A5:
Load Management/PRD Testing Requirements

## 1. Interest Identification
DRS
Load Management/PRD Testing Requirements
Interest Identification
Instructions: List interests of all parties on this page.
1 | Testing reflective of LM product availability requirements
2 | Testing results consistent with expected performance during LM events under various conditions (time of day, time of year, etc.)
3 | Both resource capability and PJM/CSP communications are tested
4 | Streamline process for resource energy compensation for reductions provided when performing tests (Currently done through economic DR
5 | Test notification process aligns with actual event process (i.e.: Emergency messages prior to LM event day)
6 | Load not paying for CP DR winter testing through an uplift mechanism
7 | LM will be compensated for test events
8 | Avoid unnecessary testing
9 | Align rules for PRD
10
11
12
13
14
15
16
17
18
19
20

## 2. Options Matrix- Design Comp.
DRS
Load Management/PRD Testing Requirements
OPTIONS MATRIX
Solution Options2
# | Design Components1 | Priority | Status Quo | PJM | CSPs | IMM
* | Implementation
1 | Testing performance requirement waiver (you don't need to test if this happens) | high | Registration(s) dispatched for mandatory load management event | Status Quo | Status Quo | Registration(s) dispatched for mandatory load management event during the summer months for the summer test, and registrations dispatched for mandatory events during the non summer months for the non summer test.
2 | Who schedules test/retest | High | CSP | Test: PJM Retest: CSP | CSP schedules the test. PJM determines prior to Delivery Year if annual CP resource will be required to schedule the test during the non-summer period (Nov-April) or the summer period (June-October, May). Summer-only CP Resources will schedule test during summer period. | PJM during pre defined period,
3 | Test/retest duration | high | 1 hour | 4 hours | Status Quo | 3 1/2 hours (the average of all duration of events from 2010/2011 DY)
4 | Test/Retest period | high | June 1 through October plus May in same Delivery Year, Non NERC holiday weekday | Test - June through following March (no test in April/May to allow for CSP retest). PJM will schedule test on expected high load days when not expected to be a load management event or create a reliability issue. Retest - any month in same season after test was conducted. Summer (June through Oct + May), Winter (Nov - April) | Test period aligned with the CP Resource performance obligation window for PJM directed period, where: -Annual CP Resources: If PJM directs a non-summer period test then Non NERC holiday weekday from November through April. If PJM directs a summer period test then Non NERC holiday weekday from June - October plus May in same Delivery Year. -Summer-only CP Resources: Non NERC holiday weekday from June through October plus May in same Delivery Year | Test period aligned with the CP Resource performance obligation window for PJM directed period, where: -Annual CP Resources: If PJM directs a non-summer period test then Non NERC holiday weekday from November through April. If PJM directs a summer period test then Non NERC holiday weekday from June - October plus May in same Delivery Year. -Summer-only CP Resources: Non NERC holiday weekday from June through October plus May in same Delivery Year
5 | Test/Retest window (these are hours when test can be conducted) | high | Summer period product definition hours of 10am-10pm. | Apply the period product definition hours depending on the period tested, where: -Summer period product definition hours of 10AM-10PM -Non-summer period product definition hours of 6AM-9PM | Apply the period product definition hours depending on the period tested, where: -Summer period product definition hours of 10AM-10PM -Non-summer period product definition hours of 6AM-9PM | Apply the period product definition hours depending on the period tested, where: -Summer period product definition hours of 10AM-10PM -Non-summer period product definition hours of 6AM-9PM
6 | Registration test deployment requirement | high | All Registrations with same CSP in same zone of same product type at same time that were not dispatched in an event. | PJM will dispatch all CSPs by zone at same time during different months. Test is only required if registration was not dispatched for a mandatory event. | Status Quo | Status Quo | Low
7 | Test event limit (number of times test may be performed) | medium | Unlimited | One test for all CSPs per zone per year. If CSP does not qualify for retest, then test results are final | Status Quo | 2 Tests: Test must performed in summer and non summer months when there is no event during the season | Low - Medium
8 | Retest qualification | high | Zonal Load reduction >75% of committed MW in test. CSP may elect to conduct a retest for registrations that did not reach their MW commitment | Status Quo | Status Quo | CSP notifies PJM which registrations, that did not meet the nominated Icap value during the test, to retest | Low - High
9 | Retest registration eligibility | high | registrations that failed to meet Summer ICAP reduction value | Registrations that failed to meet the Nominated ICAP value for the summer or winter period consistent with the period in which the test occurred. | Status Quo | Registrations that failed to meet the summer Nominated ICAP value for the summer may retest in the summer and those that failed to meet the winter Nominated ICAP value in winter may retest in the winter period. | Medium
10 | Retest event limit (number of times retest may be performed) | medium | Unlimited | Status Quo | Status Quo | One | Medium - High
11a | Notification time prior to test | high | At least 48 hours prior to test. PJM can cancel for reliability reasons. | Day before - By 2pm Event Day - Registration notified based on lead time through standard DR Hub webservices procedure PJM can cancel test on event day for reliability reasons | Status Quo | Day before - By 2pm Event Day - Registration notified based on lead time through standard DR Hub webservices procedure PJM can cancel test on event day for reliability reasons
11b | Notification time prior to retest | high | At least 48 hours prior to retest. PJM can cancel for reliability reasons. | Status Quo | Status Quo | Same as test
12a | Test notification method | medium | CSP schedules test in DR Hub. DR Hub electronically notifies CSP of test via webservices based on registration lead times and scheduled start time. CSP acknowledges receipt via webservices. | Day before - PJM email to CSP Event day: CSP notified and acknowledges via DR Hub webservices | Status Quo | Day before - PJM email to CSP Event day: CSP notified and acknowledges via DR Hub webservices
12b | Retest notification method | medium | CSP schedules retest in DR Hub. DR Hub electronically notifies CSP of retest via webservices based on registration lead times and scheduled start time. CSP acknowledges receipt via webservices. | Status Quo | Status Quo | Same as test
13 | Resource Test Compliance Target | Medium | Summer average RPM commitment from June 1st through September 30th | Status Quo | Status Quo | Summer average RPM commitment from June 1st through September 30th and the following May, Winter average RPM commitment from October 1 through April 30 | High
14 | Deadline to submit compliance data | Medium | Test data must be submitted on or after June 1 and no later than July 14 of next Delivery Year | Status Quo | Status Quo | Same as DR events for Test and Retest.
15 | Energy market compensation (and associated cost allocation) during test/retest hours | medium | No direct payment. CSP may register and participate under Economic DR and align market offer with test period. | Energy Settlement at RT LMP, no make whole payment (strike price or shutdown cost are excluded). Cost allocation based on existing Economic DR rules. | Energy Settlement at RT LMP, no make whole payment (strike price or shutdown cost are excluded). Cost allocation based on existing Economic DR rules. | Energy Settlement at RT LMP, no make whole payment (strike price or shutdown cost are excluded). Cost allocation based on existing Economic DR rules.
16
17
Instructions:
*Implementation should consider timing for both PJM and stakeholders (added as standard component based on Stakeholder feedback- 2015)
1Design Components - each is an "attribute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Design Component Details" tab (2a).
3. Using informal feedback from the participants, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Option Details" tab 2b.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package", to be documented in tab 3, "Packages Matrix".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.

## 2a. Design Component Details
DRS
Load Management/PRD Testing Requirements
COMPONENT DETAILS
Instructions: Complete this form as needed. Design components should be populated from the Options Matrix.
Design Component | Detailed Description
1 | <enter detailed description of this component>
2 | <enter detailed description of this component>
3 | <enter detailed description of this component>
4 | <enter detailed description of this component>
5 | <enter detailed description of this component>

## 2b. Option Details
DRS
Load Management/PRD Testing Requirements
SOLUTION OPTION DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of options than the Options Matrix allows.
Cell # | Detailed Description
Corresponding cell number from Options Matrix (ex. 1A, 1B, 2A, etc.) | <enter detailed description of this option>

## 3. Package Matrix
DRS
Load Management/PRD Testing Requirements
PACKAGE/ PROPOSAL MATRIX
Packages
# | Design Components | Priority | Load Mgt Status Quo | PRD Status Quo | CSP2: PJM schedules test and 2nd test, CSP scheduled retest(s) | PJM1a: PJM schedules test, CSP schedules retest(s) or PJM schedules retest based on test performance | PJM1a': PJM schedules test, CSP schedules retest(s) or PJM schedules retest based on test performance2
1 | Testing performance requirement waiver (you don't need to test if this happens) | high | Registration(s) dispatched/required for mandatory event | Same as DR | same as PJM 1a | Status Quo, Maintenance outage does not qualify for waiver | same as PJM1a
2 | Who schedules test/retest | High | Test: CSP Retest: CSP | Same as DR | Test: PJM Optional 2nd test: PJM Retest: CSP | Test: PJM Retest: CSP or PJM based on Test performance | same as PJM1a
3 | Test/retest duration | high | 1 hour | Same as DR | same as PJM 1a | 2 hours | same as PJM1a
4 | Test/Retest period | high | June 1 through October plus May in same Delivery Year, Non NERC holiday weekday | June 1 through October plus May in same Delivery Year, all days | Summer Initial Test period (3 months: June-Aug), Non-summer Initial Test period (3 months: Dec-Feb). These are months when PJM may conduct initial test to provide sufficient time in remaining season for optional second test and/or Retest. Test - Non NERC holiday weekday Retest - Non-NERC holiday weekdays in any month in same season as test. CP tested in summer and non-summer and Summer Only tested in summer. PJM schedules test when not expected to be a load management event, low load day or create a reliability issue | Summer Test period (5 months: June-Oct), Non-summer Test period (5 months: Nov-Mar) Test - Non-NERC holiday weekdays Retest - Non-NERC holiday weekdays in any month in same season as test except for test conducted in March may retest in May to allow time to collect load data (performance based on WPL). CP tested in summer and non-summer and Summer Only tested in summer. PJM schedules test when not expected to be a load management event, low load day or create a reliability issue | same as PJM1a
5 | Test/Retest window (these are hours when test can be conducted) | high | Summer period product definition hours of 10am (HE11) -10pm (HE22). | Any time a Max Generation Emergency can be called (i.e. no time limits) | same as PJM 1a | Summer and Non-summer Period: HE12 - HE18 | same as PJM1a
6 | Registration test deployment requirement | high | All Registrations with same CSP in same zone of same product type at same time. | Same as DR | same as PJM 1a | PJM will dispatch all CSPs by zone by lead time at same time during different months. | same as PJM1a
7 | Test event limit (number of times test may be performed) | medium | Unlimited | Same as DR | Up to 2 test(s) - 2nd optional full zonal test upon CSP request within 90 days of initial test. CSP has up to 90 days but allow PJM 1 month to schedule the test in the same season. CSP will identify which test to be considered for retest eligibility (status quo). | One test for all CSPs per zone per year. | same as PJM1a
8 | Retest qualification | high | CSP directed retest(s) if Test Zonal Load reduction >75% of committed MW. | Zonal Load reduction >75% of registered MW in test. | Status Quo | CSP directed retest if qualified based on Status Quo, otherwise PJM directed retest upon CSP request before the end of month following test. CSP will include list of specific registrations to retest. | CSP directed retest if qualified based on Status Quo, otherwise PJM directed retest upon CSP request before the end of month following test 46th day after the test. CSP will include list of specific registrations to retest.
9 | Retest registration eligibility | high | Registrations that failed to meet Summer nominated ICAP value | Same as DR | same as PJM 1a | Registrations that failed to meet the seasonal Nominated ICAP value for the test | same as PJM1a | Low
10 | Retest event limit (number of times retest may be performed) | medium | Unlimited | Same as DR | Status Quo | CSP directed is Status Quo. PJM directed is One | same as PJM1a | Low - Medium
11a | Notification time prior to test | high | At least 48 hours prior to test. PJM can cancel for reliability reasons. | None but believe this is clean up item and meant to be "same as DR" | PJM will notify all zones that will be tested by the 21rst of the month preceding the scheduled test month Week-ahead: PJM provides each CSP with a 5-day window at least 5 business days in advance (i.e. in advance of 1st potential test day) Day before the operating day, by 10am - all zones that will be tested. Event Day - CSP notified for each Registration based on lead time through standard DR Hub webservices procedure PJM can cancel test on event day for reliability reasons | PJM will notify all zones that will be tested by the 21rst of the month preceding the scheduled test month Day before the operating day, by 10am - all zones that will be tested. Event Day - CSP notified for each Registration based on lead time through standard DR Hub webservices procedure PJM can cancel test on event day for reliability reasons | PJM will notify all zones that will be tested by the 21rst of the month preceding the scheduled test month Week ahead notice of two week test window. On the first business day of a week PJM will provide notice of all zones to be tested during the following 2 week testing window. The testing window opens the first business day of the week following the notice. For example: On Monday, July 8, 2019 PJM gives notice that resources in PECO zone will be tested between Monday, July 15 and Friday, July 26. Day before the operating day, by 10am - all zones that will be tested. Event Day - CSP notified for each Registration based on lead time through standard DR Hub webservices procedure PJM can cancel test on event day for reliability reasons | Low - High
11b | Notification time prior to retest | high | CSP notifies PJM at least 48 hours prior to retest. PJM can cancel for reliability reasons. | Same as DR | Status Quo | CSP directed is Status Quo PJM directed is day before test day and event day notifications. | same as PJM1a | Medium
12a | Test notification method | medium | CSP schedules test in DR Hub. DR Hub electronically notifies CSP of test via webservices based on registration lead times and scheduled start time. CSP acknowledges receipt via webservices. | CSP schedules/notifies PJM through email or DR Hub | Prior to month: PJM to email CSP and post on webpage Week-ahead: PJM to email CSP and post on webpage Day before: PJM email to CSP and post on webpage Event day: CSP notified and acknowledges via DR Hub webservices. PJM posts on webpage. | Prior to month: PJM to email CSP and post on webpage Day before: PJM email to CSP and post on webpage Event day: CSP notified and acknowledges via DR Hub webservices. | Prior to monthWeek prior: PJM to email CSP and post on webpage Day before: PJM email to CSP and post on webpage Event day: CSP notified and acknowledges via DR Hub webservices. | Medium - High
12b | Retest notification method | medium | CSP schedules retest in DR Hub. DR Hub electronically notifies CSP of retest via webservices based on registration lead times and scheduled start time. CSP acknowledges receipt via webservices. | Same as Test method | Status Quo | CSP directed is Status Quo PJM directed is: Day before - PJM email to CSP and post on webpage Event day: CSP notified and acknowledges via DR Hub webservices. | same as PJM1a | High
13 | Resource Test Compliance Target | Medium | Summer average RPM commitment from June 1st through September 30th | PRD commitment on day of test | Summer average RPM commitment for summer test. Non-Summer average RPM commitment for Non-Summer test. Summer (June - Oct, May), Non-summer (Nov - Apr) | Status Quo | same as PJM1a
14 | Deadline to submit compliance data | Medium | Test data must be submitted on or after June 1 and no later than July 14 of next Delivery Year | Same as DR | Status Quo | Status Quo | same as PJM1a
15 | Energy market compensation (and associated cost allocation) during test/retest hours | medium | None | None | same as PJM 1a | Energy Settlement for LM Full registrations only at RT LMP, no make whole payment (strike price or shutdown cost are excluded for DR). Load reduction based on current Load Management energy settlement rules (CBL on Load Management registration minus meter load). Submission of data is optional; A CSP can opt not to submit energy settlement data if it prefers no compensation for testing.Submitted energy settlement may only result in a credit and not a charge. Cost allocation based on existing Economic DR rules except no NBT threshold (allocated to real time load in zone plus exports). PRD does not receive energy revenue. LM and PRD do not set LMP during test | same as PJM1a
16 | Test Penalty Application |  | Test penalty is applied to shortfall based on test and eligible retest performance relative to compliance target | Same as DR | same as PJM 1a | status quo except registration performance based on 2 hour average reduction | same as PJM1a
17 | Effective date for changes |  | na |  | same as PJM1a | Changes effective for 2023/2024 Delivery Year | same as PJM1a
Notes:
CSP is applicable to PRD Provider

## 3a. Package Details
DRS
Load Management/PRD Testing Requirements
PACKAGE / PROPOSAL DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of package components than the Package Matrix allows.
Package Solutions2
| A | B | C | D | E
1 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
2 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
3 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
4 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
5 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>

## Parking Lot
DRS
Load Management/PRD Testing Requirements
PARKING LOT
Instructions: Use this space to document any items not specific to another topic area.
Description

## Revision History
DRS
Load Management/PRD Testing Requirements
Revision History
Current Spreadsheet Version:
Instructions: Document all version changes to this matrix for easy identification of changes.
Version | Posting Date | Description of changes
1
2
3