## Table of Contents
Table of Contents
Click on Table Name
Wholesale Cost
Monthly Weather and Energy
Daily Weather and Energy
System Marginal Price
Monthly Generation Fuel Mix
Daily Generation Fuel Mix
Monthly Uplift
Monthly Zonal Uplift
Daily Uplift
High Uplift Days
Uneconomic CC, CT, Steam Hours
Reliability and Deviations BOR
Operating Reserve
Balancing Operating Reserve MWh
Balancing Operating Reserve $
Monthly LOC
Daily LOC
Monthly Load Weighted LMP
Annual LMP Averages
LMP Suspensions and Reruns
Annual DR Estimated Revenue
Demand Response
Incs, Decs and Up-Tos
Congestion and FTR Revenue
Balancing Congestion Facilities
Average Interface Prices
Market to Market Congestion
Regulation and Sync Reserve
Regulation Daily
Synchronized Reserve Daily
Daily Marginal Losses
Monthly Marginal Losses
Sychronized Reserve Performance
Shortage Pricing Intervals
Shortage Interval Constraints

## Wholesale Cost
Wholesale Cost
($/MWh of Load)
Click to return to Table of Contents
Year | Energy | Reliability Capacity | Transmission | Regulation | Operating Reserve | PJM Cost | Reactive | Transmission Owner Control | Synchronized Reserve | Black Start | Total
2020 | 21.65 | 9.45 | 11.03 | 0.1 | 0.12 | 0.38 | 0.47 | 0.09 | 0.03 | 0.09 | 43.41
2021 | 39.79 | 11.04 | 11.72 | 0.18 | 0.23 | 0.38 | 0.47 | 0.09 | 0.07 | 0.09 | 64.07
2022 | 80.17 | 8 | 12.5 | 0.37 | 0.37 | 0.4 | 0.48 | 0.07 | 0.11 | 0.09 | 102.56
2023 | 31.09 | 3.89 | 13.75 | 0.17 | 0.21 | 0.4 | 0.5 | 0.08 | 0.01 | 0.09 | 50.18
2024 | 33.75 | 3.09 | 14.62 | 0.23 | 0.34 | 0.4 | 0.48 | 0.09 | 0.01 | 0.09 | 53.1

## Monthly Weather and Energy
Monthly Weather and Energy
Click to return to Table of Contents
Date | Current Month HDD+CDD | Monthly Average HDD+CDD | Current Month Energy (TWh) | Monthly Average Energy (TWh)
DEC22 | 747.38 | 730.72 | 71.64 | 68.94
JAN23 | 622.48 | 880.68 | 68.24 | 72.41
FEB23 | 521.29 | 728.06 | 60.28 | 64.13
MAR23 | 510.36 | 542.86 | 63.9 | 64.17
APR23 | 210.04 | 255.95 | 55.53 | 56.65
MAY23 | 97.85 | 144.27 | 58.01 | 60.29
JUN23 | 170.64 | 238.84 | 62.69 | 67.62
JUL23 | 383.35 | 353.72 | 77.36 | 76.39
AUG23 | 305.88 | 312.01 | 73.72 | 74.96
SEP23 | 158.98 | 159.96 | 63.37 | 63.22
OCT23 | 163.71 | 190.26 | 58.61 | 59.36
NOV23 | 427.57 | 438.6 | 61.46 | 60.53
DEC23 | 541.21 | 731.39 | 66.96 | 69.05
JAN24 | 801.98 | 870.75 | 74.38 | 72.25
FEB24 | 538.96 | 720.11 | 63.32 | 63.98
MAR24 | 385.73 | 541.61 | 61.74 | 64.16
APR24 | 198.95 | 254.18 | 57.19 | 56.61
MAY24 | 128.36 | 142.48 | 62.36 | 60.2
JUN24 | 327.13 | 236.22 | 72.06 | 67.43
JUL24 | 404.84 | 354.86 | 79.95 | 76.43
AUG24 | 325.62 | 311.77 | 75.81 | 74.91
SEP24 | 157.64 | 159.93 | 63.03 | 63.22
OCT24 | 111.1 | 189.24 | 58.76 | 59.33
NOV24 | 334.16 | 438.17 | 59.66 | 60.57
DEC24 | 698.67 | 724.08 | 71.86 | 68.97

## Daily Weather and Energy
Daily Weather and Energy
Click to return to Table of Contents
Date | Current Day HDD+CDD | Daily Average HDD+CDD | Current Day Energy (TWh) | Daily Average Energy (TWh) | Current Day Average Temperature | Daily Average Temperature
01DEC2024 | 30.79 | 23.39 | 2.3097 | 2.2 | 29.21 | 36.64
02DEC2024 | 31.01 | 23.39 | 2.5002 | 2.2 | 28.99 | 36.64
03DEC2024 | 30.15 | 23.39 | 2.5481 | 2.2 | 29.85 | 36.64
04DEC2024 | 27.11 | 23.39 | 2.5672 | 2.2 | 32.89 | 36.64
05DEC2024 | 29.18 | 23.39 | 2.5468 | 2.2 | 30.82 | 36.64
06DEC2024 | 32.03 | 23.39 | 2.6024 | 2.2 | 27.97 | 36.64
07DEC2024 | 26.44 | 23.39 | 2.3959 | 2.2 | 33.56 | 36.64
08DEC2024 | 13.16 | 23.39 | 2.0942 | 2.2 | 46.84 | 36.64
09DEC2024 | 11.97 | 23.39 | 2.1869 | 2.2 | 48.03 | 36.64
10DEC2024 | 13.33 | 23.39 | 2.1738 | 2.2 | 46.67 | 36.64
11DEC2024 | 17.03 | 23.39 | 2.2604 | 2.2 | 42.97 | 36.64
12DEC2024 | 31.88 | 23.39 | 2.5157 | 2.2 | 28.12 | 36.64
13DEC2024 | 32 | 23.39 | 2.5439 | 2.2 | 28 | 36.64
14DEC2024 | 27.97 | 23.39 | 2.3786 | 2.2 | 32.03 | 36.64
15DEC2024 | 21.6 | 23.39 | 2.2797 | 2.2 | 38.4 | 36.64
16DEC2024 | 13.67 | 23.39 | 2.2707 | 2.2 | 46.33 | 36.64
17DEC2024 | 12.27 | 23.39 | 2.1576 | 2.2 | 47.73 | 36.64
18DEC2024 | 18.8 | 23.39 | 2.2604 | 2.2 | 41.2 | 36.64
19DEC2024 | 21.83 | 23.39 | 2.3164 | 2.2 | 38.17 | 36.64
20DEC2024 | 24.49 | 23.39 | 2.4153 | 2.2 | 35.51 | 36.64
21DEC2024 | 30.81 | 23.39 | 2.4156 | 2.2 | 29.19 | 36.64
22DEC2024 | 36.04 | 23.39 | 2.5354 | 2.2 | 23.96 | 36.64
23DEC2024 | 32.21 | 23.39 | 2.617 | 2.2 | 27.79 | 36.64
24DEC2024 | 24.25 | 23.39 | 2.3132 | 2.2 | 35.75 | 36.64
25DEC2024 | 22.68 | 23.39 | 2.1138 | 2.2 | 37.32 | 36.64
26DEC2024 | 22.41 | 23.39 | 2.2717 | 2.2 | 37.59 | 36.64
27DEC2024 | 19.07 | 23.39 | 2.2555 | 2.2 | 40.93 | 36.64
28DEC2024 | 10.63 | 23.39 | 2.0139 | 2.2 | 49.37 | 36.64
29DEC2024 | 6.45 | 23.39 | 1.9008 | 2.2 | 53.83 | 36.64
30DEC2024 | 11.84 | 23.39 | 2.0156 | 2.2 | 48.16 | 36.64
31DEC2024 | 15.56 | 23.39 | 2.0838 | 2.2 | 44.44 | 36.64

## System Marginal Price
Daily Difference in Day-Ahead and Real-Time System Marginal Price
($/MWh of Load)
Click to return to Table of Contents
Date | DA SMP - RT SMP
01DEC2024 | 3.11
02DEC2024 | 23.61
03DEC2024 | $-6.85
04DEC2024 | $-31.54
05DEC2024 | 10.67
06DEC2024 | 5.52
07DEC2024 | 4.3
08DEC2024 | 2.21
09DEC2024 | 2.17
10DEC2024 | $-8.68
11DEC2024 | 3.87
12DEC2024 | 4.36
13DEC2024 | 10.04
14DEC2024 | $-3.65
15DEC2024 | $-2.60
16DEC2024 | 1.31
17DEC2024 | 1.46
18DEC2024 | 1.17
19DEC2024 | $-2.50
20DEC2024 | $-0.98
21DEC2024 | 5.99
22DEC2024 | 16.97
23DEC2024 | 18.22
24DEC2024 | 1.5
25DEC2024 | 1.33
26DEC2024 | $-4.58
27DEC2024 | $-0.02
28DEC2024 | 1.63
29DEC2024 | 2.97
30DEC2024 | 3.46
31DEC2024 | 1.47

## Monthly Generation Fuel Mix
Monthly Generation Fuel Mix
(MWh)
Click to return to Table of Contents
Date | COAL | FLYWHEEL | GAS | HYDRO | MULTIPLE FUELS | NUCLEAR | OIL | OTHER | OTHER RENEWABLES | SOLAR | STORAGE | WIND | Total
01DEC2022 | 15950358.8 | 0 | 27831147.4 | 1465030 | 328253.2 | 24517964.8 | 653693.7 | 127096.8 | 475959.6 | 311577.3 | 0 | 3113889.6 | 74774971.2
01JAN2023 | 10977371 | 0 | 30436566.8 | 1572855.5 | 150051.2 | 24512234.5 | 186011.5 | 281888.4 | 431908.1 | 324008 | 0 | 2942137.6 | 71815032.6
01FEB2023 | 9309541 | 0 | 27231164 | 1164131 | 114850 | 21442584 | 194771 | 53901 | 375905 | 482879 | 0 | 3477932 | 63847658
01MAR2023 | 10328020 | 0 | 29041912 | 1328819 | 63734 | 22010003 | 235151 | . | 426604 | 760638 | 0 | 3647419 | 67842300
01APR2023 | 8665803 | 0 | 23451828 | 1158282 | 272148 | 20094334 | 209909 | . | 401803 | 861377 | 0 | 2863473 | 57978957
01MAY2023 | 7479791 | 0 | 26083118 | 1361315 | 387790 | 22264117 | 295883 | . | 463135 | 994550 | 7 | 2174829 | 61504535
01JUN2023 | 8636595 | 0 | 31546914 | 1205666 | 399217 | 23467135 | 246157 | . | 462046 | 1013308 | 183 | 1762604 | 68739825
01JUL2023 | 14351713 | 0 | 39505956 | 1563237 | 750243 | 24131711 | 372749 | . | 440113 | 1142976 | 0 | 1110364 | 83369062
01AUG2023 | 13779857 | 0 | 37345688 | 1538111 | 662632 | 23909525 | 268971 | . | 466038 | 1040919 | 0 | 1553830 | 80565571
01SEP2023 | 9813493 | 0 | 31863518 | 1231085 | 508916 | 22680741 | 228611 | . | 397549 | 923233 | 0 | 1307310 | 68954456
01OCT2023 | 7533619 | 0 | 25957413 | 852402 | 754440 | 21841412 | 197416 | . | 412299 | 848661 | 0 | 2654021 | 61051683
01NOV2023 | 9036621 | 0 | 27200160 | 982961 | 476658 | 22700537 | 93795 | . | 424408 | 703973 | 481 | 3123310 | 64742904
01DEC2023 | 10795016 | 0 | 30035998 | 1485870 | 304527 | 24223992 | 177632 | . | 477930 | 499044 | 2240 | 2835646 | 70837895
01JAN2024 | 15744159 | 0 | 32212735 | 1748274 | 312310 | 24747592 | 290586 | . | 467623 | 526476 | 2282 | 3086186 | 79138223
01FEB2024 | 8443876 | 0 | 30367316 | 1463238 | 121485 | 22491309 | 132788 | . | 443076 | 949494 | 2502 | 2956887 | 67371971
01MAR2024 | 6787670 | 0 | 29616405 | 1501000 | 232194 | 21924053 | 176063 | . | 421385 | 1153231 | 2740 | 3835359 | 65650100
01APR2024 | 7535609 | 0 | 25623721 | 1367620 | 690440 | 19094804 | 221613 | . | 416482 | 1366851 | 1896 | 3553708 | 59872744
01MAY2024 | 9129680 | 0 | 26896008 | 1576713 | 561308 | 22146993 | 461021 | . | 456956 | 1548543 | 2251 | 2125663 | 64905136
01JUN2024 | 13402408 | 0 | 33544145 | 1357866 | 772823 | 23225469 | 419930 | . | 485501 | 2003012 | 1145 | 2219142 | 77431441
01JUL2024 | 14411434 | 0 | 39353739 | 1392881 | 1103256 | 23682540 | 795430 | . | 445692 | 1890689 | 817 | 1148392 | 84224870
01AUG2024 | 13172119 | 0 | 37176338 | 1628981 | 919667 | 24103144 | 493632 | . | 471754 | 1817896 | 1351 | 1227908 | 81012790
01SEP2024 | 7336552 | 0 | 31850488 | 1023270 | 817142 | 22601096 | 317348 | . | 380492 | 1392491 | 1502 | 1484255 | 67204636
01OCT2024 | 6920518 | 0 | 24822127 | 755415 | 1126682 | 22021165 | 307203 | . | 355042 | 1630068 | 2043 | 2639616 | 60579879
01NOV2024 | 7158110 | 0 | 26351485 | 830245 | 832843 | 21936312 | 231622 | . | 382288 | 994917 | 1573 | 3376246 | 62095641
01DEC2024 | 12475687 | 0 | 30822290 | 1322061 | 295167 | 24968208 | 273087 | . | 460665 | 879679 | 1760 | 3484832 | 74983436

## Daily Generation Fuel Mix
Daily Generation Fuel Mix
(MWh)
Click to return to Table of Contents
Date | COAL | FLYWHEEL | GAS | HYDRO | MULTIPLE FUELS | NUCLEAR | OIL | OTHER | OTHER RENEWABLES | SOLAR | STORAGE | WIND | Total
01DEC2024 | 395305 | 0 | 1011734 | 34853 | 17028 | 793521 | 7776 | . | 14435 | 37560 | 71 | 101073 | 2413356
01DEC2024 | 395305 | 0 | 1011734 | 34853 | 17028 | 793521 | 7776 | . | 14435 | 37560 | 71 | 101073 | 2413356
01DEC2024 | 395305 | 0 | 1011734 | 34853 | 17028 | 793521 | 7776 | . | 14435 | 37560 | 71 | 101073 | 2413356
01DEC2024 | 395305 | 0 | 1011734 | 34853 | 17028 | 793521 | 7776 | . | 14435 | 37560 | 71 | 101073 | 2413356
02DEC2024 | 463904 | 0 | 1141645 | 53213 | 20954 | 793561 | 11173 | . | 14023 | 43075 | 28 | 61033 | 2602609
02DEC2024 | 463904 | 0 | 1141645 | 53213 | 20954 | 793561 | 11173 | . | 14023 | 43075 | 28 | 61033 | 2602609
02DEC2024 | 463904 | 0 | 1141645 | 53213 | 20954 | 793561 | 11173 | . | 14023 | 43075 | 28 | 61033 | 2602609
02DEC2024 | 463904 | 0 | 1141645 | 53213 | 20954 | 793561 | 11173 | . | 14023 | 43075 | 28 | 61033 | 2602609
03DEC2024 | 453890 | 0 | 1132917 | 45644 | 18083 | 793369 | 26111 | . | 13042 | 38005 | 87 | 115802 | 2636950
03DEC2024 | 453890 | 0 | 1132917 | 45644 | 18083 | 793369 | 26111 | . | 13042 | 38005 | 87 | 115802 | 2636950
03DEC2024 | 453890 | 0 | 1132917 | 45644 | 18083 | 793369 | 26111 | . | 13042 | 38005 | 87 | 115802 | 2636950
03DEC2024 | 453890 | 0 | 1132917 | 45644 | 18083 | 793369 | 26111 | . | 13042 | 38005 | 87 | 115802 | 2636950
04DEC2024 | 456342 | 0 | 1102819 | 38737 | 13489 | 793440 | 38085 | . | 12628 | 28381 | 79 | 189158 | 2673158
04DEC2024 | 456342 | 0 | 1102819 | 38737 | 13489 | 793440 | 38085 | . | 12628 | 28381 | 79 | 189158 | 2673158
04DEC2024 | 456342 | 0 | 1102819 | 38737 | 13489 | 793440 | 38085 | . | 12628 | 28381 | 79 | 189158 | 2673158
04DEC2024 | 456342 | 0 | 1102819 | 38737 | 13489 | 793440 | 38085 | . | 12628 | 28381 | 79 | 189158 | 2673158
05DEC2024 | 430359 | 0 | 1133286 | 39500 | 11382 | 789661 | 19843 | . | 12322 | 37164 | 58 | 190870 | 2664445
05DEC2024 | 430359 | 0 | 1133286 | 39500 | 11382 | 789661 | 19843 | . | 12322 | 37164 | 58 | 190870 | 2664445
05DEC2024 | 430359 | 0 | 1133286 | 39500 | 11382 | 789661 | 19843 | . | 12322 | 37164 | 58 | 190870 | 2664445
05DEC2024 | 430359 | 0 | 1133286 | 39500 | 11382 | 789661 | 19843 | . | 12322 | 37164 | 58 | 190870 | 2664445
06DEC2024 | 460040 | 0 | 1145457 | 40505 | 8422 | 760474 | 15562 | . | 12650 | 44091 | 70 | 110706 | 2597977
06DEC2024 | 460040 | 0 | 1145457 | 40505 | 8422 | 760474 | 15562 | . | 12650 | 44091 | 70 | 110706 | 2597977
06DEC2024 | 460040 | 0 | 1145457 | 40505 | 8422 | 760474 | 15562 | . | 12650 | 44091 | 70 | 110706 | 2597977
06DEC2024 | 460040 | 0 | 1145457 | 40505 | 8422 | 760474 | 15562 | . | 12650 | 44091 | 70 | 110706 | 2597977
07DEC2024 | 415116 | 0 | 1010504 | 33745 | 13734 | 791967 | 8339 | . | 14621 | 44947 | 63 | 161896 | 2494932
07DEC2024 | 415116 | 0 | 1010504 | 33745 | 13734 | 791967 | 8339 | . | 14621 | 44947 | 63 | 161896 | 2494932
07DEC2024 | 415116 | 0 | 1010504 | 33745 | 13734 | 791967 | 8339 | . | 14621 | 44947 | 63 | 161896 | 2494932
07DEC2024 | 415116 | 0 | 1010504 | 33745 | 13734 | 791967 | 8339 | . | 14621 | 44947 | 63 | 161896 | 2494932
08DEC2024 | 318070 | 0 | 851906 | 24187 | 2928 | 802996 | 5057 | . | 14199 | 46035 | 72 | 179420 | 2244870
08DEC2024 | 318070 | 0 | 851906 | 24187 | 2928 | 802996 | 5057 | . | 14199 | 46035 | 72 | 179420 | 2244870
08DEC2024 | 318070 | 0 | 851906 | 24187 | 2928 | 802996 | 5057 | . | 14199 | 46035 | 72 | 179420 | 2244870
08DEC2024 | 318070 | 0 | 851906 | 24187 | 2928 | 802996 | 5057 | . | 14199 | 46035 | 72 | 179420 | 2244870
09DEC2024 | 362888 | 0 | 913836 | 34587 | 7110 | 808862 | 5147 | . | 14287 | 12916 | 58 | 120688 | 2280379
09DEC2024 | 362888 | 0 | 913836 | 34587 | 7110 | 808862 | 5147 | . | 14287 | 12916 | 58 | 120688 | 2280379
09DEC2024 | 362888 | 0 | 913836 | 34587 | 7110 | 808862 | 5147 | . | 14287 | 12916 | 58 | 120688 | 2280379
09DEC2024 | 362888 | 0 | 913836 | 34587 | 7110 | 808862 | 5147 | . | 14287 | 12916 | 58 | 120688 | 2280379
10DEC2024 | 391944 | 0 | 927012 | 31504 | 10337 | 811776 | 7348 | . | 14101 | 9867 | 58 | 82537 | 2286484
10DEC2024 | 391944 | 0 | 927012 | 31504 | 10337 | 811776 | 7348 | . | 14101 | 9867 | 58 | 82537 | 2286484
10DEC2024 | 391944 | 0 | 927012 | 31504 | 10337 | 811776 | 7348 | . | 14101 | 9867 | 58 | 82537 | 2286484
10DEC2024 | 391944 | 0 | 927012 | 31504 | 10337 | 811776 | 7348 | . | 14101 | 9867 | 58 | 82537 | 2286484
11DEC2024 | 397383 | 0 | 949666 | 35374 | 6154 | 812172 | 6393 | . | 13370 | 6060 | 60 | 136145 | 2362777
11DEC2024 | 397383 | 0 | 949666 | 35374 | 6154 | 812172 | 6393 | . | 13370 | 6060 | 60 | 136145 | 2362777
11DEC2024 | 397383 | 0 | 949666 | 35374 | 6154 | 812172 | 6393 | . | 13370 | 6060 | 60 | 136145 | 2362777
11DEC2024 | 397383 | 0 | 949666 | 35374 | 6154 | 812172 | 6393 | . | 13370 | 6060 | 60 | 136145 | 2362777
12DEC2024 | 474436 | 0 | 1134467 | 48814 | 22496 | 814809 | 7902 | . | 13837 | 43312 | 54 | 88942 | 2649069
12DEC2024 | 474436 | 0 | 1134467 | 48814 | 22496 | 814809 | 7902 | . | 13837 | 43312 | 54 | 88942 | 2649069
12DEC2024 | 474436 | 0 | 1134467 | 48814 | 22496 | 814809 | 7902 | . | 13837 | 43312 | 54 | 88942 | 2649069
12DEC2024 | 474436 | 0 | 1134467 | 48814 | 22496 | 814809 | 7902 | . | 13837 | 43312 | 54 | 88942 | 2649069
13DEC2024 | 463844 | 0 | 1132858 | 52937 | 22080 | 812514 | 8950 | . | 15697 | 35199 | 14 | 69220 | 2613313
13DEC2024 | 463844 | 0 | 1132858 | 52937 | 22080 | 812514 | 8950 | . | 15697 | 35199 | 14 | 69220 | 2613313
13DEC2024 | 463844 | 0 | 1132858 | 52937 | 22080 | 812514 | 8950 | . | 15697 | 35199 | 14 | 69220 | 2613313
13DEC2024 | 463844 | 0 | 1132858 | 52937 | 22080 | 812514 | 8950 | . | 15697 | 35199 | 14 | 69220 | 2613313
14DEC2024 | 401359 | 0 | 977974 | 51600 | 10200 | 807758 | 6701 | . | 15649 | 36442 | 67 | 166188 | 2473938
14DEC2024 | 401359 | 0 | 977974 | 51600 | 10200 | 807758 | 6701 | . | 15649 | 36442 | 67 | 166188 | 2473938
14DEC2024 | 401359 | 0 | 977974 | 51600 | 10200 | 807758 | 6701 | . | 15649 | 36442 | 67 | 166188 | 2473938
14DEC2024 | 401359 | 0 | 977974 | 51600 | 10200 | 807758 | 6701 | . | 15649 | 36442 | 67 | 166188 | 2473938
15DEC2024 | 380692 | 0 | 980403 | 53478 | 7462 | 811408 | 5276 | . | 15281 | 10811 | 61 | 95462 | 2360334
15DEC2024 | 380692 | 0 | 980403 | 53478 | 7462 | 811408 | 5276 | . | 15281 | 10811 | 61 | 95462 | 2360334
15DEC2024 | 380692 | 0 | 980403 | 53478 | 7462 | 811408 | 5276 | . | 15281 | 10811 | 61 | 95462 | 2360334
15DEC2024 | 380692 | 0 | 980403 | 53478 | 7462 | 811408 | 5276 | . | 15281 | 10811 | 61 | 95462 | 2360334
16DEC2024 | 376780 | 0 | 910002 | 55642 | 7740 | 812604 | 4870 | . | 15160 | 8652 | 57 | 149973 | 2341480
16DEC2024 | 376780 | 0 | 910002 | 55642 | 7740 | 812604 | 4870 | . | 15160 | 8652 | 57 | 149973 | 2341480
16DEC2024 | 376780 | 0 | 910002 | 55642 | 7740 | 812604 | 4870 | . | 15160 | 8652 | 57 | 149973 | 2341480
16DEC2024 | 376780 | 0 | 910002 | 55642 | 7740 | 812604 | 4870 | . | 15160 | 8652 | 57 | 149973 | 2341480
17DEC2024 | 360508 | 0 | 907758 | 48856 | 5678 | 812472 | 5242 | . | 15528 | 33762 | 59 | 97552 | 2287415
17DEC2024 | 360508 | 0 | 907758 | 48856 | 5678 | 812472 | 5242 | . | 15528 | 33762 | 59 | 97552 | 2287415
17DEC2024 | 360508 | 0 | 907758 | 48856 | 5678 | 812472 | 5242 | . | 15528 | 33762 | 59 | 97552 | 2287415
17DEC2024 | 360508 | 0 | 907758 | 48856 | 5678 | 812472 | 5242 | . | 15528 | 33762 | 59 | 97552 | 2287415
18DEC2024 | 398266 | 0 | 978126 | 44800 | 8635 | 813651 | 4741 | . | 14987 | 16360 | 50 | 83671 | 2363287
18DEC2024 | 398266 | 0 | 978126 | 44800 | 8635 | 813651 | 4741 | . | 14987 | 16360 | 50 | 83671 | 2363287
18DEC2024 | 398266 | 0 | 978126 | 44800 | 8635 | 813651 | 4741 | . | 14987 | 16360 | 50 | 83671 | 2363287
18DEC2024 | 398266 | 0 | 978126 | 44800 | 8635 | 813651 | 4741 | . | 14987 | 16360 | 50 | 83671 | 2363287
19DEC2024 | 415589 | 0 | 999677 | 46160 | 8184 | 813621 | 7241 | . | 16069 | 25010 | 63 | 62679 | 2394293
19DEC2024 | 415589 | 0 | 999677 | 46160 | 8184 | 813621 | 7241 | . | 16069 | 25010 | 63 | 62679 | 2394293
19DEC2024 | 415589 | 0 | 999677 | 46160 | 8184 | 813621 | 7241 | . | 16069 | 25010 | 63 | 62679 | 2394293
19DEC2024 | 415589 | 0 | 999677 | 46160 | 8184 | 813621 | 7241 | . | 16069 | 25010 | 63 | 62679 | 2394293
20DEC2024 | 454335 | 0 | 1031579 | 46029 | 9002 | 814650 | 7095 | . | 16331 | 12224 | 64 | 131745 | 2523054
20DEC2024 | 454335 | 0 | 1031579 | 46029 | 9002 | 814650 | 7095 | . | 16331 | 12224 | 64 | 131745 | 2523054
20DEC2024 | 454335 | 0 | 1031579 | 46029 | 9002 | 814650 | 7095 | . | 16331 | 12224 | 64 | 131745 | 2523054
20DEC2024 | 454335 | 0 | 1031579 | 46029 | 9002 | 814650 | 7095 | . | 16331 | 12224 | 64 | 131745 | 2523054
21DEC2024 | 462965 | 0 | 1055613 | 40509 | 9669 | 814913 | 5026 | . | 16488 | 36838 | 75 | 53417 | 2495513
21DEC2024 | 462965 | 0 | 1055613 | 40509 | 9669 | 814913 | 5026 | . | 16488 | 36838 | 75 | 53417 | 2495513
21DEC2024 | 462965 | 0 | 1055613 | 40509 | 9669 | 814913 | 5026 | . | 16488 | 36838 | 75 | 53417 | 2495513
21DEC2024 | 462965 | 0 | 1055613 | 40509 | 9669 | 814913 | 5026 | . | 16488 | 36838 | 75 | 53417 | 2495513
22DEC2024 | 507576 | 0 | 1044175 | 52431 | 13618 | 815289 | 7118 | . | 16117 | 45335 | 55 | 91763 | 2593477
22DEC2024 | 507576 | 0 | 1044175 | 52431 | 13618 | 815289 | 7118 | . | 16117 | 45335 | 55 | 91763 | 2593477
22DEC2024 | 507576 | 0 | 1044175 | 52431 | 13618 | 815289 | 7118 | . | 16117 | 45335 | 55 | 91763 | 2593477
22DEC2024 | 507576 | 0 | 1044175 | 52431 | 13618 | 815289 | 7118 | . | 16117 | 45335 | 55 | 91763 | 2593477
23DEC2024 | 522459 | 0 | 1068795 | 56014 | 15140 | 814493 | 8943 | . | 15169 | 39748 | 65 | 142731 | 2683557
23DEC2024 | 522459 | 0 | 1068795 | 56014 | 15140 | 814493 | 8943 | . | 15169 | 39748 | 65 | 142731 | 2683557
23DEC2024 | 522459 | 0 | 1068795 | 56014 | 15140 | 814493 | 8943 | . | 15169 | 39748 | 65 | 142731 | 2683557
23DEC2024 | 522459 | 0 | 1068795 | 56014 | 15140 | 814493 | 8943 | . | 15169 | 39748 | 65 | 142731 | 2683557
24DEC2024 | 458702 | 0 | 1041603 | 39213 | 7472 | 814645 | 4482 | . | 15143 | 17880 | 61 | 37953 | 2437154
24DEC2024 | 458702 | 0 | 1041603 | 39213 | 7472 | 814645 | 4482 | . | 15143 | 17880 | 61 | 37953 | 2437154
24DEC2024 | 458702 | 0 | 1041603 | 39213 | 7472 | 814645 | 4482 | . | 15143 | 17880 | 61 | 37953 | 2437154
24DEC2024 | 458702 | 0 | 1041603 | 39213 | 7472 | 814645 | 4482 | . | 15143 | 17880 | 61 | 37953 | 2437154
25DEC2024 | 363992 | 0 | 956836 | 28303 | 2855 | 814490 | 4620 | . | 15519 | 21908 | 57 | 32205 | 2240785
25DEC2024 | 363992 | 0 | 956836 | 28303 | 2855 | 814490 | 4620 | . | 15519 | 21908 | 57 | 32205 | 2240785
25DEC2024 | 363992 | 0 | 956836 | 28303 | 2855 | 814490 | 4620 | . | 15519 | 21908 | 57 | 32205 | 2240785
25DEC2024 | 363992 | 0 | 956836 | 28303 | 2855 | 814490 | 4620 | . | 15519 | 21908 | 57 | 32205 | 2240785
26DEC2024 | 358595 | 0 | 1003955 | 51932 | 3512 | 814052 | 5521 | . | 15587 | 27937 | 75 | 60377 | 2341543
26DEC2024 | 358595 | 0 | 1003955 | 51932 | 3512 | 814052 | 5521 | . | 15587 | 27937 | 75 | 60377 | 2341543
26DEC2024 | 358595 | 0 | 1003955 | 51932 | 3512 | 814052 | 5521 | . | 15587 | 27937 | 75 | 60377 | 2341543
26DEC2024 | 358595 | 0 | 1003955 | 51932 | 3512 | 814052 | 5521 | . | 15587 | 27937 | 75 | 60377 | 2341543
27DEC2024 | 329621 | 0 | 957649 | 40801 | 5772 | 811283 | 9532 | . | 15889 | 17095 | 42 | 139924 | 2327608
27DEC2024 | 329621 | 0 | 957649 | 40801 | 5772 | 811283 | 9532 | . | 15889 | 17095 | 42 | 139924 | 2327608
27DEC2024 | 329621 | 0 | 957649 | 40801 | 5772 | 811283 | 9532 | . | 15889 | 17095 | 42 | 139924 | 2327608
27DEC2024 | 329621 | 0 | 957649 | 40801 | 5772 | 811283 | 9532 | . | 15889 | 17095 | 42 | 139924 | 2327608
28DEC2024 | 296199 | 0 | 882682 | 36728 | 3684 | 783468 | 5112 | . | 15550 | 18384 | 32 | 98264 | 2140103
28DEC2024 | 296199 | 0 | 882682 | 36728 | 3684 | 783468 | 5112 | . | 15550 | 18384 | 32 | 98264 | 2140103
28DEC2024 | 296199 | 0 | 882682 | 36728 | 3684 | 783468 | 5112 | . | 15550 | 18384 | 32 | 98264 | 2140103
28DEC2024 | 296199 | 0 | 882682 | 36728 | 3684 | 783468 | 5112 | . | 15550 | 18384 | 32 | 98264 | 2140103
29DEC2024 | 269935 | 0 | 779245 | 34958 | 1094 | 800447 | 4620 | . | 15591 | 15128 | 33 | 145643 | 2066694
29DEC2024 | 269935 | 0 | 779245 | 34958 | 1094 | 800447 | 4620 | . | 15591 | 15128 | 33 | 145643 | 2066694
29DEC2024 | 269935 | 0 | 779245 | 34958 | 1094 | 800447 | 4620 | . | 15591 | 15128 | 33 | 145643 | 2066694
29DEC2024 | 269935 | 0 | 779245 | 34958 | 1094 | 800447 | 4620 | . | 15591 | 15128 | 33 | 145643 | 2066694
30DEC2024 | 303862 | 0 | 855101 | 43839 | 1181 | 808528 | 4731 | . | 15407 | 42561 | 34 | 92679 | 2167923
30DEC2024 | 303862 | 0 | 855101 | 43839 | 1181 | 808528 | 4731 | . | 15407 | 42561 | 34 | 92679 | 2167923
30DEC2024 | 303862 | 0 | 855101 | 43839 | 1181 | 808528 | 4731 | . | 15407 | 42561 | 34 | 92679 | 2167923
30DEC2024 | 303862 | 0 | 855101 | 43839 | 1181 | 808528 | 4731 | . | 15407 | 42561 | 34 | 92679 | 2167923
31DEC2024 | 330731 | 0 | 803010 | 37168 | 72 | 811314 | 4530 | . | 15988 | 26992 | 38 | 195116 | 2224959
31DEC2024 | 330731 | 0 | 803010 | 37168 | 72 | 811314 | 4530 | . | 15988 | 26992 | 38 | 195116 | 2224959
31DEC2024 | 330731 | 0 | 803010 | 37168 | 72 | 811314 | 4530 | . | 15988 | 26992 | 38 | 195116 | 2224959
31DEC2024 | 330731 | 0 | 803010 | 37168 | 72 | 811314 | 4530 | . | 15988 | 26992 | 38 | 195116 | 2224959

## Monthly Uplift
Monthly Uplift
Click to return to Table of Contents
Date | Day-Ahead Operating Reserve ($ Millions) | Balancing Operating Reserve ($ Millions) | Reactive ($ Millions) | Blackstart ($ Millions) | Lost Opportunity Cost ($ Millions) | Total Uplift ($ Millions) | Day-Ahead Operating Reserve ($/MWh) | Balancing Operating Reserve ($/MWh) | Reactive ($/MWh) | Blackstart ($/MWh) | Lost Opportunity Cost ($/MWh) | Total Uplift ($/MWh)
DEC22 | 21.97 | 47.42 | 0.19 | 0 | 9.98 | 79.56 | 0.31 | 0.66 | 0 | 0 | 0.14 | 1.11
JAN23 | 1.68 | 4.01 | 0 | 0.01 | 1.91 | 7.6 | 0.02 | 0.06 | 0 | 0 | 0.03 | 0.11
FEB23 | 1.04 | 3.5 | 0 | 0.04 | 1.02 | 5.56 | 0.02 | 0.06 | 0 | 0 | 0.02 | 0.09
MAR23 | 1.32 | 4.29 | 0 | 0.06 | 0.67 | 6.28 | 0.02 | 0.07 | 0 | 0 | 0.01 | 0.1
APR23 | 2.01 | 10.69 | 0.38 | 0.05 | 1.47 | 14.55 | 0.04 | 0.19 | 0.01 | 0 | 0.03 | 0.26
MAY23 | 0.41 | 9.46 | 0 | 0.03 | 1.48 | 11.36 | 0.01 | 0.16 | 0 | 0 | 0.03 | 0.2
JUN23 | 1.77 | 5.68 | 0 | 0.01 | 1.44 | 8.89 | 0.03 | 0.09 | 0 | 0 | 0.02 | 0.14
JUL23 | 10.61 | 8.67 | 0 | 0.02 | 4.39 | 23.67 | 0.14 | 0.11 | 0 | 0 | 0.06 | 0.31
AUG23 | 12 | 5.15 | 0 | 0 | 2.26 | 19.41 | 0.16 | 0.07 | 0 | 0 | 0.03 | 0.26
SEP23 | 11.92 | 7.29 | 0.12 | 0 | 2.44 | 21.76 | 0.19 | 0.11 | 0 | 0 | 0.04 | 0.34
OCT23 | 2.84 | 12.23 | 0.11 | 0.02 | 1.54 | 16.73 | 0.05 | 0.21 | 0 | 0 | 0.03 | 0.29
NOV23 | 3.65 | 11.22 | 0 | 0.01 | 1.11 | 15.99 | 0.06 | 0.18 | 0 | 0 | 0.02 | 0.26
DEC23 | 0.45 | 5.34 | 0 | 0 | 1.96 | 7.75 | 0.01 | 0.08 | 0 | 0 | 0.03 | 0.12
JAN24 | 32.99 | 22.69 | 0.89 | 0 | 1.06 | 57.64 | 0.44 | 0.31 | 0.01 | 0 | 0.01 | 0.77
FEB24 | 1.24 | 4.42 | 0 | 0.06 | 0.9 | 6.56 | 0.02 | 0.07 | 0 | 0 | 0.01 | 0.1
MAR24 | 1.12 | 8.75 | 0 | 0.01 | 1.79 | 11.67 | 0.02 | 0.14 | 0 | 0 | 0.03 | 0.19
APR24 | 12.08 | 16.68 | 0 | 0.05 | 1.93 | 30.7 | 0.21 | 0.29 | 0 | 0 | 0.03 | 0.54
MAY24 | 12.47 | 18.83 | 0 | 0.05 | 1.85 | 33.16 | 0.2 | 0.3 | 0 | 0 | 0.03 | 0.53
JUN24 | 14.44 | 9.74 | 0.02 | 0.01 | 3.87 | 28.07 | 0.2 | 0.14 | 0 | 0 | 0.05 | 0.39
JUL24 | 8.36 | 4.78 | 0.04 | 0 | 6.58 | 19.75 | 0.1 | 0.06 | 0 | 0 | 0.08 | 0.25
AUG24 | 6.9 | 5.34 | 0.05 | 0.01 | 5.22 | 17.52 | 0.09 | 0.07 | 0 | 0 | 0.07 | 0.23
SEP24 | 4.4 | 4.76 | 0 | 0 | 2.01 | 11.16 | 0.07 | 0.08 | 0 | 0 | 0.03 | 0.18
OCT24 | 6.37 | 6.69 | 0.02 | 0.01 | 2.23 | 15.3 | 0.11 | 0.11 | 0 | 0 | 0.04 | 0.26
NOV24 | 3.22 | 7.7 | 0 | 0.01 | 0.9 | 11.82 | 0.05 | 0.13 | 0 | 0 | 0.02 | 0.2
DEC24 | 11.33 | 9.53 | 0.48 | 0 | 2.46 | 23.79 | 0.16 | 0.13 | 0.01 | 0 | 0.03 | 0.33

## Monthly Zonal Uplift
Monthly Zonal Uplift
($ Millions)
Click to return to Table of Contents
Date | Zone | Day-Ahead Operating Reserve | Balancing Operating Reserve | Reactive | Blackstart | Lost Opportunity Cost | Total Uplift
01DEC2024 | AECO | 0 | 0.02 | 0 | 0 | 0 | 0.02
01DEC2024 | AEP | 0.11 | 1.8 | 0 | 0 | 0.1 | 2.01
01DEC2024 | APS | 0.01 | 0.3 | 0.01 | 0 | 0.3 | 0.61
01DEC2024 | ATSI | 0 | 0.42 | 0 | 0 | 0.38 | 0.8
01DEC2024 | BGE | 9.38 | 3.05 | 0 | 0 | 0.01 | 12.44
01DEC2024 | COMED | 0.03 | 0.49 | 0 | 0 | 0.93 | 1.44
01DEC2024 | DAY | 0 | 0.39 | 0 | 0 | 0.03 | 0.41
01DEC2024 | DEOK | 0 | 0.33 | 0 | 0 | 0.04 | 0.37
01DEC2024 | DOM | 0.16 | 1.58 | 0 | 0 | 0.29 | 2.03
01DEC2024 | DPL | 0.03 | 0.08 | 0 | 0 | 0.05 | 0.15
01DEC2024 | DUQ | 0 | 0 | 0 | 0 | 0 | 0
01DEC2024 | EKPC | 0 | 0.15 | 0.46 | 0 | 0.02 | 0.63
01DEC2024 | JCPL | 0.03 | 0.03 | 0 | 0 | 0 | 0.05
01DEC2024 | METED | 0 | 0.14 | 0 | 0 | 0 | 0.15
01DEC2024 | PECO | 0.05 | 0.02 | 0 | 0 | 0 | 0.06
01DEC2024 | PENELEC | 0.01 | 0.18 | 0 | 0 | 0.12 | 0.31
01DEC2024 | PEPCO | 1.46 | 0.23 | 0 | 0 | 0.2 | 1.89
01DEC2024 | PPL | 0.07 | 0.09 | 0 | 0 | 0 | 0.16
01DEC2024 | PSEG | 0.01 | 0.23 | 0 | 0 | 0 | 0.24

## Daily Uplift
Daily Uplift
($ Millions)
Click to return to Table of Contents
Date | Day-Ahead Operating Reserve | Balancing Operating Reserve | Reactive | Blackstart | Lost Opportunity Cost | Total Uplift
01DEC2024 | 0.69 | 0.23 | 0 | 0 | 0 | 0.92
02DEC2024 | 0.44 | 0.27 | 0 | 0 | 0.1 | 0.81
03DEC2024 | 0.42 | 0.61 | 0 | 0 | 0.11 | 1.13
04DEC2024 | 0.45 | 0.89 | 0 | 0 | 0.85 | 2.19
05DEC2024 | 0.8 | 0.58 | 0 | 0 | 0.09 | 1.47
06DEC2024 | 0.39 | 0.57 | 0 | 0 | 0.3 | 1.25
07DEC2024 | 0.27 | 0.69 | 0 | 0 | 0.17 | 1.13
08DEC2024 | 0.59 | 0.01 | 0 | 0 | 0.01 | 0.61
09DEC2024 | 0.54 | 0.02 | 0 | 0 | 0.02 | 0.58
10DEC2024 | 0.53 | 0.17 | 0 | 0 | 0.01 | 0.71
11DEC2024 | 0.79 | 0.06 | 0 | 0 | 0.15 | 1
12DEC2024 | 0.77 | 0.54 | 0.04 | 0 | 0.26 | 1.62
13DEC2024 | 0.57 | 1.05 | 0.03 | 0 | 0.01 | 1.66
14DEC2024 | 0.63 | 0.25 | 0.1 | 0 | 0.02 | 1
15DEC2024 | 0.58 | 0.13 | 0.05 | 0 | 0 | 0.77
16DEC2024 | 0.63 | 0.05 | 0.05 | 0 | 0.02 | 0.75
17DEC2024 | 0 | 0.1 | 0.05 | 0 | 0.01 | 0.16
18DEC2024 | 0 | 0.15 | 0.05 | 0 | 0.01 | 0.21
19DEC2024 | 0 | 0.34 | 0.05 | 0 | 0.01 | 0.4
20DEC2024 | 0.01 | 0.27 | 0.03 | 0 | 0.04 | 0.34
21DEC2024 | 0.05 | 0.05 | 0 | 0 | 0 | 0.11
22DEC2024 | 0.81 | 0.2 | 0.01 | 0 | 0.01 | 1.03
23DEC2024 | 0.82 | 0.67 | 0 | 0 | 0.08 | 1.56
24DEC2024 | 0.01 | 0.56 | 0 | 0 | 0 | 0.58
25DEC2024 | 0.51 | 0.05 | 0 | 0 | 0 | 0.56
26DEC2024 | 0.02 | 0.32 | 0 | 0 | 0 | 0.34
27DEC2024 | 0 | 0.54 | 0 | 0 | 0.12 | 0.65
28DEC2024 | 0.01 | 0.04 | 0 | 0 | 0.07 | 0.12
29DEC2024 | 0 | 0 | 0 | 0 | 0 | 0
30DEC2024 | 0 | 0 | 0 | 0 | 0 | 0
31DEC2024 | 0 | 0.1 | 0 | 0 | 0.01 | 0.11

## High Uplift Days
High Uplift Days
($ Millions)
Click to return to Table of Contents
Date | Day-Ahead Operating Reserve | Balancing Operating Reserve | Reactive | Blackstart | Lost Opportunity Cost | Total Uplift | Reason
01DEC2024 | 0.69 | 0.23 | 0 | 0 | 0 | 0.92
02DEC2024 | 0.44 | 0.27 | 0 | 0 | 0.1 | 0.81
03DEC2024 | 0.42 | 0.61 | 0 | 0 | 0.11 | 1.13
04DEC2024 | 0.45 | 0.89 | 0 | 0 | 0.85 | 2.19
05DEC2024 | 0.8 | 0.58 | 0 | 0 | 0.09 | 1.47
06DEC2024 | 0.39 | 0.57 | 0 | 0 | 0.3 | 1.25
07DEC2024 | 0.27 | 0.69 | 0 | 0 | 0.17 | 1.13
11DEC2024 | 0.79 | 0.06 | 0 | 0 | 0.15 | 1
12DEC2024 | 0.77 | 0.54 | 0.04 | 0 | 0.26 | 1.62
13DEC2024 | 0.57 | 1.05 | 0.03 | 0 | 0.01 | 1.66
14DEC2024 | 0.63 | 0.25 | 0.1 | 0 | 0.02 | 1
22DEC2024 | 0.81 | 0.2 | 0.01 | 0 | 0.01 | 1.03
23DEC2024 | 0.82 | 0.67 | 0 | 0 | 0.08 | 1.56

## Uneconomic CC, CT, Steam Hours
Percent of Total CC, CT, and Steam Hours - LMP < Offer
Click to return to Table of Contents
Date | CT | CC and STEAM
DEC22 | 18% | 10%
JAN23 | 19% | 7%
FEB23 | 30% | 8%
MAR23 | 19% | 7%
APR23 | 14% | 5%
MAY23 | 14% | 6%
JUN23 | 7% | 6%
JUL23 | 5% | 8%
AUG23 | 4% | 8%
SEP23 | 8% | 8%
OCT23 | 12% | 6%
NOV23 | 12% | 5%
DEC23 | 9% | 5%
JAN24 | 13% | 8%
FEB24 | 11% | 4%
MAR24 | 15% | 5%
APR24 | 15% | 8%
MAY24 | 14% | 8%
JUN24 | 8% | 8%
JUL24 | 4% | 7%
AUG24 | 3% | 7%
SEP24 | 7% | 6%
OCT24 | 10% | 7%
NOV24 | 14% | 6%
DEC24 | 13% | 9%

## Reliability and Deviations BOR
Reliability and Deviations Balancing Operating Reserve Rates
($/MWh of Load)
Click to return to Table of Contents
Date | Reliability Balancing Operating Reserve Rate RTO | Reliability Balancing Operating Reserve Rate East | Reliability Balancing Operating Reserve Rate West | Deviations Balancing Operating Reserve Rate RTO | Deviations Balancing Operating Reserve Rate East | Deviations Balancing Operating Reserve Rate West
DEC2022 | 0.25 | 0.04 | 0 | 0.83 | 0.08 | 0
JAN2023 | 0.03 | 0.01 | 0 | 0.09 | 0.02 | 0
FEB2023 | 0.03 | 0.01 | 0 | 0.05 | 0.04 | 0
MAR2023 | 0.03 | 0.03 | 0 | 0.04 | 0.02 | 0
APR2023 | 0.07 | 0.04 | 0 | 0.15 | 0.08 | 0.01
MAY2023 | 0.07 | 0.01 | 0 | 0.15 | 0.06 | 0.01
JUN2023 | 0.03 | 0 | 0 | 0.11 | 0.04 | 0.01
JUL2023 | 0.03 | 0.01 | 0 | 0.29 | 0.06 | 0
AUG2023 | 0.02 | 0.01 | 0 | 0.2 | 0.03 | 0.01
SEP2023 | 0.03 | 0.02 | 0 | 0.24 | 0.07 | 0
OCT2023 | 0.08 | 0.02 | 0 | 0.28 | 0.12 | 0.01
NOV2023 | 0.07 | 0.05 | 0.01 | 0.16 | 0.08 | 0.04
DEC2023 | 0.04 | 0.01 | 0 | 0.13 | 0.03 | 0.01
JAN2024 | 0.12 | 0.02 | 0 | 0.4 | 0.02 | 0.01
FEB2024 | 0.03 | 0.01 | 0 | 0.1 | 0.02 | 0
MAR2024 | 0.07 | 0.02 | 0 | 0.16 | 0.02 | 0.01
APR2024 | 0.13 | 0.04 | 0 | 0.35 | 0.13 | 0.01
MAY2024 | 0.14 | 0.02 | 0 | 0.41 | 0.08 | 0
JUN2024 | 0.05 | 0.01 | 0 | 0.27 | 0.1 | 0.01
JUL2024 | 0.02 | 0.01 | 0 | 0.33 | 0.04 | 0.02
AUG2024 | 0.03 | 0.01 | 0 | 0.3 | 0.03 | 0
SEP2024 | 0.03 | 0 | 0 | 0.17 | 0.02 | 0.02
OCT2024 | 0.05 | 0.03 | 0 | 0.2 | 0.04 | 0
NOV2024 | 0.06 | 0.01 | 0 | 0.16 | 0.04 | 0.01
DEC2024 | 0.05 | 0.01 | 0 | 0.24 | 0.04 | 0.02

## Operating Reserve
Operating Reserve
($/MWh of Load)
Click to return to Table of Contents
Date | Day-Ahead Allocated to Entire RTO | Day-Ahead Allocated Locally | Real-Time
DEC2022 | 0.31 | 0 | 0.83
JAN2023 | 0.02 | 0 | 0.09
FEB2023 | 0.02 | 0 | 0.07
MAR2023 | 0.02 | 0 | 0.08
APR2023 | 0.04 | 0.01 | 0.22
MAY2023 | 0.01 | 0 | 0.19
JUN2023 | 0.03 | 0 | 0.11
JUL2023 | 0.14 | 0 | 0.17
AUG2023 | 0.16 | 0 | 0.1
SEP2023 | 0.19 | 0 | 0.15
OCT2023 | 0.05 | 0 | 0.24
NOV2023 | 0.06 | 0 | 0.2
DEC2023 | 0.01 | 0 | 0.11
JAN2024 | 0.44 | 0 | 0.32
FEB2024 | 0.02 | 0 | 0.09
MAR2024 | 0.02 | 0 | 0.17
APR2024 | 0.21 | 0 | 0.33
MAY2024 | 0.2 | 0 | 0.33
JUN2024 | 0.2 | 0 | 0.19
JUL2024 | 0.1 | 0 | 0.19
AUG2024 | 0.09 | 0 | 0.14
SEP2024 | 0.07 | 0 | 0.11
OCT2024 | 0.11 | 0 | 0.15
NOV2024 | 0.05 | 0 | 0.15
DEC2024 | 0.16 | 0.01 | 0.17

## Balancing Operating Reserve MWh
Balancing Operating Reserve MWh by Region and Reason
Click to return to Table of Contents
Date | RTO | East | West | Reliability Analysis Reliability | Reliability Analysis Deviation | Real-Time Reliability | Real-Time Deviation | Total
01DEC2024 | 59064.06 | 5869.4 | . | . | . | 14344.98 | 50588.49 | 64933.46
02DEC2024 | 20688.78 | 8511.43 | . | . | . | 10089.33 | 19110.89 | 29200.22
03DEC2024 | 49913.76 | 3453.63 | 443.57 | . | . | 17934.24 | 35876.72 | 53810.96
04DEC2024 | 61764.68 | 2279.59 | 224.68 | . | . | 20199.91 | 44069.04 | 64268.95
05DEC2024 | 50434.91 | 12950.6 | 3402.28 | . | 2005.61 | 24705.03 | 40077.16 | 66787.79
06DEC2024 | 43360.62 | 2690.59 | 18426.99 | . | . | 19682.76 | 44795.43 | 64478.2
07DEC2024 | 74440.44 | 1191.08 | 679.36 | . | 8204.1 | 22290.65 | 45816.13 | 76310.88
08DEC2024 | 33057.15 | . | . | . | . | 32370.6 | 686.56 | 33057.15
09DEC2024 | 39695.28 | . | . | . | . | . | 39695.28 | 39695.28
10DEC2024 | 65675.67 | . | . | . | . | 5912.57 | 59763.1 | 65675.67
11DEC2024 | 7772.31 | 2850.13 | . | . | . | 4302.95 | 6319.49 | 10622.44
12DEC2024 | 102978.5 | 9370.45 | 1734.25 | . | 11319.16 | 12002.86 | 90761.17 | 114083.19
13DEC2024 | 91462.55 | 16430.8 | 4625.12 | . | 3360.6 | 95901.68 | 13256.19 | 112518.47
14DEC2024 | 62932.75 | . | 119.98 | . | . | 14038.01 | 49014.72 | 63052.73
15DEC2024 | 50353.08 | . | 5679.12 | . | . | 45454.37 | 10577.83 | 56032.21
16DEC2024 | 40558.43 | . | . | . | . | 3842.33 | 36716.1 | 40558.43
17DEC2024 | 14524.01 | 1166.5 | . | . | 85.58 | 7138.73 | 8466.2 | 15690.51
18DEC2024 | 14926.97 | . | . | . | . | 8588.69 | 6338.28 | 14926.97
19DEC2024 | 33431.36 | . | 6060.14 | . | . | 9094.75 | 30396.75 | 39491.5
20DEC2024 | 36713.47 | . | 1108.44 | . | . | 13913.4 | 23908.52 | 37821.91
21DEC2024 | 22564.73 | . | . | . | . | 1681.49 | 20883.24 | 22564.73
22DEC2024 | 50369.1 | . | . | . | . | 10672.2 | 39696.9 | 50369.1
23DEC2024 | 58004.71 | 189.11 | . | . | 26701.89 | 13371.04 | 18120.88 | 58193.82
24DEC2024 | 75214.72 | . | . | . | 69023.66 | 6191.06 | . | 75214.72
25DEC2024 | 56207.42 | . | . | . | . | 49847.52 | 6359.9 | 56207.42
26DEC2024 | 33345.33 | . | . | . | . | 14895.48 | 18449.85 | 33345.33
27DEC2024 | 50191.67 | . | . | . | . | 12838.27 | 37353.4 | 50191.67
28DEC2024 | 5006.71 | . | . | . | . | 3268.88 | 1737.84 | 5006.71
29DEC2024 | 2167.52 | . | . | . | . | 217.48 | 1950.04 | 2167.52
30DEC2024 | 1698.82 | . | . | . | . | 635.84 | 1062.98 | 1698.82
31DEC2024 | 14450.66 | . | . | . | . | 5911.53 | 8539.13 | 14450.66

## Balancing Operating Reserve $
Balancing Operating Reserve $ by Region and Reason
Click to return to Table of Contents
Date | RTO | East | West | Reliability Analysis Reliability | Reliability Analysis Deviation | Real-Time Reliability | Real-Time Deviation | Total
01DEC2024 | 161806.43 | 64955.52 | . | . | . | 121923.29 | 104838.66 | 226761.95
02DEC2024 | 178551.22 | 91332.93 | . | . | . | 167435.58 | 102448.57 | 269884.15
03DEC2024 | 576226.65 | 24163.45 | 4864.87 | . | . | 247647.38 | 357607.59 | 605254.97
04DEC2024 | 872992.52 | 16576.95 | 466.82 | . | . | 551762.9 | 338273.39 | 890036.29
05DEC2024 | 445355.18 | 92816.06 | 44978.88 | . | 275773.65 | 216801.5 | 90574.97 | 583150.12
06DEC2024 | 524032.13 | 24996.16 | 16526.23 | . | . | 386801.73 | 178752.79 | 565554.52
07DEC2024 | 665796 | 9440.44 | 11923.03 | . | 369282.57 | 207785.63 | 110091.27 | 687159.47
08DEC2024 | 12018.23 | . | . | . | . | 9505.36 | 2512.87 | 12018.23
09DEC2024 | 24673.4 | . | . | . | . | . | 24673.4 | 24673.4
10DEC2024 | 170571.46 | . | . | . | . | 53281.18 | 117290.28 | 170571.46
11DEC2024 | 42351.56 | 20038.51 | . | . | . | 35806.45 | 26583.62 | 62390.07
12DEC2024 | 460857.04 | 52209.59 | 30118.79 | . | 123193.22 | 200080.4 | 219911.8 | 543185.42
13DEC2024 | 498337.33 | 474485.47 | 59992.86 | . | 327752.89 | 568595.52 | 136467.25 | 1032815.66
14DEC2024 | 249746.33 | . | 350.06 | . | . | 149741.87 | 100354.52 | 250096.39
15DEC2024 | 76014.21 | . | 57267.12 | . | . | 65083.62 | 68197.71 | 133281.33
16DEC2024 | 49945.93 | . | . | . | . | 3061.78 | 46884.15 | 49945.93
17DEC2024 | 95535.89 | 8374.44 | . | . | 620.46 | 56570.1 | 46719.77 | 103910.33
18DEC2024 | 153503.22 | . | . | . | . | 117824.69 | 35678.53 | 153503.22
19DEC2024 | 265559.5 | . | 71338.7 | . | . | 86778.56 | 250119.64 | 336898.2
20DEC2024 | 258373.75 | . | 10277.06 | . | . | 123139.42 | 145511.39 | 268650.81
21DEC2024 | 51490.16 | . | . | . | . | 23230.27 | 28259.89 | 51490.16
22DEC2024 | 203210.51 | . | . | . | . | 150610.43 | 52600.08 | 203210.51
23DEC2024 | 666095.69 | 5453 | . | . | 260438.09 | 364293.24 | 46817.36 | 671548.69
24DEC2024 | 562416.31 | . | . | . | 493789.56 | 68626.75 | . | 562416.31
25DEC2024 | 51852.96 | . | . | . | . | 48804.27 | 3048.69 | 51852.96
26DEC2024 | 318236.01 | . | . | . | . | 196953.79 | 121282.22 | 318236.01
27DEC2024 | 537703.37 | . | . | . | . | 257017.21 | 280686.16 | 537703.37
28DEC2024 | 38901.44 | . | . | . | . | 28825.21 | 10076.23 | 38901.44
29DEC2024 | 3079 | . | . | . | . | 513.62 | 2565.38 | 3079
30DEC2024 | 3899.88 | . | . | . | . | 2983.41 | 916.47 | 3899.88
31DEC2024 | 98006.92 | . | . | . | . | 74530.86 | 23476.06 | 98006.92

## Monthly LOC
Monthly Lost Oppotunity Cost
Click to return to Table of Contents
Date | MWh Reduced Wind (MWh) | Lost Oppotunity Cost Wind ($) | Lost Opportunity Cost PJM Total ($)
01DEC2022 | 6611 | 736683 | 9977555
01JAN2023 | 0 | 0 | 1911830
01FEB2023 | 8439 | 425102 | 1019322
01MAR2023 | 41 | 5721 | 674534
01APR2023 | 2376 | 77927 | 1466999
01MAY2023 | 16 | 832 | 1480768
01JUN2023 | 0 | 13 | 1438811
01JUL2023 | 0 | 0 | 4390384
01AUG2023 | 0 | 0 | 2263692
01SEP2023 | 88 | 6350 | 2435521
01OCT2023 | 1865 | 38222 | 1544427
01NOV2023 | 1894 | 60488 | 1113741
01DEC2023 | 148 | 1606 | 1961962
01JAN2024 | 2241 | 101263 | 1062364
01FEB2024 | 2990 | 59306 | 901882
01MAR2024 | 5935 | 126271 | 1792517
01APR2024 | 17766 | 485838 | 1932016
01MAY2024 | 1795 | 63503 | 1854493
01JUN2024 | 12307 | 380886 | 3872395
01JUL2024 | 594 | 14332 | 6581167
01AUG2024 | 213 | 5193 | 5224312
01SEP2024 | 578 | 11552 | 2008246
01OCT2024 | 10205 | 263376 | 2225614
01NOV2024 | 11915 | 283690 | 896858
01DEC2024 | 21844 | 726035 | 2459047

## Daily LOC
Daily Lost Oppotunity Cost
Click to return to Table of Contents
Date | Lost Oppotunity Cost Wind ($) | Lost Opportunity Cost PJM Total ($)
01DEC2024 | 0 | 2567
02DEC2024 | 0 | 101143
03DEC2024 | 2256 | 106378
04DEC2024 | 137841 | 849050
05DEC2024 | 51263 | 88560
06DEC2024 | 3729 | 299779
07DEC2024 | 125007 | 173389
08DEC2024 | 6925 | 8590
09DEC2024 | 1868 | 15662
10DEC2024 | 752 | 11528
11DEC2024 | 127519 | 147955
12DEC2024 | 9129 | 258122
13DEC2024 | 0 | 9324
14DEC2024 | 5560 | 19727
15DEC2024 | 446 | 504
16DEC2024 | 3930 | 17792
17DEC2024 | 4499 | 8653
18DEC2024 | 8373 | 10844
19DEC2024 | 6683 | 11275
20DEC2024 | 36829 | 36829
21DEC2024 | 0 | 2438
22DEC2024 | 108 | 5168
23DEC2024 | 443 | 76161
24DEC2024 | 0 | 162
25DEC2024 | 0 | 543
26DEC2024 | 0 | 2410
27DEC2024 | 115005 | 116424
28DEC2024 | 70347 | 70362
30DEC2024 | 0 | 184
31DEC2024 | 7525 | 7525

## Monthly Load Weighted LMP
Monthly Load Weighted LMP
Click to return to Table of Contents
Date | Load Weighted LMP ($/MWh)
DEC2022 | 142.2
JAN2023 | 35.8
FEB2023 | 26
MAR2023 | 28.4
APR2023 | 29.3
MAY2023 | 28.4
JUN2023 | 27.3
JUL2023 | 37.2
AUG2023 | 31.3
SEP2023 | 31.6
OCT2023 | 34.8
NOV2023 | 33
DEC2023 | 28
JAN2024 | 42.8
FEB2024 | 24.9
MAR2024 | 23.1
APR2024 | 27.2
MAY2024 | 36.2
JUN2024 | 33.4
JUL2024 | 47.2
AUG2024 | 36.3
SEP2024 | 31.8
OCT2024 | 31.9
NOV2024 | 28.3
DEC2024 | 35

## Annual LMP Averages
Annual Fuel Cost Adjusted and Load Weighted LMP
Click to return to Table of Contents
Year | Fuel Cost Adjusted LMP ($/MWh) | Load Weighted LMP ($/MWh)
2015 | 28.33 | 36.25
2016 | 26.95 | 29.27
2017 | 31.56 | 31.06
2018 | 33.66 | 37.83
2019 | 31.46 | 27.15
2020 | 32.4 | 21.65
2021 | 32.14 | 39.79
2022 | 35.93 | 80.17
2023 | 45.04 | 31.09
2024 | 45.58 | 33.75
2025 | . | .
The 2024 value is through the last day of DEC, 2024.

## LMP Suspensions and Reruns
LMP Suspensions and Reruns
Click to return to Table of Contents
Date | Percentage of Intervals Price Posting Suspended | Percentage of Intervals Rerun Prior to Final LMP Posting Curent Calculation
DEC2022 | 0.08% | 2.35%
JAN2023 | 0.06% | 1.28%
FEB2023 | 0.04% | 1.81%
MAR2023 | 0.01% | 1.11%
APR2023 | . | 2.59%
MAY2023 | 0.01% | 1.96%
JUN2023 | . | 1.68%
JUL2023 | 0.02% | 2.48%
AUG2023 | 0.1% | 2.67%
SEP2023 | 0.06% | 1.81%
OCT2023 | 0.31% | 1.99%
NOV2023 | 0.01% | 1.64%
DEC2023 | 0.01% | 1.31%
JAN2024 | . | 1.69%
FEB2024 | . | 2.75%
MAR2024 | 0.04% | 3.08%
APR2024 | 0.01% | 1.59%
MAY2024 | 0.02% | 2.15%
JUN2024 | 0.01% | 1.57%
JUL2024 | . | 3.05%
AUG2024 | . | 1.88%
SEP2024 | . | 1.68%
OCT2024 | 0.02% | 1.72%
NOV2024 | . | 1.67%
DEC2024 | 0.04% | 1.84%

## Annual DR Estimated Revenue
Demand Response Estimated Revenue
Click to return to Table of Contents
Year | Economic Energy | Capacity | Ancillary Services | Emergency Energy | Economic Energy Incentives | Capacity Bonus Payment | Test Emergency Energy | Total
2015 | 7983488 | 807137222 | 6118299 | 480978 | 0 | . | . | 821719987
2016 | 3477215 | 644469413 | 4512812 | 0 | 0 | . | . | 652459440
2017 | 2551777 | 492872505 | 4807877 | 0 | 0 | . | . | 500232159
2018 | 2523722 | 584665539 | 8946085 | 0 | 0 | . | . | 596135346
2019 | 979266 | 481661914 | 5205768 | 1062830 | 0 | 447666 | . | 489357444
2020 | 329119 | 368224380 | 3771200 | 0 | 0 | 0 | . | 372324699
2021 | 1163113 | 536620703 | 9929451 | 0 | 0 | 0 | . | 547713268
2022 | 10893489 | 399940516 | 23353786 | 63525922 | 0 | 87808957 | . | 585522669
2023 | 3573199 | 161463366 | 13525184 | 0 | 0 | 0 | 131584 | 178693333
2024 | 11040359 | 117445606 | 24967853 | 0 | 0 | 0 | 395486 | 153849304
The 2024 value is through the last day of DEC, 2024.

## Demand Response
Demand Response
Click to return to Table of Contents
Date | Economic DR Total Load Reductions | Economic DR Total Net CSP Credits | DR as Sync. Res. MWh Cleared | DR as Sync. Res. Total Payments | DR as Regulation MWh Cleared | DR as Regulation Total Payments | Total MWs Registered in Economic DR
01DEC2022 | 22096 | 2806853.62 | 77604 | 1146954 | 14172 | 1442192 | 2456
01JAN2023 | 6295 | 304972.31 | 103847 | 150437 | 14017 | 294337 | 2484
01FEB2023 | 124 | 10803.87 | 99889 | 67615 | 14784 | 291581 | 2433
01MAR2023 | 1327 | 67542.15 | 107236 | 51541 | 17884 | 351672 | 2489
01APR2023 | 3151 | 158954.65 | 129813 | 199537 | 19533 | 488013 | 2636
01MAY2023 | 3633 | 179655.78 | 190816 | 1024284 | 18338 | 521342 | 2609
01JUN2023 | 3036 | 160405.64 | 137212 | 157679 | 26007 | 686317 | 2285
01JUL2023 | 12113 | 1161880.56 | 144622 | 320833 | 27802 | 682856 | 2449
01AUG2023 | 1832 | 103072.91 | 133087 | 132416 | 31407 | 791218 | 2596
01SEP2023 | 2659 | 195506.39 | 208698 | 278211 | 27949 | 746558 | 2729
01OCT2023 | 11214 | 669670.92 | 315016 | 2117309 | 31093 | 1118074 | 2796
01NOV2023 | 6337 | 363410.73 | 233916 | 986252 | 28181 | 605929 | 2804
01DEC2023 | 3788 | 197322.76 | 346038 | 514695 | 32085 | 715250 | 2944
01JAN2024 | 25484 | 2621635.89 | 299469 | 609427 | . | . | 2987
01FEB2024 | 1468 | 67554.9 | 312394 | 516690 | 35638 | 793855 | 2970
01MAR2024 | 1210 | 75606 | 340047 | 121981 | 36480 | 955548 | 2930
01APR2024 | 2654 | 103730.54 | 213888 | 785797 | 34964 | 829069 | 3007
01MAY2024 | 20775 | 936194.03 | 344696 | 1368803 | 35437 | 1386406 | 2845
01JUN2024 | 13712 | 550521.04 | 210675 | 510736 | 32568 | 909381 | 2719
01JUL2024 | 27057 | 1433760.76 | 218111 | 699101 | 35252 | 1458331 | 2745
01AUG2024 | 33506 | 1405978.67 | 277126 | 690092 | 35647 | 1076920 | 2914
01SEP2024 | 37341 | 1553795.61 | 302202 | 964049 | 35178 | 1261594 | 2665
01OCT2024 | 36213 | 1626168.8 | 287022 | 1188841 | 34748 | 1312029 | 2680
01NOV2024 | 17270 | 665412.98 | 326015 | 707405 | 36400 | 1113489 | 2583
01DEC2024 | . | . | 302315 | 462531 | 38657 | 1433964 | 2666

## Incs, Decs and Up-Tos
Virtual and Up-To Congestion Transactions
Click to return to Table of Contents
Date | Virtual Bids Submitted | Virtaul Bids Cleared | Virtual MWh Submitted | Virtual MWh Cleared | Up-To Transactions Submitted | Up-To Transactions Cleared | Up-To MWh Submitted | Up-To MWh Cleared | Total Transactions Submitted | Total Transactions Cleared | Total MWh Submitted | Total MWh Cleared
DEC2022 | 1820827 | 472288 | 15421533 | 6124227 | 6618098 | 744286 | 60439700 | 17870046 | 8438925 | 1216574 | 75861233 | 23994273
JAN2023 | 1506612 | 469504 | 13234347 | 6177575 | 6452516 | 708370 | 50705416 | 17638580 | 7959128 | 1177874 | 63939763 | 23816155
FEB2023 | 1426573 | 459343 | 13116379 | 6435646 | 7183266 | 674106 | 57444566 | 16290896 | 8609839 | 1133449 | 70560945 | 22726542
MAR2023 | 1620941 | 543059 | 14888549 | 6828384 | 9141322 | 713957 | 84211767 | 18451327 | 10762263 | 1257016 | 99100316 | 25279711
APR2023 | 1531725 | 467429 | 14760108 | 6102021 | 8580136 | 751238 | 91618263 | 21619586 | 10111861 | 1218667 | 106378371 | 27721607
MAY2023 | 1513172 | 504080 | 14428199 | 6527677 | 6646490 | 783478 | 81113241 | 20764812 | 8159662 | 1287558 | 95541440 | 27292489
JUN2023 | 1641935 | 576084 | 14204499 | 6973920 | 3120098 | 796269 | 64759627 | 18898914 | 4762033 | 1372353 | 78964126 | 25872834
JUL2023 | 1890649 | 648297 | 14888354 | 6804331 | 2781449 | 752278 | 44130187 | 13970145 | 4672098 | 1400575 | 59018541 | 20774476
AUG2023 | 1462917 | 461403 | 15090606 | 7026434 | 2247589 | 617272 | 27022883 | 9350215 | 3710506 | 1078675 | 42113489 | 16376649
SEP2023 | 1454862 | 472750 | 15228714 | 6775431 | 1758733 | 493825 | 24848425 | 9053262 | 3213595 | 966575 | 40077140 | 15828693
OCT2023 | 1696861 | 553401 | 16005180 | 7368411 | 1518449 | 431573 | 25269259 | 8042565 | 3215310 | 984974 | 41274439 | 15410976
NOV2023 | 1628657 | 480459 | 12728572 | 6302209 | 1592216 | 494184 | 27458664 | 10764119 | 3220873 | 974643 | 40187235 | 17066328
DEC2023 | 1741012 | 503558 | 14358627 | 6986956 | 1364685 | 474589 | 23183662 | 10039566 | 3105697 | 978147 | 37542290 | 17026522
JAN2024 | 1943377 | 512866 | 16504285 | 7306548 | 1654414 | 585209 | 25973188 | 10345385 | 3597791 | 1098075 | 42477473 | 17651933
FEB2024 | 1967855 | 530352 | 16273277 | 7502465 | 1120659 | 391638 | 20523979 | 8889940 | 3088514 | 921990 | 36797257 | 16392405
MAR2024 | 1949123 | 564765 | 18531219 | 8798186 | 1349199 | 445669 | 27709718 | 10699978 | 3298322 | 1010434 | 46240937 | 19498164
APR2024 | 1765484 | 622845 | 17216852 | 7850047 | 1307145 | 385526 | 25059788 | 7863648 | 3072629 | 1008371 | 42276639 | 15713694
MAY2024 | 1998189 | 632080 | 18908321 | 8069735 | 1487210 | 466765 | 21962847 | 6750604 | 3485399 | 1098845 | 40871168 | 14820339
JUN2024 | 1775226 | 563497 | 17039061 | 7268840 | 1460594 | 459708 | 18707590 | 7062923 | 3235820 | 1023205 | 35746651 | 14331763
JUL2024 | 1929586 | 604697 | 17523690 | 6995468 | 1520352 | 563212 | 19986077 | 6488742 | 3449938 | 1167909 | 37509768 | 13484210
AUG2024 | 1888677 | 646865 | 17642324 | 7493466 | 1496767 | 625978 | 20656319 | 6707992 | 3385444 | 1272843 | 38298644 | 14201458
SEP2024 | 2067576 | 621984 | 16577428 | 6644807 | 1508208 | 562794 | 22194011 | 7551817 | 3575784 | 1184778 | 38771440 | 14196623
OCT2024 | 2586520 | 693805 | 18783336 | 7024790 | 1586524 | 498219 | 24656016 | 7948736 | 4173044 | 1192024 | 43439352 | 14973526
NOV2024 | 2301881 | 613299 | 17973011 | 6941388 | 1332062 | 384109 | 21544258 | 6556306 | 3633943 | 997408 | 39517270 | 13497694
DEC2024 | 2784124 | 723050 | 20736199 | 8374524 | 1728723 | 556448 | 24038545 | 7769108 | 4512847 | 1279498 | 44774744 | 16143632

## Congestion and FTR Revenue
Congestion and FTR Revenue
Click to return to Table of Contents
Date | Total FTR Revenue ($Millions) | Total FTR Target ($Millions) | FTR Payout Ratio (%) | Day-Ahead Congestion ($Millions) | Balancing Congestion ($Millions)
DEC2022 | 392.03 | 322.37 | 100% | 364.98 | -58.57
JAN2023 | 94.62 | 77.62 | 100% | 69.25 | -7.04
FEB2023 | 128.41 | 90.81 | 100% | 102.77 | -16.41
MAR2023 | 80.73 | 59.87 | 100% | 54.1 | -27.34
APR2023 | 155.24 | 140.05 | 100% | 128.82 | -43.34
MAY2023 | 121.05 | 111.93 | 100% | 96.87 | -35.92
JUN2023 | 105.39 | 96.06 | 100% | 87.06 | -12.7
JUL2023 | 185.46 | 155.03 | 100% | 166.17 | -26.65
AUG2023 | 152.58 | 136.02 | 100% | 133.59 | -22.81
SEP2023 | 157 | 160.68 | 98% | 138.13 | -24.69
OCT2023 | 174.14 | 194.08 | 90% | 153.03 | -33.92
NOV2023 | 155.24 | 159.15 | 98% | 135.11 | -28.64
DEC2023 | 121.43 | 123.85 | 98% | 99.59 | -16.78
JAN2024 | 259.92 | 197.03 | 100% | 230.84 | -34.96
FEB2024 | 94.58 | 76.16 | 100% | 67.66 | -14.51
MAR2024 | 123.27 | 117.88 | 100% | 99.89 | -28.15
APR2024 | 131.63 | 129.45 | 100% | 108.31 | -28.24
MAY2024 | 223.26 | 222.38 | 100% | 199.3 | -26.7
JUN2024 | 168.64 | 164.46 | 100% | 155.24 | -27.51
JUL2024 | 387.44 | 347.98 | 100% | 371.3 | -40.77
AUG2024 | 270.86 | 250 | 100% | 256.59 | -18.3
SEP2024 | 144.93 | 169.38 | 86% | 128.46 | -13.13
OCT2024 | 156.17 | 176.49 | 89% | 137.26 | -22
NOV2024 | 103.23 | 99.39 | 100% | 84.61 | -18.47
DEC2024 | 236.59 | 261.45 | 90% | 218.22 | -30.94

## Balancing Congestion Facilities
Balancing Congestion Facilities
Click to return to Table of Contents
Date | Facility Name | Balancing Congestion ($)
DEC2024 | Bedington-Black Oak Interface (EHV) | -8276549
DEC2024 | Meridian-Twin Branch 345 (AEP) | -3731828
DEC2024 | Davis Bessie B34562 345 (ATSI) | -3632344
DEC2024 | Vienna 8110 CB (DPL) | -3068214
DEC2024 | Dune Acre-Michigan City 1 138 kV (MISO) | -2151604
DEC2024 | E Lima-Haviland 138 (AEP OH) | -2107769
DEC2024 | Howard-Melmore 138 (AEP OH) | -1283847
DEC2024 | State Line-Wolf Lake 138 (COM) | -1162921
DEC2024 | Toddhunter 345/138 T15 (DEOK) | -1093400
DEC2024 | APSOUTH Interface (EHV) | -865872

## Average Interface Prices
Monthly Average PJM/MISO and PJM/NYISO Interface Prices
Click to return to Table of Contents
Date | PJM's Price for MISO Real-Time | MISO's Price for PJM Real-Time | PJM's Price for MISO Day-Ahead | MISO's Price for PJM Day-Ahead | PJM's Price for NYISO Real-Time | NYISO's Price for PJM Real-Time | PJM's Price for NYISO Day-Ahead | NYISO's Price for PJM Day-Ahead
DEC2022 | 93.73 | 75.53 | 68.23 | 61.64 | 116.57 | 94.81 | 87.7 | 86.24
JAN2023 | 32.8 | 33.81 | 33.46 | 34.96 | 33.45 | 34.33 | 33.56 | 36.97
FEB2023 | 22.98 | 24.56 | 25.7 | 26.58 | 26.11 | 28.29 | 31.28 | 36.83
MAR2023 | 25.66 | 25.5 | 25.67 | 26.65 | 25.19 | 25.01 | 25.86 | 26.77
APR2023 | 23.42 | 24.76 | 24.7 | 25.88 | 24.1 | 26.06 | 25.19 | 25.47
MAY2023 | 25.44 | 27.08 | 26.39 | 27.94 | 20.7 | 21.14 | 21.61 | 20.76
JUN2023 | 26.25 | 27.19 | 26.48 | 28.17 | 23.64 | 24.37 | 22.01 | 25.5
JUL2023 | 33 | 33.37 | 35.37 | 36.48 | 34.3 | 32.46 | 34.08 | 37.31
AUG2023 | 29.82 | 32.04 | 30.89 | 32.49 | 23.45 | 27.12 | 23.02 | 25.69
SEP2023 | 27.37 | 29.96 | 28.2 | 29.2 | 27.9 | 30.24 | 24.7 | 28.24
OCT2023 | 30.39 | 32.51 | 31.71 | 30.85 | 24.73 | 26.53 | 26.18 | 25.58
NOV2023 | 25.5 | 27.75 | 27.14 | 29.46 | 29.46 | 28.57 | 29.82 | 31.28
DEC2023 | 24.25 | 24.15 | 24.92 | 25.98 | 26.51 | 25.1 | 26.54 | 30.16
JAN2024 | 35.85 | 36.51 | 41.73 | 45.12 | 45.82 | 48.09 | 50.45 | 56.49
FEB2024 | 22.96 | 24.77 | 21.97 | 22.92 | 27.58 | 27.61 | 27.03 | 27.8
MAR2024 | 18.85 | 19.59 | 18.16 | 20.06 | 24.63 | 24.43 | 22.01 | 24.65
APR2024 | 21.35 | 22.97 | 20.91 | 21.54 | 24.88 | 25.7 | 23.89 | 24.86
MAY2024 | 28.67 | 28.74 | 26.48 | 26.34 | 26.57 | 24.13 | 24.27 | 25.8
JUN2024 | 25.96 | 26.89 | 25.95 | 28.21 | 29.09 | 28.64 | 27.72 | 31.72
JUL2024 | 32.07 | 32.66 | 31.74 | 33.12 | 38.04 | 38.52 | 35.33 | 38.68
AUG2024 | 30.23 | 28.56 | 29.89 | 30.24 | 31.3 | 32.21 | 31.34 | 32.51
SEP2024 | 28.15 | 29.41 | 27.47 | 27.68 | 27.09 | 28.84 | 27.23 | 29.46
OCT2024 | 26.95 | 25.33 | 28.51 | 27.19 | 28.2 | 30.81 | 29.13 | 31.64
NOV2024 | 23.76 | 23.64 | 25.8 | 25.69 | 27.79 | 30.66 | 29.97 | 31.75
DEC2024 | 29.11 | 31.56 | 31.11 | 32.25 | 41.86 | 43.28 | 47.26 | 51.07

## Market to Market Congestion
PJM/MISO and PJM/NYISO Market to Market Congestion Payments
Click to return to Table of Contents
Date | Net M2M Payments from PJM to MISO ($) | Payments to MISO as Percent of Total PJM Congestion | Net M2M Payments from PJM to NYISO ($) | Payments to NYISO as Percent of Total PJM Congestion | FTR Revenue ($)
DEC2022 | $-47,335,717 | 14.7% | $-6,206 | 0% | 322367124
JAN2023 | $-5,658,070 | 7.3% | 279756 | 0.36% | 77622121
FEB2023 | $-2,574,139 | 2.8% | 282401 | 0.31% | 90806423
MAR2023 | $-6,496,984 | 10.9% | $-111,170 | 0.19% | 59866477
APR2023 | $-16,199,761 | 11.6% | $-11,504 | 0.01% | 140053037
MAY2023 | $-10,394,960 | 9.3% | $-10,287 | 0.01% | 111927654
JUN2023 | $-1,730,052 | 1.8% | $-48 | 0% | 96057780
JUL2023 | $-1,727,776 | 1.1% | 2056 | 0% | 155033386
AUG2023 | $-288,916 | 0.2% | $-32,030 | 0.02% | 136020791
SEP2023 | $-2,296,208 | 1.4% | 141308 | 0.09% | 160675473
OCT2023 | $-3,268,721 | 1.7% | $-45,688 | 0.02% | 194082957
NOV2023 | $-4,989,953 | 3.1% | $-53,779 | 0.03% | 159154486
DEC2023 | $-2,765,301 | 2.2% | $-95 | 0% | 123854985
JAN2024 | $-2,208,077 | 1.1% | 85324 | 0.04% | 197028118
FEB2024 | $-1,043,099 | 1.4% | $-2,507 | 0% | 76160385
MAR2024 | $-5,229,523 | 4.4% | $-5,393 | 0% | 117878353
APR2024 | $-8,425,790 | 6.5% | 0 | 0% | 129454687
MAY2024 | $-10,117,814 | 4.5% | $-10,693 | 0% | 222379475
JUN2024 | $-3,418,521 | 2.1% | 448802 | 0.27% | 164459765
JUL2024 | $-1,202,962 | 0.3% | 54093 | 0.02% | 347984717
AUG2024 | $-1,990,033 | 0.8% | 6884 | 0% | 250000175
SEP2024 | $-1,222,412 | 0.7% | 43530 | 0.03% | 169375972
OCT2024 | $-3,074,130 | 1.7% | $-121 | 0% | 176486120
NOV2024 | 1454110 | 1.5% | 233 | 0% | 99392810
DEC2024 | $-4,416,756 | 1.7% | 225137 | 0.09% | 261454799

## Regulation and Sync Reserve
Regulation and Synchronized Reserve
Click to return to Table of Contents
Date | Synchronous Condenser ($Millions) | Synchronized Reserve ($Millions) | Synchronous Condenser (Cents/MWh load) | Synchronized Reserve (Cents/MWh load) | Regulation ($Millions)
DEC2022 | . | 6.28 | . | 8.77 | 53.85
JAN2023 | . | 1.38 | . | 2.02 | 9.81
FEB2023 | . | 1.33 | . | 2.21 | 8.13
MAR2023 | . | 1.18 | . | 1.85 | 9.51
APR2023 | . | 2.85 | . | 5.13 | 11.32
MAY2023 | . | 9.01 | . | 15.54 | 12.61
JUN2023 | . | 4.43 | . | 7.06 | 11.65
JUL2023 | . | 10.76 | . | 13.91 | 12.71
AUG2023 | . | 3.3 | . | 4.48 | 11.92
SEP2023 | . | 3.22 | . | 5.08 | 12.02
OCT2023 | . | 21.37 | . | 36.47 | 15.21
NOV2023 | . | 11.53 | . | 18.75 | 9.28
DEC2023 | . | 3.18 | . | 4.75 | 9.76
JAN2024 | . | 5.04 | . | 6.78 | 20.44
FEB2024 | . | 3.43 | . | 5.41 | 9.52
MAR2024 | . | 6.71 | . | 10.87 | 11.6
APR2024 | . | 8.71 | . | 15.22 | 11.77
MAY2024 | . | 10.57 | . | 16.95 | 17.83
JUN2024 | . | 4.78 | . | 6.63 | 14.97
JUL2024 | . | 7.48 | . | 9.36 | 21.92
AUG2024 | . | 5.8 | . | 7.65 | 16.24
SEP2024 | . | 6.53 | . | 10.36 | 13.01
OCT2024 | . | 7.42 | . | 12.63 | 16.43
NOV2024 | . | 4.13 | . | 6.92 | 13.93
DEC2024 | . | 4.05 | . | 5.64 | 16.73

## Regulation Daily
Regulation Market Daily Prices and Charges
Click to return to Table of Contents
Date | Minimum Hourly Price ($/MWh) | Average Hourly Price ($/MWh) | Maximum Hourly Price ($/MWh) | Total Daily Regulation Charges($Millions) /
01DEC2024 | 7.54 | 22.42 | 57.15 | 458175.94
02DEC2024 | 7.08 | 25.28 | 57.3 | 560177.86
03DEC2024 | 10.07 | 62.65 | 282.41 | 919581.03
04DEC2024 | 10.74 | 80.13 | 605.03 | 1236194.5
05DEC2024 | 7.5 | 25.56 | 111.31 | 475675.02
06DEC2024 | 12.82 | 54.44 | 153.41 | 933776.58
07DEC2024 | 7.2 | 41.94 | 132.16 | 718653.71
08DEC2024 | 8.56 | 29.28 | 98.09 | 539400
09DEC2024 | 8.71 | 34.95 | 110.51 | 639120.94
10DEC2024 | 12.8 | 46.04 | 124.14 | 779326.49
11DEC2024 | 5.66 | 24.84 | 101.96 | 470806.68
12DEC2024 | 9.03 | 79.5 | 860.89 | 703255.07
13DEC2024 | 8.03 | 35.07 | 119.9 | 576060.85
14DEC2024 | 9.58 | 31.41 | 125.16 | 769155.47
15DEC2024 | 11.3 | 32.76 | 150.56 | 651744.55
16DEC2024 | 1.79 | 35.48 | 262.74 | 365876.08
17DEC2024 | 6.79 | 21.01 | 110.25 | 443578.6
18DEC2024 | 7.36 | 16.93 | 35.61 | 418910.92
19DEC2024 | 7.05 | 33.08 | 145.52 | 599697.19
20DEC2024 | 6.92 | 22.85 | 90.16 | 473459.38
21DEC2024 | 0.11 | 19.55 | 100.74 | 433950.29
22DEC2024 | 0.88 | 22.77 | 56.35 | 415370.2
23DEC2024 | 8.92 | 37.04 | 139.56 | 688204.04
24DEC2024 | 6.66 | 20.17 | 97.72 | 333050.99
25DEC2024 | 3.25 | 14.47 | 36.62 | 233484.66
26DEC2024 | 4.76 | 19.65 | 48.29 | 443464.05
27DEC2024 | 10.15 | 29.91 | 89.17 | 472865.5
28DEC2024 | 4.85 | 16.92 | 121.4 | 269307.56
29DEC2024 | 3.06 | 10.78 | 18.34 | 245687.37
30DEC2024 | 5.58 | 12.29 | 33.57 | 213788.24
31DEC2024 | 0 | 14 | 51.34 | 252608.93

## Synchronized Reserve Daily
Synchronized Reserve Market Daily Prices and Charges
Click to return to Table of Contents
Date | Minimum Hourly Price ($/MWh) | Average Hourly Price ($/MWh) | Maximum Hourly Price ($/MWh) | Total Daily Regulation Charges($Millions) /
01DEC2024 | 0 | 0.96 | 12.74 | 29463.3
02DEC2024 | 0 | 0.53 | 11.91 | 340680.29
03DEC2024 | 0 | 9.98 | 97.17 | 228421.18
04DEC2024 | 0 | 13.13 | 88.28 | 264540.28
05DEC2024 | 0.01 | 0.04 | 0.04 | 302314.01
06DEC2024 | 0 | 2.39 | 26.19 | 401087.22
07DEC2024 | 0 | 0.62 | 8.38 | 93575.92
08DEC2024 | 0 | 0.07 | 1.2 | 6049.38
09DEC2024 | 0 | 0.53 | 7.7 | 24580.95
10DEC2024 | 0 | 0.76 | 12.69 | 61134.88
11DEC2024 | 0 | 1.24 | 28.75 | 691151.85
12DEC2024 | 0 | 16.13 | 198.9 | 386993.7
13DEC2024 | 0 | 0.16 | 3.46 | 230684.86
14DEC2024 | 0 | 0.28 | 3.92 | 29434.61
15DEC2024 | 0 | 2.32 | 44.12 | 75045.11
16DEC2024 | 0 | 0.39 | 5.61 | 15909.42
17DEC2024 | 0 | 0.96 | 12.41 | 72434.54
18DEC2024 | 0 | 0.93 | 17.99 | 40489.53
19DEC2024 | 0 | 1.22 | 17.56 | 69216.03
20DEC2024 | 0 | 2.87 | 33.11 | 55338.18
21DEC2024 | 0 | 0.03 | 0.04 | 63666.82
22DEC2024 | 0 | 0.01 | 0.04 | 103697.25
23DEC2024 | 0 | 0.94 | 22.43 | 115542.37
24DEC2024 | 0 | 3.06 | 72.92 | 27807.82
25DEC2024 | 0.01 | 0.03 | 0.04 | 14705.28
26DEC2024 | 0 | 4.81 | 26.77 | 56990.82
27DEC2024 | 0 | 2.62 | 28.78 | 53170.69
28DEC2024 | 0 | 0.2 | 2.98 | 60516.61
29DEC2024 | 0 | 0.01 | 0.04 | 15722.75
30DEC2024 | 0 | 0.23 | 4.64 | 90947.15
31DEC2024 | 0 | 0.01 | 0.04 | 30802.32

## Daily Marginal Losses
Daily Marginal Loss Summary
Click to return to Table of Contents
Date | Average Energy Price ($/MWh) | Minimum Loss Component ($/MWh) | Maximum Loss Component ($/MWh) | Minimum Loss Zone | Maximum Loss Zone | Loss Credits ($) | Loss Credits ($/MWh)
01DEC2024 | 35.01 | (4.35) | 3.65 | COMED | BGE | . | .
02DEC2024 | 41.89 | (8.74) | 7.63 | COMED | PEPC | . | .
03DEC2024 | 56.18 | (11.26) | 7.55 | COMED | PEPC | . | .
04DEC2024 | 76.51 | (36.59) | 22.34 | COMED | PEPC | . | .
05DEC2024 | 33.08 | (4.59) | 3.18 | COMED | PEPC | . | .
06DEC2024 | 46.93 | (15.69) | 10.43 | COMED | DOM | . | .
07DEC2024 | 35.95 | (7.88) | 5.5 | COMED | DPL | . | .
08DEC2024 | 22.92 | (3.50) | 2.39 | COMED | DOM | . | .
09DEC2024 | 28.75 | (2.68) | 1.99 | COMED | BGE | . | .
10DEC2024 | 38.65 | (5.35) | 3.79 | COMED | BGE | . | .
11DEC2024 | 30.78 | (5.16) | 4.77 | COMED | BGE | . | .
12DEC2024 | 39.84 | (3.70) | 3.31 | COMED | DAY | . | .
13DEC2024 | 31.46 | (2.75) | 3.73 | COMED | DAY | . | .
14DEC2024 | 33.99 | (5.21) | 4.37 | COMED | DPL | . | .
15DEC2024 | 32.44 | (4.45) | 3.44 | COMED | DPL | . | .
16DEC2024 | 27.01 | (4.75) | 3.34 | COMED | BGE | . | .
17DEC2024 | 28.23 | (2.47) | 1.83 | COMED | DPL | . | .
18DEC2024 | 28.84 | (3.22) | 2.17 | COMED | BGE | . | .
19DEC2024 | 33.32 | (2.33) | 1.96 | COMED | DPL | . | .
20DEC2024 | 35.03 | (3.76) | 3.52 | COMED | DPL | . | .
21DEC2024 | 33.41 | (4.06) | 4.18 | COMED | DPL | . | .
22DEC2024 | 33.85 | (3.75) | 3.36 | COMED | DPL | . | .
23DEC2024 | 35.69 | (8.79) | 7.14 | COMED | DPL | . | .
24DEC2024 | 32.53 | (4.42) | 3.96 | COMED | JCPL | . | .
25DEC2024 | 26.19 | (2.62) | 2.27 | COMED | JCPL | . | .
26DEC2024 | 35.12 | (4.48) | 3.51 | COMED | JCPL | . | .
27DEC2024 | 29.16 | (5.01) | 4.05 | COMED | DPL | . | .
28DEC2024 | 24.45 | (3.86) | 3.31 | COMED | DPL | . | .
29DEC2024 | 17.34 | (1.87) | 1.7 | COMED | JCPL | . | .
30DEC2024 | 19.86 | (0.72) | 1.11 | COMED | DAY | . | .
31DEC2024 | 21.33 | (3.03) | 2.02 | COMED | BGE | . | .

## Monthly Marginal Losses
Monthly Marginal Losses
Click to return to Table of Contents
Date | Loss Credits ($) | Loss Credits ($/MWh)
DEC2022 | 81841621.69 | 1.14
JAN2023 | 25887176.02 | 0.38
FEB2023 | 21144569.31 | 0.35
MAR2023 | 18545452.43 | 0.29
APR2023 | 15210425.22 | 0.27
MAY2023 | 16519916.8 | 0.28
JUN2023 | 19165944.57 | 0.31
JUL2023 | 38068632.28 | 0.49
AUG2023 | 25796839.83 | 0.35
SEP2023 | 23437309.66 | 0.37
OCT2023 | 23150254.76 | 0.39
NOV2023 | 21245391.9 | 0.35
DEC2023 | 21365556.23 | 0.32
JAN2024 | 41759044.59 | 0.56
FEB2024 | 15672050.94 | 0.25
MAR2024 | 13959861.69 | 0.23
APR2024 | 15744910.01 | 0.28
MAY2024 | 26679135.32 | 0.43
JUN2024 | 30745390.15 | 0.43
JUL2024 | 54851579.85 | 0.69
AUG2024 | 39758684.77 | 0.52
SEP2024 | 21093448.84 | 0.33
OCT2024 | 23573820.48 | 0.4
NOV2024 | 19778020.61 | 0.33
DEC2024 | . | .

## Sychronized Reserve Performance
Sychronized Reserve Performance
Click to return to Table of Contents
Start Time | End Time | Generation Tier 1 Response | Generation Tier 2 Assignment | Generation Tier 2 Response | Generation Zero Response | DSR Tier 1 Response | DSR Tier 2 Assignment | DSR Tier 2 Response | DSR Zero Response
18FEB20:11:16:00 | 18FEB20:11:26:00 | 421.44 | 6.67 | 0.28 | . | 0 | . | . | .
06JUL20:21:22:00 | 06JUL20:21:32:00 | 254.4 | 68.97 | 63.81 | 4.67 | 0 | 10.98 | 10.05 | 1.75
25JUL20:16:39:00 | 25JUL20:16:50:00 | 168.72 | 49.13 | 43.02 | . | 0 | 6.29 | 13.09 | 0.11
10SEP20:00:19:00 | 10SEP20:00:29:00 | 223.78 | 92.2 | 41.48 | 6.67 | 0 | 38.24 | 43.63 | 1.17
16DEC20:16:38:00 | 16DEC20:16:48:00 | 185.05 | 79.2 | 77.14 | 9.5 | 0 | 8.74 | 8.86 | .
09MAR21:12:50:00 | 09MAR21:13:01:00 | 303.76 | 109.41 | 61.66 | 10.08 | 0 | 52.66 | 64.75 | 0.92
30APR21:20:30:00 | 30APR21:20:42:00 | 414.24 | 52.9 | 52.7 | . | 0 | 48.76 | 43.21 | 1.58
26MAY21:14:17:00 | 26MAY21:14:27:00 | 545.84 | 73.65 | 64.71 | . | 0 | 42.21 | 47.42 | 0.67
23AUG21:20:44:00 | 23AUG21:21:01:00 | 561.46 | 163.46 | 156.05 | . | 0 | 96.14 | 52.33 | 38.36
12NOV21:22:25:00 | 12NOV21:22:37:00 | 432.47 | 123.6 | 99.82 | 24 | 0 | 54.54 | 74.32 | 0.16
06APR22:15:45:00 | 06APR22:15:55:00 | 303.15 | 161.51 | 112.95 | 47.23 | 0 | 36.2 | 38.6 | 0.03
13APR22:21:25:00 | 13APR22:21:53:00 | 1025.37 | 320.37 | 338.12 | 6.07 | 0 | 89.88 | 86.21 | 4.01
16MAY22:19:32:00 | 16MAY22:19:43:00 | 593.54 | 54.04 | 19.04 | 23.28 | 0 | . | . | .
16MAY22:19:53:00 | 16MAY22:20:03:00 | 572.62 | 103.07 | 45.43 | 10.37 | 0 | . | . | .
23MAY22:21:17:00 | 23MAY22:21:32:00 | 376.89 | 185.53 | 135.17 | . | 0 | 80.01 | 63.96 | 11.9
29OCT22:06:12:00 | 29OCT22:06:24:00 | 189.14 | 333.76 | 96.45 | 180.3 | 0 | 37.82 | 56.12 | 0.06
29NOV22:21:30:00 | 29NOV22:21:47:00 | 461.63 | 482.49 | 327.64 | 119.09 | 0 | 6.77 | 8 | 0.31
23DEC22:15:14:00 | 23DEC22:15:25:00 | 449.04 | 315.59 | 388.12 | 15.88 | 0 | 12.84 | 17.85 | 0.17
23DEC22:21:17:00 | 23DEC22:23:09:00 | 4594.02 | 3027.55 | 1442.9 | 514.08 | 0 | 417.58 | 614.23 | 1.87
24DEC22:05:05:00 | 24DEC22:05:30:00 | 507.6 | 715.38 | 393.03 | 193.84 | 0 | 20.67 | 13.36 | .
24DEC22:07:23:00 | 24DEC22:07:54:00 | 447.29 | 753.56 | 209.99 | 68.2 | 0 | 106.59 | 102.9 | 9.71
24DEC22:09:23:00 | 24DEC22:10:51:00 | 1104.38 | 1435.87 | 226.78 | 275.88 | 87.18 | 173.07 | 210.03 | 2.05
05JAN23:17:43:00 | 05JAN23:17:55:00 | 289.75 | 311.78 | 212.04 | 35.9 | 0 | 30.94 | 34.02 | .
10JAN23:12:06:00 | 10JAN23:12:23:00 | 289.83 | 566.08 | 342.73 | 81.6 | 0 | 104.89 | 89.69 | 20.54
15DEC23:00:41:00 | 15DEC23:00:53:00 | 100.79 | 444.82 | 234.37 | 113.04 | 0 | 97.58 | 108.57 | 2.84
24FEB24:20:48:00 | 24FEB24:21:00:00 | 347.49 | 537.76 | 169.45 | 313.78 | 0 | 52.46 | 6.4 | 48
08JUL24:21:57:00 | 08JUL24:22:11:00 | 327.31 | 728.8 | 340.02 | 77.81 | 0 | 25.88 | 32.77 | 0.42
21JUL24:21:53:00 | 21JUL24:22:03:00 | 223.48 | 304.32 | 244.8 | 13.68 | 0.01 | 92.24 | 101.69 | 0.2
12AUG24:21:10:00 | 12AUG24:21:20:00 | 226.27 | 437.2 | 413.98 | 8.97 | 0 | 102.21 | 96.4 | 0.88
18AUG24:20:04:00 | 18AUG24:20:20:00 | 790.53 | 377.76 | 282.26 | 30.83 | 0 | 140.93 | 156.2 | 0.08
10NOV24:05:20:00 | 10NOV24:05:31:00 | 112.21 | 263.74 | 283.08 | 18.98 | 0 | 88.11 | 141.57 | .
28NOV24:00:36:00 | 28NOV24:00:46:00 | 68.62 | 344.3 | 311.57 | 22.68 | 0 | 81.08 | 104.19 | 0.8
All values are converted into MWHs by multiplying MWs by the event duration

## Shortage Pricing Intervals
Shortage Pricing Intervals
Click to return to Table of Contents
Date | 5-Minute Interval | Reserve Penalty Factors | 5-Minute Interval SMP | Hourly Integrated SMP
Friday, December 6, 2024 | 7:25 - 7:30 | RTO Primary Reserves | 397.9 | 228.1
Friday, December 6, 2024 | 17:35 - 17:40 | RTO Primary Reserves | 348.33 | 104.94
Friday, December 6, 2024 | 17:40 - 17:45 | RTO Primary Reserves | 348.33 | 104.94

## Shortage Interval Constraints
Shortage Interval Constraints
Click to return to Table of Contents
Start Time | End Time | Monitored Facility | Contingency Facility | Transmission Constraint Penalty Factor | Shadow Price
06DEC24:07:25:00 | 06DEC24:07:30:00 | LENOX-NMESHOPP NML 1090 B 115 KV | L230.ETowanda-Hillside.2002 [NYISO] | 2000 | -2000
06DEC24:07:25:00 | 06DEC24:07:30:00 | TODDHUNT 15 XFORMER H 345 KV | 345/138.Todhunter.T16 | 1000 | -1000
06DEC24:07:25:00 | 06DEC24:07:30:00 | CONASTON-NORTHWES 2322 B 230 KV | L500.Brighton-Conastone.5011 | 2000 | -1211.62
06DEC24:17:35:00 | 06DEC24:17:40:00 | LENOX-NMESHOPP NML 1090 B 115 KV | L230.ETowanda-Hillside.2002 [NYISO] | 2000 | -2000
06DEC24:17:35:00 | 06DEC24:17:40:00 | Monroe-Lallendorf 345 kV l/o Lulu 345 kV Sub | Lulu 3-Terminal Line 3 | 39.6 | -39.66
06DEC24:17:35:00 | 06DEC24:17:40:00 | HOWARD2-MELMORE B 138 KV | L138.Melmore-ChatField | 2000 | -1303.7
06DEC24:17:35:00 | 06DEC24:17:40:00 | ETOWANDA-HILLSIDE 2002 TIE A 230 KV | L500.Hopatcong-Lackawanna.5063 | 1000 | -528.02
06DEC24:17:40:00 | 06DEC24:17:45:00 | Monroe-Lallendorf 345 kV l/o Lulu 345 kV Sub | Lulu 3-Terminal Line 3 | 39.6 | -39.66
06DEC24:17:40:00 | 06DEC24:17:45:00 | LENOX-NMESHOPP NML 1090 B 115 KV | L230.ETowanda-Hillside.2002 [NYISO] | 2000 | -2000
06DEC24:17:40:00 | 06DEC24:17:45:00 | HOWARD2-MELMORE B 138 KV | L138.Melmore-ChatField | 2000 | -1303.7
06DEC24:17:40:00 | 06DEC24:17:45:00 | ETOWANDA-HILLSIDE 2002 TIE A 230 KV | L500.Hopatcong-Lackawanna.5063 | 1000 | -528.02