## Setup
Enter Stakeholder Group Name in cell A2:
MIC Special Session
Enter issue title (use title from Issue Tracking if applicable) in cell A5:
Quadrennial Review of VRR Curve Parameters

## 1. Interest Identification
MIC Special Session
Quadrennial Review of VRR Curve Parameters
Interest Identification
Instructions: List interests of all parties on this page.
Quadrennial Review of VRR Curve
Quadrennial review of: (1) the shape of the VRR Curve, (2) the Cost of New Entry (CONE) for each CONE area, and (3) the methodology for determining the Net Energy and Ancillary Services Revenue Offset (E&AS Offset) for the PJM Region and for each Zone
*****Updated September 12, 2011
ID | Stakeholder Interests and Concerns
1 | As realistic as possible the assumptions about environmental controls used for determining CONE
2 | Improved predictability in capacity prices.
3 | Having an accurate capturing of the E&AS offsets by actual reference units.
4 | Ensuring adequate capacity; not prejudging the VRR curve.
Energy and Ancillary Service Offset
Identify benefits and costs of changing from real-time to day-ahead LMP.
*****Updated October 20, 2011
ID | Stakeholder Interests and Concerns
1 | Accurate modeling of Reference Resources, whether CT, or CCGT, or BESS regarding where energy revenues are generated. Desire is for use of actual dispatch conditions.
2 | Accurate modeling related to minimum run requirements.
3 | Desire consistency in application of the calculation of EAS Offset. (MOPR Screen and VRR Curve)
4 | Allow new capacity to enter when needed but not when there is a large surplus of capacity.
5 | Accuracy of calculation (e.g. LMP point utilized such as generation bus or load bus)
6 | Represent how units obtain EAS revenue from the market.
7 | EAS Offset should not be calculated such that a merchant model is favored over other business models.
8 | Does hour ending 0800 preclude potential revenues that could be received?
9 | Is the historic nature of the EAS Offset calculation appropriate? Is there a better approach?
10 | Desire a final report that identifies pros/cons for consistent versus custom treatment of EAS offset for all uses
11 | Desire ability to use method for all market participants (e.g. market seller offer cap)
12 | Avoid further increases in the hurdle for new supply to enter the market
*****Updated June 2, 2014
ID | Stakeholder Interests and Concerns
1 | Interest in understanding whether forwards are good enough to calculate 4 years out.
2 | Understanding how locational basis could be forecast.
3 | In general, interested in having some transparency behind the simulations that conclude that we need more reliability or need to shift the curves.
4 | Interested in understanding how all of the other changes just made in RPM interact with PJM's other recommendations, specifically how much reliability we need to procure and how much we did just procure.
5 | Is there a current failure in the VRR curve for meeting reliabilty in the BRA?
6 | Interest in changing the shape of the curve is to eliminate administrative volatility due to slope of curve.
7 | Interest in adjusting parameters to minimize price supression identified by IMM.
8 | Interest in assuring that reliability is retained in the most cost effective method possible.
9 | Ensure that we understand the costs of the packages.
10 | Ensure that we understand the market power incentive consequences of the packages.
11 | Ensure we examine all market costs in both the short, and long-term.
12 | Ensure that we examine the impact on energy markets of shifting the VRR curve.
13 | Ensure the market doesn't just pay short-term marginal costs so that resources can recover their long-run marginal costs over time.
14 | Consider the market impacts of clearing large excesses of capacity.
15 | Interest in understanding the basis and the support for the Brattle recommendations and the extent to which they will be relied upon by PJM currently and in the future.
*****No New Interested Identified in 2018
Newly identified interests as of May 20, 2022
ID | Stakeholder Interests and Concerns
1 | Competitive capacity market outcomes
2 | VRR curve - should be designed as to not overprocure or overpay for capacity
3 | Ensuring that the VRR curve reflects dynamic changes we may see over time with the capacity market, not just a one year snapshot. Not assuming that no changes could be made after the BRA.
4 | VRR process should allow curve inputs to change within 4 year period if underlying conditions of market change
Newly identified interests as of April 16, 2025
ID | Stakeholder Interests and Concerns
1 | Ensuring return to 3 year forward posture
2 | Avoid outcomes that are economically disruptive and threaten acceptance of RPM
3 | Procuring adequate extra capacity as reliability insurance
4 | Ensure that the VRR curve and inputs are functional over the period covered by the Quad Review
5 | Defining appropriate role of large load additions in capacity market dynamics, role of load forecast in the VRR curve
6 | Purchase adequate length in the LDAs with respect to going short of the Reliability Requirement
7 | Penalty rate going too low / Hedge against Net CONE variance
8 | VRR curve that adequately balances near term incentives with long term viability
9 | Different pricing points for catch up and 3 year forward periods
10 | Parameters and definitions of VRR curve should be systematic, verifiable and algorithmic

## 2. Options Matrix-Design Comp.
MIC Special Session
Quadrennial Review of VRR Curve Parameters
OPTIONS MATRIX
Solution Options2
# | Design Components1 | Priority | Status Quo (Current Tariff Values) | Brattle Recommendations (2025) | PJM Recommendation | A | B | C | D | E
* | Implementation
0 | Reference Prices used to determine VRR Curve |  | Gross and Net CONE of Reference Resource technology | Reference Price considering short and long run Net CONE values of multiple technologies | Gross and Net CONE of Reference Resource technology
0a | Calculating Reference Price |  | N/A | Reference Price is the based on the median value of the following Indicative Net CONE values: Current Level-nominal CONE & Forward EAS of BESS 4-hr, CT, and CC, Current level-nominal CONE & Forward E&AS with 15-year life of CC, Long-term CONE & Forward EAS of CT, and CC, Long-term CONE & 10-yr Avg E&AS of CC, and CT, and Adjusted Empirical Net CONE | N/A
0b | Annual Reference Price Update |  | N/A | Escalated by CPI | N/A
0c | Net CONE Calculation |  | Gross CONE - Net EAS | Net CONE is equal to the applicable Reference Price Add Reference Price is equal to Net CONE in relevant tariff sections | Gross CONE - Net EAS
1 | Reference Resource Technology for purpose of VRR Curve |  | Combustion Turbine (CT) GE Frame 7HA.02: • Configuration: single unit • Net Summer ICAP: 357 MW • Power Augmentation: evaporative cooling, no inlet chillers • Environmental Controls: selective catalytic reduction (SCR) technology in all CONE areas • dual fuel capability in all CONE areas • heat rate @ 9,313 Btu/kWh • variable O&M @ $1.19/MWh • Major Maintenance - Starts Based @ $21,170 | No Reference Resource Technology | All CONE Areas except Comed:Combined Cycle (CC) GE Frame 7HA.03, STF-A650 (ST): • 2 Trains of 1×1 Single Shaft • Net Summer ICAP: ~1,190 MW w/o Duct Firing, ~1,280 MW w/ Duct Firing • Power Augmentation: Evaporative Cooling; no inlet chillers • Dry Air-Cooled Condenser • Environmental Controls: selective catalytic reduction (SCR) technology in all CONE areas • Firm gas transportation contracts • heat rate @ ~6,315 Btu/kWh w/o Duct Firing, ~6,595 Btu/kWh w/ Duct Firing • variable O&M @ $2.42/MWh ComEd: Battery Energy Storage System (BESS): • Chemistry: Lithium-ion • Containerized • Rated Output Power (at POI): 200 MW-ac • Gross Inverter Output Requirement: 210 MW-ac • Installed Energy Capacity 1,009 MWh-dc • Capacity Degradation Loss (at first Augmentation): 10.28% • Minimum State of Charge: 5% • Duration: 4 hours • Augmentations Years 5, 8, 11, 14, and 17 | Combustion Turbine (CT) GE Frame 7HA.03: • Configuration: single unit 1 x 0 • Net Summer ICAP: ~390 MW • Power Augmentation: evaporative cooling, no inlet chillers • Environmental Controls: selective catalytic reduction (SCR) technology in all CONE areas • dual fuel capability in all CONE areas • heat rate @ 9,150 Btu/kWh • variable O&M @ $1.00/MWh | Combined Cycle (CC) GE Frame 7HA.03, STF-A650 (ST): • 2 Trains of 1×1 Single Shaft • Net Summer ICAP: ~1,190 MW w/o Duct Firing, ~1,280 MW w/ Duct Firing • Power Augmentation: Evaporative Cooling; no inlet chillers • Dry Air-Cooled Condenser • Environmental Controls: selective catalytic reduction (SCR) technology in all CONE areas • Firm gas transportation contracts • heat rate @ ~6,315 Btu/kWh w/o Duct Firing, ~6,595 Btu/kWh w/ Duct Firing • variable O&M @ $2.42/MWh | Battery Energy Storage System (BESS): • Chemistry: Lithium-ion • Containerized • Rated Output Power (at POI): 200 MW-ac • Gross Inverter Output Requirement: 210 MW-ac • Installed Energy Capacity 1,009 MWh-dc • Capacity Degradation Loss (at first Augmentation): 10.28% • Minimum State of Charge: 5% • Duration: 4 hours • Augmentations Years 5, 8, 11, 14, and 17
2 | Gross CONE for purpose of VRR Curve |  | Update CONE values for 26/27 BRA ($/MW-year ICAP): CONE Area 1: $136,000 ~$372/MW-Day ICAP CONE Area 2: $142,000 ~$389/MW-Day ICAP CONE Area 3: $147,600 ~$404/MW-Day ICAP CONE Area 4: $143,500 ~$393/MW-Day ICAP CONE Area 5: $150,800 ~$413/MW-Day ICAP | No Gross CONE for purpose of VRR Curve | Combined Cycle: ($/MW-year ICAP): CONE Area 1: $298,000 ~$816/MW-Day ICAP CONE Area 2: $299,000 ~$819/MW-Day ICAP CONE Area 3: $297,000 ~$813/MW-Day ICAP CONE Area 4: $297,000 ~$814/MW-Day ICAP Battery Energy Storage System: ($/MW-year ICAP): CONE Area 5: $265,000 ~$726/MW-Day ICAP | Combustion Turbine: ($/MW-year ICAP): CONE Area 1: $244,000 ~$670/MW-Day ICAP CONE Area 2: $247,000 ~$676/MW-Day ICAP CONE Area 3: $242,000 ~$663/MW-Day ICAP CONE Area 4: $242,000 ~$664/MW-Day ICAP CONE Area 5: $288,000 ~$789/MW-Day ICAP | Combined Cycle: ($/MW-year ICAP): CONE Area 1: $298,000 ~$816/MW-Day ICAP CONE Area 2: $299,000 ~$819/MW-Day ICAP CONE Area 3: $297,000 ~$813/MW-Day ICAP CONE Area 4: $297,000 ~$814/MW-Day ICAP CONE Area 5: $348,000 ~$953/MW-Day ICAP | Battery Energy Storage System: ($/MW-year ICAP): CONE Area 1: $248,000 ~$680/MW-Day ICAP CONE Area 2: $245,000 ~$671/MW-Day ICAP CONE Area 3: $238,000 ~$652/MW-Day ICAP CONE Area 4: $244,000 ~$667/MW-Day ICAP CONE Area 5: $265,000 ~$726/MW-Day ICAP
2a | Reference Price for purpose of VRR Curve |  | NA | Reference Price values for 28/29 BRA ($/MW-day UCAP): CONE Area 1: $600 CONE Area 2: $350 CONE Area 3: $350 CONE Area 4: $425 CONE Area 5: $725 | NA
3 | Index used for Cost escalation |  | For CT Gross CONE, a composite BLS Index BLS Quarterly Census of Employment and Wages for Utility System Construction (weighted 40%), the BLS Producer Price Index for Construction Materials and Components (weighted 45%), and the BLS Producer Price Index Turbines and Turbine Generator Sets (weighted 15%). | No escalation of Gross CONE, Escalate the Reference Price by Consumer Price Index (CPI). | For CC Gross CONE, a composite BLS Index BLS Quarterly Census of Employment and Wages for Utility System Construction (weighted 25%), the BLS Producer Price Index for Construction Materials and Components (weighted 16%), the BLS Producer Price Index Turbines and Turbine Generator Sets (weighted 32%), and General Costs (GDP Deflator) using Gross Domestic Product Implict Price Deflator, Index 2017=100 (weighted 27%). For BESS Gross CONE, a composite BLS Index BLS Quarterly Census of Employment and Wages for Utility System Construction (weighted 17%), the BLS Producer Price Index for Construction Materials and Components (weighted 19%), Lithium Carbonate price >99.5% Battery Grade from Shanghai Metals Market (weighted 5%), Battery Supply (weighted 42%), and General Costs (GDP Deflator) using Gross Domestic Product Implict Price Deflator, Index 2017=100 (weighted 18%). Source: CONE Report Table 28: CONE Annual Update Recommended Composite Indexes
4 | RTO-Wide Gross CONE |  | Use average Gross CONE of the five CONE Areas | N/A Reference Price value of $350/MW-Day UCAP | Average of CONE Area 1, 2, 3, and 4
5 | Simulation Method for calculating Net Energy Revenues for the Reference Resource |  | Optimized Method: Projected EAS Dispatch, defined as simulated dispatch with the objective of committing and dispatching a resource for the purpose of maximizing its net energy and ancillary services revenues, subject to operating parameters and cost of the resource | Status Quo for analysis of Net CONE values in Brattle Report, but not calculated annually for updated Reference Price values. Updates parameters to match updated technology data, update BESS to be the average of 50% between perfect foresight and 50% the day-ahead only value. | Brattle Recommendation: Status Quo for analysis of Net CONE values in Brattle Report, but not calculated annually for updated Reference Price values. Updates parameters to match updated technology data, update BESS to be the average of 50% between perfect foresight and 50% the day-ahead only value.
6 | Net Energy and Ancillary Services Revenue Offset Input Data Time Horizon |  | Forward-looking inputs (additional details below) | Status Quo | Status Quo
6a | Energy |  | Input prior 3 calendar years of LMP scaled using forward LMPs for the Delivery Year. Caculate revenues using Projected EAS Dispatch. | Status Quo | Status Quo
6b | Regulation |  | N/A | N/A | N/A
6c | Sync & Non-sync Reserves |  | Inputs historical hourly sync and non-sync reserve prices scaled by forward energy prices. Caculate revenues using Projected EAS Dispatch. | Status Quo | Status Quo
6d | Natural Gas Prices |  | Input prior 3 calendar years of gas prices, using the following zone to hub mappings: AE, BGE, DPL, & JCPL - Transco-Z6 (non-NY) COMED - Chicago Citygates DUQ, METED, PECO, & PPL - TETCO M3 PEPCO & DOM - Transco Z5 DIv AEP, OVEC - Columbia Appalachia TCO DAY, DEOK, ATSI, EKPC - Mich Con APS & PENELEC - Dominion South PSEG & RECO - Transco Z6 (NY) | Status Quo | Status Quo
6e | Emissions allowance cost |  | Current historical approach includes NOx and SO2 allowance costs | Status Quo | Status Quo
7 | Method for calculating Net Energy Revenues for the Reference Resource and Net CONE for the RTO |  | Determine Net EAS for Reference Resource using Projected EAS Dispatch against forward-looking hourly PJM RTO LMP and a gas price based on the average of all gas price indices assigned to PJM zones. Determine Net CONE for the RTO by subtracting the calculated Net EAS from the RTO-wide Gross CONE. | N/A Calculate RTO EAS offset as the 33rd percentile of calculated Net CONE values. This value is not calculated annually for updated Reference Price values. | Calculate RTO EAS offset as the 33rd percentile of calculated Net CONE values. Determine Net CONE for the RTO as the 33rd percentile of calculated zonal Net CONE values.
8 | Method for calculating Net CONE for each LDA |  | Determine Net EAS for Reference Resource assumed to be constructed in each zone using Projected EAS Dispatch against forward-looking zonal LMP and gas price index point for zone. Determine Net CONE for each zone by subtracting the Net EAS determined for each zone from the Gross CONE of the zone. For zonal or sub-zonal LDA, use the Net CONE determined for that zone. For multi-zone LDA, determine the Net CONE as average Net CONE of the zones comprising the LDA. | Set LDA Net CONEs to equal to the Reference Price considering values in 0a. | Determine Net EAS for Reference Resource assumed to be constructed in each zone using Projected EAS Dispatch against forward-looking zonal LMP and gas price index point for zone. Determine Net CONE for each zone by subtracting the Net EAS determined for each zone from the Gross CONE of the zone. For zonal or sub-zonal LDA, use the Net CONE determined for that zone. For multi-zone LDA, determine the Net CONE as the 33rd percentile of calculated zonal average Net CONE of the zones comprising the LDA.
9 | Reactive Service |  | N/A | N/A | N/A
10 | Cost Adder for Net Energy & Ancillary Services Offset |  | CT- 10% uncertainty adder natural gas cost for CTs | Status Quo | No Cost Adder
11 | VRR Curve Shape - System |  | Point 1) quantity = 99% of RR, price = greater (CONE or 1.75*Net CONE) Point 2) quantity = 101.5% of RR, price = 0.75*Net CONE Point 3) quantity = 104.5% or RR, price = 0 | Marginal Reliability Impact (MRI) curve anchored at a price cap within the range of (1.5 to 1.75) x Reference Price, and two specific candidates of: – Curve 2: Price cap at 1.7 × Reference Price and 99.0% of the Reliability Requirement, or – Curve 3: Price cap at 1.5 × Reference Price and 99.6% of the Reliability Requirement | Point 1) quantity = 99% of RR, price = greater (0.6 x Gross CONE or 1.75*Net CONE) Point 2) quantity = 101.5% of RR, price = 0.5 x Point 1 Price Point 3) quantity = 104.5% or RR, price = 0
12 | VRR Curve Shape - Local |  | (same as curve shape for the system) | MRI Curves anchored at Reliability Requirement and Reference Price, with a price cap of the greater of (1.5 x LDA Reference Price, or the System RTO Price Cap) | Status Quo (same as curve shape for the system)
13 | Use of bonus depreciation in Gross CONE escalation |  | N/A | N/A | N/A
14 | Financial Assumptions
14a | Peer Group considered |  | Companies publically available in 2022 report | Companies publically available in 2025 report | Companies publically available in 2025 report
14b | Debt to Equity ratio |  | 55/45 | 55/45 | 55/45
14c | Debt Rate |  | 6.3% | 5.8% | 5.8%
14d | Equity Rate |  | 14.1% | 16% | 16%
14e | ATWACC |  | ATWACC = 8.85% | 9.5% | 9.5%
14f | Economic Life |  | 20 Years | 20 Years | 20 Years
14g | Fixed O&M Escalation |  | 2.2% | Curve between 2.75% and 2.4% found in Figure 18 of CONE Report | Curve between 2.75% and 2.4% found in Figure 17 of CONE Report
Instructions:
*Implementation should consider timing for both PJM and stakeholders (added as standard component based on Stakeholder feedback- 2015)
1Design Components - each is an "attribute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Design Component Details" tab (2a).
3. Using informal feedback from the participants, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Option Details" tab 2b.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package", to be documented in tab 3, "Packages Matrix".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.

## 2a. Design Component Details
MIC Special Session
Quadrennial Review of VRR Curve Parameters
COMPONENT DETAILS
Instructions: Complete this form as needed. Design components should be populated from the Options Matrix.
Design Component | Detailed Description
1 | <enter detailed description of this component>
2 | <enter detailed description of this component>
3 | <enter detailed description of this component>
4 | <enter detailed description of this component>
5 | <enter detailed description of this component>

## 2b. Option Details
MIC Special Session
Quadrennial Review of VRR Curve Parameters
SOLUTION OPTION DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of options than the Options Matrix allows.
Cell # | Detailed Description
Corresponding cell number from Options Matrix (ex. 1A, 1B, 2A, etc.) | <enter detailed description of this option>

## 2e. Additional Matrix-Design
MIC Special Session
Quadrennial Review of VRR Curve Parameters
OPTIONS MATRIX
Solution Options2
# | Design Components1 | Priority | Status Quo (Current Tariff Values) | Brattle Recommendations (2025) | A | B | C | D | E
* | Implementation
1 | 3-year forward schedule |  | Truncated schedule until returning to a 3-year forward BRA with the 2030/2031 Delivery Year | Maintain current schedule to restore 3- year forward period, aligned with overall RPM design
2 | Sub-annual capacity markets |  | Annual capacity market design | Transition to sub-annual capacity market with MRI-based VRR curves
3 | Reliability Backstop Mechanisms |  | OATT Attachment DD Section 16 16.2 Investigation of Capacity Shortfall If the total UCAP cleared in a BRA is 1 percentage point lower than the approved IRM value, PJM will investigate the cause of the shortage, and recommend corrective action. 16.3 Triggering Conditions Trigger a Reliability Backstop auction after clearing 1 percentage point lower than the approved IRM value, for three consecutive Delivery Years, or if Base Load Generation Resources are less than the forecasted minimum hourly load calculated. | For the investigative review, update the mechanism so that it can be triggered either on an RTO-wide basis or also on an LDA-specific basis, triggered by a “minimum acceptable” reliability level, defined as: (a) 99% of the Reliability Requirement for the RTO; and (b) volume at the price cap for each LDA (approximately 96%–99% of LDA reliability requirements, consistent with recommended MRI-based curves for each LDA); and For Backstop Procurements, consider whether the current mechanism offers sufficient reliability protections or whether enhancements to the mechanism are warranted. We recommend that any adjusted or expanded role for backstop procurements would be developed in close coordination with state regulatory agencies.
Instructions:
*Implementation should consider timing for both PJM and stakeholders (added as standard component based on Stakeholder feedback- 2015)
1Design Components - each is an "attribute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Design Component Details" tab (2a).
3. Using informal feedback from the participants, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Option Details" tab 2b.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package", to be documented in tab 3, "Packages Matrix".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.

## 3. Package Matrix
Quadrennial Review of VRR Curve Parameters
PACKAGE / PROPOSAL MATRIX
Packages
# | Design Components | Priority | Status Quo | PJM | PJM/VC Barrow PAPUC Joint Proposal - CC | B IMM | LS Power | D (VC Barrow PAPUC Package) | LS Power 2 | PJM/VC Barrow PAPUC Joint Proposal - CT
1 | Reference Resource Technology for purpose of VRR Curve |  | Combustion Turbine (CT) GE Frame 7HA.02: • Configuration: single unit • Net Summer ICAP: 357 MW • Power Augmentation: evaporative cooling, no inlet chillers • Environmental Controls: selective catalytic reduction (SCR) technology in all CONE areas • dual fuel capability in all CONE areas • heat rate @ 9,313 Btu/kWh • variable O&M @ $1.19/MWh • Major Maintenance - Starts Based @ $21,170 | All CONE Areas except Comed:Combined Cycle (CC) GE Frame 7HA.03, STF-A650 (ST): • 2 Trains of 1×1 Single Shaft • Net Summer ICAP: ~1,190 MW w/o Duct Firing, ~1,280 MW w/ Duct Firing • Power Augmentation: Evaporative Cooling; no inlet chillers • Dry Air-Cooled Condenser • Environmental Controls: selective catalytic reduction (SCR) technology in all CONE areas • Firm gas transportation contracts • heat rate @ ~6,315 Btu/kWh w/o Duct Firing, ~6,595 Btu/kWh w/ Duct Firing • variable O&M @ $2.42/MWh ComEd: Battery Energy Storage System (BESS): • Chemistry: Lithium-ion • Containerized • Rated Output Power (at POI): 200 MW-ac • Gross Inverter Output Requirement: 210 MW-ac • Installed Energy Capacity 1,009 MWh-dc • Capacity Degradation Loss (at first Augmentation): 10.28% • Minimum State of Charge: 5% • Duration: 4 hours • Augmentations Years 5, 8, 11, 14, and 17 | All CONE Areas except Comed:Combined Cycle (CC) GE Frame 7HA.03, STF-A650 (ST): • 2 Trains of 1×1 Single Shaft • Net Summer ICAP: ~1,205.6 MW w/o Duct Firing, ~1,330.4 MW w/ Duct Firing • Power Augmentation: Evaporative Cooling; no inlet chillers + Wet Compression • Dry Air-Cooled Condenser • Environmental Controls: selective catalytic reduction (SCR) technology in all CONE areas • Firm gas transportation contracts • heat rate @ ~6,242 Btu/kWh w/o Duct Firing, ~6,434 Btu/kWh w/ Duct Firing • variable O&M @ 2.09/MWh | All CONE Areas Combustion Turbine (CT) GE Frame 7HA.03: • Configuration: single unit 1 x 0 • Net Summer ICAP: ~438 MW • Power Augmentation: evaporative cooling, wet compression, no inlet chillers • Environmental Controls: selective catalytic reduction (SCR) technology in all CONE areas • dual fuel capability in all CONE areas • heat rate @ 9,065 Btu/kWh • variable O&M @ $5.30/MWh All CONE Areas except COMED: 20 yr levelization ComEd: 15 yr levelization | CONE Areas 1 (EMAAC), 2 (SWMAAC), 3 (Rest of RTO, 4 (WMAAC), and RTO - Status Quo CT but change to Brattle updated CT technology -: Combustion Turbine (CT) GE Frame 7HA.03: • Configuration: single unit 1 x 0 • Net Summer ICAP: ~390 413.9 MW • Power Augmentation: evaporative cooling, no inlet chillers + Wet Compression • Environmental Controls: selective catalytic reduction (SCR) technology in all CONE areas • Dual Fuel Capability • No Firm Gas • heat rate @ 9,150 9,199 Btu/kWh • variable O&M @ $1.00/MWh $2.65/MWh CONE Area 5 (COMED) - Same as PJM's original proposal and the Brattle reports - ComEd: Battery Energy Storage System (BESS): • Chemistry: Lithium-ion • Containerized • Rated Output Power (at POI): 200 MW-ac • Gross Inverter Output Requirement: 210 MW-ac • Installed Energy Capacity 1,009 MWh-dc • Capacity Degradation Loss (at first Augmentation): 10.28% • Minimum State of Charge: 5% • Duration: 4 hours • Augmentations Years 5, 8, 11, 14, and 17 | IMM Combined Cycle in all CONE Areas except ComEd PJM Battery in ComEd | Status Quo CT in CONE Areas 1 (EMAAC), 2 (SWMAAC), 3 (Rest of RTO, 4 (WMAAC), and RTO but change to Brattle updated CT technology -: Combustion Turbine (CT) GE Frame 7HA.03: • Configuration: single unit 1 x 0 • Net Summer ICAP: ~390 413.9 MW • Power Augmentation: evaporative cooling, no inlet chillers + Wet Compression • Environmental Controls: selective catalytic reduction (SCR) technology in all CONE areas • Dual Fuel Capability • No Firm Gas • heat rate @ 9,150 9,199 Btu/kWh • variable O&M @ $1.00/MWh $2.65/MWh Same as PJM for CONE Area 5 (COMED) - ComEd: Battery Energy Storage System (BESS): • Chemistry: Lithium-ion • Containerized • Rated Output Power (at POI): 200 MW-ac • Gross Inverter Output Requirement: 210 MW-ac • Installed Energy Capacity 1,009 MWh-dc • Capacity Degradation Loss (at first Augmentation): 10.28% • Minimum State of Charge: 5% • Duration: 4 hours • Augmentations Years 5, 8, 11, 14, and 17 | All CONE Areas:Combustion Turbine (CT) GE Frame 7HA.03: • 1×0 • Net Summer ICAP: ~413.9 MW • Power Augmentation: Evaporative Cooling; no inlet chillers + Wet Compression • Environmental Controls: selective catalytic reduction (SCR) technology in all CONE areas • Dual-Fuel Capability • No Firm Gas • heat rate @ ~9,199 Btu/kWh • variable O&M @ $2.65/MWh
2 | Gross CONE for purpose of VRR Curve |  | Update CONE values for 26/27 BRA ($/MW-year): CONE Area 1: $136,000 CONE Area 2: $142,000 CONE Area 3: $147,600 CONE Area 4: $143,500 CONE Area 5: $150,800 | Combined Cycle: ($/MW-year ICAP): CONE Area 1: $298,000 ~$816/MW-Day ICAP CONE Area 2: $299,000 ~$819/MW-Day ICAP CONE Area 3: $297,000 ~$813/MW-Day ICAP CONE Area 4: $297,000 ~$814/MW-Day ICAP Battery Energy Storage System: ($/MW-year ICAP): CONE Area 5: $265,000 ~$726/MW-Day ICAP | Combined Cycle: ($/MW-year ICAP): CONE Area 1: $274,000 ~$752/MW-Day ICAP CONE Area 2: $278,000 ~$761/MW-Day ICAP CONE Area 3: $276,000 ~$757/MW-Day ICAP CONE Area 4: $275,000 ~$754/MW-Day ICAP CONE Area 5: $314,000 ~$860/MW-Day ICAP | Combustion Turbine: ($/MW-year ICAP): CONE Area 1: $191,842 ~$526/MW-Day ICAP CONE Area 2: $184,325 ~$505/MW-Day ICAP CONE Area 3: $176,295 ~$483/MW-Day ICAP CONE Area 4: $173,010 ~$474/MW-Day ICAP CONE Area 5: $204,765 ~$561/MW-Day ICAP | Brattle Combustion Turbine Gross CONE: ($/MW-year ICAP): CONE Area 1: $244,000 $226,391 ~$670 620/MW-Day ICAP CONE Area 2: $247,000 $230,096 ~$676 $630/MW-Day ICAP CONE Area 3: $242,000 $223,623 ~$663 $613/MW-Day ICAP CONE Area 4: $242,000 $224,527 ~$664 $615/MW-Day ICAP CONE Area 5: $288,000 ~$789/MW-Day ICAP [note - Costs updated per Brattle 8.18.2025 Updated Brattle Cone Model - https://www.pjm.com/-/media/DotCom/committees-groups/committees/mic/2025/20250822-special/updated-brattle-cone-model.xlsx] CONE Area 5 (COMED) - Same as PJM's original proposal and the Brattle reports - Battery Energy Storage System: ($/MW-year ICAP): CONE Area 5: $265,000 $281,016 ~$726 $770/MW-Day ICAP PJM shall update these Costs of New Entry including the EPC costs. | Combined Cycle: ($/MW-year ICAP): CONE Area 1: $208,780 CONE Area 2: $192,355 CONE Area 3: $190,895 CONE Area 4: $187,610 Battery Energy Storage System CONE Area 5: $259,401 | Brattle Combustion Turbine Gross CONE: ($/MW-year ICAP): CONE Area 1: $244,000 $226,391 ~$670 620/MW-Day ICAP CONE Area 2: $247,000 $230,096 ~$676 $630/MW-Day ICAP CONE Area 3: $242,000 $223,623 ~$663 $613/MW-Day ICAP CONE Area 4: $242,000 $224,527 ~$664 $615/MW-Day ICAP CONE Area 5: $288,000 ~$789/MW-Day ICAP [note - Costs updated per Brattle 8.18.2025 Updated Brattle Cone Model - https://www.pjm.com/-/media/DotCom/committees-groups/committees/mic/2025/20250822-special/updated-brattle-cone-model.xlsx] CONE Area 5 (COMED) - Same as PJM's original proposal and the Brattle reports - Battery Energy Storage System: ($/MW-year ICAP): CONE Area 5: $265,000 $281,016 ~$726 $770/MW-Day ICAP PJM shall update these Costs of New Entry including the EPC costs | Combustion Turbine: ($/MW-year ICAP): CONE Area 1: $218,000 ~$596/MW-Day ICAP CONE Area 2: $222,000 ~$608/MW-Day ICAP CONE Area 3: $215,000 ~$590/MW-Day ICAP CONE Area 4: $216,000 ~$592/MW-Day ICAP CONE Area 5: $248,000 ~$679/MW-Day ICAP
3 | Index used for Gross CONE escalation |  | For CT, a composite BLS Index BLS Quarterly Census of Employment and Wages for Utility System Construction (weighted 40%), the BLS Producer Price Index for Construction Materials and Components (weighted 45%), and the BLS Producer Price Index Turbines and Turbine Generator Sets (weighted 15%). | For CC Gross CONE, a composite BLS Index BLS Quarterly Census of Employment and Wages for Utility System Construction (weighted 25%), the BLS Producer Price Index for Construction Materials and Components (weighted 16%), the BLS Producer Price Index Turbines and Turbine Generator Sets (weighted 32%), and General Costs (GDP Deflator) using Gross Domestic Product Implict Price Deflator, Index 2017=100 (weighted 27%). For BESS Gross CONE, a composite BLS Index BLS Quarterly Census of Employment and Wages for Utility System Construction (weighted 17%), the BLS Producer Price Index for Construction Materials and Components (weighted 19%), Lithium Carbonate price >99.5% Battery Grade from Shanghai Metals Market (weighted 5%), Battery Supply (weighted 42%), and General Costs (GDP Deflator) using Gross Domestic Product Implict Price Deflator, Index 2017=100 (weighted 18%). Source: CONE Report Table 28: CONE Annual Update Recommended Composite Indexes | For CC Gross CONE, a composite BLS Index BLS Quarterly Census of Employment and Wages for Utility System Construction (weighted 25%), the BLS Producer Price Index for Construction Materials and Components (weighted 16%), the BLS Producer Price Index Turbines and Turbine Generator Sets (weighted 32%), and General Costs (GDP Deflator) using Gross Domestic Product Implict Price Deflator, Index 2017=100 (weighted 27%). Adjust the COMED region by the Asset Life Factor calculated in Table 29: 29/30 = 1.031 30/31 = 1.074 31/32 = 1.109 Source: CONE Report Table 28: CONE Annual Update Recommended Composite Indexes | Status Quo | For CT Gross CONE - Brattle Report Table 28 - A composite BLS Index BLS Quarterly Census of Employment and Wages for Utility System Construction (weighted 15%), the BLS Producer Price Index for Construction Materials and Components (weighted 10%), the BLS Producer Price Index Turbines and Turbine Generator Sets (weighted 46%), and General Costs (GDP Deflator) using Gross Domestic Product Implict Price Deflator, Index 2017=100 (weighted 29%). For BESS Gross CONE - Same as PJM and Brattle Report Table 28: A composite BLS Index BLS Quarterly Census of Employment and Wages for Utility System Construction (weighted 17%), the BLS Producer Price Index for Construction Materials and Components (weighted 19%), Lithium Carbonate price >99.5% Battery Grade from Shanghai Metals Market (weighted 5%), Battery Supply (weighted 42%), and General Costs (GDP Deflator) using Gross Domestic Product Implict Price Deflator, Index 2017=100 (weighted 18%). | Same as PJM Package | For CT Gross CONE - Brattle Report Table 28 - A composite BLS Index BLS Quarterly Census of Employment and Wages for Utility System Construction (weighted 15%), the BLS Producer Price Index for Construction Materials and Components (weighted 10%), the BLS Producer Price Index Turbines and Turbine Generator Sets (weighted 46%), and General Costs (GDP Deflator) using Gross Domestic Product Implict Price Deflator, Index 2017=100 (weighted 29%). For BESS Gross CONE - Same as PJM and Brattle Report Table 28: A composite BLS Index BLS Quarterly Census of Employment and Wages for Utility System Construction (weighted 17%), the BLS Producer Price Index for Construction Materials and Components (weighted 19%), Lithium Carbonate price >99.5% Battery Grade from Shanghai Metals Market (weighted 5%), Battery Supply (weighted 42%), and General Costs (GDP Deflator) using Gross Domestic Product Implict Price Deflator, Index 2017=100 (weighted 18%). | For CT Gross CONE, a composite BLS Index BLS Quarterly Census of Employment and Wages for Utility System Construction (weighted 15%), the BLS Producer Price Index for Construction Materials and Components (weighted 10%), the BLS Producer Price Index Turbines and Turbine Generator Sets (weighted 46%), and General Costs (GDP Deflator) using Gross Domestic Product Implict Price Deflator, Index 2017=100 (weighted 29%). Adjust the COMED region by the Asset Life Factor calculated in Table 29: 29/30 = 1.023 30/31 = 1.060 31/32 = 1.084 Source: CONE Report Table 28: CONE Annual Update Recommended Composite Indexes
4 | RTO-Wide Gross CONE |  | Use average Gross CONE of the five CONE Areas | Average of CONE Area 1, 2, 3, and 4 | Average of CONE Area 1, 2, 3, 4, and 5 | Status Quo | Same as PJM - Average of CONE Area 1, 2, 3, and 4 | Same as PJM Package | Same as PJM - Average of CONE Area 1, 2, 3, and 4 | Average of CONE Area 1, 2, 3, 4, and 5
5 | Simulation Method for calculating Net Energy Revenues for the Reference Resource |  | Optimized Method: Projected EAS Dispatch, defined as simulated dispatch with the objective of committing and dispatching a resource for the purpose of maximizing its net energy and ancillary services revenues, subject to operating parameters and cost of the resource | Brattle Recommendation: Status Quo for analysis of Net CONE values in Brattle Report, but not calculated annually for updated Reference Price values. Updates parameters to match updated technology data, update BESS to be the average of 50% between perfect foresight and 50% the day-ahead only value. | Brattle Recommendation: Status Quo for analysis of Net CONE values in Brattle Report, but not calculated annually for updated Reference Price values. Updates parameters to match updated technology data. | Status Quo | Same as Status Quo - Optimized Method: Projected EAS Dispatch, defined as simulated dispatch with the objective of committing and dispatching a resource for the purpose of maximizing its net energy and ancillary services revenues, subject to operating parameters and cost of the resource | Same as PJM Package | Same as Status Quo - Optimized Method: Projected EAS Dispatch, defined as simulated dispatch with the objective of committing and dispatching a resource for the purpose of maximizing its net energy and ancillary services revenues, subject to operating parameters and cost of the resource | Brattle Recommendation: Status Quo for analysis of Net CONE values in Brattle Report, but not calculated annually for updated Reference Price values. Updates parameters to match updated technology data.
6 | Net Energy and Ancillary Services Revenue Offset Input Data Time Horizon |  | Forward-looking inputs (additional details below) | Status Quo | Status Quo | Status Quo | Same as PJM and Status Quo - Forward Looking | Same as PJM Package | Same as PJM and Status Quo - Forward Looking | Status Quo
6a | Energy |  | Input prior 3 calendar years of LMP scaled using forward LMPs for the Delivery Year. Caculate revenues using Projected EAS Dispatch. | Status Quo | Status Quo | Status Quo | Same as PJM and Status Quo: Input prior 3 calendar years of LMP scaled using forward LMPs for the Delivery Year. Caculate revenues using Projected EAS Dispatch. | Same as PJM Package | Same as PJM and Status Quo: Input prior 3 calendar years of LMP scaled using forward LMPs for the Delivery Year. Caculate revenues using Projected EAS Dispatch. | Status Quo
6b | Regulation |  | N/A | N/A | N/A | Status Quo | Same as PJM and Staus Quo - N/A | Same as PJM Package | Same as PJM and Staus Quo - N/A | N/A
6c | Sync & Non-sync Reserves |  | Inputs historical hourly sync and non-sync reserve prices scaled by forward energy prices. Caculate revenues using Projected EAS Dispatch. | Status Quo | Status Quo | Status Quo | Same as PJM and Status Quo: Inputs historical hourly sync and non-sync reserve prices scaled by forward energy prices. Caculate revenues using Projected EAS Dispatch. | Same as PJM Package | Same as PJM and Status Quo: Inputs historical hourly sync and non-sync reserve prices scaled by forward energy prices. Caculate revenues using Projected EAS Dispatch. | Status Quo
6d | Natural Gas Prices |  | Input prior 3 calendar years of gas prices, using the following zone to hub mappings: AE, BGE, DPL, & JCPL - Transco-Z6 (non-NY) COMED - Chicago Citygates DUQ, METED, PECO, & PPL - TETCO M3 PEPCO & DOM - Transco Z5 DIv AEP, OVEC - Columbia Appalachia TCO DAY, DEOK, ATSI, EKPC - Mich Con APS & PENELEC - Dominion South PSEG & RECO - Transco Z6 (NY) | Status Quo | Status Quo | Status Quo | Same as PJM and Status Quo: Input prior 3 calendar years of gas prices, using the following zone to hub mappings: AE, BGE, DPL, & JCPL - Transco-Z6 (non-NY) COMED - Chicago Citygates DUQ, METED, PECO, & PPL - TETCO M3 PEPCO & DOM - Transco Z5 DIv AEP, OVEC - Columbia Appalachia TCO DAY, DEOK, ATSI, EKPC - Mich Con APS & PENELEC - Dominion South PSEG & RECO - Transco Z6 (NY) | Same as PJM Package | Same as PJM and Status Quo: Input prior 3 calendar years of gas prices, using the following zone to hub mappings: AE, BGE, DPL, & JCPL - Transco-Z6 (non-NY) COMED - Chicago Citygates DUQ, METED, PECO, & PPL - TETCO M3 PEPCO & DOM - Transco Z5 DIv AEP, OVEC - Columbia Appalachia TCO DAY, DEOK, ATSI, EKPC - Mich Con APS & PENELEC - Dominion South PSEG & RECO - Transco Z6 (NY) | Status Quo
6e | Emissions allowance cost |  | Current historical approach includes NOx and SO2 allowance costs | Status Quo | Status Quo | Status Quo | Same as PJM and Status Quo: Current historical approach includes NOx and SO2 allowance costs | Same as PJM Package | Same as PJM and Status Quo: Current historical approach includes NOx and SO2 allowance costs | Status Quo
7 | Method for calculating Net Energy Revenues for the Reference Resource and Net CONE for the RTO |  | Determine Net EAS for Reference Resource using Projected EAS Dispatch against forward-looking hourly PJM RTO LMP and a gas price based on the average of all gas price indices assigned to PJM zones. Determine Net CONE for the RTO by subtracting the calculated Net EAS from the RTO-wide Gross CONE. | Determine Net CONE for the RTO as the 33rd percentile of calculated zonal Net CONE values. | Determine Net EAS for the RTO as the 67th percentile of calculated zonal Net EAS values. | RTO E&AS = Average E&AS of all zones | Status Quo - Determine Net EAS for Reference Resource using Projected EAS Dispatch against forward-looking hourly PJM RTO LMP and a gas price based on the average of all gas price indices assigned to PJM zones. Determine Net CONE for the RTO by subtracting the calculated Net EAS from the RTO-wide Gross CONE. | Same as PJM Package (Not applicable to VRR curve shape, but may be relevant for penalties) | Status Quo - Determine Net EAS for Reference Resource using Projected EAS Dispatch against forward-looking hourly PJM RTO LMP and a gas price based on the average of all gas price indices assigned to PJM zones. Determine Net CONE for the RTO by subtracting the calculated Net EAS from the RTO-wide Gross CONE. | Determine Net EAS for the RTO as the 67th percentile of calculated zonal Net EAS values.
8 | Method for calculating Net CONE for each LDA |  | Determine Net EAS for Reference Resource assumed to be constructed in each zone using Projected EAS Dispatch against forward-looking zonal LMP and gas price index point for zone. Determine Net CONE for each zone by subtracting the Net EAS determined for each zone from the Gross CONE of the zone. For zonal or sub-zonal LDA, use the Net CONE determined for that zone. For multi-zone LDA, determine the Net CONE as average Net CONE of the zones comprising the LDA. | Determine Net EAS for Reference Resource assumed to be constructed in each zone using Projected EAS Dispatch against forward-looking zonal LMP and gas price index point for zone. Determine Net CONE for each zone by subtracting the Net EAS determined for each zone from the Gross CONE of the zone. For zonal or sub-zonal LDA, use the Net CONE determined for that zone. For multi-zone LDA, determine the Net CONE as the 33rd percentile of calculated zonal Net CONE of the zones comprising the LDA. | Determine Net EAS for Reference Resource assumed to be constructed in each zone using Projected EAS Dispatch against forward-looking zonal LMP and gas price index point for zone. Determine Net CONE for each zone by subtracting the Net EAS determined for each zone from the Gross CONE of the zone. For zonal or sub-zonal LDA, use the Net CONE determined for that zone. For multi-zone LDA, determine the Net CONE as the 33rd percentile of calculated zonal Net CONE of the zones comprising the LDA. | Status Quo | Status Quo -: Determine Net EAS for Reference Resource assumed to be constructed in each zone using Projected EAS Dispatch against forward-looking zonal LMP and gas price index point for zone. Determine Net CONE for each zone by subtracting the Net EAS determined for each zone from the Gross CONE of the zone. For zonal or sub-zonal LDA, use the Net CONE determined for that zone. For multi-zone LDA, determine the Net CONE as average Net CONE of the zones comprising the LDA. | Same as PJM Package (Not applicable to VRR curve shape, but may be relevant for penalties) | Status Quo -: Determine Net EAS for Reference Resource assumed to be constructed in each zone using Projected EAS Dispatch against forward-looking zonal LMP and gas price index point for zone. Determine Net CONE for each zone by subtracting the Net EAS determined for each zone from the Gross CONE of the zone. For zonal or sub-zonal LDA, use the Net CONE determined for that zone. For multi-zone LDA, determine the Net CONE as average Net CONE of the zones comprising the LDA. | Determine Net EAS for Reference Resource assumed to be constructed in each zone using Projected EAS Dispatch against forward-looking zonal LMP and gas price index point for zone. Determine Net CONE for each zone by subtracting the Net EAS determined for each zone from the Gross CONE of the zone. For zonal or sub-zonal LDA, use the Net CONE determined for that zone. For multi-zone LDA, determine the Net CONE as the 33rd percentile of calculated zonal Net CONE of the zones comprising the LDA.
9 | Reactive Service |  | N/A | N/A | N/A | Status Quo | Same as PJM: N/A |  | Same as PJM: N/A | N/A
10 | Cost Adder for Net Energy & Ancillary Services Offset |  | CT- 10% uncertainty adder natural gas cost for CTs | No Cost Adder | No Cost Adder | No Cost Adder | Status Quo: CT- 10% uncertainty adder natural gas cost for CTs | Same as PJM Package (but see VRR Curve shape) | Status Quo: CT- 10% uncertainty adder natural gas cost for CTs | No Cost Adder
11 | VRR Curve Shape - System |  | Point 1) quantity = 99% of RR, price = greater (CONE or 1.75*Net CONE) Point 2) quantity = 101.5% of RR, price = 0.75*Net CONE Point 3) quantity = 104.5% or RR, price = 0 | Point 1) quantity = 99% of RR, price = greater (0.6 x Gross CONE or 1.75*Net CONE) Point 2) quantity = 101.5% of RR, price = 0.5 x Point 1 Price Point 3) quantity = 104.5% or RR, price = 0 | Point 1) quantity = 99% of RR, price = Max(1.15*GrossCONE-0.75*EAS,0.2*Gross CONE) Point 2) quantity = 101.5% of RR, price = 0.5 x Point 1 Price Point 3) quantity = 106% or RR, price = 0 | Point 1) quantity = 99% of RR, price = Min of Gross CONE OR 1.5*Net CONE Point 2) quantity = 101.5% of RR, price = 0.5 x Point 1 Price Point 3) quantity = 104.5% or RR, price = 0 | Status Quo: Point 1) quantity = 99% of RR, price = greater (CONE or 1.75*Net CONE) Point 2) quantity = 101.5% of RR, price = 0.75*Net CONE Point 3) quantity = 104.5% or RR, price = 0 | Point 1) quantity = 99% of RR, price = 1.15*GrossCONE-0.75*EAS Point 2) quantity = 101.5% of RR, price = 0.5 x Point 1 Price Point 3) quantity = 106% or RR, price = 0 | Pre-2018 Shape Adjusting for ELCC: Point 1) The price = the greater of (CONE or 1.5 times Net CONE) divided by (one minus Pool-Wide Average EFORd Accredited UCAP Factor) and quantity is equal to [PJM Region Reliability Requirement multiplied by (100% plus the approved PJM Region Installed Reserve Margin ("IRM")% minus 1.2%) divided by (100% plus IRM %)] Point 2) prices equals: 0.75 x Net CONE, and quantity equals to [PJM Region Reliability Requirement multipled by (100% plus IRM% plus 1.9%) divided by (100% plus IRM%) Point 3) price equals 0, and quantity equals the PJM Region Reliability Requirement multiplied by (100% plus IRM% plus 7.8%) divided by (100% plus IRM%). | Point 1) quantity = 99% of RR, price = Max(1.15*GrossCONE-0.75*EAS,0.2*Gross CONE) Point 2) quantity = 101.5% of RR, price = 0.5 x Point 1 Price Point 3) quantity = 106% or RR, price = 0 | Low
12 | VRR Curve Shape - Local |  | (same as curve shape for the system) | Status Quo (same as curve shape for the system) | Status Quo (same as curve shape for the system) | Status Quo | Status Quo: (Same as curve shape for the system | Same as PJM Package | Status Quo: (Same as curve shape for the system | Status Quo (same as curve shape for the system) | Low - Medium
13 | Use of bonus depreciation in Gross CONE escalation |  | N/A | N/A | N/A | N/A | Same as PJM and Status Quo: N/A | N/A | Same as PJM and Status Quo: N/A | N/A | Low - High
14 | Financial Assumptions | [6 empty] | Using IMM assumptions for CC, PJM assumptions for BESS |  |  | Medium
14a | Peer Group considered |  | Companies publically available in 2022 report | Companies publically available in 2025 report | Companies publically available in 2025 report |  | Same as PJM: Companies publically available in 2025 report | Using IMM assumptions for CC, PJM assumptions for BESS | Same as PJM: Companies publically available in 2025 report | Companies publically available in 2025 report
14b | Debt to Equity ratio |  | 55/45 | 55/45 | 55/45 | 55/45 | Same as PJM: 55/45 | Using IMM assumptions for CC, PJM assumptions for BESS | Same as PJM: 55/45 | 55/45
14c | Debt Rate |  | 6.3% | 5.8% | 5.8% | 5.8% | Same as PJM: 5.8% | Using IMM assumptions for CC, PJM assumptions for BESS | Same as PJM: 5.8% | 5.8%
14d | Equity Rate |  | 14.1% | 16% | 16% | 16% | Same as PJM: 16.0% | Using IMM assumptions for CC, PJM assumptions for BESS | Same as PJM: 16.0% | 16%
14e | ATWACC |  | ATWACC = 8.85% | 9.5% | 9.5% | 9.5% | Same as PJM: 9.50% | Using IMM assumptions for CC, PJM assumptions for BESS | Same as PJM: 9.50% | 9.5%
14f | Economic Life |  | 20 Years | 20 Years | 20 Years | All CONE Areas except COMED: 20 yr levelization ComEd: 15 yr levelization | Same as PJM: 20 Years | Using IMM assumptions for CC, PJM assumptions for BESS | Same as PJM: 20 Years | 20 Years
14g | Fixed O&M Escalation |  | 2.2% | Curve between 2.75% and 2.4% found in Figure 17 of CONE Report | Curve between 2.75% and 2.4% found in Figure 17 of CONE Report | Curve between 2.75% and 2.4% found in Figure 17 of CONE Report | Same as PJM: Curve between 2.75% and 2.4% found in Figure 18 of CONE Report | Using IMM assumptions for CC, PJM assumptions for BESS | Same as PJM: Curve between 2.75% and 2.4% found in Figure 18 of CONE Report | Curve between 2.75% and 2.4% found in Figure 17 of CONE Report
1. Copy over design component, priority, and status quo columns from options matrix
2. Complete individual packages in columns by selecting individual component options from the options matrix.

## 3a. Package Details
MIC Special Session
Quadrennial Review of VRR Curve Parameters
PACKAGE / PROPOSAL DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of package components than the Package Matrix allows.
Package Solutions2
| A | B | C | D | E
1 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
2 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
3 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
4 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
5 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>

## Parking Lot
MIC Special Session
Quadrennial Review of VRR Curve Parameters
PARKING LOT
Instructions: Use this space to document any items not specific to another topic area.
Description

## Revision History
MIC Special Session
Quadrennial Review of VRR Curve Parameters
Revision History
Current Spreadsheet Version:
Instructions: Document all version changes to this matrix for easy identification of changes.
Version | Posting Date | Description of changes
1
2
3