## Table of Contents
Table of Contents
Click on Table Name
Monthly Weather and Energy
Daily Weather and Energy
System Marginal Price
Monthly Generation Fuel Mix
Daily Generation Fuel Mix
Monthly Uplift
Monthly Zonal Uplift
Daily Uplift
High Uplift Days
Uneconomic CC, CT, Steam Hours
Reliability and Deviations BOR
Operating Reserve
Balancing Operating Reserve MWh
Balancing Operating Reserve $
Monthly LOC
Daily LOC
Monthly Load Weighted LMP
Annual LMP Averages
LMP Suspensions and Reruns
Annual DR Estimated Revenue
Demand Response
Incs, Decs and Up-Tos
Congestion and FTR Revenue
Balancing Congestion Facilities
Average Interface Prices
Market to Market Congestion
Regulation and Sync Reserve
Regulation Daily
Synchronized Reserve Daily
Daily Marginal Losses
Monthly Marginal Losses
Sychronized Reserve Performance
Shortage Pricing Intervals
Shortage Interval Constraints

## Monthly Weather and Energy
Monthly Weather and Energy
Click to return to Table of Contents
Date | Current Month HDD+CDD | Monthly Average HDD+CDD | Current Month Energy (TWh) | Monthly Average Energy (TWh)
MAR24 | 385.73 | 541.61 | 61.74 | 64.16
APR24 | 198.95 | 254.18 | 57.19 | 56.61
MAY24 | 128.36 | 142.48 | 62.36 | 60.2
JUN24 | 327.13 | 236.22 | 72.06 | 67.43
JUL24 | 404.84 | 354.86 | 79.95 | 76.43
AUG24 | 325.62 | 311.77 | 75.81 | 74.91
SEP24 | 157.64 | 159.93 | 63.03 | 63.22
OCT24 | 111.1 | 189.24 | 58.76 | 59.33
NOV24 | 334.16 | 438.17 | 59.66 | 60.57
DEC24 | 698.67 | 724.08 | 71.86 | 68.97
JAN25 | 987.03 | 868.2 | 80.85 | 72.33
FEB25 | 719.47 | 713.4 | 67.46 | 63.96
MAR25 | 388.14 | 535.84 | 63.32 | 64.07
APR25 | 227.32 | 252.14 | 58.42 | 56.63
MAY25 | 95.43 | 141.96 | 60.02 | 60.28
JUN25 | 303.75 | 239.59 | 73.27 | 67.6
JUL25 | 429.52 | 356.71 | 84.72 | 76.56
AUG25 | 248.59 | 312.28 | 73.82 | 74.94
SEP25 | 143.99 | 159.84 | 64.65 | 63.22
OCT25 | 160.02 | 186.35 | 61.21 | 59.31
NOV25 | 434.15 | 434.32 | 63.23 | 60.54
DEC25 | 836.74 | 723.13 | 77.15 | 69.07
JAN26 | 985.91 | 872.44 | 81.44 | 72.63
FEB26 | 752.26 | 713.62 | 71.04 | 64.08
MAR26 | 388.6 | 530.56 | 65.71 | 64.05

## Daily Weather and Energy
Daily Weather and Energy
Click to return to Table of Contents
Date | Current Day HDD+CDD | Daily Average HDD+CDD | Current Day Energy (TWh) | Daily Average Energy (TWh) | Current Day Average Temperature | Daily Average Temperature
01MAR2026 | 22.82 | 17.11 | 2.1173 | 2.1 | 37.18 | 43.22
02MAR2026 | 28.68 | 17.11 | 2.5039 | 2.1 | 31.32 | 43.22
03MAR2026 | 21.71 | 17.11 | 2.4698 | 2.1 | 38.29 | 43.22
04MAR2026 | 14.12 | 17.11 | 2.2486 | 2.1 | 45.88 | 43.22
05MAR2026 | 8.95 | 17.11 | 2.1803 | 2.1 | 51.06 | 43.22
06MAR2026 | 8.27 | 17.11 | 2.1448 | 2.1 | 52.79 | 43.22
07MAR2026 | 6.63 | 17.11 | 1.9952 | 2.1 | 54.88 | 43.22
08MAR2026 | 5.2 | 17.11 | 1.8123 | 2.1 | 57.05 | 43.22
09MAR2026 | 2.73 | 17.11 | 2.0092 | 2.1 | 57.61 | 43.22
10MAR2026 | 1.93 | 17.11 | 2.0174 | 2.1 | 61.97 | 43.22
11MAR2026 | 4.47 | 17.11 | 2.0587 | 2.1 | 62.38 | 43.22
12MAR2026 | 16.36 | 17.11 | 2.1769 | 2.1 | 43.64 | 43.22
13MAR2026 | 17.78 | 17.11 | 2.2473 | 2.1 | 42.22 | 43.22
14MAR2026 | 15.44 | 17.11 | 2.0176 | 2.1 | 44.56 | 43.22
15MAR2026 | 9.64 | 17.11 | 2.0173 | 2.1 | 50.4 | 43.22
16MAR2026 | 12.66 | 17.11 | 2.1729 | 2.1 | 47.88 | 43.22
17MAR2026 | 30.6 | 17.11 | 2.4375 | 2.1 | 29.4 | 43.22
18MAR2026 | 29.3 | 17.11 | 2.486 | 2.1 | 30.7 | 43.22
19MAR2026 | 16.43 | 17.11 | 2.2532 | 2.1 | 43.57 | 43.22
20MAR2026 | 7.21 | 17.11 | 2.0915 | 2.1 | 52.86 | 43.22
21MAR2026 | 5.1 | 17.11 | 1.8697 | 2.1 | 55.05 | 43.22
22MAR2026 | 3.65 | 17.11 | 1.8818 | 2.1 | 59.73 | 43.22
23MAR2026 | 14.66 | 17.11 | 2.0978 | 2.1 | 45.51 | 43.22
24MAR2026 | 21.03 | 17.11 | 2.1778 | 2.1 | 38.97 | 43.22
25MAR2026 | 10.97 | 17.11 | 2.1211 | 2.1 | 49.03 | 43.22
26MAR2026 | 1.34 | 17.11 | 2.0248 | 2.1 | 62.59 | 43.22
27MAR2026 | 11.55 | 17.11 | 2.0406 | 2.1 | 48.51 | 43.22
28MAR2026 | 21.66 | 17.11 | 2.0363 | 2.1 | 38.34 | 43.22
29MAR2026 | 12.95 | 17.11 | 1.9843 | 2.1 | 47.05 | 43.22
30MAR2026 | 0.51 | 17.11 | 1.9975 | 2.1 | 61.52 | 43.22
31MAR2026 | 4.23 | 17.11 | 2.0231 | 2.1 | 68.69 | 43.22

## System Marginal Price
Daily Difference in Day-Ahead and Real-Time System Marginal Price
($/MWh of Load)
Click to return to Table of Contents
Date | DA SMP - RT SMP
01MAR2026 | $-30.67
02MAR2026 | $-3.32
03MAR2026 | $-13.56
04MAR2026 | $-21.50
05MAR2026 | $-8.84
06MAR2026 | 0.33
07MAR2026 | 1.7
08MAR2026 | $-4.78
09MAR2026 | $-0.49
10MAR2026 | 6.28
11MAR2026 | $-4.69
12MAR2026 | $-51.34
13MAR2026 | $-48.40
14MAR2026 | $-3.01
15MAR2026 | 8.06
16MAR2026 | 12.67
17MAR2026 | 28.24
18MAR2026 | 26.08
19MAR2026 | 9.49
20MAR2026 | $-0.19
21MAR2026 | $-1.85
22MAR2026 | $-6.00
23MAR2026 | $-2.05
24MAR2026 | $-0.04
25MAR2026 | 4.7
26MAR2026 | $-5.06
27MAR2026 | $-2.99
28MAR2026 | 5.91
29MAR2026 | 0.64
30MAR2026 | 3.53
31MAR2026 | 2.87

## Monthly Generation Fuel Mix
Monthly Generation Fuel Mix
(MWh)
Click to return to Table of Contents
Date | COAL | FLYWHEEL | GAS | HYDRO | MULTIPLE FUELS | NUCLEAR | OIL | OTHER | OTHER RENEWABLES | SOLAR | STORAGE | WIND | Total
01MAR2024 | 6787670 | 0 | 29616405 | 1501000 | 232194 | 21924053 | 176063 | . | 421385 | 1153231 | 2740 | 3835359 | 65650100
01APR2024 | 7535609 | 0 | 25623721 | 1367620 | 690440 | 19094804 | 221613 | . | 416482 | 1366851 | 1896 | 3553708 | 59872744
01MAY2024 | 9129680 | 0 | 26896008 | 1576713 | 561308 | 22146993 | 461021 | . | 456956 | 1548543 | 2251 | 2125663 | 64905136
01JUN2024 | 13402408 | 0 | 33544145 | 1357866 | 772823 | 23225469 | 419930 | . | 485501 | 2003012 | 1145 | 2219142 | 77431441
01JUL2024 | 14411434 | 0 | 39353739 | 1392881 | 1103256 | 23682540 | 795430 | . | 445692 | 1890689 | 817 | 1148392 | 84224870
01AUG2024 | 13172119 | 0 | 37176338 | 1628981 | 919667 | 24103144 | 493632 | . | 471754 | 1817896 | 1351 | 1227908 | 81012790
01SEP2024 | 7336552 | 0 | 31850488 | 1023270 | 817142 | 22601096 | 317348 | . | 380492 | 1392491 | 1502 | 1484255 | 67204636
01OCT2024 | 6920518 | 0 | 24822127 | 755415 | 1126682 | 22021165 | 307203 | . | 355042 | 1630068 | 2043 | 2639616 | 60579879
01NOV2024 | 7158110 | 0 | 26351485 | 830245 | 832843 | 21936312 | 231622 | . | 382288 | 994917 | 1573 | 3376246 | 62095641
01DEC2024 | 12475687 | 0 | 30822290 | 1322061 | 295167 | 24968208 | 273087 | . | 460665 | 879679 | 1760 | 3484832 | 74983436
01JAN2025 | 18611006 | 0 | 33445490 | 1194302 | 271754 | 25043412 | 672275 | . | 436377 | 1238262 | 1528 | 3894307 | 84808713
01FEB2025 | 12732952 | 0 | 30093589 | 1218110 | 255859 | 21760492 | 303304 | . | 429928 | 1289987 | 1290 | 3068787 | 71154298
01MAR2025 | 9380284 | 0 | 27810906 | 1593865 | 177713 | 21617249 | 183241 | . | 379593 | 2090067 | 1135 | 4263562 | 67497615
01APR2025 | 9537401 | 0 | 22926660 | 1269296 | 563628 | 20327706 | 306529 | . | 409435 | 2364018 | 1379 | 3244855 | 60950907
01MAY2025 | 8609252 | 0 | 25588774 | 1727335 | 354804 | 21905505 | 268431 | . | 409601 | 2410987 | 1282 | 2648186 | 63924157
01JUN2025 | 13363776 | 0 | 33206449 | 1874868 | 740461 | 23444767 | 572339 | . | 401319 | 2787876 | 1132 | 1767447 | 78160434
01JUL2025 | 17592375 | 0 | 40498784 | 1724377 | 1028851 | 23830214 | 913568 | . | 461424 | 2954437 | 1463 | 1077161 | 90082654
01AUG2025 | 12979606 | 0 | 36481146 | 1183344 | 707658 | 24001875 | 479180 | . | 471399 | 2825808 | 2397 | 1107599 | 80240012
01SEP2025 | 8622621 | 0 | 32458237 | 881256 | 728889 | 22295053 | 443898 | . | 377949 | 2324415 | 1730 | 1052165 | 69186213
01OCT2025 | 9282665 | 0 | 25694943 | 731811 | 1114553 | 20225801 | 389105 | . | 367715 | 2043691 | 2342 | 2811711 | 62664337
01NOV2025 | 10285657 | 0 | 25229720 | 963406 | 649907 | 21857312 | 403549 | . | 421621 | 1368987 | 2928 | 3462950 | 64646037
01DEC2025 | 14818887 | 0 | 32948639 | 1141886 | 945967 | 24444225 | 392693 | . | 457004 | 991744 | 2489 | 3714921 | 79858455
01JAN2026 | 17019211 | 0 | 34478395 | 1213494 | 997491 | 24971570 | 902186 | . | 422269 | 1305313 | 1404 | 3856201 | 85167534
01FEB2026 | 13531094 | 0 | 31081810 | 1061540 | 931803 | 21506917 | 495434 | . | 375142 | 1651209 | 1969 | 2890989 | 73527907
01MAR2026 | 9363406 | 0 | 27324861 | 1667089 | 992385 | 22213259 | 266565 | . | 382182 | 2327591 | 3485 | 3952170 | 68492993

## Daily Generation Fuel Mix
Daily Generation Fuel Mix
(MWh)
Click to return to Table of Contents
Date | COAL | FLYWHEEL | GAS | HYDRO | MULTIPLE FUELS | NUCLEAR | OIL | OTHER | OTHER RENEWABLES | SOLAR | STORAGE | WIND | Total
01MAR2026 | 303504 | 0 | 962849 | 35088 | 33060 | 718981 | 4694 | . | 14357 | 91339 | 82 | 101635 | 2265589
02MAR2026 | 389336 | 0 | 1188878 | 48947 | 64805 | 704489 | 21497 | . | 13876 | 38438 | 83 | 88881 | 2559230
03MAR2026 | 390842 | 0 | 1231364 | 51964 | 67130 | 701411 | 24611 | . | 14096 | 16770 | 117 | 39939 | 2538244
04MAR2026 | 354394 | 0 | 1105969 | 40880 | 55100 | 702749 | 9018 | . | 14259 | 39964 | 104 | 43980 | 2366417
05MAR2026 | 310697 | 0 | 1053387 | 44006 | 58765 | 702212 | 7897 | . | 14511 | 46136 | 81 | 30824 | 2268516
06MAR2026 | 280388 | 0 | 981333 | 37934 | 40694 | 699742 | 6789 | . | 13947 | 66849 | 92 | 114379 | 2242147
07MAR2026 | 245998 | 0 | 840058 | 45501 | 35705 | 691638 | 5827 | . | 12741 | 46532 | 116 | 191373 | 2115489
08MAR2026 | 217331 | 0 | 721372 | 46235 | 25049 | 668609 | 3973 | . | 11637 | 65741 | 105 | 155699 | 1915751
09MAR2026 | 222532 | 0 | 796831 | 60936 | 24650 | 699718 | 4651 | . | 12279 | 106351 | 65 | 177745 | 2105758
10MAR2026 | 276747 | 0 | 818967 | 58725 | 22737 | 717659 | 4529 | . | 11979 | 75085 | 66 | 144222 | 2130716
11MAR2026 | 291495 | 0 | 819428 | 60948 | 19122 | 719711 | 13124 | . | 10980 | 52667 | 95 | 167479 | 2155049
12MAR2026 | 313430 | 0 | 931066 | 64523 | 26315 | 727202 | 9080 | . | 12012 | 61073 | 151 | 124687 | 2269539
13MAR2026 | 304613 | 0 | 923690 | 64983 | 33280 | 728281 | 13059 | . | 12773 | 86594 | 82 | 178574 | 2345929
14MAR2026 | 257167 | 0 | 869324 | 54688 | 21048 | 707547 | 5875 | . | 12183 | 76201 | 137 | 110302 | 2114472
15MAR2026 | 252568 | 0 | 796621 | 50184 | 22721 | 718417 | 4123 | . | 12731 | 64734 | 93 | 211958 | 2134150
16MAR2026 | 316352 | 0 | 880043 | 50986 | 19833 | 740301 | 5952 | . | 11981 | 25255 | 163 | 223385 | 2274251
17MAR2026 | 391731 | 0 | 1049939 | 69212 | 32451 | 750888 | 14944 | . | 11907 | 88280 | 108 | 114507 | 2523967
18MAR2026 | 415123 | 0 | 1071895 | 63733 | 36032 | 751012 | 20100 | . | 11219 | 81380 | 118 | 88677 | 2539289
19MAR2026 | 378134 | 0 | 956746 | 58012 | 36545 | 749584 | 10142 | . | 11115 | 99789 | 99 | 34707 | 2334873
20MAR2026 | 328589 | 0 | 816962 | 61473 | 20600 | 747921 | 5809 | . | 10610 | 74550 | 106 | 151997 | 2218617
21MAR2026 | 284902 | 0 | 699724 | 47299 | 20102 | 747100 | 4672 | . | 10448 | 97280 | 92 | 80782 | 1992401
22MAR2026 | 265386 | 0 | 658246 | 47856 | 17520 | 744251 | 4144 | . | 11443 | 96520 | 79 | 177445 | 2022890
23MAR2026 | 301959 | 0 | 868845 | 59659 | 31552 | 724532 | 5274 | . | 12048 | 62990 | 171 | 125055 | 2192085
24MAR2026 | 328214 | 0 | 894119 | 62644 | 32698 | 724584 | 10579 | . | 12054 | 111154 | 173 | 54011 | 2230230
25MAR2026 | 322559 | 0 | 819946 | 57756 | 36789 | 723644 | 8971 | . | 12481 | 89246 | 118 | 123103 | 2194613
26MAR2026 | 285945 | 0 | 745837 | 60582 | 25990 | 720129 | 6408 | . | 12501 | 99259 | 148 | 174548 | 2131347
27MAR2026 | 271848 | 0 | 717923 | 53456 | 25755 | 632121 | 5087 | . | 10576 | 50904 | 133 | 132421 | 1900224
28MAR2026 | 278874 | 0 | 795421 | 53920 | 25113 | 723179 | 6768 | . | 12975 | 133610 | 88 | 83528 | 2113476
29MAR2026 | 265887 | 0 | 742236 | 50033 | 26014 | 719782 | 6309 | . | 13135 | 112406 | 115 | 127498 | 2063415
30MAR2026 | 250547 | 0 | 776835 | 52130 | 26332 | 700788 | 5717 | . | 11690 | 78590 | 194 | 191010 | 2093833
31MAR2026 | 266314 | 0 | 789007 | 52796 | 28878 | 705077 | 6942 | . | 11638 | 91904 | 111 | 187819 | 2140486

## Monthly Uplift
Monthly Uplift
Click to return to Table of Contents
Date | Day-Ahead Operating Reserve ($ Millions) | Balancing Operating Reserve ($ Millions) | Reactive ($ Millions) | Blackstart ($ Millions) | Lost Opportunity Cost ($ Millions) | Total Uplift ($ Millions) | Day-Ahead Operating Reserve ($/MWh) | Balancing Operating Reserve ($/MWh) | Reactive ($/MWh) | Blackstart ($/MWh) | Lost Opportunity Cost ($/MWh) | Total Uplift ($/MWh)
MAR24 | 1.12 | 8.75 | 0 | 0.01 | 1.79 | 11.67 | 0.02 | 0.14 | 0 | 0 | 0.03 | 0.19
APR24 | 12.08 | 16.68 | 0 | 0.05 | 1.93 | 30.7 | 0.21 | 0.29 | 0 | 0 | 0.03 | 0.54
MAY24 | 12.47 | 18.83 | 0 | 0.05 | 1.85 | 33.16 | 0.2 | 0.3 | 0 | 0 | 0.03 | 0.53
JUN24 | 14.44 | 9.74 | 0.02 | 0.01 | 3.87 | 28.07 | 0.2 | 0.14 | 0 | 0 | 0.05 | 0.39
JUL24 | 8.36 | 4.78 | 0.04 | 0 | 6.58 | 19.75 | 0.1 | 0.06 | 0 | 0 | 0.08 | 0.25
AUG24 | 6.9 | 5.34 | 0.05 | 0.01 | 5.22 | 17.52 | 0.09 | 0.07 | 0 | 0 | 0.07 | 0.23
SEP24 | 4.4 | 4.76 | 0 | 0 | 2.01 | 11.16 | 0.07 | 0.08 | 0 | 0 | 0.03 | 0.18
OCT24 | 6.37 | 6.69 | 0.02 | 0.01 | 2.23 | 15.3 | 0.11 | 0.11 | 0 | 0 | 0.04 | 0.26
NOV24 | 3.22 | 7.7 | 0 | 0.01 | 0.9 | 11.82 | 0.05 | 0.13 | 0 | 0 | 0.02 | 0.2
DEC24 | 11.33 | 9.53 | 0.48 | 0 | 2.46 | 23.79 | 0.16 | 0.13 | 0.01 | 0 | 0.03 | 0.33
JAN25 | 153.9 | 230.77 | 0.03 | 0 | 6.98 | 391.68 | 1.9 | 2.85 | 0 | 0 | 0.09 | 4.84
FEB25 | 2.52 | 31.54 | 0.03 | 0 | 0.54 | 34.63 | 0.04 | 0.47 | 0 | 0 | 0.01 | 0.51
MAR25 | 6.11 | 25.84 | 0.46 | 0 | 2.15 | 34.56 | 0.1 | 0.41 | 0.01 | 0 | 0.03 | 0.55
APR25 | 3.9 | 34.05 | 0 | 0.04 | 2.1 | 40.05 | 0.07 | 0.58 | 0 | 0 | 0.04 | 0.69
MAY25 | 2.88 | 14.47 | 0 | 0.04 | 2.18 | 19.54 | 0.05 | 0.24 | 0 | 0 | 0.04 | 0.33
JUN25 | 5.8 | 24.72 | 0.02 | 0 | 6.84 | 37.39 | 0.08 | 0.34 | 0 | 0 | 0.09 | 0.51
JUL25 | 2.28 | 42.91 | 0 | 0 | 3.06 | 48.24 | 0.03 | 0.51 | 0 | 0 | 0.04 | 0.57
AUG25 | 3.07 | 21.86 | 0.01 | 0 | 2.12 | 27.06 | 0.04 | 0.3 | 0 | 0 | 0.03 | 0.37
SEP25 | 0.95 | 13.09 | 0.03 | 0.01 | 2.94 | 17.01 | 0.01 | 0.2 | 0 | 0 | 0.05 | 0.26
OCT25 | 0.58 | 16.92 | 0.03 | 0 | 2.88 | 20.41 | 0.01 | 0.28 | 0 | 0 | 0.05 | 0.33
NOV25 | 0.68 | 30.29 | 0 | 0 | 1.9 | 32.87 | 0.01 | 0.48 | 0 | 0 | 0.03 | 0.52
DEC25 | 18.22 | 23.45 | 0.03 | 0 | 9.59 | 51.29 | 0.24 | 0.3 | 0 | 0 | 0.12 | 0.66
JAN26 | 173.13 | 584.83 | 0 | 0 | 91.1 | 849.06 | 2.13 | 7.18 | 0 | 0 | 1.12 | 10.43
FEB26 | 31.13 | 37.57 | 0.12 | 0.06 | 18.26 | 87.08 | 0.44 | 0.53 | 0 | 0 | 0.26 | 1.23
MAR26 | 2.31 | 23.9 | 0 | 0.02 | 9.42 | 35.63 | 0.04 | 0.36 | 0 | 0 | 0.14 | 0.54

## Monthly Zonal Uplift
Monthly Zonal Uplift
($ Millions)
Click to return to Table of Contents
Date | Zone | Day-Ahead Operating Reserve | Balancing Operating Reserve | Reactive | Blackstart | Lost Opportunity Cost | Total Uplift
01MAR2026 | AECO | 0.01 | 0.17 | 0 | 0 | 0 | 0.18
01MAR2026 | AEP | 0.01 | 2.98 | 0 | 0 | 1.8 | 4.8
01MAR2026 | APS | 0 | 0.37 | 0 | 0 | 0.1 | 0.47
01MAR2026 | ATSI | 0.01 | 0.57 | 0 | 0 | 0.34 | 0.92
01MAR2026 | BGE | 0 | 10.34 | 0 | 0 | 0.23 | 10.57
01MAR2026 | COMED | 0.01 | 1.11 | 0 | 0 | 0.23 | 1.36
01MAR2026 | DAY | 0 | 0.33 | 0 | 0.02 | 0.2 | 0.55
01MAR2026 | DEOK | 0.01 | 0.59 | 0 | 0 | 0.6 | 1.2
01MAR2026 | DOM | 0.12 | 3.54 | 0 | 0 | 2.54 | 6.2
01MAR2026 | DPL | 0.01 | 0.12 | 0 | 0 | 0 | 0.13
01MAR2026 | DUQ | 0 | 0 | 0 | 0 | 0 | 0
01MAR2026 | EKPC | 0 | 0.87 | 0 | 0 | 0.39 | 1.25
01MAR2026 | JCPL | 0 | 0.15 | 0 | 0 | 0 | 0.16
01MAR2026 | METED | 0 | 0.02 | 0 | 0 | 0 | 0.03
01MAR2026 | PECO | 0.01 | 0.07 | 0 | 0 | 0.33 | 0.41
01MAR2026 | PENELEC | 0.01 | 1.59 | 0 | 0 | 0.6 | 2.21
01MAR2026 | PEPCO | 1.81 | 0.81 | 0 | 0 | 0.63 | 3.24
01MAR2026 | PPL | 0.27 | 0.11 | 0 | 0 | 1.35 | 1.73
01MAR2026 | PSEG | 0.01 | 0.16 | 0 | 0 | 0.08 | 0.26

## Daily Uplift
Daily Uplift
($ Millions)
Click to return to Table of Contents
Date | Day-Ahead Operating Reserve | Balancing Operating Reserve | Reactive | Blackstart | Lost Opportunity Cost | Total Uplift
01MAR2026 | 0.37 | 0.39 | 0 | 0 | 0 | 0.76
02MAR2026 | 0.15 | 1.95 | 0 | 0 | 0.04 | 2.15
03MAR2026 | 0.29 | 1.51 | 0 | 0.02 | 0.02 | 1.85
04MAR2026 | 0.01 | 0.66 | 0 | 0 | 0 | 0.67
05MAR2026 | 0 | 0.59 | 0 | 0 | 0 | 0.59
06MAR2026 | 0 | 0.23 | 0 | 0 | 0 | 0.23
07MAR2026 | 0 | 0.14 | 0 | 0 | 0 | 0.15
08MAR2026 | 0.04 | 0.34 | 0 | 0 | 0.34 | 0.72
09MAR2026 | 0.02 | 0.19 | 0 | 0 | 0.2 | 0.41
10MAR2026 | 0 | 0.28 | 0 | 0 | 0.06 | 0.35
11MAR2026 | 0.31 | 0.32 | 0 | 0 | 0.11 | 0.74
12MAR2026 | 0.03 | 0.15 | 0 | 0 | 3.89 | 4.07
13MAR2026 | 0.03 | 1.35 | 0 | 0 | 1.61 | 2.98
14MAR2026 | 0.14 | 0.87 | 0 | 0 | 0.04 | 1.05
15MAR2026 | 0.24 | 0.81 | 0 | 0 | 0.03 | 1.08
16MAR2026 | 0.05 | 0.6 | 0 | 0 | 0.21 | 0.86
17MAR2026 | 0.02 | 1.23 | 0 | 0 | 0.31 | 1.56
18MAR2026 | 0.13 | 2.39 | 0 | 0 | 0.46 | 2.98
19MAR2026 | 0.01 | 1.85 | 0 | 0 | 0.02 | 1.88
20MAR2026 | 0.01 | 0.46 | 0 | 0 | 0.28 | 0.75
21MAR2026 | 0 | 0.41 | 0 | 0 | 0.06 | 0.47
22MAR2026 | 0 | 0.67 | 0 | 0 | 0.1 | 0.77
23MAR2026 | 0.01 | 0.56 | 0 | 0 | 0.24 | 0.81
24MAR2026 | 0.17 | 0.85 | 0 | 0 | 0.27 | 1.29
25MAR2026 | 0.03 | 0.76 | 0 | 0 | 0.14 | 0.93
26MAR2026 | 0 | 0.2 | 0 | 0 | 0.27 | 0.47
27MAR2026 | 0 | 1.51 | 0 | 0 | 0.25 | 1.76
28MAR2026 | 0.01 | 0.94 | 0 | 0 | 0.07 | 1.02
29MAR2026 | 0.12 | 0.6 | 0 | 0 | 0.07 | 0.8
30MAR2026 | 0 | 0.22 | 0 | 0 | 0.19 | 0.42
31MAR2026 | 0.12 | 0.85 | 0 | 0 | 0.13 | 1.09

## High Uplift Days
High Uplift Days
($ Millions)
Click to return to Table of Contents
Date | Day-Ahead Operating Reserve | Balancing Operating Reserve | Reactive | Blackstart | Lost Opportunity Cost | Total Uplift | Reason
02MAR2026 | 0.15 | 1.95 | 0 | 0 | 0.04 | 2.15
03MAR2026 | 0.29 | 1.51 | 0 | 0.02 | 0.02 | 1.85
12MAR2026 | 0.03 | 0.15 | 0 | 0 | 3.89 | 4.07
13MAR2026 | 0.03 | 1.35 | 0 | 0 | 1.61 | 2.98
14MAR2026 | 0.14 | 0.87 | 0 | 0 | 0.04 | 1.05
15MAR2026 | 0.24 | 0.81 | 0 | 0 | 0.03 | 1.08
16MAR2026 | 0.05 | 0.6 | 0 | 0 | 0.21 | 0.86
17MAR2026 | 0.02 | 1.23 | 0 | 0 | 0.31 | 1.56
18MAR2026 | 0.13 | 2.39 | 0 | 0 | 0.46 | 2.98
19MAR2026 | 0.01 | 1.85 | 0 | 0 | 0.02 | 1.88
23MAR2026 | 0.01 | 0.56 | 0 | 0 | 0.24 | 0.81
24MAR2026 | 0.17 | 0.85 | 0 | 0 | 0.27 | 1.29
25MAR2026 | 0.03 | 0.76 | 0 | 0 | 0.14 | 0.93
27MAR2026 | 0 | 1.51 | 0 | 0 | 0.25 | 1.76
28MAR2026 | 0.01 | 0.94 | 0 | 0 | 0.07 | 1.02
31MAR2026 | 0.12 | 0.85 | 0 | 0 | 0.13 | 1.09

## Uneconomic CC, CT, Steam Hours
Percent of Total CC, CT, and Steam Hours - LMP < Offer
Click to return to Table of Contents
Date | CT | CC and STEAM
MAR24 | 15% | 5%
APR24 | 15% | 8%
MAY24 | 14% | 8%
JUN24 | 8% | 8%
JUL24 | 4% | 7%
AUG24 | 3% | 7%
SEP24 | 7% | 6%
OCT24 | 10% | 7%
NOV24 | 14% | 6%
DEC24 | 13% | 9%
JAN25 | 26% | 13%
FEB25 | 21% | 7%
MAR25 | 25% | 8%
APR25 | 22% | 8%
MAY25 | 21% | 7%
JUN25 | 9% | 8%
JUL25 | 11% | 8%
AUG25 | 8% | 7%
SEP25 | 8% | 6%
OCT25 | 10% | 6%
NOV25 | 17% | 8%
DEC25 | 17% | 7%
JAN26 | 33% | 14%
FEB26 | 12% | 6%
MAR26 | 12% | 9%

## Reliability and Deviations BOR
Reliability and Deviations Balancing Operating Reserve Rates
($/MWh of Load)
Click to return to Table of Contents
Date | Reliability Balancing Operating Reserve Rate RTO | Reliability Balancing Operating Reserve Rate East | Reliability Balancing Operating Reserve Rate West | Deviations Balancing Operating Reserve Rate RTO | Deviations Balancing Operating Reserve Rate East | Deviations Balancing Operating Reserve Rate West
MAR2024 | 0.07 | 0.02 | 0 | 0.16 | 0.02 | 0.01
APR2024 | 0.13 | 0.04 | 0 | 0.35 | 0.13 | 0.01
MAY2024 | 0.14 | 0.02 | 0 | 0.41 | 0.08 | 0
JUN2024 | 0.05 | 0.01 | 0 | 0.27 | 0.1 | 0.01
JUL2024 | 0.02 | 0.01 | 0 | 0.33 | 0.04 | 0.02
AUG2024 | 0.03 | 0.01 | 0 | 0.3 | 0.03 | 0
SEP2024 | 0.03 | 0 | 0 | 0.17 | 0.02 | 0.02
OCT2024 | 0.05 | 0.03 | 0 | 0.2 | 0.04 | 0
NOV2024 | 0.06 | 0.01 | 0 | 0.16 | 0.04 | 0.01
DEC2024 | 0.05 | 0.01 | 0 | 0.24 | 0.04 | 0.02
JAN2025 | 2.3 | 0.01 | 0 | 0.69 | 0.06 | 0.01
FEB2025 | 0.23 | 0.03 | 0 | 0.48 | 0.06 | 0.01
MAR2025 | 0.2 | 0.06 | 0.01 | 0.39 | 0.16 | 0.02
APR2025 | 0.28 | 0.05 | 0 | 0.72 | 0.09 | 0.01
MAY2025 | 0.11 | 0.02 | 0 | 0.34 | 0.06 | 0.01
JUN2025 | 0.11 | 0.01 | 0 | 0.53 | 0.45 | 0.02
JUL2025 | 0.19 | 0.02 | 0 | 0.7 | 0.7 | 0.02
AUG2025 | 0.09 | 0.01 | 0 | 0.34 | 0.53 | 0.03
SEP2025 | 0.08 | 0.02 | 0 | 0.35 | 0.12 | 0.01
OCT2025 | 0.1 | 0.03 | 0.01 | 0.37 | 0.32 | 0.02
NOV2025 | 0.2 | 0.08 | 0 | 0.38 | 0.55 | 0.01
DEC2025 | 0.12 | 0.01 | 0 | 0.63 | 0.29 | 0.01
JAN2026 | 5.95 | 0.01 | 0.01 | 3.5 | 0.27 | 0.03
FEB2026 | 0.18 | 0.02 | 0.01 | 1.52 | 0.59 | 0.03
MAR2026 | 0.09 | 0.07 | 0.02 | 0.53 | 0.94 | 0.02

## Operating Reserve
Operating Reserve
($/MWh of Load)
Click to return to Table of Contents
Date | Day-Ahead Allocated to Entire RTO | Day-Ahead Allocated Locally | Real-Time
MAR2024 | 0.02 | 0 | 0.17
APR2024 | 0.21 | 0 | 0.33
MAY2024 | 0.2 | 0 | 0.33
JUN2024 | 0.2 | 0 | 0.19
JUL2024 | 0.1 | 0 | 0.19
AUG2024 | 0.09 | 0 | 0.14
SEP2024 | 0.07 | 0 | 0.11
OCT2024 | 0.11 | 0 | 0.15
NOV2024 | 0.05 | 0 | 0.15
DEC2024 | 0.16 | 0.01 | 0.17
JAN2025 | 1.9 | 0 | 2.94
FEB2025 | 0.04 | 0 | 0.48
MAR2025 | 0.1 | 0 | 0.45
APR2025 | 0.07 | 0 | 0.63
MAY2025 | 0.05 | 0 | 0.28
JUN2025 | 0.08 | 0 | 0.43
JUL2025 | 0.03 | 0 | 0.54
AUG2025 | 0.04 | 0 | 0.33
SEP2025 | 0.01 | 0 | 0.25
OCT2025 | 0.01 | 0 | 0.32
NOV2025 | 0.01 | 0 | 0.51
DEC2025 | 0.24 | 0 | 0.43
JAN2026 | 2.13 | 0 | 8.3
FEB2026 | 0.44 | 0 | 0.79
MAR2026 | 0.04 | 0 | 0.51

## Balancing Operating Reserve MWh
Balancing Operating Reserve MWh by Region and Reason
Click to return to Table of Contents
Date | RTO | East | West | Reliability Analysis Reliability | Reliability Analysis Deviation | Real-Time Reliability | Real-Time Deviation | Total
01MAR2026 | 4716.33 | 17599.17 | . | . | 17599.17 | 2460.63 | 2255.7 | 22315.5
02MAR2026 | 83201.32 | 37271.9 | . | . | 35771.7 | 17323.29 | 67378.23 | 120473.22
03MAR2026 | 114194.92 | 31728.12 | . | . | 29625.31 | 26409.81 | 89887.92 | 145923.03
04MAR2026 | 52962.8 | 3656.43 | . | . | . | 20699.87 | 35919.36 | 56619.22
05MAR2026 | 42161.1 | 27569.33 | . | . | . | 23417.52 | 46312.91 | 69730.43
06MAR2026 | 13790.59 | 3592.9 | 470.18 | . | . | 10209.86 | 7643.8 | 17853.67
07MAR2026 | 16100.12 | 4444.93 | . | . | . | 5128.68 | 15416.37 | 20545.04
08MAR2026 | 8305.89 | 776.46 | 10431.9 | . | . | 12816.91 | 6697.34 | 19514.25
09MAR2026 | 11909.93 | 7466.16 | 1207.82 | . | . | 5909.74 | 14674.17 | 20583.91
10MAR2026 | 4831.48 | 30216.24 | . | . | 26499.75 | 4694.62 | 3853.35 | 35047.72
11MAR2026 | 14542.1 | 11310.54 | 4238.25 | . | 5162.28 | 10533.17 | 14395.44 | 30090.89
12MAR2026 | 15652.84 | . | . | . | . | 3161.56 | 12491.28 | 15652.84
13MAR2026 | 18521.71 | 25605.98 | 831.75 | . | . | 24336.38 | 20623.07 | 44959.45
14MAR2026 | 9542.87 | 36473.94 | . | . | 17452.94 | 17223.52 | 11340.35 | 46016.81
15MAR2026 | 239.89 | 28675.5 | . | . | 28675.5 | 239.89 | . | 28915.39
16MAR2026 | 742.72 | 40948.2 | . | . | 40948.2 | 742.72 | . | 41690.92
17MAR2026 | 6788.86 | 71518.84 | . | . | 67924.2 | 8550.95 | 1832.55 | 78307.7
18MAR2026 | 18345.55 | 90468.61 | 1912.67 | . | 80116.3 | 22539 | 8071.53 | 110726.83
19MAR2026 | 28412.08 | 65812.23 | . | . | 58059.6 | 28867.62 | 7297.09 | 94224.31
20MAR2026 | 3576.99 | 44872.45 | . | . | 44743.52 | 1757.85 | 1948.06 | 48449.44
21MAR2026 | 7859.82 | 31906.54 | . | . | 30362.57 | 5284.65 | 4119.14 | 39766.36
22MAR2026 | 26567.33 | 37870.69 | 4189.79 | . | 36048 | 12596.97 | 19982.84 | 68627.81
23MAR2026 | 26386.44 | 41552.71 | . | . | 33065.4 | 22507.24 | 12366.5 | 67939.15
24MAR2026 | 23743.26 | 50445.43 | 3759.42 | . | 41352.08 | 15335.5 | 21260.54 | 77948.12
25MAR2026 | 18282.74 | 39444.24 | . | . | 37038.6 | 13118.2 | 7570.18 | 57726.98
26MAR2026 | 16528.88 | 41646.42 | 2374.14 | . | 37432.8 | 5734.93 | 17381.72 | 60549.44
27MAR2026 | 20565.67 | 45016.69 | 1150.1 | . | 28057.5 | 15639.68 | 23035.29 | 66732.46
28MAR2026 | 18839.89 | 33708.72 | 2684.19 | . | 31258.2 | 7609.89 | 16364.73 | 55232.81
29MAR2026 | 15683.05 | 41709.94 | . | . | 36251.7 | 8106.38 | 13034.91 | 57392.98
30MAR2026 | 8145.89 | 31907.61 | 1139.38 | . | 29034.3 | 9003.04 | 3155.53 | 41192.87
31MAR2026 | 25905.87 | 45122.87 | 14429.04 | . | 32757.66 | 23542.91 | 29157.21 | 85457.78

## Balancing Operating Reserve $
Balancing Operating Reserve $ by Region and Reason
Click to return to Table of Contents
Date | RTO | East | West | Reliability Analysis Reliability | Reliability Analysis Deviation | Real-Time Reliability | Real-Time Deviation | Total
01MAR2026 | 98861.38 | 290281.27 | . | . | 290281.27 | 56488.96 | 42372.42 | 389142.65
02MAR2026 | 1111382.02 | 838730.5 | . | . | 834962.56 | 414777.56 | 700372.4 | 1950112.52
03MAR2026 | 1140465.43 | 350681.46 | . | . | 331991.48 | 598817.94 | 560337.47 | 1491146.89
04MAR2026 | 607341.48 | 50974.84 | . | . | . | 326677.36 | 331638.96 | 658316.32
05MAR2026 | 429098.35 | 157836.22 | . | . | . | 266929.75 | 320004.82 | 586934.57
06MAR2026 | 195129.13 | 26191.04 | 11221.36 | . | . | 153869.46 | 78672.07 | 232541.53
07MAR2026 | 126078.41 | 16530.26 | . | . | . | 72654.81 | 69953.86 | 142608.67
08MAR2026 | 76934.11 | 5361.29 | 258684.11 | . | . | 295686.84 | 45292.67 | 340979.51
09MAR2026 | 122387.85 | 56200.03 | 11153.21 | . | . | 90753.68 | 98987.41 | 189741.09
10MAR2026 | 73514.41 | 209478.1 | . | . | 193954.96 | 75336.98 | 13700.57 | 282992.51
11MAR2026 | 124055.59 | 76381.01 | 124083.9 | . | 43979.01 | 186472.69 | 94068.8 | 324520.5
12MAR2026 | 152713.29 | . | . | . | . | 75753.53 | 76959.76 | 152713.29
13MAR2026 | 392207.35 | 952641.09 | 5190.41 | . | . | 1101180.64 | 248858.21 | 1350038.85
14MAR2026 | 93473.67 | 778792.18 | . | . | 163757.75 | 604110.61 | 104397.49 | 872265.85
15MAR2026 | 2064.94 | 810512.56 | . | . | 810512.56 | 2064.94 | . | 812577.5
16MAR2026 | 7288.4 | 597015.9 | . | . | 597015.9 | 7288.4 | . | 604304.3
17MAR2026 | 114006.21 | 1115521 | . | . | 1054076.61 | 145462.13 | 29988.47 | 1229527.21
18MAR2026 | 678842.57 | 1673055.4 | 34124.82 | . | 1127050.99 | 888408.15 | 370563.65 | 2386022.79
19MAR2026 | 660054.44 | 1187240.63 | . | . | 1120383.39 | 644878.9 | 82032.78 | 1847295.07
20MAR2026 | 60663.66 | 395617.39 | . | . | 393937.85 | 51006.14 | 11337.06 | 456281.05
21MAR2026 | 131225.33 | 278629.27 | . | . | 272843.4 | 106663.68 | 30347.52 | 409854.6
22MAR2026 | 262994.39 | 379560.64 | 26319.2 | . | 366903.02 | 133656.25 | 168314.96 | 668874.23
23MAR2026 | 328052.06 | 235046.6 | . | . | 177063.08 | 274831.87 | 111203.71 | 563098.66
24MAR2026 | 236187.08 | 555913.75 | 60407.38 | . | 460727.93 | 293279.11 | 98501.17 | 852508.21
25MAR2026 | 230555.84 | 534336.82 | . | . | 497043.55 | 184927.44 | 82921.67 | 764892.66
26MAR2026 | 123129.2 | 32817.35 | 43559.4 | . | 18991.96 | 78314.5 | 102199.49 | 199505.95
27MAR2026 | 1282308.2 | 223073.01 | 4373.26 | . | 146751.35 | 1218123.34 | 144879.78 | 1509754.47
28MAR2026 | 134938.61 | 777616.21 | 15821.72 | . | 746570.23 | 73111.15 | 108695.16 | 928376.54
29MAR2026 | 142686.28 | 461502.35 | . | . | 389215.13 | 94545.95 | 120427.55 | 604188.63
30MAR2026 | 88768.48 | 95471.91 | 37629.74 | . | 66674.26 | 110636.01 | 44559.86 | 221870.13
31MAR2026 | 247643.88 | 452876.42 | 147089.44 | . | 346936.89 | 316768.98 | 183903.87 | 847609.74

## Monthly LOC
Monthly Lost Oppotunity Cost
Click to return to Table of Contents
Date | MWh Reduced Wind (MWh) | Lost Oppotunity Cost Wind ($) | Lost Opportunity Cost PJM Total ($)
01MAR2024 | 5935 | 126271 | 1792517
01APR2024 | 17766 | 485838 | 1932016
01MAY2024 | 1795 | 63503 | 1854493
01JUN2024 | 12307 | 380886 | 3872395
01JUL2024 | 594 | 14332 | 6581167
01AUG2024 | 213 | 5193 | 5224312
01SEP2024 | 578 | 11552 | 2008246
01OCT2024 | 10205 | 263376 | 2225614
01NOV2024 | 11915 | 283690 | 896858
01DEC2024 | 21844 | 726035 | 2459047
01JAN2025 | 39682 | 3190332 | 6983211
01FEB2025 | 5760 | 133847 | 539728
01MAR2025 | 32938 | 1377246 | 2146219
01APR2025 | 26610 | 904297 | 2100786
01MAY2025 | 4001 | 78996 | 2181964
01JUN2025 | 2057 | 184420 | 6837119
01JUL2025 | 1358 | 45534 | 3056169
01AUG2025 | 114 | 5807 | 2120381
01SEP2025 | 250 | 24835 | 2938079
01OCT2025 | 991 | 24945 | 2876482
01NOV2025 | 9311 | 311983 | 1903042
01DEC2025 | 3428 | 287333 | 9586524
01JAN2026 | 6192 | 878835 | 91096303
01FEB2026 | 1214 | 15616 | 18260534
01MAR2026 | 12229 | 486217 | 9415106

## Daily LOC
Daily Lost Oppotunity Cost
Click to return to Table of Contents
Date | Lost Oppotunity Cost Wind ($) | Lost Opportunity Cost PJM Total ($)
01MAR2026 | 0 | 1453
02MAR2026 | 0 | 44588
03MAR2026 | 0 | 22550
04MAR2026 | 0 | 2120
05MAR2026 | 0 | 208
06MAR2026 | 0 | 2064
07MAR2026 | 2595 | 2600
08MAR2026 | 0 | 337833
09MAR2026 | 1755 | 200204
10MAR2026 | 479 | 61286
11MAR2026 | 62547 | 110775
12MAR2026 | 4478 | 3891395
13MAR2026 | 83314 | 1605449
14MAR2026 | 77 | 38324
15MAR2026 | 0 | 32339
16MAR2026 | 10451 | 207187
17MAR2026 | 0 | 306728
18MAR2026 | 0 | 462962
19MAR2026 | 0 | 19246
20MAR2026 | 0 | 277322
21MAR2026 | 0 | 57313
22MAR2026 | 0 | 101223
23MAR2026 | 0 | 241100
24MAR2026 | 0 | 268324
25MAR2026 | 45283 | 137004
26MAR2026 | 189865 | 268422
27MAR2026 | 6115 | 250905
28MAR2026 | 0 | 72506
29MAR2026 | 0 | 71585
30MAR2026 | 25950 | 192086
31MAR2026 | 53309 | 128004

## Monthly Load Weighted LMP
Monthly Load Weighted LMP
Click to return to Table of Contents
Date | Load Weighted LMP ($/MWh)
MAR2024 | 23.1
APR2024 | 27.2
MAY2024 | 36.2
JUN2024 | 33.4
JUL2024 | 47.2
AUG2024 | 36.3
SEP2024 | 31.8
OCT2024 | 31.9
NOV2024 | 28.3
DEC2024 | 35
JAN2025 | 62.9
FEB2025 | 48.9
MAR2025 | 42.1
APR2025 | 45.4
MAY2025 | 36.3
JUN2025 | 68.2
JUL2025 | 59.4
AUG2025 | 39.5
SEP2025 | 43.7
OCT2025 | 51
NOV2025 | 47.1
DEC2025 | 55.3
JAN2026 | 116.1
FEB2026 | 93.5
MAR2026 | 46.1

## Annual LMP Averages
Annual Fuel Cost Adjusted and Load Weighted LMP
Click to return to Table of Contents
Year | Fuel Cost Adjusted LMP ($/MWh) | Load Weighted LMP ($/MWh)
2017 | 31.56 | 31.06
2018 | 33.66 | 37.83
2019 | 31.46 | 27.15
2020 | 32.4 | 21.65
2021 | 32.14 | 39.79
2022 | 35.93 | 80.17
2023 | 45.04 | 31.09
2024 | 45.58 | 33.75
2025 | 45.74 | 50.75
2026 | 37.8 | 87.64
The 2026 value is through the last day of MAR, 2026.

## LMP Suspensions and Reruns
LMP Suspensions and Reruns
Click to return to Table of Contents
Date | Percentage of Intervals Price Posting Suspended | Percentage of Intervals Rerun Prior to Final LMP Posting Curent Calculation
MAR2024 | 0.04% | 3.08%
APR2024 | 0.01% | 1.59%
MAY2024 | 0.02% | 2.15%
JUN2024 | 0.01% | 1.57%
JUL2024 | . | 3.05%
AUG2024 | . | 1.88%
SEP2024 | . | 1.68%
OCT2024 | 0.02% | 1.72%
NOV2024 | . | 1.67%
DEC2024 | 0.04% | 1.84%
JAN2025 | . | 1.74%
FEB2025 | 0.01% | 1.69%
MAR2025 | . | 5.05%
APR2025 | . | 1.31%
MAY2025 | . | 1.58%
JUN2025 | . | 1.83%
JUL2025 | . | 1.85%
AUG2025 | . | 1.21%
SEP2025 | . | 1.47%
OCT2025 | 0.04% | 1.23%
NOV2025 | 0.02% | 1.05%
DEC2025 | . | 1.1%
JAN2026 | 0.02% | 1.19%
FEB2026 | 0.04% | 1.72%
MAR2026 | . | 1.03%

## Annual DR Estimated Revenue
Demand Response Estimated Revenue
Click to return to Table of Contents
Year | Economic Energy | Capacity | Ancillary Services | Emergency Energy | Economic Energy Incentives | Capacity Bonus Payment | Test Emergency Energy | Total
2017 | 2551777 | 492872505 | 4807877 | 0 | 0 | . | . | 500232159
2018 | 2523722 | 584665539 | 8946085 | 0 | 0 | . | . | 596135346
2019 | 979266 | 481661914 | 5205768 | 1062830 | 0 | 447666 | . | 489357444
2020 | 329119 | 368224380 | 3771200 | 0 | 0 | 0 | . | 372324699
2021 | 1163113 | 536620703 | 9929451 | 0 | 0 | 0 | . | 547713268
2022 | 10893489 | 399940516 | 23353786 | 63525922 | 0 | 87808957 | . | 585522669
2023 | 3573199 | 161463366 | 13525184 | 0 | 0 | 0 | 131584 | 178693333
2024 | 12127963 | 117445606 | 24967853 | 0 | 0 | 0 | 395486 | 154936908
2025 | 26571684 | 442255400 | 39255275 | 61128617 | 0 | 0 | 232442 | 569443418
2026 | 16295677 | 171376837 | 23107432 | 0 | 0 | 0 | 123673 | 210903620
The 2026 value is through the last day of MAR, 2026.

## Demand Response
Demand Response
Click to return to Table of Contents
Date | Economic DR Total Load Reductions | Economic DR Total Net CSP Credits | DR as Sync. Res. MWh Cleared | DR as Sync. Res. Total Payments | DR as Regulation MWh Cleared | DR as Regulation Total Payments | Total MWs Registered in Economic DR
01MAR2024 | 1210 | 75606 | 340047 | 121981 | 36480 | 955548 | 2930
01APR2024 | 2654 | 103730.54 | 213888 | 785797 | 34964 | 829069 | 3007
01MAY2024 | 20775 | 936194.03 | 344696 | 1368803 | 35437 | 1386406 | 2845
01JUN2024 | 13712 | 550521.04 | 210675 | 510736 | 32568 | 909381 | 2719
01JUL2024 | 27057 | 1433760.76 | 218111 | 699101 | 35252 | 1458331 | 2745
01AUG2024 | 33506 | 1405978.67 | 277126 | 690092 | 35647 | 1076920 | 2914
01SEP2024 | 37341 | 1553795.61 | 302202 | 964049 | 35178 | 1261594 | 2665
01OCT2024 | 36503 | 1636862 | 287022 | 1188841 | 34748 | 1312029 | 2680
01NOV2024 | 18748 | 722410.78 | 326015 | 707405 | 36400 | 1113489 | 2583
01DEC2024 | 23321 | 1019910.62 | 302315 | 462531 | 38657 | 1433964 | 2666
01JAN2025 | 53497 | 4631435.38 | 188234 | 425568 | 36051 | 2201688 | 2680
01FEB2025 | 50646 | 3151820.89 | 192247 | 419475 | 33520 | 1435956 | 2682
01MAR2025 | 51274 | 2502400.6 | 339478 | 2038615 | 36455 | 1608850 | 2707
01APR2025 | 47534 | 2498640.26 | 226206 | 1822598 | 34413 | 1107759 | 2859
01MAY2025 | 31360 | 1299013.25 | 404918 | 1599412 | 35331 | 1148379 | 2897
01JUN2025 | 37431 | 2129425.29 | 415556 | 1570161 | 34489 | 1643056 | 2961
01JUL2025 | 41135 | 2746836.81 | 393494 | 2181099 | 30291 | 1280184 | 2943
01AUG2025 | 25304 | 1236546.34 | 396407 | 1074324 | 31657 | 1067364 | 2841
01SEP2025 | 20996 | 1148039.63 | 393198 | 1542171 | 29092 | 1278466 | 2676
01OCT2025 | 29160 | 1710476.07 | 440636 | 2156351 | 28089 | 3200500 | 3006
01NOV2025 | 27488 | 1461922.44 | 450039 | 1572616 | 28716 | 1548963 | 3039
01DEC2025 | 35825 | 2055127.48 | 359957 | 1161069 | 37632 | 2317752 | 3036
01JAN2026 | 56590 | 15362648.91 | 317918 | 1867970 | 40676 | 5029881 | 3013
01FEB2026 | 3931 | 933028.07 | 314841 | 885237 | 42350 | 7248159 | 3016
01MAR2026 | . | . | 379594 | 2283924 | 47140 | 4651747 | 3014

## Incs, Decs and Up-Tos
Virtual and Up-To Congestion Transactions
Click to return to Table of Contents
Date | Virtual Bids Submitted | Virtaul Bids Cleared | Virtual MWh Submitted | Virtual MWh Cleared | Up-To Transactions Submitted | Up-To Transactions Cleared | Up-To MWh Submitted | Up-To MWh Cleared | Total Transactions Submitted | Total Transactions Cleared | Total MWh Submitted | Total MWh Cleared
MAR2024 | 1949123 | 564765 | 18531219 | 8798186 | 1349199 | 445669 | 27709718 | 10699978 | 3298322 | 1010434 | 46240937 | 19498164
APR2024 | 1765484 | 622845 | 17216852 | 7850047 | 1307145 | 385526 | 25059788 | 7863648 | 3072629 | 1008371 | 42276639 | 15713694
MAY2024 | 1998189 | 632080 | 18908321 | 8069735 | 1487210 | 466765 | 21962847 | 6750604 | 3485399 | 1098845 | 40871168 | 14820339
JUN2024 | 1775226 | 563497 | 17039061 | 7268840 | 1460594 | 459708 | 18707590 | 7062923 | 3235820 | 1023205 | 35746651 | 14331763
JUL2024 | 1929586 | 604697 | 17523690 | 6995468 | 1520352 | 563212 | 19986077 | 6488742 | 3449938 | 1167909 | 37509768 | 13484210
AUG2024 | 1888677 | 646865 | 17642324 | 7493466 | 1496767 | 625978 | 20656319 | 6707992 | 3385444 | 1272843 | 38298644 | 14201458
SEP2024 | 2067576 | 621984 | 16577428 | 6644807 | 1508208 | 562794 | 22194011 | 7551817 | 3575784 | 1184778 | 38771440 | 14196623
OCT2024 | 2586520 | 693805 | 18783336 | 7024790 | 1586524 | 498219 | 24656016 | 7948736 | 4173044 | 1192024 | 43439352 | 14973526
NOV2024 | 2301881 | 613299 | 17973011 | 6941388 | 1332062 | 384109 | 21544258 | 6556306 | 3633943 | 997408 | 39517270 | 13497694
DEC2024 | 2784124 | 723050 | 20736199 | 8374524 | 1728723 | 556448 | 24038545 | 7769108 | 4512847 | 1279498 | 44774744 | 16143632
JAN2025 | 2778869 | 709877 | 19678775 | 8252729 | 2500741 | 677660 | 25656361 | 8150195 | 5279610 | 1387537 | 45335136 | 16402924
FEB2025 | 2659006 | 679056 | 18227083 | 7633561 | 1770898 | 536337 | 23080144 | 8064264 | 4429904 | 1215393 | 41307227 | 15697824
MAR2025 | 3106880 | 792430 | 20802818 | 8481901 | 2077020 | 550608 | 25757571 | 7810290 | 5183900 | 1343038 | 46560388 | 16292191
APR2025 | 2738493 | 770292 | 19333019 | 7549272 | 1813155 | 439170 | 21111123 | 6058826 | 4551648 | 1209462 | 40444142 | 13608098
MAY2025 | 2367986 | 740266 | 17882932 | 7405797 | 1490942 | 373987 | 16285899 | 5841101 | 3858928 | 1114253 | 34168831 | 13246898
JUN2025 | 2595841 | 745880 | 19133254 | 7516223 | 2086930 | 569789 | 23233274 | 7953223 | 4682771 | 1315669 | 42366527 | 15469447
JUL2025 | 2698566 | 760391 | 19358073 | 8201198 | 2138257 | 679114 | 21879155 | 7138395 | 4836823 | 1439505 | 41237228 | 15339593
AUG2025 | 2448692 | 723905 | 19209291 | 8138685 | 1673138 | 497553 | 19197328 | 6710499 | 4121830 | 1221458 | 38406619 | 14849183
SEP2025 | 2962575 | 810661 | 19975914 | 8124121 | 2198875 | 533745 | 23926607 | 7087967 | 5161450 | 1344406 | 43902521 | 15212088
OCT2025 | 3096337 | 818456 | 20387204 | 8280892 | 2487881 | 491189 | 28270529 | 6872283 | 5584218 | 1309645 | 48657733 | 15153175
NOV2025 | 3372830 | 803572 | 21667403 | 8305763 | 2497922 | 551175 | 27370398 | 8251521 | 5870752 | 1354747 | 49037801 | 16557284
DEC2025 | 3474322 | 924424 | 22078321 | 8516613 | 2546164 | 634995 | 25628891 | 8041354 | 6020486 | 1559419 | 47707212 | 16557966
JAN2026 | 2852049 | 795447 | 18170997 | 7589456 | 2758197 | 593670 | 23016530 | 7086873 | 5610246 | 1389117 | 41187527 | 14676329
FEB2026 | 2878212 | 740916 | 17975494 | 7014134 | 2592502 | 563401 | 16624938 | 5118923 | 5470714 | 1304317 | 34600433 | 12133056
MAR2026 | 3391912 | 961030 | 21017114 | 8104237 | 2064561 | 484432 | 19479139 | 5613943 | 5456473 | 1445462 | 40496253 | 13718180

## Congestion and FTR Revenue
Congestion and FTR Revenue
Click to return to Table of Contents
Date | Total FTR Revenue ($Millions) | Total FTR Target ($Millions) | FTR Payout Ratio (%) | Day-Ahead Congestion ($Millions) | Balancing Congestion ($Millions)
MAR2024 | 123.27 | 117.88 | 100% | 99.89 | -28.15
APR2024 | 131.63 | 129.45 | 100% | 108.31 | -28.24
MAY2024 | 223.26 | 222.38 | 100% | 199.3 | -26.7
JUN2024 | 168.64 | 164.46 | 100% | 155.24 | -27.51
JUL2024 | 387.44 | 347.98 | 100% | 371.3 | -40.77
AUG2024 | 270.86 | 250 | 100% | 256.59 | -18.3
SEP2024 | 144.93 | 169.38 | 86% | 128.46 | -13.13
OCT2024 | 156.17 | 176.49 | 89% | 137.26 | -22
NOV2024 | 103.23 | 99.39 | 100% | 84.61 | -18.47
DEC2024 | 236.59 | 261.45 | 90% | 218.22 | -30.94
JAN2025 | 377.56 | 334.52 | 100% | 361.57 | -134.11
FEB2025 | 155.18 | 154.23 | 100% | 146.37 | -22.01
MAR2025 | 213.16 | 291.64 | 73% | 195.43 | -44.27
APR2025 | 201.83 | 217.48 | 93% | 185.65 | -24.14
MAY2025 | 274 | 267.93 | 100% | 253.39 | -15.67
JUN2025 | 429.81 | 347.25 | 100% | 423.51 | -61.37
JUL2025 | 625.42 | 522.34 | 100% | 625.36 | -16.52
AUG2025 | 176.76 | 177.27 | 100% | 176.72 | -26.33
SEP2025 | 235.14 | 263.62 | 89% | 235.03 | -25.27
OCT2025 | 405.52 | 378.22 | 100% | 386.22 | -34.37
NOV2025 | 239.9 | 251.39 | 95% | 222.73 | -28.15
DEC2025 | 457.16 | 462.96 | 99% | 437.88 | -44.62
JAN2026 | 1359.66 | 996.45 | 100% | 1336.73 | -134.04
FEB2026 | 765.73 | 623.42 | 100% | 740.38 | -102.46
MAR2026 | 233.88 | 271.34 | 86% | 199.3 | -28.11

## Balancing Congestion Facilities
Balancing Congestion Facilities
Click to return to Table of Contents
Date | Facility Name | Balancing Congestion ($)
MAR2026 | Harrowgate-Locks 205C 230 (DOM C) | -1605160
MAR2026 | Burnham-Munster 345 (COMED-NIPS) | -1532593
MAR2026 | Cranes Corner-Stafford 230 2104B (DOM N) | -1358603
MAR2026 | Kokomo-Tipton 230 (MISO) | -644001
MAR2026 | Nottingham Reactor 230 (PECO) | -628982
MAR2026 | West End Fostoria-Woodville 138 (AEP-ATSI) | -615053
MAR2026 | Lockwood-Richland 138 (AEP OH) | -594736
MAR2026 | Harwood 230/69 T5 (PPL) | -429316
MAR2026 | Phipps Bend-Volunteer 500 (TVA) | -422729
MAR2026 | Dumont-Stillwell 345 (AEP IM) | -296337

## Average Interface Prices
Monthly Average PJM/MISO and PJM/NYISO Interface Prices
Click to return to Table of Contents
Date | PJM's Price for MISO Real-Time | MISO's Price for PJM Real-Time | PJM's Price for MISO Day-Ahead | MISO's Price for PJM Day-Ahead | PJM's Price for NYISO Real-Time | NYISO's Price for PJM Real-Time | PJM's Price for NYISO Day-Ahead | NYISO's Price for PJM Day-Ahead
MAR2024 | 18.85 | 19.59 | 18.16 | 20.06 | 24.63 | 24.43 | 22.01 | 24.65
APR2024 | 21.35 | 22.97 | 20.91 | 21.54 | 24.88 | 25.7 | 23.89 | 24.86
MAY2024 | 28.67 | 28.74 | 26.48 | 26.34 | 26.57 | 24.13 | 24.27 | 25.8
JUN2024 | 25.96 | 26.89 | 25.95 | 28.21 | 29.09 | 28.64 | 27.72 | 31.72
JUL2024 | 32.07 | 32.66 | 31.74 | 33.12 | 38.04 | 38.52 | 35.33 | 38.68
AUG2024 | 30.23 | 28.56 | 29.89 | 30.24 | 31.3 | 32.21 | 31.34 | 32.51
SEP2024 | 28.15 | 29.41 | 27.47 | 27.68 | 27.09 | 28.84 | 27.23 | 29.46
OCT2024 | 26.95 | 25.33 | 28.51 | 27.19 | 28.2 | 30.81 | 29.13 | 31.64
NOV2024 | 23.76 | 23.64 | 25.8 | 25.69 | 27.79 | 30.66 | 29.97 | 31.75
DEC2024 | 29.11 | 31.56 | 31.11 | 32.25 | 41.86 | 43.28 | 47.26 | 51.07
JAN2025 | 36.86 | 41.06 | 42.68 | 44.71 | 63.04 | 68.86 | 69.07 | 68.2
FEB2025 | 40.62 | 40.66 | 41.68 | 43.86 | 62.19 | 67.9 | 61.49 | 67.14
MAR2025 | 29.84 | 32.29 | 30.46 | 31.73 | 42.66 | 43.77 | 41.89 | 43.73
APR2025 | 32.65 | 30.81 | 33.08 | 32.36 | 36.69 | 38.28 | 38.36 | 38.44
MAY2025 | 29.58 | 30.84 | 30.46 | 32.4 | 29.45 | 29.09 | 30.19 | 32.12
JUN2025 | 48.69 | 47.94 | 40.37 | 43.39 | 56.85 | 59.32 | 45.45 | 42.61
JUL2025 | 46.8 | 53.07 | 53.49 | 56.29 | 59.61 | 58.03 | 64.72 | 63.54
AUG2025 | 37.41 | 37.45 | 37.25 | 40.13 | 40.67 | 40 | 40.41 | 45.54
SEP2025 | 40.37 | 42.03 | 37.53 | 38.05 | 34.57 | 35.96 | 33.92 | 36.73
OCT2025 | 37.19 | 32.06 | 39.12 | 35.59 | 40.23 | 43.03 | 40.38 | 44.07
NOV2025 | 38.87 | 36.09 | 40.47 | 38.65 | 43.62 | 50.29 | 47.48 | 51.98
DEC2025 | 40.6 | 42.45 | 45.44 | 44.26 | 75.12 | 56.45 | 75.58 | 81.67
JAN2026 | 57.65 | 82.67 | 90.64 | 96.61 | 99.87 | 111.22 | 132.9 | 155.93
FEB2026 | 52.08 | 51.26 | 49.45 | 45.14 | 93.53 | 90.08 | 89.19 | 94.31
MAR2026 | 39.33 | 35.02 | 35.81 | 34.03 | 42.95 | 38.55 | 38.42 | 41.92

## Market to Market Congestion
PJM/MISO and PJM/NYISO Market to Market Congestion Payments
Click to return to Table of Contents
Date | Net M2M Payments from PJM to MISO ($) | Payments to MISO as Percent of Total PJM Congestion | Net M2M Payments from PJM to NYISO ($) | Payments to NYISO as Percent of Total PJM Congestion | FTR Revenue ($)
MAR2024 | $-5,229,523 | 4.4% | $-5,393 | 0% | 117878353
APR2024 | $-8,425,790 | 6.5% | 0 | 0% | 129454687
MAY2024 | $-10,117,814 | 4.5% | $-10,693 | 0% | 222379475
JUN2024 | $-3,418,521 | 2.1% | 448802 | 0.27% | 164459765
JUL2024 | $-1,202,962 | 0.3% | 54093 | 0.02% | 347984717
AUG2024 | $-1,990,033 | 0.8% | 6884 | 0% | 250000175
SEP2024 | $-1,222,412 | 0.7% | 43530 | 0.03% | 169375972
OCT2024 | $-3,074,130 | 1.7% | $-121 | 0% | 176486120
NOV2024 | 1454110 | 1.5% | 233 | 0% | 99392810
DEC2024 | $-4,416,756 | 1.7% | 225137 | 0.09% | 261454799
JAN2025 | $-16,329,635 | 4.9% | 693989 | 0.21% | 334519061
FEB2025 | $-9,927,525 | 6.4% | 233915 | 0.15% | 154228380
MAR2025 | $-11,467,662 | 3.9% | 161657 | 0.06% | 291641923
APR2025 | $-11,754,874 | 5.4% | $-1,087 | 0% | 217479604
MAY2025 | $-4,059,580 | 1.5% | $-2,705 | 0% | 267931641
JUN2025 | $-513,669 | 0.1% | $-312,732 | 0.09% | 347253037
JUL2025 | $-981,997 | 0.2% | $-180,065 | 0.03% | 522344957
AUG2025 | 1392233 | 0.8% | 136148 | 0.08% | 177267624
SEP2025 | $-6,037,094 | 2.3% | 49371 | 0.02% | 263618654
OCT2025 | $-14,792,001 | 3.9% | $-168 | 0% | 378215760
NOV2025 | $-5,583,793 | 2.2% | 36678 | 0.01% | 251391963
DEC2025 | $-14,547,936 | 3.1% | 258661 | 0.06% | 462955495
JAN2026 | $-36,000,207 | 3.6% | $-7,430 | 0% | 996453852
FEB2026 | $-20,194,014 | 3.2% | 53085 | 0.01% | 623423248
MAR2026 | $-13,616,267 | 5% | 216815 | 0.08% | 271344766

## Regulation and Sync Reserve
Regulation and Synchronized Reserve
Click to return to Table of Contents
Date | Synchronous Condenser ($Millions) | Synchronized Reserve ($Millions) | Synchronous Condenser (Cents/MWh load) | Synchronized Reserve (Cents/MWh load) | Regulation ($Millions)
MAR2024 | . | 6.71 | . | 10.87 | 11.6
APR2024 | . | 8.71 | . | 15.22 | 11.77
MAY2024 | . | 10.57 | . | 16.95 | 17.83
JUN2024 | . | 4.78 | . | 6.63 | 14.97
JUL2024 | . | 7.48 | . | 9.36 | 21.92
AUG2024 | . | 5.8 | . | 7.65 | 16.24
SEP2024 | . | 6.53 | . | 10.36 | 13.01
OCT2024 | . | 7.42 | . | 12.63 | 16.43
NOV2024 | . | 4.13 | . | 6.92 | 13.93
DEC2024 | . | 4.05 | . | 5.64 | 16.73
JAN2025 | . | 10.76 | . | 13.31 | 31.44
FEB2025 | . | 6.09 | . | 9.03 | 16.33
MAR2025 | . | 15.76 | . | 24.89 | 19.3
APR2025 | . | 14.18 | . | 24.27 | 15.13
MAY2025 | . | 11.46 | . | 19.09 | 14.38
JUN2025 | . | 15.34 | . | 20.94 | 29.69
JUL2025 | . | 24.77 | . | 29.23 | 22.26
AUG2025 | . | 8.43 | . | 11.42 | 15.34
SEP2025 | . | 10.87 | . | 16.81 | 18.7
OCT2025 | . | 12.18 | . | 19.9 | 60.47
NOV2025 | . | 10.5 | . | 16.61 | 31.51
DEC2025 | . | 10.89 | . | 14.11 | 34.71
JAN2026 | . | 25.91 | . | 31.81 | 74.55
FEB2026 | . | 6.89 | . | 9.7 | 90.48
MAR2026 | . | 14.6 | . | 22.23 | 52.47

## Regulation Daily
Regulation Market Daily Prices and Charges
Click to return to Table of Contents
Date | Minimum Hourly Price ($/MWh) | Average Hourly Price ($/MWh) | Maximum Hourly Price ($/MWh) | Total Daily Regulation Charges($Millions) /
01MAR2026 | 0 | 64.95 | 3534.97 | 1135281.64
02MAR2026 | 0 | 47.99 | 298.26 | 828422.66
03MAR2026 | 0 | 47.69 | 561.9 | 764923.76
04MAR2026 | 0 | 85.71 | 849.39 | 1348925.32
05MAR2026 | 0 | 54.11 | 940.71 | 875627.26
06MAR2026 | 0 | 129.43 | 1379.43 | 2039725.57
07MAR2026 | 0.01 | 37.98 | 409.33 | 583266.14
08MAR2026 | 0 | 141.54 | 3582.14 | 2321728.37
09MAR2026 | 0 | 135.67 | 4162.64 | 2451494.97
10MAR2026 | 0.01 | 39.02 | 804.4 | 617446.46
11MAR2026 | 0.01 | 128.28 | 930.66 | 1974202.66
12MAR2026 | 0.01 | 94.65 | 4295.67 | 1624820.44
13MAR2026 | 0 | 204.21 | 5973.63 | 2837892.5
14MAR2026 | 0.01 | 75.6 | 1876.58 | 1263463.79
15MAR2026 | 0.01 | 33.54 | 1777.82 | 559029.05
16MAR2026 | 1.97 | 109.55 | 2152.2 | 1625208.71
17MAR2026 | 0.01 | 71.18 | 2337.25 | 1235123.56
18MAR2026 | 0.01 | 85.94 | 1581.94 | 1345581.79
19MAR2026 | 0.01 | 98.38 | 882.49 | 1398220.83
20MAR2026 | 0.01 | 52.09 | 907.78 | 861217.31
21MAR2026 | 3.92 | 162.51 | 3681.7 | 2826778.13
22MAR2026 | 6.37 | 73.49 | 1697.8 | 1084741.61
23MAR2026 | 0 | 63.15 | 769.17 | 1053203.71
24MAR2026 | 0 | 418.72 | 9631.72 | 7710504.39
25MAR2026 | 0 | 116.63 | 6152.73 | 1893233.48
26MAR2026 | 4.52 | 94.2 | 2639.38 | 1545270.18
27MAR2026 | 0 | 49.11 | 1051.42 | 740648.04
28MAR2026 | 0 | 120.84 | 487.38 | 1818470.72
29MAR2026 | 0 | 221.55 | 737.08 | 3147588.39
30MAR2026 | 0.22 | 96.46 | 2463.55 | 1612418.43
31MAR2026 | 6.11 | 78.43 | 1288.15 | 1343034.61

## Synchronized Reserve Daily
Synchronized Reserve Market Daily Prices and Charges
Click to return to Table of Contents
Date | Minimum Hourly Price ($/MWh) | Average Hourly Price ($/MWh) | Maximum Hourly Price ($/MWh) | Total Daily Regulation Charges($Millions) /
01MAR2026 | 0 | 21.08 | 1700 | 188750.19
02MAR2026 | 0 | 11.86 | 247.13 | 752024.32
03MAR2026 | 0 | 11.22 | 158.56 | 830447.05
04MAR2026 | 0 | 8.47 | 256.35 | 419205.3
05MAR2026 | 0 | 8.13 | 258.46 | 250290.97
06MAR2026 | 0 | 2.36 | 49.5 | 285155.49
07MAR2026 | 0 | 1.22 | 32.86 | 253813.79
08MAR2026 | 0 | 3.22 | 252.13 | 243134.15
09MAR2026 | 0 | 2.57 | 91.36 | 365887.7
10MAR2026 | 0 | 0.2 | 12.85 | 430441.5
11MAR2026 | 0 | 0.54 | 34.99 | 239452.24
12MAR2026 | 0 | 50.25 | 1700 | 698317.55
13MAR2026 | 0 | 34.1 | 1700 | 253676.47
14MAR2026 | 0 | 3.83 | 300 | 357644.09
15MAR2026 | 0 | 0.88 | 166.33 | 392604.12
16MAR2026 | 0 | 0.13 | 4.35 | 313134.11
17MAR2026 | 0 | 7.33 | 243.58 | 1933915.7
18MAR2026 | 0 | 1.39 | 91.01 | 739858.32
19MAR2026 | 0 | 1.17 | 54.24 | 668414.73
20MAR2026 | 0 | 5.88 | 266.23 | 259700.26
21MAR2026 | 0 | 3.6 | 89.05 | 132583.51
22MAR2026 | 0 | 4.06 | 300 | 144745.75
23MAR2026 | 0 | 11.22 | 287.24 | 788849.77
24MAR2026 | 0 | 12.93 | 294.18 | 792129.33
25MAR2026 | 0 | 2.51 | 161.78 | 342193.96
26MAR2026 | 0 | 5.06 | 143.33 | 365612.54
27MAR2026 | 0 | 3.21 | 91.57 | 408838.18
28MAR2026 | 0 | 7.87 | 220.83 | 439522.91
29MAR2026 | 0 | 8.06 | 219.74 | 412231.77
30MAR2026 | 0 | 7.21 | 276.87 | 540597.9
31MAR2026 | 0 | 4.34 | 84.09 | 361574.27

## Daily Marginal Losses
Daily Marginal Loss Summary
Click to return to Table of Contents
Date | Average Energy Price ($/MWh) | Minimum Loss Component ($/MWh) | Maximum Loss Component ($/MWh) | Minimum Loss Zone | Maximum Loss Zone | Loss Credits ($) | Loss Credits ($/MWh)
01MAR2026 | 64.33 | (1.59) | 1.46 | COMED | DPL | . | .
02MAR2026 | 55.37 | (39.59) | 30.41 | COMED | BGE | . | .
03MAR2026 | 63.12 | (13.38) | 11.41 | COMED | DPL | . | .
04MAR2026 | 62.36 | (4.80) | 5.67 | COMED | BGE | . | .
05MAR2026 | 47.55 | (2.89) | 4.51 | COMED | BGE | . | .
06MAR2026 | 35.29 | (2.32) | 2.34 | COMED | BGE | . | .
07MAR2026 | 30.06 | (5.51) | 4.94 | COMED | BGE | . | .
08MAR2026 | 33.44 | (4.16) | 3.71 | COMED | BGE | . | .
09MAR2026 | 33.52 | (13.50) | 10.81 | COMED | BGE | . | .
10MAR2026 | 32.55 | (9.72) | 8.13 | COMED | BGE | . | .
11MAR2026 | 39.2 | (4.94) | 3.81 | COMED | BGE | . | .
12MAR2026 | 95.58 | (3.25) | 2.7 | COMED | DAY | . | .
13MAR2026 | 93.24 | (105.52) | 82.77 | COMED | BGE | . | .
14MAR2026 | 44.43 | (4.01) | 4.08 | COMED | BGE | . | .
15MAR2026 | 25.19 | (2.75) | 2.05 | COMED | ATSI | . | .
16MAR2026 | 31.79 | (2.67) | 1.96 | COMED | BGE | . | .
17MAR2026 | 48.77 | (7.16) | 5.29 | COMED | BGE | . | .
18MAR2026 | 46.13 | (5.20) | 3.95 | COMED | DAY | . | .
19MAR2026 | 38.12 | (4.58) | 3.27 | COMED | DPL | . | .
20MAR2026 | 35.83 | (7.25) | 5.11 | COMED | DPL | . | .
21MAR2026 | 30.57 | (3.23) | 3.38 | DUQ | DOM | . | .
22MAR2026 | 31.64 | (5.71) | 3.79 | COMED | PEPC | . | .
23MAR2026 | 46.25 | (6.49) | 4.69 | COMED | DOM | . | .
24MAR2026 | 45.3 | (6.74) | 5.37 | COMED | DPL | . | .
25MAR2026 | 33.99 | (7.42) | 5.68 | COMED | BGE | . | .
26MAR2026 | 39.7 | (5.70) | 4.84 | COMED | BGE | . | .
27MAR2026 | 43.9 | (5.41) | 3.91 | COMED | BGE | . | .
28MAR2026 | 36.5 | (3.83) | 2.59 | COMED | BGE | . | .
29MAR2026 | 35.13 | (6.02) | 3.87 | COMED | BGE | . | .
30MAR2026 | 34.65 | (3.61) | 2.36 | COMED | BGE | . | .
31MAR2026 | 32.67 | (5.49) | 3.37 | COMED | BGE | . | .

## Monthly Marginal Losses
Monthly Marginal Losses
Click to return to Table of Contents
Date | Loss Credits ($) | Loss Credits ($/MWh)
MAR2024 | 13959861.69 | 0.23
APR2024 | 15744910.01 | 0.28
MAY2024 | 26679135.32 | 0.43
JUN2024 | 30745390.15 | 0.43
JUL2024 | 54851579.85 | 0.69
AUG2024 | 39758684.77 | 0.52
SEP2024 | 21093448.84 | 0.33
OCT2024 | 23573820.48 | 0.4
NOV2024 | 19778020.61 | 0.33
DEC2024 | . | .
JAN2025 | . | .
FEB2025 | . | .
MAR2025 | . | .
APR2025 | . | .
MAY2025 | . | .
JUN2025 | . | .
JUL2025 | . | .
AUG2025 | . | .
SEP2025 | . | .
OCT2025 | . | .
NOV2025 | . | .
DEC2025 | . | .
JAN2026 | . | .
FEB2026 | . | .
MAR2026 | . | .

## Sychronized Reserve Performance
Sychronized Reserve Performance
Click to return to Table of Contents
Start Time | End Time | Generation Tier 1 Response | Generation Tier 2 Assignment | Generation Tier 2 Response | Generation Zero Response | DSR Tier 1 Response | DSR Tier 2 Assignment | DSR Tier 2 Response | DSR Zero Response
06APR22:15:45:00 | 06APR22:15:55:00 | 303.15 | 161.51 | 112.95 | 47.23 | 0 | 36.2 | 38.6 | 0.03
13APR22:21:25:00 | 13APR22:21:53:00 | 1025.37 | 320.37 | 338.12 | 6.07 | 0 | 89.88 | 86.21 | 4.01
16MAY22:19:32:00 | 16MAY22:19:43:00 | 593.54 | 54.04 | 19.04 | 23.28 | 0 | . | . | .
16MAY22:19:53:00 | 16MAY22:20:03:00 | 572.62 | 103.07 | 45.43 | 10.37 | 0 | . | . | .
23MAY22:21:17:00 | 23MAY22:21:32:00 | 376.89 | 185.53 | 135.17 | . | 0 | 80.01 | 63.96 | 11.9
29OCT22:06:12:00 | 29OCT22:06:24:00 | 189.14 | 333.76 | 96.45 | 180.3 | 0 | 37.82 | 56.12 | 0.06
29NOV22:21:30:00 | 29NOV22:21:47:00 | 461.63 | 482.49 | 327.64 | 119.09 | 0 | 6.77 | 8 | 0.31
23DEC22:15:14:00 | 23DEC22:15:25:00 | 449.04 | 315.59 | 388.12 | 15.88 | 0 | 12.84 | 17.85 | 0.17
23DEC22:21:17:00 | 23DEC22:23:09:00 | 4594.02 | 3027.55 | 1442.9 | 514.08 | 0 | 417.58 | 614.23 | 1.87
24DEC22:05:05:00 | 24DEC22:05:30:00 | 507.6 | 715.38 | 393.03 | 193.84 | 0 | 20.67 | 13.36 | .
24DEC22:07:23:00 | 24DEC22:07:54:00 | 447.29 | 753.56 | 209.99 | 68.2 | 0 | 106.59 | 102.9 | 9.71
24DEC22:09:23:00 | 24DEC22:10:51:00 | 1104.38 | 1435.87 | 226.78 | 275.88 | 87.18 | 173.07 | 210.03 | 2.05
05JAN23:17:43:00 | 05JAN23:17:55:00 | 289.75 | 311.78 | 212.04 | 35.9 | 0 | 30.94 | 34.02 | .
10JAN23:12:06:00 | 10JAN23:12:23:00 | 289.83 | 566.08 | 342.73 | 81.6 | 0 | 104.89 | 89.69 | 20.54
15DEC23:00:41:00 | 15DEC23:00:53:00 | 100.79 | 444.82 | 234.37 | 113.04 | 0 | 97.58 | 108.57 | 2.84
24FEB24:20:48:00 | 24FEB24:21:00:00 | 347.49 | 537.76 | 169.45 | 313.78 | 0 | 52.46 | 6.4 | 48
08JUL24:21:57:00 | 08JUL24:22:11:00 | 327.31 | 728.8 | 340.02 | 77.81 | 0 | 25.88 | 32.77 | 0.42
21JUL24:21:53:00 | 21JUL24:22:03:00 | 223.48 | 304.32 | 244.8 | 13.68 | 0.01 | 92.24 | 101.69 | 0.2
12AUG24:21:10:00 | 12AUG24:21:20:00 | 226.27 | 437.2 | 413.98 | 8.97 | 0 | 102.21 | 96.4 | 0.88
18AUG24:20:04:00 | 18AUG24:20:20:00 | 790.53 | 377.76 | 282.26 | 30.83 | 0 | 140.93 | 156.2 | 0.08
10NOV24:05:20:00 | 10NOV24:05:31:00 | 112.21 | 263.74 | 283.08 | 18.98 | 0 | 88.11 | 141.57 | .
28NOV24:00:36:00 | 28NOV24:00:46:00 | 68.62 | 344.3 | 311.57 | 22.68 | 0 | 81.08 | 104.19 | 0.8
05FEB25:15:05:00 | 05FEB25:15:15:00 | 274.65 | 289.98 | 250.89 | 22.55 | 0 | 16.25 | 19.26 | .
01JUL25:14:18:00 | 01JUL25:14:29:00 | 354.19 | 435.15 | 438.72 | 21.39 | 0 | 99.76 | 95.47 | 3.93
22JUL25:19:11:00 | 22JUL25:19:22:00 | 284.19 | 494.61 | 492.65 | 10.44 | 0 | 100.53 | 109.53 | 5.57
25SEP25:23:12:00 | 25SEP25:23:23:00 | 120.1 | 484.64 | 486.03 | 15.64 | 0 | 107.99 | 114.06 | 9.04
17OCT25:14:13:00 | 17OCT25:14:24:00 | 286.09 | 310.16 | 300.56 | 6.05 | 0 | 118.14 | 136.39 | 0.92
28OCT25:23:05:00 | 28OCT25:23:20:00 | 296.25 | 360.48 | 310.39 | 11.01 | 0 | 143.38 | 135.73 | 0.8
11NOV25:15:04:00 | 11NOV25:15:15:00 | 395.92 | 367.7 | 372.51 | 20.33 | 0 | 123.39 | 141.54 | 2.37
02MAR26:00:29:00 | 02MAR26:00:40:00 | 199.84 | 434.92 | 314.31 | 15.22 | 0 | 117.85 | 107.68 | 6.93
All values are converted into MWHs by multiplying MWs by the event duration

## Shortage Pricing Intervals
Shortage Pricing Intervals
Click to return to Table of Contents
Date | 5-Minute Interval | Reserve Penalty Factors | 5-Minute Interval SMP | Hourly Integrated SMP
Sunday, March 1, 2026 | 19:30 - 19:35 | RTO Synchronized Reserves; RTO Primary Reserves; MAD Primary Reserves | 3180.91 | 730.19
Sunday, March 1, 2026 | 19:35 - 19:40 | RTO Synchronized Reserves; RTO Primary Reserves; MAD Primary Reserves | 3187.32 | 730.19
Sunday, March 1, 2026 | 19:40 - 19:45 | RTO Primary Reserves | 1059.42 | 730.19
Thursday, March 12, 2026 | 18:55 - 19:00 | RTO Synchronized Reserves; RTO Primary Reserves; MAD Synchronized Reserves | 3057.16 | 332.79
Thursday, March 12, 2026 | 19:00 - 19:05 | RTO Synchronized Reserves; RTO Primary Reserves; MAD Synchronized Reserves | 3011.97 | 881.24
Thursday, March 12, 2026 | 19:05 - 19:10 | RTO Synchronized Reserves; RTO Primary Reserves; MAD Primary Reserves | 1527.07 | 881.24
Thursday, March 12, 2026 | 19:10 - 19:15 | RTO Synchronized Reserves; RTO Primary Reserves; MAD Synchronized Reserves; MAD Primary Reserves | 3703.18 | 881.24
Thursday, March 12, 2026 | 19:15 - 19:20 | RTO Primary Reserves | 188.52 | 881.24
Thursday, March 12, 2026 | 19:20 - 19:25 | RTO Primary Reserves | 188.52 | 881.24
Thursday, March 12, 2026 | 19:25 - 19:30 | RTO Primary Reserves | 875.89 | 881.24
Thursday, March 12, 2026 | 19:30 - 19:35 | RTO Primary Reserves | 112.32 | 881.24
Thursday, March 12, 2026 | 19:35 - 19:40 | RTO Primary Reserves | 309.31 | 881.24
Friday, March 13, 2026 | 7:00 - 7:05 | RTO Primary Reserves | 582.43 | 1249.79
Friday, March 13, 2026 | 7:05 - 7:10 | RTO Primary Reserves | 1140.95 | 1249.79
Friday, March 13, 2026 | 7:10 - 7:15 | RTO Synchronized Reserves; RTO Primary Reserves; MAD Primary Reserves | 2002.8 | 1249.79
Friday, March 13, 2026 | 7:15 - 7:20 | RTO Synchronized Reserves; RTO Primary Reserves; MAD Synchronized Reserves; MAD Primary Reserves | 3703.63 | 1249.79
Friday, March 13, 2026 | 7:20 - 7:25 | RTO Synchronized Reserves; RTO Primary Reserves; MAD Synchronized Reserves; MAD Primary Reserves | 3703 | 1249.79
Friday, March 13, 2026 | 7:25 - 7:30 | RTO Synchronized Reserves; RTO Primary Reserves; MAD Primary Reserves | 2914.76 | 1249.79
Friday, March 13, 2026 | 7:30 - 7:35 | RTO Primary Reserves | 274.13 | 1249.79
Saturday, March 14, 2026 | 0:30 - 0:35 | RTO Synchronized Reserves | 328.77 | 97.42
Sunday, March 22, 2026 | 20:10 - 20:15 | RTO Primary Reserves | 335.16 | 91.44

## Shortage Interval Constraints
Shortage Interval Constraints
Click to return to Table of Contents
Start Time | End Time | Monitored Facility | Contingency Facility | Transmission Constraint Penalty Factor | Shadow Price
01MAR26:19:30:00 | 01MAR26:19:35:00 | ETOWANDA-HILLSIDE 2002 TIE A 230 KV | L345.Mainesburg-Watercure [NYISO] | 1000 | -1000
01MAR26:19:30:00 | 01MAR26:19:35:00 | LENOX-MACNEW_T LEN-MAC A 115 KV | L230.ETowanda-Hillside.2002 [NYISO] | 2000 | -2000
01MAR26:19:30:00 | 01MAR26:19:35:00 | ETOWANDA-HILLSIDE 2002 TIE A 230 KV | L500.Hopatcong-Lackawanna.5063 | 1000 | -807.04
01MAR26:19:30:00 | 01MAR26:19:35:00 | State Ln- Roxana 138 kV l/o Sheffield XFMR 345/138 kV | Sheffield 345/138 kV transformer | 200 | -589.64
01MAR26:19:35:00 | 01MAR26:19:40:00 | ETOWANDA-HILLSIDE 2002 TIE A 230 KV | L500.Hopatcong-Lackawanna.5063 | 1000 | -816.01
01MAR26:19:35:00 | 01MAR26:19:40:00 | ETOWANDA-HILLSIDE 2002 TIE A 230 KV | L345.Mainesburg-Watercure [NYISO] | 1000 | -1000
01MAR26:19:35:00 | 01MAR26:19:40:00 | State Ln- Roxana 138 kV l/o Sheffield XFMR 345/138 kV | Sheffield 345/138 kV transformer | 200 | -268.97
01MAR26:19:35:00 | 01MAR26:19:40:00 | LENOX-MACNEW_T LEN-MAC A 115 KV | L230.ETowanda-Hillside.2002 [NYISO] | 2000 | -2000
01MAR26:19:40:00 | 01MAR26:19:45:00 | LENOX-MACNEW_T LEN-MAC A 115 KV | L230.ETowanda-Hillside.2002 [NYISO] | 2000 | -2000
01MAR26:19:40:00 | 01MAR26:19:45:00 | State Ln- Roxana 138 kV l/o Sheffield XFMR 345/138 kV | Sheffield 345/138 kV transformer | 200 | -1406.35
01MAR26:19:40:00 | 01MAR26:19:45:00 | ETOWANDA-HILLSIDE 2002 TIE A 230 KV | L500.Hopatcong-Lackawanna.5063 | 1000 | -1000
01MAR26:19:40:00 | 01MAR26:19:45:00 | ETOWANDA-HILLSIDE 2002 TIE A 230 KV | L345.Mainesburg-Watercure [NYISO] | 1000 | -1000
12MAR26:18:55:00 | 12MAR26:19:00:00 | ETOWANDA-HILLSIDE 2002 TIE A 230 KV | L500.Hopatcong-Lackawanna.5063 | 1000 | -181.6
12MAR26:18:55:00 | 12MAR26:19:00:00 | HIGHLAOE-COMERC A 138 KV | L345.Hanna-Juniper | 2000 | -2000
12MAR26:19:00:00 | 12MAR26:19:05:00 | ETOWANDA-HILLSIDE 2002 TIE A 230 KV | L500.Hopatcong-Lackawanna.5063 | 1000 | -341.68
12MAR26:19:00:00 | 12MAR26:19:05:00 | HIGHLAOE-COMERC A 138 KV | L345.Hanna-Juniper | 2000 | -2000
12MAR26:19:05:00 | 12MAR26:19:10:00 | HIGHLAOE-COMERC A 138 KV | L345.Hanna-Juniper | 2000 | -2000
12MAR26:19:05:00 | 12MAR26:19:10:00 | ETOWANDA-HILLSIDE 2002 TIE A 230 KV | L500.Hopatcong-Lackawanna.5063 | 1000 | -181.6
12MAR26:19:10:00 | 12MAR26:19:15:00 | HIGHLAOE-COMERC A 138 KV | L345.Hanna-Juniper | 2000 | -2000
12MAR26:19:10:00 | 12MAR26:19:15:00 | ETOWANDA-HILLSIDE 2002 TIE A 230 KV | L500.Hopatcong-Lackawanna.5063 | 1000 | -341.68
12MAR26:19:15:00 | 12MAR26:19:20:00 | HIGHLAOE-COMERC A 138 KV | L345.Hanna-Juniper | 2000 | -2000
12MAR26:19:15:00 | 12MAR26:19:20:00 | ETOWANDA-HILLSIDE 2002 TIE A 230 KV | L500.Hopatcong-Lackawanna.5063 | 1000 | -181.6
12MAR26:19:20:00 | 12MAR26:19:25:00 | HIGHLAOE-COMERC A 138 KV | L345.Hanna-Juniper | 2000 | -2000
12MAR26:19:20:00 | 12MAR26:19:25:00 | ETOWANDA-HILLSIDE 2002 TIE A 230 KV | L500.Hopatcong-Lackawanna.5063 | 1000 | -181.6
12MAR26:19:25:00 | 12MAR26:19:30:00 | HIGHLAOE-COMERC A 138 KV | L345.Hanna-Juniper | 2000 | -2000
12MAR26:19:25:00 | 12MAR26:19:30:00 | ETOWANDA-HILLSIDE 2002 TIE A 230 KV | L500.Hopatcong-Lackawanna.5063 | 1000 | -181.6
12MAR26:19:30:00 | 12MAR26:19:35:00 | HIGHLAOE-COMERC A 138 KV | L345.Hanna-Juniper | 2000 | -1205.76
12MAR26:19:30:00 | 12MAR26:19:35:00 | ETOWANDA-HILLSIDE 2002 TIE A 230 KV | L500.Hopatcong-Lackawanna.5063 | 1000 | -475.41
12MAR26:19:35:00 | 12MAR26:19:40:00 | HIGHLAOE-COMERC A 138 KV | L345.Hanna-Juniper | 2000 | -2000
12MAR26:19:35:00 | 12MAR26:19:40:00 | ETOWANDA-HILLSIDE 2002 TIE A 230 KV | L500.Hopatcong-Lackawanna.5063 | 1000 | -938.74
13MAR26:07:00:00 | 13MAR26:07:05:00 | CRESCENT-MTNEBO Z-20 A 138 KV | L345.Crescent-Collier-BrunotIsland.331 | 2000 | -2000
13MAR26:07:00:00 | 13MAR26:07:05:00 | Volunteer - Phipps Bend 500 l/o Hanging Rock - Cornu 765 | 05CORNU 765kV-05HANGR 765kV | 2000 | -2000
13MAR26:07:00:00 | 13MAR26:07:05:00 | NOTTINGHM 2-3 SER DEV A 230 KV | L500.Conastone-PeachBottom.5012 | 2000 | -2000
13MAR26:07:00:00 | 13MAR26:07:05:00 | HIGHLAOE-COMERC A 138 KV | L345.Hanna-Juniper | 2000 | -2000
13MAR26:07:00:00 | 13MAR26:07:05:00 | ETOWANDA-HILLSIDE 2002 TIE A 230 KV | L500.Hopatcong-Lackawanna.5063 | 1000 | -0.14
13MAR26:07:05:00 | 13MAR26:07:10:00 | Volunteer - Phipps Bend 500 l/o Hanging Rock - Cornu 765 | 05CORNU 765kV-05HANGR 765kV | 2000 | -2000
13MAR26:07:05:00 | 13MAR26:07:10:00 | NOTTINGHM 2-3 SER DEV A 230 KV | L500.Conastone-PeachBottom.5012 | 2000 | -2000
13MAR26:07:05:00 | 13MAR26:07:10:00 | HIGHLAOE-COMERC A 138 KV | L345.Hanna-Juniper | 2000 | -2000
13MAR26:07:05:00 | 13MAR26:07:10:00 | GARDNERS-TEXSEAST GAR-TEX B 115 KV | L115.Newberry-Cly (Sctnlz) | 2000 | -2000
13MAR26:07:05:00 | 13MAR26:07:10:00 | ETOWANDA-HILLSIDE 2002 TIE A 230 KV | L500.Hopatcong-Lackawanna.5063 | 1000 | -1000
13MAR26:07:05:00 | 13MAR26:07:10:00 | CRESCENT-MTNEBO Z-20 A 138 KV | L345.Crescent-Collier-BrunotIsland.331 | 2000 | -2000
13MAR26:07:10:00 | 13MAR26:07:15:00 | Volunteer - Phipps Bend 500 l/o Hanging Rock - Cornu 765 | 05CORNU 765kV-05HANGR 765kV | 2000 | -2000
13MAR26:07:10:00 | 13MAR26:07:15:00 | NOTTINGHM 2-3 SER DEV A 230 KV | L500.Conastone-PeachBottom.5012 | 2000 | -2000
13MAR26:07:10:00 | 13MAR26:07:15:00 | GARDNERS-TEXSEAST GAR-TEX B 115 KV | L115.Newberry-Cly (Sctnlz) | 2000 | -2000
13MAR26:07:10:00 | 13MAR26:07:15:00 | ETOWANDA-HILLSIDE 2002 TIE A 230 KV | L500.Hopatcong-Lackawanna.5063 | 1000 | -1000
13MAR26:07:15:00 | 13MAR26:07:20:00 | Volunteer - Phipps Bend 500 l/o Hanging Rock - Cornu 765 | 05CORNU 765kV-05HANGR 765kV | 2000 | -2000
13MAR26:07:15:00 | 13MAR26:07:20:00 | NOTTINGHM 2-3 SER DEV A 230 KV | L500.Conastone-PeachBottom.5012 | 2000 | -2000
13MAR26:07:15:00 | 13MAR26:07:20:00 | HIGHLAOE-COMERC A 138 KV | L345.Hanna-Juniper | 2000 | -2000
13MAR26:07:15:00 | 13MAR26:07:20:00 | GARDNERS-TEXSEAST GAR-TEX B 115 KV | L115.Newberry-Cly (Sctnlz) | 2000 | -2000
13MAR26:07:15:00 | 13MAR26:07:20:00 | ETOWANDA-HILLSIDE 2002 TIE A 230 KV | L500.Hopatcong-Lackawanna.5063 | 1000 | -1000
13MAR26:07:20:00 | 13MAR26:07:25:00 | Volunteer - Phipps Bend 500 l/o Hanging Rock - Cornu 765 | 05CORNU 765kV-05HANGR 765kV | 2000 | -2000
13MAR26:07:20:00 | 13MAR26:07:25:00 | NOTTINGHM 2-3 SER DEV A 230 KV | L500.Conastone-PeachBottom.5012 | 2000 | -2000
13MAR26:07:20:00 | 13MAR26:07:25:00 | HIGHLAOE-COMERC A 138 KV | L345.Hanna-Juniper | 2000 | -2000
13MAR26:07:20:00 | 13MAR26:07:25:00 | GARDNERS-TEXSEAST GAR-TEX B 115 KV | L115.Newberry-Cly (Sctnlz) | 2000 | -2000
13MAR26:07:20:00 | 13MAR26:07:25:00 | ETOWANDA-HILLSIDE 2002 TIE A 230 KV | L500.Hopatcong-Lackawanna.5063 | 1000 | -1000
13MAR26:07:25:00 | 13MAR26:07:30:00 | Volunteer - Phipps Bend 500 l/o Hanging Rock - Cornu 765 | 05CORNU 765kV-05HANGR 765kV | 2000 | -2000
13MAR26:07:25:00 | 13MAR26:07:30:00 | NOTTINGHM 2-3 SER DEV A 230 KV | L500.Conastone-PeachBottom.5012 | 2000 | -2000
13MAR26:07:25:00 | 13MAR26:07:30:00 | HIGHLAOE-COMERC A 138 KV | L345.Hanna-Juniper | 2000 | -2000
13MAR26:07:25:00 | 13MAR26:07:30:00 | GARDNERS-TEXSEAST GAR-TEX B 115 KV | L115.Newberry-Cly (Sctnlz) | 2000 | -2000
13MAR26:07:25:00 | 13MAR26:07:30:00 | ETOWANDA-HILLSIDE 2002 TIE A 230 KV | L500.Hopatcong-Lackawanna.5063 | 1000 | -1000
13MAR26:07:30:00 | 13MAR26:07:35:00 | HIGHLAOE-COMERC A 138 KV | L345.Hanna-Juniper | 2000 | -2000
13MAR26:07:30:00 | 13MAR26:07:35:00 | GARDNERS-TEXSEAST GAR-TEX B 115 KV | L115.Newberry-Cly (Sctnlz) | 2000 | -2000
13MAR26:07:30:00 | 13MAR26:07:35:00 | ETOWANDA-HILLSIDE 2002 TIE A 230 KV | L500.Hopatcong-Lackawanna.5063 | 1000 | -1000
13MAR26:07:30:00 | 13MAR26:07:35:00 | Volunteer - Phipps Bend 500 l/o Hanging Rock - Cornu 765 | 05CORNU 765kV-05HANGR 765kV | 2000 | -2000
13MAR26:07:30:00 | 13MAR26:07:35:00 | NOTTINGHM 2-3 SER DEV A 230 KV | L500.Conastone-PeachBottom.5012 | 2000 | -2000
14MAR26:00:30:00 | 14MAR26:00:35:00 | ETOWANDA-HILLSIDE 2002 TIE A 230 KV | L500.Hopatcong-Lackawanna.5063 | 1000 | -37.01
22MAR26:20:10:00 | 22MAR26:20:15:00 | NOTTINGHM 2-3 SER DEV A 230 KV | L500.Conastone-PeachBottom.5012 | 2000 | -396.09
22MAR26:20:10:00 | 22MAR26:20:15:00 | BURNHAM-MUNSTER2 NIP TIE A 345 KV | L765.Dumont-WiltonCenter.11215 | 1000 | -1000
22MAR26:20:10:00 | 22MAR26:20:15:00 | ALTAVSTA TX3 XFORMER H 138 KV | 138/115.Altavista.T4 | 2000 | -2000
22MAR26:20:10:00 | 22MAR26:20:15:00 | 94 HAURD-11323 11323 A 138 KV | L345.Nelson-ElectricJct.15502 | 2000 | -137.71
22MAR26:20:10:00 | 22MAR26:20:15:00 | 74 KEWAN B1Z5 DIS 138 KV | L138.Corbin-CrescentRidge.98105 | 2000 | -92.61