## Setup
Enter Stakeholder Committee Name in cell A2:
Market Implementation Committee
Enter issue title (use title from Issue Tracking if applicable) in cell A5:
Market Suspension

## 1. Interest Identification
Market Implementation Committee
Market Suspension
Interest Identification
Instructions: List interests of all parties on this page.
1 | Determine Market clearing prices are consistent with to match system conditions as close as possible based on available data during a market suspension
2 | Provide stakeholders with transparency into the process for determining clearing prices during market suspension
3 | Determine competitive Market clearing prices are competetive and consistent with system conditions
4 | Define competitive offers under emergency conditions
5 | Determine competitive Reserve clearing prices are competetive during an emergency
6 | Calculate the prices as accurately as possible
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23

## 2. Options Matrix- Design Comp.
Market Implementation Committee
Market Suspension
OPTIONS MATRIX
Solution Options2
# | Category | Design Components1 | Priority | Status Quo | A - PJM | B | C | D | E
* |  | Implementation
1 | Markets | Definition of Market Suspension | High | For Day-Ahead: Inability to clear DA market by 11:59pm the day before the affected operating day due to extraordinary circumstances Defined in Tariff section 1.10.8(d) For Real-Time: N/A No Tariff / OA provisions | For Day-Ahead: Status Quo, as currently defined in Tariff section 1.10.8(d) For Real-Time: Inability by Dispatch to provide Markets with Economic (Zonal) Dispatch results where at least a total of seven 5-minute intervals are missing within a market hour. (Note: if less than 7 intervals have no dispatch rates then the hourly integrated value would be determined by the average of the remaining intervals for which there is data and that hour would NOT be considered a market suspension hour) Add provisions to Tariff / OA
1* | Markets | Consider defining different tiers of market suspensions |  | N/A
2 | Markets | Determination of DA clearing prices during market suspension | High | No scheduled MW quantities or prices will be made for the DA energy market, as they will be based on RT quantities and prices for settlement purposes. | Status Quo
3 | Markets | Determination of RT clearing prices during market suspension | High | N/A | Less than or equal to 6 hours, average the preceding hour and subsequent hour interval prices, where at least six 5-minute intervals are available within the prevailing market hour. If greater than 6 hours, use DA market clearing prices for the market hours corresponding to the RT market disruptions. If DA & RT is unavailable, make resources whole to the lesser of their actual MW or Dispatch MW and the lesser of their cost-based or price-based offer.
4 | Markets | Determination of Regulation clearing prices during market suspension | High | N/A | Less than or equal to 6 hours, average the preceding hour and subsequent hour interval prices, where at least six 5-minute intervals are available within the prevailing market hour. If greater than 6 hours, make resources whole to their actual MW and PJM will determine Lost Opportunity Cost based on best available data.
5 | Markets | Determination of Reserves clearing prices during market suspension | High | N/A | Less than or equal to 6 hours, average the preceding hour and subsequent hour interval prices, where at least six 5-minute intervals are available within the prevailing market hour. If greater than 6 hours, make resources whole to their actual MW and PJM will determine Lost Opportunity Cost based on best available data.
6 | Markets | Notification of the occurrence of a market suspension (communication of market suspension to members/participants) | High | N/A | Post/Alert market suspension as emergency procedure, include timing and/or duration.
7 | Markets | Determination of relevant offers | High | N/A | If Markets Gateway is down, utilize last available offers (if members cannot update offers during market suspension).
8 | Markets | Make-Whole / Settlements | High | N/A | Resources will be made whole to lesser of their Dispatch MW or their Actual MW and PJM will determine LOC based on best available data
9 | Markets | Treatment of FTR Settlements during Market Suspension | High | If no DA, use RT | If no DA or RT less than or equal to 6 hours, average the preceding hour and subsequent hour interval prices, where at least six 5-minute intervals are available within the prevailing market hour. If no DA or RT greater than 6 hours, zero value (no congestion LMPs). | If no DA or RT less than or equal to 6 hours, average the preceding hour and subsequent hour interval prices, where at least six 5-minute intervals are available within the prevailing market hour. If no DA or RT greater than 6 hours, use the latest FTR Auction Clearing Price.
Instructions:
*Implementation should consider timing for both PJM and stakeholders (added as standard component based on Stakeholder feedback- 2015)
1Design Components - each is an "attibute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Design Component Details" tab (2a).
3. Using informal feedback from the participants, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Option Details" tab 2b.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package", to be documented in tab 3, "Packages Matrix".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.

## 2aa. Options Matrix-Design Comp
Market Implementation Committee
Market Suspension
OPTIONS MATRIX
Solution Options2
# | Category | Design Components1 | Priority | Status Quo | A | B | C | D | E
1 | Markets | Resource compensation general construct paradigm for longer-term Market Suspensions | High | N/A | Include an adder above short-run marginal costs represented from cost-based offers for Market Suspensions lasting longer than one week | Dispatch Lambda approach (split-cost savings method). Can construct from highest price in zone to determine a system lambda.
2 | Markets | Timeframe where additional mechanism kicks in | High | N/A | Greater than 24 hours
3 | Markets | Capital Recovery Adder |  |  | 1. Calculate E&AS annual revenues on a 1 MW basis for reference unit used in setting RPM NetCONE 2. Divide part 1 by expected annual run hours to determine $/MWH by unit type
4 | Markets | Adder Unit Type Delineation |  |  | Same as types identified in MOPR. Each type will have a different adder.
5 | Markets | Cost Adder |  | N/A | Same as in fuel cost policies for avoidable cost (RT pricing fuel. None when using actual costs. Whatever FERC or regulatory agency decides if part of an order, etc.
6 | Markets | Day ahead & Real-Time constructs |  |  | No day-ahead. Just real-time
7 | Markets | Market Clearing Mechanism |  |  | Clearing at the TO zonal level based on highest priced resource committed and run by PJM.
8 | Markets | Clearing interval |  |  | 1 hour day-ahead 1 hour real-time
9 | Markets | Uplift terms |  |  | Resources made whole to higher of offer or clearing price
10 | Markets | Offer types |  |  | cost based & price based.
11 | Markets | Market Mitigation
12 | Markets | Ancillary Services
13 | Markets | Cost -based offer when fuel pricing subpar |  |  | Use avoidable fuel costs when available like today's fuel cost policies. When real-time fuel pricing info unavailable, allocate fuel costs purchased across time at different hub and delivery punts by _____????
14 | Markets | Sub region application of Suspension |  |  | Yes. If part of PJM can run on PJM markets software and part cannot, the part that can should.
Instructions:
*Implementation should consider timing for both PJM and stakeholders (added as standard component based on Stakeholder feedback- 2015)
1Design Components - each is an "attribute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Design Component Details" tab (2a).
3. Using informal feedback from the participants, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Option Details" tab 2b.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package", to be documented in tab 3, "Packages Matrix".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.

## 2a. Design Component Details
Market Implementation Committee
Market Suspension
Instructions: Complete this form as needed. Design components should be populated from the Options Matrix.
Design Component | Detailed Description

## 2b. Option Details
Market Implementation Committee
Market Suspension
SOLUTION OPTION DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of options than the Options Matrix allows.
Cell # | Detailed Description

## 3. Package Matrix
Market Implementation Committee
Market Suspension
PACKAGE/ PROPOSAL MATRIX
Packages
# | Category | Design Components | Priority | Status Quo | A - PJM | B | C | D | E
1 | Markets | Definition of Market Suspension | High | For Day-Ahead: Inability to clear DA market by 11:59pm the day before the affected operating day due to extraordinary circumstances Defined in Tariff section 1.10.8(d) For Real-Time: N/A No Tariff / OA provisions | For Day-Ahead: Status Quo, as currently defined in Tariff section 1.10.8(d) For Real-Time: Inability by Dispatch to provide Markets with Economic (Zonal) Dispatch results where at least a total of seven 5-minute intervals are missing within a market hour. (Note: if less than 7 intervals have no dispatch rates then the hourly integrated value would be determined by the average of the remaining intervals for which there is data and that hour would NOT be considered a market suspension hour) Add provisions to Tariff / OA
2 | Markets | Determination of DA clearing prices during market suspension | High | No scheduled MW quantities or prices will be made for the DA energy market, as they will be based on RT quantities and prices for settlement purposes. | Status Quo
3 | Markets | Determination of RT clearing prices during market suspension | High | N/A | Less than or equal to 6 hours, average the preceding hour and subsequent hour interval prices, where at least six 5-minute intervals are available within the prevailing market hour. If greater than 6 hours, use DA market clearing prices for the market hours corresponding to the RT market disruptions. If DA & RT is unavailable, make resources whole to the lesser of their actual MW or Dispatch MW and the lesser of their cost-based or price-based offer.
4 | Markets | Determination of Regulation clearing prices during market suspension | High | N/A | Less than or equal to 6 hours, average the preceding hour and subsequent hour interval prices, where at least six 5-minute intervals are available within the prevailing market hour. If greater than 6 hours, make resources whole to their actual MW and PJM will determine Lost Opportunity Cost based on best available data.
5 | Markets | Determination of Reserves clearing prices during market suspension | High | N/A | Less than or equal to 6 hours, average the preceding hour and subsequent hour interval prices, where at least six 5-minute intervals are available within the prevailing market hour. If greater than 6 hours, make resources whole to their actual MW and PJM will determine Lost Opportunity Cost based on best available data.
6 | Markets | Notification of the occurrence of a market suspension (communication of market suspension to members/participants) | High | N/A | Post/Alert market suspension as emergency procedure, include timing and/or duration.
7 | Markets | Determination of relevant offers | High | N/A | If Markets Gateway is down, utilize last available offers (if members cannot update offers during market suspension).
8 | Markets | Make-Whole / Settlements | High | N/A | Resources will be made whole to lesser of their Dispatch MW or their Actual MW and PJM will determine LOC based on best available data
9 | Markets | Treatment of FTR Settlements during Market Suspension | High | If no DA, use RT | If no DA or RT less than or equal to 6 hours, average the preceding hour and subsequent hour interval prices, where at least six 5-minute intervals are available within the prevailing market hour. If no DA or RT greater than 6 hours, zero value (no congestion LMPs). |  |  |  |  | Low
Low - Medium
Low - High
Medium
Medium - High
High
Instructions:
1. Copy over design component, priority, and status quo columns from options matrix
2. Complete individual packages in columns by selecting individual component options from the options matrix.

## 3a. Package Details
Market Implementation Committee
Market Suspension
PACKAGE / PROPOSAL DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of package components than the Package Matrix allows.
Package Solutions2
| A | B | C | D | E
1 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
2 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
3 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
4 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
5 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>

## Parking Lot
Market Implementation Committee
Market Suspension
PARKING LOT
Instructions: Use this space to document any items not specific to another topic area.
Description

## Revision History
Market Implementation Committee
Market Suspension
Revision History
Current Spreadsheet Version:
Instructions: Document all version changes to this matrix for easy identification of changes.
Version | Posting Date | Description of changes
1 | 2020-10-26 | Initial Matrix pre-populated with PJM interests
2 | 2020-11-12 | Updated Interests
3 | 2021-01-12 | Updated Solution Option A for design components "Determination of Regulation clearing prices during market suspension" and "Determination of Reserves clearing prices during market suspension"
4 | 2021-02-10 | Updated the Solution Options for the following Design Components: Definition of Market Suspension Determination of RT clearing prices during market suspension Determination of Regulation clearing prices during market suspension Determination of Reserves clearing prices during market suspension Added new Design Component/Solution Option: Make-Whole / Settlements
5 | 2021-03-10 | Updated Solution Option A for the following Design Components: Determination of RT clearing prices during market suspension Determination of Regulation clearing prices during market suspension Determination of Reserves clearing prices during market suspension Make-Whole / Settlements Treatment of FTR Settlements during Market Suspension Created Solution Option B, C and D for the following Design Components: Determination of RT clearing prices during market suspension Determination of Regulation clearing prices during market suspension Determination of Reserves clearing prices during market suspension Treatment of FTR Settlements during Market Suspension