## Net CONE
Net CONE Sensitivity Analysis
| Price |  |  | Reliability |  |  |  |  | Cost
| Average | Standard Deviation | Frequency at Cap | Average LOLE | Average Excess (Deficit) | Average Excess (Deficit) | Frequency Below Target | Frequency Below IRM - 1% | Average Procurement Cost
| ($/MW-d) | ($/MW-d) | (%) | (events/yr) | (MW) | (IRM + X %) | (%) | (%) | ($ mln/yr)
Candidate Curve
True Net CONE = 0.6 x CC | 160.1999 | 56.9756 | 0% | 0.043122 | 2860.6958 | 2.486% | 0% | 0% | 7939.1389
True Net CONE = CC | 266.9947 | 84.9862 | 2.7% | 0.073416 | 1221.0939 | 1.08% | 10.9% | 3.3% | 13103.592
True Net CONE = CT | 325.9986 | 94.4388 | 9.8% | 0.097876 | 388.2741 | 0.3659% | 31% | 11.5% | 15888.5163
True Net CONE = 1.4 x CC | 373.799 | 93.9942 | 21.2% | 0.12814 | -393.3302 | -0.3038% | 50% | 24.8% | 18092.2833
Current Curve, CT
True Net CONE = 0.6 x CC | 160.1999 | 52.4396 | 0% | 0.02595 | 4547.6672 | 3.951% | 0% | 0% | 8029.0124
True Net CONE = CC | 266.9948 | 74.2305 | 1.5% | 0.058581 | 2025.6972 | 1.782% | 7.5% | 2% | 13169.2114
True Net CONE = CT | 325.9989 | 85.9065 | 7.8% | 0.085078 | 921.8472 | 0.8325% | 23.2% | 9% | 15941.0756
True Net CONE = 1.4 x CC | 373.7999 | 86.6888 | 17.9% | 0.11713 | -25.1563 | 0.01846% | 43.2% | 20% | 18133.2355
Current Curve, CC
True Net CONE = 0.6 x CC | 160.1995 | 51.6873 | 0% | 0.034409 | 3715.9313 | 3.232% | 0% | 0% | 7978.3374
True Net CONE = CC | 266.9941 | 80.7659 | 2.1% | 0.06945 | 1430.7198 | 1.264% | 10% | 2.9% | 13118.6418
True Net CONE = CT | 325.999 | 91.97 | 9.3% | 0.094899 | 509.9359 | 0.4726% | 28.8% | 10.8% | 15899.5898
True Net CONE = 1.4 x CC | 373.7993 | 92.0217 | 19.6% | 0.12581 | -317.5973 | -0.2374% | 48.4% | 24.4% | 18100.0204
Alternative 1
True Net CONE = 0.6 x CC | 160.2 | 65.2568 | 0% | 0.054068 | 2032.3088 | 1.762% | 0% | 0% | 7908.6967
True Net CONE = CC | 266.9975 | 98.6513 | 5.7% | 0.070531 | 1280.2163 | 1.123% | 5.7% | 2.6% | 13131.9277
True Net CONE = CT | 325.9958 | 106.706 | 15.1% | 0.086793 | 732.234 | 0.6573% | 15.1% | 8.2% | 15949.16
True Net CONE = 1.4 x CC | 373.7984 | 105.0076 | 29.3% | 0.10835 | 141.3353 | 0.1541% | 29.3% | 16.9% | 18182.3542
Alternative 2
True Net CONE = 0.6 x CC | 160.2 | 57.3936 | 0% | 0.040189 | 3077.3847 | 2.674% | 0% | 0% | 7952.5833
True Net CONE = CC | 266.9975 | 91.689 | 5.2% | 0.065532 | 1566.3148 | 1.376% | 5.2% | 2.1% | 13145.6824
True Net CONE = CT | 325.999 | 103.2694 | 14.3% | 0.084019 | 866.9834 | 0.777% | 14.3% | 7.6% | 15957.7548
True Net CONE = 1.4 x CC | 373.7987 | 103.0967 | 28.8% | 0.10666 | 208.105 | 0.2134% | 28.8% | 16.4% | 18187.3539
Alternative 3
True Net CONE = 0.6 x CC | 160.2 | 55.9185 | 0% | 0.061109 | 1789.1188 | 1.561% | 2.3% | 0% | 7873.271
True Net CONE = CC | 266.9972 | 91.3435 | 5.1% | 0.09832 | 219.9244 | 0.2113% | 38.2% | 6.5% | 13012.088
True Net CONE = CT | 325.9992 | 102.9723 | 14.3% | 0.12424 | -471.1566 | -0.3808% | 63.5% | 16.7% | 15795.6496
True Net CONE = 1.4 x CC | 373.7986 | 102.777 | 28.9% | 0.15575 | -1125.7262 | -0.9409% | 79.5% | 33.8% | 18002.9284
Alternative 4
True Net CONE = 0.6 x CC | 160.1999 | 54.2866 | 0% | 0.050957 | 2397.4292 | 2.088% | 1.7% | 0% | 7906.7535
True Net CONE = CC | 266.9958 | 86.0573 | 4.8% | 0.093062 | 439.6275 | 0.405% | 36.3% | 6% | 13025.4807
True Net CONE = CT | 325.9996 | 99.7581 | 13.8% | 0.1212 | -364.7826 | -0.2868% | 62.5% | 15.9% | 15802.6812
True Net CONE = 1.4 x CC | 373.7987 | 101.0755 | 28.4% | 0.15377 | -1068.2517 | -0.8901% | 79.2% | 33.5% | 18007.5375
Pink Curve
True Net CONE = 0.6 x CC | 160.2 | 65.0543 | 0% | 0.077789 | 876.3352 | 0.7625% | 1.5% | 0% | 7839.7858
True Net CONE = CC | 266.9972 | 98.2591 | 5.6% | 0.099802 | 126.2241 | 0.1248% | 29.5% | 5.6% | 13017.0493
True Net CONE = CT | 325.9961 | 106.4502 | 14.8% | 0.12146 | -417.449 | -0.3374% | 52.2% | 14.8% | 15810.1468
True Net CONE = 1.4 x CC | 373.7984 | 104.7341 | 29.1% | 0.14993 | -1003.3117 | -0.8365% | 70.6% | 29.1% | 18024.2019
IMM Curve
True Net CONE = 0.6 x CC | 160.1999 | 59.4611 | 0% | 0.051625 | 2245.9844 | 1.952% | 0% | 0% | 7908.4395
True Net CONE = CC | 267 | 87.8447 | 3.8% | 0.081131 | 872.3116 | 0.7764% | 14.5% | 4.3% | 13072.9967
True Net CONE = CT | 325.9992 | 96.9316 | 11.8% | 0.10675 | 85.275 | 0.103% | 37% | 12.7% | 15854.8062
True Net CONE = 1.4 x CC | 373.7991 | 96.3436 | 25.6% | 0.13846 | -665.4482 | -0.5394% | 55.7% | 28% | 18057.017

## Variability
Sensitivity Analysis of Supply and Demand Variability
Measured After the BRA
| Price |  |  | Reliability |  |  |  |  | Cost
| Average | Standard Deviation | Frequency at Cap | Average LOLE | Average Excess (Deficit) | Average Excess (Deficit) | Frequency Below Target | Frequency Below IRM - 1% | Average Procurement Cost
| ($/MW-d) | ($/MW-d) | (%) | (events/yr) | (MW) | (IRM + X %) | (%) | (%) | ($ mln/yr)
Candidate Curve
33% Smaller Variability | 266.9938 | 68.0334 | 0.6% | 0.071324 | 1229.9081 | 1.074% | 7.2% | 0.9% | 13065.8085
Base | 266.9947 | 84.9862 | 2.7% | 0.073416 | 1221.0939 | 1.08% | 10.9% | 3.3% | 13103.592
33% Larger Variability | 266.9988 | 98.5179 | 5.6% | 0.077519 | 1183.115 | 1.065% | 14.4% | 6.3% | 13146.6442
Current Curve, CT
33% Smaller Variability | 266.9938 | 57.9702 | 0.1% | 0.056374 | 2030.1466 | 1.769% | 3.8% | 0.3% | 13135.6311
Base | 266.9948 | 74.2305 | 1.5% | 0.058581 | 2025.6972 | 1.782% | 7.5% | 2% | 13169.2114
33% Larger Variability | 266.9982 | 88.2863 | 3.9% | 0.061756 | 2039.851 | 1.817% | 10.1% | 4.5% | 13211.1792
Current Curve, CC
33% Smaller Variability | 266.9961 | 64.9068 | 0.4% | 0.067785 | 1410.413 | 1.232% | 6.8% | 0.6% | 13080.8191
Base | 266.9941 | 80.7659 | 2.1% | 0.06945 | 1430.7198 | 1.264% | 10% | 2.9% | 13118.6418
33% Larger Variability | 266.9986 | 94.509 | 5.1% | 0.072808 | 1442.2459 | 1.294% | 12.9% | 6.1% | 13162.6475
Alternative 1
33% Smaller Variability | 266.995 | 82.065 | 2.6% | 0.067904 | 1344.305 | 1.169% | 2.6% | 0.6% | 13090.2924
Base | 266.9975 | 98.6513 | 5.7% | 0.070531 | 1280.2163 | 1.123% | 5.7% | 2.6% | 13131.9277
33% Larger Variability | 266.9999 | 111.8237 | 9.2% | 0.075207 | 1181.3966 | 1.051% | 9.2% | 5.6% | 13177.3615
Alternative 2
33% Smaller Variability | 266.9981 | 75.2463 | 2.3% | 0.063881 | 1568.1581 | 1.366% | 2.3% | 0.3% | 13103.6834
Base | 266.9975 | 91.689 | 5.2% | 0.065532 | 1566.3148 | 1.376% | 5.2% | 2.1% | 13145.6824
33% Larger Variability | 266.9992 | 104.7942 | 8.6% | 0.068888 | 1539.6015 | 1.371% | 8.6% | 5.1% | 13192.8158
Alternative 3
33% Smaller Variability | 266.997 | 74.8669 | 2.3% | 0.095892 | 227.2218 | 0.2057% | 38.7% | 2.7% | 12971.8002
Base | 266.9972 | 91.3435 | 5.1% | 0.09832 | 219.9244 | 0.2113% | 38.2% | 6.5% | 13012.088
33% Larger Variability | 266.9996 | 104.55 | 8.6% | 0.10274 | 198.8732 | 0.2107% | 37.7% | 9.3% | 13058.1741
Alternative 4
33% Smaller Variability | 266.9948 | 69.7537 | 1.8% | 0.091334 | 416.1305 | 0.371% | 36.4% | 2.3% | 12984.7806
Base | 266.9958 | 86.0573 | 4.8% | 0.093062 | 439.6275 | 0.405% | 36.3% | 6% | 13025.4807
33% Larger Variability | 266.9975 | 99.9444 | 7.7% | 0.096709 | 451.8778 | 0.4347% | 36% | 9.1% | 13071.8581
Pink Curve
33% Smaller Variability | 266.9998 | 81.8053 | 2.6% | 0.096095 | 195.605 | 0.1758% | 26.5% | 2.6% | 12977.2708
Base | 266.9972 | 98.2591 | 5.6% | 0.099802 | 126.2241 | 0.1248% | 29.5% | 5.6% | 13017.0493
33% Larger Variability | 266.9998 | 111.595 | 9.2% | 0.10592 | 29.1571 | 0.05437% | 31.1% | 9.2% | 13061.5729
IMM Curve
33% Smaller Variability | 266.9967 | 70.4138 | 1.1% | 0.079034 | 882.144 | 0.7729% | 11.4% | 1.3% | 13033.8807
Base | 267 | 87.8447 | 3.8% | 0.081131 | 872.3116 | 0.7764% | 14.5% | 4.3% | 13072.9967
33% Larger Variability | 266.9973 | 101.4032 | 6.4% | 0.085779 | 819.8913 | 0.7484% | 18.2% | 6.9% | 13116.1439

## Supply Curve
Sensitivity Analysis of Supply Curve Shape
Measured After the BRA
| Price |  |  | Reliability |  |  |  |  | Cost
| Average | Standard Deviation | Frequency at Cap | Average LOLE | Average Excess (Deficit) | Average Excess (Deficit) | Frequency Below Target | Frequency Below IRM - 1% | Average Procurement Cost
| ($/MW-d) | ($/MW-d) | (%) | (events/yr) | (MW) | (IRM + X %) | (%) | (%) | ($ mln/yr)
Candidate Curve
Pre-CP Supply Curves | 266.9999 | 91.4731 | 2.8% | 0.073542 | 1245.7302 | 1.103% | 12% | 3.3% | 13108.647
Base | 266.9947 | 84.9862 | 2.7% | 0.073416 | 1221.0939 | 1.08% | 10.9% | 3.3% | 13103.592
CP Supply Curves | 266.9981 | 66.8694 | 1.4% | 0.071249 | 1230.5756 | 1.079% | 8.4% | 1.7% | 13089.8856
Current Curve, CT
Pre-CP Supply Curves | 266.9997 | 79.7279 | 1.8% | 0.05851 | 2079.886 | 1.832% | 8.7% | 2.3% | 13174.7059
Base | 266.9948 | 74.2305 | 1.5% | 0.058581 | 2025.6972 | 1.782% | 7.5% | 2% | 13169.2114
CP Supply Curves | 266.9981 | 60.0348 | 0.5% | 0.056996 | 1998.1759 | 1.748% | 4.8% | 0.8% | 13156.1759
Current Curve, CC
Pre-CP Supply Curves | 266.9998 | 86.8842 | 2.4% | 0.069301 | 1478.6168 | 1.308% | 11.3% | 2.8% | 13124.2704
Base | 266.9941 | 80.7659 | 2.1% | 0.06945 | 1430.7198 | 1.264% | 10% | 2.9% | 13118.6418
CP Supply Curves | 266.9994 | 65.1308 | 1.3% | 0.067934 | 1400.8515 | 1.228% | 8% | 1.5% | 13103.9833
Alternative 1
Pre-CP Supply Curves | 266.9999 | 108.7681 | 6.7% | 0.070965 | 1275.4745 | 1.121% | 6.7% | 2.8% | 13138.8695
Base | 266.9975 | 98.6513 | 5.7% | 0.070531 | 1280.2163 | 1.123% | 5.7% | 2.6% | 13131.9277
CP Supply Curves | 266.9989 | 74.887 | 3.4% | 0.068155 | 1337.9014 | 1.167% | 3.4% | 1.3% | 13112.8795
Alternative 2
Pre-CP Supply Curves | 266.9989 | 99.2551 | 5.8% | 0.065081 | 1616.8365 | 1.422% | 5.8% | 2.4% | 13154.5569
Base | 266.9975 | 91.689 | 5.2% | 0.065532 | 1566.3148 | 1.376% | 5.2% | 2.1% | 13145.6824
CP Supply Curves | 266.9969 | 72.4522 | 3.4% | 0.064969 | 1513.1311 | 1.321% | 3.4% | 1% | 13123.4611
Alternative 3
Pre-CP Supply Curves | 266.9993 | 99.0095 | 5.9% | 0.097887 | 262.3434 | 0.2503% | 42.7% | 7.1% | 13020.2056
Base | 266.9971 | 91.3424 | 5.1% | 0.098327 | 219.7175 | 0.2112% | 38.2% | 6.5% | 13012.0597
CP Supply Curves | 266.9997 | 72.2586 | 3.4% | 0.097299 | 176.4004 | 0.1654% | 32.5% | 4.1% | 12991.4442
Alternative 4
Pre-CP Supply Curves | 266.9997 | 92.8916 | 5% | 0.092066 | 511.4968 | 0.4697% | 40.6% | 6.1% | 13035.1996
Base | 266.9959 | 86.0565 | 4.8% | 0.09306 | 439.6697 | 0.405% | 36.3% | 6% | 13025.4891
CP Supply Curves | 266.9991 | 69.638 | 3% | 0.092674 | 366.578 | 0.3324% | 31.3% | 3.8% | 13004.8413
Pink Curve
Pre-CP Supply Curves | 266.9997 | 108.4504 | 6.5% | 0.10038 | 123.1636 | 0.1238% | 32% | 6.5% | 13024.1039
Base | 266.9967 | 98.242 | 5.6% | 0.099823 | 125.623 | 0.1243% | 29.5% | 5.6% | 13016.9515
CP Supply Curves | 266.9999 | 74.8428 | 3.4% | 0.096693 | 180.0334 | 0.1657% | 21.2% | 3.4% | 12998.4171
IMM Curve
Pre-CP Supply Curves | 266.9998 | 94.5846 | 4.1% | 0.081663 | 880.3845 | 0.7856% | 17.2% | 4.4% | 13077.4348
Base | 267 | 87.8447 | 3.8% | 0.081131 | 872.3116 | 0.7764% | 14.5% | 4.3% | 13072.9967
CP Supply Curves | 266.9998 | 68.8264 | 1.8% | 0.079316 | 869.9757 | 0.7666% | 9.7% | 2.6% | 13056.697

## Load Forecast Bias
Sensitivity Analysis of Load Forecast Bias
| Measured after the BRA |  |  |  | Measured After the Final Incremental Auction
| Average LOLE | Average Excess (Deficit) | Average Excess (Deficit) | Frequency Below Target | Average LOLE | Average Excess (Deficit) | Average Excess (Deficit) | Frequency Below Target
| (events/yr) | (MW) | (IRM + X %) | (%) | (events/yr) | (MW) | (IRM + X %) | (%)
Candidate Curve
Over-forecast bias = 4% | 0.073416 | 1221.0939 | 1.08% | 10.9% | 0.032674 | 3828.0012 | 3.49% | 1.3%
Over-forecast bias = 2% | 0.073416 | 1221.0939 | 1.08% | 10.9% | 0.049864 | 2559.8371 | 2.298% | 4%
Base | 0.073416 | 1221.0939 | 1.08% | 10.9% | 0.071269 | 1459.0084 | 1.299% | 11.9%
Under-forecast bias = -2% | 0.073416 | 1221.0939 | 1.08% | 10.9% | 0.10971 | 281.9962 | 0.2867% | 34.2%
Current Curve, CT
Over-forecast bias = 4% | 0.058581 | 2025.6972 | 1.782% | 7.5% | 0.025555 | 4632.6045 | 4.221% | 1.2%
Over-forecast bias = 2% | 0.058581 | 2025.6972 | 1.782% | 7.5% | 0.039529 | 3361.144 | 3.011% | 2.5%
Base | 0.058581 | 2025.6972 | 1.782% | 7.5% | 0.057183 | 2254.3758 | 1.993% | 7.9%
Under-forecast bias = -2% | 0.058581 | 2025.6972 | 1.782% | 7.5% | 0.089639 | 1065.0788 | 0.956% | 24.8%
Current Curve, CC
Over-forecast bias = 4% | 0.06945 | 1430.7198 | 1.264% | 10% | 0.030746 | 4037.6271 | 3.681% | 1.3%
Over-forecast bias = 2% | 0.06945 | 1430.7198 | 1.264% | 10% | 0.04709 | 2768.7584 | 2.484% | 3.8%
Base | 0.06945 | 1430.7198 | 1.264% | 10% | 0.067501 | 1665.1568 | 1.479% | 10.3%
Under-forecast bias = -2% | 0.06945 | 1430.7198 | 1.264% | 10% | 0.10436 | 483.9 | 0.46% | 31.8%
Alternative 1
Over-forecast bias = 4% | 0.070531 | 1280.2163 | 1.123% | 5.7% | 0.031153 | 3887.1236 | 3.535% | 1.2%
Over-forecast bias = 2% | 0.070531 | 1280.2163 | 1.123% | 5.7% | 0.047835 | 2615.0401 | 2.339% | 3%
Base | 0.070531 | 1280.2163 | 1.123% | 5.7% | 0.068393 | 1519.8455 | 1.344% | 9.1%
Under-forecast bias = -2% | 0.070531 | 1280.2163 | 1.123% | 5.7% | 0.10471 | 361.7267 | 0.3476% | 30.9%
Alternative 2
Over-forecast bias = 4% | 0.065532 | 1566.3148 | 1.376% | 5.2% | 0.028778 | 4173.2221 | 3.798% | 1.2%
Over-forecast bias = 2% | 0.065532 | 1566.3148 | 1.376% | 5.2% | 0.044387 | 2900.714 | 2.596% | 2.6%
Base | 0.065532 | 1566.3148 | 1.376% | 5.2% | 0.063778 | 1799.6842 | 1.592% | 8.4%
Under-forecast bias = -2% | 0.065532 | 1566.3148 | 1.376% | 5.2% | 0.098419 | 635.6231 | 0.5847% | 28.6%
Alternative 3
Over-forecast bias = 4% | 0.098327 | 219.7175 | 0.2112% | 38.2% | 0.045137 | 2827.4401 | 2.586% | 3.4%
Over-forecast bias = 2% | 0.098327 | 219.7175 | 0.2112% | 38.2% | 0.067546 | 1568.1756 | 1.42% | 9.2%
Base | 0.098327 | 219.7175 | 0.2112% | 38.2% | 0.094183 | 494.8495 | 0.4618% | 22.3%
Under-forecast bias = -2% | 0.098327 | 219.7175 | 0.2112% | 38.2% | 0.14231 | -682.4827 | -0.5336% | 47.5%
Alternative 4
Over-forecast bias = 4% | 0.09306 | 439.6697 | 0.405% | 36.3% | 0.042525 | 3047.2329 | 2.788% | 2.9%
Over-forecast bias = 2% | 0.09306 | 439.6697 | 0.405% | 36.3% | 0.063801 | 1787.3336 | 1.617% | 8.7%
Base | 0.09306 | 439.6697 | 0.405% | 36.3% | 0.089311 | 708.2568 | 0.6498% | 21.2%
Under-forecast bias = -2% | 0.09306 | 439.6697 | 0.405% | 36.3% | 0.13564 | -473.5709 | -0.3534% | 44.7%
Pink Curve
Over-forecast bias = 4% | 0.099802 | 126.2241 | 0.1248% | 29.5% | 0.045774 | 2733.7287 | 2.496% | 3.3%
Over-forecast bias = 2% | 0.099802 | 126.2241 | 0.1248% | 29.5% | 0.068647 | 1471.1648 | 1.329% | 8.3%
Base | 0.099802 | 126.2241 | 0.1248% | 29.5% | 0.095801 | 393.4079 | 0.3691% | 21.4%
Under-forecast bias = -2% | 0.099802 | 126.2241 | 0.1248% | 29.5% | 0.14388 | -775.4219 | -0.617% | 47.5%
IMM Curve
Over-forecast bias = 4% | 0.081131 | 872.3116 | 0.7764% | 14.5% | 0.036468 | 3479.2189 | 3.174% | 2.1%
Over-forecast bias = 2% | 0.081131 | 872.3116 | 0.7764% | 14.5% | 0.055338 | 2212.4205 | 1.989% | 5.6%
Base | 0.081131 | 872.3116 | 0.7764% | 14.5% | 0.078484 | 1118.883 | 1.003% | 14.3%
Under-forecast bias = -2% | 0.081131 | 872.3116 | 0.7764% | 14.5% | 0.11986 | -54.105 | 9.227e-05% | 37.5%