## Summary
Scenario | Description | Step 1 | Step 2 | Step 3 | Energy Revenues | Uplift | Offer | Net Revenue
1.a | Out of the money - Not Following | 15250 | 20000 | 15250 | 29000 | 15250 | 49000 | -4750
1.b | Late Reaction - Followed Signal After | 15250 | 16225 | 15250 | 19400 | 15250 | 35625 | -975
1.c | Late Reaction - Followed TRLD then Signal | 15250 | 15883.3333 | 15250 | 18075 | 15250 | 33958.3333 | -633.3333
2.a | In the money - Not Following | 12233.3333 | 13500 | 12233.3333 | 35500 | 12233.3333 | 49000 | -1266.6667
2.b | Late Reaction - Followed Signal After | 12233.3333 | 12608.3333 | 12233.3333 | 31850 | 12233.3333 | 44458.3333 | -375
2.c | Late Reaction - Followed TRLD then Signal | 12233.3333 | 12866.6667 | 12233.3333 | 30300 | 12233.3333 | 43166.6667 | -633.3333
Summary:
Scenarios 1 show the different outcomes of not following dispatch and the unit is mostly noneconomic (LMPs < Offer).
Scenarios 2 show the different outcomes of not following dispatch and the unit is mostly economic (LMPs > Offer).
Scenario 1.c shows that following TRLD instead of the dispatch signal results in lower losses, that is the result of the unit being out of the money most of the time.
Scenario 2.c shows that following TRLD instead of the dispatch signal results in higher losses, that is the result of the unit being in the money most of the time.
Conclusion: Following TRLD does not result in guaranteed higher net revenues (or lower losses). Following expected market conditions and having those conditions pan out or not is the cause for higher net revenues. Operation will result in higher net revenues if expected conditions are realized. Operation will result in lower net revenues if expected conditions are not realized.

## Scenario 1.a
| MW | [5 empty] | $/MWh
Min | 50 |  | Start Cost | 5000 |  | Low LMP | 60
Max | 100 |  | No Load Cost | 1000 |  | High LMP | 120
Minute | Actual Generation | Dispatch Signal | Ramp Limited Desired | Tracking Ramp Limited Desired | LMP Desired | LMP ($/MWh) | Offer ($/MWh) | Ramp Rate (MW/min) | Deviations (%) | Deviations (MWh) | RT MW Used | LMP Revenues | Incremental Offer | No Load Offer | Start Offer | Incremental Offer
0 | 100 | 100 | 100 | 100 | 50 | 60 | 100 | 1
5 | 100 | 95 | 97.5 | 95 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 | 5000 | 791.6667
10 | 100 | 95 | 97.5 | 90 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 750
15 | 100 | 95 | 97.5 | 85 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 708.3333
20 | 100 | 95 | 97.5 | 80 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 666.6667
25 | 100 | 95 | 97.5 | 75 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 625
30 | 100 | 95 | 97.5 | 70 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 583.3333
35 | 100 | 95 | 97.5 | 65 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 541.6667
40 | 100 | 95 | 97.5 | 60 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 500
45 | 100 | 95 | 97.5 | 55 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 458.3333
50 | 100 | 95 | 97.5 | 50 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 416.6667
55 | 100 | 100 | 100 | 55 | 100 | 120 | 100 | 1 | 0% | 0 | 100 | 1000 | 833.3333 | 83.3333 |  | 458.3333
60 | 100 | 100 | 100 | 60 | 100 | 120 | 100 | 1 | 0% | 0 | 100 | 1000 | 833.3333 | 83.3333 |  | 500
65 | 100 | 100 | 100 | 65 | 100 | 120 | 100 | 1 | 0% | 0 | 100 | 1000 | 833.3333 | 83.3333 |  | 541.6667
70 | 100 | 95 | 97.5 | 60 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 500
75 | 100 | 95 | 97.5 | 55 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 458.3333
80 | 100 | 95 | 97.5 | 50 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 416.6667
85 | 100 | 95 | 97.5 | 50 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 416.6667
90 | 100 | 95 | 97.5 | 50 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 416.6667
95 | 100 | 95 | 97.5 | 50 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 416.6667
100 | 100 | 95 | 97.5 | 50 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 416.6667
105 | 100 | 100 | 100 | 55 | 100 | 120 | 100 | 1 | 0% | 0 | 100 | 1000 | 833.3333 | 83.3333 |  | 458.3333
110 | 100 | 100 | 100 | 60 | 100 | 120 | 100 | 1 | 0% | 0 | 100 | 1000 | 833.3333 | 83.3333 |  | 500
115 | 100 | 95 | 97.5 | 55 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 458.3333
120 | 100 | 95 | 97.5 | 50 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 416.6667
125 | 100 | 95 | 97.5 | 50 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 416.6667
130 | 100 | 95 | 97.5 | 50 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 416.6667
135 | 100 | 100 | 100 | 55 | 100 | 120 | 100 | 1 | 0% | 0 | 100 | 1000 | 833.3333 | 83.3333 |  | 458.3333
140 | 100 | 95 | 97.5 | 50 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 416.6667
145 | 100 | 95 | 97.5 | 50 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 416.6667
150 | 100 | 95 | 97.5 | 50 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 416.6667
155 | 100 | 95 | 97.5 | 50 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 416.6667
160 | 100 | 95 | 97.5 | 50 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 416.6667
165 | 100 | 100 | 100 | 55 | 100 | 120 | 100 | 1 | 0% | 0 | 100 | 1000 | 833.3333 | 83.3333 |  | 458.3333
170 | 100 | 100 | 100 | 60 | 100 | 120 | 100 | 1 | 0% | 0 | 100 | 1000 | 833.3333 | 83.3333 |  | 500
175 | 100 | 100 | 100 | 65 | 100 | 120 | 100 | 1 | 0% | 0 | 100 | 1000 | 833.3333 | 83.3333 |  | 541.6667
180 | 100 | 100 | 100 | 70 | 100 | 120 | 100 | 1 | 0% | 0 | 100 | 1000 | 833.3333 | 83.3333 |  | 583.3333
185 | 100 | 95 | 97.5 | 65 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 541.6667
190 | 100 | 95 | 97.5 | 60 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 500
195 | 100 | 95 | 97.5 | 55 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 458.3333
200 | 100 | 95 | 97.5 | 50 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 416.6667
205 | 100 | 95 | 97.5 | 50 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 416.6667
210 | 100 | 95 | 97.5 | 50 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 416.6667
215 | 100 | 95 | 97.5 | 50 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 416.6667
220 | 100 | 95 | 97.5 | 50 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 416.6667
225 | 100 | 95 | 97.5 | 50 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 416.6667
230 | 100 | 95 | 97.5 | 50 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 416.6667
235 | 100 | 95 | 97.5 | 50 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 416.6667
240 | 100 | 95 | 97.5 | 50 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 416.6667
[12 empty] | 29000 | 40000 | 4000 | 5000 | 23125
[12 empty] | Step 1 | Step 2
[11 empty] | Revenues | 16875 | 29000
[11 empty] | Offer | 32125 | 49000
[11 empty] | Uplift | 15250 | 20000
Actual P&L
[11 empty] | Revenues | 29000
[11 empty] | Uplift | 15250
[11 empty] | Offer | 49000
[11 empty] | Net | -4750
Scenario:
Unit fails to follow dispatch throughout the period. The current metric (Ramp Limited Desired MW) is close to the Actual Generation because the unit has a 1 MW/minute ramp rate. The unit can only be dispatched 5 MW every 5 minutes. In this scenario, the Actual Generation is 100 MW, the Dispatch Signal is 95 MW and the Ramp Limited Desired MW is 97.5 MW for most of the period. Because the unit is not deviating by more than 10%, it appears as if the unit is following dispatch, although it is not.
The purple line shows the Tracking Ramp Limited Desired MW. TRLD shows that the unit should be ramping down and reaching Eco Min at minute 50.
The difference between the orange line (Actual Generation) and purple line (Tracking Ramp Limited Desired MW) shows the true deviation amount that the unit created from not following dispatch.
Under status quo the unit would have received uplift based on the Actual Generation ($20,000) while it would have received $15,250 (24% less), if it had followed dispatch.
Under the PJM/IMM proposal, uplift would be limited to $15,250. The amount that the unit would have received if it followed dispatch.

## Scenario 1.b
| MW | [5 empty] | $/MWh
Min | 50 |  | Start Cost | 5000 |  | Low LMP | 60
Max | 100 |  | No Load Cost | 1000 |  | High LMP | 120
Minute | Actual Generation | Dispatch Signal | Ramp Limited Desired | Tracking Ramp Limited Desired | LMP Desired | LMP ($/MWh) | Offer ($/MWh) | Ramp Rate (MW/min) | Deviations (%) | Deviations (MWh) | RT MW Used | LMP Revenues | Incremental Offer | No Load Offer | Start Offer | Incremental Offer
0 | 100 | 100 | 100 | 100 | 50 | 60 | 100 | 1
5 | 100 | 95 | 97.5 | 95 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 | 5000 | 791.6667
10 | 100 | 95 | 97.5 | 90 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 750
15 | 100 | 95 | 97.5 | 85 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 708.3333
20 | 100 | 95 | 97.5 | 80 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 666.6667
25 | 100 | 95 | 97.5 | 75 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 625
30 | 95 | 95 | 95 | 70 | 50 | 60 | 100 | 1 | 0% | 0 | 95 | 475 | 791.6667 | 83.3333 |  | 583.3333
35 | 90 | 90 | 90 | 65 | 50 | 60 | 100 | 1 | 0% | 0 | 90 | 450 | 750 | 83.3333 |  | 541.6667
40 | 85 | 85 | 85 | 60 | 50 | 60 | 100 | 1 | 0% | 0 | 85 | 425 | 708.3333 | 83.3333 |  | 500
45 | 80 | 80 | 80 | 55 | 50 | 60 | 100 | 1 | 0% | 0 | 80 | 400 | 666.6667 | 83.3333 |  | 458.3333
50 | 75 | 75 | 75 | 50 | 50 | 60 | 100 | 1 | 0% | 0 | 75 | 375 | 625 | 83.3333 |  | 416.6667
55 | 80 | 80 | 80 | 55 | 100 | 120 | 100 | 1 | 0% | 0 | 80 | 800 | 666.6667 | 83.3333 |  | 458.3333
60 | 85 | 85 | 85 | 60 | 100 | 120 | 100 | 1 | 0% | 0 | 85 | 850 | 708.3333 | 83.3333 |  | 500
65 | 90 | 90 | 90 | 65 | 100 | 120 | 100 | 1 | 0% | 0 | 90 | 900 | 750 | 83.3333 |  | 541.6667
70 | 85 | 85 | 85 | 60 | 50 | 60 | 100 | 1 | 0% | 0 | 85 | 425 | 708.3333 | 83.3333 |  | 500
75 | 80 | 80 | 80 | 55 | 50 | 60 | 100 | 1 | 0% | 0 | 80 | 400 | 666.6667 | 83.3333 |  | 458.3333
80 | 75 | 75 | 75 | 50 | 50 | 60 | 100 | 1 | 0% | 0 | 75 | 375 | 625 | 83.3333 |  | 416.6667
85 | 70 | 70 | 70 | 50 | 50 | 60 | 100 | 1 | 0% | 0 | 70 | 350 | 583.3333 | 83.3333 |  | 416.6667
90 | 65 | 65 | 65 | 50 | 50 | 60 | 100 | 1 | 0% | 0 | 65 | 325 | 541.6667 | 83.3333 |  | 416.6667
95 | 60 | 60 | 60 | 50 | 50 | 60 | 100 | 1 | 0% | 0 | 60 | 300 | 500 | 83.3333 |  | 416.6667
100 | 55 | 55 | 55 | 50 | 50 | 60 | 100 | 1 | 0% | 0 | 55 | 275 | 458.3333 | 83.3333 |  | 416.6667
105 | 60 | 60 | 60 | 55 | 100 | 120 | 100 | 1 | 0% | 0 | 60 | 600 | 500 | 83.3333 |  | 458.3333
110 | 65 | 65 | 65 | 60 | 100 | 120 | 100 | 1 | 0% | 0 | 65 | 650 | 541.6667 | 83.3333 |  | 500
115 | 60 | 60 | 60 | 55 | 50 | 60 | 100 | 1 | 0% | 0 | 60 | 300 | 500 | 83.3333 |  | 458.3333
120 | 55 | 55 | 55 | 50 | 50 | 60 | 100 | 1 | 0% | 0 | 55 | 275 | 458.3333 | 83.3333 |  | 416.6667
125 | 50 | 50 | 50 | 50 | 50 | 60 | 100 | 1 | 0% | 0 | 50 | 250 | 416.6667 | 83.3333 |  | 416.6667
130 | 50 | 50 | 50 | 50 | 50 | 60 | 100 | 1 | 0% | 0 | 50 | 250 | 416.6667 | 83.3333 |  | 416.6667
135 | 55 | 55 | 55 | 55 | 100 | 120 | 100 | 1 | 0% | 0 | 55 | 550 | 458.3333 | 83.3333 |  | 458.3333
140 | 50 | 50 | 50 | 50 | 50 | 60 | 100 | 1 | 0% | 0 | 50 | 250 | 416.6667 | 83.3333 |  | 416.6667
145 | 50 | 50 | 50 | 50 | 50 | 60 | 100 | 1 | 0% | 0 | 50 | 250 | 416.6667 | 83.3333 |  | 416.6667
150 | 50 | 50 | 50 | 50 | 50 | 60 | 100 | 1 | 0% | 0 | 50 | 250 | 416.6667 | 83.3333 |  | 416.6667
155 | 50 | 50 | 50 | 50 | 50 | 60 | 100 | 1 | 0% | 0 | 50 | 250 | 416.6667 | 83.3333 |  | 416.6667
160 | 50 | 50 | 50 | 50 | 50 | 60 | 100 | 1 | 0% | 0 | 50 | 250 | 416.6667 | 83.3333 |  | 416.6667
165 | 55 | 55 | 55 | 55 | 100 | 120 | 100 | 1 | 0% | 0 | 55 | 550 | 458.3333 | 83.3333 |  | 458.3333
170 | 60 | 60 | 60 | 60 | 100 | 120 | 100 | 1 | 0% | 0 | 60 | 600 | 500 | 83.3333 |  | 500
175 | 65 | 65 | 65 | 65 | 100 | 120 | 100 | 1 | 0% | 0 | 65 | 650 | 541.6667 | 83.3333 |  | 541.6667
180 | 70 | 70 | 70 | 70 | 100 | 120 | 100 | 1 | 0% | 0 | 70 | 700 | 583.3333 | 83.3333 |  | 583.3333
185 | 65 | 65 | 65 | 65 | 50 | 60 | 100 | 1 | 0% | 0 | 65 | 325 | 541.6667 | 83.3333 |  | 541.6667
190 | 60 | 60 | 60 | 60 | 50 | 60 | 100 | 1 | 0% | 0 | 60 | 300 | 500 | 83.3333 |  | 500
195 | 55 | 55 | 55 | 55 | 50 | 60 | 100 | 1 | 0% | 0 | 55 | 275 | 458.3333 | 83.3333 |  | 458.3333
200 | 50 | 50 | 50 | 50 | 50 | 60 | 100 | 1 | 0% | 0 | 50 | 250 | 416.6667 | 83.3333 |  | 416.6667
205 | 50 | 50 | 50 | 50 | 50 | 60 | 100 | 1 | 0% | 0 | 50 | 250 | 416.6667 | 83.3333 |  | 416.6667
210 | 50 | 50 | 50 | 50 | 50 | 60 | 100 | 1 | 0% | 0 | 50 | 250 | 416.6667 | 83.3333 |  | 416.6667
215 | 50 | 50 | 50 | 50 | 50 | 60 | 100 | 1 | 0% | 0 | 50 | 250 | 416.6667 | 83.3333 |  | 416.6667
220 | 50 | 50 | 50 | 50 | 50 | 60 | 100 | 1 | 0% | 0 | 50 | 250 | 416.6667 | 83.3333 |  | 416.6667
225 | 50 | 50 | 50 | 50 | 50 | 60 | 100 | 1 | 0% | 0 | 50 | 250 | 416.6667 | 83.3333 |  | 416.6667
230 | 50 | 50 | 50 | 50 | 50 | 60 | 100 | 1 | 0% | 0 | 50 | 250 | 416.6667 | 83.3333 |  | 416.6667
235 | 50 | 50 | 50 | 50 | 50 | 60 | 100 | 1 | 0% | 0 | 50 | 250 | 416.6667 | 83.3333 |  | 416.6667
240 | 50 | 50 | 50 | 50 | 50 | 60 | 100 | 1 | 0% | 0 | 50 | 250 | 416.6667 | 83.3333 |  | 416.6667
[6 empty] | 72.2449 | [5 empty] | 19400 | 26625 | 4000 | 5000 | 23125
[12 empty] | Step 1 | Step 2
[11 empty] | Revenues | 16875 | 19400
[11 empty] | Offer | 32125 | 35625
[11 empty] | Uplift | 15250 | 16225
Actual P&L
[11 empty] | Revenues | 19400
[11 empty] | Uplift | 15250
[11 empty] | Offer | 35625
[11 empty] | Net | -975
Scenario:
Unit fails to follow dispatch for the first 25 minutes. At minute 30, the unit reacts and starts following dispatch. By reacting to the signal, even though late, the unit reduces its losses by producing less MW compared to example 1.0.
In this scenario, the uplift based on Actual Generation would have been $16,225 (compared to $20,000 in example 1.0).
Under the PJM/IMM proposal, uplift would be limited to $15,250. The amount that the unit would have received if it followed dispatch.

## Scenario 1.c
| MW | [5 empty] | $/MWh
Min | 50 |  | Start Cost | 5000 |  | Low LMP | 60
Max | 100 |  | No Load Cost | 1000 |  | High LMP | 120
Minute | Actual Generation | Dispatch Signal | Ramp Limited Desired | Tracking Ramp Limited Desired | LMP Desired | LMP ($/MWh) | Offer ($/MWh) | Ramp Rate (MW/min) | Deviations (%) | Deviations (MWh) | RT MW Used | LMP Revenues | Incremental Offer | No Load Offer | Start Offer | Incremental Offer
0 | 100 | 100 | 100 | 100 | 50 | 60 | 100 | 1
5 | 100 | 95 | 97.5 | 95 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 | 5000 | 791.6667
10 | 100 | 95 | 97.5 | 90 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 750
15 | 100 | 95 | 97.5 | 85 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 708.3333
20 | 100 | 95 | 97.5 | 80 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 666.6667
25 | 100 | 95 | 97.5 | 75 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 625
30 | 95 | 95 | 95 | 70 | 50 | 60 | 100 | 1 | 0% | 0 | 95 | 475 | 791.6667 | 83.3333 |  | 583.3333
35 | 90 | 90 | 90 | 65 | 50 | 60 | 100 | 1 | 0% | 0 | 90 | 450 | 750 | 83.3333 |  | 541.6667
40 | 85 | 85 | 85 | 60 | 50 | 60 | 100 | 1 | 0% | 0 | 85 | 425 | 708.3333 | 83.3333 |  | 500
45 | 80 | 80 | 80 | 55 | 50 | 60 | 100 | 1 | 0% | 0 | 80 | 400 | 666.6667 | 83.3333 |  | 458.3333
50 | 75 | 75 | 75 | 50 | 50 | 60 | 100 | 1 | 0% | 0 | 75 | 375 | 625 | 83.3333 |  | 416.6667
55 | 70 | 80 | 75 | 55 | 100 | 120 | 100 | 1 | -6.667% | 0 | 70 | 700 | 583.3333 | 83.3333 |  | 458.3333
60 | 65 | 75 | 70 | 60 | 100 | 120 | 100 | 1 | -7.143% | 0 | 65 | 650 | 541.6667 | 83.3333 |  | 500
65 | 65 | 70 | 67.5 | 65 | 100 | 120 | 100 | 1 | -3.704% | 0 | 65 | 650 | 541.6667 | 83.3333 |  | 541.6667
70 | 60 | 60 | 60 | 60 | 50 | 60 | 100 | 1 | 0% | 0 | 60 | 300 | 500 | 83.3333 |  | 500
75 | 55 | 55 | 55 | 55 | 50 | 60 | 100 | 1 | 0% | 0 | 55 | 275 | 458.3333 | 83.3333 |  | 458.3333
80 | 50 | 50 | 50 | 50 | 50 | 60 | 100 | 1 | 0% | 0 | 50 | 250 | 416.6667 | 83.3333 |  | 416.6667
85 | 50 | 50 | 50 | 50 | 50 | 60 | 100 | 1 | 0% | 0 | 50 | 250 | 416.6667 | 83.3333 |  | 416.6667
90 | 50 | 50 | 50 | 50 | 50 | 60 | 100 | 1 | 0% | 0 | 50 | 250 | 416.6667 | 83.3333 |  | 416.6667
95 | 50 | 50 | 50 | 50 | 50 | 60 | 100 | 1 | 0% | 0 | 50 | 250 | 416.6667 | 83.3333 |  | 416.6667
100 | 50 | 50 | 50 | 50 | 50 | 60 | 100 | 1 | 0% | 0 | 50 | 250 | 416.6667 | 83.3333 |  | 416.6667
105 | 55 | 55 | 55 | 55 | 100 | 120 | 100 | 1 | 0% | 0 | 55 | 550 | 458.3333 | 83.3333 |  | 458.3333
110 | 60 | 60 | 60 | 60 | 100 | 120 | 100 | 1 | 0% | 0 | 60 | 600 | 500 | 83.3333 |  | 500
115 | 55 | 55 | 55 | 55 | 50 | 60 | 100 | 1 | 0% | 0 | 55 | 275 | 458.3333 | 83.3333 |  | 458.3333
120 | 50 | 50 | 50 | 50 | 50 | 60 | 100 | 1 | 0% | 0 | 50 | 250 | 416.6667 | 83.3333 |  | 416.6667
125 | 50 | 50 | 50 | 50 | 50 | 60 | 100 | 1 | 0% | 0 | 50 | 250 | 416.6667 | 83.3333 |  | 416.6667
130 | 50 | 50 | 50 | 50 | 50 | 60 | 100 | 1 | 0% | 0 | 50 | 250 | 416.6667 | 83.3333 |  | 416.6667
135 | 55 | 55 | 55 | 55 | 100 | 120 | 100 | 1 | 0% | 0 | 55 | 550 | 458.3333 | 83.3333 |  | 458.3333
140 | 50 | 50 | 50 | 50 | 50 | 60 | 100 | 1 | 0% | 0 | 50 | 250 | 416.6667 | 83.3333 |  | 416.6667
145 | 50 | 50 | 50 | 50 | 50 | 60 | 100 | 1 | 0% | 0 | 50 | 250 | 416.6667 | 83.3333 |  | 416.6667
150 | 50 | 50 | 50 | 50 | 50 | 60 | 100 | 1 | 0% | 0 | 50 | 250 | 416.6667 | 83.3333 |  | 416.6667
155 | 50 | 50 | 50 | 50 | 50 | 60 | 100 | 1 | 0% | 0 | 50 | 250 | 416.6667 | 83.3333 |  | 416.6667
160 | 50 | 50 | 50 | 50 | 50 | 60 | 100 | 1 | 0% | 0 | 50 | 250 | 416.6667 | 83.3333 |  | 416.6667
165 | 55 | 55 | 55 | 55 | 100 | 120 | 100 | 1 | 0% | 0 | 55 | 550 | 458.3333 | 83.3333 |  | 458.3333
170 | 60 | 60 | 60 | 60 | 100 | 120 | 100 | 1 | 0% | 0 | 60 | 600 | 500 | 83.3333 |  | 500
175 | 65 | 65 | 65 | 65 | 100 | 120 | 100 | 1 | 0% | 0 | 65 | 650 | 541.6667 | 83.3333 |  | 541.6667
180 | 70 | 70 | 70 | 70 | 100 | 120 | 100 | 1 | 0% | 0 | 70 | 700 | 583.3333 | 83.3333 |  | 583.3333
185 | 65 | 65 | 65 | 65 | 50 | 60 | 100 | 1 | 0% | 0 | 65 | 325 | 541.6667 | 83.3333 |  | 541.6667
190 | 60 | 60 | 60 | 60 | 50 | 60 | 100 | 1 | 0% | 0 | 60 | 300 | 500 | 83.3333 |  | 500
195 | 55 | 55 | 55 | 55 | 50 | 60 | 100 | 1 | 0% | 0 | 55 | 275 | 458.3333 | 83.3333 |  | 458.3333
200 | 50 | 50 | 50 | 50 | 50 | 60 | 100 | 1 | 0% | 0 | 50 | 250 | 416.6667 | 83.3333 |  | 416.6667
205 | 50 | 50 | 50 | 50 | 50 | 60 | 100 | 1 | 0% | 0 | 50 | 250 | 416.6667 | 83.3333 |  | 416.6667
210 | 50 | 50 | 50 | 50 | 50 | 60 | 100 | 1 | 0% | 0 | 50 | 250 | 416.6667 | 83.3333 |  | 416.6667
215 | 50 | 50 | 50 | 50 | 50 | 60 | 100 | 1 | 0% | 0 | 50 | 250 | 416.6667 | 83.3333 |  | 416.6667
220 | 50 | 50 | 50 | 50 | 50 | 60 | 100 | 1 | 0% | 0 | 50 | 250 | 416.6667 | 83.3333 |  | 416.6667
225 | 50 | 50 | 50 | 50 | 50 | 60 | 100 | 1 | 0% | 0 | 50 | 250 | 416.6667 | 83.3333 |  | 416.6667
230 | 50 | 50 | 50 | 50 | 50 | 60 | 100 | 1 | 0% | 0 | 50 | 250 | 416.6667 | 83.3333 |  | 416.6667
235 | 50 | 50 | 50 | 50 | 50 | 60 | 100 | 1 | 0% | 0 | 50 | 250 | 416.6667 | 83.3333 |  | 416.6667
240 | 50 | 50 | 50 | 50 | 50 | 60 | 100 | 1 | 0% | 0 | 50 | 250 | 416.6667 | 83.3333 |  | 416.6667
[6 empty] | 72.2449 | [5 empty] | 18075 | 24958.3333 | 4000 | 5000 | 23125
[12 empty] | Step 1 | Step 2
[11 empty] | Revenues | 16875 | 18075
[11 empty] | Offer | 32125 | 33958.3333
[11 empty] | Uplift | 15250 | 15883.3333
Actual P&L
[11 empty] | Revenues | 18075
[11 empty] | Uplift | 15250
[11 empty] | Offer | 33958.3333
[11 empty] | Net | -633.3333
Scenario:
Unit fails to follow dispatch for the first 25 minutes. At minute 30, the unit reacts and starts following dispatch. By reacting to the signal, even though late, the unit reduces its losses by producing less MW compared to example 1.0. At minute 55, the unit once again fails to follow dispatch in attempt to follow Tracking Limited Desired MW.
In this scenario, the uplift based on Actual Generation would have been $15,833 (compared to $20,000 in example 1.0 and $16,225 in example 2.0).
The reason this example results in lower uplift (based on Actual Generation) when the unit follows Tracking Ramp Limited Desired versus the Dispatch Signal is because during the rest of the run, the LMPs were lower than the unit's offer more often than not.
Under the PJM/IMM proposal, uplift would be limited to $15,250. The amount that the unit would have received if it followed dispatch.

## Scenario 2.a
| MW | [5 empty] | $/MWh
Min | 50 |  | Start Cost | 5000 |  | Low LMP | 60
Max | 100 |  | No Load Cost | 1000 |  | High LMP | 120
Minute | Actual Generation | Dispatch Signal | Ramp Limited Desired | Tracking Ramp Limited Desired | LMP Desired | LMP ($/MWh) | Offer ($/MWh) | Ramp Rate (MW/min) | Deviations (%) | Deviations (MWh) | RT MW Used | LMP Revenues | Incremental Offer | No Load Offer | Start Offer | Incremental Offer
0 | 100 | 100 | 100 | 100 | 50 | 60 | 100 | 1
5 | 100 | 95 | 97.5 | 95 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 | 5000 | 791.6667
10 | 100 | 95 | 97.5 | 90 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 750
15 | 100 | 95 | 97.5 | 85 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 708.3333
20 | 100 | 95 | 97.5 | 80 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 666.6667
25 | 100 | 95 | 97.5 | 75 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 625
30 | 100 | 95 | 97.5 | 70 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 583.3333
35 | 100 | 95 | 97.5 | 65 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 541.6667
40 | 100 | 95 | 97.5 | 60 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 500
45 | 100 | 95 | 97.5 | 55 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 458.3333
50 | 100 | 95 | 97.5 | 50 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 416.6667
55 | 100 | 100 | 100 | 55 | 100 | 120 | 100 | 1 | 0% | 0 | 100 | 1000 | 833.3333 | 83.3333 |  | 458.3333
60 | 100 | 100 | 100 | 60 | 100 | 120 | 100 | 1 | 0% | 0 | 100 | 1000 | 833.3333 | 83.3333 |  | 500
65 | 100 | 100 | 100 | 65 | 100 | 120 | 100 | 1 | 0% | 0 | 100 | 1000 | 833.3333 | 83.3333 |  | 541.6667
70 | 100 | 100 | 100 | 70 | 100 | 120 | 100 | 1 | 0% | 0 | 100 | 1000 | 833.3333 | 83.3333 |  | 583.3333
75 | 100 | 100 | 100 | 75 | 100 | 120 | 100 | 1 | 0% | 0 | 100 | 1000 | 833.3333 | 83.3333 |  | 625
80 | 100 | 100 | 100 | 80 | 100 | 120 | 100 | 1 | 0% | 0 | 100 | 1000 | 833.3333 | 83.3333 |  | 666.6667
85 | 100 | 100 | 100 | 85 | 100 | 120 | 100 | 1 | 0% | 0 | 100 | 1000 | 833.3333 | 83.3333 |  | 708.3333
90 | 100 | 100 | 100 | 90 | 100 | 120 | 100 | 1 | 0% | 0 | 100 | 1000 | 833.3333 | 83.3333 |  | 750
95 | 100 | 100 | 100 | 95 | 100 | 120 | 100 | 1 | 0% | 0 | 100 | 1000 | 833.3333 | 83.3333 |  | 791.6667
100 | 100 | 100 | 100 | 100 | 100 | 120 | 100 | 1 | 0% | 0 | 100 | 1000 | 833.3333 | 83.3333 |  | 833.3333
105 | 100 | 100 | 100 | 100 | 100 | 120 | 100 | 1 | 0% | 0 | 100 | 1000 | 833.3333 | 83.3333 |  | 833.3333
110 | 100 | 95 | 97.5 | 95 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 791.6667
115 | 100 | 95 | 97.5 | 90 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 750
120 | 100 | 95 | 97.5 | 85 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 708.3333
125 | 100 | 95 | 97.5 | 80 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 666.6667
130 | 100 | 95 | 97.5 | 75 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 625
135 | 100 | 95 | 97.5 | 70 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 583.3333
140 | 100 | 100 | 100 | 75 | 100 | 120 | 100 | 1 | 0% | 0 | 100 | 1000 | 833.3333 | 83.3333 |  | 625
145 | 100 | 100 | 100 | 80 | 100 | 120 | 100 | 1 | 0% | 0 | 100 | 1000 | 833.3333 | 83.3333 |  | 666.6667
150 | 100 | 100 | 100 | 85 | 100 | 120 | 100 | 1 | 0% | 0 | 100 | 1000 | 833.3333 | 83.3333 |  | 708.3333
155 | 100 | 100 | 100 | 90 | 100 | 120 | 100 | 1 | 0% | 0 | 100 | 1000 | 833.3333 | 83.3333 |  | 750
160 | 100 | 100 | 100 | 95 | 100 | 120 | 100 | 1 | 0% | 0 | 100 | 1000 | 833.3333 | 83.3333 |  | 791.6667
165 | 100 | 100 | 100 | 100 | 100 | 120 | 100 | 1 | 0% | 0 | 100 | 1000 | 833.3333 | 83.3333 |  | 833.3333
170 | 100 | 100 | 100 | 100 | 100 | 120 | 100 | 1 | 0% | 0 | 100 | 1000 | 833.3333 | 83.3333 |  | 833.3333
175 | 100 | 100 | 100 | 100 | 100 | 120 | 100 | 1 | 0% | 0 | 100 | 1000 | 833.3333 | 83.3333 |  | 833.3333
180 | 100 | 100 | 100 | 100 | 100 | 120 | 100 | 1 | 0% | 0 | 100 | 1000 | 833.3333 | 83.3333 |  | 833.3333
185 | 100 | 95 | 97.5 | 95 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 791.6667
190 | 100 | 95 | 97.5 | 90 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 750
195 | 100 | 95 | 97.5 | 85 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 708.3333
200 | 100 | 95 | 97.5 | 80 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 666.6667
205 | 100 | 95 | 97.5 | 75 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 625
210 | 100 | 95 | 97.5 | 70 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 583.3333
215 | 100 | 100 | 100 | 75 | 100 | 120 | 100 | 1 | 0% | 0 | 100 | 1000 | 833.3333 | 83.3333 |  | 625
220 | 100 | 100 | 100 | 80 | 100 | 120 | 100 | 1 | 0% | 0 | 100 | 1000 | 833.3333 | 83.3333 |  | 666.6667
225 | 100 | 100 | 100 | 85 | 100 | 120 | 100 | 1 | 0% | 0 | 100 | 1000 | 833.3333 | 83.3333 |  | 708.3333
230 | 100 | 95 | 97.5 | 80 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 666.6667
235 | 100 | 95 | 97.5 | 75 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 625
240 | 100 | 95 | 97.5 | 70 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 583.3333
[6 empty] | 88.1633 | [5 empty] | 35500 | 40000 | 4000 | 5000 | 32333.3333
[12 empty] | Step 1 | Step 2
[11 empty] | Revenues | 29100 | 35500
[11 empty] | Offer | 41333.3333 | 49000
[11 empty] | Uplift | 12233.3333 | 13500
Actual P&L
[11 empty] | Revenues | 35500
[11 empty] | Uplift | 12233.3333
[11 empty] | Offer | 49000
[11 empty] | Net | -1266.6667
Scenario:
Unit fails to follow dispatch throughout the period. The current metric (Ramp Limited Desired MW) is close to the Actual Generation because the unit has a 1 MW/minute ramp rate. The unit can only be dispatched 5 MW every 5 minutes. In this scenario, the Actual Generation is 100 MW, the Dispatch Signal is 95 MW and the Ramp Limited Desired MW is 97.5 MW for most of the period. Because the unit is not deviating by more than 10%, it appears as if the unit is following dispatch, although it is not.
The purple line shows the Tracking Ramp Limited Desired MW. TRLD shows that the unit should be ramping down and reaching Eco Min at minute 50 and increase output after.
The difference between the orange line (Actual Generation) and purple line (Tracking Ramp Limited Desired MW) shows the true deviation amount that the unit created from not following dispatch.
Under status quo the unit would have received uplift based on the Actual Generation ($13,500) while it would have received $12,233 (18% less), if it had followed dispatch.
Under the PJM/IMM proposal, uplift would be limited to $12,233. The amount that the unit would have received if it followed dispatch.

## Scenario 2.b
| MW | [5 empty] | $/MWh
Min | 50 |  | Start Cost | 5000 |  | Low LMP | 60
Max | 100 |  | No Load Cost | 1000 |  | High LMP | 120
Minute | Actual Generation | Dispatch Signal | Ramp Limited Desired | Tracking Ramp Limited Desired | LMP Desired | LMP ($/MWh) | Offer ($/MWh) | Ramp Rate (MW/min) | Deviations (%) | Deviations (MWh) | RT MW Used | LMP Revenues | Incremental Offer | No Load Offer | Start Offer | Incremental Offer
0 | 100 | 100 | 100 | 100 | 50 | 60 | 100 | 1
5 | 100 | 95 | 97.5 | 95 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 | 5000 | 791.6667
10 | 100 | 95 | 97.5 | 90 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 750
15 | 100 | 95 | 97.5 | 85 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 708.3333
20 | 100 | 95 | 97.5 | 80 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 666.6667
25 | 100 | 95 | 97.5 | 75 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 625
30 | 95 | 95 | 95 | 70 | 50 | 60 | 100 | 1 | 0% | 0 | 95 | 475 | 791.6667 | 83.3333 |  | 583.3333
35 | 90 | 90 | 90 | 65 | 50 | 60 | 100 | 1 | 0% | 0 | 90 | 450 | 750 | 83.3333 |  | 541.6667
40 | 85 | 85 | 85 | 60 | 50 | 60 | 100 | 1 | 0% | 0 | 85 | 425 | 708.3333 | 83.3333 |  | 500
45 | 80 | 80 | 80 | 55 | 50 | 60 | 100 | 1 | 0% | 0 | 80 | 400 | 666.6667 | 83.3333 |  | 458.3333
50 | 75 | 75 | 75 | 50 | 50 | 60 | 100 | 1 | 0% | 0 | 75 | 375 | 625 | 83.3333 |  | 416.6667
55 | 80 | 80 | 80 | 55 | 100 | 120 | 100 | 1 | 0% | 0 | 80 | 800 | 666.6667 | 83.3333 |  | 458.3333
60 | 85 | 85 | 85 | 60 | 100 | 120 | 100 | 1 | 0% | 0 | 85 | 850 | 708.3333 | 83.3333 |  | 500
65 | 90 | 90 | 90 | 65 | 100 | 120 | 100 | 1 | 0% | 0 | 90 | 900 | 750 | 83.3333 |  | 541.6667
70 | 95 | 95 | 95 | 70 | 100 | 120 | 100 | 1 | 0% | 0 | 95 | 950 | 791.6667 | 83.3333 |  | 583.3333
75 | 100 | 100 | 100 | 75 | 100 | 120 | 100 | 1 | 0% | 0 | 100 | 1000 | 833.3333 | 83.3333 |  | 625
80 | 100 | 100 | 100 | 80 | 100 | 120 | 100 | 1 | 0% | 0 | 100 | 1000 | 833.3333 | 83.3333 |  | 666.6667
85 | 100 | 100 | 100 | 85 | 100 | 120 | 100 | 1 | 0% | 0 | 100 | 1000 | 833.3333 | 83.3333 |  | 708.3333
90 | 100 | 100 | 100 | 90 | 100 | 120 | 100 | 1 | 0% | 0 | 100 | 1000 | 833.3333 | 83.3333 |  | 750
95 | 100 | 100 | 100 | 95 | 100 | 120 | 100 | 1 | 0% | 0 | 100 | 1000 | 833.3333 | 83.3333 |  | 791.6667
100 | 100 | 100 | 100 | 100 | 100 | 120 | 100 | 1 | 0% | 0 | 100 | 1000 | 833.3333 | 83.3333 |  | 833.3333
105 | 100 | 100 | 100 | 100 | 100 | 120 | 100 | 1 | 0% | 0 | 100 | 1000 | 833.3333 | 83.3333 |  | 833.3333
110 | 95 | 95 | 95 | 95 | 50 | 60 | 100 | 1 | 0% | 0 | 95 | 475 | 791.6667 | 83.3333 |  | 791.6667
115 | 90 | 90 | 90 | 90 | 50 | 60 | 100 | 1 | 0% | 0 | 90 | 450 | 750 | 83.3333 |  | 750
120 | 85 | 85 | 85 | 85 | 50 | 60 | 100 | 1 | 0% | 0 | 85 | 425 | 708.3333 | 83.3333 |  | 708.3333
125 | 80 | 80 | 80 | 80 | 50 | 60 | 100 | 1 | 0% | 0 | 80 | 400 | 666.6667 | 83.3333 |  | 666.6667
130 | 75 | 75 | 75 | 75 | 50 | 60 | 100 | 1 | 0% | 0 | 75 | 375 | 625 | 83.3333 |  | 625
135 | 70 | 70 | 70 | 70 | 50 | 60 | 100 | 1 | 0% | 0 | 70 | 350 | 583.3333 | 83.3333 |  | 583.3333
140 | 75 | 75 | 75 | 75 | 100 | 120 | 100 | 1 | 0% | 0 | 75 | 750 | 625 | 83.3333 |  | 625
145 | 80 | 80 | 80 | 80 | 100 | 120 | 100 | 1 | 0% | 0 | 80 | 800 | 666.6667 | 83.3333 |  | 666.6667
150 | 85 | 85 | 85 | 85 | 100 | 120 | 100 | 1 | 0% | 0 | 85 | 850 | 708.3333 | 83.3333 |  | 708.3333
155 | 90 | 90 | 90 | 90 | 100 | 120 | 100 | 1 | 0% | 0 | 90 | 900 | 750 | 83.3333 |  | 750
160 | 95 | 95 | 95 | 95 | 100 | 120 | 100 | 1 | 0% | 0 | 95 | 950 | 791.6667 | 83.3333 |  | 791.6667
165 | 100 | 100 | 100 | 100 | 100 | 120 | 100 | 1 | 0% | 0 | 100 | 1000 | 833.3333 | 83.3333 |  | 833.3333
170 | 100 | 100 | 100 | 100 | 100 | 120 | 100 | 1 | 0% | 0 | 100 | 1000 | 833.3333 | 83.3333 |  | 833.3333
175 | 100 | 100 | 100 | 100 | 100 | 120 | 100 | 1 | 0% | 0 | 100 | 1000 | 833.3333 | 83.3333 |  | 833.3333
180 | 100 | 100 | 100 | 100 | 100 | 120 | 100 | 1 | 0% | 0 | 100 | 1000 | 833.3333 | 83.3333 |  | 833.3333
185 | 95 | 95 | 95 | 95 | 50 | 60 | 100 | 1 | 0% | 0 | 95 | 475 | 791.6667 | 83.3333 |  | 791.6667
190 | 90 | 90 | 90 | 90 | 50 | 60 | 100 | 1 | 0% | 0 | 90 | 450 | 750 | 83.3333 |  | 750
195 | 85 | 85 | 85 | 85 | 50 | 60 | 100 | 1 | 0% | 0 | 85 | 425 | 708.3333 | 83.3333 |  | 708.3333
200 | 80 | 80 | 80 | 80 | 50 | 60 | 100 | 1 | 0% | 0 | 80 | 400 | 666.6667 | 83.3333 |  | 666.6667
205 | 75 | 75 | 75 | 75 | 50 | 60 | 100 | 1 | 0% | 0 | 75 | 375 | 625 | 83.3333 |  | 625
210 | 70 | 70 | 70 | 70 | 50 | 60 | 100 | 1 | 0% | 0 | 70 | 350 | 583.3333 | 83.3333 |  | 583.3333
215 | 75 | 75 | 75 | 75 | 100 | 120 | 100 | 1 | 0% | 0 | 75 | 750 | 625 | 83.3333 |  | 625
220 | 80 | 80 | 80 | 80 | 100 | 120 | 100 | 1 | 0% | 0 | 80 | 800 | 666.6667 | 83.3333 |  | 666.6667
225 | 85 | 85 | 85 | 85 | 100 | 120 | 100 | 1 | 0% | 0 | 85 | 850 | 708.3333 | 83.3333 |  | 708.3333
230 | 80 | 80 | 80 | 80 | 50 | 60 | 100 | 1 | 0% | 0 | 80 | 400 | 666.6667 | 83.3333 |  | 666.6667
235 | 75 | 75 | 75 | 75 | 50 | 60 | 100 | 1 | 0% | 0 | 75 | 375 | 625 | 83.3333 |  | 625
240 | 70 | 70 | 70 | 70 | 50 | 60 | 100 | 1 | 0% | 0 | 70 | 350 | 583.3333 | 83.3333 |  | 583.3333
[6 empty] | 88.1633 | [5 empty] | 31850 | 35458.3333 | 4000 | 5000 | 32333.3333
[12 empty] | Step 1 | Step 2
[11 empty] | Revenues | 29100 | 31850
[11 empty] | Offer | 41333.3333 | 44458.3333
[11 empty] | Uplift | 12233.3333 | 12608.3333
Actual P&L
[11 empty] | Revenues | 31850
[11 empty] | Uplift | 12233.3333
[11 empty] | Offer | 44458.3333
[11 empty] | Net | -375
Scenario:
Unit fails to follow dispatch for the first 25 minutes. At minute 30, the unit reacts and starts following dispatch. By reacting to the signal, even though late, the unit reduces its losses by producing less MW compared to example 1.0.
In this scenario, the uplift based on Actual Generation would have been $12,608 (compared to $13,500 in example 2.0).
Under the PJM/IMM proposal, uplift would be limited to $12,223. The amount that the unit would have received if it followed dispatch.

## Scenario 2.c
| MW | [5 empty] | $/MWh
Min | 50 |  | Start Cost | 5000 |  | Low LMP | 60
Max | 100 |  | No Load Cost | 1000 |  | High LMP | 120
Minute | Actual Generation | Dispatch Signal | Ramp Limited Desired | Tracking Ramp Limited Desired | LMP Desired | LMP ($/MWh) | Offer ($/MWh) | Ramp Rate (MW/min) | Deviations (%) | Deviations (MWh) | RT MW Used | LMP Revenues | Incremental Offer | No Load Offer | Start Offer | Incremental Offer
0 | 100 | 100 | 100 | 100 | 50 | 60 | 100 | 1
5 | 100 | 95 | 97.5 | 95 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 | 5000 | 791.6667
10 | 100 | 95 | 97.5 | 90 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 750
15 | 100 | 95 | 97.5 | 85 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 708.3333
20 | 100 | 95 | 97.5 | 80 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 666.6667
25 | 100 | 95 | 97.5 | 75 | 50 | 60 | 100 | 1 | 2.564% | 0 | 100 | 500 | 833.3333 | 83.3333 |  | 625
30 | 95 | 95 | 95 | 70 | 50 | 60 | 100 | 1 | 0% | 0 | 95 | 475 | 791.6667 | 83.3333 |  | 583.3333
35 | 90 | 90 | 90 | 65 | 50 | 60 | 100 | 1 | 0% | 0 | 90 | 450 | 750 | 83.3333 |  | 541.6667
40 | 85 | 85 | 85 | 60 | 50 | 60 | 100 | 1 | 0% | 0 | 85 | 425 | 708.3333 | 83.3333 |  | 500
45 | 80 | 80 | 80 | 55 | 50 | 60 | 100 | 1 | 0% | 0 | 80 | 400 | 666.6667 | 83.3333 |  | 458.3333
50 | 75 | 75 | 75 | 50 | 50 | 60 | 100 | 1 | 0% | 0 | 75 | 375 | 625 | 83.3333 |  | 416.6667
55 | 70 | 80 | 75 | 55 | 100 | 120 | 100 | 1 | -6.667% | 0 | 70 | 700 | 583.3333 | 83.3333 |  | 458.3333
60 | 65 | 75 | 70 | 60 | 100 | 120 | 100 | 1 | -7.143% | 0 | 65 | 650 | 541.6667 | 83.3333 |  | 500
65 | 65 | 70 | 67.5 | 65 | 100 | 120 | 100 | 1 | -3.704% | 0 | 65 | 650 | 541.6667 | 83.3333 |  | 541.6667
70 | 70 | 70 | 70 | 70 | 100 | 120 | 100 | 1 | 0% | 0 | 70 | 700 | 583.3333 | 83.3333 |  | 583.3333
75 | 75 | 75 | 75 | 75 | 100 | 120 | 100 | 1 | 0% | 0 | 75 | 750 | 625 | 83.3333 |  | 625
80 | 80 | 80 | 80 | 80 | 100 | 120 | 100 | 1 | 0% | 0 | 80 | 800 | 666.6667 | 83.3333 |  | 666.6667
85 | 85 | 85 | 85 | 85 | 100 | 120 | 100 | 1 | 0% | 0 | 85 | 850 | 708.3333 | 83.3333 |  | 708.3333
90 | 90 | 90 | 90 | 90 | 100 | 120 | 100 | 1 | 0% | 0 | 90 | 900 | 750 | 83.3333 |  | 750
95 | 95 | 95 | 95 | 95 | 100 | 120 | 100 | 1 | 0% | 0 | 95 | 950 | 791.6667 | 83.3333 |  | 791.6667
100 | 100 | 100 | 100 | 100 | 100 | 120 | 100 | 1 | 0% | 0 | 100 | 1000 | 833.3333 | 83.3333 |  | 833.3333
105 | 100 | 100 | 100 | 100 | 100 | 120 | 100 | 1 | 0% | 0 | 100 | 1000 | 833.3333 | 83.3333 |  | 833.3333
110 | 95 | 95 | 95 | 95 | 50 | 60 | 100 | 1 | 0% | 0 | 95 | 475 | 791.6667 | 83.3333 |  | 791.6667
115 | 90 | 90 | 90 | 90 | 50 | 60 | 100 | 1 | 0% | 0 | 90 | 450 | 750 | 83.3333 |  | 750
120 | 85 | 85 | 85 | 85 | 50 | 60 | 100 | 1 | 0% | 0 | 85 | 425 | 708.3333 | 83.3333 |  | 708.3333
125 | 80 | 80 | 80 | 80 | 50 | 60 | 100 | 1 | 0% | 0 | 80 | 400 | 666.6667 | 83.3333 |  | 666.6667
130 | 75 | 75 | 75 | 75 | 50 | 60 | 100 | 1 | 0% | 0 | 75 | 375 | 625 | 83.3333 |  | 625
135 | 70 | 70 | 70 | 70 | 50 | 60 | 100 | 1 | 0% | 0 | 70 | 350 | 583.3333 | 83.3333 |  | 583.3333
140 | 75 | 75 | 75 | 75 | 100 | 120 | 100 | 1 | 0% | 0 | 75 | 750 | 625 | 83.3333 |  | 625
145 | 80 | 80 | 80 | 80 | 100 | 120 | 100 | 1 | 0% | 0 | 80 | 800 | 666.6667 | 83.3333 |  | 666.6667
150 | 85 | 85 | 85 | 85 | 100 | 120 | 100 | 1 | 0% | 0 | 85 | 850 | 708.3333 | 83.3333 |  | 708.3333
155 | 90 | 90 | 90 | 90 | 100 | 120 | 100 | 1 | 0% | 0 | 90 | 900 | 750 | 83.3333 |  | 750
160 | 95 | 95 | 95 | 95 | 100 | 120 | 100 | 1 | 0% | 0 | 95 | 950 | 791.6667 | 83.3333 |  | 791.6667
165 | 100 | 100 | 100 | 100 | 100 | 120 | 100 | 1 | 0% | 0 | 100 | 1000 | 833.3333 | 83.3333 |  | 833.3333
170 | 100 | 100 | 100 | 100 | 100 | 120 | 100 | 1 | 0% | 0 | 100 | 1000 | 833.3333 | 83.3333 |  | 833.3333
175 | 100 | 100 | 100 | 100 | 100 | 120 | 100 | 1 | 0% | 0 | 100 | 1000 | 833.3333 | 83.3333 |  | 833.3333
180 | 100 | 100 | 100 | 100 | 100 | 120 | 100 | 1 | 0% | 0 | 100 | 1000 | 833.3333 | 83.3333 |  | 833.3333
185 | 95 | 95 | 95 | 95 | 50 | 60 | 100 | 1 | 0% | 0 | 95 | 475 | 791.6667 | 83.3333 |  | 791.6667
190 | 90 | 90 | 90 | 90 | 50 | 60 | 100 | 1 | 0% | 0 | 90 | 450 | 750 | 83.3333 |  | 750
195 | 85 | 85 | 85 | 85 | 50 | 60 | 100 | 1 | 0% | 0 | 85 | 425 | 708.3333 | 83.3333 |  | 708.3333
200 | 80 | 80 | 80 | 80 | 50 | 60 | 100 | 1 | 0% | 0 | 80 | 400 | 666.6667 | 83.3333 |  | 666.6667
205 | 75 | 75 | 75 | 75 | 50 | 60 | 100 | 1 | 0% | 0 | 75 | 375 | 625 | 83.3333 |  | 625
210 | 70 | 70 | 70 | 70 | 50 | 60 | 100 | 1 | 0% | 0 | 70 | 350 | 583.3333 | 83.3333 |  | 583.3333
215 | 75 | 75 | 75 | 75 | 100 | 120 | 100 | 1 | 0% | 0 | 75 | 750 | 625 | 83.3333 |  | 625
220 | 80 | 80 | 80 | 80 | 100 | 120 | 100 | 1 | 0% | 0 | 80 | 800 | 666.6667 | 83.3333 |  | 666.6667
225 | 85 | 85 | 85 | 85 | 100 | 120 | 100 | 1 | 0% | 0 | 85 | 850 | 708.3333 | 83.3333 |  | 708.3333
230 | 80 | 80 | 80 | 80 | 50 | 60 | 100 | 1 | 0% | 0 | 80 | 400 | 666.6667 | 83.3333 |  | 666.6667
235 | 75 | 75 | 75 | 75 | 50 | 60 | 100 | 1 | 0% | 0 | 75 | 375 | 625 | 83.3333 |  | 625
240 | 70 | 70 | 70 | 70 | 50 | 60 | 100 | 1 | 0% | 0 | 70 | 350 | 583.3333 | 83.3333 |  | 583.3333
[6 empty] | 88.1633 | [5 empty] | 30300 | 34166.6667 | 4000 | 5000 | 32333.3333
[12 empty] | Step 1 | Step 2
[11 empty] | Revenues | 29100 | 30300
[11 empty] | Offer | 41333.3333 | 43166.6667
[11 empty] | Uplift | 12233.3333 | 12866.6667
Actual P&L
[11 empty] | Revenues | 30300
[11 empty] | Uplift | 12233.3333
[11 empty] | Offer | 43166.6667
[11 empty] | Net | -633.3333
Scenario:
Unit fails to follow dispatch for the first 25 minutes. At minute 30, the unit reacts and starts following dispatch. By reacting to the signal, even though late, the unit reduces its losses by producing less MW compared to example 1.0. At minute 55, the unit once again fails to follow dispatch in attempt to follow Tracking Limited Desired MW.
In this scenario, the uplift based on Actual Generation would have been $12,867 (compared to $13,500 in example 1.0 and $12,608 in example 2.0).
The reason this example results in higher uplift (based on Actual Generation) when the unit follows Tracking Ramp Limited Desired versus the Dispatch Signal is because during the rest of the run, the LMPs were higher than the unit's offer more often than not.
Under the PJM/IMM proposal, uplift would be limited to $12,233. The amount that the unit would have received if it followed dispatch.

## Deviations
|  |  | Never Followed | [6 empty] | Followed Late | [6 empty] | Deviations - Never Followed |  |  |  | Deviations - Followed Late
Parameters | Unit 1 | Unit 2 | Time | Unit 1 Gen | Unit 1 Dispatch Signal | Unit 1 TRLD | Unit 2 Gen | Unit 2 Dispatch Signal | Unit 2 TRLD | Time | Unit 1 Gen | Unit 1 Dispatch Signal | Unit 1 TRLD | Unit 2 Gen | Unit 2 Dispatch Signal | Unit 2 TRLD | Unit 1 (Signal) | Unit 1 (TRLD) | Unit 2 (Signal) | Unit 2 (TRLD) | Unit 1 (Signal) | Unit 1 (TRLD) | Unit 2 (Signal) | Unit 2 (TRLD)
Eco Min MW | 100 | 100 | 0:00 | 200 | 200 | 200 | 200 | 200 | 200 | 0:00 | 200 | 200 | 200 | 200 | 200 | 200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Eco Max MW | 200 | 200 | 0:05 | 200 | 195 | 195 | 200 | 150 | 150 | 0:05 | 200 | 195 | 195 | 200 | 150 | 150 | 0 | 0 | 50 | 50 | 0 | 0 | 50 | 50
Ramp Rate (MW/minute) | 1 | 10 | 0:10 | 200 | 195 | 190 | 200 | 150 | 100 | 0:10 | 200 | 195 | 190 | 200 | 150 | 100 | 0 | 0 | 50 | 100 | 0 | 0 | 50 | 100
|  |  | 0:15 | 200 | 195 | 185 | 200 | 150 | 100 | 0:15 | 200 | 195 | 185 | 200 | 150 | 100 | 0 | 0 | 50 | 100 | 0 | 0 | 50 | 100
|  |  | 0:20 | 200 | 195 | 180 | 200 | 150 | 100 | 0:20 | 200 | 195 | 180 | 200 | 150 | 100 | 0 | 20 | 50 | 100 | 0 | 20 | 50 | 100
Deviations (Percentage) | Unit 1 | Unit 2 | 0:25 | 200 | 195 | 175 | 200 | 150 | 100 | 0:25 | 200 | 195 | 175 | 200 | 150 | 100 | 0 | 25 | 50 | 100 | 0 | 25 | 50 | 100
Never Followed - Compared to Dispatch Signal | 2.564% | 33.33% | 0:30 | 200 | 195 | 170 | 200 | 150 | 100 | 0:30 | 195 | 195 | 170 | 150 | 150 | 100 | 0 | 30 | 50 | 100 | 0 | 25 | 0 | 50
Never Followed - Compared to TRLD | 43.28% | 95.92% | 0:35 | 200 | 195 | 165 | 200 | 150 | 100 | 0:35 | 190 | 190 | 165 | 100 | 100 | 100 | 0 | 35 | 50 | 100 | 0 | 25 | 0 | 0
Followed Late - Compared to Dispatch Signal | 0.6536% | 9.259% | 0:40 | 200 | 195 | 160 | 200 | 150 | 100 | 0:40 | 185 | 185 | 160 | 100 | 100 | 100 | 0 | 40 | 50 | 100 | 0 | 25 | 0 | 0
Followed Late - Compared to TRLD | 14.93% | 20.41% | 0:45 | 200 | 195 | 155 | 200 | 150 | 100 | 0:45 | 180 | 180 | 155 | 100 | 100 | 100 | 0 | 45 | 50 | 100 | 0 | 25 | 0 | 0
|  |  | 0:50 | 200 | 195 | 150 | 200 | 150 | 100 | 0:50 | 175 | 175 | 150 | 100 | 100 | 100 | 0 | 50 | 50 | 100 | 0 | 25 | 0 | 0
|  |  | 0:55 | 200 | 195 | 145 | 200 | 150 | 100 | 0:55 | 170 | 170 | 145 | 100 | 100 | 100 | 0 | 55 | 50 | 100 | 0 | 25 | 0 | 0
Deviations (MWh) | Unit 1 | Unit 2 | 1:00 | 200 | 195 | 140 | 200 | 150 | 100 | 1:00 | 165 | 165 | 140 | 100 | 100 | 100 | 0 | 60 | 50 | 100 | 0 | 25 | 0 | 0
Never Followed - Compared to Dispatch Signal | 0 | 100 | 1:05 | 200 | 195 | 135 | 200 | 150 | 100 | 1:05 | 160 | 160 | 135 | 100 | 100 | 100 | 0 | 65 | 50 | 100 | 0 | 25 | 0 | 0
Never Followed - Compared to TRLD | 118.3333 | 195.8333 | 1:10 | 200 | 195 | 130 | 200 | 150 | 100 | 1:10 | 155 | 155 | 130 | 100 | 100 | 100 | 0 | 70 | 50 | 100 | 0 | 25 | 0 | 0
Followed Late - Compared to Dispatch Signal | 0 | 20.8333 | 1:15 | 200 | 195 | 125 | 200 | 150 | 100 | 1:15 | 150 | 150 | 125 | 100 | 100 | 100 | 0 | 75 | 50 | 100 | 0 | 25 | 0 | 0
Followed Late - Compared to TRLD | 37.9167 | 41.6667 | 1:20 | 200 | 195 | 120 | 200 | 150 | 100 | 1:20 | 145 | 145 | 120 | 100 | 100 | 100 | 0 | 80 | 50 | 100 | 0 | 25 | 0 | 0
|  |  | 1:25 | 200 | 195 | 115 | 200 | 150 | 100 | 1:25 | 140 | 140 | 115 | 100 | 100 | 100 | 0 | 85 | 50 | 100 | 0 | 25 | 0 | 0
|  |  | 1:30 | 200 | 195 | 110 | 200 | 150 | 100 | 1:30 | 135 | 135 | 110 | 100 | 100 | 100 | 0 | 90 | 50 | 100 | 0 | 25 | 0 | 0
Operating Reserve Deviation Rates (2024) |  |  | 1:35 | 200 | 195 | 105 | 200 | 150 | 100 | 1:35 | 130 | 130 | 105 | 100 | 100 | 100 | 0 | 95 | 50 | 100 | 0 | 25 | 0 | 0
Average | 0.28847 |  | 1:40 | 200 | 195 | 100 | 200 | 150 | 100 | 1:40 | 125 | 125 | 100 | 100 | 100 | 100 | 0 | 100 | 50 | 100 | 0 | 25 | 0 | 0
Max | 4.4713 |  | 1:45 | 200 | 195 | 100 | 200 | 150 | 100 | 1:45 | 120 | 120 | 100 | 100 | 100 | 100 | 0 | 100 | 50 | 100 | 0 | 20 | 0 | 0
|  |  | 1:50 | 200 | 195 | 100 | 200 | 150 | 100 | 1:50 | 115 | 115 | 100 | 100 | 100 | 100 | 0 | 100 | 50 | 100 | 0 | 15 | 0 | 0
|  |  | 1:55 | 200 | 195 | 100 | 200 | 150 | 100 | 1:55 | 110 | 110 | 100 | 100 | 100 | 100 | 0 | 100 | 50 | 100 | 0 | 0 | 0 | 0
Deviation Charges (Using TRLD) | Unit 1 | Unit 2 | 2:00 | 200 | 195 | 100 | 200 | 150 | 100 | 2:00 | 105 | 105 | 100 | 100 | 100 | 100 | 0 | 100 | 50 | 100 | 0 | 0 | 0 | 0
Using Average Rate - Never Followed Scenario | 34.1362 | 56.493 | Total (MWh) | 400 | 390 | 279.1667 | 400 | 300 | 204.1667 | Total (MWh) | 320.8333 | 318.75 | 279.1667 | 245.8333 | 225 | 204.1667 | 0 | 118.3333 | 100 | 195.8333 | 0 | 37.9167 | 20.8333 | 41.6667
Using Max Rate - Never Followed Scenario | 529.1037 | 875.6294 | Deviation % |  | 2.564% | 43.28% |  | 33.33% | 95.92% | Deviation % |  | 0.6536% | 14.93% |  | 9.259% | 20.41%
Using Average Rate - Followed Late Scenario | 10.938 | 12.0198
Using Max Rate - Followed Late Scenario | 169.5368 | 186.3041
Takeaways: Current deviation metrics allow units with slower ramp rates to be excused from deviations because their slow ramping speed makes them appear as if they are following dispatch. In both scenarios, unit 1 is exempt from deviations even though it had the same behavior as unit 2. Under the IMM/PJM proposal deviations will be based on TRLD. In these examples, both units will be assessed deviations using TRLD. - For units with fast ramp rates, deviations from TRLD would not persist as soon as they start following dispatch. - For units with slow ramp rates, deviations from TRLD would not persist based on how long it takes them to follow. The longer it takes them to follow dispatch, the longer it will take them to catch up. Short skids from following dispatch will likely fall within the 10% exemption.