## EAS Offset
PJM MRC
Energy and Ancillary Service Offset
Identify benefits and costs of changing from real-time to day-ahead LMP.
Updated August 5, 2011
ID | Design Component | Importance | Component Solution Options
|  |  | Status Quo |  | A |  | B |  | C
1 | Prices used for calculation of EAS Offset used for MOPR Screen of combined cycle gas turbines | High | Real-time LMPs |  | Develop model to utilize combination of historic day-ahead and real-time dispatch |  | Use day-ahead LMP |  | Utilize a combination of DA and RT with forward looking gas/electric prices for calculation
|  |  | Pros | Cons | Pros | Cons | Pros | Cons | Pros | Cons
[5 empty] | - replicates actual dispatch - reflects actual revenues the unit would have received | - would result in inconsistency if applied only for MOPR - only reflects historical conditions | - more typical reflection of the nature by which CCGTs are committed compared to real-time only - simplistic approach as compared to calculating actual | - does not reflect actual dispatch - would result in inconsistency if applied only for MOPR - does not reflect actual historic revenues that would have been received | - attempts to model future DA versus RT commitment - attempts to reflect expected revenues | - concern regarding liquidity impacting practicality of implementation - would result in inconsistency if applied only for MOPR - potential forecast error - might be overly complex compared to benefits - does not reflect actual historic revenues that would have been received
2 | Prices used for calculation of EAS Offset used for MOPR Screen of combustion turbines | High | Real-time LMPs |  | Develop model to utilize combination of historic day-ahead and real-time dispatch |  | Use day-ahead LMP |  | Utilize a combination of DA and RT with forward looking gas/electric prices for calculation
|  |  | Pros | Cons | Pros | Cons | Pros | Cons | Pros | Cons
[5 empty] | - replicates actual dispatch - reflects actual revenues the unit would have received | - would result in inconsistency if applied only for MOPR - only reflects historical conditions | - more typical reflection of the nature by which CTs are committed compared to real-time only - simplistic approach as compared to calculating actual | - does not reflect actual dispatch - would result in inconsistency if applied only for MOPR - does not reflect actual historic revenues that would have been received | - attempts to model future DA versus RT commitment - attempts to reflect expected revenues | - concern regarding liquidity impacting practicality of implementation - would result in inconsistency if applied only for MOPR - potential forecast error - might be overly complex compared to benefits - does not reflect actual historic revenues that would have been received

## Interests
PJM MRC
Energy and Ancillary Service Offset
Identify benefits and costs of changing from real-time to day-ahead LMP.
Updated August 5, 2011
ID | Stakeholder Interests and Concerns
1 | Accurate modeling of Reference Resources, whether CT or CCGT, regarding where energy revenues are generated. Desire is for use of actual dispatch conditions.
2 | Accurate modeling related to minimum run requirements.
3 | Desire consistency in application of the calculation of EAS Offset. (MOPR Screen and VRR Curve)
4 | Allow new capacity to enter when needed but not when there is a large surplus of capacity.
5 | Accuracy of calculation (e.g. LMP point utilized such as generation bus or load bus)
6 | Represent how units obtain EAS revenue from the market.
7 | EAS Offset should not be calculated such that a merchant model is favored over other business models.
8 | Does hour ending 0800 preclude potential revenues that could be received?
9 | Is the historic nature of the EAS Offset calculation appropriate? Is there a better approach?
10 | Desire a final report that identifies pros/cons for consistent versus custom treatment of EAS offset for all uses
11 | Desire ability to use method for all market participants (e.g. market seller offer cap)