## Triennial Review
PJM MRC
Triennial Review of VRR Curve
triennial review of: (1) the shape of the VRR Curve, (2) the Cost of New Entry (CONE) for each CONE area, and (3) the methodology for determining the Net Energy and Ancillary Services Revenue Offset (E&AS Offset) for the PJM Region and for each Zone
Updated September 12, 2011
ID | Design Component | Importance | Component Solution Options
|  |  | PJM Recommendation | A | B | C | D | E
1 | Gross CONE | High | update CONE values for 15/16 BRA (kW-year): CONE Area 1: $134.00 CONE Area 2: $123.70 CONE Area 3: $123.50 CONE Area 4: $130.10 CONE Area 5: $111.00 | If we update using nominal level values then hold constant until next TR. | If update with level real, then escalte with HWI until next TR. | Use Gross CONE with SCR costs excluded.
2 | Levelization Method | High | retain level-nominal method | real levelization method | Real levelization method contingent upon a forward looking E&AS offset
3 | Reference Resource Technology | High | Combustion Turbine (CT) | The technology with the lowest Net CONE. Use a cross section of potential resources {CC, Coal, Wind, DR} | The technology with the lowest Net CONE. Use a cross section of potential resources {CC or CT}
4 | Net E&AS Revenue Offset Methodology | High | revise peak-hour dispatch method to reflect actual dispatch operations (i.e. dispatch CT first against DA LMPs and then against RT LMPs if DA LMPs do not support CT commitment) | PJM's methodology allowing for further examination of blocks to be used. Both time and duration of blocks. | Reducing the E&AS offset size by the amount of historical error. | Status Quo | Modify offset for RTO demand curve: (a). Use the Net CONE from the 5 CONE areas; or, (b). Use the zone from the rest of the RTO with the highest E&AS offset. | Look at Gen weighted average LMP by zone instead of load weight LMP average
5 | VRR Curve Shape | High | Raise Point "a" to (1.0 x CONE) above Point "b" | Status Quo (1.5 Net CONE) point "a" | Set point "a" greater of (1.5 Net CONE) or, (Gross CONE [if nominal Gross CONE; if real 1.15 * Gross CONE]) | point "a" use E&AS = MAX(E&AS) or (x * Gross CONE) | Look for backstops to address reliability concerns versus looking at VRR curve shape. | Raise Point "a" to (0.5 x Gross CONE) above Point "b"
6 | Net CONE |  |  | Percentage limit on year-to-year Net CONE changes

## Interests
PJM MRC
Triennial Review of VRR Curve
triennial review of: (1) the shape of the VRR Curve, (2) the Cost of New Entry (CONE) for each CONE area, and (3) the methodology for determining the Net Energy and Ancillary Services Revenue Offset (E&AS Offset) for the PJM Region and for each Zone
Last Updated September 12, 2011
ID | Stakeholder Interests and Concerns
1 | As realistic as possible the assumptions about environmental controls used for determining CONE
2 | Improved predictability in capacity prices.
3 | Having an accurate capturing of the E&AS offsets by actual reference units.
4 | Ensuring adequate capacity; not prejuding the VRR curve.
5
6
7
8
9
10
11