## ProposalComparison
DR Subzonal Dispatch - Solution Matrix (Proposal Comparison)
Design Criteria (or Component) |  | Importance Level |  | Proposed Solution
|  |  | Current Rules | PJM | CSP (Voluntary) | CSP (Mandatory)
1 | Basis of subzone |  | PJM has flexibility based on system conditions but has implemented procedures to use Zip Codes | Zip Code (current procedure) | same as PJM | same as PJM
2 | Timing of when subzones are established |  | PJM has flexibility based on system conditions but has implemented procedures to contact CSP as far in advance as possible if considering a new subzone | 1 day before dispatch but provide as much advance warning to CSP as possible | same as PJM | 90 days prior to Delivery Year
3 | Most granular dispatch instruction * |  | Registration | Registration (current rules) | Location | Location
4 | Subzonal dispatch will be done for what reason? |  | Targeted Reliability reasons - For example, PJM to called on Norfolk portion of Dom zone. | Targeted Reliability reasons - For example, PJM to called on Norfolk portion of Dom zone. | same as PJM | same as PJM
5 | Primary method for CSP notification |  | ALL CALL. Secondary information includes Emergency Messages in eData, emails and posting event directly in eLRS | Electronic message - PJM will send list of registrations that need to respond | same as PJM | same as PJM
6 | When to measure and report capacity compliance? |  | always | always | same as PJM | same as PJM
7 | Which subzonal events will be subject to penalties? | High | all subzonal events | Only apply penalty for subzones created 1 day before dispatch (see B2) | Never apply penalties | Only apply penalty if subzone set up 90 days before DY. (see A2)
8 | Event compliance calculation |  | Mandatory response counts as 1 event & use proration process for commitment (current rules) | Mandatory response counts as 1 event & use proration process for commitment (current rules) | Not applicable | same as PJM
9 | Which registrations are required to test? | High | Only those registrations that did not have a mandatory requirement to respond (current rule) | Only those registrations that did not have a mandatory requirement to respond (current rule) | All registrations that did not report sub zonal event performance to registered level | CSP may choose whether to use a) Only those registrations that did not have a mandatory requirement to respond or b) conduct and use zonal test results which may occur before or after the sub zonal event.
10 | Compensation in the energy market |  | Higher of LMP or strike price (current rule) | Higher of LMP or strike price (current rule) | same as PJM | Pay premium in addition to higher of LMP or strike price
* DLC will only be dispatched by zip code or registration if CSP has operational capability to dispatch accordingly. PJM will instruct DLC on specific actions for subzonal events.

## SolutionMatrix_PJMProposal
DR Subzonal Dispatch - Solution Matrix (PJM)
Design Criteria (or Component) |  | Importance Level | Suggested Potential Component Solutions
|  |  | A | B | C | D | E | F | G
1 | Basis of subzone |  | EDC Operating Company | State | Zip Code (current procedure) | pNode
2 | Timing of when subzones are established |  | As needed based on system conditions (current rules) | 1 day before dispatch but provide as much advance warning to CSP as possible | 90 days prior to Delivery Year
3 | Most granular dispatch instruction* |  | Registration (current rules) | Location
4 | Subzonal dispatch will be done for what reason? |  | Targeted Reliability reasons - For example, PJM to called on Norfolk portion of Dom zone.
5 | Primary method for CSP notification |  | ALL Call (current rules) | Electronic message - PJM will send list of registrations that need to respond
6 | When to measure and report capacity compliance? |  | always | whenever a penalty may be assessed
7 | Which subzonal events will be subject to penalties? |  | Apply penalties if registration was dispatched (current rules) | Only apply penalty for subzones created 1 day before dispatch (see B2) | Only apply penalty if subzone set up 90 days before DY. (see A2) | Never apply penalties
8 | Event compliance calculation |  | Mandatory response counts as 1 event & use proration process for commitment (current rules) | Not applicable
9 | Which registrations are required to test? |  | All registrations in zone if not dispatched at zonal level | Only those registrations that did not have a mandatory requirement to respond (current rule) | Only those registrations that did not have a mandatory requirement to respond. But can use zonal test results if CSP tested entire zone prior to subzonal event. | No registrations in zone if any part of zone was dispatched | All registrations test at subzone level | CSP may choose whether to use a) Only those registrations that did not have a mandatory requirement to respond or b) conduct and use zonal test results which may occur before or after the sub zonal event. | All registrations that did not report sub zonal event performance to registered level
10 | Compensation in the energy market |  | Higher of LMP or strike price (current rule) | Pay premium in addition to higher of LMP or strike price | pay LMP
* DLC will only be dispatched by zip code or registration if CSP has operational capability to dispatch accordingly. PJM will instruct DLC on specific actions for subzonal events.

## CSP Proposal (Voluntary)
DR Subzonal Dispatch - CSP Proposal (Voluntary)
Design Criteria (or Component) |  | Importance Level | Suggested Potential Component Solutions
|  |  | A | B | C | D | E | F | G
1 | Basis of subzone |  | EDC Operating Company | State | Zip Code (current procedure) | pNode
2 | Timing of when subzones are established |  | As needed based on system conditions (current rules) | 1 day before dispatch but provide as much advance warning to CSP as possible | 90 days prior to Delivery Year
3 | Most granular dispatch instruction |  | Registration (current rules) | Location
4 | Subzonal dispatch will be done for what reason? |  | Targeted Reliability reasons - For example, PJM to called on Norfolk portion of Dom zone.
5 | Primary method for CSP notification |  | ALL Call (current rules) | Electronic message - PJM will send list of registrations that need to respond
6 | When to measure and report capacity compliance? |  | always | whenever a penalty may be assessed
7 | Which subzonal events will be subject to penalties? |  | Apply penalties if registration was dispatched (current rules) | Only apply penalty for subzones created 1 day before dispatch (see B2) | Only apply penalty if subzone set up 90 days before DY. (see A2) | Never apply penalties
8 | Event compliance calculation |  | Mandatory response counts as 1 event & use proration process for commitment (current rules) | Not applicable
9 | Which registrations are required to test? |  | All registrations in zone if not dispatched at zonal level | Only those registrations that did not have a mandatory requirement to respond (current rule) | Only those registrations that did not have a mandatory requirement to respond. But can use zonal test results if CSP tested entire zone prior to subzonal event. | No registrations in zone if any part of zone was dispatched | All registrations test at subzone level | CSP may choose whether to use a) Only those registrations that did not have a mandatory requirement to respond or b) conduct and use zonal test results which may occur before or after the sub zonal event. | All registrations that did not report sub zonal event performance to registered level
10 | Compensation in the energy market |  | Higher of LMP or strike price (current rule) | Pay premium in addition to higher of LMP or strike price | pay LMP

## CSP Proposal (Mandatory)
DR Subzonal Dispatch - CSP Proposal (Mandatory)
Design Criteria (or Component) |  | Importance Level | Suggested Potential Component Solutions
|  |  | A | B | C | D | E | F | G
1 | Basis of subzone |  | EDC Operating Company | State | Zip Code (current procedure) | pNode
2 | Timing of when subzones are established |  | As needed based on system conditions (current rules) | 1 day before dispatch but provide as much advance warning to CSP as possible | 90 days prior to Delivery Year
3 | Most granular dispatch instruction |  | Registration (current rules) | Location
4 | Subzonal dispatch will be done for what reason? |  | Targeted Reliability reasons - For example, PJM to called on Norfolk portion of Dom zone.
5 | Primary method for CSP notification |  | ALL Call (current rules) | Electronic message - PJM will send list of registrations that need to respond
6 | When to measure and report capacity compliance? |  | always | whenever a penalty may be assessed
7 | Which subzonal events will be subject to penalties? |  | Apply penalties if registration was dispatched (current rules) | Only apply penalty for subzones created 1 day before dispatch (see B2) | Only apply penalty if subzone set up 90 days before DY. (see A2) | Never apply penalties
8 | Event compliance calculation |  | Mandatory response counts as 1 event & use proration process for commitment (current rules) | Not applicable
9 | Which registrations are required to test? |  | All registrations in zone if not dispatched at zonal level | Only those registrations that did not have a mandatory requirement to respond (current rule) | Only those registrations that did not have a mandatory requirement to respond. But can use zonal test results if CSP tested entire zone prior to subzonal event. | No registrations in zone if any part of zone was dispatched | All registrations test at subzone level | CSP may choose whether to use a) Only those registrations that did not have a mandatory requirement to respond or b) conduct and use zonal test results which may occur before or after the sub zonal event. | All registrations that did not report sub zonal event performance to registered level
10 | Compensation in the energy market |  | Higher of LMP or strike price (current rule) | Pay premium in addition to higher of LMP or strike price | pay LMP

## SolutionMatrix
DR Subzonal Dispatch - Solution Matrix (template)
Design Criteria (or Component) |  | Importance Level | Suggested Potential Component Solutions
|  |  | A | B | C | D | E | F | G
1 | Basis of subzone |  | EDC Operating Company | State | Zip Code (current procedure) | pNode
2 | Timing of when subzones are established |  | As needed based on system conditions (current rules) | 1 day before dispatch but provide as much advance warning to CSP as possible | 90 days prior to Delivery Year
3 | Most granular dispatch instruction |  | Registration (current rules) | Location
4 | Subzonal dispatch will be done for what reason? |  | Targeted Reliability reasons - For example, PJM to called on Norfolk portion of Dom zone.
5 | Primary method for CSP notification |  | ALL Call (current rules) | Electronic message - PJM will send list of registrations that need to respond
6 | When to measure and report capacity compliance? |  | always | whenever a penalty may be assessed
7 | Which subzonal events will be subject to penalties? |  | Apply penalties if registration was dispatched (current rules) | Only apply penalty for subzones created 1 day before dispatch (see B2) | Only apply penalty if subzone set up 90 days before DY. (see A2) | Never apply penalties
8 | Event compliance calculation |  | Mandatory response counts as 1 event & use proration process for commitment (current rules)
9 | Which registrations are required to test? |  | All registrations in zone if not dispatched at zonal level | Only those registrations that did not have a mandatory requirement to respond (current rule) | Only those registrations that did not have a mandatory requirement to respond. But can use zonal test results if CSP tested entire zone prior to subzonal event. | No registrations in zone if any part of zone was dispatched | All registrations test at subzone level | Only those registrations that did not have a mandatory requirement to respond. But can use zonal test results that occur after the subzonal event. | All registrations that did not report sub zonal event performance to registered level
10 | Compensation in the energy market |  | Higher of LMP or strike price (current rule) | Pay premium in addition to higher of LMP or strike price | pay LMP