## Notes
Please see example tempate for details on how to fill out this template:
http://pjm.com/~/media/planning/rtep-dev/expan-plan-process/ferc-order-1000/rtep-proposal-windows/2014-rtep-proposal-window-template.ashx
Notes for Proposal Template
1. Costs for each componenet as well as total cost must be provided (in current year dollars for all proposals. Additionally cost in In-Service Year dollars must be provided for Market Efficiency Proposals)
2. Any nearby overloads not addressed, or violations casued by proposal not addressed must be included
PJM requires the following Files to be provided
1. Idevs to model the proposed upgrade for each component (please only use unused bus numbers for the creation of new buses)
2. Updated Contingency if upgrade is a new facility or changes the configuration of an existing facility
3. Single line diagram if upgrade is new facility or changes the configuration of an existing facility
4. Project specifics, including by not limited to: Conductor type, mileage, tower type, configuration and technology
For more detailed projects an additional narrative may be needed to addreses specifics of a project including (when applicible):
1. Short Circuit and Stability evidence
2. Location plan for work at existing substations
3. Ariel map of the project that reflects route(s) for new facilities
4. Assumtions and/or modifications associated with any protection and control (relaying) work at existing stations
5. Durations and Outages of existing facilities required to complete construction
6. Right of ways, siting and permiting

## Proposal Template
2015 RTEP Proposal Template
Proposing Entity:
Proposal Window:
Proposal ID #:
Overloaded Facilities | [6 empty] | Proposal Information (public posting) | [6 empty] | Detailed Proposal Information
FG # | Analysis Type | Bus # | Facility Name | To Bus # | To Bus Name | CKT | Upgrade/Greenfield | Proposing Entity | Total Project Cost | Target Zone(s) | kV Level | Analysis Type | General Description/Scope | Component 1 | Component 2 | Component 3 | Component 4 | Component 5 | Component 6 | Component 7 | Component 8 | Component 9 | Component 10
Nearby Overloads not addressed by propal/caused by proposal | [12 empty] | Cost of each Componenet | $ | $ | $ | $ | $ | $ | $ | $ | $ | $
Anticipated IS Date:
Expected Outages Need for construction:
Additional Benefits:
This project or a portion of this project spans (e.g. ties between or taps) between two PJM Transmission Owner zones or between PJM and a neighboring Balancing Authority. This group includes transmission that spans two or more affiliated companies (e.g. MetEd and Allegheny Power).