## Base Case Congestion
2024/25 Market Efficiency Base Case (results posted on 03/03/2025) (This is NOT the list of Eligible Congestion Drivers)* |  |  | Base Case ($Million) |  |  |  | Base Case (Hours Binding)
Constraint | From Area | To Area | 2025 Input Assumptions | 2029 Input Assumptions | 2032 Input Assumptions | 2035 Input Assumptions | 2025 Input Assumptions | 2029 Input Assumptions | 2032 Input Assumptions | 2035 Input Assumptions | Type
Francisco-Douglas 345 kV | DUK-IN | DUK-IN | 20.233 | 106.1472 | 53.8408 | 57.6677 | 906 | 1975 | 835 | 708 | M2M
Whitestown-Guion 345 kV | DUK-IN | IPL | 0 | 84.621 | 123.1635 | 111.4581 | 0 | 2393 | 3353 | 2734 | M2M
Wolfs Crossing #81 TR 345/138 kV | COMED | COMED | 44.4616 | 77.9476 | 82.1513 | 49.1795 | 547 | 637 | 566 | 425
P9700 East -Olive 345 kV | NIPS | AEP | 8.7683 | 56.8164 | 3.3184 | 1.2328 | 114 | 481 | 26 | 10
He Hubbell-Batesville 138 kV | HE | DUK-IN | 4.9196 | 49.2431 | 20.483 | 33.0253 | 112 | 799 | 311 | 416 | M2M
Musevillle-Smith Mountain 138 kV | AEP | AEP | 0.63317 | 39.6473 | 51.5124 | 63.908 | 41 | 1149 | 1196 | 1087
AP South Interface | PJM | PJM | 0.24723 | 37.2964 | 220.119 | 814.2932 | 5 | 367 | 1423 | 2892 | Interface
Basin-Chesterfield 230 kV | DOM | DOM | 0 | 25.5246 | 38.9891 | 87.7244 | 0 | 473 | 698 | 1271
East Lima-Haviland 138 kV | AEP | AEP | 0 | 23.7046 | 20.6884 | 27.7508 | 0 | 752 | 582 | 698
Electric Junction (B)-Nelson (B) 345 kV | COMED | COMED | 3.1564 | 16.6043 | 67.9188 | 77.2294 | 74 | 174 | 512 | 536 | M2M
Cherry Valley(B)-Silver Lake (R) 345 kV | COMED | COMED | 27.7787 | 16.5283 | 57.7314 | 100.6622 | 331 | 198 | 507 | 820 | M2M
Joshua Falls-Yeat Interface | PJM | PJM | 2.4935 | 14.3691 | 80.286 | 400.2102 | 45 | 193 | 770 | 1994 | Interface
Haumesser Rd. (R)-W De Kalb Tap (R) 138 kV | COMED | COMED | 1.0348 | 13.1927 | 10.0565 | 16.0658 | 107 | 595 | 367 | 525
Crescent Ridge (R)-Corbin 138 kV | COMED | AMIL | 12.2858 | 11.7644 | 8.0385 | 15.1863 | 750 | 589 | 514 | 831 | M2M
Kewanee 138 kV Disconnect B1Z5 | COMED | COMED | 6.4881 | 8.7258 | 12.8308 | 14.0071 | 793 | 890 | 967 | 962 | M2M
West Interface | PJM | PJM | 0.98671 | 6.1233 | 0.063572 | 0.11815 | 85 | 286 | 4 | 10 | Interface
Quad Cities-Cordova 345 kV | COMED | MEC | 0.0027751 | 4.9016 | 8.1068 | 7.6086 | 1 | 56 | 107 | 71 | M2M
Lenox-Macnew AEC 115 kV | PENELEC | PENELEC | 3.1329 | 4.4561 | 9.1456 | 15.3802 | 967 | 1717 | 2066 | 2910
Kewanee-Putnam 138 kV | COMED | AMIL | 4.6661 | 4.1247 | 5.5971 | 12.464 | 306 | 192 | 222 | 353 | M2M
He Hubbell-Sunman Weisburg 138 kV | HE | DUK-IN | 0 | 2.8064 | 2.3469 | 3.4695 | 0 | 72 | 82 | 105 | M2M
50045005 Interface | PJM | PJM | 0.065887 | 2.8049 | 0.094995 | 0.041615 | 8 | 145 | 6 | 2 | Interface
Mcgirr Rd-Rochelle Tap (R) 138 kV | COMED | COMED | 0.00013585 | 2.3257 | 1.6837 | 1.8375 | 2 | 365 | 224 | 226
Cherry Valley CB 138kV | COMED | COMED | 2.8522 | 2.3128 | 1.9423 | 2.5598 | 33 | 25 | 16 | 27
Chicago Avenue-Praxair 138 kV | NIPS | NIPS | 0.16469 | 2.2508 | 9.7366 | 7.5052 | 121 | 634 | 575 | 521 | M2M
Siefried #4 TR 230/138 kV | PLGRP | PLGRP | 0 | 2.2241 | 3.8484 | 3.5672 | 0 | 16 | 17 | 22
Roxana-State Line (B) 138 kV | COMED | NIPS | 0.029666 | 2.2234 | 3.816 | 4.2203 | 38 | 583 | 413 | 536 | M2M
Dune Acres-Michigan City 138 kV | NIPS | NIPS | 4.4919 | 2.1846 | 14.9816 | 5.2796 | 94 | 31 | 196 | 87 | M2M
Elkhorn-North Lake Geneva 138 kV | ALTE | ALTE | 0.18712 | 1.8378 | 2.6171 | 1.9702 | 37 | 169 | 222 | 172 | M2M
Garrett Tap-Garrett 115 kV | PENELEC | APS | 0.08347 | 1.7898 | 2.3645 | 2.7042 | 15 | 241 | 272 | 254
South Reading-Boonetown 230 kV | METED | METED | 1.3087 | 1.7801 | 22.064 | 49.7418 | 251 | 220 | 1766 | 2585
Braidwood (B)-AD1-100 Tap 345 kV | COMED | COMED | 10.1862 | 1.7322 | 2.8481 | 1.2853 | 190 | 18 | 27 | 24
Twin Branch-Meridian 345 kV | AEP | AEP | 1.0549 | 1.457 | 11.7223 | 5.5916 | 29 | 25 | 76 | 77
Quad Cities-Sterling Steel 345 kV | COMED | COMED | 0 | 1.3807 | 35.3621 | 14.045 | 0 | 31 | 276 | 117 | M2M
Kittatinny-Bushkill 230 kV | PLGRP | JCPL | 0.14411 | 1.3482 | 3.7155 | 4.2144 | 9 | 27 | 17 | 15
West Point-Lanexa 115 kV | DOM | DOM | 0 | 1.2377 | 1.3405 | 1.3933 | 0 | 128 | 128 | 116
Leroy Center Q4-Spruce Q4 138 kV | FE-ATSI | FE-ATSI | 0.11529 | 1.224 | 1.0343 | 0.13816 | 24 | 125 | 97 | 34
Mazon (R)-AD2-066 Tap 138 kV | COMED | COMED | 0 | 1.0593 | 0.80099 | 1.3098 | 0 | 57 | 46 | 68 | M2M
Loretto (B)-AD1-100 Tap 345 kV | COMED | COMED | 0 | 0.92977 | 0 | 0.044001 | 0 | 15 | 0 | 3
Kittanning-All Dam 6 Tap 138 kV | APS | APS | 0.55821 | 0.91456 | 0.11902 | 0.13942 | 152 | 84 | 16 | 11
Green Acres-P9700 East 345 kV | NIPS | NIPS | 0.12991 | 0.91306 | 0 | 0 | 1 | 10 | 0 | 0
Earleys-Firetower 230 kV | DOM | DOM | 0 | 0.90736 | 0.050051 | 2.1939 | 0 | 16 | 1 | 27
Sorensen-Marysville 765 kV | AEP | AEP | 0 | 0.8816 | 1.3697 | 3.019 | 0 | 7 | 6 | 15
Chickahominy-Elko 230 kV | DOM | DOM | 0 | 0.78903 | 2.0303 | 2.3286 | 0 | 12 | 19 | 22
Benton Harbor-Segreto 345 kV | AEP | AEP | 0.0016943 | 0.78211 | 0 | 0 | 2 | 24 | 0 | 0 | M2M
Tanners Creek-Miami Fort 345 kV | AEP | DEOK | 0.14491 | 0.7253 | 1.9701 | 2.9521 | 6 | 13 | 28 | 40 | M2M
Bennett-Milford 230 kV | DPL | DPL | 1.4596 | 0.66982 | 1.2749 | 0.68829 | 10 | 5 | 12 | 5
Munster-Burnham (R) 345 kV | NIPS | COMED | 0 | 0.64884 | 42.4942 | 39.013 | 0 | 38 | 374 | 311 | M2M
Dauphin-Juniata 230 kV | PLGRP | PLGRP | 0 | 0.60787 | 5.8166 | 36.8354 | 0 | 10 | 31 | 102
Fork Union-Bremo 115 kV | DOM | DOM | 0.55295 | 0.5297 | 0.48977 | 2.6982 | 15 | 52 | 54 | 157
Battleboro-Rocky Mount 115 kV | DOM | CPLE | 0.27126 | 0.51271 | 0.46101 | 1.4361 | 27 | 35 | 30 | 78
Mount Eagle-Cunningham 230 kV | DOM | DOM | 0 | 0.46459 | 0.15428 | 0.1251 | 0 | 5 | 2 | 2
Danville-East Danville 138 kV | AEP | AEP | 0.49157 | 0.44216 | 0.12982 | 6.1413 | 23 | 23 | 3 | 19
Harwood-Susquehanna 230 kV | PLGRP | PLGRP | 0.10003 | 0.41618 | 0.01406 | 0.044779 | 17 | 29 | 2 | 3
Kokomo Highland Park-Tipton 230 kV | DUK-IN | DUK-IN | 5.9907 | 0.4128 | 4.9528 | 8.0826 | 396 | 26 | 97 | 131 | M2M
Altavista #3 TR 138/115 kV | DOM | DOM | 1.0981 | 0.35917 | 0.15079 | 0.49824 | 81 | 16 | 7 | 7
Hillside PAR-East Towanda 230 kV | PENELEC | NYZC | 0.74278 | 0.34249 | 1.5414 | 2.0661 | 1889 | 869 | 1506 | 1678
Streator-AC1-168 138 kV | COMED | COMED | 0.17781 | 0.33903 | 0.35929 | 0.41931 | 28 | 47 | 33 | 35
Eugene-Cayuga 345 kV | AEP | DUK-IN | 0.45455 | 0.31666 | 6.733 | 0.20408 | 44 | 20 | 156 | 10 | M2M
Lallendorf-Monroe 1&2 345 kV | FE-ATSI | DECO | 1.1398 | 0.30474 | 0.48697 | 0 | 146 | 38 | 31 | 0 | M2M
Allen-R.P. Mone 345 kV | AEP | AEP | 0 | 0.29955 | 0.13827 | 0 | 0 | 2 | 1 | 0 | M2M
Gibson-Douglas 345 kV | DUK-IN | DUK-IN | 0.057164 | 0.2749 | 0 | 0.30692 | 6 | 8 | 0 | 5 | M2M
Cedar Grove-Bullitt Country 161 kV | LKE | EKPC | 0.033825 | 0.27398 | 3.4145 | 0.42178 | 3 | 5 | 34 | 10
Toulon-Powerton 138 kV | COMED | COMED | 2.6994 | 0.25428 | 0 | 0.013209 | 156 | 24 | 0 | 2 | M2M
East Interface | PJM | PJM | 4.9204 | 0.25349 | 0 | 0 | 150 | 22 | 0 | 0 | Interface
Powerton (R)-Tazewell 345 kV | COMED | AMIL | 0 | 0.21904 | 5.7049 | 3.7208 | 0 | 10 | 140 | 111 | M2M
Nelson (B)-Lee County 345 kV | COMED | COMED | 0 | 0.20025 | 0.60901 | 0.48449 | 0 | 4 | 19 | 9 | M2M
Gunn Road Switching Station-Bokes Creek 345 kV | AEP | AEP | 0 | 0.17976 | 0 | 0.37944 | 0 | 3 | 0 | 5
Eugene-Bunsonville 345 kV | AEP | AMIL | 0.040515 | 0.15514 | 2.6686 | 2.623 | 2 | 4 | 29 | 44 | M2M
Danville-PJM Queue 138 kV | AEP | AEP | 0.23527 | 0.15062 | 0.057258 | 0 | 5 | 5 | 1 | 0
Edmonson-Black Walnut 230 kV | DOM | DOM | 0 | 0.1468 | 0 | 0 | 0 | 4 | 0 | 0
Cabin Hollow-Norwood Junction 69 KV | EKPC | EKPC | 0 | 0.13704 | 0.13705 | 0 | 0 | 1 | 1 | 0
Clifty Creek-Jefferson 345 kV | OVEC | AEP | 0 | 0.13524 | 0.12365 | 1.3866 | 0 | 2 | 7 | 15
Peters Mountain-Glen Lyn 138 kV | AEP | AEP | 0 | 0.12962 | 0.028749 | 7.2011 | 0 | 4 | 2 | 60
Stanley Terrance-McCarter 230 kV | PSEG | PSEG | 0.090111 | 0.11506 | 0.27625 | 0.23143 | 873 | 732 | 2470 | 3647
Bremo-Bremo 230 kV | DOM | DOM | 0 | 0.094201 | 0 | 0 | 0 | 5 | 0 | 0
Beverly (Washington IPP)-Muskingum River 345 kV | AEP | AEP | 0.056842 | 0.092619 | 0.059199 | 0.14872 | 10 | 20 | 7 | 10
Cordova Energy Center-Nelson 345 kV | COMED | COMED | 0 | 0.085548 | 1.0214 | 0.095544 | 0 | 2 | 16 | 4 | M2M
Ashtabula-Sanborn Q-1 138 kV | FE-ATSI | FE-ATSI | 0 | 0.084434 | 0.080393 | 0 | 0 | 18 | 8 | 0
AC1-164-Chickahominy 230 kV | DOM | DOM | 0.062718 | 0.082406 | 0.11125 | 0.094877 | 8 | 8 | 8 | 6
Cashie-Earleys 230 kV | DOM | DOM | 0 | 0.077911 | 0.11597 | 0.0070536 | 0 | 3 | 8 | 1
Lick Run-Rockwood 115 kV | PENELEC | PENELEC | 0 | 0.065707 | 0.10267 | 0.14117 | 0 | 16 | 27 | 41
Axton-PJM Queue AE2-140 138 kV | AEP | AEP | 0.12808 | 0.063208 | 0 | 9.6632 | 4 | 2 | 0 | 56
Matt Funk-Cloverdale 345 kV | AEP | AEP | 0 | 0.059934 | 0.98282 | 19.5598 | 0 | 4 | 22 | 197
Fowles Q-2-Pleasant Valley Q-2 138 kV | FE-ATSI | FE-ATSI | 0 | 0.051452 | 0 | 0.11426 | 0 | 2 | 0 | 3
College Corner-Colinsville 138 kV | AEP | DEOK | 0.00070937 | 0.03071 | 0.51653 | 18.1215 | 1 | 2 | 12 | 418 | M2M
Hegewisch (B)-Hegewisch Tap 138 kV | COMED | COMED | 0.016848 | 0.030015 | 0.32951 | 0.17636 | 31 | 172 | 360 | 400
Kickapoo Creek (B)-Lasalle (B) 138 kV | COMED | COMED | 0 | 0.028849 | 0.078012 | 0.031628 | 0 | 2 | 8 | 2
Cooper-Elihu 161 kV | EKPC | LKE | 0.0031288 | 0.028666 | 0.066096 | 0.0095574 | 2 | 5 | 6 | 3
West Orange-Orange Heights 230 kV | PSEG | PSEG | 0.00064932 | 0.019034 | 0.046251 | 0.061486 | 64 | 909 | 886 | 1044
Roseland-Cedar Grove 230 kV | PSEG | PSEG | 0.023278 | 0.016014 | 0.20906 | 0.12423 | 181 | 50 | 344 | 511
Mt. Zion-Westvaco 138 kV | APS | APS | 0 | 0.014983 | 0.20558 | 0.47536 | 0 | 1 | 15 | 26
Mazon (R)-Channahon West (R) 138 kV | COMED | COMED | 0 | 0.010005 | 0.057418 | 0.029636 | 0 | 2 | 4 | 2
East Towanda #3 TR 230/115 kV | PENELEC | PENELEC | 4.12e-05 | 0.0078512 | 0.025048 | 0.18524 | 1 | 125 | 142 | 149
Snyder-Sullivan 345 kV | AMIL | AEP | 0.047558 | 0.0078053 | 0.063086 | 0.29132 | 6 | 3 | 3 | 15 | M2M
AD1-022-Cashie 230kV | DOM | DOM | 0 | 0.0025756 | 0.19375 | 0.096525 | 0 | 3 | 14 | 4
Dickerson H-Dickerson 230 kV | PEPCO | PEPCO | 0.24173 | 0.0012248 | 0 | 0 | 4 | 1 | 0 | 0
PJM Queue AE2-113-Farmers Valley 115 kV | PENELEC | PENELEC | 0 | 0.0012079 | 0.049053 | 0.065926 | 0 | 19 | 54 | 68
Goose Creek-Aspen 500 kV | DOM | DOM | 0 | 0 | 45.2331 | 601.9468 | 0 | 0 | 400 | 1694
Red Lion-Keeney 230 kV | DPL | DPL | 0 | 0 | 122.9235 | 113.2489 | 0 | 0 | 972 | 883
Northern Neck-Sanders Del Pt 230 kV | DOM | DOM | 0 | 0 | 68.6162 | 101.274 | 0 | 0 | 67 | 116
Goose Creek TR 500/230 kV | DOM | DOM | 0 | 0 | 8.6655 | 84.9502 | 0 | 0 | 14 | 86
Aspen-Brambleton 500 kV | DOM | DOM | 0 | 0 | 0 | 63.2049 | 0 | 0 | 0 | 12
E Windsor-Windsor 230 kV | JCPL | JCPL | 0 | 0 | 40.0913 | 52.1889 | 0 | 0 | 141 | 149
Jacksons Ferry-Cloverdale 765 kV | AEP | AEP | 0 | 0 | 0.68053 | 30.3609 | 0 | 0 | 1 | 14
Three Mile Island-PJM Queue AE2-211 230 kV | METED | METED | 0 | 0 | 15.2908 | 27.523 | 0 | 0 | 121 | 212
PJM Queue AE2-140-Danville 138 kV | AEP | AEP | 0 | 0 | 0 | 19.4262 | 0 | 0 | 0 | 76
PJM Queue AE1-155-Northern Neck 115 kV | DOM | DOM | 0 | 0 | 0 | 11.7309 | 0 | 0 | 0 | 1089
Pleasant View TR 500/230 kV | DOM | DOM | 0 | 0 | 0.36618 | 11.0973 | 0 | 0 | 3 | 7
Moseley-Roanoke 138 kV | AEP | AEP | 0 | 0 | 0.61457 | 10.6929 | 0 | 0 | 2 | 33
Brunner Island-Yorkana 230 kV | PLGRP | METED | 0 | 0 | 0.37765 | 8.4819 | 0 | 0 | 8 | 134
Claytor-South Christainsburg 138 kV | AEP | AEP | 0 | 0 | 0.75158 | 8.2969 | 0 | 0 | 5 | 39
Sapony-Carson 230 kV | DOM | DOM | 0 | 0 | 0 | 8.0099 | 0 | 0 | 0 | 204
Cardiff-New Freedom 230 kV | AECO | PSEG | 0 | 0 | 4.6997 | 1.8553 | 0 | 0 | 49 | 18
Dearborn-Pierce 345 kV | OVEC | OVEC | 0 | 0 | 0.12461 | 4.5905 | 0 | 0 | 8 | 86
Northern Neck #6 TR 230/115 kV | DOM | DOM | 0 | 0 | 0.029779 | 4.1842 | 0 | 0 | 3 | 445
Black Oak-Bedington Interface | PJM | PJM | 0 | 0 | 0.064457 | 4.0983 | 0 | 0 | 1 | 2 | Interface
Bristers-Nokesville Del Pt 230 kV | DOM | DOM | 0 | 0 | 1.4386 | 3.7803 | 0 | 0 | 6 | 3
Middle Tap-Corson 138 kV | AECO | AECO | 0 | 0 | 2.0111 | 3.4977 | 0 | 0 | 61 | 67
Fieldale-Thornton 138 kV | AEP | AEP | 0 | 0 | 0 | 2.6217 | 0 | 0 | 0 | 10
Jackson-Bair 115 kV | METED | METED | 0 | 0 | 0.42657 | 2.3959 | 0 | 0 | 9 | 60
Saltville-Tazewell 138 kV | AEP | AEP | 0 | 0 | 0 | 2.2915 | 0 | 0 | 0 | 16
S River-Red Oak A 230 kV | JCPL | JCPL | 0 | 0 | 1.5774 | 0.25583 | 0 | 0 | 21 | 4
South Christainsburg-Tech Drive 138 kV | AEP | AEP | 0 | 0 | 0 | 1.4421 | 0 | 0 | 0 | 7
Silver Run-Hope Creek 230 kV | DPL | DPL | 0 | 0 | 1.3713 | 0.7934 | 0 | 0 | 14 | 17
Enclave-Sapony 230 kV | DOM | DOM | 0 | 0 | 0 | 1.23 | 0 | 0 | 0 | 160
Fieldale-Oaklevel 138 kV | AEP | AEP | 0 | 0 | 0 | 1.0536 | 0 | 0 | 0 | 11
Clubhouse-Otterdam 230 kV | DOM | DOM | 0 | 0 | 0.050681 | 1.0109 | 0 | 0 | 1 | 49
Saltville-Broadford 138 kV | AEP | AEP | 0.0023078 | 0 | 0 | 1.0011 | 1 | 0 | 0 | 41
AEP-DOM Interface | PJM | PJM | 0 | 0 | 0.44531 | 0.79675 | 0 | 0 | 7 | 14 | Interface
Havliland 138 kV CB J | AEP | AEP | 0.73777 | 0 | 0 | 0.00057844 | 34 | 0 | 0 | 37
Chuckatuck-Benns Church 230 kV | DOM | DOM | 0 | 0 | 0 | 0.73649 | 0 | 0 | 0 | 1
Cayuga-Cayuga 345 kV | DUK-IN | DUK-IN | 0 | 0 | 0.59979 | 0 | 0 | 0 | 10 | 0 | M2M
Bremo-New Bus 138 kV | DOM | AEP | 0 | 0 | 0 | 0.55267 | 0 | 0 | 0 | 42
Hayes-Lemmerz-East Akron 138 kV | FE-ATSI | FE-ATSI | 0.46688 | 0 | 0 | 0 | 3 | 0 | 0 | 0
Oaklevel-Grassy Hill 138 kV | AEP | AEP | 0 | 0 | 0 | 0.44794 | 0 | 0 | 0 | 1
Thornton-Franklin 138 kV | AEP | AEP | 0 | 0 | 0 | 0.37544 | 0 | 0 | 0 | 2
Collier-Elwyn 138 kV | DUQ | DUQ | 0 | 0 | 0 | 0.34785 | 0 | 0 | 0 | 1
Pruntytown-Mount Storm 500 kV | APS | DOM | 0 | 0 | 0.31656 | 0 | 0 | 0 | 4 | 0
Fentress-Thrasher 230 kV | DOM | DOM | 0 | 0 | 0.30861 | 0.12368 | 0 | 0 | 3 | 1
Ridgeley-Hampshire 138 kV | APS | APS | 0 | 0 | 0.088125 | 0.2967 | 0 | 0 | 4 | 9
Clinch River-Lebanon 138 kV | AEP | AEP | 0 | 0 | 0 | 0.28541 | 0 | 0 | 0 | 4
Northwood-Glendon 115 kV | METED | METED | 0 | 0 | 0.24392 | 0 | 0 | 0 | 2 | 0
Comorn Del Pt-Birchwood 230 kV | DOM | DOM | 0 | 0 | 0.23376 | 0 | 0 | 0 | 5 | 0
Putnam-Mittal Steel 138 kV | AMIL | AMIL | 0.22254 | 0 | 0 | 0 | 56 | 0 | 0 | 0 | M2M
Towerline-Powerton 138 kV | AMIL | COMED | 0 | 0 | 0.20307 | 0.13175 | 0 | 0 | 24 | 10 | M2M
East Bend-Terminal 345 kV | DEOK | DEOK | 0 | 0 | 0.044273 | 0.1895 | 0 | 0 | 1 | 3
Southwest Lima-West Moulton 138 kV | AEP | AEP | 0.16726 | 0 | 0.0076075 | 0 | 11 | 0 | 2 | 0
Atlantic-S River 230 kV | JCPL | JCPL | 0 | 0 | 0 | 0.16284 | 0 | 0 | 0 | 1
Ferguson South -Somerset 69 kV | LKE | EKPC | 0 | 0 | 0.14047 | 0 | 0 | 0 | 10 | 0
Dickerson H-Edwards Ferry 230 kV | PEPCO | DOM | 0 | 0 | 0 | 0.13911 | 0 | 0 | 0 | 10
Yorkana-Brunner Island 230 kV | METED | PLGRP | 0 | 0 | 0 | 0.13835 | 0 | 0 | 0 | 1
Joshua Falls TR 765/138 kV | AEP | AEP | 0 | 0 | 0.12263 | 0.099461 | 0 | 0 | 2 | 2
Farmville #5 TR 230/115 kV | DOM | DOM | 0 | 0 | 0 | 0.11944 | 0 | 0 | 0 | 10
Rock Creek-Quad Cities 345 kV | ALTW | COMED | 0 | 0 | 0.11919 | 0 | 0 | 0 | 3 | 0 | M2M
Highland-Commerce 138 kV | FE-ATSI | FE-ATSI | 0.1028 | 0 | 0.066388 | 0 | 4 | 0 | 1 | 0
PJM Queue AE1-103-Holland 115 kV | DOM | DOM | 0 | 0 | 0 | 0.10251 | 0 | 0 | 0 | 9
Juniata #2 TR 500/230 kV | PLGRP | PLGRP | 0 | 0 | 0 | 0.087295 | 0 | 0 | 0 | 1
Shelocta #2 TR 115/230 kV | PENELEC | PENELEC | 0.0044895 | 0 | 0 | 0.085422 | 2 | 0 | 0 | 1
Wilton Center (B)-PJM Queue AD1-100 345 kV | COMED | COMED | 0 | 0 | 0.08144 | 0.02181 | 0 | 0 | 3 | 2
Dresden (B) #81 TR 345/138 kV | COMED | COMED | 0.078392 | 0 | 0.022332 | 0 | 4 | 0 | 1 | 0
Elizabeth City-Shawboro 230 kV | DOM | DOM | 0 | 0 | 0.012029 | 0.074569 | 0 | 0 | 1 | 2
Edgewater-Vasco Tap 138 kV | APS | APS | 0 | 0 | 0.073689 | 0.0056595 | 0 | 0 | 4 | 1
Timber Switch-Havliland 138 kV | AEP | AEP | 0 | 0 | 0 | 0.063168 | 0 | 0 | 0 | 9
Clifty Creek-Carrollton 138 kV | OVEC | LKE | 0.060666 | 0 | 0 | 0 | 2 | 0 | 0 | 0
Bunsonville-Eugene 345 kV | AMIL | AEP | 0 | 0 | 0.0054541 | 0.058463 | 0 | 0 | 1 | 3 | M2M
Plum-Universal 138 kV | DUQ | DUQ | 0.058173 | 0 | 0 | 0 | 18 | 0 | 0 | 0
Electric Junction (B)-Aurora EC 138 kV | COMED | COMED | 0 | 0 | 0 | 0.05334 | 0 | 0 | 0 | 6
PJM Queue AD1-128-Modoc 138 kV | AEP | AEP | 0 | 0 | 0.02206 | 0.05066 | 0 | 0 | 2 | 9
*Note: Includes PJM internal and prospective M2M constraints >= $100,000 in 2025, 2029, 2032 or 2035. This list DOES NOT represent the list of congestion drivers for the 2024/25 Long-Term Window.

## 2025 Load Report Sensitivity
2024/25 Market Efficiency Sensitivity Comparison (results posted on 03/03/2025) (This is NOT the list of Eligible Congestion Drivers)* |  |  | Sensitivity Comparison ($Million) |  | Sensitivity Comparison (Hours Binding)
Constraint | From Area | To Area | 2029 Input Assumptions | 2029 Sensitivity (2025 Load Report) Input Assumptions | 2029 Input Assumptions | 2029 Sensitivity (2025 Load Report) Input Assumptions | Type
Francisco-Douglas 345 kV | DUK-IN | DUK-IN | 106.1472 | 84.5508 | 1975 | 1570 | M2M
Whitestown-Guion 345 kV | DUK-IN | IPL | 84.621 | 93.8171 | 2393 | 2692 | M2M
Wolfs Crossing #81 TR 345/138 kV | COMED | COMED | 77.9476 | 0.16993 | 637 | 9
P9700 East -Olive 345 kV | NIPS | AEP | 56.8164 | 50.5984 | 481 | 530
He Hubbell-Batesville 138 kV | HE | DUK-IN | 49.2431 | 77.4455 | 799 | 1124 | M2M
Musevillle-Smith Mountain 138 kV | AEP | AEP | 39.6473 | 53.6175 | 1149 | 1355
AP South Interface | PJM | PJM | 37.2964 | 8.9666 | 367 | 112 | Interface
Basin-Chesterfield 230 kV | DOM | DOM | 25.5246 | 46.6344 | 473 | 1068
East Lima-Haviland 138 kV | AEP | AEP | 23.7046 | 1.73 | 752 | 88
Electric Junction (B)-Nelson (B) 345 kV | COMED | COMED | 16.6043 | 4.2873 | 174 | 51 | M2M
Cherry Valley(B)-Silver Lake (R) 345 kV | COMED | COMED | 16.5283 | 108.1377 | 198 | 857 | M2M
Joshua Falls-Yeat Interface | PJM | PJM | 14.3691 | 4.7432 | 193 | 68 | Interface
Haumesser Rd. (R)-W De Kalb Tap (R) 138 kV | COMED | COMED | 13.1927 | 5.5445 | 595 | 245
Crescent Ridge (R)-Corbin 138 kV | COMED | AMIL | 11.7644 | 14.5705 | 589 | 670 | M2M
Kewanee 138 kV Disconnect B1Z5 | COMED | COMED | 8.7258 | 9.2969 | 890 | 844 | M2M
West Interface | PJM | PJM | 6.1233 | 9.6931 | 286 | 243 | Interface
Quad Cities-Cordova 345 kV | COMED | MEC | 4.9016 | 3.6478 | 56 | 68 | M2M
Lenox-Macnew AEC 115 kV | PENELEC | PENELEC | 4.4561 | 6.1076 | 1717 | 2107
Kewanee-Putnam 138 kV | COMED | AMIL | 4.1247 | 5.3753 | 192 | 252 | M2M
He Hubbell-Sunman Weisburg 138 kV | HE | DUK-IN | 2.8064 | 11.9104 | 72 | 208 | M2M
50045005 Interface | PJM | PJM | 2.8049 | 52.8862 | 145 | 1320 | Interface
Mcgirr Rd-Rochelle Tap (R) 138 kV | COMED | COMED | 2.3257 | 15.9996 | 365 | 1162
Cherry Valley CB 138kV | COMED | COMED | 2.3128 | 0 | 25 | 0
Chicago Avenue-Praxair 138 kV | NIPS | NIPS | 2.2508 | 1.6018 | 634 | 649 | M2M
Siefried #4 TR 230/138 kV | PLGRP | PLGRP | 2.2241 | 0 | 16 | 0
Roxana-State Line (B) 138 kV | COMED | NIPS | 2.2234 | 4.5338 | 583 | 866 | M2M
Dune Acres-Michigan City 138 kV | NIPS | NIPS | 2.1846 | 1.5223 | 31 | 48 | M2M
Elkhorn-North Lake Geneva 138 kV | ALTE | ALTE | 1.8378 | 2.0187 | 169 | 212 | M2M
Garrett Tap-Garrett 115 kV | PENELEC | APS | 1.7898 | 2.0232 | 241 | 247
South Reading-Boonetown 230 kV | METED | METED | 1.7801 | 11.18 | 220 | 688
Braidwood (B)-AD1-100 Tap 345 kV | COMED | COMED | 1.7322 | 0 | 18 | 0
Twin Branch-Meridian 345 kV | AEP | AEP | 1.457 | 0.073309 | 25 | 2
Quad Cities-Sterling Steel 345 kV | COMED | COMED | 1.3807 | 5.6377 | 31 | 104 | M2M
Kittatinny-Bushkill 230 kV | PLGRP | JCPL | 1.3482 | 0 | 27 | 0
West Point-Lanexa 115 kV | DOM | DOM | 1.2377 | 1.521 | 128 | 146
Leroy Center Q4-Spruce Q4 138 kV | FE-ATSI | FE-ATSI | 1.224 | 0.61307 | 125 | 101
Mazon (R)-AD2-066 Tap 138 kV | COMED | COMED | 1.0593 | 2.2094 | 57 | 114 | M2M
Loretto (B)-AD1-100 Tap 345 kV | COMED | COMED | 0.92977 | 5.5503 | 15 | 70
Kittanning-All Dam 6 Tap 138 kV | APS | APS | 0.91456 | 0.96039 | 84 | 127
Green Acres-P9700 East 345 kV | NIPS | NIPS | 0.91306 | 5.6963 | 10 | 39
Earleys-Firetower 230 kV | DOM | DOM | 0.90736 | 0.73027 | 16 | 15
Sorensen-Marysville 765 kV | AEP | AEP | 0.8816 | 0 | 7 | 0
Chickahominy-Elko 230 kV | DOM | DOM | 0.78903 | 3.6356 | 12 | 67
Benton Harbor-Segreto 345 kV | AEP | AEP | 0.78211 | 0.050491 | 24 | 2 | M2M
Tanners Creek-Miami Fort 345 kV | AEP | DEOK | 0.7253 | 3.2536 | 13 | 48 | M2M
Bennett-Milford 230 kV | DPL | DPL | 0.66982 | 0.70464 | 5 | 7
Munster-Burnham (R) 345 kV | NIPS | COMED | 0.64884 | 0.010435 | 38 | 1 | M2M
Dauphin-Juniata 230 kV | PLGRP | PLGRP | 0.60787 | 0 | 10 | 0
Fork Union-Bremo 115 kV | DOM | DOM | 0.5297 | 2.0446 | 52 | 245
Battleboro-Rocky Mount 115 kV | DOM | CPLE | 0.51271 | 0.92958 | 35 | 56
Mount Eagle-Cunningham 230 kV | DOM | DOM | 0.46459 | 1.3602 | 5 | 16
Danville-East Danville 138 kV | AEP | AEP | 0.44216 | 7.9429 | 23 | 250
Harwood-Susquehanna 230 kV | PLGRP | PLGRP | 0.41618 | 0 | 29 | 0
Kokomo Highland Park-Tipton 230 kV | DUK-IN | DUK-IN | 0.4128 | 0.04102 | 26 | 3 | M2M
Altavista #3 TR 138/115 kV | DOM | DOM | 0.35917 | 1.0224 | 16 | 44
Hillside PAR-East Towanda 230 kV | PENELEC | NYZC | 0.34249 | 0.33039 | 869 | 959
Streator-AC1-168 138 kV | COMED | COMED | 0.33903 | 0.40137 | 47 | 47
Eugene-Cayuga 345 kV | AEP | DUK-IN | 0.31666 | 0.046646 | 20 | 5 | M2M
Lallendorf-Monroe 1&2 345 kV | FE-ATSI | DECO | 0.30474 | 0.45921 | 38 | 34 | M2M
Allen-R.P. Mone 345 kV | AEP | AEP | 0.29955 | 0 | 2 | 0 | M2M
Gibson-Douglas 345 kV | DUK-IN | DUK-IN | 0.2749 | 0 | 8 | 0 | M2M
Cedar Grove-Bullitt Country 161 kV | LKE | EKPC | 0.27398 | 0 | 5 | 0
Toulon-Powerton 138 kV | COMED | COMED | 0.25428 | 0.034084 | 24 | 4 | M2M
East Interface | PJM | PJM | 0.25349 | 0.039213 | 22 | 7 | Interface
Powerton (R)-Tazewell 345 kV | COMED | AMIL | 0.21904 | 0.34307 | 10 | 23 | M2M
Nelson (B)-Lee County 345 kV | COMED | COMED | 0.20025 | 1.002 | 4 | 29 | M2M
Gunn Road Switching Station-Bokes Creek 345 kV | AEP | AEP | 0.17976 | 0 | 3 | 0
Eugene-Bunsonville 345 kV | AEP | AMIL | 0.15514 | 0.14844 | 4 | 7 | M2M
Danville-PJM Queue 138 kV | AEP | AEP | 0.15062 | 0.58312 | 5 | 10
Edmonson-Black Walnut 230 kV | DOM | DOM | 0.1468 | 0 | 4 | 0
Cabin Hollow-Norwood Junction 69 KV | EKPC | EKPC | 0.13704 | 0.18967 | 1 | 1
Clifty Creek-Jefferson 345 kV | OVEC | AEP | 0.13524 | 0 | 2 | 0
Peters Mountain-Glen Lyn 138 kV | AEP | AEP | 0.12962 | 0 | 4 | 0
Stanley Terrance-McCarter 230 kV | PSEG | PSEG | 0.11506 | 0.1978 | 732 | 1225
Bremo-Bremo 230 kV | DOM | DOM | 0.094201 | 0.60424 | 5 | 50
Beverly (Washington IPP)-Muskingum River 345 kV | AEP | AEP | 0.092619 | 1.0942 | 20 | 123
Cordova Energy Center-Nelson 345 kV | COMED | COMED | 0.085548 | 0.65188 | 2 | 20 | M2M
Ashtabula-Sanborn Q-1 138 kV | FE-ATSI | FE-ATSI | 0.084434 | 0.084239 | 18 | 16
AC1-164-Chickahominy 230 kV | DOM | DOM | 0.082406 | 0.043719 | 8 | 4
Cashie-Earleys 230 kV | DOM | DOM | 0.077911 | 0.083446 | 3 | 3
Lick Run-Rockwood 115 kV | PENELEC | PENELEC | 0.065707 | 0.06275 | 16 | 19
Axton-PJM Queue AE2-140 138 kV | AEP | AEP | 0.063208 | 0.18571 | 2 | 3
Matt Funk-Cloverdale 345 kV | AEP | AEP | 0.059934 | 0 | 4 | 0
Fowles Q-2-Pleasant Valley Q-2 138 kV | FE-ATSI | FE-ATSI | 0.051452 | 0.00055098 | 2 | 1
Hegewisch (B)-Hegewisch Tap 138 kV | COMED | COMED | 0.030015 | 0.064426 | 172 | 259
Kickapoo Creek (B)-Lasalle (B) 138 kV | COMED | COMED | 0.028849 | 0.33283 | 2 | 20
Cooper-Elihu 161 kV | EKPC | LKE | 0.028666 | 0.12784 | 5 | 13
Laurel Lake-Oakdale 115 kV | PENELEC | NYZC | 0.0071636 | 0.21479 | 39 | 203
Steward TSS 186-Haumesser Rd. (R) 138 kV | COMED | COMED | 0.004383 | 0.22353 | 4 | 32
Dickerson H-Dickerson 230 kV | PEPCO | PEPCO | 0.0012248 | 0.66144 | 1 | 13
Waterman-Sandwich (R) 138 kV | COMED | COMED | 0 | 51.0779 | 0 | 947
Sidney-Shelby 138 kV | DAY | DAY | 0 | 1.7921 | 0 | 46
Patriot Metals-Bluebell 138 kV | FE-ATSI | FE-ATSI | 0 | 0.20798 | 0 | 16
PJM Queue AD2-163-Broadview 138 kV | FE-ATSI | FE-ATSI | 0 | 0.058628 | 0 | 4
Wescosville #3 TR 500/138 kV | PLGRP | PLGRP | 0 | 4.8182 | 0 | 119
Highland-Commerce 138 kV | FE-ATSI | FE-ATSI | 0 | 0.36956 | 0 | 5
Wilton Center (B)-PJM Queue AD1-100 345 kV | COMED | COMED | 0 | 0.2629 | 0 | 5
Cedar-Oyster Creek 230 kV | AECO | JCPL | 0 | 0.21199 | 0 | 7
Safe Harbor-Manor 69 kV | PLGRP | PLGRP | 0 | 0.20465 | 0 | 23
Thomson-Kenzie Creek 345 kV | AEP | AEP | 0 | 0.087692 | 0 | 4
*Note: Includes PJM internal and prospective M2M constraints >= $100,000 in 2029. This list DOES NOT represent the list of congestion drivers for the 2024/25 Long-Term Window.