## Location
LOCATION INFORMATION
**DRAFT FOR DISCUSSION AT DISRS ONLY**
New field not currently in DR Hub
Note: A CSP/DERA wil be required to create a "Location" (i.e., premise) in order to participate in PJM's markets. The following fields represent the information that will be required (where applicable) to create a Location.
Field | Description | Notes
Identifying Information
DER Location | Identifies this location is for DER
Name | Identifies the end-use customer
Location ID |  | Auto-assigned
EDC Account Number | Unique EDC identifier for the electric service.
Address | The physical address of the end-use customer
City
State
Zip Code
CSP/DERA | Name of the DER Aggregator
EDC | EDC of the end-use customer
Zone | Transmission zone of the end-use customer.
Business Segment | Agriculture, Forestry and Fishing, Correctional Factilities, Critical Gas Infrastructure, Data Center, Data Center with Crypto Mining, Hospitals, Industrial/Manufacturing, Mining, Multiple Dwelling Unit, Office Building, Residential, Retail Service, Schools, Services, Transportation, Communications, Electric, Gas and Sanitary Services
Component DER Type | DR, Distributed Generation, DR with Distributed Injections, Retail BTMG with only the distribution injection participating in the wholesale market
Tecnology Type | Same as ELCC categories
Electrical Location | PSS/E Bus ID(s) | EDC Assigns; if multiple, include weighting factors
Meter Equipment
Meter Type | EDC, CSP/DERA
Meter Equipment | Name of metering equipment (if Aggregator meter) | Not required if EDC meter
Interval | Minute, Hourly, Telemetry, Other | Not required if EDC meter
Installation Date |  | Not required if EDC meter
Installation QA Plan |  | Not required if EDC meter
I certify the meter has been installed according to this QA Plan |  | Not required if EDC meter
Capability Summary
Max Load Reduction Capability (kW) | Max load reduction amount, populated based on the entries in the Load Reduction Method section
Max Injections (kW) | Max injection amount based on interconnection process, populated based on entry in the Battery section
Max Market Eligibility (kW) | Maximum amount that will be offered into the market
Demand Response Attributes
-- Registration Input
Peak Load Contribution (kW) | Used to determine the load management capacity nomination for DR-related DER | Obtained from the EDC
Winter Peak Load (kW) | Used to determine the load management CP capacity nomination | Calculated value based on meter data
Capacity Loss Factor | EDC capacity loss factor to convert retail power to transmission-level power. | Obtained from the EDC
Energy Loss Factor | EDC energy loss factor to convert retail power to transmission-level power. | Obtained from the EDC
Max Load (kW) | The Aggregator's best estimate of the maximum load at the site over the last 12 months.
Max Load Reduction Capability (kW) | Max load reduction amount, populated based on the entries in the Load Reduction Method section
-- Load Reduction Method
Manufacturing (kW) | The load reduction capability (kW) for each applicable load reduction method represents a reasonable estimate of the location’s expected hourly energy load reduction.
Lighting (kW)
HVAC (kW)
Water Heaters (kW)
Refrigeration (kW)
Plug Load (kW)
Computing (kW)
Generator (kW) | kW used to meet load
Battery (kW) | kW used to meet load
Generator Attributes
Generator Name | The Aggregator's name for the generator
Generator Type | Internal Combustion Engine, Combustion Turbines, Steam Engines and Cogeneration units, Solar, Wind
Fuel Type | Coal, Diesel, Natural Gas, Oil, Gasoline, Kerosene, Propane, Wood, Landfill Gases and Waste products, Sun, Wind
Generator Vintage | The year the generator was manufactured
Retrofit Year | If the generator was retrofitted for pollution control equipment, indicate the year of the retrofit or a reasonable estimate of the year if the specific year is not available.
Inverter Type
Ride Through Capability Enabled
Voltage Control Enabled
Interconnection Agreement ID | Reference to approved EDC interconnection
Interconnection Agreement Type | ISA, WMPA, NEM, PURPA QF, None
Nameplate (kW) | kW rated capacity for the generator
Injection Rights (kW) | Max injection amount based on interconnection process,
Max Market Eligibility | Maximum amount that will be offered in the market
Max Output (kW) | kW output that the generator will use for load reduction and injection during system emergency or during extremely high price periods (can be different from capacity commitment)
Non-retail BTMG | Is the generator used to serve multiple retail electricity customers with use of a distribution system? This would typically be located in a municipal electric system or electric cooperative.
Backup Generator Only | Is the generator used exclusively to maintain electricity during an unexpected or unplanned disconnection from the grid?
Permit Status | The current status of environmental permits for the generator (Available, In Progress, Not Applicable)
Permit Type | Indicates whether On-Site Generators can run during emergency or non-emergency conditions (Emergency Only, Non-Emergency)
Battery Attributes
Max Output (kW) | kW output that the battery will use for load reduction and injection
Battery Capacity (kW 1C) | Maximum kW discharge capability in one hour
Battery Vintage | The year the battery was manufactured
Type | The installation set-up: Electric Vehicle, PV system, Stand alone
Chemistry | Lithium-Ion, Lithium-Air, Lithium-Metal, Lithium-Sulfur, Lead Acid, Zinc-Ion, Sodium-Ion, Sodium-Metal Halide, Magnesium-Ion, Magnesium-Lithium Hybrid, ZincManganese Oxide, Vanadium-Redox Flow, Zinc-Polyiodide Flow and, Organic Aqueous Flow
RERRA
RERRA Name
RERRA ID
State | Small EDC reference to RERRA that allows participation.
Evidence

## Registration
REGISTRATION INFORMATION
**DRAFT FOR DISCUSSION AT DISRS ONLY**
New field not currently in DR Hub
Note: A CSP/DERA wil be required to create a "Registration" (i.e., premise) in order to participate in PJM's markets. The following fields represent the information that will be required (where applicable) to create a Registration.
Field | Description | Notes
Registration ID | System generated when record is saved
Registration | Limited to 40 characters through UI and Web Services.
CSP | Same CSP as location being registered
Program | Dropdown of programs that are available for enrollment on date registration is created. When registration is submitted, program is re-checked to make sure it's still available. The choice made in this field controls which tabs must be available on the registration. | New program DER
Effective date | Energy and Ancillary Services - default is 2 days after today's date. Capacity egistrations: start of delivery year per program table.
Termination Date | Energy and Ancillary Services default to 400 number of days after effective date. Capacity registrations: end of delivery year
Status | System generated based on where the registration is in the registration process. -New: never submitted. -Pending: Submitted for review. -Duplicate: Duplicate process has been initiated. -Confirmed - Duplicate: duplicate process has been initiated for a confirmed registration. -Pending - Duplicate: duplicate process has been initiated on a pending registration. -Withdrawn: a pending registration has been withdrawn by the CSP. -Terminated: Either the CSP has terminated the registration before the effective (start) date, or the End Date has passed. -Denied EDC, Denied LSE, Denied EDC_LSE: part or all of the registration was denied.
EDC reliability issue | EDC provides input to PJM if DER should not be allowed to participate because it will create a reliability issues for Distribution System
Homogeneous or Heterogeneous | Refers to same or mix of technology types of the locations
Hold Status | Checked by system or PJM. If checked, CSP may not submit settlements (can still participate in Market so eligible for events/settlement creation). If CBL Review is requested, system checks box automatically until task has been approved.
Markets | Markets the user has requested/have been confirmed - Capacity, Energy RT, Energy DA, SR, REG, Regulation with NEM, DASR.
Num of Locs | Number of locations attached to the regsitration
Completed | Checkbox - can be checked once the registration is in Confirmed status. Once the checkbox is checked and registration saved, the CSP may not uncheck it. The registration data is transferred to Capacity Exchange
EDC | Display only - comes from location(s)
Zone | Display only - comes from location (s)
Pricing Point | Pnode
Allow Modifications: LSE EDC | Checking yes allows EDC and/or LSE to modify fields as they are reviewing them.
Location name(s), EDC Account Number, address | Display only - comes from location(s)
PJM Telemetry setup | Reference to telemetry code for SCADA link
LSE | LSE for the customer (only needed for certain Markets)
Dispatch group | Display only - value is set when added to Dispatch Group
Energy Loss Factor | Comes from location, can be edited here.
Test Required | Checked by system when capacity registration is created. PJM must be able uncheck (or re-check if mistake was made) flag individually or in bulk. Flag gets unchecked when registration has satisfied testing requirment.
Peak Load Contribution (kW) | comes from location, can be edited here
Capacity Loss Factor | comes from location, can be edited here